## BoQ1
Government eProcurement System Created By: Bhuwnesh Gupta Created Date/Time: 03-Feb-2026 02:57 PM Tender Title: Construction of Apron at Jammu Airport. Sub Head SITC of Trolley Gate Recall Tender ID: 2025_AAI_259081_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Construction of Apron at Jammu Airport. SH: SITC of Trolley Gate (Recall).
Contract No: 2025_AAI_259081_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Door Systems And Beyond (GSTN-07AAEPA8507C1Z9) BID ID -955513 |  | Industrial project And Products Co. (GSTN-06BIEPS1664K1ZY) BID ID -958473 |  | Godrej and Boyce Mfg. Co. Ltd (GSTN-NA) BID ID -954486
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: SITC OF TROLLEY GATES, PANELS:
2.00 | Design, fabrication, supply, installation ,testing and commissioning of Centrally/ Symetrical/ asymetrical Sliding type M.S.Trolly Gate by carrying out following fabrication works complete as required. The scope also includes supply of all material required. (Civil work is not included) The M.S material used shall be as per respective IS codes, ISI marked and as per the preferred makes. The gate shall have clear opening of 59 Meters & 5 meter setback at opening end with height 2.90 mtrs and 1.5 meter setback at closing end between both taxiway with height 1.6 mtrs (max.) respectively from finished floor level (height includes height of wheels, gate frame and concertina wire (not exceeding 450 mm) above gate frame). The Horizontal Base Frame shall be made of MS hollow sections of Size 200mm x 100mm x 5mm thick & Vertical frames shall be made of MS hollow sections of size 100 mm x 100 mm x 3.5 mm thick with side supports of suitable MS hollow sections of size 100 mm x 100 mm x 3.5 mm thick at both ends (height of frame shall be 3.20 mtr. for setback 05 mtr. at initial position and also at rear position of gate opening & height 1.6 mtr. for setback 1.5 mtr.at closed position of gate between both taxiway) and on top for concertina Wire, Weld mesh panels made of Galvanzed MS wire to be provided (Mesh wire - Diameter 4.0 mm, Tensile Strength of minimum 550 N/sq.mm, Wire specification as per IS 280 & Wire Galavnising as per IS 4826) having mesh size 76.2 mm X 12.7 mm (WxH, +/- 2 mm). The average weld shear strength of 4 welds taken in random not less than 50% of breaking stength of the smallest wire. Suitable shock absorption system to be included at end post. The gate shall be provided with suitable wheels for less noise operation. The bearings used shall be of reputed make or as recommended by the OEM. The overall dia of wheels shall not exceed 200 mm dia. A suitable support structure of not less than 4 meters to be provisioned at the begining of gate and similar appropriate structure to be provisioned at the end of gate (while open completly) to provide support to moving part of gate with minimum friction. Painting of gate with approved color & make of synthetic enamel paint by applying 2 coats and one coat of red oxide Primer complete as required. (all material as per AAI approved make list). NOTE:- 1. The successfull bidder has to submit the detailed drawing of structure, it's tentative weight and only after approval from AAI bidder will start the fabrication. 2. Total two trolley gate are to be provided as per drawing.
2.01 | 02 nos. trolley gate and size of each is 65.50 Meters (59 meter Clear Opening + 5.00 meter Setback + 1.50 meter Setback) | 15290.00 | Kg | 769.13 | 200.00 | 3058000.00 | 375.00 | 5733750.00 | 1767.00 | 27017430.00 | 3058000.00 | Door Systems And Beyond
2.02 | MS bottom wheel for item no. 2.01. {12 Set (pair) per trolley gate} | 24.00 | Set | 29000.00 | 60000.00 | 1440000.00 | 40000.00 | 960000.00 | 14725.00 | 353400.00 | 353400.00 | Godrej and Boyce Mfg. Co. Ltd
3.00 | Providing & Fixing solid round bar of size 40 mm dia in MS U channel of size 100 mm X 50 mm X 5 mm complete as required suitable for item no. 2.01 as required in the existing Taxiway/ concrete base etc complete as required. | 504.00 | Meter | 2441.00 | 5500.00 | 2772000.00 | 3700.00 | 1864800.00 | 6200.00 | 3124800.00 | 1864800.00 | Industrial project And Products Co.
4.00 | Supply, installation testing and commissioning of PLC based 5 HP (minimum) Motarized automation system suitable for operation of sliding gate having approx weight upto 10000 kg (of one leaf) as per enclosed particular specifications. The drive shall be suitable for operation on single phase / 3 phase power supply system (230/415 + -10 % volts) and suitable to drive the required load smoothly complete as required as per enclosed particular specifications. Foundation/ Frame work for installation of motor , starter panel with safety devices / Relays is also included in the scope. Four no. LED based flash light shall be installed over the gate. Radium reflector to be provided in each gate written as "STOP" with suitable nos ( not less than 8 nos) and Sizes of font not less than 300 mm complete as required. (PLC based 5 HP (minimum) Motarized automation system shall be 02 nos. working + 02 Nos. Stand By) (As per AAI approved make) | 4.00 | Job | 1403333.00 | 1800000.00 | 7200000.00 | 500000.00 | 2000000.00 | 1705000.00 | 6820000.00 | 2000000.00 | Industrial project And Products Co.
5.00 | Fabrication, Supply, Installation, Testing & Commissioning of floor mounted type, compartmentalised, cubical, hinged lockable doors, dust, vermin proof outdoor type Electrical Feeder pillar floor mounted,Compartemetallised, cubical type panel board, fabricated out of 2 mm thick cold rold sheet steel, free standing & totally enclosed, weather proof / dust proff/ vermin proof with bottom cable entries & cable alleys. The board shall be suitable for operation 3 Phase, 4 Wire, 50 Hz, A.C Supply and with busbars and following switchgear, instrumentation, protective devices and complete with connections, interconnections, earthing, painting (powder coated) and marking etc. This will include erection of the panel on suiable size MS frame foundation duly grouted in ground with cement and concrete. Complete in all respect as per CPWD specification with following in coming and Outgoings and enclosure protection class IP 65 as required (As per AAI approved make): INCOMING: a) 160A, 35/36 kA 4 Pole MCCB, Ics=100% Icu rating with adjustable thermal settings along with electrical/Mechanical inter lock required between the incomer - 02 nos b) 160A 4P ON LOAD MANUAL CHANGEOVER SWITCH . 01 nos c) Digital Voltmeter 0-500V with selector switch-02set, d) Digital Ammeter (0-160 A) with selector swtich & CTs etc- 2set e) LED type RYB phase indicating lamps, ON, OFF, trip indicating lamps - 2 sets f) Set of Copper Bus Bar 25x5 mm OUTGOING: a) 100A, 35/36 kA 4 Pole MCCB, Ics=100% Icu rating with adjustable thermal settings. 05 nos. b) 63 A, FP, MCCB, 35/36 KA (Ics = 100%Icu) with thermal release -04 nos. c) 63 A, FP, D curve MCB- 04 Nos. d) 32 A, FP, D curve MCB- 04 Nos. Note: (Civil work is not included) Proposed LT Power Cable from Power House to Main Trolley Gate Panel - 3.5C x 240 Sq. mm (Aluminium conductor XLPE insulated and PVC sheathed armoured cable) | 1.00 | Job | 575000.00 | 450000.00 | 450000.00 | 765000.00 | 765000.00 | 1472500.00 | 1472500.00 | 450000.00 | Door Systems And Beyond
6.00 | Supply, Installation, Testing & Commissioning of dust and vermin proof outdoor type Double door, floor mounted, Compartemetallised, cubical type panel board, fabricated out of 2 mm thick cold rold sheet steel, free standing & totally enclosed, weather proof / dust proff/ vermin proof with bottom cable entries & cable alleys. The board shall be suitable for operation 3 Phase, 4 Wire, 50 Hz, A.C Supply and with busbars and following switchgear, instrumentation, protective devices and complete with connections, interconnections, earthing, painting (powder coated) and marking etc. completed as required. Complete in all respect as per CPWD specification with following in coming and Outgoings and enclosure protection class IP 65 as required (As per AAI approved make): 1 -INCOMING: 63 A, FP, MCCB, 35/36 KA (Ics = 100%Icu) with thermal release -02 nos. 2 -OUTGOING: a) 40 A, 25 kA, 4 pole, MCCB (Ics = 100%Icu) with thermal release -02 nos. (b) 63 A, FP, D curve MCB- 02 Nos. (c) 32 A, FP, D curve MCB- 02 Nos. 3- Local operation- gate shall be operated from said panel locally ( for open,close & stop command) with all possible logic for operation of 02 Nos. of working and 02 Nos. of Stand By Motors. 4 - Remote Operation- Suitable provision shall be made in the panel for remote operation of the gates upto the distance of 500 Mtrs 5 - Bus Bar- 160 A Al. TPN Busbar -01 Set. 6- LED type R, Y & B Indicating Lamps with protection fuses for incomer -1 Set. 7 - Digital Multi Function Meter (MFM) Flush mounted for monitoring- 01 No Note: (Civil work is not included) Proposed LT Power Cable from Main Trolley Gate Panel to Trolley Gate Sub Panel - 3.5C x 50 Sq. mm (Aluminium conductor XLPE insulated and PVC sheathed armoured cable) | 2.00 | Job | 474000.00 | 450000.00 | 900000.00 | 350000.00 | 700000.00 | 759500.00 | 1519000.00 | 700000.00 | Industrial project And Products Co.
7.00 | SH-II: CABLE SUPLLY & LAYING & DSR ITEMS:
8.00 | Supply of following sizes of aluminium conductor XLPE insulated and PVC sheathed armoured cable conforming to IS 7098 (part -I) 1988 with up to date amendments. (As per AAI approved make):
8.01 | 3.5 C x 240 Sq.mm | 1100.00 | Meter | 1576.00 | 1500.00 | 1650000.00 | 2600.00 | 2860000.00 | 1885.00 | 2073500.00 | 1650000.00 | Door Systems And Beyond
8.02 | 3.5 C x 50 Sq.mm | 1866.00 | Meter | 397.00 | 410.00 | 765060.00 | 900.00 | 1679400.00 | 585.00 | 1091610.00 | 765060.00 | Door Systems And Beyond
9.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. (As per AAI approved make):
9.01 | 3.5 Core x 240 Sq.mm (62mm) | 4.00 | Set | 979.00 | 20000.00 | 80000.00 | 5000.00 | 20000.00 | 13000.00 | 52000.00 | 20000.00 | Industrial project And Products Co.
9.02 | 3.5 Core x 50 Sq.mm (35mm) | 16.00 | Set | 399.00 | 15000.00 | 240000.00 | 3000.00 | 48000.00 | 10400.00 | 166400.00 | 48000.00 | Industrial project And Products Co.
10.00 | Laying of one number PVC insulated and PVC sheated / XLPE power cable of 1.1 kv Grade of following size in the existing RCC / HUME /METAL/HDPE pipe as required.
10.01 | Above 35 sq.mm and upto 95 sq.mm | 100.00 | Meter | 55.00 | 300.00 | 30000.00 | 300.00 | 30000.00 | 78.00 | 7800.00 | 7800.00 | Godrej and Boyce Mfg. Co. Ltd
10.02 | Above 185 sq.mm and upto 400 sq.mm | 132.00 | Meter | 129.00 | 300.00 | 39600.00 | 500.00 | 66000.00 | 91.00 | 12012.00 | 12012.00 | Godrej and Boyce Mfg. Co. Ltd
11.00 | Laying of one number PVC insulated and PVC sheated / XLPE power cable of 1.1 kv Grade of following size on wall surface as required.
11.01 | Above 35 sq.mm and upto 95 sq.mm ( clamped with 25x3 mm MS flat clamp) | 100.00 | Meter | 123.00 | 300.00 | 30000.00 | 400.00 | 40000.00 | 104.00 | 10400.00 | 10400.00 | Godrej and Boyce Mfg. Co. Ltd
11.02 | Above 185 sq.mm and upto 400 sq.mm | 50.00 | Meter | 215.00 | 250.00 | 12500.00 | 500.00 | 25000.00 | 130.00 | 6500.00 | 6500.00 | Godrej and Boyce Mfg. Co. Ltd
12.00 | Laying and fixing of one number PVC insulated and PVC sheated / XLPE power cable of 1.1 kv Grade of following size on cable tray as required.
12.01 | Above 35 sq.mm and upto 95 sq.mm (clamped with 25x3 mm MS flat clamp) | 50.00 | Meter | 88.00 | 300.00 | 15000.00 | 375.00 | 18750.00 | 104.00 | 5200.00 | 5200.00 | Godrej and Boyce Mfg. Co. Ltd
12.02 | Above 185 sq.mm and upto 400 sq.mm (clamped with 40x3 mm MS flat clamp) | 200.00 | Meter | 176.00 | 300.00 | 60000.00 | 500.00 | 100000.00 | 130.00 | 26000.00 | 26000.00 | Godrej and Boyce Mfg. Co. Ltd
13.00 | Laying of one number PVC insulated and PVC sheated / XLPE power cable of 1.1 kv Grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required.
13.01 | Above 35 sq.mm and upto 95 sq.mm | 1580.00 | Meter | 401.00 | 300.00 | 474000.00 | 1200.00 | 1896000.00 | 162.50 | 256750.00 | 256750.00 | Godrej and Boyce Mfg. Co. Ltd
13.02 | Above 185 sq.mm and upto 400 sq.mm | 837.00 | Meter | 466.00 | 300.00 | 251100.00 | 1500.00 | 1255500.00 | 195.00 | 163215.00 | 163215.00 | Godrej and Boyce Mfg. Co. Ltd
14.00 | Supplying & Installation of following size of performated Hot Dipped Galvainised iron cable tray (Galvainisation thickness not less than 50 micron) with perforation not more than 17.50 %, in convenients sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts etc. as required.
14.01 | 225 mm Width x 50 mm Depth x 1.6 mm Thickness | 200.00 | Meter | 839.00 | 590.00 | 118000.00 | 1000.00 | 200000.00 | 1950.00 | 390000.00 | 118000.00 | Door Systems And Beyond
15.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. in the existing trench complete as required (As per AAI approved make):. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 250.00 | Meter | 118.00 | 410.00 | 102500.00 | 300.00 | 75000.00 | 455.00 | 113750.00 | 75000.00 | Industrial project And Products Co.
16.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. in the existing trench, complete as required (As per AAI approved make):. 90 mm dia (OD-90 mm & ID-76 mm nominal) | 250.00 | Meter | 160.00 | 510.00 | 127500.00 | 400.00 | 100000.00 | 520.00 | 130000.00 | 100000.00 | Industrial project And Products Co.
17.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. in the existing trench, complete as required (As per AAI approved make):. 120 mm dia (OD-120 mm & ID-103 mm nominal) | 200.00 | Meter | 231.00 | 750.00 | 150000.00 | 600.00 | 120000.00 | 559.00 | 111800.00 | 111800.00 | Godrej and Boyce Mfg. Co. Ltd
18.00 | Providing, laying and fixing 100 mm dia G.I pipe (medium class) im ground complete with G.I fittings including trenching (75 cm deep) and re-filling etc complete as required (As per AAI approved make):. | 100.00 | Meter | 1683.00 | 2500.00 | 250000.00 | 2500.00 | 250000.00 | 2340.00 | 234000.00 | 234000.00 | Godrej and Boyce Mfg. Co. Ltd
19.00 | Earthing with G.I pipe 4.5 mm long x 40 mm dia including accessories, and providing masonary enclosure with cover plate having locking arrangement and watering pipe etc. (with charcoal or coke and salt) complete as required. | 6.00 | Each | 6457.00 | 25000.00 | 150000.00 | 8000.00 | 48000.00 | 9750.00 | 58500.00 | 48000.00 | Industrial project And Products Co.
20.00 | Earthing with G.I earth plate 600mm x 600mm x 6mm thick including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. (with charcoal or coke and salt) complete as required. | 2.00 | Set | 7033.00 | 25000.00 | 50000.00 | 9000.00 | 18000.00 | 33150.00 | 66300.00 | 18000.00 | Industrial project And Products Co.
21.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I wire in 15 mm dia G.I pipe from earth electrode including connection with G.I thimble excavation and refilling as required. | 80.00 | Meter | 269.00 | 500.00 | 40000.00 | 300.00 | 24000.00 | 78.00 | 6240.00 | 6240.00 | Godrej and Boyce Mfg. Co. Ltd
22.00 | Providing and fixing of 25 mm x 5 mm GI strip on surface or in recess for connections etc. as required. | 25.00 | Meter | 234.00 | 1000.00 | 25000.00 | 200.00 | 5000.00 | 260.00 | 6500.00 | 5000.00 | Industrial project And Products Co.
23.00 | Providing and laying 6 SWG dia G.I wire on surface or in recess for loop earthing as required. | 80.00 | Meter | 68.00 | 500.00 | 40000.00 | 150.00 | 12000.00 | 91.00 | 7280.00 | 7280.00 | Godrej and Boyce Mfg. Co. Ltd
24.00 | SH-III: AICMC of Sliding M.S Trolly Gate
25.00 | All inclusive comprehensive maintenance of the entire trolly gate system includes gates, automation system with drives, electrical panels, wheels, bearings, chain sprouket / gear system, bottom track as provided under the main contract including trouble shooting, preventive maintenance (Quarterly Visit) and breakdown maintenance as required as per good engineering practice, recommendation of the original equipment manufacturer, instructions of Engineer-in-Charge & Oiling, greasing & replacement of wornment / defective part (if required) and painting of trolley gate on yearly basis is also included in the scope of agency as per terms and conditions specified in special conditions of contract.
25.01 | For First year after defect liability period of 02 years @ 5.00% (of Item no. 04 to 06 of SH-I) | 1.00 | Job | 356816.60 | 427500.00 | 427500.00 | 173250.00 | 173250.00 | 490575.00 | 490575.00 | 173250.00 | Industrial project And Products Co.
25.02 | For Second year @ 5.25% (of Item no. 04 to 06 of SH-I) | 1.00 | Job | 374657.43 | 448875.00 | 448875.00 | 181912.50 | 181912.50 | 515103.75 | 515103.75 | 181912.50 | Industrial project And Products Co.
25.03 | For Third year @ 5.51% (of Item no.04 to 06 of SH-I) | 1.00 | Job | 393211.89 | 471105.00 | 471105.00 | 190921.50 | 190921.50 | 540613.65 | 540613.65 | 190921.50 | Industrial project And Products Co.
25.04 | For Fourth year @ 5.78% (of Item no. 04 to 06 of SH-I) | 1.00 | Job | 412479.99 | 494190.00 | 494190.00 | 200277.00 | 200277.00 | 567104.70 | 567104.70 | 200277.00 | Industrial project And Products Co.
25.05 | For Fifth year @ 6.07% (of Item no.04 to 06 of SH-I) | 1.00 | Job | 433175.35 | 518985.00 | 518985.00 | 210325.50 | 210325.50 | 595558.05 | 595558.05 | 210325.50 | Industrial project And Products Co.
26.00 | SH-IV: Civil Works
27.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m All kinds of soil. | 488.27 | Cum | 256.93 | 300.00 | 146481.00 | 600.00 | 292962.00 | 275.00 | 134274.25 | 134274.25 | Godrej and Boyce Mfg. Co. Ltd
28.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 34.47 | Cum | 6723.81 | 6500.00 | 224055.00 | 6800.00 | 234396.00 | 7375.00 | 254216.25 | 224055.00 | Door Systems And Beyond
29.00 | Centering and shuttering including strutting, propping etc. and removal of form for a) Foundations, footing, base of columns etc. for mass concrete. | 543.92 | Sqm | 387.07 | 800.00 | 435136.00 | 1200.00 | 652704.00 | 412.50 | 224367.00 | 224367.00 | Godrej and Boyce Mfg. Co. Ltd
30.00 | Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 32472.00 | Kg | 106.45 | 120.00 | 3896640.00 | 130.00 | 4221360.00 | 110.00 | 3571920.00 | 3571920.00 | Godrej and Boyce Mfg. Co. Ltd
31.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level a) Concrete of M40 grade with minimum cement content of 390 kg/cum | 295.20 | Cum | 9828.74 | 5500.00 | 1623600.00 | 14000.00 | 4132800.00 | 11875.00 | 3505500.00 | 1623600.00 | Door Systems And Beyond
32.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 115.13 | Quintal | 724.00 | 1000.00 | 115130.00 | 800.00 | 92104.00 | 1875.00 | 215868.75 | 92104.00 | Industrial project And Products Co.
33.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | 5.00 | Cum | 8988.06 | 1000.00 | 5000.00 | 12000.00 | 60000.00 | 7718.75 | 38593.75 | 5000.00 | Door Systems And Beyond
34.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand) | 20.00 | Sqm | 352.72 | 1000.00 | 20000.00 | 500.00 | 10000.00 | 1500.00 | 30000.00 | 10000.00 | Industrial project And Products Co.
35.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 30.00 | Sqm | 158.52 | 1000.00 | 30000.00 | 400.00 | 12000.00 | 150.00 | 4500.00 | 4500.00 | Godrej and Boyce Mfg. Co. Ltd
36.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. a) Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | 15.00 | Cum | 2402.74 | 500.00 | 7500.00 | 3000.00 | 45000.00 | 2500.00 | 37500.00 | 7500.00 | Door Systems And Beyond
37.00 | Providing Structural design and structural drawings i/c good for construction drawing of the foundation work based on the preliminary drawings attached in tender document and direction of the EIC. The soil bearing capacity shall be provided by Airports Authority of India. The structural design & drawing shall be got duly vetted by Govt. Engg. College/IIT/NIT. Agency should submit each drawings in triplicate set mentioning "Good for construction" after vetting. Agency has to assure visit of the consultant during the execution as required by the EIC in the interest of work. Nothing extra shall be paid on this account. The decision of the EIC shall be final in this regard. | 1.00 | Job | 71020.97 | 100000.00 | 100000.00 | 300000.00 | 300000.00 | 437500.00 | 437500.00 | 100000.00 | Door Systems And Beyond
| Total in Figures |  |  |  |  | 29484457.00 |  | 31924212.50 |  | 56466082.15
Lowest Amount Quoted BY: Door Systems And Beyond(29484457.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Apron at Jammu Airport. Sub Head SITC of Trolley Gate Recall Tender ID: 2025_AAI_259081_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Door Systems And Beyond (BID ID -955513) | 29484457.00 | L1
| 2 | Industrial project And Products Co. (BID ID -958473) | 31924212.50 | L2
| 3 | Godrej and Boyce Mfg. Co. Ltd (BID ID -954486) | 56466082.15 | L3