## BoQ1
Government eProcurement System Created By: SUBBIAN VELUSWAMY SENTHIL KUMAR Created Date/Time: 22-Jan-2026 01:28 PM Tender Title: Provision of Automatic Gaseous Fire suppression system for unmanned ANS installations Tender ID: 2025_AAI_259091_1
Tender Inviting Authority: Senior Manager (E-E), Airports Authority of India, Coimbatore International Airport, Coimbatore-641014
Name of Work: Provision of Automatic Gaseous Fire suppression system for unmanned ANS installations.
Contract No: 2025_AAI_259091_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PYROGUARD ENGINEERS PRIVATE LIMITED (GSTN-07AACCP9466E1Z7) BID ID -954166 |  | advent electric technologies pvt. ltd. (GSTN-07AAJCA2055K1ZN) BID ID -954172 |  | SVS Buildwel Pvt Ltd (GSTN-07AALCS7473H1ZU) BID ID -954427 |  | Kalpataru Industries (GSTN-NA) BID ID -954591
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I :- SITC of Gas based Fire Suppression System at Coimbatore Airport Site Design, Supply, Installation, Testing & Commissioning of Clean Agent Gas Flooding System for areas specified in the Technical Specifications, complete using Gas Agent as per NFPA 2001. Supply of Cylinder UL listed /FM/VDS/LPCB/CCOE(PESO) Approved, complete with UL/VDS approved valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure. A pressure gauge with a safety burst disc, electronic control head / Solenoid, pressure operated control, head, flexible hose, strap, NRV and safety cap. Gas - Quantity would be as per the design volume and as per the necessary codal specifications UL/VDS Certifications. Clean agent shall be of FK-5-1-12 Gas flooding System with all cylinders, gas, manifold, Master Cylinder Accessories for above including Electrical Control Head, Discharge Hose and Gas discharge Warning sign, Nozzles including providing, installing, testing and commissioning of Gas Release Panel complete with timer, battery back up, Gas Release/Gas Abort Switch etc complete system as required. item also includes Fire alarm system and supply & laying of Fire survival cable, detector & panels. Note: The Individual system will be provided in specified areas only. The contractor will design the system as per NFPA 2001. The contractor will get the design approved by AAI before execution. Statutory Approvals, if required, will be taken from concerned authorities. The piping design and pressure calculations using manufacturer design software for a given dimension of room duly approved by manufacturer/ distributors shall be submitted prior to starting of the works. (The cost towards refilling of clean agent and replacement of spare parts, if any, towards the real time acceptance testing shall be borne by the contractor and is part of SITC cost. Refer clause 8 of TS)
1.01 | Supply, Installation, Testing and Commissioning of 40/34 litre capacity, seamless, high pressure, cylinder assembly, conforming to IS - 7285 (PT-2): 2004 or UL - 2166 etc. complete as required including bracket assembly, pressure gauge etc. complete as required. | 5.00 | Each | 100.00 | 94810.00 | 474050.00 | 76032.00 | 380160.00 | 65650.00 | 328250.00 | 72000.00 | 360000.00 | 328250.00 | SVS Buildwel Pvt Ltd
1.02 | Supply, Installation, Testing and Commissioning of 80//75 litre capacity, seamless, high pressure, cylinder assembly, conforming to IS - 7285 (PT-2): 2004 or UL - 2166 etc. complete as required including bracket assembly, pressure gauge etc. complete as required. | 12.00 | Each | 100.00 | 118730.00 | 1424760.00 | 98329.00 | 1179948.00 | 80600.00 | 967200.00 | 87000.00 | 1044000.00 | 967200.00 | SVS Buildwel Pvt Ltd
1.03 | Supply, Installation, Testing and Commissioning of 140 litre capacity, seamless, high pressure, cylinder assembly, conforming to IS - 7285 (PT-2): 2004 or UL - 2166 etc. complete as required including bracket assembly, pressure gauge etc. complete as required. | 1.00 | Each | 100.00 | 134610.00 | 134610.00 | 153285.00 | 153285.00 | 112450.00 | 112450.00 | 112000.00 | 112000.00 | 112000.00 | Kalpataru Industries
1.04 | Supply, Installation, Testing and Commissioning of 180 litre capacity, seamless, high pressure, cylinder assembly, conforming to IS - 7285 (PT-2): 2004 or UL - 2166 etc. complete as required including bracket assembly, pressure gauge etc. complete as required. | 3.00 | Each | 100.00 | 151700.00 | 455100.00 | 176383.00 | 529149.00 | 126750.00 | 380250.00 | 127000.00 | 381000.00 | 380250.00 | SVS Buildwel Pvt Ltd
1.05 | Supply, Installation, Testing and Commissioning of UL/VDS listed Primary Cylinder Accessories such as Electric Cum Manual Actuator, OEM recommended discharge flexible hose and Warning Sign for cylinders upto and including 140 Litre capacity. | 18.00 | Set | 100.00 | 64190.00 | 1155420.00 | 26400.00 | 475200.00 | 35100.00 | 631800.00 | 37150.00 | 668700.00 | 475200.00 | advent electric technologies pvt. ltd.
1.06 | Supply, Installation, Testing and Commissioning of UL/VDS listed Primary Cylinder Accessories such as Electric Cum Manual Actuator, OEM recommended discharge flexible hose and Warning Sign for cylinders of 180 Litre capacity. | 3.00 | Set | 100.00 | 64190.00 | 192570.00 | 26400.00 | 79200.00 | 35100.00 | 105300.00 | 37150.00 | 111450.00 | 79200.00 | advent electric technologies pvt. ltd.
1.07 | Supply, Installation, Testing and Commissioning of UL/VDS listed Tertiary Cylinder Accessories such as Pressure operated control head, Flexible Actuation Hose, Master Cylinder Adaptor kit, Elbow connectors for 180 Litre capacity cylinder complete as required. | 3.00 | Set | 100.00 | 27960.00 | 83880.00 | 26400.00 | 79200.00 | 9100.00 | 27300.00 | 20300.00 | 60900.00 | 27300.00 | SVS Buildwel Pvt Ltd
1.08 | Supply, Installation, Testing and Commissioning of UL/VDS listed Manifold with check valve of 2" size for 180 Litre capacity cylinder complete as required. | 2.00 | Each | 100.00 | 10540.00 | 21080.00 | 11880.00 | 23760.00 | 16250.00 | 32500.00 | 14950.00 | 29900.00 | 21080.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
1.09 | Supply and filling of clean, odourless, colour less, UL listed and suitable for fire class - A, B & C fire suppression agent (FK-5-1-12 Clean Agent) etc. complete as required. | 1233.00 | Kg | 100.00 | 1200.00 | 1479600.00 | 1265.00 | 1559745.00 | 1200.00 | 1479600.00 | 1400.00 | 1726200.00 | 1479600.00 | PYROGUARD ENGINEERS PRIVATE LIMITED, SVS Buildwel Pvt Ltd
1.10 | Supplying and fixing of UL listed suitable size (as per hydraulic flow calculation) Discharge nozzle with orifices etc. complete as required. | 71.00 | Each | 100.00 | 5500.00 | 390500.00 | 3850.00 | 273350.00 | 6500.00 | 461500.00 | 5050.00 | 358550.00 | 273350.00 | advent electric technologies pvt. ltd.
1.11 | Supply and fixing of Cylinder Strap for 34 Lt. Cylinder | 10.00 | Each | 100.00 | 980.00 | 9800.00 | 572.00 | 5720.00 | 1300.00 | 13000.00 | 1300.00 | 13000.00 | 5720.00 | advent electric technologies pvt. ltd.
1.12 | Supply and fixing of Cylinder Strap for 80 Lt. Cylinder | 24.00 | Each | 100.00 | 980.00 | 23520.00 | 572.00 | 13728.00 | 1300.00 | 31200.00 | 1400.00 | 33600.00 | 13728.00 | advent electric technologies pvt. ltd.
1.13 | Supply and fixing of Cylinder Strap for 140 Lt. Cylinder | 2.00 | Each | 100.00 | 980.00 | 1960.00 | 572.00 | 1144.00 | 1300.00 | 2600.00 | 1485.00 | 2970.00 | 1144.00 | advent electric technologies pvt. ltd.
1.14 | Supply and fixing of Cylinder Strap for 180 Lt. Cylinder | 6.00 | Each | 100.00 | 980.00 | 5880.00 | 572.00 | 3432.00 | 1300.00 | 7800.00 | 1950.00 | 11700.00 | 3432.00 | advent electric technologies pvt. ltd.
1.15 | Supply and fixing of UL/VDS listed Manifold Discharge Pressure Switch | 20.00 | Each | 100.00 | 9660.00 | 193200.00 | 3520.00 | 70400.00 | 10400.00 | 208000.00 | 11900.00 | 238000.00 | 70400.00 | advent electric technologies pvt. ltd.
1.16 | Supplying, installation, testing and commissioning of UL/VDS listed Low pressure supervisory switch for the cylinder assembly etc. complete as required. | 21.00 | Each | 100.00 | 1000.00 | 21000.00 | 4620.00 | 97020.00 | 7150.00 | 150150.00 | 6900.00 | 144900.00 | 21000.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
1.17 | Supply, Installation, Testing & Commissioning of PULL TYPE Manual gas release station having manual break glass push button type call points with auxiliary contacts, hammer etc for FK 5-1-12 System complete as per tender specification, as per site requirement & as per direction of Engineer-In-charge. (UL Listed) | 20.00 | Each | 100.00 | 3470.00 | 69400.00 | 1155.00 | 23100.00 | 4680.00 | 93600.00 | 4250.00 | 85000.00 | 23100.00 | advent electric technologies pvt. ltd.
1.18 | Supply, Installation, Testing & Commissioning of PULL TYPE Manual gas abort station having manual break glass push button type call points with auxiliary contacts, hammer gland etc for FK 5-1-12 System complete as per tender specification, as per site requirement & as per direction of Engineer-In-charge.(UL Listed) | 20.00 | Each | 100.00 | 3470.00 | 69400.00 | 1155.00 | 23100.00 | 4680.00 | 93600.00 | 4250.00 | 85000.00 | 23100.00 | advent electric technologies pvt. ltd.
1.19 | Supply and Installation of 2 Zone microprocessor based Fire cum gas release panel having (TCP/IP), GSM for remote communication SMS/Realtime monitoring, Modbus connectivity including hardware/Software mechanism to abort/Release Remotely via mobile OR fire control Room Through LAN. Software shall maintain event log of activities like fire /fault at remote Location. ( Bidder to enclose panel datasheet along with the technical Bid) | 20.00 | Each | 100.00 | 21710.00 | 434200.00 | 30800.00 | 616000.00 | 32500.00 | 650000.00 | 29000.00 | 580000.00 | 434200.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
1.20 | Supplying, installation , testing and commissioning of conventional multi criteria detector {Smoke + heat}, conforming to UL/LPCB, with all accessories viz : indicator, base, base box etc. to be installed on ceiling / false ceiling etc. complete as per site requirement & as per direction of Engineer-In-charge. Cost of plug in common base shall deemed to be included in cost of detectors) | 112.00 | Each | 100.00 | 1240.00 | 138880.00 | 1320.00 | 147840.00 | 1235.00 | 138320.00 | 1600.00 | 179200.00 | 138320.00 | SVS Buildwel Pvt Ltd
1.21 | Supply, installation, testing and commissioning of UL / EN listed (Latest Version) Response Indicators for getting fire indications of detectors i/c mounting boxes installed above false ceiling area interconnecting to loop cable etc. as per specification complete as required. | 25.00 | Each | 100.00 | 360.00 | 9000.00 | 55.00 | 1375.00 | 130.00 | 3250.00 | 125.00 | 3125.00 | 1375.00 | advent electric technologies pvt. ltd.
1.22 | Supply, Installation, Testing & Commissioning of Manual call point station suitable for the above system having manual break glass with auxiliary contacts, hammer gland etc for System complete as per tender specification, as per site requirement confirming to UL/LPCB/EN54. | 20.00 | Each | 100.00 | 3470.00 | 69400.00 | 825.00 | 16500.00 | 4680.00 | 93600.00 | 4050.00 | 81000.00 | 16500.00 | advent electric technologies pvt. ltd.
1.23 | Supplying, installation , testing and commissioning of conventional strobe cum hooter , conforming to UL/LPCB, with all accessories , base box etc. to be installed on ceiling / false ceiling etc. complete as per site requirement & as per direction of Engineer-In-Charge ( UL Listed) | 20.00 | Each | 100.00 | 3410.00 | 68200.00 | 1045.00 | 20900.00 | 3185.00 | 63700.00 | 3950.00 | 79000.00 | 20900.00 | advent electric technologies pvt. ltd.
1.24 | Supply and laying of 2 core, 1.5 sq.mm. Fire Survival cable, armoured copper conductor of 600/1000V grade, insulated with specially formulated PVC, coated with special fire resistance materials and overall sheathed with special PVC, with special properties as Zero Halogen Low Smoke insulation, cable laying through conduits/ surface/ recess/ above false ceiling/ concealed space/ wall concealed, etc. for control cabling for Fire detection & alarm devices and interconnecting etc. | 1500.00 | Meter | 100.00 | 190.00 | 285000.00 | 115.50 | 173250.00 | 169.00 | 253500.00 | 150.00 | 225000.00 | 173250.00 | advent electric technologies pvt. ltd.
1.25 | Supply & Installation of ASTM A 106 Grade B Seamless Manifold as per ASTM A 106 Gr. B, schedule 40 with necessary fittings. | 20.00 | Lot | 100.00 | 10000.00 | 200000.00 | 6600.00 | 132000.00 | 1300.00 | 26000.00 | 9156.00 | 183120.00 | 26000.00 | SVS Buildwel Pvt Ltd
1.26 | Supply Installation Testing & Commissioning of seamless pipes SCH40 and special threaded fittings with necessary angle / Hitech supports with anchor fasteners including painting of 2 coats of primer with one coat of signal red paint & Nitrogen pressure testing Of installed Piping. Supply, Installation, Testing & Commissioning of GSS. | 20.00 | Lot | 100.00 | 24850.00 | 497000.00 | 22000.00 | 440000.00 | 58500.00 | 1170000.00 | 32500.00 | 650000.00 | 440000.00 | advent electric technologies pvt. ltd.
2.00 | SH-II :- SITC of Gas based Fire Suppression System at Ooty RCAG Site at Doddabetta Design, Supply, Installation, Testing & Commissioning of Clean Agent Gas Flooding System for areas specified in the Technical Specifications, complete using Gas Agent as per NFPA 2001. Supply of Cylinder UL listed /FM/VDS/LPCB/CCOE(PESO) Approved, complete with UL/VDS approved valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure. A pressure gauge with a safety burst disc, electronic control head / Solenoid, pressure operated control, head, flexible hose, strap, NRV and safety cap. Gas - Quantity would be as per the design volume and as per the necessary codal specifications UL Certifications. Clean agent shall be of FK-5-1-12 Gas flooding System with all cylinders, gas, manifold, Master Cylinder Accessories for above including Electrical Control Head, Discharge Hose and Gas discharge Warning sign, Nozzles including providing, installing, testing and commissioning of Gas Release Panel complete with timer, battery back up, Gas Release/Gas Abort Switch etc complete system as required. item also includes Fire alarm system and supply & laying of Fire survival cable, detector & panels. Note: The Individual system will be provided in specified areas only. The contractor will design the system as per NFPA 2001. The contractor will get the design approved by AAI before execution. Statutory Approvals, if required, will be taken from concerned authorities. The piping design and pressure calculations using manufacturer design software for a given dimension of room duly approved by manufacturer/ distributors shall be submitted prior to starting of the works.
2.01 | Supply, Installation, Testing and Commissioning of 80 litre capacity, seamless, high pressure, cylinder assembly, conforming to IS - 7285 (PT-2): 2004 or UL - 2166 etc. complete as required including bracket assembly, pressure gauge etc. complete as required. | 2.00 | Each | 100.00 | 118730.00 | 237460.00 | 107268.00 | 214536.00 | 80600.00 | 161200.00 | 88000.00 | 176000.00 | 161200.00 | SVS Buildwel Pvt Ltd
2.02 | Supply, Installation, Testing and Commissioning of UL/VDS listed Primary Cylinder Accessories such as Electric Cum Manual Actuator, OEM recommended discharge flexible hose and Warning Sign for cylinders of 80 Litre capacity. | 2.00 | Set | 100.00 | 64190.00 | 128380.00 | 28800.00 | 57600.00 | 35100.00 | 70200.00 | 37350.00 | 74700.00 | 57600.00 | advent electric technologies pvt. ltd.
2.03 | Supply and filling of clean, odourless, colour less, UL listed and suitable for fire class - A, B & C fire suppression agent (FK-5-1-12 Clean Agent) etc. complete as required. | 100.00 | Kg | 100.00 | 1200.00 | 120000.00 | 1380.00 | 138000.00 | 1200.00 | 120000.00 | 1400.00 | 140000.00 | 120000.00 | PYROGUARD ENGINEERS PRIVATE LIMITED, SVS Buildwel Pvt Ltd
2.04 | Supplying and fixing of UL/VDS listed suitable size (as per hydraulic flow calculation) Discharge nozzle with orifices etc. complete as required. | 6.00 | Each | 100.00 | 5500.00 | 33000.00 | 4200.00 | 25200.00 | 6500.00 | 39000.00 | 4950.00 | 29700.00 | 25200.00 | advent electric technologies pvt. ltd.
2.05 | Supply and fixing of Cylinder Strap for 80 Lt. Cylinder | 4.00 | Each | 100.00 | 980.00 | 3920.00 | 624.00 | 2496.00 | 1300.00 | 5200.00 | 1400.00 | 5600.00 | 2496.00 | advent electric technologies pvt. ltd.
2.06 | Supplying, installation, testing and commissioning of UL listed Low pressure supervisory switch for the cylinder assembly etc. complete as required. | 2.00 | Each | 100.00 | 1000.00 | 2000.00 | 5040.00 | 10080.00 | 7150.00 | 14300.00 | 6900.00 | 13800.00 | 2000.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
2.07 | Supply, Installation, Testing & Commissioning of PULL TYPE Manual gas release station having manual break glass push button type call points with auxiliary contacts, hammer etc for FK 5-1-12 System complete as per tender specification, as per site requirement & as per direction of Engineer-In-charge. (UL Listed) | 2.00 | Each | 100.00 | 3470.00 | 6940.00 | 1260.00 | 2520.00 | 4680.00 | 9360.00 | 4250.00 | 8500.00 | 2520.00 | advent electric technologies pvt. ltd.
2.08 | Supply, Installation, Testing & Commissioning of PULL TYPE Manual gas abort station having manual break glass push button type call points with auxiliary contacts, hammer gland etc for FK 5-1-12 System complete as per tender specification, as per site requirement & as per direction of Engineer-In-charge.(UL Listed) | 2.00 | Each | 100.00 | 3470.00 | 6940.00 | 1260.00 | 2520.00 | 4680.00 | 9360.00 | 4250.00 | 8500.00 | 2520.00 | advent electric technologies pvt. ltd.
2.09 | Supply and Installation of 2 Zone minimum, microprocessor based Fire cum gas release panel having (TCP/IP), GSM for remote communication SMS/Realtime monitoring, Modbus connectivity including hardware/Software mechanism to abort/Release Remotely via mobile OR fire control Room Through LAN. Software shall maintain event log of activities like fire /fault at remote Location. (Bidder to enclose panel datasheet along with the technical Bid) | 2.00 | Each | 100.00 | 21710.00 | 43420.00 | 33600.00 | 67200.00 | 32500.00 | 65000.00 | 29000.00 | 58000.00 | 43420.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
2.10 | Supplying, installation, testing and commissioning of conventional multi criteria detector {Smoke + heat }, conforming to UL/LPCB, with all accessories viz : indicator, base, base box etc. to be installed on ceiling / false ceiling etc. complete as per site requirement & as per direction of Engineer-In-charge. Cost of plug in common base shall deemed to be included in cost of detectors) | 8.00 | Each | 100.00 | 1240.00 | 9920.00 | 1440.00 | 11520.00 | 1235.00 | 9880.00 | 1600.00 | 12800.00 | 9880.00 | SVS Buildwel Pvt Ltd
2.11 | Supply, installation, testing and commissioning of UL / EN listed (Latest Version) Response Indicators for getting fire indications of detectors i/c mounting boxes installed above false ceiling area interconnecting to loop cable etc. as per specification complete as required. | 2.00 | Each | 100.00 | 360.00 | 720.00 | 60.00 | 120.00 | 130.00 | 260.00 | 165.00 | 330.00 | 120.00 | advent electric technologies pvt. ltd.
2.12 | Supply, Installation, Testing & Commissioning of Manual call point station suitable for the above system having manual break glass with auxiliary contacts, hammer gland etc for System complete as per tender specification, as per site requirement confirming to UL/LPCB/EN54. | 2.00 | Each | 100.00 | 3470.00 | 6940.00 | 900.00 | 1800.00 | 4680.00 | 9360.00 | 4050.00 | 8100.00 | 1800.00 | advent electric technologies pvt. ltd.
2.13 | Supplying, installation , testing and commissioning of conventional strobe cum hooter , conforming to UL/LPCB, with all accessories , base box etc. to be installed on ceiling / false ceiling etc. complete as per site requirement & as per direction of Engineer-In-Charge ( UL Listed) | 2.00 | Each | 100.00 | 3410.00 | 6820.00 | 1140.00 | 2280.00 | 3185.00 | 6370.00 | 3950.00 | 7900.00 | 2280.00 | advent electric technologies pvt. ltd.
2.14 | Supply and laying of 2 core, 1.5 sq.mm. Fire Survival cable, armoured copper conductor of 600/1000V grade, insulated with specially formulated PVC, coated with special fire resistance materials and overall sheathed with special PVC, with special properties as Zero Halogen Low Smoke insulation, cable laying through conduits/ surface/ recess/ above false ceiling/ concealed space/ wall concealed, etc. for control cabling for Fire detection & alarm devices and interconnecting etc. | 100.00 | Meter | 100.00 | 190.00 | 19000.00 | 126.00 | 12600.00 | 169.00 | 16900.00 | 160.00 | 16000.00 | 12600.00 | advent electric technologies pvt. ltd.
2.15 | Supply & Installation of ASTM A 106 Grade B Seamless Manifold as per ASTM A 106 Gr. B, schedule 40 with necessary fittings. | 2.00 | Lot | 100.00 | 10000.00 | 20000.00 | 7200.00 | 14400.00 | 1300.00 | 2600.00 | 8129.00 | 16258.00 | 2600.00 | SVS Buildwel Pvt Ltd
2.16 | Supply Installation Testing & Commissioning of seamless pipes SCH40 and special threaded fittings with necessary angle / Hitech supports with anchor fasteners including painting of 2 coats of primer with one coat of signal red paint & Nitrogen pressure testing Of installed Piping. Supply, Installation, Testing & Commissioning of GSS. | 2.00 | Lot | 100.00 | 24850.00 | 49700.00 | 24000.00 | 48000.00 | 58500.00 | 117000.00 | 32517.00 | 65034.00 | 48000.00 | advent electric technologies pvt. ltd.
3.00 | SH-III :- AMC of Gas based Fire Suppression System at Coimbatore International Airport Annual maintenance contract of gas based suppression system by providing quarterly inspection, checking, repair, maintenance and replacement of unserviceable components, i/c cleaning of detection systems, verify control panel functionality, check cylinder pressures, and perform a dry system test and all other associated maintenance job as per maintenance schedule and recommendation of OEM to keep the system under serviceable condition including attending any numbers of breakdown as and when required.
3.01 | First Year after Completion of 01 (One) year DLP | 1.00 | Annum | 100.00 | 257110.00 | 257110.00 | 35000.00 | 35000.00 | 100000.00 | 100000.00 | 372366.00 | 372366.00 | 35000.00 | advent electric technologies pvt. ltd.
3.02 | Second Year after DLP | 1.00 | Annum | 100.00 | 269970.00 | 269970.00 | 35000.00 | 35000.00 | 100000.00 | 100000.00 | 394708.00 | 394708.00 | 35000.00 | advent electric technologies pvt. ltd.
3.03 | Third Year after DLP | 1.00 | Annum | 100.00 | 283470.00 | 283470.00 | 35000.00 | 35000.00 | 100000.00 | 100000.00 | 418390.00 | 418390.00 | 35000.00 | advent electric technologies pvt. ltd.
3.04 | Fourth Year after DLP | 1.00 | Annum | 100.00 | 297640.00 | 297640.00 | 35000.00 | 35000.00 | 100000.00 | 100000.00 | 443494.00 | 443494.00 | 35000.00 | advent electric technologies pvt. ltd.
3.05 | Fifth Year after DLP | 1.00 | Annum | 100.00 | 312520.00 | 312520.00 | 35000.00 | 35000.00 | 100000.00 | 100000.00 | 470103.00 | 470103.00 | 35000.00 | advent electric technologies pvt. ltd.
4.00 | SH-IV :- AMC of Gas based Fire Suppression System at Ooty RCAG Site at Doddabetta Annual maintenance contract of gas based suppression system by providing quarterly inspection, checking, repair, maintenance and replacement of unserviceable components, i/c cleaning of detection systems, verify control panel functionality, check cylinder pressures, and perform a dry system test and all other associated maintenance job as per maintenance schedule and recommendation of OEM to keep the system under serviceable condition including attending any numbers of breakdown as and when required.
4.01 | First Year after Completion of 01 (One) year DLP | 1.00 | Annum | 100.00 | 23010.00 | 23010.00 | 35000.00 | 35000.00 | 50000.00 | 50000.00 | 32061.00 | 32061.00 | 23010.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
4.02 | Second Year after DLP | 1.00 | Annum | 100.00 | 24160.00 | 24160.00 | 35000.00 | 35000.00 | 50000.00 | 50000.00 | 33985.00 | 33985.00 | 24160.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
4.03 | Third Year after DLP | 1.00 | Annum | 100.00 | 25360.00 | 25360.00 | 35000.00 | 35000.00 | 50000.00 | 50000.00 | 36024.00 | 36024.00 | 25360.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
4.04 | Fourth Year after DLP | 1.00 | Annum | 100.00 | 26630.00 | 26630.00 | 35000.00 | 35000.00 | 50000.00 | 50000.00 | 38185.00 | 38185.00 | 26630.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
4.05 | Fifth Year after DLP | 1.00 | Annum | 100.00 | 27960.00 | 27960.00 | 35000.00 | 35000.00 | 50000.00 | 50000.00 | 40476.00 | 40476.00 | 27960.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
5.01 | Supply and filling of clean, odourless, colour less, UL listed and suitable for fire class - A, B & C fire suppression agent (FK-5-1-12 Clean Agent) etc. complete as required as per Engineer -in Charge instructions during the AMC period. | 1200.00 | kg | 100.00 | 1400.00 | 1680000.00 | 850.00 | 1020000.00 | 800.00 | 960000.00 | 1400.00 | 1680000.00 | 960000.00 | SVS Buildwel Pvt Ltd
| Total in Figures |  |  |  |  | 11830400.00 |  | 8499378.00 |  | 9890460.00 |  | 12048329.00
Lowest Amount Quoted BY: advent electric technologies pvt. ltd.(8499378.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Automatic Gaseous Fire suppression system for unmanned ANS installations Tender ID: 2025_AAI_259091_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | advent electric technologies pvt. ltd. (BID ID -954172) | 8499378.00 | L1
| 2 | SVS Buildwel Pvt Ltd (BID ID -954427) | 9890460.00 | L2
| 3 | PYROGUARD ENGINEERS PRIVATE LIMITED (BID ID -954166) | 11830400.00 | L3
| 4 | Kalpataru Industries (BID ID -954591) | 12048329.00 | L4