## BoQ1
Government eProcurement System Created By: Rajiv Kumar Singh Created Date/Time: 20-Jan-2026 03:50 PM Tender Title: Construction of Glide Path and Localizer Building and other associated works inside Airforce Area at Chandigarh Airport. Tender ID: 2025_AAI_259560_1
Tender Inviting Authority: Senior Manager (Engg-Civil), AAI, Chandigarh Airport
Name of Work: Construction of Glide Path & Localizer Building and other associated works inside Airforce Area at Chandigarh Airport.
Contract No: AAI/CHD/ENGG(C)/ILS/2025-26
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | A TECH BUILDERS (GSTN-04AJMPP0826G1ZB) BID ID -955812 |  | Pavee Construction (GSTN-NA) BID ID -954030 |  | R K AND CO (GSTN-NA) BID ID -952629 |  | S P SINGH BEDI AND SONS (GSTN-NA) BID ID -954513
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: a) All kinds of soil | 9610.00 | Sqm | 1.25 | 20.00 | 192200.00 | 50.00 | 480500.00 | 90.00 | 864900.00 | 50.00 | 480500.00 | 192200.00 | A TECH BUILDERS
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-in-charge. a) All kinds of soil | 200.00 | Cum | 0.00 | 150.00 | 30000.00 | 100.00 | 20000.00 | 144.00 | 28800.00 | 100.00 | 20000.00 | 20000.00 | Pavee Construction, S P SINGH BEDI AND SONS
3.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift. | 100.00 | Cum | 100.00 | 150.00 | 15000.00 | 50.00 | 5000.00 | 126.00 | 12600.00 | 100.00 | 10000.00 | 5000.00 | Pavee Construction
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:2:4 (1 cement: 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 65.00 | Cum | 53.00 | 6500.00 | 422500.00 | 5000.00 | 325000.00 | 6300.00 | 409500.00 | 5000.00 | 325000.00 | 325000.00 | Pavee Construction, S P SINGH BEDI AND SONS
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:4:8 (1 Cement: 4 coarse sand (zone-lll) derived from natural sources: 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 985.00 | Cum | 10.00 | 3000.00 | 2955000.00 | 3250.00 | 3201250.00 | 5400.00 | 5319000.00 | 3500.00 | 3447500.00 | 2955000.00 | A TECH BUILDERS
6.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for plain cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana/ Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering and finishing as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the minimum specified cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level : a) Concrete of M25 grade with minimum cement content of 300 kg / cum | 74.00 | Cum | 11.00 | 8000.00 | 592000.00 | 5200.00 | 384800.00 | 7020.00 | 519480.00 | 5800.00 | 429200.00 | 384800.00 | Pavee Construction
7.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge, for the following grades of concrete.:Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.All works upto plinth levela) Concrete of M25 grade with minimum cement content of 330 kg /cum | 122.00 | Cum | 10.00 | 8000.00 | 976000.00 | 5800.00 | 707600.00 | 6480.00 | 790560.00 | 5800.00 | 707600.00 | 707600.00 | Pavee Construction, S P SINGH BEDI AND SONS
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Foundations, footings, bases of columns, etc. for mass concrete | 147.00 | Sqm | 22.00 | 350.00 | 51450.00 | 250.00 | 36750.00 | 270.00 | 39690.00 | 100.00 | 14700.00 | 14700.00 | S P SINGH BEDI AND SONS
9.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 223.00 | Cum | 0.00 | 5500.00 | 1226500.00 | 5000.00 | 1115000.00 | 5760.00 | 1284480.00 | 4800.00 | 1070400.00 | 1070400.00 | S P SINGH BEDI AND SONS
10.00 | Excavating trenches by mechanical / manual means of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, for all depth, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50m: All kinds of soil Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 230.00 | Mtr | 1.25 | 300.00 | 69000.00 | 80.00 | 18400.00 | 270.00 | 62100.00 | 150.00 | 34500.00 | 18400.00 | Pavee Construction
11.00 | Providing and fixing G.I. pipes complete with G.I. fittings etc. External work a) 100 mm dia | 360.00 | Mtr | 0.00 | 750.00 | 270000.00 | 3500.00 | 1260000.00 | 900.00 | 324000.00 | 1200.00 | 432000.00 | 270000.00 | A TECH BUILDERS
12.00 | Providing and fixing G.I. pipes complete with G.I. fittings etc. External work a) 50 mm dia | 220.00 | Mtr | 100.00 | 450.00 | 99000.00 | 850.00 | 187000.00 | 720.00 | 158400.00 | 1000.00 | 220000.00 | 99000.00 | A TECH BUILDERS
13.00 | Painting (two or more coats) on rain water, soil waste and vent pipes and fittings with black anticorrosive bitumastic paint of approved brand and manufacture, over and including a priming of ready mixed zinc chromate yellow primer on new work: a) 100 mm diameter pipes | 360.00 | Mtr | 53.00 | 66.00 | 23760.00 | 50.00 | 18000.00 | 54.00 | 19440.00 | 100.00 | 36000.00 | 18000.00 | Pavee Construction
14.00 | Painting (two or more coats) on rain water, soil waste and vent pipes and fittings with black anticorrosive bitumastic paint of approved brand and manufacture, over and including a priming of ready mixed zinc chromate yellow primer on new work: a) 50 mm diameter pipes | 220.00 | Mtr | 10.00 | 28.00 | 6160.00 | 30.00 | 6600.00 | 45.00 | 9900.00 | 100.00 | 22000.00 | 6160.00 | A TECH BUILDERS
15.00 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work : a) 100 mm diameter pipes | 120.00 | Mtr | 11.00 | 26.00 | 3120.00 | 100.00 | 12000.00 | 180.00 | 21600.00 | 100.00 | 12000.00 | 3120.00 | A TECH BUILDERS
16.00 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work : a) 50 mm diameter pipes | 110.00 | Mtr | 10.00 | 150.00 | 16500.00 | 80.00 | 8800.00 | 126.00 | 13860.00 | 100.00 | 11000.00 | 8800.00 | Pavee Construction
17.00 | 12 mm cement plaster of mix : a) 1:6 (1 cement: 6 coarse sand) | 209.00 | Sqm | 22.00 | 300.00 | 62700.00 | 300.00 | 62700.00 | 306.00 | 63954.00 | 250.00 | 52250.00 | 52250.00 | S P SINGH BEDI AND SONS
18.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : a) 1:1.5:3 (1 cement : 1.5 coarse sand (zone-lll) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 1.00 | Cum | 0.00 | 7800.00 | 7800.00 | 7000.00 | 7000.00 | 7200.00 | 7200.00 | 10000.00 | 10000.00 | 7000.00 | Pavee Construction
19.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto and above plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 12070.00 | Kg | 1.25 | 80.00 | 965600.00 | 72.00 | 869040.00 | 74.70 | 901629.00 | 80.00 | 965600.00 | 869040.00 | Pavee Construction
20.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement:4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size: a) Size of Tile 600 x 600 mm | 90.00 | Sqm | 0.00 | 1520.00 | 136800.00 | 1150.00 | 103500.00 | 1080.00 | 97200.00 | 900.00 | 81000.00 | 81000.00 | S P SINGH BEDI AND SONS
21.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : a) W.C. pan with ISI marked white solid plastic seat and lid | 2.00 | Each | 100.00 | 5600.00 | 11200.00 | 11000.00 | 22000.00 | 5400.00 | 10800.00 | 8000.00 | 16000.00 | 10800.00 | R K AND CO
22.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 2.00 | Each | 53.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 2160.00 | 4320.00 | 2000.00 | 4000.00 | 4000.00 | S P SINGH BEDI AND SONS, A TECH BUILDERS
23.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 2.00 | Each | 10.00 | 1400.00 | 2800.00 | 950.00 | 1900.00 | 1260.00 | 2520.00 | 2000.00 | 4000.00 | 1900.00 | Pavee Construction
24.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall a) 20 mm nominal dia Pipes | 50.00 | Mtr | 11.00 | 290.00 | 14500.00 | 350.00 | 17500.00 | 270.00 | 13500.00 | 400.00 | 20000.00 | 13500.00 | R K AND CO
25.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. a) 25 mm dia nominal bore | 200.00 | Mtr | 10.00 | 400.00 | 80000.00 | 400.00 | 80000.00 | 405.00 | 81000.00 | 400.00 | 80000.00 | 80000.00 | Pavee Construction, S P SINGH BEDI AND SONS, A TECH BUILDERS
26.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. a) 15 mm nominal bore | 2.00 | Each | 22.00 | 700.00 | 1400.00 | 650.00 | 1300.00 | 630.00 | 1260.00 | 2000.00 | 4000.00 | 1260.00 | R K AND CO
27.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 a) 15mm nominal bore | 6.00 | Each | 0.00 | 500.00 | 3000.00 | 450.00 | 2700.00 | 450.00 | 2700.00 | 1000.00 | 6000.00 | 2700.00 | R K AND CO, Pavee Construction
28.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. a) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | Each | 1.25 | 23000.00 | 46000.00 | 35000.00 | 70000.00 | 20700.00 | 41400.00 | 10000.00 | 20000.00 | 20000.00 | S P SINGH BEDI AND SONS
29.00 | Providing and fixing of prefabricated (frangible hut) of size 8m x 5m (outer to outer) and 3000 mm height along the wall and 3500 mm at the centre. It is made of Low Smoke Fire Retardant 50 mm thick sandwich panel made of 2 mm thick Fibre Reinforced sheet at the outer sides and middle part consists of PU foam of density 40 kg/m3 which has to be installed in to the operational area. Provision of one no. of partition wall with partially glass door of size 920 mm(w) x 2000 mm (height) & locking arrangement and provision of one no. door of size 920 mm (w) x 2000 mm (h) with locking facility at the shorter side wall with a suitable provision necessary holes on wall for passing AC conduit and suitable provision necessary holes for electrical cable and a suitable provision necessary holes for NAV-AID cable as per requirement etc. The cost of the hut is inclusive of design, vetting of design by Govt. Engg. College, fabrication (i/c all fitting arrangements), transportation and commissioning of the hut at the proposed site as per drawing given in page No. DRW-1 of tender document and specification over cement concrete platform (Cement Concrete platform shall be paid separately). The exterior of the hut shall be provided with design of white and red squares (2 feet x 2 feet) or as per direction of E-I-C. All complete as per attached drawing and as directed by the Engineer-in-Charge. | 2.00 | Job | 0.00 | 2000000.00 | 4000000.00 | 1850000.00 | 3700000.00 | 1830000.00 | 3660000.00 | 1200000.00 | 2400000.00 | 2400000.00 | S P SINGH BEDI AND SONS
30.00 | Providing and fixing of prefabricated (frangible hut) of size 2m x 2m (outer to outer) and 3000 mm height along one wall and 3500 mm at the opposite wall.It is made of Low Smoke Fire Retardant 50 mm thick sandwich panel made of 2 mm thick Fibre Reinforced sheet at the outer sides and middle part consists of PU foam of density 40 kg/m3 which has to be installed in to the operational area. Provision of one no. door of size 920 mm (w) x 2000 mm (h) with locking facility at the higher side wall with a provision of exhaust fan at higher wall and necessary hole arrangement for electrical installations and necessary hole arrangement for sanitary installations etc The cost of the hut is inclusive of design, vetting of design by Govt. Engg. College, fabrication (i/c all fitting arrangements), transportation and commissioning of the hut at the proposed site as per drawing given in page No.DRW-1 of tender document and specification over cement concrete platform (Cement Concrete platform shall be paid separately). The exterior of the hut shall be provided with design of white and red squares (2 feet x 2 feet) or as per direction of E-I-C. All complete as per attached drawing and as directed by the Engineer-in-Charge. | 2.00 | Job | 100.00 | 400000.00 | 800000.00 | 420000.00 | 840000.00 | 318600.00 | 637200.00 | 500000.00 | 1000000.00 | 637200.00 | R K AND CO
31.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50 mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. a) 80 mm thick C.C. paver block of M-35 grade with approved colour design and pattern. | 10270.00 | Sqm | 53.00 | 680.00 | 6983600.00 | 550.00 | 5648500.00 | 810.00 | 8318700.00 | 800.00 | 8216000.00 | 5648500.00 | Pavee Construction
32.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: a) Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 222.00 | Sqm | 10.00 | 190.00 | 42180.00 | 100.00 | 22200.00 | 108.00 | 23976.00 | 200.00 | 44400.00 | 22200.00 | Pavee Construction
33.00 | Supply of following size of 1.1KV grade multicore stranded aluminium conductor XLPE insulated & PVC sheathed armoured cable (FRLS Type) as per IS: 7098 (Part-1) 1988 complete as required & as per enclosed specification. (3.5 x 95 Sqmm) | 2000.00 | Metre | 11.00 | 760.00 | 1520000.00 | 850.00 | 1700000.00 | 495.00 | 990000.00 | 800.00 | 1600000.00 | 990000.00 | R K AND CO
34.00 | Supplying and Laying of 90 mm dia HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 4984, PE 80, PN 6 complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required | 1550.00 | Metre | 10.00 | 300.00 | 465000.00 | 320.00 | 496000.00 | 306.00 | 474300.00 | 340.00 | 527000.00 | 465000.00 | A TECH BUILDERS
35.00 | Supplying and laying of 90 mm dia HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 4984, PE 80, PN 6 complete with fitting and cutting, jointing etc. in the existing trench, complete as required. | 100.00 | Metre | 22.00 | 300.00 | 30000.00 | 210.00 | 21000.00 | 306.00 | 30600.00 | 290.00 | 29000.00 | 21000.00 | Pavee Construction
36.00 | Providing, laying and fixing 90mm dia HDPE pipe ISI marked in ground/ road/ hard soil along with all accessories like socket, bend, couplers etc. conforming to IS 4984, PE 80, PN 6 complete with fitting and cutting, jointing etc including trenching (75 cm deep) and re-filling and making the same surface etc as required | 50.00 | Metre | 0.00 | 2500.00 | 125000.00 | 2500.00 | 125000.00 | 306.00 | 15300.00 | 300.00 | 15000.00 | 15000.00 | S P SINGH BEDI AND SONS
37.00 | Supply & Laying of 90 mm outer dia HDPE pipe ISI marked conforming to IS 4984, PE 80, PN 6 rating through trenchless technology, direct in ground upto the depth of 3 meters including splicing of pipe of size complete as required. | 200.00 | Metre | 1.25 | 1000.00 | 200000.00 | 950.00 | 190000.00 | 306.00 | 61200.00 | 100.00 | 20000.00 | 20000.00 | S P SINGH BEDI AND SONS
38.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL / DWC pipe/ open Trench as required. Above 35 sq. mm and upto 95 sq. mm | 1750.00 | Metre | 0.00 | 45.00 | 78750.00 | 50.00 | 87500.00 | 108.00 | 189000.00 | 85.00 | 148750.00 | 78750.00 | A TECH BUILDERS
39.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size (clamped with 1mm thick saddle) on wall surface or cable tray as per site requirement. Above 35 sq. mm and upto 95 sq. mm | 100.00 | Metre | 100.00 | 100.00 | 10000.00 | 90.00 | 9000.00 | 180.00 | 18000.00 | 640.00 | 64000.00 | 9000.00 | Pavee Construction
40.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5C X 95 sqmm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 4.00 | Each | 53.00 | 460.00 | 1840.00 | 500.00 | 2000.00 | 504.00 | 2016.00 | 1000.00 | 4000.00 | 1840.00 | A TECH BUILDERS
41.00 | Supplying and installing following size of perforated painted with powder coating M.S. cable trays with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. 150 mm width X 50 mm depth X 1.6 mm thickness | 30.00 | Mtrs. | 10.00 | 200.00 | 6000.00 | 500.00 | 15000.00 | 540.00 | 16200.00 | 650.00 | 19500.00 | 6000.00 | A TECH BUILDERS
42.00 | Supplying and installing following size of perforated painted with powder coating M.S. cable trays Tee with perforation not more than 17.5%, joined with connectors,suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. 150 mm width X 50 mm depth X 1.6 mm thickness | 4.00 | Each | 11.00 | 900.00 | 3600.00 | 850.00 | 3400.00 | 1080.00 | 4320.00 | 1000.00 | 4000.00 | 3400.00 | Pavee Construction
43.00 | Supplying and installation following size of perforated painted with powder coating M.S. cable trays bends with perforation not more than 17.5%, joined with connectors, suspended from the ceiling with two numbers MS/GI Suspenders i/c base of suitable size MS/GI angle, bolts & nuts, painting suspenders, fastener etc as required. 150 mm width X 50 mm depth X 1.6 mm thickness | 4.00 | Each | 10.00 | 750.00 | 3000.00 | 750.00 | 3000.00 | 1080.00 | 4320.00 | 1000.00 | 4000.00 | 3000.00 | Pavee Construction, A TECH BUILDERS
44.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories,and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 4.00 | Set | 22.00 | 5800.00 | 23200.00 | 5000.00 | 20000.00 | 6030.00 | 24120.00 | 7000.00 | 28000.00 | 20000.00 | Pavee Construction
45.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | 50.00 | Mtr. | 0.00 | 50.00 | 2500.00 | 110.00 | 5500.00 | 153.00 | 7650.00 | 250.00 | 12500.00 | 2500.00 | A TECH BUILDERS
46.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I.pipe from earth electrode including connection with G.I. nut,bolt, spring, washer excavation and re-filling etc. as required. | 50.00 | Mtr. | 1.25 | 540.00 | 27000.00 | 600.00 | 30000.00 | 504.00 | 25200.00 | 560.00 | 28000.00 | 25200.00 | R K AND CO
47.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required | 50.00 | Mtr. | 0.00 | 190.00 | 9500.00 | 180.00 | 9000.00 | 207.00 | 10350.00 | 250.00 | 12500.00 | 9000.00 | Pavee Construction
48.00 | Supply of Plastic body exhaust fan 250 mm sweep with Auto Back Shutter and Copper winding etc. as required | 2.00 | Each | 100.00 | 1240.00 | 2480.00 | 1250.00 | 2500.00 | 1300.00 | 2600.00 | 1250.00 | 2500.00 | 2480.00 | A TECH BUILDERS
49.00 | Installation, Testing and Commissioning of exhaust fan 250 mm sweep in the existing opening, including making good the damage, connection, testing, commissioning etc. as required | 2.00 | Each | 53.00 | 360.00 | 720.00 | 200.00 | 400.00 | 1080.00 | 2160.00 | 6200.00 | 12400.00 | 400.00 | Pavee Construction
50.00 | Supply & fixing of pre cast M25 Grade RCC manhole chamber of size 1000 mm inner dia x 500 mm deep with wall thickness of 50 mm along with suitable RCC cover having 75 mm thickness with lifting hooks, having suitable holes for pipe entries in the chamber for cable / pipe entries as per site requirements. Job includes providing PCC base of grade 1:3:6 (1 cement : 3 sand : 6 40 mm size concrete) of 100 mm thickness at the bottom including required excavation and refilling with sand etc complete as required. | 6.00 | Job | 10.00 | 7800.00 | 46800.00 | 8500.00 | 51000.00 | 27000.00 | 162000.00 | 15000.00 | 90000.00 | 46800.00 | A TECH BUILDERS
51.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for 3½ X 95 sq. mm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 4.00 | Each | 11.00 | 27000.00 | 108000.00 | 2500.00 | 10000.00 | 2700.00 | 10800.00 | 4000.00 | 16000.00 | 10000.00 | Pavee Construction
52.00 | 12 Core Single mode Armored OFC cable : Supply of Single mode, 12 Core, 9/125mm (OS2) Unitube Armored OFC cable | 9600.00 | Mtr. | 10.00 | 45.00 | 432000.00 | 100.00 | 960000.00 | 54.00 | 518400.00 | 100.00 | 960000.00 | 432000.00 | A TECH BUILDERS
53.00 | 40mm PLB HDPE pipe | 9200.00 | Mtr. | 22.00 | 70.00 | 644000.00 | 130.00 | 1196000.00 | 81.00 | 745200.00 | 82.00 | 754400.00 | 644000.00 | A TECH BUILDERS
54.00 | 12 core Fiber Joint Enclosure: Supply of IP 68 Fiber Joint Enclosure for 12 core OFC | 8.00 | Nos. | 0.00 | 3000.00 | 24000.00 | 5000.00 | 40000.00 | 3600.00 | 28800.00 | 3000.00 | 24000.00 | 24000.00 | S P SINGH BEDI AND SONS, A TECH BUILDERS
55.00 | Manhole: Construction of Manhole as per specification (Size 120cmx120cmx150cm) | 20.00 | Nos. | 1.25 | 14300.00 | 286000.00 | 13500.00 | 270000.00 | 18000.00 | 360000.00 | 15000.00 | 300000.00 | 270000.00 | Pavee Construction
56.00 | GI Pipe 65 mm | 300.00 | Mtr. | 0.00 | 900.00 | 270000.00 | 1000.00 | 300000.00 | 396.00 | 118800.00 | 500.00 | 150000.00 | 118800.00 | R K AND CO
57.00 | Electronic Route Marker | 20.00 | Nos. | 100.00 | 2700.00 | 54000.00 | 800.00 | 16000.00 | 3060.00 | 61200.00 | 4000.00 | 80000.00 | 16000.00 | Pavee Construction
58.00 | 12 Port LIU fully populated with 0 dB Adapters, pigtails and all required accessories | 8.00 | Nos. | 53.00 | 8000.00 | 64000.00 | 12000.00 | 96000.00 | 1350.00 | 10800.00 | 9500.00 | 76000.00 | 10800.00 | R K AND CO
59.00 | SC/SC Patch Chord ( 1 Mtr. ) | 48.00 | Nos. | 10.00 | 550.00 | 26400.00 | 370.00 | 17760.00 | 720.00 | 34560.00 | 1100.00 | 52800.00 | 17760.00 | Pavee Construction
60.00 | Outdoor laying or pulling of OFC with Soft digging : Construction of soft digging trench of 3 feet depth below ground level and laying of OFC in 40 mm HDPE and associated work with all required accessories. | 7000.00 | Mtr. | 11.00 | 280.00 | 1960000.00 | 350.00 | 2450000.00 | 360.00 | 2520000.00 | 100.00 | 700000.00 | 700000.00 | S P SINGH BEDI AND SONS
61.00 | Outdoor laying or pulling of OFC with Hard digging work/ HDD/ Boki : Construction of hard digging trench 3 feet depth below ground level and laying of OFC in 40 mm HDPE and associated work with all required accessories. | 150.00 | Mtr. | 10.00 | 440.00 | 66000.00 | 500.00 | 75000.00 | 360.00 | 54000.00 | 150.00 | 22500.00 | 22500.00 | S P SINGH BEDI AND SONS
62.00 | Outdoor laying or pulling of OFC through existing Hume pipe or trench or drain / Wall Clamping work : Outdoor laying/pulling of OFC in 40 mm HDPE & associated work with all required accessories. | 2000.00 | Mtr. | 22.00 | 120.00 | 240000.00 | 84.50 | 169000.00 | 90.00 | 180000.00 | 50.00 | 100000.00 | 100000.00 | S P SINGH BEDI AND SONS
63.00 | Installation, Splicing, Testing, Documentation and commissioning. | 1.00 | Nos. | 0.00 | 150000.00 | 150000.00 | 500000.00 | 500000.00 | 360000.00 | 360000.00 | 20000.00 | 20000.00 | 20000.00 | S P SINGH BEDI AND SONS
| Total in Figures |  |  |  |  | 26989560.00 |  | 28110100.00 |  | 30787565.00 |  | 26072500.00
Lowest Amount Quoted BY: S P SINGH BEDI AND SONS(26072500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Glide Path and Localizer Building and other associated works inside Airforce Area at Chandigarh Airport. Tender ID: 2025_AAI_259560_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S P SINGH BEDI AND SONS (BID ID -954513) | 26072500.00 | L1
| 2 | A TECH BUILDERS (BID ID -955812) | 26989560.00 | L2
| 3 | Pavee Construction (BID ID -954030) | 28110100.00 | L3
| 4 | R K AND CO (BID ID -952629) | 30787565.00 | L4