## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 16-Jan-2026 05:13 PM Tender Title: Misc. Capital works- SH- Provision of Wall Mounted unit for Hygiene and Odor Control using the Nano-X and Plasm-OX technology and without the use of any filters in Toilets at Bagdogra Airport. Tender ID: 2025_AAI_259923_1
Tender Inviting Authority: Dy. GM (E-E)
Name of Work: Misc. Capital works- SH: Provision of Wall Mounted unit for Hygiene and Odor Control using the Nano-X and Plasm-OX technology and without the use of any filters in Toilets at Bagdogra Airport.
Contract No: 2025_AAI_259923_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Bharat Engineering Co. (GSTN-NA) BID ID -953066 |  | Nutech Techno Services Private Limited (GSTN-NA) BID ID -955837 |  | Ultrapure Envirocare Pvt Ltd (GSTN-NA) BID ID -953087
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of Hygiene & Odor Control Unit-The system shall be Wall mounted standalone units with in-built Nano-X technology and Advanced Oxidation Plasma Technology (AOP) Cell Air Purifier capable of removing TVOC, Formaldehyde, Sulphur-di-oxide, nitrogen-di-oxide, ammonia, Escherichia coli (E. coli), total plate count, Yeast & Mold using the Nano-X and Plasm-OX technology that is without the use of any filters. The filter-based technology/system is not acceptable. The power/control cabling between the unit and the power source/controls shall be included in the cost and the unit to be installed on wall. The technology i.e. Nano-X and Plasm-OX shall be certified by Indian/ Foreign Lab for controlling and reducing various microorganism which creates odour in wash Room & test report for the same needs to be submitted. The GreenPro,CE,ISO 9001:2015, along with FDA compliance certifications shall be applicable for the offered product.The technology shall be tested by ICMR/IIT for cell toxicity to prove that it is absolutely safe for humans. The technology should not produce ozone, the certification for the same shall be attached. Indoor Air Quality test will be conducted at least 03 nos. of washrooms, as decided by engineer-in-charge for TVOC, Formaldehyde, Sulphur-di-oxide, nitrogen-di-oxide, ammonia, Escherichia coli (E. coli), Total plate count, Yeast & Mold before and after installation of the units and both the test reports from NABL accredited lab shall be submitted to AAI and guaranteed parameter mentioned above shall be fulfilled.
1.10 | Side discharge type,, Power consumption - 25 Watts to 35 Watts. | 14.00 | Job | 66357.00 | 58000.00 | 812000.00 | 58800.00 | 823200.00 | 56200.00 | 786800.00 | 786800.00 | Ultrapure Envirocare Pvt Ltd
1.20 | Side discharge type, Power consumption - 40 Watts to 60 Watts | 67.00 | Job | 88628.00 | 87000.00 | 5829000.00 | 86600.00 | 5802200.00 | 87000.00 | 5829000.00 | 5802200.00 | Nutech Techno Services Private Limited
2.00 | Supply of Portable type Carpet/Floor Dryer Fan having 2200 CFM Air Blower of capacity 0.5 HP and 15 Ft Cord suitable for use in Restrooms with the pupose of High velocity Air Drying , product must be having ETL Listed( US ) for Safety and durable use. [ Image of similar Product attached in Technical Specification for reference ]. | 10.00 | Job | 39198.00 | 65000.00 | 650000.00 | 63000.00 | 630000.00 | 56000.00 | 560000.00 | 560000.00 | Ultrapure Envirocare Pvt Ltd
| Total in Figures |  |  |  |  | 7291000.00 |  | 7255400.00 |  | 7175800.00
Lowest Amount Quoted BY: Ultrapure Envirocare Pvt Ltd(7175800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Misc. Capital works- SH- Provision of Wall Mounted unit for Hygiene and Odor Control using the Nano-X and Plasm-OX technology and without the use of any filters in Toilets at Bagdogra Airport. Tender ID: 2025_AAI_259923_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ultrapure Envirocare Pvt Ltd (BID ID -953087) | 7175800.00 | L1
| 2 | Nutech Techno Services Private Limited (BID ID -955837) | 7255400.00 | L2
| 3 | Bharat Engineering Co. (BID ID -953066) | 7291000.00 | L3