## BoQ1
Government eProcurement System Created By: Meetkumar Rajvir Created Date/Time: 31-Jan-2026 11:55 AM Tender Title: Electrical works for reserved lounge in arrival and check-in area at C.E., Bhuj Tender ID: 2025_AAI_260091_1
Tender Inviting Authority: Manager (Engg.-Electrical), Airports Authority of India, Bhuj Airport, Bhuj- 370001.
Name of Work: Electrical works for reserved lounge in arrival & check-in area at C.E., Bhuj
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -962175 |  | DEEPAKELECTRICALS (GSTN-33ALUPD3531C1ZI) BID ID -962432 |  | MACH ENTERPRISES (GSTN-NA) BID ID -962839
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of ceiling mounted Inverter Cassette type Air Conditioning Unit of 3 TR capacity, 5 star consisting of ceiling mounted indoor unit and condenser (Copper) unit with nominal cooling capacity of 36000 BTU/Hr. or more suitable for operation on single-phase, 230 volts, 50 Hz AC supply with compressor (Inverter type) suitable for R-410A/ R-32/ non CFC gas, cordless remote controller, integrated drain pump, auto air swing louvers extremely quiet in operation etc. | 7.00 | Each |  | 100000.00 | 700000.00 | 160000.00 | 1120000.00 | 105000.00 | 735000.00 | 700000.00 | CENTRE TAP ENGINEERING
2.00 | Installation, testing and commissioning of ceiling mounted Inverter Cassette type Air Conditioning Unit of 3 TR capacity, 5 star consisting of ceiling mounted indoor unit and condenser (Copper) unit including mounting indoor unit from the ceiling with suitable brackets/ tie rod as per standard practice in the industry, installation of condensing units with suitable MS angle/ channel/ bracket/ supports on the terrace/ sunshade/ wall/ column as per site requirements, initial filling of the gas to full capacity etc. as required. (Including suitable size of Insulated copper Suction Pipe / discharge pipe Line, 3 x 2.5 sqmm copper conductor cable, 25 mm drain PVC pipe up to standard length if supplied by OEM with AC unit from indoor to outdoor units.) | 7.00 | Each |  | 3800.00 | 26600.00 | 4000.00 | 28000.00 | 2000.00 | 14000.00 | 14000.00 | MACH ENTERPRISES
3.00 | Providing & fixing of suitable size Copper Refrigerant piping suitable for R-410A/ R-32/ non CFC (Supply and return) refrigerant with expanded polythene foam insulation tubing with flexible PVC covering pipe for cassette type air conditioners as required. (Measurement of 1 running mtr. will include both supply & return copper piping with insulation excluding standard length supplied by OEM with AC unit). | 260.00 | Meter |  | 1300.00 | 338000.00 | 1500.00 | 390000.00 | 1000.00 | 260000.00 | 260000.00 | MACH ENTERPRISES
4.00 | Providing and fixing of 25 mm size UPVC drain pipe from the respective units, concealed in wall/clamping on surface, sealing the joints including making of opening and repairing of wall as per site condition. | 150.00 | Metre |  | 165.00 | 24750.00 | 100.00 | 15000.00 | 50.00 | 7500.00 | 7500.00 | MACH ENTERPRISES
5.00 | Supply of 4 core 16 sq. mm of 1.1 KV grade multi core XLPE insulated PVC sheathed armoured FRLS copper cable (as IS: 7098 Part -1 with upto date amendments) complete as required as per specifications. | 400.00 | Metre |  | 750.00 | 300000.00 | 760.00 | 304000.00 | 981.76 | 392704.00 | 300000.00 | CENTRE TAP ENGINEERING
6.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of upto 35 sq. mm in existing RCC/ HUME/ METAL pipe as required. | 16.00 | Meter |  | 25.00 | 400.00 | 22.00 | 352.00 | 47.00 | 752.00 | 352.00 | DEEPAKELECTRICALS
7.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of upto 35 sq. mm (clamped with 1mm thick saddle) on wall surface as required. | 384.00 | Meter |  | 40.00 | 15360.00 | 32.00 | 12288.00 | 64.00 | 24576.00 | 12288.00 | DEEPAKELECTRICALS
8.00 | Supply of round type recessed mounting 18W-22W LED downlighter fitting having white powder coated aluminium die cast with heat sink, driver and spring loaded mounting clips including internal wiring etc. complete with all accessories as required at site. (Cool White Light : 6500K) | 25.00 | Each |  | 850.00 | 21250.00 | 1400.00 | 35000.00 | 885.00 | 22125.00 | 21250.00 | CENTRE TAP ENGINEERING
9.00 | Supply of warm white (3000K) 12W-16W LED downlighter fitting having white powder coated aluminium die cast with heat sink, driver and spring loaded mounting clips including internal wiring etc. complete with all accessories as required at site. | 36.00 | Each |  | 300.00 | 10800.00 | 1250.00 | 45000.00 | 2000.00 | 72000.00 | 10800.00 | CENTRE TAP ENGINEERING
10.00 | Supply of premium indoor decorative light with contemporary sleek design, handging light (Pendant Light) having minimum dimension of (32 x 32 x 160) (L X W X H) cm having shade material should be wood with down lighter arrangements complete fitting including 30-40 w warm white LED light and complete internal wiring. (Make : Wipro ; Model : Buehome pendant light BP02 or equivalent) | 17.00 | Each |  | 4300.00 | 73100.00 | 3500.00 | 59500.00 | 2800.00 | 47600.00 | 47600.00 | MACH ENTERPRISES
11.00 | Supply of warm white (3000K) 7W LED table lamp fitting including internal wiring etc. complete with all accessories as required at site. (Make : Jaquar ; Model : 7 W Fabric shade table lamp or equivalent) | 15.00 | Each |  | 2150.00 | 32250.00 | 5500.00 | 82500.00 | 1500.00 | 22500.00 | 22500.00 | MACH ENTERPRISES
12.00 | Supply of warm white (3000K) 7W LED wall light fitting including internal wiring etc. complete with all accessories as required at site. (Make : Jaquar ; Model : Wall light opal glass with nickel finish base or equivalent) | 10.00 | Each |  | 2600.00 | 26000.00 | 4500.00 | 45000.00 | 1500.00 | 15000.00 | 15000.00 | MACH ENTERPRISES
13.00 | Supply of 1200 mm sweep, 40 W BEE 5 star BLDC Fan having min. 300rpm, power factor > 0.9 and suitable for use on 230 volts, 50 Hz, single phase, A.C. supply and should be compatible to operate with electronic step type regulator and the fan should be remote control fan etc. complete as required. (Make : Havells ; Model : FHCCG5SPLC48 or equivalent) | 4.00 | Each |  | 7000.00 | 28000.00 | 5500.00 | 22000.00 | 10000.00 | 40000.00 | 22000.00 | DEEPAKELECTRICALS
14.00 | SITC of wall mounting fan of 400mm sweep with high quality plastic with guard pull cord control for speed and oscillation on-off, having 1350 RPM, Maximum power consumption 50 W, minimum air deliivery of 72 CMM suitable for operation at 230/-5% V, 50+/-5% Hz.etc. as required. (Make : Havells ; Model : FHWPTRCWHT16 or equivalent) | 4.00 | Each |  | 2550.00 | 10200.00 | 3300.00 | 13200.00 | 3891.60 | 15566.40 | 10200.00 | CENTRE TAP ENGINEERING
15.00 | SITC of 300 mm sweep metal body Exhaust fan, 1400 rpm suitable for use on 230V, 50Hz, minimum air deliivery of 1850 m^3/h , 70 W single phase, A.C. supply with louver & shutter in the existing opening, including making good the damage, connection, testing, commissioning. (Make : Havells ; Model : FHVVEMTDBB12 or equivalent) | 6.00 | Each |  | 1600.00 | 9600.00 | 2500.00 | 15000.00 | 2147.60 | 12885.60 | 9600.00 | CENTRE TAP ENGINEERING
16.00 | Supply of 1.5 Ltr. capacity, Stainless steel body material, 1.5 KW rated input & safety locking lid, BIS marked electric kettle suitable for operation on 230 V(+/-10%), 50 Hz, AC supply having auto shut off operation, boil dry protection, ON and OFF switch with light indicator as per technical specifications etc complete as required. (Make : Havells ; Model : GHBKTAYK150 or equivalent) | 2.00 | Each |  | 1200.00 | 2400.00 | 2500.00 | 5000.00 | 2899.00 | 5798.00 | 2400.00 | CENTRE TAP ENGINEERING
17.00 | Supply of 45 Ltr. (or above) capacity, single door, copper coil, direct cool refrigerator having eco-friendly refrigerant and confirming to IS:17550 suitable for operation on 230 V(+-10%), 50 Hz , AC supply having minimum 2 star rating and minimum dimension of (44.5 X 47X 50) cm as per technical specifications etc complete as required. (Make : Blue Star ; Model : MR60-GB or equivalent) | 2.00 | Each |  | 8250.00 | 16500.00 | 16000.00 | 32000.00 | 9490.00 | 18980.00 | 16500.00 | CENTRE TAP ENGINEERING
18.00 | SITC of 55", BEE 4 star or above rated smart LED TV having android operating system, UHD resolution, 2 HDMI ports, 2 USB ports & 1 ethernet port, with built in wifi system, built-in speakers (10W X 2), batteries, connecting cable, refresh rate 60 Hz, remote control, both table & wall mounted, BIS registration and suitable for operation on 230 V(+-10%), 50 Hz , AC supply etc. complete as required. | 3.00 | Each |  | 43000.00 | 129000.00 | 68000.00 | 204000.00 | 91200.00 | 273600.00 | 129000.00 | CENTRE TAP ENGINEERING
19.00 | Supply, Installation, Testing & Commissioning of Digital Brushless Jet Hand Dryer with SS304 grade Steel construction suitable for 230V, AC supply, brushless DC motor with auto cutoff within 18sec, 32000 RPM , Air Speed : 95 m/s , Drying Time : 8-10 s , power : 800 - 1400 watt, noise level not more than 80 dB alongwith Heater element, IPX1 protection complete as required. (Make : Dolphy ; Model : DAHD0054 or equivalent) | 3.00 | Each |  | 41000.00 | 123000.00 | 56500.00 | 169500.00 | 44956.47 | 134869.41 | 123000.00 | CENTRE TAP ENGINEERING
20.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 125 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incomer ) as required. 8 way (4 + 24), Double door | 2.00 | Each |  | 8400.00 | 16800.00 | 14500.00 | 29000.00 | 10724.00 | 21448.00 | 16800.00 | CENTRE TAP ENGINEERING
21.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. i). Single pole | 22.00 | Each |  | 200.00 | 4400.00 | 187.00 | 4114.00 | 285.00 | 6270.00 | 4114.00 | DEEPAKELECTRICALS
22.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. i). Double pole | 4.00 | Each |  | 530.00 | 2120.00 | 450.00 | 1800.00 | 696.00 | 2784.00 | 1800.00 | DEEPAKELECTRICALS
23.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. i). Triple pole and neutral | 2.00 | Each |  | 1000.00 | 2000.00 | 1100.00 | 2200.00 | 1301.00 | 2602.00 | 2000.00 | CENTRE TAP ENGINEERING
24.00 | Supplying and fixing 63A rating, 415 V, 10 kA, Four Pole MCB (C Curve) suitable for inductive load in the existing TPN MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each |  | 2000.00 | 4000.00 | 1800.00 | 3600.00 | 1115.00 | 2230.00 | 2230.00 | MACH ENTERPRISES
25.00 | Supplying and fixing of 63 Amp rating, Four Pole, 415/240 volts, residual current breaker with overload protection (RCBO), having a sensitivity current 100 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each |  | 5650.00 | 11300.00 | 4500.00 | 9000.00 | 3597.00 | 7194.00 | 7194.00 | MACH ENTERPRISES
26.00 | Wiring for circuit/ submain wiring alongwith earth wire with the 2 x 2.5 sq. mm + 1 x 2.5 sq. mm. FRLS PVC insulated copper conductor, single core cable in existing recessed steel coduit as required. | 450.00 | Meter |  | 180.00 | 81000.00 | 165.00 | 74250.00 | 414.00 | 186300.00 | 74250.00 | DEEPAKELECTRICALS
27.00 | Supplying and drawing following sizes of FRLS/HFFR PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 4 x 6 sq. mm | 550.00 | Meter |  | 320.00 | 176000.00 | 350.00 | 192500.00 | 431.00 | 237050.00 | 176000.00 | CENTRE TAP ENGINEERING
28.00 | Supplying and drawing following sizes of FRLS/HFFR PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 4 x 2.5 sq. mm | 300.00 | Meter |  | 140.00 | 42000.00 | 220.00 | 66000.00 | 189.00 | 56700.00 | 42000.00 | CENTRE TAP ENGINEERING
29.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. A). 25 mm | 750.00 | Meter |  | 200.00 | 150000.00 | 145.00 | 108750.00 | 289.00 | 216750.00 | 108750.00 | DEEPAKELECTRICALS
30.00 | Wiring for Group 'C' light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. | 50.00 | Point |  | 1450.00 | 72500.00 | 900.00 | 45000.00 | 2101.00 | 105050.00 | 45000.00 | DEEPAKELECTRICALS
31.00 | Wiring for group 'C' controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. | 30.00 | Point |  | 860.00 | 25800.00 | 870.00 | 26100.00 | 1246.00 | 37380.00 | 25800.00 | CENTRE TAP ENGINEERING
32.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. 3 Module (100mmX75mm) | 8.00 | Each |  | 250.00 | 2000.00 | 200.00 | 1600.00 | 384.00 | 3072.00 | 1600.00 | DEEPAKELECTRICALS
33.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. 6 Module (200mmX75mm) | 9.00 | Each |  | 300.00 | 2700.00 | 450.00 | 4050.00 | 462.00 | 4158.00 | 2700.00 | CENTRE TAP ENGINEERING
34.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 amps switch | 16.00 | Each |  | 80.00 | 1280.00 | 56.00 | 896.00 | 121.00 | 1936.00 | 896.00 | DEEPAKELECTRICALS
35.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 amps switch | 25.00 | Each |  | 125.00 | 3125.00 | 89.00 | 2225.00 | 176.00 | 4400.00 | 2225.00 | DEEPAKELECTRICALS
36.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 amp socket outlet | 25.00 | Each |  | 160.00 | 4000.00 | 165.00 | 4125.00 | 219.00 | 5475.00 | 4000.00 | CENTRE TAP ENGINEERING
37.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. Telephone socket outlet | 4.00 | Each |  | 120.00 | 480.00 | 90.00 | 360.00 | 168.00 | 672.00 | 360.00 | DEEPAKELECTRICALS
38.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. TV antenna socket outlet | 3.00 | Each |  | 120.00 | 360.00 | 71.00 | 213.00 | 168.00 | 504.00 | 213.00 | DEEPAKELECTRICALS
39.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 4.00 | Each |  | 300.00 | 1200.00 | 456.00 | 1824.00 | 402.00 | 1608.00 | 1200.00 | CENTRE TAP ENGINEERING
40.00 | Installation, testing and commissioning of pre-wired, LED fittings/ fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 115.00 | Each |  | 150.00 | 17250.00 | 100.00 | 11500.00 | 259.00 | 29785.00 | 11500.00 | DEEPAKELECTRICALS
41.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 4.00 | Each |  | 160.00 | 640.00 | 120.00 | 480.00 | 266.00 | 1064.00 | 480.00 | DEEPAKELECTRICALS
42.00 | SITC of 1500 mm sprinkler flexible pipe (UL Listed) of stainless steel complete with 15 NPT on reducer thread with maximum working pressure of 175 PSI test pressure of 875 PSI (Burst) with branch line (Inlet) 25mm NPT male thread to sprinkler head (Outlet) 15mm NPT female thread with reducer, nipple, 2 side brackets, center bracket, stockbar of following sizes i/c sprinkler head of pendant and rosette adjustable type quartzoid bulb operating temperature 68° C complete as required after removing existing MS sprinkler drop. | 22.00 | Each |  | 3500.00 | 77000.00 | 4500.00 | 99000.00 | 525.00 | 11550.00 | 11550.00 | MACH ENTERPRISES
43.00 | Supply, installation, testing & Commissioning of addressable multicriteria type smoke detectors with built in LED and mounting base complete with all connections etc as required. (Make : Notifier , Model : FAPT - 851) (The detectors should be compatible to fit into the existing panel and the cost includes complete programming of newly installed detectors into the existing fire panel) | 27.00 | Each |  | 6000.00 | 162000.00 | 3000.00 | 81000.00 | 375.00 | 10125.00 | 10125.00 | MACH ENTERPRISES
44.00 | Supply of 3.5C X 240 sq.mm size of XLPE insulated & PVC sheathed, armoured, FRLS aluminium conductor under ground/surface cable of 1.1KV grade as per IS 7098:1988 Part-I with upto date amendments complete as required. | 2100.00 | Meter |  | 1250.00 | 2625000.00 | 1190.00 | 2499000.00 | 1055.00 | 2215500.00 | 2215500.00 | MACH ENTERPRISES
45.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. a). 120 mm dia (OD-120 mm & ID-103 mm nominal) | 60.00 | Meter |  | 350.00 | 21000.00 | 350.00 | 21000.00 | 417.00 | 25020.00 | 21000.00 | CENTRE TAP ENGINEERING, DEEPAKELECTRICALS
46.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC-HDPE pipe as required. a). Above 185 sq. mm and upto 400 sq. mm | 260.00 | Meter |  | 90.00 | 23400.00 | 41.00 | 10660.00 | 170.00 | 44200.00 | 10660.00 | DEEPAKELECTRICALS
47.00 | Supply & Laying of 100 mm dia size B class G.I pipe confirming to IS : 1239 part-1 (2004) for road crossing at a depth of 300mm i/c cutting bituminous surface, re-filling with cement concrete of 1:2:4 and making good the same as required. | 110.00 | Meter |  | 370.00 | 40700.00 | 2200.00 | 242000.00 | 1097.40 | 120714.00 | 40700.00 | CENTRE TAP ENGINEERING
48.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for 3.5X240 sq.mm PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 3.00 | Each |  | 4000.00 | 12000.00 | 4500.00 | 13500.00 | 5283.00 | 15849.00 | 12000.00 | CENTRE TAP ENGINEERING
49.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. a). Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3 mm MS flat clamp) | 70.00 | Meter |  | 165.00 | 11550.00 | 55.00 | 3850.00 | 271.00 | 18970.00 | 3850.00 | DEEPAKELECTRICALS
50.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. a). Above 185 sq. mm and upto 400 sq. mm (Clamped with 40x3 mm MS Flat Clamp) | 1600.00 | Meter |  | 135.00 | 216000.00 | 55.00 | 88000.00 | 226.00 | 361600.00 | 88000.00 | DEEPAKELECTRICALS
51.00 | Supplying and making end termination with brass compression gland and aluminium/copper lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 240 sq. mm (62 mm) | 20.00 | Each |  | 800.00 | 16000.00 | 750.00 | 15000.00 | 1160.00 | 23200.00 | 15000.00 | DEEPAKELECTRICALS
52.00 | Supplying and making end termination with brass compression gland and aluminium/copper lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 16 sq. mm (28mm) | 4.00 | Each |  | 240.00 | 960.00 | 260.00 | 1040.00 | 366.00 | 1464.00 | 960.00 | CENTRE TAP ENGINEERING
53.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray (Galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, including the cable tray GI covers if laid on surface/wall etc. as required. i). 300 mm width X 50 mm depth X 1.6 mm thickness | 650.00 | Meter |  | 1350.00 | 877500.00 | 784.00 | 509600.00 | 613.60 | 398840.00 | 398840.00 | MACH ENTERPRISES
54.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. i). Above 185 sq. mm and upto 400 sq. mm | 160.00 | Meter |  | 77.00 | 12320.00 | 45.00 | 7200.00 | 146.00 | 23360.00 | 7200.00 | DEEPAKELECTRICALS
55.00 | Providing and fixing following rating and breaking capacity MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. 250 A, 50 kA, FP MCCB | 4.00 | Each |  | 15000.00 | 60000.00 | 30000.00 | 120000.00 | 13633.00 | 54532.00 | 54532.00 | MACH ENTERPRISES
56.00 | Providing and fixing following rating and breaking capacity MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. 400 A, 50 kA, FP MCCB | 4.00 | Each |  | 35000.00 | 140000.00 | 45000.00 | 180000.00 | 31928.00 | 127712.00 | 127712.00 | MACH ENTERPRISES
| Total in Figures |  |  |  |  | 6803595.00 |  | 7077777.00 |  | 6502524.41
Lowest Amount Quoted BY: MACH ENTERPRISES(6502524.41)

## BOQ Summary
BOQ Summary Details Tender Title: Electrical works for reserved lounge in arrival and check-in area at C.E., Bhuj Tender ID: 2025_AAI_260091_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MACH ENTERPRISES (BID ID -962839) | 6502524.41 | L1
| 2 | CENTRE TAP ENGINEERING (BID ID -962175) | 6803595.00 | L2
| 3 | DEEPAKELECTRICALS (BID ID -962432) | 7077777.00 | L3