## BoQ1
Government eProcurement System Created By: Annapoorani Chakravarthy Created Date/Time: 23-Jan-2026 11:23 AM Tender Title: Provision of 13 Passenger Lift at Community Hall AAI Residential Colony Southern Region Chennai Tender ID: 2025_AAI_260209_1
Tender Inviting Authority: MANAGER (ENGG-ELECTRICAL), AAI, RHQ-SR, CHENNAI AIRPORT-600016.
Name of Work: Provision of 13 Passenger Lift at Community hall, AAI Residential Colony , Southern Region, Chennai
Contract No: 2025_AAI_260209_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | OMEGA ELEVATORS (GSTN-24ADFPD4986L1Z9) BID ID -959051 |  | Johnson Lifts Pvt Ltd (GSTN-33AAACJ0838Q1ZD) BID ID -959279
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : SITC of 13 Passenger Lift
1.01 | Supply, Installation, Testing and Commissioning of Machine Room less (MRL) 884kgs Passenger lift having minimum operating speed of 1.25 mps as per manufacture standards in the existing lift shaft serving G +1 Floor as per detailed specification given below and as per Techno Commercial specifications (TCS) complete as required. Travel : 4 Meters (Approx) Stops and Opening : Ground Floor + 1 stop Drive : Microprocessor based AC Variable Voltage Variable Frequency (VVVF) drive Machine : Gearless type Brake System : Electromagnet type Operation : Simplex control with or without attendant Power : 415 V, 3 phase, 50Hz, 4 wire system Shaft : Structural Car, Lift shaft, Pit Depth size: As per OEM specification
1.02 | Type of Door : Car Finish : Stainless Steel Hairline finish with minimum thickness of 1.2 mm Car Door : Power operated centre opening sliding door - SS Enveloped /Framed Glass Door. Size: Not less than 900 mm (w) x 2000 mm (H) Landing Door Finish : Centre opening sliding door - SS Enveloped /Framed Glass Door. Size: Not less than 900 mm (w) x 2000 mm (H) Floor : 20mm Granite Ceiling : sleek ( circular lights+fan)-Stainless Steel hairline finish Automatic Rescue Device complete with dry maintenance free batteries as required Safety Features : As per technical specification and as per standards Additional features : Voice announcement system to know the position of Landing , Braille button, SS Hand rail on 3 sides, Mirror on opposite of Car door, 2MP dome camera and as per specification.
1.03 | Total (1.01 to 1.02) | 1.00 | Job |  | 1798000.00 | 1798000.00 | 1650000.00 | 1650000.00 | 1650000.00 | Johnson Lifts Pvt Ltd
2.00 | SH: II -All Inclusive Comprehensive Maintenance Contract (AICMC) of 13 Passenger Lift
2.01 | All Inclusive Comprehensive Maintenance (AICMC) of 01 No. 13 Passenger Lift as mentioned at Item No. 1 of SH:I installed in Community hall Building including repair and replacement of all Mechanical, Electrical spares and consumables as and when required to keep the system 100% service condition, replacement of all associated batteries, renewal of Lift license and insurance, providing full support during breakdown & trouble shooting, programming, carrying out MONTHLY routine maintenance checks, preventive and breakdown maintenance etc. as required as per good engineering practices, recommendations of the respective Original Equipment Manufacturer (OEM) and as per the instructions of Engineer-In-Charge for maintaining the systems. This includes keeping the system in acceptable functional and serviceable state etc. as specified including cost of all spare parts and submission of monthly maintenance service records and Reporting etc., as required.
2.02 | First Year after Completion of 01 (One) year DLP (Considered 4% of SITC Cost of item No. 01) | 1.00 | Annum |  | 71920.00 | 71920.00 | 66000.00 | 66000.00 | 66000.00 | Johnson Lifts Pvt Ltd
2.03 | Second Year after Completion of 01 (One) year DLP (Considered Yearly 8% cumulative enhancement on 1st year AICMC Rate) | 1.00 | Annum |  | 77674.00 | 77674.00 | 71280.00 | 71280.00 | 71280.00 | Johnson Lifts Pvt Ltd
2.04 | Third Year after Completion of 01 (One) year DLP (Considered Yearly 8% cumulative enhancement on 2nd year AICMC Rate) | 1.00 | Annum |  | 83888.00 | 83888.00 | 76982.00 | 76982.00 | 76982.00 | Johnson Lifts Pvt Ltd
2.05 | Fourth Year after Completion of 01 (One) year DLP (Considered Yearly 8% cumulative enhancement on 3rd year AICMC Rate) | 1.00 | Annum |  | 90599.00 | 90599.00 | 83141.00 | 83141.00 | 83141.00 | Johnson Lifts Pvt Ltd
2.06 | Fifth Year after Completion of 01 (One) year DLP (Considered Yearly 8% cumulative enhancement on 4th year AICMC Rate) | 1.00 | Annum |  | 97847.00 | 97847.00 | 89792.00 | 89792.00 | 89792.00 | Johnson Lifts Pvt Ltd
| Total in Figures |  |  |  |  | 2219928.00 |  | 2037195.00
Lowest Amount Quoted BY: Johnson Lifts Pvt Ltd(2037195.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of 13 Passenger Lift at Community Hall AAI Residential Colony Southern Region Chennai Tender ID: 2025_AAI_260209_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Johnson Lifts Pvt Ltd (BID ID -959279) | 2037195.00 | L1
| 2 | OMEGA ELEVATORS (BID ID -959051) | 2219928.00 | L2