## BoQ1
Government eProcurement System Created By: Anand Kumar Created Date/Time: 04-Feb-2026 11:07 AM Tender Title: AAI/PKNG/EE/2025-26 Tender ID: 2025_AAI_260859_1
Tender Inviting Authority: Airports Authority of india.
Name of Work: SITC of Energy efficient Air-conditioners at Pakyong Airport, Sikkim.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED (GSTN-07ABDCS2796Q1ZH) BID ID -961981 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -965730
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, testing and Commissioning of 5 Star, Inverter type Air-conditioner complete with indoor unit, outdoor unit and having air cooled copper condenser, remote operation, rotary compressor, with R-32/R-410/R-407 or environment friendly Refrigerant, suitable for 230 V, 50Hz, A.C supply etc. including providing and fixing of 3 meter standard length refrigerant cu piping, drain piping of suitable size, Control cable, installing the outdoor unit at a suitable location by providing wall mounting with suitable stand/PCC foundation etc. complete as required.
1.01 | a)2 TR with 5 star Hi Wall Split AC | 2.00 | Job |  | 80000.00 | 160000.00 | 84500.00 | 169000.00 | 160000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
1.02 | b)1.5 TR with 5 star Hi Wall Split AC | 3.00 | Job |  | 64000.00 | 192000.00 | 65000.00 | 195000.00 | 192000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
3.00 | Extra for Supplying and laying of Copper Piping along with suitable thermal insulation etc complete as required for above AC. | 50.00 | meter |  | 680.00 | 34000.00 | 750.00 | 37500.00 | 34000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
4.00 | Extra for Supplying and laying of 3 core 2.5 Sqmm PVC insulated, PVC Sheathed copper multi core cable etc complete as required for above AC. | 50.00 | meter |  | 100.00 | 5000.00 | 50.00 | 2500.00 | 2500.00 | Manish Electricals
5.00 | Extra for supply and fixing of 25 mm dia., PVC drain water pipe along with bends, couplers on surface/recess including cutting the wall and making good the same in case of recessed pipe etc complete as required. | 50.00 | meter |  | 100.00 | 5000.00 | 50.00 | 2500.00 | 2500.00 | Manish Electricals
6.00 | Supply, installation, testing and commissioning of 20 ampere Modular Socket Box with inbuilt 20 ampere SP, C Curve Mini MCB, Plastic enclosure & unbreakable Heavy duty with ISI marke plug top and necessary connection i/c dismantling of existing power plug if necessary complete as required. | 5.00 | Each |  | 800.00 | 4000.00 | 750.00 | 3750.00 | 3750.00 | Manish Electricals
7.00 | Installation testing and Commissioning of 2.0 TR /1.5 TR high wall Split Acs ( Invertor Type) Unit etc and making of necessary hole on concrete wall and making good the damages i/c providing suitable size PVC pipe for drawing the /drain pipe and wire etc through the concrete/brick wall as required. | 1.00 | Job |  | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 4000.00 | Manish Electricals
8.00 | Dismantling of existing 2/1.5 TR Ac and transportation of dismantled items upto dismantle store complete as required. | 1.00 | Each |  | 5000.00 | 5000.00 | 3500.00 | 3500.00 | 3500.00 | Manish Electricals
| Total in Figures |  |  |  |  | 410000.00 |  | 417750.00
Lowest Amount Quoted BY: S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(410000.00)

## BOQ Summary
BOQ Summary Details Tender Title: AAI/PKNG/EE/2025-26 Tender ID: 2025_AAI_260859_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED (BID ID -961981) | 410000.00 | L1
| 2 | Manish Electricals (BID ID -965730) | 417750.00 | L2