## BoQ1
Government eProcurement System Created By: JITENDRA SHIKERIA Created Date/Time: 18-Feb-2025 11:03 AM Tender Title: Repairs to Unit Run Canteen at IOLAM Hostel Building Tender ID: 2025_AVNL_223814_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGR MTPF (AVNL) AMBERNATH
Name of Work: REPAIRS TO UNIT RUN CANTEEN AT IOLAM HOSTEL BUILDING
Contract No: 0503/12/2024-25/EO/MPF
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NIKHIL MALLAPPA SANGOLIKAR (GSTN-27ISMPS1278C1ZA) BID ID -813155 |  | JAYPEE ENTERPRISES (GSTN-NA) BID ID -813232 |  | HINDUSTAN CONSTRUCTION CO (GSTN-NA) BID ID -813207
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | REPAIRS TO UNIT RUN CANTEEN AT IOLAM HOSTEL BUILDING
1.10 | M & L for demolition in order of brickwork built in cement mortar, thorough cleaning or premises & removal of all rubbish outside premises etc all complete as directed by the Engg in Charge. | 6.00 | Cu.m | 1817.75 | 1300.00 | 7800.00 | 550.00 | 3300.00 | 1360.00 | 8160.00 | 3300.00 | JAYPEE ENTERPRISES
2.10 | Taking down chowkhats or frames with shutters exc 1.5 Sq.m but n exc 4 Sq.m each & removing to store etc all complete as directed by the Engg in charge. | 23.00 | Each | 455.60 | 300.00 | 6900.00 | 250.00 | 5750.00 | 342.00 | 7866.00 | 5750.00 | JAYPEE ENTERPRISES
3.10 | Dismantling wrought iron or mild steel work of any description not otherwise provided for including cleaning of site & removal all rubbish outside premises etc all complete as directed by EIC | 9.00 | Per Quintal | 574.90 | 325.00 | 2925.00 | 500.00 | 4500.00 | 432.00 | 3888.00 | 2925.00 | NIKHIL MALLAPPA SANGOLIKAR
4.10 | Taking down cement or cement lime plaster any description including complete cleaning of site & removal of all rubbish outside premises etc all complete as directed by EIC | 270.00 | Sq.m | 94.94 | 60.00 | 16200.00 | 75.00 | 20250.00 | 81.00 | 21870.00 | 16200.00 | NIKHIL MALLAPPA SANGOLIKAR
5.10 | Dismantling floor, hearth or wall tiling including cement mortar bedding (but not backing), removing serviceable tiles to store and rubbish off the premises etc all complete as directed by EIC | 29.00 | Sq.m | 89.50 | 65.00 | 1885.00 | 75.00 | 2175.00 | 81.00 | 2349.00 | 1885.00 | NIKHIL MALLAPPA SANGOLIKAR
6.10 | M & L for brickwork built in CM 1:4 with sub class 'B' bricks etc all complete as directed by the EIC | 6.00 | Cu.m | 5370.50 | 4800.00 | 28800.00 | 4750.00 | 28500.00 | 4860.00 | 29160.00 | 28500.00 | JAYPEE ENTERPRISES
7.10 | M & L for rendering cement plaster in CM 1:4, avg 20 mm thick with neeru finish etc all complete as directed by EIC | 270.00 | Sq.m | 371.44 | 273.00 | 73710.00 | 250.00 | 67500.00 | 333.00 | 89910.00 | 67500.00 | JAYPEE ENTERPRISES
8.10 | M & L for rendering cement plaster in CM 1:4, avg 20 mm thick including chemical treatment and grouting for chajja and lintle RCC damaged portion etc all complete as directed by EIC. | 91.00 | Sq.m | 321.44 | 240.00 | 21840.00 | 250.00 | 22750.00 | 630.00 | 57330.00 | 21840.00 | NIKHIL MALLAPPA SANGOLIKAR
9.10 | M & L for Screed bed or bedding layer of mortar Avg 25 mm thick in CM 1:4 for laying floor finishes etc all complete as directed by EIC. | 33.00 | Sq.m | 333.35 | 260.00 | 8580.00 | 150.00 | 4950.00 | 315.00 | 10395.00 | 4950.00 | JAYPEE ENTERPRISES
10.10 | S & F Vitrified Ceramic tiles light shade 10 mm thick of approved design & colour (square/ rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match etc all complete as directed by EIC.(Make: Somany / Kajaria / Johnson) Note: Sample, design, colour pattern shall be got approved from EIC before fixing. | 29.00 | Sq.m | 1469.80 | 1160.00 | 33640.00 | 1150.00 | 33350.00 | 1260.00 | 36540.00 | 33350.00 | JAYPEE ENTERPRISES
11.10 | S & F Non - skid Ceramic coloured tiles 7 to 8mm thick area of each tile exceeding 0.18 sqm but not exceeding 0.38 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match etc all complete as directed by EIC. Note: Sample, design, colour pattern shall be got approved from EIC before fixing. | 8.00 | Sq.m | 1428.70 | 1115.00 | 8920.00 | 1050.00 | 8400.00 | 1170.00 | 9360.00 | 8400.00 | JAYPEE ENTERPRISES
12.10 | S & F Glazed ceramic coloured tiles in vertical surface 350x 250x 7mm / 450X 300x 7mm thick set and jointed in neat cement slurry and pointed in white or colour cement to match etc all complete as directed by EIC.(Make: Somany / Kajaria / Johnson) Note: Sample, design, colour pattern shall be got approved from EIC before fixing | 42.00 | Sq.m | 1338.40 | 1050.00 | 44100.00 | 1050.00 | 44100.00 | 1197.00 | 50274.00 | 44100.00 | NIKHIL MALLAPPA SANGOLIKAR, JAYPEE ENTERPRISES
13.10 | S & F Granite 20 mm thick of selected shade & quality (table rubbed and polished) in steps, jambs, pillars, window-cills, cooking platforms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite etc all complete as directed by the EIC. Note: Sample, design, colour pattern shall be got approved from EIC before fixing. | 128.00 | Sq.m | 5183.70 | 4250.00 | 544000.00 | 4250.00 | 544000.00 | 4662.00 | 596736.00 | 544000.00 | NIKHIL MALLAPPA SANGOLIKAR, JAYPEE ENTERPRISES
14.10 | Providing edge moulding to 18-20mm thick granite stone of counters vanities etc. including machine polishing to edge to give high gloss finish etc. complete as directed by the EIC. | 562.00 | Rm | 376.25 | 290.00 | 162980.00 | 250.00 | 140500.00 | 171.00 | 96102.00 | 96102.00 | HINDUSTAN CONSTRUCTION CO
15.10 | S&F Machine cut cudappah stone slab 20-25mm thick over cement screed base, laid and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing etc all complete as directed by EIC. | 3.00 | Sq.m | 849.10 | 900.00 | 2700.00 | 850.00 | 2550.00 | 999.00 | 2997.00 | 2550.00 | JAYPEE ENTERPRISES
16.10 | S&F first class hard wood , Plain, solid, straight chowkats and frames, wrought, framed rebated on the solid, rounded or chamfered, put together with glue pinned at joints, supplied and fixed etc all complete as directed by EIC. | .36 | Cu.m | 172774.30 | 150000.00 | 54000.00 | 150000.00 | 54000.00 | 126000.00 | 45360.00 | 45360.00 | HINDUSTAN CONSTRUCTION CO
17.10 | M & L for flush door shutters 40 mm thick with decorative face veneers/ sunmica on both faces with lipping frame to match including ventilator etc all complete as directed by the Engg in Charge. Note: Sample of door & veneer to be approved from EIC before use in work. | 12.00 | Sq.m | 3145.20 | 2700.00 | 32400.00 | 2500.00 | 30000.00 | 2880.00 | 34560.00 | 30000.00 | JAYPEE ENTERPRISES
18.10 | S & F Butt hinges size 125 mm heavy duty, extruded brass chromium plated, with mild steel hinge pin, bright polished and fixed, type B-11 etc all complete as directed by the EIC. Note: Sample of Butt hinges shall be got approved from EIC before use in work. | 24.00 | Each | 256.90 | 200.00 | 4800.00 | 260.00 | 6240.00 | 252.00 | 6048.00 | 4800.00 | NIKHIL MALLAPPA SANGOLIKAR
19.10 | S&F Brass (Chromium Plated), sliding door bolt of size 375 mm with sand or die-cast brass hasp, staple (bolt type) and fixing bolt with rolled or drawn brass bolts and fixed etc all complete as directed by the EIC. Note: Sample of sliding door bolt shall be got approved from EIC before use in work. | 8.00 | Each | 1051.10 | 789.00 | 6312.00 | 1000.00 | 8000.00 | 999.00 | 7992.00 | 6312.00 | NIKHIL MALLAPPA SANGOLIKAR
20.10 | S & F Extruded brass handles, fabricated type polished of size 150 mm etc all complete as directed by the EIC. Note: Sample of handles shall be got approved from EIC before use in work. | 8.00 | Each | 267.90 | 200.00 | 1600.00 | 200.00 | 1600.00 | 261.00 | 2088.00 | 1600.00 | NIKHIL MALLAPPA SANGOLIKAR, JAYPEE ENTERPRISES
21.10 | S & F Brass skeleton tower bolts size 375 mm with cast brass plate and staples and rolled or drawn brass bolt and fixed etc all complete as directed by the EIC. Note: Sample of skeleton tower bolts shall be got approved from EIC before use in work. | 4.00 | Each | 616.50 | 500.00 | 2000.00 | 500.00 | 2000.00 | 603.00 | 2412.00 | 2000.00 | NIKHIL MALLAPPA SANGOLIKAR, JAYPEE ENTERPRISES
22.10 | S & F Door closer hydraulically regulated, aluminum extruded section body designation No. 3, universal type, suitable for door shutters of 851 to 1000 mm in width and of weight between 61 to 80 kg and fixed etc all complete as directed by EIC Note: Sample of Door closer shall be got approved from EIC before use in work. | 4.00 | Each | 1507.00 | 1200.00 | 4800.00 | 1500.00 | 6000.00 | 2250.00 | 9000.00 | 4800.00 | NIKHIL MALLAPPA SANGOLIKAR
23.10 | Cutting holes into or through brick walls built in cement mortar surface area Exc 400 sq.cm and making good in cement mortar 1:3 or cement concrete 1:2:4 type B-l as required etc all complete as directed by the EIC. | 540.00 | Per cm of depth of cutting | 21.21 | 15.00 | 8100.00 | 20.00 | 10800.00 | 18.00 | 9720.00 | 8100.00 | NIKHIL MALLAPPA SANGOLIKAR
24.10 | S & F Factory made solid PVC moulded Door Shutters with Particle Board Core (with ISI Mark) with 2, 4 or 6 raised panel designed with 2 mm thick Moulded Prelam PVC sheet on the front face & 2 mm Prelam PVC sheet on the back face, supplying & fixing in frame at site as per specification & drawing including S & F of 4 Nos of Heavy Duty chromium Plated Brass hinges 100 mm size, 2 Nos of Chromium Plated Brass Handles of 100 mm size, 2 Nos Chromium Plated Brass Tower Bolts of 150 mm size etc all complete as directed by Engg in Charge. Note: Sample of door & all accessories shall be got approved from EIC before fixing | 6.00 | Sq.m | 6631.00 | 5000.00 | 30000.00 | 6500.00 | 39000.00 | 5400.00 | 32400.00 | 30000.00 | NIKHIL MALLAPPA SANGOLIKAR
25.10 | S & F UPVC frame window 2/3/4 track of approved make & quality and three window shutter , frame reinforced with 1mm thick GI, adjustable roller , touch lock and along with 5mm thick toughen glass etc all complete as directed by the Engg In Charge. Note: Sample of UPVC Frames & allied accessories shall be got approved from EIC before incorporating in the work. | 29.00 | Sq.m | 5200.00 | 4900.00 | 142100.00 | 5000.00 | 145000.00 | 5940.00 | 172260.00 | 142100.00 | NIKHIL MALLAPPA SANGOLIKAR
26.10 | S & F Gl frame work for seamless ceiling comprising of Gl perimeter channnel 0.55 mm thick with two unequal flanges of 20 and 30 mm and web of 27 mm fixed to surrounding wall using nylon sleeves and screws at 450 mm centre to centre/intermediate channel 0.9 mm thick having two equal flanges of 15 mm each and web of 45 mm suspended from soffit at approx 900 mm centre to centre with Gl cleat and steel expansion fasteners with and including ceiling section (not exc 1.2 m length) of 0.55 mm thickness having kurled web of 50 mm and flange of 26 mm each with lips of 10.5 mm fixed to the intermediate channel with connecting clips across the intermediate channel at 457 mm centre to centre including hangers from slab, etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be approved from EIC before use in work. | 333.00 | Sq.m | 484.03 | 384.00 | 127872.00 | 450.00 | 149850.00 | 432.00 | 143856.00 | 127872.00 | NIKHIL MALLAPPA SANGOLIKAR
27.10 | S & F Non asbestos fiber cement building boards (Minimum 4 mm thick of reputed make as approved by the Engg in Charge) fixed or laid/ inserted to timber/GI/Aluminium framework with screws etc all complete as directed by the Engg in Charge. Note: Sample , design, texture, pattern etc for non asbestos fibre cement bldg. board shall be got approved from EIC before fixing | 333.00 | Sq.m | 366.60 | 290.00 | 96570.00 | 350.00 | 116550.00 | 333.00 | 110889.00 | 96570.00 | NIKHIL MALLAPPA SANGOLIKAR
28.10 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). Note : Sample, Design of Grill shall be got approved from EIC before fixing. | 119.00 | Kg | 560.85 | 600.00 | 71400.00 | 450.00 | 53550.00 | 450.00 | 53550.00 | 53550.00 | HINDUSTAN CONSTRUCTION CO, JAYPEE ENTERPRISES
29.10 | S & F Collapsible steel gates of approved design & pattern (as approved by EIC), top hung, consisting of channel pickets, pivoted flat bars, top and bottom runners, brass handles etc., as specified, erected in position and securing runners with holdfasts and brackets, including I beam for one shutter complete etc all complete as directed by EIC. Note : Sample, Design of Gate shall be got approved from EIC before fixing. | 18.00 | Sq.m | 2952.19 | 2600.00 | 46800.00 | 2950.00 | 53100.00 | 2700.00 | 48600.00 | 46800.00 | NIKHIL MALLAPPA SANGOLIKAR
30.10 | M & L for preparation of new steel & iron surfaces, priming with red oxide and application of synthetic enamel in two coats (Make: 1st Quality from Nerolac / Asian / Berger) etc all complete as directed by the Engg in Charge. | 65.00 | Sq.m | 141.30 | 80.00 | 5200.00 | 90.00 | 5850.00 | 135.00 | 8775.00 | 5200.00 | NIKHIL MALLAPPA SANGOLIKAR
31.10 | S & F Horizontal Collapsible Shutter with GI Sheet 1mm thick , fold of 100 to 125mm and hanging on top and roller for sliding at bottom including all accessories, channels , locking arrangement etc all complete as directed by EIC Note : Sample, Design of shutter shall be got approved from EIC before fixing. | 9.00 | Sq.m | 6983.24 | 6500.00 | 58500.00 | 7000.00 | 63000.00 | 5400.00 | 48600.00 | 48600.00 | HINDUSTAN CONSTRUCTION CO
32.10 | S & F 2mm thick homoginious PVC sheets, laminated plain coloured, marbled mosaic or mottled finish, laid with approved rubber based adhesive in floors including proper leveling and repairs to floor if required etc all complete as directed by EIC. Note: Sample of PVC Sheets shall be got approved from EIC before fixing. | 309.00 | Sq.m | 1108.00 | 950.00 | 293550.00 | 1000.00 | 309000.00 | 900.00 | 278100.00 | 278100.00 | HINDUSTAN CONSTRUCTION CO
33.10 | S & F Automatic sensor Single Sliding door / Bi part type (double leaf door), 1500mm - 3000 mm height 1800 mm-2500 mm Door Mounting: on track operator mechanism Door Direction: Horizontal Mounting Location: on RCC Steel Door Structure: Fully Glazed door Door Operating mechanism: Top mounting mechanism with timing belt & pully Control Type: Deadman/pulse control Toughened glass to be used, etc all complete as directed by EIC. Note: Sample of door & all fittings shall be got approved from EIC before execution of work. | 2.00 | Each | 108000.00 | 85160.00 | 170320.00 | 105000.00 | 210000.00 | 95400.00 | 190800.00 | 170320.00 | NIKHIL MALLAPPA SANGOLIKAR
34.10 | S & F (vitrious china Table top wash basin) White glazed fine clay sink aprox size 600x450x200mm including waste coupling waste pipe and all other required accessories etc all complete as directed by EIC.(Make : Jaquare /Cera/ parryware/ Hindware/Kohler/ plantex) Note: Sample of wash basin & all fittings shall be got approved from EIC before execution of work | 1.00 | Each | 4117.20 | 5000.00 | 5000.00 | 3250.00 | 3250.00 | 6003.00 | 6003.00 | 3250.00 | JAYPEE ENTERPRISES
35.10 | Demolition in Cement Concrete in ground floors and pavings exc 15 cm thickness (below or above ground level ) etc all complete as directed by EIC. | 1.00 | Cu.m | 2142.70 | 2000.00 | 2000.00 | 1250.00 | 1250.00 | 1800.00 | 1800.00 | 1250.00 | JAYPEE ENTERPRISES
36.10 | Excavating in trenches in hard dense soil, n exc 1.5 m wide and n exc 1.5 m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc. n exc 10 sq m on plan and n exc 1.5 m in depth and getting out etc all complete as directed by EIC. | 1.00 | Cu.m | 675.00 | 700.00 | 700.00 | 500.00 | 500.00 | 675.00 | 675.00 | 500.00 | JAYPEE ENTERPRISES
37.10 | S & F 110mm PVC (SWR) pipes single socketed, in any length with rubber ring joints, laid in trenches or in floors etc all complete as directed by EIC. Note: Sample of all fittings shall be got approved from EIC before execution of work. | 8.00 | Rm | 403.64 | 300.00 | 2400.00 | 190.00 | 1520.00 | 405.00 | 3240.00 | 1520.00 | JAYPEE ENTERPRISES
38.10 | S & F Vitreous china premium/ 1st quality wash down water closet wall hung EWC white/ ivory/off white (closed pattern incl all necessary accessories like rag bolts/ gel gasket etc. (excluding flushing cistern & flush pipe) complete in all respect all etc all complete as directed by EIC. .(Make: Cera/ Hindwere / Parryware) Note: Sample shall be got approved from EIC before execution of work specified | 2.00 | Each | 4000.00 | 5000.00 | 10000.00 | 17500.00 | 35000.00 | 5400.00 | 10800.00 | 10000.00 | NIKHIL MALLAPPA SANGOLIKAR
39.10 | S & F 10 lit PVC valveless, syphonic action type, flushing cistern, low level, white, with inlet, ball valve, float and handle including brackets etc all complete as directed by EIC. Note: Sample shall be got approved from EIC before execution of work | 2.00 | Each | 797.24 | 600.00 | 1200.00 | 1750.00 | 3500.00 | 792.00 | 1584.00 | 1200.00 | NIKHIL MALLAPPA SANGOLIKAR
40.10 | S & F Plastic water closet seat, black, closed pattern with flat bottom, and cover and mild steel chromium plated or aluminized hinging device etc all complete as directed by EIC. Note: Sample shall be got approved from EIC before execution of work | 2.00 | Each | 775.55 | 700.00 | 1400.00 | 600.00 | 1200.00 | 630.00 | 1260.00 | 1200.00 | JAYPEE ENTERPRISES
41.10 | S&F Health faucet (ABS Body) mild steel chromium plated suitable for 15 mm dia pipe with 1.25 metre long flexible tube and ABS wall hook including making connections and fixed in position complete in all respect as specified etc all complete as directed by EIC. (Make : Jaquare / Plumber / Hindware / Parryware) Note: Sample shall be got approved from EIC before execution of work. | 2.00 | Each | 441.15 | 400.00 | 800.00 | 750.00 | 1500.00 | 450.00 | 900.00 | 800.00 | NIKHIL MALLAPPA SANGOLIKAR
42.10 | S&F PVC (SWR) 'P’ trap 110, etc all complete as directed by EIC. | 2.00 | Each | 265.00 | 200.00 | 400.00 | 250.00 | 500.00 | 261.00 | 522.00 | 400.00 | NIKHIL MALLAPPA SANGOLIKAR
43.10 | S&F PVC (SWR) 75mm multi floor trap with grating including jointing with solvent cement etc all complete as directed by EIC . | 2.00 | Each | 400.00 | 100.00 | 200.00 | 300.00 | 600.00 | 360.00 | 720.00 | 200.00 | NIKHIL MALLAPPA SANGOLIKAR
44.10 | S&F 20mm Unplasticiscd PVC pipes of pressure rating 10 kgf/cm2 laid in trenches etc all complete as directed by EIC. | 10.00 | Rm | 113.38 | 90.00 | 900.00 | 35.00 | 350.00 | 108.00 | 1080.00 | 350.00 | JAYPEE ENTERPRISES
45.10 | S&F 15mm Unplasticiscd PVC pipes of pressure rating 10 kgf/cm2 laid in trenches etc all complete as directed by EIC. (Make: Prince / Finolex / Astral) Note: Sample shall be got approved from EIC before execution of work | 10.00 | Rm | 103.92 | 80.00 | 800.00 | 35.00 | 350.00 | 108.00 | 1080.00 | 350.00 | JAYPEE ENTERPRISES
46.10 | S&F union 20mm, etc all complete as directed by EIC. | 3.00 | Each | 123.50 | 100.00 | 300.00 | 125.00 | 375.00 | 126.00 | 378.00 | 300.00 | NIKHIL MALLAPPA SANGOLIKAR
47.10 | S&F 20mm elbow, etc all complete as directed by EIC | 3.00 | Each | 27.20 | 20.00 | 60.00 | 30.00 | 90.00 | 27.00 | 81.00 | 60.00 | NIKHIL MALLAPPA SANGOLIKAR
48.10 | S&F 15mm elbow, etc all complete as directed by EIC. | 10.00 | Each | 24.10 | 20.00 | 200.00 | 25.00 | 250.00 | 22.50 | 225.00 | 200.00 | NIKHIL MALLAPPA SANGOLIKAR
49.10 | S&F Male/ female Brass Threaded Adapter 16mm, etc all complete as directed by EIC. | 6.00 | Each | 22.50 | 20.00 | 120.00 | 30.00 | 180.00 | 22.50 | 135.00 | 120.00 | NIKHIL MALLAPPA SANGOLIKAR
50.10 | S&F Bib taps 15mm fancy type chromium plated two in one, cast copper alloy with crutch or butterfly handle, screwed down, screwed for iron pipe or for brass ferrule and fixed etc all complete as directed by EIC. (Make: Jaquare / Plumber / Hindware / Parryware) Note: Sample shall be got approved from EIC before execution of work | 2.00 | Each | 607.57 | 700.00 | 1400.00 | 340.00 | 680.00 | 603.00 | 1206.00 | 680.00 | JAYPEE ENTERPRISES
51.10 | S & F 15mm Pillar taps, cast copper alloy, with capstan heads, chromium plated, fancy, screwed down high pressure, with or without lettered 'Hot' or 'Cold' with long screwed shanks and fly-nuts, screwed for iron pipe and fixed etc all complete as directed by EIC. (Make: Jaquare / Plumber / Hindware / Parryware) Note: Sample shall be got approved from EIC before execution of work. | 1.00 | Each | 676.44 | 500.00 | 500.00 | 340.99 | 340.99 | 900.00 | 900.00 | 340.99 | JAYPEE ENTERPRISES
52.10 | S & F Stop valves 15 mm fancy and chromium plated , cast copper alloy, screwed down, high pressure, with crutch or butterfly handle, screwed both ends for iron pipe or for unions and fixed etc all complete as directed by EIC. (Make: Jaquare / Plumber / Hindware / Parryware) Note: Sample should be get approved by EIC before execution of work. | 4.00 | Each | 682.03 | 500.00 | 2000.00 | 380.00 | 1520.00 | 810.00 | 3240.00 | 1520.00 | JAYPEE ENTERPRISES
53.10 | S & F Cutting chases, in brick wall pinning in, making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc. and making good, cutting exceeding 20cm girth etc all complete as directed by EIC. | 15.00 | Rm | 55.60 | 50.00 | 750.00 | 55.00 | 825.00 | 45.00 | 675.00 | 675.00 | HINDUSTAN CONSTRUCTION CO
54.10 | S&F Moorum/red bajri filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, levelled and rammed including watering etc all complete as directed. | 5.00 | Cu.m | 1240.10 | 1000.00 | 5000.00 | 1000.00 | 5000.00 | 1170.00 | 5850.00 | 5000.00 | NIKHIL MALLAPPA SANGOLIKAR, JAYPEE ENTERPRISES
55.10 | M & L Hardcore of Broken Stone or boulder of guage exc 63mm but n exc. 100 mm, deposited, spread and levelled in layers n exc. 15 cm thick, watered and rolled/rammed to a true surface, complete cleaning & removal of all debris outside premises etc all complete as directed by the EIC. | 13.00 | Cu.m | 2614.90 | 2700.00 | 35100.00 | 1500.00 | 19500.00 | 2250.00 | 29250.00 | 19500.00 | JAYPEE ENTERPRISES
56.10 | M & L for Cement concrete 1:2:4 (40 mm graded aggregate) in foundations, filling and mass concrete including complete cleaning & removal of all debris outside premises etc all complete as directed by the EIC. | 12.00 | Cu.m | 6477.80 | 5800.00 | 69600.00 | 6000.00 | 72000.00 | 5940.00 | 71280.00 | 69600.00 | NIKHIL MALLAPPA SANGOLIKAR
57.10 | Rough Excavation in hard dense soil not exceeding 1.5 m deep & getting out including complete cleaning & removal of all debris outside premises etc all complete as directed by the EIC | 8.00 | Cu.m | 337.80 | 300.00 | 2400.00 | 300.00 | 2400.00 | 333.00 | 2664.00 | 2400.00 | NIKHIL MALLAPPA SANGOLIKAR, JAYPEE ENTERPRISES
58.10 | S & F Providing and laying 60mm thick factory made chamfered edge cement concrete paver block of M-35 grade with approved colour, design & pattern as in footpath, parks, lawns, drive ways or light traffic parking etc., of required Strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over and including 50mm thick compacted bed of fine sand, compacting and proper embedding/ laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand; etc all complete as directed by the EIC. Note: Sample, Design, colour pattern, fixing pattern etc shall be got approved from EIC before fixing. | 93.00 | Sq.m | 873.70 | 700.00 | 65100.00 | 780.00 | 72540.00 | 810.00 | 75330.00 | 65100.00 | NIKHIL MALLAPPA SANGOLIKAR
59.10 | M & L for preparation of old painted surfaces, priming with anti fungal primer, application of wall putty 3 mm thick with necessary re-application of putty for levelling surface, & application of two coats of Plastic Emulsion of approved make & quality (Make: Asian Paints,Nerolac, Berger, Indigo) etc all complete as directed by the Engg in Charge. | 81.00 | Sq.m | 234.34 | 200.00 | 16200.00 | 275.00 | 22275.00 | 225.00 | 18225.00 | 16200.00 | NIKHIL MALLAPPA SANGOLIKAR
60.10 | Providing material, fabricating, erecting & securing in position and painting of structural steel shed of required height as per site requirement covered with multiwall multicell polycarbonate sheet 10 mm thick , white / transluscent colour with following specifications: (i) ISI Mark structural steel member should be provided supporting with design calculations. (ii) Two coats of bright white PU surface paint (Make Asian/ Berger/Jotun) or Equivalent on structure with primer coating. (iii) MS base plates 12 mm thick with Anchor bolts of adequate sizes shall be provided. (iv) 4” Dia Structural steel Round pipe 3 MM thickness (Minimum) with bending if required (v) 3” Dia Structural steel Round pipe 2.5 MM thickness (Minimum) with bending as required (vi) 2” size Structural steel Square pipes of purlins 2 MM thickness (Minimum) (vii) All structure shall be arranged with removable nut bolt system with surface PU coat painting, etc all complete as directed by the Engg in Charge. Imp Notes: (i) The Structural Design shall be provided by the Contractor at his own cost from Govt. Approved Designer. (ii) Samples of all material shall be got approved from Factory Authority before use in work. (iii) The Thickness mentioned in MM shall be considered as Minimum Thickness of material required & Contractor shall carry out Market Survey prior to quoting for Tender & shall quote accordingly. (iv) Contractor shall prepare architectural design of the shed & shall get the same approved from Competent Auth. before starting of work. | 68.00 | Sq.m | 4951.75 | 4500.00 | 306000.00 | 4900.00 | 333200.00 | 4500.00 | 306000.00 | 306000.00 | NIKHIL MALLAPPA SANGOLIKAR, HINDUSTAN CONSTRUCTION CO
61.10 | S & F 3mm thk Aluminum Composite Panel of (Make: Timex bond/ Aludecor/ Eurobon) consisting of core of polyethylene sandwiched between two aluminum skins of 0.25mm thick with mild edge, 3mm total thickness with surface finish of florocarbon protective colour coating as approved by Engineer-in-charge as per required profile including necessary frame work with straight extruded aluminum rectangular tube section (25mm x 38mm) angle cleat, weather silicone sealents of Wacker /Alstone / Dowcorning , screws etc including all necessary accessories.etc all complete as directed by EIC. Note : The sample, design, colour pattern, fixing pattern etc shall be got approved from the EIC before start of work. | 279.00 | Sq.m | 2900.00 | 2500.00 | 697500.00 | 2421.00 | 675459.00 | 2700.00 | 753300.00 | 675459.00 | JAYPEE ENTERPRISES
62.10 | Supply & Fixing of Sheet Metal Enclosure Three Pole & Neutral 4 Way, 415V Supply Voltage, Single Door (Make:Siemens/L&T/Havells), etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 1.00 | Each | 1350.25 | 1100.00 | 1100.00 | 1500.00 | 1500.00 | 2250.00 | 2250.00 | 1100.00 | NIKHIL MALLAPPA SANGOLIKAR
63.10 | Supply and fixing 415 V, 10 KA 'C' curve miniature circuit breaker (MCB) of Triple poles Neutral (TPN) and current carrying capacity 100 AMP, in the MCB DB Complete with connection testing and commissioning. (Make: Siemens/ ABB/ Schneider / Legrand/ L&T/ Havells) all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 1.00 | Each | 2360.74 | 2000.00 | 2000.00 | 2455.00 | 2455.00 | 297.00 | 297.00 | 297.00 | HINDUSTAN CONSTRUCTION CO
64.10 | Supply and fixing 240V, 10 KA 'C' curve miniature circuit breaker (MCB) of Single Pole (SP) and current carrying capacity 32 AMP, in the MCB DB Complete with connection testing and commissioning. (Make: Siemens/ ABB/ Schneider / Legrand/ L&T/ Havells) all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 11.00 | Each | 294.00 | 225.00 | 2475.00 | 275.00 | 3025.00 | 1800.00 | 19800.00 | 2475.00 | NIKHIL MALLAPPA SANGOLIKAR
65.10 | Supply and Fixing of Sheet Metal Enclosure with Soket Plug Top with MCB Single pole enclosure with a two pin and earth plug and socket complete with one single pole MCB 20 Amp (or Modular Plate and Flush Box with 20Amp , 240 volt Single Pole MCB and 15Amp Socket), (Make: Havells / Siemens / Schneider / Legrand / L&T / ABB),etc all complete as directed by the Engg in Charge Note: Sample of all materials shall be got approved from EIC before use in work. | 6.00 | Each | 1817.80 | 1700.00 | 10200.00 | 1800.00 | 10800.00 | 225.00 | 1350.00 | 1350.00 | HINDUSTAN CONSTRUCTION CO
66.10 | Supply & Fixing of Modular switches 1 way, 10 Amp, 1 Module, (Make: Anchor / GM / Legrand),etc all complete as directed by the Engg in Charge Note: Sample of all materials shall be got approved from EIC before use in work. | 45.00 | Each | 260.50 | 200.00 | 9000.00 | 250.00 | 11250.00 | 225.00 | 10125.00 | 9000.00 | NIKHIL MALLAPPA SANGOLIKAR
67.10 | Supply & Fixing of modular Switch flush type combination outlet , 5 A - 3 pin combined 2 module, all including wiring to complete circuit of socket, (Make: GM / Havells / Legrand), etc all complete as directed by the Engg in Charge Note: Sample of all materials shall be got approved from EIC before use in work. | 16.00 | Each | 275.20 | 210.00 | 3360.00 | 200.00 | 3200.00 | 360.00 | 5760.00 | 3200.00 | JAYPEE ENTERPRISES
68.10 | Supply & Fixing of modular Switch socket Combination 16A, 6 pin, 3 module, all including wiring to complete circuit of socket, (Make: GM / Havells / Legrand), etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 10.00 | Each | 392.20 | 380.00 | 3800.00 | 375.00 | 3750.00 | 270.00 | 2700.00 | 2700.00 | HINDUSTAN CONSTRUCTION CO
69.10 | Supply and Fixing of Modular White Cover Plate with Frame, 06 Module, (Make: Anchor /Roma /GM /Havells /Legrand), (In place of 02 Nos of 6Module White Cover Plate, 12 Module White Cover Plate can be use as per site requirement), etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 24.00 | Each | 309.60 | 250.00 | 6000.00 | 300.00 | 7200.00 | 270.00 | 6480.00 | 6000.00 | NIKHIL MALLAPPA SANGOLIKAR
70.10 | Supply and Fixing of Modular Metal Flush Box, 06 Module, (Make: Anchor /Roma /GM /Havells /Legrand), (In place of 02 Nos of 06 Module Modular Flush Box, 12 Module White Cover Plate can be use as per site requirement) all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 24.00 | Each | 284.10 | 240.00 | 5760.00 | 275.00 | 6600.00 | 225.00 | 5400.00 | 5400.00 | HINDUSTAN CONSTRUCTION CO
71.10 | Material & Labour for PVC insulated, armoured, 4 core heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 25 sq. mm, (Make: Polycab / Havells / KEI / RR), etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 25.00 | Rm | 206.99 | 180.00 | 4500.00 | 200.00 | 5000.00 | 207.00 | 5175.00 | 4500.00 | NIKHIL MALLAPPA SANGOLIKAR
72.10 | Wiring for Circuit / Submain wiring (concealed wiring) along with earth wire with 2 x 4 sq.mm + 1 x 4 Sq.mm earth wire of FR PVC insulated copper conductor (Make:Finolex / Polycab / Havells ) in PVC Conduit Pipe (or Casing and Caping wherever required as per site requirement), Make: Precision / Press fit all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work | 85.00 | Rm | 215.00 | 225.00 | 19125.00 | 200.00 | 17000.00 | 180.00 | 15300.00 | 15300.00 | HINDUSTAN CONSTRUCTION CO
73.10 | Wiring for Circuit / Submain wiring (concealed wiring) along with earth wire with 2 x 2.5 sq.mm + 1 x 2.5 Sq.mm earth wire of FR PVC insulated copper conductor (Make:Finolex / Polycab / Havells ) in PVC conduit pipe (or casing caping whereeve required as per site requirement), Make: Precision / Pressfit all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 291.00 | Rm | 185.21 | 160.00 | 46560.00 | 200.00 | 58200.00 | 180.00 | 52380.00 | 46560.00 | NIKHIL MALLAPPA SANGOLIKAR
74.10 | Material and Labour for One Light Point or one Fan point controlled by one switch with copper cables 1.5 Sq.mm Size PVC single core (separate Neutral Wire for individual circuit),(Make: Polycab / Havells / RR Cable / Finolex )in PVC Conduit Pipe, (Make:Finolex/Polycab), etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 45.00 | Each | 992.75 | 800.00 | 36000.00 | 600.00 | 27000.00 | 900.00 | 40500.00 | 27000.00 | JAYPEE ENTERPRISES
75.10 | Material and Labour for Additional Light Point or one Fan point controlled by one switch with copper cables 1.5 Sq.mm, PVC single core (Make: Polycab / Havells / RR Cable / Finolex), Size in PVC Conduit Pipe, Material is included in Point Wirning, (Make:Finolex/Polycab) all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 45.00 | Each | 486.44 | 350.00 | 15750.00 | 750.00 | 33750.00 | 405.00 | 18225.00 | 15750.00 | NIKHIL MALLAPPA SANGOLIKAR
76.10 | Supply and install hi wall split units indoor/outdoor complete with cordless remote control unit and within built air ioniser and Plasma filter for better indoor air quality with minimum 5 star rating latest and EER 3.2.of capacity 1.5 Ton, Inveter compressor with Inverter card warranty of min 3 years, 3 stage cooling, (Make: Voltas / O-General / Blue Star / Godrej) all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 6.00 | Each | 60815.37 | 55000.00 | 330000.00 | 60000.00 | 360000.00 | 54000.00 | 324000.00 | 324000.00 | HINDUSTAN CONSTRUCTION CO
77.10 | Supply and fixing ceiling fans complete with blades, down rods, electronic regulator and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC) with remote,(Make: Orient / Usha / Havells / Crompton),etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 21.00 | Each | 2649.47 | 2332.00 | 48972.00 | 2250.00 | 47250.00 | 5538.50 | 116308.50 | 47250.00 | JAYPEE ENTERPRISES
78.10 | Supply and fix exhaust fan made of sturdy Engineering Plastic complete with louvers shutter, AC single Phase. 230V, 50Hz , Copper Winding of size 250 mm sweep, (Make: Crompton / Havells / Usha) all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work | 2.00 | Each | 1606.52 | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 1800.00 | 3600.00 | 3000.00 | NIKHIL MALLAPPA SANGOLIKAR, JAYPEE ENTERPRISES
79.10 | Taking down fan, sealing cable end, dismantling blades and removing fan and blades to store all complete as directed by the Engg in Charge. | 16.00 | Each | 205.90 | 160.00 | 2560.00 | 200.00 | 3200.00 | 180.00 | 2880.00 | 2560.00 | NIKHIL MALLAPPA SANGOLIKAR
80.10 | Fixing only 20 Watts LED Tubelight fixtures (M.D supply) (Panel Light) Complete with all accessories prewired and including connecting up with three core flexible copper conductor cable with suitable size in flexible conduit all complete as directed by the Engg in Charge. | 60.00 | Each | 139.60 | 100.00 | 6000.00 | 150.00 | 9000.00 | 126.00 | 7560.00 | 6000.00 | NIKHIL MALLAPPA SANGOLIKAR
81.10 | S & F of Ceiling Rose 6A, 3 Point (Make:Anchor/Roma/GM/Cona/Legrand),etc all complete as directed by the Engg in Charge. | 90.00 | Each | 65.70 | 140.00 | 12600.00 | 50.00 | 4500.00 | 36.00 | 3240.00 | 3240.00 | HINDUSTAN CONSTRUCTION CO
82.10 | Cutting chases, pinning in Stone Concrete block or slab wall making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc. and making good, cutting exceeding 20cm girth all complete as directed by the Engg in Charge | 300.00 | Rm | 65.40 | 70.00 | 21000.00 | 75.00 | 22500.00 | 45.00 | 13500.00 | 13500.00 | HINDUSTAN CONSTRUCTION CO
83.10 | Dismantling and taking down fluorescent tube light single/double of any wattage or size of burnt/worn out accessories repair or carrying to store all including connected wire, conduit pipe and switch socket board etc. all complete as directed by the Engg in Charge. | 30.00 | Each | 235.60 | 200.00 | 6000.00 | 150.00 | 4500.00 | 180.00 | 5400.00 | 4500.00 | JAYPEE ENTERPRISES
84.10 | Taking down carefully copper/aluminium point wiring (light, fan, socket or power) complete, (fittings such as switches, ceiling roses, pendants, regulators sockets etc. to be measured separately), removing materials to store for keeping in safe custody for reuse at site and making good disturbed surfaces of walls, floors, all complete as directed by the Engg in Charge | 10.00 | Each | 235.60 | 210.00 | 2100.00 | 200.00 | 2000.00 | 162.00 | 1620.00 | 1620.00 | HINDUSTAN CONSTRUCTION CO
85.10 | Taking down carefully by unscrewing from boards/ outlet boxes, fittings and fixtures such as switches, sockets, ceiling roses, lamp holders, brackets, ceiling fittings, bulk head fittings, tube light fittings and regulators, etc. for reuse at site or carrying to the store (To be measured only when found serviceable in all respects complete for reuse) all complete as directed by the Engg in Charge. | 10.00 | Each | 34.94 | 500.00 | 5000.00 | 30.00 | 300.00 | 22.48 | 224.80 | 224.80 | HINDUSTAN CONSTRUCTION CO
86.10 | Dismantling air break gang operated switches vertical/horizontal mounted including insulators and operating mechanism for repair/ replacement of broken/worn out components and insulators etc. or carrying to MES store (spare/components for replacement to be provided free by department) all complete as directed by the Engg in Charge | 3.00 | Each | 444.60 | 500.00 | 1500.00 | 250.00 | 750.00 | 378.00 | 1134.00 | 750.00 | JAYPEE ENTERPRISES
| Total in Figures |  |  |  |  | 3953696.00 |  | 4099999.99 |  | 4191559.30
Lowest Amount Quoted BY: NIKHIL MALLAPPA SANGOLIKAR(3953696.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repairs to Unit Run Canteen at IOLAM Hostel Building Tender ID: 2025_AVNL_223814_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NIKHIL MALLAPPA SANGOLIKAR (BID ID -813155) | 3953696.00 | L1
| 2 | JAYPEE ENTERPRISES (BID ID -813232) | 4099999.99 | L2
| 3 | HINDUSTAN CONSTRUCTION CO (BID ID -813207) | 4191559.30 | L3