## BoQ1
Government eProcurement System Created By: DORAIPANDIAN THANDAVAMURTHY Created Date/Time: 07-Apr-2025 10:18 AM Tender Title: PROVISIONING OF ENCLOSED WORK CABIN IN SHOP FLOOR FOR QA STAFF / EXAMINERS IN GA SHOP AT HVF, AVADI Tender ID: 2025_AVNL_226585_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: PROVISIONING OF ENCLOSED WORK CABIN IN SHOP FLOOR FOR QA STAFF / EXAMINERS IN GA SHOP AT HVF, AVADI
Tender No: HVF/TE/13025/CEO/2024-25/63
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Siva Enterprises (GSTN-NA) BID ID -832928 |  | KALAI ENTERPRISES (GSTN-NA) BID ID -833660 |  | Leela Constructions (GSTN-NA) BID ID -830348
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolition of cement concrete structure of any description including cutting of unreinforced steel rod to facilitate demolition. | 1.00 | CuM | 1957.56 | 1955.00 | 1955.00 | 2600.00 | 2600.00 | 1500.00 | 1500.00 | 1500.00 | Leela Constructions
2.00 | Earth work excavation in hard/ dense soil for foundation width and depth not exceeding 1.50m and getting out. | 5.00 | CuM | 810.00 | 755.00 | 3775.00 | 950.00 | 4750.00 | 600.00 | 3000.00 | 3000.00 | Leela Constructions
3.00 | Material and labour for sand filling in foundation including watering and consolidation. | 1.00 | CuM | 2369.16 | 2255.00 | 2255.00 | 2125.00 | 2125.00 | 2000.00 | 2000.00 | 2000.00 | Leela Constructions
4.00 | Supply and laying of P.C.C 1:4:8, D2 type using 40mm graded aggregate incl all bye works etc | 1.00 | CuM | 6579.72 | 5755.00 | 5755.00 | 6600.00 | 6600.00 | 5500.00 | 5500.00 | 5500.00 | Leela Constructions
5.00 | Material and labour for cement concrete 1:2:4 Type B2 20mm graded aggregate in foundation filling and mass concrete. | 3.00 | CuM | 7840.00 | 6755.00 | 20265.00 | 8700.00 | 26100.00 | 7100.00 | 21300.00 | 20265.00 | Siva Enterprises
6.00 | Dismantling Wall and ceiling boards (fibre, pulp, insulation, etc.) or insulation boards / slabs / blankets, any thickness, including cover fillets. | 40.00 | SqM | 49.92 | 55.00 | 2200.00 | 130.00 | 5200.00 | 30.00 | 1200.00 | 1200.00 | Leela Constructions
7.00 | Supply & fixing of Anodised aluminium frame for Partition, doors, windows, ventilators with one or more rebates including joining cleat for fixing etc., complete all as specified. | 610.00 | Kg | 558.73 | 625.00 | 381250.00 | 620.00 | 378200.00 | 600.00 | 366000.00 | 366000.00 | Leela Constructions
8.00 | M & L of 12mm thick Pre-Laminated particle board, interior grade, pre-Laminated on both sides with decorative choice lamination fixed with screws to timber frame work or Aluminum frame work. | 140.00 | SqM | 1022.40 | 1095.00 | 153300.00 | 1200.00 | 168000.00 | 900.00 | 126000.00 | 126000.00 | Leela Constructions
9.00 | S & F of 5.5mm thick Sheet glass, ordinary quality and glazing with oil putty in square n.exc 0.5 sq. m in each pane. | 75.00 | SqM | 1112.28 | 1255.00 | 94125.00 | 1400.00 | 105000.00 | 1000.00 | 75000.00 | 75000.00 | Leela Constructions
10.00 | S & F of Anodised aluminium door shutters, aluminium section weighing 0.55 kg/m including necessary joining cleats, glazing clips, ruber neoprene packing, handles 2 Nos. in each door, hinges, anodised aluminum snap beading screws etc., complete all as specified. | 10.00 | SqM | 1546.62 | 1955.00 | 19550.00 | 2800.00 | 28000.00 | 3500.00 | 35000.00 | 19550.00 | Siva Enterprises
11.00 | Supply and fixing of Anodised aluminium snap grid frame work for false ceiling all as specified. | 70.00 | SqM | 587.15 | 595.00 | 41650.00 | 700.00 | 49000.00 | 550.00 | 38500.00 | 38500.00 | Leela Constructions
12.00 | Material and Labour for exposed metal frame ceiling with calcium silicate board of siliceous and calcareous material reinforced with cellulose fibre for fixing in 600 mm x 600 mm grid. (Frame work for ceiling shall be measured and paid separately). | 70.00 | SqM | 541.44 | 595.00 | 41650.00 | 650.00 | 45500.00 | 450.00 | 31500.00 | 31500.00 | Leela Constructions
13.00 | Material and labour for painting calcium silicate board in ceiling with one coat of (pink) primer over two coat of sythetic enamel paint including preparation of new surfaces. | 70.00 | SqM | 168.24 | 145.00 | 10150.00 | 180.00 | 12600.00 | 110.00 | 7700.00 | 7700.00 | Leela Constructions
14.00 | Material and labour for Structural steel such as Hollow square, rectangular section, ISA etc., fixed to roof for holding the Double wall polycarbonate sheet. | 600.00 | Kg | 151.27 | 135.00 | 81000.00 | 150.00 | 90000.00 | 140.00 | 84000.00 | 81000.00 | Siva Enterprises
15.00 | Material and labour for painting steel surfaces (redoxide, zinc chrome) of any description over 10cm width or grith with two coats of synthetic enamel paint over a coat of primer including preparing new surfaces. | 20.00 | SqM | 169.56 | 145.00 | 2900.00 | 160.00 | 3200.00 | 125.00 | 2500.00 | 2500.00 | Leela Constructions
16.00 | Removal of excavated rocks exceeding 250m but not exceeding 500m and depositing where directed. | 6.00 | CuM | 894.96 | 455.00 | 2730.00 | 260.00 | 1560.00 | 400.00 | 2400.00 | 1560.00 | KALAI ENTERPRISES
17.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduit accessories run on wall or roof including M.S. switch box concealed in the wall (made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc., mount on a wall/roof etc., including 16SWG bare copper earth continuity Wire. Make:Finolex/Havells/ Polycab (or) Suitably Equivalent make. a) One light point or One fan point controlled by one switch with cables 1.5 sqmm size. | 18.00 | Point | 1191.30 | 1155.00 | 20790.00 | 1120.00 | 20160.00 | 1100.00 | 19800.00 | 19800.00 | Leela Constructions
18.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduit accessories run on wall or roof including M.S. switch box concealed in the wall (made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc., mount on a wall/roof etc., including 16SWG bare copper earth continuity Wire. Make:Finolex/Havells/ Polycab (or) Suitably Equivalent make. b)One 3 pin socket outlet 5 amps on the same board with other switches, with cables 2.5 sqmm size. | 6.00 | Point | 348.96 | 355.00 | 2130.00 | 350.00 | 2100.00 | 1400.00 | 8400.00 | 2100.00 | KALAI ENTERPRISES
19.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduit accessories run on wall or roof including M.S. switch box concealed in the wall (made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc., mount on a wall/roof etc., including 16SWG bare copper earth continuity Wire. Make:Finolex/Havells/ Polycab (or) Suitably Equivalent make. c)One 3 pin socket outlet 5 amps independent, with cables 2.5 sqmm size. | 6.00 | Point | 1357.67 | 1355.00 | 8130.00 | 1450.00 | 8700.00 | 1100.00 | 6600.00 | 6600.00 | Leela Constructions
20.00 | Supply & fixing of switch piano, flush type single pole one way 6 amps. | 30.00 | Each | 144.96 | 55.00 | 1650.00 | 80.00 | 2400.00 | 40.00 | 1200.00 | 1200.00 | Leela Constructions
21.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire & PVC conduit accessories with the following sizes of FR is PVC insulated copper conductor, single core cable in surface/recessed as required. Make:Finolex/Havells/ Polycab (or) Suitably Equivalent. a) 2x2.5 sqmm + 1x2.5 sqmm earth wire. | 50.00 | RM | 222.25 | 225.00 | 11250.00 | 200.00 | 10000.00 | 190.00 | 9500.00 | 9500.00 | Leela Constructions
22.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire & steel conduit accessories with the following sizes of FR is PVC insulated copper conductor, single core cable in surface/recessed as required. Make:Finolex/Havells/ Polycab (or) Suitably Equivalent. a) 2x4.0 sqmm + 1x4.0 sqmm earth wire. | 60.00 | RM | 346.38 | 285.00 | 17100.00 | 260.00 | 15600.00 | 215.00 | 12900.00 | 12900.00 | Leela Constructions
23.00 | Supply & fixing of switch socket combination 3 pin 6A/16A, 5 in 1 flush type. Make: Legrand/Anchor/Havells or suitably equivalent. | 6.00 | Each | 354.36 | 355.00 | 2130.00 | 200.00 | 1200.00 | 260.00 | 1560.00 | 1200.00 | KALAI ENTERPRISES
24.00 | Supply and fixing LED luminaire 600 mm x 600 mm 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete. Make: Philips/Bajaj/Havells or suitable equivalent make. | 6.00 | Each | 5123.03 | 2955.00 | 17730.00 | 3250.00 | 19500.00 | 4000.00 | 24000.00 | 17730.00 | Siva Enterprises
25.00 | Supply and fixing ceiling fans complete with blades, down rods, electronic regulator and accessories, 230 V, 1200 mm sweep, Min air delivery 210 CFM with service value 6.00 BEE, Five star rated with brushless direct current motor (BLDC) (Make: Orient/Attomsberg/ Usha/Bajaj/ Crompton/ Havells) or Suitably Equivalent make. Warranty: 2 Yrs. | 6.00 | Each | 3179.36 | 3455.00 | 20730.00 | 4100.00 | 24600.00 | 5000.00 | 30000.00 | 20730.00 | Siva Enterprises
26.00 | Supply and fixing of sheet metel enclosure for DBs when MCBs to be used single pole & neutral, 4 way double door. Make: Legrand/Anchor/Havells or suitable equivalent make. | 6.00 | Each | 1853.28 | 2155.00 | 12930.00 | 1800.00 | 10800.00 | 2000.00 | 12000.00 | 10800.00 | KALAI ENTERPRISES
27.00 | Supply and fixing amp rating 415V 10KA 'C' curve miniature circuit breaker (MCB) of SPN 32 AMP current carrying capacity in the MCB DB complete with connection testing and commissioning. | 6.00 | Each | 1021.44 | 1155.00 | 6930.00 | 360.00 | 2160.00 | 850.00 | 5100.00 | 2160.00 | KALAI ENTERPRISES
28.00 | Demolition of cement concrete of any description and in any position. | 1.00 | CuM | 1957.56 | 1955.00 | 1955.00 | 2600.00 | 2600.00 | 900.00 | 900.00 | 900.00 | Leela Constructions
29.00 | Material and labour for cement concrete 1:2:4 Type B1 using 20mm graded aggregate in foundations, filling and mass concrete. | 1.00 | CuM | 7840.00 | 6755.00 | 6755.00 | 6500.00 | 6500.00 | 8000.00 | 8000.00 | 6500.00 | KALAI ENTERPRISES
30.00 | Supply & fixing 240 Volt, 10KA 'C' curve MCB of single pole 6 to 32Amps in the MCB DB complete with connection testing and commissioning. Make: Legrand/Anchor/ Havells or suitable equivalent make. | 6.00 | Each | 352.80 | 355.00 | 2130.00 | 420.00 | 2520.00 | 850.00 | 5100.00 | 2130.00 | Siva Enterprises
| Total in Figures |  |  |  |  | 996850.00 |  | 1057275.00 |  | 948160.00
Lowest Amount Quoted BY: Leela Constructions(948160.00)

## BOQ Summary
BOQ Summary Details Tender Title: PROVISIONING OF ENCLOSED WORK CABIN IN SHOP FLOOR FOR QA STAFF / EXAMINERS IN GA SHOP AT HVF, AVADI Tender ID: 2025_AVNL_226585_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Leela Constructions (BID ID -830348) | 948160.00 | L1
| 2 | Siva Enterprises (BID ID -832928) | 996850.00 | L2
| 3 | KALAI ENTERPRISES (BID ID -833660) | 1057275.00 | L3