## BoQ1
Government eProcurement System Created By: B SHANKAR LAL Created Date/Time: 09-Apr-2025 11:17 AM Tender Title: CONSTRUCTION OF TOILET BLOCK NEAR ANKUR VIDHYA MANDIR SCHOOL AT HVF ESTATE. Tender ID: 2025_AVNL_226592_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: CONSTRUCTION OF TOILET BLOCK NEAR ANKUR VIDHYA MANDIR SCHOOL AT HVF ESTATE.
Tender No: HVF/TE/13025/CEO/2024-25/64
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Siva Enterprises (GSTN-NA) BID ID -829253 |  | S VINAYAGAMURTHY (GSTN-NA) BID ID -830661
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work excavation in hard/ dense soil for foundation width and depth not exceeding 1.50m and getting out. | 20.00 | CUM | 776.25 | 855.00 | 17100.00 | 600.00 | 12000.00 | 12000.00 | S VINAYAGAMURTHY
2.00 | Material and labour for sand filling in foundation including watering and consolidation. | 4.00 | CUM | 2270.45 | 2455.00 | 9820.00 | 1950.00 | 7800.00 | 7800.00 | S VINAYAGAMURTHY
3.00 | Material and labour for PCC Type C2 1:3:6 40mm graded aggregate cement concrets in foundations, filling and mass concrete | 4.00 | CUM | 6741.30 | 6955.00 | 27820.00 | 6150.00 | 24600.00 | 24600.00 | S VINAYAGAMURTHY
4.00 | M & L for providing RCC M20 Concrete (1:1.5:3). 20 mm aggregate, in Foundations, including rafts, footings, foundation beams; plinth beams; bases for columns, etc.; basement slabs, under-reamed piles and mass concrete | 7.50 | CUM | 8498.41 | 8955.00 | 67162.50 | 6900.00 | 51750.00 | 51750.00 | S VINAYAGAMURTHY
5.00 | M & L for providing RCC M20 Concrete (1:1.5:3), 20 mm aggregate, in Columns, pillars, piers, posts and struts and Lintels | 6.00 | CUM | 9546.27 | 8955.00 | 53730.00 | 8700.00 | 52200.00 | 52200.00 | S VINAYAGAMURTHY
6.00 | M & L for Formwork to sides of concrete foundations, footings, bases of columns, raft and raft beams, sides and soffits (if any) of foundation and plinth beams; and similar work; vertical or to batter fair finishing | 95.00 | SQM | 456.68 | 895.00 | 85025.00 | 650.00 | 61750.00 | 61750.00 | S VINAYAGAMURTHY
7.00 | M & L for R.C.C A1 Type, 1: 1.5: 3 mix, 20mm graded aggregate in Slabs supported on walls,beams and columns in floors,roofs, landings, balconies,canopies, deck slabs and in shelves and the like.etc. | 8.00 | CUM | 8208.36 | 9455.00 | 75640.00 | 8775.00 | 70200.00 | 70200.00 | S VINAYAGAMURTHY
8.00 | Supply and fixing of mild steel reinforcement deformed or twisted bars 10 mm dia and over, including bending, cranking, hooking and tieing with mild steel wire not less than 0.90mm dia. | 1400.00 | KG | 94.15 | 99.00 | 138600.00 | 94.00 | 131600.00 | 131600.00 | S VINAYAGAMURTHY
9.00 | Excavation of moorum/red bajiri from borrow pits for floors or pavings, Removal of excavated soils lead exceeding exc. 1.50 km but n exc. 5 km and depositing where directed. and refilling of soil / loose including spreading, laid in layers n exc. 25 cm thick leveling, watering and well ramming in layers where directed. | 25.00 | CUM | 1723.51 | 1655.00 | 41375.00 | 1175.00 | 29375.00 | 29375.00 | S VINAYAGAMURTHY
10.00 | M & L for Brick work with subclass ‘B’ bricks, straight or curved on plan exc 6m mean radius, built In cement mortor 1:6 | 15.00 | CUM | 6950.00 | 7955.00 | 119325.00 | 7002.00 | 105030.00 | 105030.00 | S VINAYAGAMURTHY
11.00 | M & L for Non - skid Ceramic color tiles tiles 7 to 8 mm thick (square/ rectangular) area of each tile exceeding 0.06 sqm but not exceeding 0.11 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including Screed bedding 1:4, 15mm thick for laying floor finishes. | 14.00 | SQM | 1579.15 | 1955.00 | 27370.00 | 1450.00 | 20300.00 | 20300.00 | S VINAYAGAMURTHY
12.00 | M & L for Glazed Ceramic Coloured tiles of size 350x 250 x 7mm,450 x350x7 mm thick or Bigger Size on vertical faces, set and jointed in neat cement slurry and pointed out in white or coloured cement to match as required at site on walls including plastering in CM 1:4 10mm thick on existing walls for fixing tiles. | 50.00 | SQM | 1774.68 | 1945.00 | 97250.00 | 1535.00 | 76750.00 | 76750.00 | S VINAYAGAMURTHY
13.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of brick work, concrete surfaces and Door & Window Jamb plastering. | 94.00 | SQM | 302.59 | 355.00 | 33370.00 | 325.00 | 30550.00 | 30550.00 | S VINAYAGAMURTHY
14.00 | M & L for plastering in CM 1:4, 12mm thick on RCC Ceiling. | 28.00 | SQM | 291.77 | 375.00 | 10500.00 | 295.00 | 8260.00 | 8260.00 | S VINAYAGAMURTHY
15.00 | M & L for Anodised aluminium window and ventilator shutters (Louver Type) , fixed type without sash bar, aluminium section weighing 0.55 kg/m including necessary joining cleats, glazing clips, rubber packing, anodised aluminium snap beading, screws etc. complete all as specified | 7.00 | SQM | 1484.17 | 4255.00 | 29785.00 | 1585.00 | 11095.00 | 11095.00 | S VINAYAGAMURTHY
16.00 | M & L for 4mm thick Sheet glass, ordinary quality and glazing with oil putty in square n exc 0.5 sq. m in each pane | 6.00 | SQM | 782.81 | 1455.00 | 8730.00 | 835.00 | 5010.00 | 5010.00 | S VINAYAGAMURTHY
17.00 | S & F of Factory made solid panel PVC Door shutter 30mm thick (style) consisting of frame madeout of M.S tubes for top & bottom rails. M.S.Frame shall be covered with heat moulded plain colour PVC 'C' channel having a PVC sheet strip of 20mm width stuck inside with solvent cement for stiles and plain colour PVC sheets for Top rail, lock rail & bottom rail on either side & gap insert for top rail & bottom rail. Panelling of plain colour PVC sheet to be fitted in the M.S.frame welded / sealed to stiles & rails with suitable PVC sheet beading and jointing togeter and inlciding fixing to frame with hinges, tower bolt, handle all complete and as directed | 8.00 | SQM | 2758.39 | 4655.00 | 37240.00 | 2950.00 | 23600.00 | 23600.00 | S VINAYAGAMURTHY
18.00 | Supply and fixing of solid PVC door frame of size 50 mm x 47 mm made out of 5mm plain color PVC sheet reinforced with M.S. square tube, fixing in the opening as per the specification and drawing. | 21.00 | RM | 520.95 | 425.00 | 8925.00 | 555.00 | 11655.00 | 8925.00 | Siva Enterprises
19.00 | S & F of 125mm Aluminium Butt hinges, extruded aluminium alloy anodised and fixed, type B-21 | 12.00 | Each | 308.66 | 125.00 | 1500.00 | 329.00 | 3948.00 | 1500.00 | Siva Enterprises
20.00 | S & F of 150mm Extruded aluminium alloy handles, fabricated type, anodised | 8.00 | Each | 101.43 | 125.00 | 1000.00 | 108.00 | 864.00 | 864.00 | S VINAYAGAMURTHY
21.00 | S & F of 150mm Alumium anodized barrel tower bolt. | 8.00 | Each | 88.32 | 155.00 | 1240.00 | 93.00 | 744.00 | 744.00 | S VINAYAGAMURTHY
22.00 | S & F of Vitreous China Urinal pot with integral foot rests including lime concrete bed and finishing etc., with 10lit flushing tank wirh all accessories | 12.00 | Each | 2480.00 | 3455.00 | 41460.00 | 2630.00 | 31560.00 | 31560.00 | S VINAYAGAMURTHY
23.00 | Supplying and laying of CPVC pipes 50mm dia SDR 11 including all fittings such as elbow, tee, etc., Plain CPVC SDR 11 fittings on walls /ceiling or laying in floors complete all as specified. | 25.00 | RM | 1138.04 | 525.00 | 13125.00 | 1215.00 | 30375.00 | 13125.00 | Siva Enterprises
24.00 | Supplying and laying of CPVC pipes 25mm dia SDR 11 including all fittings such as elbow, tee, etc., Plain CPVC SDR 11 fittings on walls /ceiling or laying in floors complete all as specified. | 35.00 | RM | 377.78 | 225.00 | 7875.00 | 403.00 | 14105.00 | 7875.00 | Siva Enterprises
25.00 | S & F of Bib Taps, 15 mm cast copper alloy with crutch or butterfly handle, screwed for iron pipe or for brass ferrule fancy type and chroumium plated | 4.00 | Each | 698.71 | 755.00 | 3020.00 | 735.00 | 2940.00 | 2940.00 | S VINAYAGAMURTHY
26.00 | S & F of 20mm (concealed type) Stop valves, cast copper alloy, screwed down,high pressure, with crutch or butterfly handle, screwed both ends for iron pipe or for unions and fixed | 6.00 | Each | 461.68 | 955.00 | 5730.00 | 490.00 | 2940.00 | 2940.00 | S VINAYAGAMURTHY
27.00 | S & F of PVC (SWR) 110mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 25.00 | RM | 464.19 | 455.00 | 11375.00 | 233.00 | 5825.00 | 5825.00 | S VINAYAGAMURTHY
28.00 | S & F of PVC (SWR) 75mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 12.00 | RM | 269.15 | 355.00 | 4260.00 | 195.00 | 2340.00 | 2340.00 | S VINAYAGAMURTHY
29.00 | S & F of PVC (SWR) Bend with door 110mm dia any radius, | 5.00 | Each | 195.50 | 255.00 | 1275.00 | 210.00 | 1050.00 | 1050.00 | S VINAYAGAMURTHY
30.00 | S & F of PVC (SWR) Bend with door 75mm dia any radius, | 4.00 | Each | 166.75 | 245.00 | 980.00 | 178.00 | 712.00 | 712.00 | S VINAYAGAMURTHY
31.00 | S&F of PVC (SWR) floor trap, 75mm dia., plain with grating including jointing with solvent cement of approved make as directed. | 4.00 | Nos. | 258.75 | 195.00 | 780.00 | 276.00 | 1104.00 | 780.00 | Siva Enterprises
32.00 | S & F of Salt Glazed stoneware , gully traps, gratings,square/ round type-p of size 125 x100 mm | 2.00 | Each | 856.36 | 455.00 | 910.00 | 915.00 | 1830.00 | 910.00 | Siva Enterprises
33.00 | S & F of Rotational moulded polyethylene water storage tanks 2000Lit (cylindrical vertical with closed top) hoisted and fixed in position including all fittings such as nipple, ballvalve etc., all as specified in SSR Part - I | 1.00 | Each | 18375.17 | 24500.00 | 24500.00 | 19650.00 | 19650.00 | 19650.00 | S VINAYAGAMURTHY
34.00 | S & F of Gun-metal, globe or gate valves 32mm (bore dia of pipe) , with iron wheel head, screwed both ends for iron pipe and fixed | 2.00 | Each | 770.80 | 1255.00 | 2510.00 | 455.00 | 910.00 | 910.00 | S VINAYAGAMURTHY
35.00 | M & L for 25mm (Bore dia of pipe) Ball brass valves, high pressure, with polythene float and flynut complete, screwed for iron pipe or brass ferrule and fixed | 1.00 | Each | 561.51 | 655.00 | 655.00 | 600.00 | 600.00 | 600.00 | S VINAYAGAMURTHY
36.00 | S & F of Unplasticiscd PVC pipes 25mm dia of pressure rating 10 kgf/cm2 laid in trenches | 20.00 | RM | 154.03 | 95.00 | 1900.00 | 66.00 | 1320.00 | 1320.00 | S VINAYAGAMURTHY
37.00 | S & F of Unplasticiscd PVC pipes 32mm dia of pressure rating 10 kgf/cm2 laid in trenches | 20.00 | RM | 208.66 | 125.00 | 2500.00 | 113.00 | 2260.00 | 2260.00 | S VINAYAGAMURTHY
38.00 | M&L for painting two coat of exterior emulsion, includings one coat of priming paint applies after preparation of the new existing treatment | 80.00 | Sqm | 164.68 | 155.00 | 12400.00 | 174.00 | 13920.00 | 12400.00 | Siva Enterprises
39.00 | Returning / refilling of soil / loose including spreading, leveling, watering and well ramming in layers not exceeding 25cm. | 24.00 | CUM | 159.97 | 75.00 | 1800.00 | 170.00 | 4080.00 | 1800.00 | Siva Enterprises
40.00 | Material and labour for Point wiring with 1.5sqmm PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 1.5 sqmm & 2.5 sqmm copper earth continuity wire. Make: Kundan/ Finolex/ Havells or suitably Equivalent make a)one light point/one fan point controlled by one switch with cables1.5 sqmm size. | 14.00 | Point | 1141.66 | 1255.00 | 17570.00 | 1050.00 | 14700.00 | 14700.00 | S VINAYAGAMURTHY
41.00 | Material and labour for Point wiring with 1.5sqmm PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 1.5 sqmm & 2.5 sqmm copper earth continuity wire. Make: Kundan/ Finolex/ Havells or suitably Equivalent make b)One 3 pin socket outlet 5 amps on the same board with other switches, with cables 1.5 sqmm size. | 1.00 | Point | 326.72 | 255.00 | 255.00 | 340.00 | 340.00 | 255.00 | Siva Enterprises
42.00 | Material and labour for Point wiring with 1.5sqmm PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 1.5 sqmm & 2.5 sqmm copper earth continuity wire. Make: Kundan/ Finolex/ Havells or suitably Equivalent make c)One 3 pin socket outlet 5 amps independent, with cables 2.5 sqmm size. | 1.00 | Point | 1301.10 | 1455.00 | 1455.00 | 1350.00 | 1350.00 | 1350.00 | S VINAYAGAMURTHY
43.00 | Supply fixing and connecting to the system modular type switches one way 10A, one module (Make: LEGRAND MYRIUS/ Litaski/ Crabtree) or Suitably equivalent make) | 15.00 | Each | 299.58 | 55.00 | 825.00 | 315.00 | 4725.00 | 825.00 | Siva Enterprises
44.00 | Supply, fixing and connecting to the system of socket, 6A-2/3 pin combined modular type 2 module(Make:,LEGRAND MYRIUS/ Litaski/ Crabtree) or Suitably equivalent make | 1.00 | Each | 391.62 | 125.00 | 125.00 | 415.00 | 415.00 | 125.00 | Siva Enterprises
45.00 | Supply, fixing and connecting to the system modular type switch one way 16A, 1 module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree) or Suitably equivalent make | 1.00 | Each | 395.26 | 125.00 | 125.00 | 290.00 | 290.00 | 125.00 | Siva Enterprises
46.00 | Supply, fixing and connecting to the system of socket, 6/16A-2/3 pin combined modular type 2 module(Make:,LEGRAND MYRIUS/ Litaski/ Crabtree) or Suitably equivalent make | 1.00 | Each | 607.66 | 255.00 | 255.00 | 645.00 | 645.00 | 255.00 | Siva Enterprises
47.00 | Supply & fixing of 8 module modular white cover plate with frame | 2.00 | Each | 438.61 | 455.00 | 910.00 | 460.00 | 920.00 | 910.00 | Siva Enterprises
48.00 | Supply & fixing of 6 module modular white cover plate with frame | 2.00 | Each | 356.04 | 425.00 | 850.00 | 380.00 | 760.00 | 760.00 | S VINAYAGAMURTHY
49.00 | Supply & fixing of metal flush box for 6 module plate | 2.00 | Each | 326.72 | 355.00 | 710.00 | 340.00 | 680.00 | 680.00 | S VINAYAGAMURTHY
50.00 | Material & Labour for ceiling rose, 3 Phase/PVC /polycorbonate, isolated body (Make: ANCHOR / LEGRAND/ HAVELLS) or suitably equivalent make | 14.00 | Each | 75.56 | 65.00 | 910.00 | 75.00 | 1050.00 | 910.00 | Siva Enterprises
51.00 | Material & Labour for wiring with two runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/ Havells/ Polycab/ Kundan/ orbit ) or suitably equivalent make a) 2x2.5 sq.mm+1x2.5 sq.mm earth wire | 50.00 | RM | 212.99 | 225.00 | 11250.00 | 200.00 | 10000.00 | 10000.00 | S VINAYAGAMURTHY
52.00 | Material and Labour for Brick walls Cutting chases, pinning in, making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc. and making good, cutting exceeding 10 cm but not exc 20cm girth | 50.00 | RM | 59.92 | 75.00 | 3750.00 | 62.00 | 3100.00 | 3100.00 | S VINAYAGAMURTHY
53.00 | Supply and fix exhaust fan, steel body AC single Phase. 230V of size 300m sweep with, blades, and frame and louvers (Make: Almonard / Kaitan/ Crompton ) or Suitably equivalent make | 4.00 | Each | 4080.88 | 3500.00 | 14000.00 | 4360.00 | 17440.00 | 14000.00 | Siva Enterprises
54.00 | Supply & fixing of modular type Dummy plate | 6.00 | Nos. | 25.00 | 55.00 | 330.00 | 150.00 | 900.00 | 330.00 | Siva Enterprises
| Total in Figures |  |  |  |  | 1082882.50 |  | 933917.00
Lowest Amount Quoted BY: S VINAYAGAMURTHY(933917.00)

## BOQ Summary
BOQ Summary Details Tender Title: CONSTRUCTION OF TOILET BLOCK NEAR ANKUR VIDHYA MANDIR SCHOOL AT HVF ESTATE. Tender ID: 2025_AVNL_226592_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S VINAYAGAMURTHY (BID ID -830661) | 933917.00 | L1
| 2 | Siva Enterprises (BID ID -829253) | 1082882.50 | L2