## BoQ1
Government eProcurement System Created By: Teeka Ram Maravi Created Date/Time: 25-Jun-2025 10:23 AM Tender Title: Repair/Renovation of Conference Halls at admin block inside factory at VFJ. Tender ID: 2025_AVNL_229225_1
Tender Inviting Authority: The Chief General Manager, Vehicle Factory Jabalpur (A unit of AVNL)
Name of Work: Repair/Renovation of Conference Halls at admin block inside factory at VFJ.
Contract No: RD-2413/VFJ
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMIT CONSTRUCTION (GSTN-NA) BID ID -846333 |  | S.R. ASSOCIATES (GSTN-NA) BID ID -849921 |  | M/S RAJ BUILDERS (GSTN-NA) BID ID -848159
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Labour for taking down of wall paneling and similar work and removing to store. | 200.00 | Sqm | 0.00 | 30.00 | 6000.00 | 20.00 | 4000.00 | 55.00 | 11000.00 | 4000.00 | S.R. ASSOCIATES
2.00 | Labour for Dismantling wall and ceiling boards (fiber, pulp, insulation, etc.) or insulation boards / slabs / blankets, any thickness, including cover fillets. | 200.00 | Sqm | 0.00 | 50.00 | 10000.00 | 20.00 | 4000.00 | 40.00 | 8000.00 | 4000.00 | S.R. ASSOCIATES
3.00 | Labour for Dismantling timber scantling 40 sqcm and over in section, in any position for framed work. | 3.00 | Cum | 0.00 | 1000.00 | 3000.00 | 300.00 | 900.00 | 600.00 | 1800.00 | 900.00 | S.R. ASSOCIATES
4.00 | Labour for Taking down cement or cement lime plaster, any description including raking out joints, hacking for key, scrubbing down with water, etc. | 20.00 | Sqm | 0.00 | 180.00 | 3600.00 | 24.00 | 480.00 | 95.00 | 1900.00 | 480.00 | S.R. ASSOCIATES
5.00 | M&L for rendering 15mm thick cement plaster on fair faces of brick work or concrete surfaces in 1:6 cement mortar and rendering is to be finished even and smooth without using extra cement. | 20.00 | Sqm | 0.00 | 400.00 | 8000.00 | 228.00 | 4560.00 | 250.00 | 5000.00 | 4560.00 | S.R. ASSOCIATES
6.00 | S & F of Hangers 6 mm dia. G.I. (upto 1200mm length) adjusting level fixed to roof slabs by means of ceilling cleats made out of G.I. flat 40 x 3 mm size 60mm long and expansion hold fasteners 12.5mm dia. 40mm long complete all as specified, Size of grid 605 x 605mm. | 250.00 | Sqm | 0.00 | 350.00 | 87500.00 | 150.00 | 37500.00 | 120.00 | 30000.00 | 30000.00 | M/S RAJ BUILDERS
7.00 | S & F of Anodised aluminium snap grid frame work for false ceiling all as specified, Size of grid 605 x 605mm. | 250.00 | Sqm | 0.00 | 280.00 | 70000.00 | 542.00 | 135500.00 | 450.00 | 112500.00 | 70000.00 | AMIT CONSTRUCTION
8.00 | M & L for 4mm Non asbestos fibre cement building boards fixed or laid/ inserted to timber/GI/Aluminium framework with screws, fixed in ceiling, flat or sloping. | 250.00 | Sqm | 0.00 | 300.00 | 75000.00 | 420.00 | 105000.00 | 410.00 | 102500.00 | 75000.00 | AMIT CONSTRUCTION
9.00 | M & L for Two Coat of Plastic Emulsion on Surfaces of any description over 10cm girth or width, not otherwise described | 80.00 | Sqm | 0.00 | 70.00 | 5600.00 | 53.00 | 4240.00 | 100.00 | 8000.00 | 4240.00 | S.R. ASSOCIATES
10.00 | Labour for Dismantling of wrought iron or mild steel work of any description not otherwise provided for | 3.50 | Per Quintal | 0.00 | 1100.00 | 3850.00 | 300.00 | 1050.00 | 500.00 | 1750.00 | 1050.00 | S.R. ASSOCIATES
11.00 | S & F of Framed work such as grills, gratings, etc.. with ends of bars shouldered and/or riveted, or forged into spikes; framed guard bars; barred iron doors; ladders; framed balusters; walk ways; railings; framework of water tanks and similar work conforming to Fe.290.Gde-E-165. | 750.00 | KG | 0.00 | 160.00 | 120000.00 | 137.00 | 102750.00 | 110.00 | 82500.00 | 82500.00 | M/S RAJ BUILDERS
12.00 | M&L for preparation of New previously or untreated iron surfces of any description over 10cm in width or girth not otherwise described and painting two coats of synthetic enamel (ordinary tinted) paint with one coat of Red oxide zinc chrome as per SSR specification. (Paint /Primer:- Asian, Burger, Nerolac, indigo). | 50.00 | Sqm | 0.00 | 120.00 | 6000.00 | 59.00 | 2950.00 | 110.00 | 5500.00 | 2950.00 | S.R. ASSOCIATES
13.00 | S & F of Powder coated aluminium (minimum thickness of powder coating 50 micron and minimum thickness of Aluminium section is 1.5 mm) Frame work for doors, windows, ventilators and partitions (Fixed portions) with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS:1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing/ paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-Charge. | 170.00 | Kg | 0.00 | 450.00 | 76500.00 | 770.00 | 130900.00 | 630.00 | 107100.00 | 76500.00 | AMIT CONSTRUCTION
14.00 | S & F of Powder coated aluminium (minimum thickness of powder coating 50 micron minimum thickness of Aluminium section is 1 mm) for shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber/neoprene gasket required (Fittings shall be paid for separately) with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS:1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing/ paneling, C.P. brass/ stainless steel screws all complete as per architectural drawings and the directions of Engineer-in-charge. | 190.00 | Kg | 0.00 | 450.00 | 85500.00 | 770.00 | 146300.00 | 630.00 | 119700.00 | 85500.00 | AMIT CONSTRUCTION
15.00 | S & F of Sheet glass 4.0 mm thickness, ordinary quality and glazing in Al-Frame Such as Door, Window, partition etc in square exc 0.5 sq. m in each pane. | 50.00 | Sqm | 0.00 | 500.00 | 25000.00 | 880.00 | 44000.00 | 800.00 | 40000.00 | 25000.00 | AMIT CONSTRUCTION
16.00 | S & F of Aluminium alloy wire cloth, 0.45mm nominal dia of wire and average width of aperture 1.40mm and fixed with aluminium wire staples | 25.00 | Sqm | 0.00 | 500.00 | 12500.00 | 419.00 | 10475.00 | 800.00 | 20000.00 | 10475.00 | S.R. ASSOCIATES
17.00 | S & F of Solar control film 50 micron reflective type sticked to glass panes Exc 1.5 sqm as per instructions of manufacturers | 50.00 | Sqm | 0.00 | 500.00 | 25000.00 | 375.00 | 18750.00 | 1100.00 | 55000.00 | 18750.00 | S.R. ASSOCIATES
18.00 | Roughening surfaces of old concrete floor by picking, sweeping clean and washing down with water to remove existing old treatment, dust, etc. | 410.00 | Sqm | 0.00 | 100.00 | 41000.00 | 22.00 | 9020.00 | 45.00 | 18450.00 | 9020.00 | S.R. ASSOCIATES
19.00 | M & L for 20 mm thick Granite (of any type) work (table rubbed, polished and nosing of stair step) in steps, jambs, pillars, window- cills, cooking platforms and like in cement mortar (1:4) including laying and pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite. | 30.00 | Sqm | 0.00 | 2500.00 | 75000.00 | 4400.00 | 132000.00 | 5000.00 | 150000.00 | 75000.00 | AMIT CONSTRUCTION
20.00 | M & L for Dark Shade/Double charged/ ultracharged Vitrified Ceramic tiles 10 mm thick (square/ rectangular) polished, area of each tiles exceeding 0.42 sqm but not exceeding 1.00 sqm,, in floors etc. set and jointed with adhesive favimate, Andura or laticrete and pointed in white or coloured cement to match (Make :- Kajaria, Somany, Cera, Johnson, Simpolo, Vermora). | 250.00 | Sqm | 0.00 | 1750.00 | 437500.00 | 1739.00 | 434750.00 | 1300.00 | 325000.00 | 325000.00 | M/S RAJ BUILDERS
21.00 | S & F of Solid PVC Wall Lining consisting of 5mm thick Plain colour PVC sheet wood grain printed PVC sheet used instead of plain colour sheet inclusive of solvent cement and fixing at site on PVC frame as per specifications and drawing | 240.00 | Sqm | 0.00 | 1500.00 | 360000.00 | 1839.00 | 441360.00 | 1100.00 | 264000.00 | 264000.00 | M/S RAJ BUILDERS
22.00 | S & F of 5mm thick PVC sheet fillet of width 35mm for wall paneling inclusive of fixing on to wall to make PVC Frame as per specification and drawing | 900.00 | RM | 0.00 | 180.00 | 162000.00 | 22.00 | 19800.00 | 122.00 | 109800.00 | 19800.00 | S.R. ASSOCIATES
23.00 | S & F of 12 MM Toughned glass (With AVNL Logo as per directed by EIC) as in hinged doors, partitions automatic doors and similar work including cutting to shape, drilling holes required. | 6.00 | Sqm | 0.00 | 3500.00 | 21000.00 | 4950.00 | 29700.00 | 9300.00 | 55800.00 | 21000.00 | AMIT CONSTRUCTION
24.00 | M & L for Double action floor spring hydraulically regulated made up of minimum 1.25 mm thick aluminium alloy sheet foundation box, main body with stainless steel cover, governing pivot made of brass, other parts made of mild steel heavy duty and fixed for toughened glass doors including Cutting/demoliting of existing floor and making good all complete and as directed by EIC. | 4.00 | Each | 0.00 | 4350.00 | 17400.00 | 3800.00 | 15200.00 | 3400.00 | 13600.00 | 13600.00 | M/S RAJ BUILDERS
25.00 | S & F of Stainless steel decorative Handles of Size 300-600 mm length for Toughen glass door as approved by EIC. | 8.00 | Each | 0.00 | 2100.00 | 16800.00 | 1700.00 | 13600.00 | 1100.00 | 8800.00 | 8800.00 | M/S RAJ BUILDERS
26.00 | S & F of locks for Toughened glass door. | 2.00 | Each | 0.00 | 1800.00 | 3600.00 | 700.00 | 1400.00 | 900.00 | 1800.00 | 1400.00 | S.R. ASSOCIATES
27.00 | Removing building materials to a distance of 1.0 KM beyond the lead including in the rayes including loading and staking at the destination as directed. | 5.00 | Per Load | 0.00 | 1000.00 | 5000.00 | 200.00 | 1000.00 | 120.00 | 600.00 | 600.00 | M/S RAJ BUILDERS
28.00 | Taking down carefully copper/aluminium point wiring (light, fan, socket or power) complete, (fittings such as switches, ceiling roses, pendants, regulators sockets etc. to be measured separately), removing materials to store for keeping in safe custody for reuse at site and making good disturbed surfaces of walls, floors, etc. | 125.00 | Point | 0.00 | 40.00 | 5000.00 | 20.00 | 2500.00 | 130.00 | 16250.00 | 2500.00 | S.R. ASSOCIATES
29.00 | Cutting chases, pinning in, making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc. and making good, cutting exceeding 20cm girth in brick wall. | 310.00 | RM | 0.00 | 80.00 | 24800.00 | 180.00 | 55800.00 | 50.00 | 15500.00 | 15500.00 | M/S RAJ BUILDERS
30.00 | S & F of Wiring for circuit/submain wiring alongwith earth wire with the 2x6.0 sq. mm + 1x6.0 sq. mm earth wire sizes of FR is PVC insulated copper conductor, single core cable in surface/ recessed as required in PVC conduit. | 75.00 | RM | 0.00 | 275.00 | 20625.00 | 450.00 | 33750.00 | 350.00 | 26250.00 | 20625.00 | AMIT CONSTRUCTION
31.00 | S & F for Wiring for circuit/submain wiring alongwith earth wire with the 2x4.0 sq. mm + 1x4.0 sq. mm earth wire sizes of FR is PVC insulated copper conductor, single core cable in surface/ recessed as required in PVC conduit | 435.00 | RM | 0.00 | 180.00 | 78300.00 | 380.00 | 165300.00 | 310.00 | 134850.00 | 78300.00 | AMIT CONSTRUCTION
32.00 | S & F of Sheet Metal Enclosures For DB'S When MCBs To Be Used, Triple pole and neutral, 6 way double door with 200 amps, 415V rated bus bar. | 4.00 | Each | 0.00 | 5400.00 | 21600.00 | 3900.00 | 15600.00 | 3200.00 | 12800.00 | 12800.00 | M/S RAJ BUILDERS
33.00 | Supply and fixing amp rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the MCB DB complete with connection testing and commissioning: SP 6 To 32 AMP | 42.00 | Each | 0.00 | 150.00 | 6300.00 | 270.00 | 11340.00 | 450.00 | 18900.00 | 6300.00 | AMIT CONSTRUCTION
34.00 | Supply and fixing amp rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the MCB DB complete with connection testing and commissioning. SPN 40 to 63 AMP | 18.00 | Each | 0.00 | 450.00 | 8100.00 | 1300.00 | 23400.00 | 1200.00 | 21600.00 | 8100.00 | AMIT CONSTRUCTION
35.00 | M & L for Point wiring for one light point or one fan point controlled by one switch with pvc single core sheathed copper conductor FRLS cables 1.5 sq. mm size in pvc conduit. | 88.00 | Point | 0.00 | 450.00 | 39600.00 | 925.00 | 81400.00 | 850.00 | 74800.00 | 39600.00 | AMIT CONSTRUCTION
36.00 | M & L for Point wiring for One 3 pin socket outlet 5A on the same board with other switches with pvc single core sheathed copper conductor FRLS cables 2.5 sq. mm size in pvc conduit. | 55.00 | Point | 0.00 | 150.00 | 8250.00 | 120.00 | 6600.00 | 320.00 | 17600.00 | 6600.00 | S.R. ASSOCIATES
37.00 | M & L for Point wiring for One 3 pin socket outlet. 15 amps, independent, with cables 4 sq. mm size with pvc single core sheathed copper conductor FRLS cables in pvc conduit. | 28.00 | Point | 0.00 | 1300.00 | 36400.00 | 1400.00 | 39200.00 | 1450.00 | 40600.00 | 36400.00 | AMIT CONSTRUCTION
38.00 | S & F Socket, 6A - 2/3 pin combined 2 module | 58.00 | Each | 0.00 | 150.00 | 8700.00 | 75.00 | 4350.00 | 320.00 | 18560.00 | 4350.00 | S.R. ASSOCIATES
39.00 | S & F Socket 6A/16A - 2/3 pin combined 2 module | 28.00 | Each | 0.00 | 220.00 | 6160.00 | 230.00 | 6440.00 | 350.00 | 9800.00 | 6160.00 | AMIT CONSTRUCTION
40.00 | M & L Modular switch 1 way 10A,1 module. | 143.00 | Each | 0.00 | 75.00 | 10725.00 | 40.00 | 5720.00 | 150.00 | 21450.00 | 5720.00 | S.R. ASSOCIATES
41.00 | M & L Modular switch 1 way 16A,1 module | 4.00 | Each | 0.00 | 120.00 | 480.00 | 95.00 | 380.00 | 200.00 | 800.00 | 380.00 | S.R. ASSOCIATES
42.00 | M & L for Ceiling rose, 3 phase/PVC/ polycarbonate, isolated body | 25.00 | Each | 0.00 | 40.00 | 1000.00 | 45.00 | 1125.00 | 50.00 | 1250.00 | 1000.00 | AMIT CONSTRUCTION
43.00 | S & F of Junction boxes (1 to 4 way) 32mm External dia. | 50.00 | Each | 0.00 | 40.00 | 2000.00 | 40.00 | 2000.00 | 60.00 | 3000.00 | 2000.00 | AMIT CONSTRUCTION, S.R. ASSOCIATES
44.00 | S&F of Modular White Cover Plate With Frame, 6 module | 63.00 | Each | 0.00 | 175.00 | 11025.00 | 220.00 | 13860.00 | 180.00 | 11340.00 | 11025.00 | AMIT CONSTRUCTION
45.00 | S&F of Modular Metal flush Box, 6 module | 63.00 | Each | 0.00 | 80.00 | 5040.00 | 130.00 | 8190.00 | 160.00 | 10080.00 | 5040.00 | AMIT CONSTRUCTION
46.00 | S & F of Sheet Metal Enclosures For DB'S When MCBs To Be Used, Triple pole and neutral, 12way double door with 200 amps, 415V rated bus bar. | 2.00 | Each | 0.00 | 7000.00 | 14000.00 | 11750.00 | 23500.00 | 4500.00 | 9000.00 | 9000.00 | M/S RAJ BUILDERS
47.00 | Supply and fixing 415V 10KA 'B' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the DB complete with connection testing and commissioning. TPN/FP 40 to 100 AMP | 10.00 | Each | 0.00 | 1800.00 | 18000.00 | 3800.00 | 38000.00 | 2400.00 | 24000.00 | 18000.00 | AMIT CONSTRUCTION
48.00 | M&L for MCCB 4 Pole, 415 V, Adjustable type, 160 Amps with breaking capacity 36 KA | 4.00 | Each | 0.00 | 7500.00 | 30000.00 | 8500.00 | 34000.00 | 9000.00 | 36000.00 | 30000.00 | AMIT CONSTRUCTION
49.00 | M&L for 6 Watt ceiling Speaker for PA system. | 12.00 | Each | 0.00 | 1300.00 | 15600.00 | 650.00 | 7800.00 | 750.00 | 9000.00 | 7800.00 | S.R. ASSOCIATES
50.00 | Supply and fixing of LED luminaire 600 mm x 600 mm,35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete. | 38.00 | Each | 0.00 | 2300.00 | 87400.00 | 1900.00 | 72200.00 | 2700.00 | 102600.00 | 72200.00 | S.R. ASSOCIATES
51.00 | (Buy Back Items) Dismantled MS/Aluminium Window with Glass in any condition. (-) | 25.00 | Each | 0.00 | 150.00 | -3750.00 | 200.00 | -5000.00 | 450.00 | -11250.00 | -11250.00 | M/S RAJ BUILDERS
52.00 | (Buy Back Items) Dismantled wooden/any material of old False ceiling and wall Paneling with any type of frame work in any condition. (-) | 500.00 | Sqm | 0.00 | 15.00 | -7500.00 | 20.00 | -10000.00 | 80.00 | -40000.00 | -40000.00 | M/S RAJ BUILDERS
| Total in Figures |  |  |  |  | 2210205.00 |  | 2488640.00 |  | 2244880.00
Lowest Amount Quoted BY: AMIT CONSTRUCTION(2210205.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repair/Renovation of Conference Halls at admin block inside factory at VFJ. Tender ID: 2025_AVNL_229225_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AMIT CONSTRUCTION (BID ID -846333) | 2210205.00 | L1
| 2 | M/S RAJ BUILDERS (BID ID -848159) | 2244880.00 | L2
| 3 | S.R. ASSOCIATES (BID ID -849921) | 2488640.00 | L3