## BoQ1
Government eProcurement System Created By: DINESH KUMAR V R Created Date/Time: 24-Apr-2025 12:11 PM Tender Title: REPAIRS / REVAMPING OF 03 NOS. OF BOREWELLS AT AVNL ESTATE Tender ID: 2025_AVNL_229303_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: REPAIRS / REVAMPING OF 03 NOS. BOREWELLS AT AVNL ESTATE
Tender No: HVF/TE/13025/CEO/2024-25/70
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMUTHA ENGINEERING AND CONSTRUCTION (GSTN-NA) BID ID -834697 |  | SRI LAKSHMI INDUSTRIES (GSTN-NA) BID ID -834705 |  | Siva Enterprises (GSTN-NA) BID ID -839636
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth Work excavation in trenches not exceeding 1.5 m in depth and width and getting out in hard / dense soil. | 74.00 | CUM | 742.50 | 770.00 | 56980.00 | 300.00 | 22200.00 | 855.00 | 63270.00 | 22200.00 | SRI LAKSHMI INDUSTRIES
2.00 | Returning and refilling with well ramming, leveling with excavated soil and spreading at surplus soil | 74.00 | CUM | 153.01 | 132.00 | 9768.00 | 80.00 | 5920.00 | 255.00 | 18870.00 | 5920.00 | SRI LAKSHMI INDUSTRIES
3.00 | Demolition of concrete of any description and in any position not otherwise specifically provided for Cement concrete (unreinforced) | 4.00 | CUM | 1794.43 | 1650.00 | 6600.00 | 500.00 | 2000.00 | 2455.00 | 9820.00 | 2000.00 | SRI LAKSHMI INDUSTRIES
4.00 | M & L for P.C.C 1:2:4, B1 type using 20mm graded aggregated for filling of road cuttings ( Incl elelctrical trenches on crossing of road) | 4.00 | CUM | 7186.66 | 770.00 | 3080.00 | 5900.00 | 23600.00 | 6855.00 | 27420.00 | 3080.00 | AMUTHA ENGINEERING AND CONSTRUCTION
5.00 | Supply and fixing steel water tubes of 50 mm bore medium grade galvanised with all fitting and fixed complete to walls and ceilings or laid in floors | 36.00 | RM | 476.30 | 605.00 | 21780.00 | 450.00 | 16200.00 | 655.00 | 23580.00 | 16200.00 | SRI LAKSHMI INDUSTRIES
6.00 | Supply and fixing of 50 mm dia Gun-metal, globe or gate valves, with iron wheel head, screwed both ends for iron pipe or pvc with all accessories fitting required. Make should be ISI Heavy duty. | 31.00 | EACH | 1076.99 | 2640.00 | 81840.00 | 940.00 | 29140.00 | 1455.00 | 45105.00 | 29140.00 | SRI LAKSHMI INDUSTRIES
7.00 | Supply and fixing steel water tubes of 80 mm bore medium grade galvanised with all fitting and fixed for covering pipes complete to walls and ceilings or laid in floors | 18.00 | RM | 848.10 | 1045.00 | 18810.00 | 800.00 | 14400.00 | 1155.00 | 20790.00 | 14400.00 | SRI LAKSHMI INDUSTRIES
8.00 | Suface excavation in hard dense soil not exceeding 30 cm deep incl all bye works etc complete | 75.00 | SQM | 102.52 | 99.00 | 7425.00 | 50.00 | 3750.00 | 55.00 | 4125.00 | 3750.00 | SRI LAKSHMI INDUSTRIES
9.00 | Supply and Fixing of Unplasticised PVC pipes of pressure rating 10 kgf/cm2 fixed complete to walls, ceilings or in floors etc., any type of pipe 20mm Bore of pipes in mm Including all fitting | 50.00 | RM | 129.98 | 126.00 | 6300.00 | 95.00 | 4750.00 | 155.00 | 7750.00 | 4750.00 | SRI LAKSHMI INDUSTRIES
10.00 | Supply and fixing of 15 mm dia Gun-metal, globe or gate valves, with iron wheel head, screwed both ends for iron pipe or pvc with all accessories fitting required. Make should be ISI Heavy duty. | 50.00 | EACH | 556.00 | 550.00 | 27500.00 | 500.00 | 25000.00 | 1155.00 | 57750.00 | 25000.00 | SRI LAKSHMI INDUSTRIES
11.00 | Removing of PVC/G.I pipes from bore wells. Any class of 40 to 50 mm (including all fitting) including disconecting with taking out of submersible pumpsets etc, carefully with out any damage. | 120.00 | RM | 82.00 | 82.00 | 9840.00 | 40.00 | 4800.00 | 155.00 | 18600.00 | 4800.00 | SRI LAKSHMI INDUSTRIES
12.00 | Supply and filling of granular space between casting pipe and raw bore with free pebbles of size 6mm to 10mm complete all as specifed and directed. | 15.00 | CUM | 2000.00 | 2750.00 | 41250.00 | 1800.00 | 27000.00 | 12500.00 | 187500.00 | 27000.00 | SRI LAKSHMI INDUSTRIES
13.00 | Testing water samples taken from borewell for potability at king Institute, Guindy, Chennai and submit the report in original as per the instruction of EIC. | 3.00 | EACH | 8125.00 | 8800.00 | 26400.00 | 7500.00 | 22500.00 | 2500.00 | 7500.00 | 7500.00 | Siva Enterprises
14.00 | Supplying transporting and lowering and fixing in bore well 50 mm inner dia and 60 mm outer dia of PVC threaded submersible pipe each 10 feet length with joint and wire lock system with pressure rating 20kgf/cm² (MAKE- FINOLEX / ASHIRVAD/ TRUBORE or suitabally equivalent make) only | 180.00 | RM | 1400.00 | 1155.00 | 207900.00 | 750.00 | 135000.00 | 625.00 | 112500.00 | 112500.00 | Siva Enterprises
15.00 | Supply and fixing of 50 mm dia brass non return valves, screwed both ends for HDPE/PVC pipe with all accessories Note : Brass Non Return Valve + Nipple + Clamp + Welding or ( Pipe + MTA/FTA+ Valve ) required fitting included. | 3.00 | EACH | 4500.00 | 4400.00 | 13200.00 | 4100.00 | 12300.00 | 2455.00 | 7365.00 | 7365.00 | Siva Enterprises
16.00 | Supply and Fixing of NYLON rope of 12 mm dia along the PVC bore pipe and tied with motor base for safety of PVC pipes and tied with pvc tags of 5 mm thick each 1 meter of the bore well pipes . | 220.00 | RM | 24.00 | 24.00 | 5280.00 | 22.00 | 4840.00 | 55.00 | 12100.00 | 4840.00 | SRI LAKSHMI INDUSTRIES
17.00 | Supply, install & commissioning of electric motor driven subersible pumpset multistage AC, 3 Phase, 400/440V, 50Hz with high quality Bronze impeller suction housing with perforated strainer with delivery size 50mm dia, complete with standard necessary accessories (Supreme/Finolex/Aashirvad or suitabally equiavalent make) including flat flexible weather proof PVC sheathed over insulated 3 core 4 sq.mm, 1100V grade from Motor to starter pumping capacity 60 to 70 LPM, Head 75 m ,10 Stage pump of 5 HP motor of ( Make : Kirloskar /Texmo / CRI or suitabally equivalent make only) with water level sensor , and the size of the motor should be suitable for 6 inches dia bore. | 2.00 | EACH | 69500.00 | 71500.00 | 143000.00 | 67000.00 | 134000.00 | 64555.00 | 129110.00 | 129110.00 | Siva Enterprises
18.00 | Supply & fixing of pillar / wall mounting (as per site requirement) panel 1200mmX600mmX 200mm size of indoor / outdoor type made out of 2mm thick MS sheet including provision of 2 coats of Red Oxide primer and two coats of aluminium paint on surface. The box should have heavy duty hinges and front door should open by using panel key. The box shall be dust and vermin proof. The joints of the box shall be fully welded. The box and door should have the metal beading width of 10mm and 15mm respectively. The rubber/PVC beading should be provided around the box cover for water proof. The box shall be provided with 2 nos 6mm earthing bolts with 2 nos of plain washers and one spring washer with nut at both side of the box shall be provided. The box shall be provided 2 nos of gland holes suitable for 3.5C, 25Sqmm for cable entries for Incoming & Outgoing. All the power & control wiring shall be the scope of the contractor. The power wiring shall done between TPN main switch to starter & MCCB shall be done with 16 Sqmm PVC insulated flexible copper wires/cable with proper lugs. The wiring shall be neatly bunched together with non returnable cable ties. The panel shall be fitted with functional accessories such as: a) 3 phase, 415 Volts 32 Amps TPN main switch suitable for operation of above referred pump set (Make: Havells/Standard/Indo Asian or suitabally equiavalent make). b) Single phase preventer (Make: L&T, Minilec,Standard or suitabally equiavalent make). c) Voltmeter 0 to 500 Volts (Size: 96X96 mm, Make: AE/MECO/RISHAB or suitabally equiavalent make) with 3 phase selector switch (Make: Salzer/Switron/ Kaycee or suitabally equiavalent make). d) Ammeter 0 to 30 Amps (Size: 96X96mm, Make: MECO/IMP/RISHAB or suitabally equiavalent make) with 3 phase selector switch (Make:salzer/ Switron/Kaycee or suitabally equiavalent make) e) Indication lamps (LED integral type - 25mm panel cut) for R, Y, B phases (Make: Teknic/vaishnov/jai balaji or suitabally equiavalent make) f) Suitable rated DOL starter for above referred pump set motor with proper O/L relays and contactor (Make: Siemens/BCH/Schneider or suitabally equiavalent make). g) Electronic Timer (Range: 0 to 60min) (Make: EAPL/L&T/Siemens or suitabally equiavalent make) h) Dry run protection relay suitable for 3HP to 10 HP submersible pump motor (Make: Minilec/Siemens/BCH Siemens/BCH or suitabally equiavalent make) | 2.00 | EACH | 95000.00 | 99000.00 | 198000.00 | 90000.00 | 180000.00 | 125000.00 | 250000.00 | 180000.00 | SRI LAKSHMI INDUSTRIES
19.00 | M & L For Drilling Bore holes 12 inch dia using power rig in any type of soil etc. and cleaning site after drilling. | 300.00 | RM | 750.00 | 1155.00 | 346500.00 | 650.00 | 195000.00 | 855.00 | 256500.00 | 195000.00 | SRI LAKSHMI INDUSTRIES
20.00 | Supplying transporting and lowering in raw bore wells PVC NON SLOTED Casing pipe of size 8 inch inner dia having thickness of 7.6 to 8.8 mm and lowering with vertical alingment including jointing complete . ( Make of the pipe shall be - Truebore/Finolex/Aashirvad or suitabally equiavalent make) are only acceptable. | 60.00 | RM | 1250.00 | 1320.00 | 79200.00 | 1050.00 | 63000.00 | 1955.00 | 117300.00 | 63000.00 | SRI LAKSHMI INDUSTRIES
21.00 | Supplying transporting and lowering in raw bore wells PVC VERTICAL SLOTED Casing pipe of size 8 inch inner dia having thickness of 7.6 mm to 8.8 mm and lowering with vertical alingment including jointing complete .( Make of the pipe shall be - Truebore/Finolex/Aashirvad or suitabally equiavalent make) | 210.00 | RM | 1500.00 | 1540.00 | 323400.00 | 1100.00 | 231000.00 | 2155.00 | 452550.00 | 231000.00 | SRI LAKSHMI INDUSTRIES
22.00 | Supply and Fixing of 3 HP 300 ft Solar Water Pump 1,Solar Panel 8 Nos (405w/24 v-Mono Make:Waaree / Vikram/UTL or suitabally equiavalent make) 2,Solar Water Pump -3 HP, 3 phase, 220v, Bore Well Pump ( Make: 4M/Hawksun/Amrut or suitabally equiavalent make) 3,Pump Controller-3 HP, 3Phase, 220 V, Dry Run Protection,Surge Protection,IP65 Standard ( Make: 4M/Hawksun/Amrut or suitabally equiavalent make) 4,HDPE Hose-1.5 inch 300 ft including All Fittings( Make of the pipe shall be - Supreme/Finolex/Aashirvad or suitabally equiavalent make) 5,Nylon Rope- 320 mts (Any ISI make) 6,Sub Cables -4SQ mm DC and 6 SQ mm Earthing Cables,Earthing Rod,MC 4 Connector,John Cab 3 Core 2.5 SQ mm cable(Any ISI make) 7,Accessories- Pre Galvanized Structure,3.2 KW,SS Lightning Arrester Aluminium Cables,2 Inch Lightning Arresterpost 20 Ft.(Any ISI make) 8, Installation and Transportation including 9, Pipe Earthing for panel board -2 Nos | 1.00 | EACH | 320000.00 | 330000.00 | 330000.00 | 300000.00 | 300000.00 | 125000.00 | 125000.00 | 125000.00 | Siva Enterprises
23.00 | Supply and Fixing of Unplasticised PVC pipes of pressure rating 10 kgf/cm2 fixed complete to walls, ceilings or in floors etc., any type of pipe 63 mm .( Make of the pipe shall be -truebore/Finolex) Including all fitting | 350.00 | RM | 175.00 | 220.00 | 77000.00 | 150.00 | 52500.00 | 395.00 | 138250.00 | 52500.00 | SRI LAKSHMI INDUSTRIES
24.00 | Excavating in trenches not Exceeding 1.5 m wide and not exceeding 1.5 m in depth for laying cable. | 18.00 | CUM | 776.25 | 770.00 | 13860.00 | 450.00 | 8100.00 | 855.00 | 15390.00 | 8100.00 | SRI LAKSHMI INDUSTRIES
25.00 | Material & labour for sand filling for cushioning on U.G cable | 3.60 | CUM | 2270.45 | 2365.00 | 8514.00 | 1400.00 | 5040.00 | 2455.00 | 8838.00 | 5040.00 | SRI LAKSHMI INDUSTRIES
26.00 | Materal & labour for Bricks; common burnt clay building bricks sub class B designation 75, Old size bricks for protection to U.G cable | .80 | Nos in 1000 | 6384.66 | 9900.00 | 7920.00 | 7000.00 | 5600.00 | 12500.00 | 10000.00 | 5600.00 | SRI LAKSHMI INDUSTRIES
27.00 | Returing, refilling in the excavated trench after laying of power cable including spreading levelling, watering and well ramming in layers not exc 25 cm. | 18.00 | CUM | 159.97 | 132.00 | 2376.00 | 80.00 | 1440.00 | 255.00 | 4590.00 | 1440.00 | SRI LAKSHMI INDUSTRIES
28.00 | Demolition of cement concrete of any description and in any position not otherwise specifically provided for | 2.00 | CUM | 1876.00 | 1650.00 | 3300.00 | 600.00 | 1200.00 | 2455.00 | 4910.00 | 1200.00 | SRI LAKSHMI INDUSTRIES
29.00 | Material & labour for cement concrete 1:2:4 Type B1 using 20mm graded aggregate in foundations, filling and mass concrete | 2.00 | CUM | 7513.33 | 7700.00 | 15400.00 | 6000.00 | 12000.00 | 6855.00 | 13710.00 | 12000.00 | SRI LAKSHMI INDUSTRIES
30.00 | Supply & fixing of galvanised steel tubes, medium grade 50mm dia | 18.00 | RM | 350.75 | 605.00 | 10890.00 | 500.00 | 9000.00 | 655.00 | 11790.00 | 9000.00 | SRI LAKSHMI INDUSTRIES
31.00 | Supply and installtion of Earthing complete with galvanized steel pipe electrode, 40 mm bore, medium grade 2.5 Mtrs length buried directly and preferably vertically in ground level connected with earth lead of 4 mm dia galvanized iron or steel wire to the earth test point all as specified and indicated including testing on completion. | 4.00 | Each | 6596.29 | 7150.00 | 28600.00 | 5500.00 | 22000.00 | 12455.00 | 49820.00 | 22000.00 | SRI LAKSHMI INDUSTRIES
32.00 | Supply and fixing of 4mm GI earth continuity conductor of main lead fixed to wall in batten or recess or chases for buried in ground or drawn in conduit/pipe ot fixed to poles or any other indicated situation for loop earthing etc, as required 4 mm dia galvanized iron or steel wire. | 20.00 | RM | 69.23 | 66.00 | 1320.00 | 45.00 | 900.00 | 255.00 | 5100.00 | 900.00 | SRI LAKSHMI INDUSTRIES
33.00 | Supply & Laying of 4 core,PVC insulated, aromoured, heavy duty electric cable with Aluminium conductor 1100 Volts grade, cross sectional area 25 Sqmm through cable trenches/flooring/ pipes etc. including termination with suitable glands and lugs etc. | 100.00 | RM | 238.04 | 264.00 | 26400.00 | 200.00 | 20000.00 | 355.00 | 35500.00 | 20000.00 | SRI LAKSHMI INDUSTRIES
34.00 | Supply, fixing & connecting of the system cable end termination of size 25 sqmm 4 core including with suitable cable gland & lugs. | 4.00 | EACH | 334.00 | 385.00 | 1540.00 | 300.00 | 1200.00 | 545.00 | 2180.00 | 1200.00 | SRI LAKSHMI INDUSTRIES
| Total in Figures |  |  |  |  | 2161173.00 |  | 1595380.00 |  | 2254583.00
Lowest Amount Quoted BY: SRI LAKSHMI INDUSTRIES(1595380.00)

## BOQ Summary
BOQ Summary Details Tender Title: REPAIRS / REVAMPING OF 03 NOS. OF BOREWELLS AT AVNL ESTATE Tender ID: 2025_AVNL_229303_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SRI LAKSHMI INDUSTRIES (BID ID -834705) | 1595380.00 | L1
| 2 | AMUTHA ENGINEERING AND CONSTRUCTION (BID ID -834697) | 2161173.00 | L2
| 3 | Siva Enterprises (BID ID -839636) | 2254583.00 | L3