## BoQ1
Government eProcurement System Created By: DINESH KUMAR V R Created Date/Time: 12-May-2025 02:40 PM Tender Title: CONSTRUCTION OF ADDITIONAL THREE CLASS ROOMS / LABS IN VIJAYANTHA MODEL HIGHER SECONDARY SCHOOL, HVF ESTATE Tender ID: 2025_AVNL_232663_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: CONSTRUCTION OF ADDITIONAL THREE CLASS ROOMS / LABS IN VIJAYANTHA MODEL HIGHER SECONDARY SCHOOL, HVF ESTATE
Tender No: HVF/TE/VMHSS/CLASS ROOMS/PW/2025-26/01
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | B.V.Enterprises (GSTN-NA) BID ID -845568 |  | SRI LAKSHMI INDUSTRIES (GSTN-NA) BID ID -843413 |  | Sri Krishna Agencies (GSTN-NA) BID ID -845481 |  | S VINAYAGAMURTHY (GSTN-NA) BID ID -845714 |  | DEEPAM ENTERPRISES (GSTN-NA) BID ID -845590
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolition of reinforced Concrete structure of any description | 2.50 | CUM | 2166.25 | 1000.00 | 2500.00 | 1500.00 | 3750.00 | 1900.00 | 4750.00 | 1900.00 | 4750.00 | 1750.00 | 4375.00 | 2500.00 | B.V.Enterprises
2.00 | M & L for R.C.C A1 Type, 1: 1.5: 3 M20, 20mm graded aggregate in columns, pillars, piers, posts and struts etc (concrete work should be use of Ready Mix Concrete (RMC) of M/S.ULTRA-TEC / M/S. BIRLA / M/S.RAMCO / M/S.ACC / M/S.COROMANDAL. / M/S.RMC.(minimum cement content shall be 350kg per cum) or suitably equivalent make. | 30.00 | CUM | 9546.26 | 6800.00 | 204000.00 | 9000.00 | 270000.00 | 8400.00 | 252000.00 | 9348.00 | 280440.00 | 8325.00 | 249750.00 | 204000.00 | B.V.Enterprises
3.00 | M & L for R.C.C A1 Type, 1: 1.5: 3 M20, 20mm graded aggregate in beams, cantilevers, bressummers, lintels over 1.50m span etc., (concrete work should be use of Ready Mix Concrete (RMC) of M/S.ULTRA-TEC / M/S. BIRLA / M/S.RAMCO / M/S.ACC / M/S.COROMANDAL. / M/S.RMC(minimum cement content shall be 350kg per cum) or suitably equivalent make. | 10.00 | CUM | 9077.52 | 7000.00 | 70000.00 | 8500.00 | 85000.00 | 8400.00 | 84000.00 | 9058.00 | 90580.00 | 8200.00 | 82000.00 | 70000.00 | B.V.Enterprises
4.00 | M & L for R.C.C A1 Type, 1: 1.5: 3 M20, 20mm graded aggregate in Slabs supported on walls,beams and columns in floors,roofs, landings, balconies,canopies, deck slabs and in shelves and the like.etc.(concrete work should be use of Ready Mix Concrete (RMC) of M/S.ULTRA-TEC / M/S. BIRLA / M/S.RAMCO / M/S.ACC / M/S.COROMANDAL. / M/S.RMC.(minimum cement content shall be 350kg per cum) or suitably equivalent make. | 48.00 | CUM | 8208.35 | 6800.00 | 326400.00 | 8500.00 | 408000.00 | 8400.00 | 403200.00 | 8778.00 | 421344.00 | 7355.00 | 353040.00 | 326400.00 | B.V.Enterprises
5.00 | Supply and fixing of mild steel reinforcement deformed or twisted bars 10mm dia and over including bending, cranking, hooking and tieing with mild steel wire not less than 0.90mm dia. Used RINL-VIZAG Steel/SAIL/TATA-TISCON/"BIS"MARKED or suitably equivalent make. | 8800.00 | KG | 94.14 | 90.00 | 792000.00 | 105.00 | 924000.00 | 93.00 | 818400.00 | 92.00 | 809600.00 | 89.00 | 783200.00 | 783200.00 | DEEPAM ENTERPRISES
6.00 | M & L for form work to side of RCC Member such as columns, pillars etc., and the finishing shall be of fair finished surface. | 110.00 | SQM | 780.24 | 500.00 | 55000.00 | 550.00 | 60500.00 | 480.00 | 52800.00 | 560.00 | 61600.00 | 650.00 | 71500.00 | 52800.00 | Sri Krishna Agencies
7.00 | M & L for form work to sides and soffits of floor or roof beam, beam, lintels, cantilevers, shelves, columns, slabs including supports, overhangs etc., and the finishing shall be of fair finished surface. | 235.00 | SQM | 624.67 | 450.00 | 105750.00 | 550.00 | 129250.00 | 600.00 | 141000.00 | 570.00 | 133950.00 | 535.00 | 125725.00 | 105750.00 | B.V.Enterprises
8.00 | M & L for form work to soffits rough finish surfaces of suspended slabs such as roof slabs, floor slabs, landings and similar work not exceeding 200mm thick (Horizontal or sloping) and the finishing shall be of fair finished surface. | 330.00 | SQM | 662.00 | 450.00 | 148500.00 | 550.00 | 181500.00 | 575.00 | 189750.00 | 590.00 | 194700.00 | 565.00 | 186450.00 | 148500.00 | B.V.Enterprises
9.00 | M & L for Brick work built in CM.1:6 using Good quality modular bricks / solid Concrete bricks Bricks.straight or curved on plan exc 6m mean radius. | 87.00 | CUM | 7200.00 | 6800.00 | 591600.00 | 7900.00 | 687300.00 | 7300.00 | 635100.00 | 7230.00 | 629010.00 | 7500.00 | 652500.00 | 591600.00 | B.V.Enterprises
10.00 | M & L for half Brick wall built in CM.1:4 using Sub-Class “B” Bricks. | 50.00 | SQM | 773.48 | 500.00 | 25000.00 | 650.00 | 32500.00 | 980.00 | 49000.00 | 815.00 | 40750.00 | 680.00 | 34000.00 | 25000.00 | B.V.Enterprises
11.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of brick work and concrete surfaces. | 710.00 | SQM | 302.59 | 220.00 | 156200.00 | 300.00 | 213000.00 | 240.00 | 170400.00 | 320.00 | 227200.00 | 255.00 | 181050.00 | 156200.00 | B.V.Enterprises
12.00 | M & L for plastering in CM 1:4, 12mm thick on RCC Ceiling. | 645.00 | SQM | 291.77 | 230.00 | 148350.00 | 310.00 | 199950.00 | 260.00 | 167700.00 | 295.00 | 190275.00 | 260.00 | 167700.00 | 148350.00 | B.V.Enterprises
13.00 | Material and labour for two coats of exterior emulsion paint on surfaces of any description over 10cm girth or width, not otherwise described including preparation of new painted surface with one coat of primer. (ASIAN/NEROLAC/ BERGER or suitably equivalent make. | 310.00 | SQM | 164.68 | 110.00 | 34100.00 | 120.00 | 37200.00 | 120.00 | 37200.00 | 125.00 | 38750.00 | 120.00 | 37200.00 | 34100.00 | B.V.Enterprises
14.00 | Material and labour for two coats of interior emulsion paint on surfaces of any description over 10cm girth or width, not otherwise described including preparation of new painted surface with one coat of primer.(ASIAN/NEROLAC/BERGER or suitably equivalent make. | 530.00 | SQM | 164.68 | 110.00 | 58300.00 | 120.00 | 63600.00 | 120.00 | 63600.00 | 125.00 | 66250.00 | 115.00 | 60950.00 | 58300.00 | B.V.Enterprises
15.00 | M & L for white washing two coats on ceiling on newly prepared wall surfaces.(ASIAN/NEROLAC/BERGER or suitably equivalent make. | 645.00 | SQM | 24.72 | 20.00 | 12900.00 | 20.00 | 12900.00 | 18.00 | 11610.00 | 25.00 | 16125.00 | 19.00 | 12255.00 | 11610.00 | Sri Krishna Agencies
16.00 | S&F of Vitrified Ceramic tiles dark shade 10 mm thick (square/ rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including Screed bed or bedding layer of mortar 1:3, 15 mm thick for laying floor finishess. | 231.00 | SQM | 1982.18 | 1200.00 | 277200.00 | 1500.00 | 346500.00 | 1550.00 | 358050.00 | 1680.00 | 388080.00 | 1750.00 | 404250.00 | 277200.00 | B.V.Enterprises
17.00 | S & F of Framed work as in doors or gates of angle or other section with gusset plates, rails,braces, etc., complete, drilled for fixing of steel sheeting or other covering. Doors, etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering, running rails and guides) and hanging; also fastening and fixing complete.Fe-410-W(Gde-E-250)quality A. | 850.00 | KG | 135.36 | 120.00 | 102000.00 | 120.00 | 102000.00 | 135.00 | 114750.00 | 125.00 | 106250.00 | 130.00 | 110500.00 | 102000.00 | SRI LAKSHMI INDUSTRIES, B.V.Enterprises
18.00 | M & L for painting to steel surfaces of any description over 10cm width or girth with two coats of synthetic enamel paint over a coat of red oxide primer including preparing new surfaces. | 31.00 | SQM | 162.50 | 100.00 | 3100.00 | 120.00 | 3720.00 | 135.00 | 4185.00 | 140.00 | 4340.00 | 125.00 | 3875.00 | 3100.00 | B.V.Enterprises
19.00 | S & F of II class hard wood door frame, wrought framed rebated on the solid rounded or chamfered put together with glue pined at joints. | .85 | CUM | 99345.22 | 70000.00 | 59500.00 | 80000.00 | 68000.00 | 125000.00 | 106250.00 | 90000.00 | 76500.00 | 86350.00 | 73397.50 | 59500.00 | B.V.Enterprises
20.00 | S & F of plain, framed, paneled door shutters 40mm thick made out of II class hard wood. | 15.20 | SQM | 2682.14 | 2000.00 | 30400.00 | 2500.00 | 38000.00 | 5800.00 | 88160.00 | 2810.00 | 42712.00 | 2400.00 | 36480.00 | 30400.00 | B.V.Enterprises
21.00 | S&F of glazed and skeleton window shutter 35mm open rebated and prepared to receive glass gauge with II class wood | 26.00 | SQM | 2151.70 | 2000.00 | 52000.00 | 2000.00 | 52000.00 | 5300.00 | 137800.00 | 2300.00 | 59800.00 | 1900.00 | 49400.00 | 49400.00 | DEEPAM ENTERPRISES
22.00 | Supply and Fixing of sheet Glass 5.50mm quality and glazing with oil putty in square exc 0.5Sqm in each pare ground or obscured or tinted on one side and as approved and as directed by EIC. | 20.00 | SQM | 1399.86 | 1000.00 | 20000.00 | 900.00 | 18000.00 | 1100.00 | 22000.00 | 900.00 | 18000.00 | 1020.00 | 20400.00 | 18000.00 | SRI LAKSHMI INDUSTRIES, S VINAYAGAMURTHY
23.00 | M & L for painting to wooden surfaces of any description over 10cm width or girth with two coats of synthetic enamel paint over a coat of pink primer including preparing new wooden surfaces. | 68.50 | SQM | 161.23 | 100.00 | 6850.00 | 120.00 | 8220.00 | 120.00 | 8220.00 | 145.00 | 9932.50 | 110.00 | 7535.00 | 6850.00 | B.V.Enterprises
24.00 | S & F of 125mm Aluminium Butt hinges, extruded aluminium alloy anodised and fixed, type B-21 | 36.00 | Each | 308.66 | 200.00 | 7200.00 | 200.00 | 7200.00 | 80.00 | 2880.00 | 265.00 | 9540.00 | 220.00 | 7920.00 | 2880.00 | Sri Krishna Agencies
25.00 | S & F of 100mm Aluminium Butt hinges, extruded aluminium alloy anodised and fixed, type B-21 | 72.00 | Each | 207.35 | 180.00 | 12960.00 | 150.00 | 10800.00 | 75.00 | 5400.00 | 190.00 | 13680.00 | 178.00 | 12816.00 | 5400.00 | Sri Krishna Agencies
26.00 | S & F of 150mm Extruded aluminium alloy handles, fabricated type, anodised | 24.00 | Each | 101.43 | 70.00 | 1680.00 | 70.00 | 1680.00 | 90.00 | 2160.00 | 95.00 | 2280.00 | 82.00 | 1968.00 | 1680.00 | SRI LAKSHMI INDUSTRIES, B.V.Enterprises
27.00 | S & F of 100mm Extruded aluminium alloy handles, fabricated type, anodised | 36.00 | Each | 84.52 | 60.00 | 2160.00 | 60.00 | 2160.00 | 90.00 | 3240.00 | 85.00 | 3060.00 | 71.50 | 2574.00 | 2160.00 | SRI LAKSHMI INDUSTRIES, B.V.Enterprises
28.00 | S & F of 150mm Alumium anodized barrel tower bolt. | 12.00 | Each | 88.32 | 75.00 | 900.00 | 100.00 | 1200.00 | 120.00 | 1440.00 | 85.00 | 1020.00 | 74.50 | 894.00 | 894.00 | DEEPAM ENTERPRISES
29.00 | S & F of 100mm Alumium anodized barrel tower bolt. | 36.00 | Each | 67.51 | 65.00 | 2340.00 | 70.00 | 2520.00 | 90.00 | 3240.00 | 65.00 | 2340.00 | 51.50 | 1854.00 | 1854.00 | DEEPAM ENTERPRISES
30.00 | Cutting holes in brick walls built in cement mortar Exc.half brick work but not exc.one brick for inserting hold fasts and making good dismantled portion in cement mortar 1:3 or cement concrete 1:2:4 type B1 as required. | 84.00 | Each | 391.21 | 360.00 | 30240.00 | 250.00 | 21000.00 | 110.00 | 9240.00 | 280.00 | 23520.00 | 250.00 | 21000.00 | 9240.00 | Sri Krishna Agencies
31.00 | S & F of Aluminium Aldrop bolt 300mm long with hasp, staple (Bolt type) and fixing clips. | 6.00 | Each | 492.43 | 400.00 | 2400.00 | 450.00 | 2700.00 | 680.00 | 4080.00 | 350.00 | 2100.00 | 390.00 | 2340.00 | 2100.00 | S VINAYAGAMURTHY
32.00 | Material and labour for providing a cement concrete (1:2:4) layer average thickness 40mm using B-0 type concrete with 12.5mm graded aggregate and finishing the surface even and smooth without using extra cement. | 50.00 | SQM | 378.47 | 350.00 | 17500.00 | 300.00 | 15000.00 | 350.00 | 17500.00 | 365.00 | 18250.00 | 308.00 | 15400.00 | 15000.00 | SRI LAKSHMI INDUSTRIES
33.00 | Material and labour for precast cement concrete (1:2:4) jallies 35 mm thick using B-0 type concrete with 12.5mm graded aggregate and set in cement mortar 1:6. | 5.00 | SQM | 821.22 | 700.00 | 3500.00 | 600.00 | 3000.00 | 270.00 | 1350.00 | 760.00 | 3800.00 | 699.00 | 3495.00 | 1350.00 | Sri Krishna Agencies
34.00 | Material and labour for cement concrete 1:2:4 Type B1 20mm graded aggregate in foundation filling and mass concrete. | 5.00 | CUM | 7513.33 | 6000.00 | 30000.00 | 6500.00 | 32500.00 | 7800.00 | 39000.00 | 6800.00 | 34000.00 | 6350.00 | 31750.00 | 30000.00 | B.V.Enterprises
35.00 | S & F of PVC 110mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 12.00 | RM | 464.19 | 400.00 | 4800.00 | 350.00 | 4200.00 | 320.00 | 3840.00 | 380.00 | 4560.00 | 370.00 | 4440.00 | 3840.00 | Sri Krishna Agencies
36.00 | S & F of PVC 110mm dia Pipes single socketed, in any length with rubber ring joints fixed to walls. | 48.00 | RM | 545.97 | 400.00 | 19200.00 | 400.00 | 19200.00 | 320.00 | 15360.00 | 450.00 | 21600.00 | 410.00 | 19680.00 | 15360.00 | Sri Krishna Agencies
37.00 | S & F of PVC Bend 110mm dia any radius. | 6.00 | Each | 143.75 | 100.00 | 600.00 | 130.00 | 780.00 | 190.00 | 1140.00 | 140.00 | 840.00 | 125.00 | 750.00 | 600.00 | B.V.Enterprises
38.00 | PVC (SWR) reducers 110mm dia any radius. | 6.00 | Each | 155.25 | 100.00 | 600.00 | 120.00 | 720.00 | 190.00 | 1140.00 | 140.00 | 840.00 | 120.00 | 720.00 | 600.00 | B.V.Enterprises
39.00 | Supply and fixing of holdfast made out of 25 X 6 mm flat fixed to window frame. Fe-290 Gde-E-165 | 36.00 | KG | 208.24 | 160.00 | 5760.00 | 150.00 | 5400.00 | 165.00 | 5940.00 | 175.00 | 6300.00 | 175.00 | 6300.00 | 5400.00 | SRI LAKSHMI INDUSTRIES
40.00 | Supply and Fixing of door stopper 150mm of aluminium alloy body and tongue, anodised, with hard drawn steel spring | 6.00 | EACH | 116.84 | 100.00 | 600.00 | 100.00 | 600.00 | 120.00 | 720.00 | 95.00 | 570.00 | 98.00 | 588.00 | 570.00 | S VINAYAGAMURTHY
41.00 | Machine cut cudappah stone slab 20-25mm thick over cement screed base, laid and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete. | 15.00 | SQM | 976.47 | 900.00 | 13500.00 | 800.00 | 12000.00 | 1500.00 | 22500.00 | 950.00 | 14250.00 | 860.00 | 12900.00 | 12000.00 | SRI LAKSHMI INDUSTRIES
42.00 | Material and labour for Point wiring with 1.5sqmm PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 2mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 1.5/2.5 sq.mm multistrand copper earth continuity wire. (Make: Orbit/ Kundan/ Finolex/ Polycab or suitably equivalent make) a)one light point or one fan point controlled by one switch with cables1.5 sqmm size. | 48.00 | Point | 1141.66 | 900.00 | 43200.00 | 850.00 | 40800.00 | 1000.00 | 48000.00 | 975.00 | 46800.00 | 1002.00 | 48096.00 | 40800.00 | SRI LAKSHMI INDUSTRIES
43.00 | Material and labour for Point wiring with 1.5sqmm PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 2mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 1.5/2.5 sq.mm multistrand copper earth continuity wire. (Make: Orbit/ Kundan/ Finolex/ Polycab or suitably equivalent make) b)One 3 pin socket outlet 5 amps on the same board with other switches, with cables 1.5 sqmm size. | 6.00 | Point | 326.72 | 280.00 | 1680.00 | 280.00 | 1680.00 | 320.00 | 1920.00 | 290.00 | 1740.00 | 296.00 | 1776.00 | 1680.00 | SRI LAKSHMI INDUSTRIES, B.V.Enterprises
44.00 | Material and labour for Point wiring with 1.5sqmm PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 2mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 2.5 sq.mm multistrand copper earth continuity wire. (Make: Orbit/ Kundan/ Finolex/ Polycab or suitably equivalent make) c)One 3 pin socket outlet 5 amps independent, with cables 2.5 sqmm size. | 3.00 | Point | 1301.10 | 1100.00 | 3300.00 | 1100.00 | 3300.00 | 1650.00 | 4950.00 | 1250.00 | 3750.00 | 1200.00 | 3600.00 | 3300.00 | SRI LAKSHMI INDUSTRIES, B.V.Enterprises
45.00 | Supply and fixing and connecting to the system modular switch, 1 way, 10A, 1 Module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or suitably equivalent make) | 52.00 | Each | 299.58 | 210.00 | 10920.00 | 220.00 | 11440.00 | 120.00 | 6240.00 | 260.00 | 13520.00 | 215.00 | 11180.00 | 6240.00 | Sri Krishna Agencies
46.00 | Supply and fixing and connecting to the system of Modular socket, 6A-2/3 pin combined, 2 module (Make: LEGRAND MYRIUS/ Litaski/ Crabtree or suitably equivalent make) | 7.00 | Each | 391.62 | 350.00 | 2450.00 | 300.00 | 2100.00 | 270.00 | 1890.00 | 245.00 | 1715.00 | 313.00 | 2191.00 | 1715.00 | S VINAYAGAMURTHY
47.00 | Supply and fixing and connecting to the system modular switch one way 16A, 1 module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or suitably equivalent make) | 2.00 | Each | 395.26 | 300.00 | 600.00 | 300.00 | 600.00 | 190.00 | 380.00 | 365.00 | 730.00 | 370.00 | 740.00 | 380.00 | Sri Krishna Agencies
48.00 | Supply and fixing and connecting to the system of Modular socket, 6/16A-2/3 pin combined modular, 2 module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or suitably equivalent make) | 9.00 | Each | 607.66 | 500.00 | 4500.00 | 500.00 | 4500.00 | 290.00 | 2610.00 | 550.00 | 4950.00 | 518.00 | 4662.00 | 2610.00 | Sri Krishna Agencies
49.00 | Material & Labour for ceiling rose, 3 Phase/PVC/polycorbonate, isolated body (ANCHOR / LEGRAND/ HAVELLS or suitably equivalent make) | 38.00 | Each | 75.56 | 65.00 | 2470.00 | 50.00 | 1900.00 | 45.00 | 1710.00 | 65.00 | 2470.00 | 55.00 | 2090.00 | 1710.00 | Sri Krishna Agencies
50.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in PVC conduit and accessories in surface/recessed as required. (Make: Orbit/ Kundan/ Finolex/ Polycab or suitably equivalent make) a) 2x2.5 sqmm + 1x2.5 sqmm earth wire | 69.00 | RM | 212.99 | 180.00 | 12420.00 | 150.00 | 10350.00 | 185.00 | 12765.00 | 195.00 | 13455.00 | 196.00 | 13524.00 | 10350.00 | SRI LAKSHMI INDUSTRIES
51.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in PVC conduit and accessories in surface/recessed as required. (Make: Orbit/ Kundan/ Finolex/ Polycab or suitably equivalent make) b)2x4.0 sq. mm + 1x4.0 sq. mm earth wire | 138.00 | RM | 451.56 | 400.00 | 55200.00 | 350.00 | 48300.00 | 230.00 | 31740.00 | 435.00 | 60030.00 | 402.00 | 55476.00 | 31740.00 | Sri Krishna Agencies
52.00 | Material and labour for Brick walls cutting chases,pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good,cutting exc. 10 cm but not exc. 20 cm grith. | 52.00 | RM | 59.92 | 50.00 | 2600.00 | 60.00 | 3120.00 | 120.00 | 6240.00 | 65.00 | 3380.00 | 48.00 | 2496.00 | 2496.00 | DEEPAM ENTERPRISES
53.00 | Supply & fixing of modular white cover plate with frame 2 module | 4.00 | Each | 225.17 | 190.00 | 760.00 | 180.00 | 720.00 | 130.00 | 520.00 | 180.00 | 720.00 | 195.00 | 780.00 | 520.00 | Sri Krishna Agencies
54.00 | Supply & fixing of modular metal flush box for 2 module plate | 4.00 | Each | 205.97 | 180.00 | 720.00 | 160.00 | 640.00 | 90.00 | 360.00 | 140.00 | 560.00 | 165.00 | 660.00 | 360.00 | Sri Krishna Agencies
55.00 | Supply & fixing of 4 module modular white cover plate with frame | 2.00 | Each | 284.17 | 250.00 | 500.00 | 220.00 | 440.00 | 180.00 | 360.00 | 190.00 | 380.00 | 227.00 | 454.00 | 360.00 | Sri Krishna Agencies
56.00 | Supply & fixing of modular metal flush box for 4 module plate | 2.00 | Each | 245.41 | 220.00 | 440.00 | 180.00 | 360.00 | 170.00 | 340.00 | 150.00 | 300.00 | 203.00 | 406.00 | 300.00 | S VINAYAGAMURTHY
57.00 | Supply & fixing of 6 module modular white cover plate with frame | 3.00 | Each | 356.04 | 300.00 | 900.00 | 280.00 | 840.00 | 280.00 | 840.00 | 250.00 | 750.00 | 310.00 | 930.00 | 750.00 | S VINAYAGAMURTHY
58.00 | Supply & fixing of modular metal flush box for 6 module plate | 3.00 | Each | 326.72 | 280.00 | 840.00 | 250.00 | 750.00 | 190.00 | 570.00 | 230.00 | 690.00 | 299.00 | 897.00 | 570.00 | Sri Krishna Agencies
59.00 | Supply and fixing ceiling fans complete with blades, down rods, electronic regulator and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC) Make:Usha/ crompton/ atomberg/ havells/ orient or suitably equivalent make) | 15.00 | Each | 3046.89 | 2800.00 | 42000.00 | 2500.00 | 37500.00 | 3900.00 | 58500.00 | 3300.00 | 49500.00 | 3000.00 | 45000.00 | 37500.00 | SRI LAKSHMI INDUSTRIES
60.00 | Excavating in trenches hard dense soil not exceeding 1.5 m wide and not exceeding 1.5 m in depth for laying cable. | 24.00 | cu .m | 776.25 | 680.00 | 16320.00 | 450.00 | 10800.00 | 650.00 | 15600.00 | 640.00 | 15360.00 | 600.00 | 14400.00 | 10800.00 | SRI LAKSHMI INDUSTRIES
61.00 | Material & labour for sand filling for cushioning on U.G cable | 4.80 | cu.m | 2270.45 | 1200.00 | 5760.00 | 1600.00 | 7680.00 | 2000.00 | 9600.00 | 2100.00 | 10080.00 | 1700.00 | 8160.00 | 5760.00 | B.V.Enterprises
62.00 | Material &labour for Bricks; common burnt clay building bricks sub class B designation 75 for protection to U.G cable | 1.00 | nos in 1000 | 6384.66 | 6000.00 | 6000.00 | 7000.00 | 7000.00 | 9000.00 | 9000.00 | 6800.00 | 6800.00 | 5500.00 | 5500.00 | 5500.00 | DEEPAM ENTERPRISES
63.00 | Returning, refilling of hard dense soil in the excavated trench after laying of power cable including spreading levelling, watering and well ramming in layers not exc 25 cm. | 24.00 | cu.m | 159.97 | 100.00 | 2400.00 | 120.00 | 2880.00 | 140.00 | 3360.00 | 130.00 | 3120.00 | 75.00 | 1800.00 | 1800.00 | DEEPAM ENTERPRISES
64.00 | Supply, laying or fixing with suitable clamps or passing through pipe, PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 1100 volts grade, cross sectional area 25 sqmm, 4 core.(Make: ORBIT/Polycab/ Finolex/ Havells/ NICCO or suitably equivalent make) | 150.00 | R.M | 238.04 | 200.00 | 30000.00 | 180.00 | 27000.00 | 270.00 | 40500.00 | 230.00 | 34500.00 | 219.00 | 32850.00 | 27000.00 | SRI LAKSHMI INDUSTRIES
65.00 | Demolition of cement concrete / Bitumen road of any description and in any position not otherwise specifically provided for | 1.00 | Cum | 1876.00 | 1650.00 | 1650.00 | 900.00 | 900.00 | 1300.00 | 1300.00 | 1800.00 | 1800.00 | 1500.00 | 1500.00 | 900.00 | SRI LAKSHMI INDUSTRIES
66.00 | Material & labour for cement concrete 1:2:4 Type B1 using 20mm graded aggregate in foundations, filling and mass concrete | 1.00 | Cum | 7513.33 | 6800.00 | 6800.00 | 6500.00 | 6500.00 | 6500.00 | 6500.00 | 7200.00 | 7200.00 | 6100.00 | 6100.00 | 6100.00 | DEEPAM ENTERPRISES
67.00 | Supply, fixing & connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used Triple pole & neutral 4 way with 200 Amps rated busbar,415V. (Make: Legrand/Havells or suitably equivalent make) | 1.00 | Each | 3039.11 | 2600.00 | 2600.00 | 2500.00 | 2500.00 | 5200.00 | 5200.00 | 3000.00 | 3000.00 | 2700.00 | 2700.00 | 2500.00 | SRI LAKSHMI INDUSTRIES
68.00 | Supply and fixing 415V 10KA 'B' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the DB complete with connection testing and commissioning. TP (Triple pole) 25 To 63 AMP (Make: legrand/ havells/ ABB or suitably equivalent make) | 5.00 | Each | 1952.24 | 1600.00 | 8000.00 | 1500.00 | 7500.00 | 2700.00 | 13500.00 | 1900.00 | 9500.00 | 1600.00 | 8000.00 | 7500.00 | SRI LAKSHMI INDUSTRIES
69.00 | Supply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 5 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. (Make: LEGRAND / HAVELLS/ABB or suitably equivalent make) | 12.00 | Each | 326.83 | 280.00 | 3360.00 | 350.00 | 4200.00 | 320.00 | 3840.00 | 320.00 | 3840.00 | 290.00 | 3480.00 | 3360.00 | B.V.Enterprises
70.00 | Supply and fixing LED lights fitting 1x 20W, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete. (Make: PHILIPS / CG /Havells / Wipro or suitably equivalent make) | 29.00 | Each | 1501.21 | 1300.00 | 37700.00 | 1200.00 | 34800.00 | 650.00 | 18850.00 | 1458.00 | 42282.00 | 1400.00 | 40600.00 | 18850.00 | Sri Krishna Agencies
71.00 | Supply and fixing LED street light fitting 70 Watt 230 V AC outdoor type with high pressure die cast aluminum hosing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete.(maximum). (Make: PHILIPS /GE/ WIPRO /CG/OSRAM /BAJAJ/ HAVELLS/ SYSKA or suitably equivalent make) | 3.00 | Each | 6833.42 | 6000.00 | 18000.00 | 5500.00 | 16500.00 | 5500.00 | 16500.00 | 6500.00 | 19500.00 | 5900.00 | 17700.00 | 16500.00 | SRI LAKSHMI INDUSTRIES, Sri Krishna Agencies
72.00 | Supply & fixing of galvanised steel tubes, medium grade 80mm dia | 6.00 | RM | 633.88 | 550.00 | 3300.00 | 600.00 | 3600.00 | 1100.00 | 6600.00 | 620.00 | 3720.00 | 525.00 | 3150.00 | 3150.00 | DEEPAM ENTERPRISES
73.00 | Supply and fixing of Galvanised steel tube Medium Grade 32 MM | 5.00 | RM | 287.50 | 250.00 | 1250.00 | 300.00 | 1500.00 | 320.00 | 1600.00 | 270.00 | 1350.00 | 225.00 | 1125.00 | 1125.00 | DEEPAM ENTERPRISES
74.00 | Supply & fixing of 12 module plate with frame and metal flush box | 3.00 | Each | 455.00 | 450.00 | 1350.00 | 480.00 | 1440.00 | 390.00 | 1170.00 | 430.00 | 1290.00 | 498.00 | 1494.00 | 1170.00 | Sri Krishna Agencies
75.00 | Supply & fixing of 16 module plate with frame and metal flush box | 4.00 | Each | 500.00 | 500.00 | 2000.00 | 480.00 | 1920.00 | 460.00 | 1840.00 | 380.00 | 1520.00 | 545.00 | 2180.00 | 1520.00 | S VINAYAGAMURTHY
76.00 | Supply & fixing of modular type Dummy plate | 20.00 | Nos | 25.00 | 25.00 | 500.00 | 20.00 | 400.00 | 12.00 | 240.00 | 23.00 | 460.00 | 18.50 | 370.00 | 240.00 | Sri Krishna Agencies
77.00 | Supply, fixing and connecting to the system modular type switch one way 20A, Single pole 2 module. (Make:LEGRAND MYRIUS/ Litaski/ Crabtree or suitably equivalent make) | 8.00 | Each | 335.00 | 350.00 | 2800.00 | 280.00 | 2240.00 | 390.00 | 3120.00 | 320.00 | 2560.00 | 380.00 | 3040.00 | 2240.00 | SRI LAKSHMI INDUSTRIES
78.00 | Supply & fixing of MCBDB 4 way(DPX160+12) legrand make asper legrand 2010 catlogue No.607790. or ABB / Havels or suitably equivalent make) | 1.00 | Each | 9525.00 | 10000.00 | 10000.00 | 9500.00 | 9500.00 | 6500.00 | 6500.00 | 10300.00 | 10300.00 | 9600.00 | 9600.00 | 6500.00 | Sri Krishna Agencies
79.00 | Supply, fixing & connecting of the system cable end termination of size 25 sqmm 4 core including with suitable cable gland & lugs. | 3.00 | Each | 334.00 | 340.00 | 1020.00 | 300.00 | 900.00 | 650.00 | 1950.00 | 290.00 | 870.00 | 350.00 | 1050.00 | 870.00 | S VINAYAGAMURTHY
| Total in Figures |  |  |  |  | 3783900.00 |  | 4406650.00 |  | 4406800.00 |  | 4457980.50 |  | 4214678.50
Lowest Amount Quoted BY: B.V.Enterprises(3783900.00)

## BOQ Summary
BOQ Summary Details Tender Title: CONSTRUCTION OF ADDITIONAL THREE CLASS ROOMS / LABS IN VIJAYANTHA MODEL HIGHER SECONDARY SCHOOL, HVF ESTATE Tender ID: 2025_AVNL_232663_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | B.V.Enterprises (BID ID -845568) | 3783900.00 | L1
| 2 | DEEPAM ENTERPRISES (BID ID -845590) | 4214678.50 | L2
| 3 | SRI LAKSHMI INDUSTRIES (BID ID -843413) | 4406650.00 | L3
| 4 | Sri Krishna Agencies (BID ID -845481) | 4406800.00 | L4
| 5 | S VINAYAGAMURTHY (BID ID -845714) | 4457980.50 | L5