## BoQ1
Government eProcurement System Created By: RAJESH R Created Date/Time: 03-Jul-2025 04:09 PM Tender Title: REPAIRS TO THE ROOM No. 1 AND 2, WM OFFICE, HOS ROOM AND QA(NF) OF HULL SHOP-I AT HVF, AVADI. Tender ID: 2025_AVNL_235279_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: REPAIRS TO THE ROOM No. 1 AND 2, WM OFFICE, HOS ROOM AND QA(NF) OF HULL SHOP-I AT HVF, AVADI.
Tender No: HVF/TE/13025/CEO/2025-26/10
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Siva Enterprises (GSTN-NA) BID ID -866417 |  | Sri Krishna Agencies (GSTN-NA) BID ID -861325
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taken down door frame with shutter with out taking off shutters from the frame not exceeding 1.5 sq.m and handing over the same to CE-FY (stores) | 4.00 | EACH | 415.84 | 455.00 | 1820.00 | 430.00 | 1720.00 | 1720.00 | Sri Krishna Agencies
2.00 | Taken down window frame exc 1.5sq.m but not exceeding 4 sq.m and handing over the same to CE -FY (STORES) | 4.00 | EACH | 347.42 | 255.00 | 1020.00 | 360.00 | 1440.00 | 1020.00 | Siva Enterprises
3.00 | Dismantling of false ceiling boards(fibre, pulp, insulation etc.,) or insulation boards/slabs. blankets of any thickness and removing to CE - FY Stores as directed. | 55.00 | SQM | 47.84 | 55.00 | 3025.00 | 50.00 | 2750.00 | 2750.00 | Sri Krishna Agencies
4.00 | Dismantling of floor,hearth or wall tiling including cement mortar bedding (but not backing),removing serviceable tiles to store and rubbish off the premises. | 100.00 | SQM | 102.93 | 125.00 | 12500.00 | 100.00 | 10000.00 | 10000.00 | Sri Krishna Agencies
5.00 | Material and labour for brick work built in CM 1:6 using sub-class ''B'' bricks ,straight or curved on plain exc 6m mean radius. | 6.00 | CUM | 5606.25 | 7455.00 | 44730.00 | 7300.00 | 43800.00 | 43800.00 | Sri Krishna Agencies
6.00 | Cutting out bricks,forming toothing for,and bonding new into old work including cement mortar 1:4 value of new mat-erials entering old walls and jointing and pointing (measured on vertical face in contact with old wall only) | 2.00 | SQM | 736.46 | 855.00 | 1710.00 | 760.00 | 1520.00 | 1520.00 | Sri Krishna Agencies
7.00 | M&L for Plastering with 1:4,15mm thick on faces of old brick work and concrete surfaces. | 51.00 | SQM | 302.59 | 355.00 | 18105.00 | 310.00 | 15810.00 | 15810.00 | Sri Krishna Agencies
8.00 | M &L for virified Ceramic tiles light shade 10 mm thick (square/ rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including screed bed or bedding layer in CM1:3, 20mm thick for laying floor finishes. | 100.00 | SQM | 2035.14 | 1655.00 | 165500.00 | 2100.00 | 210000.00 | 165500.00 | Siva Enterprises
9.00 | M & L for Non - skid Ceramic coloured tiles 7 to 8 mm thick (square/ rectangular) area of each tile exceeding 0.18 sqm but not exceeding 0.38 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including screed bed or bedding layer in CM1:3, 20mm thick for laying floor finishes. | 5.00 | SQM | 1987.88 | 1955.00 | 9775.00 | 2060.00 | 10300.00 | 9775.00 | Siva Enterprises
10.00 | Material and Labour for Glazed ceramic Coloured tiles in vertical surface 350x 250x 7 mm/ 450X 350X 7mm thick set and jointed in neat cement slurry and pointed in white or colour cement to match including screed bed in CM 1:4 15mm thick complete. | 20.00 | SQM | 1796.04 | 1855.00 | 37100.00 | 1860.00 | 37200.00 | 37100.00 | Siva Enterprises
11.00 | S&F of Anodised aluminium snap grid 605 x 605 mm frame work for false ceiling all as specified. | 140.00 | SQM | 562.68 | 645.00 | 90300.00 | 590.00 | 82600.00 | 82600.00 | Sri Krishna Agencies
12.00 | M&L for Exposed metal frame ceiling with 8 mm thick calcium silicate board of siliceous and calcareous material reinforcedwith cellulose fibre for fixing in 600 mm x 600mm grid (Frame work for ceiling shall be measured and paid separately) | 140.00 | SQM | 518.88 | 645.00 | 90300.00 | 610.00 | 85400.00 | 85400.00 | Sri Krishna Agencies
13.00 | Supply & fixing of anodised aluminium frame for partition,doors, windows, ventilators with one or more rebates including joining cleat for fixing and power coating etc. complete all as specified (minimum thickness of powder coating 50 micron). | 87.00 | KG | 628.95 | 675.00 | 58725.00 | 800.00 | 69600.00 | 58725.00 | Siva Enterprises
14.00 | Supply and Fixing of structural steel framed work using Fe 410 -W Grade E -250 A quality mild rolled steel section Roof trusses (framed), trussed,purlins, crane gantries, rails and fastenings and heavy bracket framing (Beam, tee, angle, channel or flat sections) including distance pieces, cleats etc. | 170.00 | KG | 144.97 | 175.00 | 29750.00 | 135.00 | 22950.00 | 22950.00 | Sri Krishna Agencies
15.00 | S & F of 5.5 mm thick Sheet glass, ordinary quality and glazing with oil putty in square exc 0.5 sq. m in each pane. | 12.00 | SQM | 1385.72 | 1455.00 | 17460.00 | 1300.00 | 15600.00 | 15600.00 | Sri Krishna Agencies
16.00 | S&F of Anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainlesssteel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening,fixing and powder coating etc. complete all as specified. (minimum thickness of powder coating 50 micron) | 12.00 | SQM | 691.32 | 2955.00 | 35460.00 | 900.00 | 10800.00 | 10800.00 | Sri Krishna Agencies
17.00 | M&L for pre-laminated particle board of 12 mm thick with pre lamineted both sides with decorative choice lamination. | 1.00 | SQM | 979.80 | 1455.00 | 1455.00 | 900.00 | 900.00 | 900.00 | Sri Krishna Agencies
18.00 | S&F of frame size 65X100mm factory made single extruded WPC(wood polymer composite) solid door/ window/ clerestory window& desertory other frames/chowkat comprising of virgin PVC polymer of k value 58-60(suspension grade), calcium carbonate and natural fiber(wood power)/rice husk/wheat husk and non toxic additives(maximum toxicity index of 12 for 100mgs) fabricated with miter joints after applying PVS solvent cement screwed with full body threaded star headed SS screws having minimum frame density of 750kg/cum, screw withdrawl strength of 2200N (face)&1100N (edge) minimum compressive strength of 58N/mm2, modulus of elasticity 900N/mm2 and resistence to spread of flame of class A category with property of being termite/borer proof,water/moisture proof and fire retardant and fixed in position with MS hold fast/lugs/SS dash fasteeners of required dia and length complete as per direction of engineer-in-charge.(MS hold fast/lugs or SS fasteners shall be paid for separately. | 4.70 | RM | 1200.00 | 1255.00 | 5898.50 | 1250.00 | 5875.00 | 5875.00 | Sri Krishna Agencies
19.00 | S&F of 30mm thick factory made single extruded WPC(wood polymer composite) solid plain flush door shutter or required size comprising of virgin polymer of k value 58-60(suspension grade), calcium carbonate and natural fiber(wood power)/rice husk/wheat husk and non toxic additives(maximum toxicity index of 12 for 100mgs) having minimum density of 650kg/cum, screw withdrawl strength of 1800N (face)& 900N (edge) minimum compressive strength of 50N/mm2, modulus of elasticity 850N/mm2 and resistence to spread of flame of class A category with property of being termite/borer proof,water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star head counter sunk SS screws, all as per direction of engineer-in-charge. | 2.00 | SQM | 3610.00 | 7855.00 | 15710.00 | 3900.00 | 7800.00 | 7800.00 | Sri Krishna Agencies
20.00 | S & F of 2nd class hardwood plain,solid ,straight ,chowkats, and frames ,wrought,framed rebated on the solid ,rounded or chamfered,put together with glue pinned at joints, supplied and fixed. | 1.00 | CUM | 99345.22 | 125000.00 | 125000.00 | 125000.00 | 125000.00 | 125000.00 | Sri Krishna Agencies, Siva Enterprises
21.00 | S/F of 1st class hardwood Flush, door shutters 30mm thickness, solid core construction with block,board core and plywood face panels, commercial type on both sides. | 10.00 | SQM | 1863.00 | 4255.00 | 42550.00 | 2500.00 | 25000.00 | 25000.00 | Sri Krishna Agencies
22.00 | S/F of Aluminium anodised,Barrel tower bolts (150mm) of extruded section and fixed. | 12.00 | EACH | 88.32 | 255.00 | 3060.00 | 92.00 | 1104.00 | 1104.00 | Sri Krishna Agencies
23.00 | S/F of butt hinges (125mm) cast, brass with mild steel hinge pin,bright polished and fixed but type B-12. | 18.00 | EACH | 311.77 | 455.00 | 8190.00 | 350.00 | 6300.00 | 6300.00 | Sri Krishna Agencies
24.00 | S/F of Aluminium handles (150 mm), cast type,anodised | 12.00 | EACH | 87.29 | 155.00 | 1860.00 | 90.00 | 1080.00 | 1080.00 | Sri Krishna Agencies
25.00 | Supply and Fixing of Swivel looking mirror. | 1.00 | EACH | 4550.00 | 2455.00 | 2455.00 | 4700.00 | 4700.00 | 2455.00 | Siva Enterprises
26.00 | S & F of Aluminium Door closer hydraulically regulated, designation No. 3, universal type, suitable for door shutters of 851 to 1000 mm in width and of weight between 61 to 80 kg and fixed | 6.00 | EACH | 1497.30 | 1955.00 | 11730.00 | 1500.00 | 9000.00 | 9000.00 | Sri Krishna Agencies
27.00 | Supply and Fixing of touch less vitreous china urinals of size 620x320x290mm white including in built automatic flusher with sensor & all oher accessories as directed. (Make: ROCA,Belmonte,Kohler,SOCA, DURAVIT) or Suitably Equivalent Make. | 1.00 | EACH | 22400.00 | 59500.00 | 59500.00 | 33500.00 | 33500.00 | 33500.00 | Sri Krishna Agencies
28.00 | Supply & fixing of counter top WHB Make: (ROCA,Belmonte,Kohler,SOCA,DURAVIT) or Suitably Equivalent Make. | 1.00 | EACH | 12100.00 | 29500.00 | 29500.00 | 14500.00 | 14500.00 | 14500.00 | Sri Krishna Agencies
29.00 | Supply and fixing of pedestal square or rectangular type EWC wall or floor mounted. (Make Jaquar, ROCA,Belmonte & SOCA.) or Suitably Equivalent Make. | 1.00 | EACH | 17900.00 | 42500.00 | 42500.00 | 26700.00 | 26700.00 | 26700.00 | Sri Krishna Agencies
30.00 | Supply & Fixing of Health faucet (Make: Jaquar,ROCA, Kohler,SOCA) or Suitably Equivalent Make. | 1.00 | EACH | 2800.00 | 1955.00 | 1955.00 | 3200.00 | 3200.00 | 1955.00 | Siva Enterprises
31.00 | Supply & Fixing of bib tap chromiuam plated. | 1.00 | EACH | 1491.00 | 1455.00 | 1455.00 | 1600.00 | 1600.00 | 1455.00 | Siva Enterprises
32.00 | Supply & Fixing of toilet paper holder of recessed type | 1.00 | EACH | 2400.00 | 1655.00 | 1655.00 | 2600.00 | 2600.00 | 1655.00 | Siva Enterprises
33.00 | Supply & Fixing of Towel rail SS. | 1.00 | EACH | 2500.00 | 2155.00 | 2155.00 | 2600.00 | 2600.00 | 2155.00 | Siva Enterprises
34.00 | Supply & Fixing of venetian blinder. | 15.00 | SQM | 2800.00 | 4255.00 | 63825.00 | 3200.00 | 48000.00 | 48000.00 | Sri Krishna Agencies
35.00 | Supply & Fixing of coat hook.(Make: Jaquar,ROCA, Kohler,SOCA) or Suitably Equivalent Make. | 1.00 | EACH | 798.00 | 655.00 | 655.00 | 1400.00 | 1400.00 | 655.00 | Siva Enterprises
36.00 | Supply & Fixing of Chromiuam soop dish holder | 1.00 | EACH | 1370.00 | 855.00 | 855.00 | 1500.00 | 1500.00 | 855.00 | Siva Enterprises
37.00 | Supplying and laying of CPVC pipes 32 mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors, trenches complete all as specified. | 10.00 | RM | 534.29 | 495.00 | 4950.00 | 550.00 | 5500.00 | 4950.00 | Siva Enterprises
38.00 | Supplying and laying of CPVC pipes 20 mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors, trenches complete all as specified. | 6.00 | RM | 253.81 | 295.00 | 1770.00 | 265.00 | 1590.00 | 1590.00 | Sri Krishna Agencies
39.00 | S & F of PVC 75mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 6.00 | RM | 269.15 | 390.00 | 2340.00 | 280.00 | 1680.00 | 1680.00 | Sri Krishna Agencies
40.00 | S & F of PVC (SWR) 110mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in wall. | 6.00 | RM | 545.97 | 495.00 | 2970.00 | 480.00 | 2880.00 | 2880.00 | Sri Krishna Agencies
41.00 | M&L for PVC floor trap 75mm dia outlet of with grating and connecting PVC extension pipe including jointing with solvent cement etc., complete | 1.00 | EACH | 258.75 | 250.00 | 250.00 | 270.00 | 270.00 | 250.00 | Siva Enterprises
42.00 | S & F of PVC Bend with door 75 mm dia any radius, | 2.00 | EACH | 166.75 | 275.00 | 550.00 | 170.00 | 340.00 | 340.00 | Sri Krishna Agencies
43.00 | S & F of PVC Bend with door 110mm dia any radius, | 2.00 | EACH | 195.50 | 355.00 | 710.00 | 200.00 | 400.00 | 400.00 | Sri Krishna Agencies
44.00 | S & F of Gun-metal (32mm) , globe or gate valves,with iron wheel head, screwed both ends for iron pipe and fixed. | 1.00 | EACH | 770.80 | 2155.00 | 2155.00 | 750.00 | 750.00 | 750.00 | Sri Krishna Agencies
45.00 | S & F of 20 mm Ball valves set Ball valves high pressure of PTMT with epoxy coated Aluminium rod & highdensity plastic ball screwed for iron pipe and fixed. (Minimum weight 2 0 m m - 2 1 0 g m s. | 1.00 | EACH | 491.12 | 855.00 | 855.00 | 500.00 | 500.00 | 500.00 | Sri Krishna Agencies
46.00 | S&F of Rotational moulded polye-thylene water storage tanks (cylindrical verticalwith closed top) hoistedand fixed in position all asspecified(1000 litres) | 2.00 | EACH | 9425.93 | 15000.00 | 30000.00 | 9600.00 | 19200.00 | 19200.00 | Sri Krishna Agencies
47.00 | Material and labour for applying two coats of plastic emulsion on calcium silicate board / ceiling paint with one coat primer and prepration new ceiling surfaces of any description over 10 cm girth or width, not other wise described. | 130.00 | SQM | 164.68 | 175.00 | 22750.00 | 160.00 | 20800.00 | 20800.00 | Sri Krishna Agencies
48.00 | Complete removal of existing treatment on internal wall surfaces | 290.00 | SQM | 10.81 | 55.00 | 15950.00 | 10.00 | 2900.00 | 2900.00 | Sri Krishna Agencies
49.00 | Material and labour for 3mm thick wall care putty on wall | 80.00 | SQM | 95.96 | 175.00 | 14000.00 | 90.00 | 7200.00 | 7200.00 | Sri Krishna Agencies
50.00 | Material and labour for 3mm thick wall care putty on ceiling | 45.00 | SQM | 104.39 | 185.00 | 8325.00 | 105.00 | 4725.00 | 4725.00 | Sri Krishna Agencies
51.00 | Material and labour for applying two coats of plastic emulsion paint with one coat of primer on internal & exterior wall 10 cm grith including preparation of old painted wall surfacess all complete. | 1300.00 | SQM | 173.54 | 175.00 | 227500.00 | 165.00 | 214500.00 | 214500.00 | Sri Krishna Agencies
52.00 | Material and labour for painting two coats of synthetic enamel paint with one coat pink primer on new wood surfaces of any description, not other wise descri-bed,over 10 cm width or girth including prepration of new surfeces . | 30.00 | SQM | 161.23 | 170.00 | 5100.00 | 155.00 | 4650.00 | 4650.00 | Sri Krishna Agencies
53.00 | Material and labour for white washing on ceiling with two coats including preparation of old ceiling surfaces. | 160.00 | SQM | 27.26 | 35.00 | 5600.00 | 28.00 | 4480.00 | 4480.00 | Sri Krishna Agencies
54.00 | Material and labour for painting steel surfaces of any description over 10cm width or grith with two coats of synthetic enamel paint over a coat of red oxide primer including preparing new surfaces . | 7.00 | SQM | 162.50 | 165.00 | 1155.00 | 165.00 | 1155.00 | 1155.00 | Sri Krishna Agencies, Siva Enterprises
55.00 | Removal of debris (rocks) exceeding 1.5Km but not exceeding 5 km and depositing where directed. | 1.00 | CUM | 990.73 | 650.00 | 650.00 | 750.00 | 750.00 | 650.00 | Siva Enterprises
56.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. a)one light point or one fan point controlled by one switch with cables1.5 sqmm size. | 36.00 | Point | 1191.30 | 1255.00 | 45180.00 | 1100.00 | 39600.00 | 39600.00 | Sri Krishna Agencies
57.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. b)One 3 pin socket outlet 5 amps on the same board with other switches, with cables 1.5 sqmm size. | 18.00 | Point | 340.92 | 355.00 | 6390.00 | 310.00 | 5580.00 | 5580.00 | Sri Krishna Agencies
58.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. b)One 3 pin socket outlet 5 amps on indepedent with cables 2.5 sqmm size. | 9.00 | Point | 1357.67 | 1655.00 | 14895.00 | 1240.00 | 11160.00 | 11160.00 | Sri Krishna Agencies
59.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit a) 2x2.5 sqmm + 1x2.5 sqmm earth wire | 150.00 | RM | 222.25 | 225.00 | 33750.00 | 205.00 | 30750.00 | 30750.00 | Sri Krishna Agencies
60.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit b) 2x4.0 sqmm + 1x4.0 sqmm earth wire | 125.00 | RM | 258.00 | 325.00 | 40625.00 | 235.00 | 29375.00 | 29375.00 | Sri Krishna Agencies
61.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit c) 2x6.0 sqmm + 1x6.0 sqmm earth wire | 120.00 | RM | 311.04 | 415.00 | 49800.00 | 280.00 | 33600.00 | 33600.00 | Sri Krishna Agencies
62.00 | Material & Labour for connecting to the system modular type switches 6A single pole one way (Make:,LEGRAND MYRIUS/ Anchor/ Crabtree) or Suitably equivalent make | 63.00 | EACH | 312.60 | 155.00 | 9765.00 | 285.00 | 17955.00 | 9765.00 | Siva Enterprises
63.00 | Supply, fixing and connecting to the system of socket, 6A-2/3 pin combined modular type 2 module (Make: LEGRAND MYRIUS/ Anchor/ Crabtree) or Suitably equivalent make | 27.00 | EACH | 408.65 | 355.00 | 9585.00 | 370.00 | 9990.00 | 9585.00 | Siva Enterprises
64.00 | Supply & fixing of 6 module modular white cover plate with frame | 6.00 | EACH | 371.52 | 425.00 | 2550.00 | 335.00 | 2010.00 | 2010.00 | Sri Krishna Agencies
65.00 | Supply & fixing of metal flush box for 6 module plate | 6.00 | EACH | 340.92 | 450.00 | 2700.00 | 300.00 | 1800.00 | 1800.00 | Sri Krishna Agencies
66.00 | Supply & fixing of 8 module plate(white cover) with frame | 9.00 | EACH | 457.68 | 545.00 | 4905.00 | 410.00 | 3690.00 | 3690.00 | Sri Krishna Agencies
67.00 | Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete (Make: Havells/ Philips/ Wipro/ Bajaj/ CG/ Luker) or Suitably equivalent make) | 18.00 | EACH | 5123.03 | 3455.00 | 62190.00 | 4650.00 | 83700.00 | 62190.00 | Siva Enterprises
68.00 | Supply fixing of sheet metel enclosre for DBs when MCB s to be used single pole & neutral ,4 way double door, 200 amps rated busbar,.(Make: Legrand/Anchor/ Havells) or suitable equivalent make. | 4.00 | EACH | 1853.28 | 4655.00 | 18620.00 | 1700.00 | 6800.00 | 6800.00 | Sri Krishna Agencies
69.00 | Taking down old point wiring(light, fan, socket or power) complete, including fixture and fittings such as switches, ceiling roses, pendants, regulators, sockets, light fitting etc. removing materials to store for keeping in safe custody for reuse at site and making good disturbed surfaces of wall, floors, etc. | 32.00 | Point | 282.72 | 125.00 | 4000.00 | 250.00 | 8000.00 | 4000.00 | Siva Enterprises
70.00 | Supply and fixing of single pole and neutral enclosure with a two pins and earth plug and socket complete with one single pole MCB 20 amps, 240V (Make : Standard/Havels/Siemens/ Legrend) or Suitably equivalent make | 7.00 | EACH | 2181.36 | 955.00 | 6685.00 | 1990.00 | 13930.00 | 6685.00 | Siva Enterprises
71.00 | Supply and fixing amp rating 240V 10KA 'C' curve miniature circuit breaker (MCB) of SPN 32 AMP current carrying capacity,in the MCB DB complete with connection testing and commissioning.(Make: Legrand/Anchor/Havells) or suitable equivalent make. | 5.00 | EACH | 1021.44 | 425.00 | 2125.00 | 935.00 | 4675.00 | 2125.00 | Siva Enterprises
72.00 | Supply & fixing of galvanised steel tubes, medium grade 20mm dia for ceiling fan down rod. | 12.00 | RM | 137.46 | 275.00 | 3300.00 | 120.00 | 1440.00 | 1440.00 | Sri Krishna Agencies
73.00 | Supply and fixing LED lights fitting 1x 20W, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete (Make: Havells/ Philips/ Wipro/ Bajaj/ CG/ Luker) or Suitably equivalent make) | 14.00 | EACH | 1566.48 | 1955.00 | 27370.00 | 1400.00 | 19600.00 | 19600.00 | Sri Krishna Agencies
74.00 | Supply & fixing 240 Volt,10KA 'C' curve MCB of single pole 6 to 32Amps in the MCB DB complete with connection testing and commissioning. (Make: Legrand/Anchor/ Havells) or suitable equivalent make. | 14.00 | EACH | 352.80 | 1255.00 | 17570.00 | 320.00 | 4480.00 | 4480.00 | Sri Krishna Agencies
75.00 | Material and labour for Brick walls cutting chases,pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good,cutting exc. 10 cm but not exc. 20 cm grith. | 280.00 | RM | 62.52 | 125.00 | 35000.00 | 60.00 | 16800.00 | 16800.00 | Sri Krishna Agencies
76.00 | Supply & fixing metal flush box for 8 module plate | 4.00 | EACH | 125.00 | 655.00 | 2620.00 | 130.00 | 520.00 | 520.00 | Sri Krishna Agencies
77.00 | Supply & fixing of modular type Dummy plate | 33.00 | EACH | 25.00 | 55.00 | 1815.00 | 23.00 | 759.00 | 759.00 | Sri Krishna Agencies
| Total in Figures |  |  |  |  | 1788263.50 |  | 1584333.00
Lowest Amount Quoted BY: Sri Krishna Agencies(1584333.00)

## BOQ Summary
BOQ Summary Details Tender Title: REPAIRS TO THE ROOM No. 1 AND 2, WM OFFICE, HOS ROOM AND QA(NF) OF HULL SHOP-I AT HVF, AVADI. Tender ID: 2025_AVNL_235279_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Sri Krishna Agencies (BID ID -861325) | 1584333.00 | L1
| 2 | Siva Enterprises (BID ID -866417) | 1788263.50 | L2