## BoQ1
Government eProcurement System Created By: JITENDRA SHIKERIA Created Date/Time: 27-Jun-2025 04:19 PM Tender Title: ELECTRICAL WIRING OF EXHAUST FAN IN MTA WORKSHOP AND MAIN WORKSHOP Tender ID: 2025_AVNL_235866_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGR MTPF (AVNL) AMBERNATH
Name of Work: Electrical wiring of Exhaust Fan in MTA Workshop and Main Workshop.
Contract No: 0503/02/2025-26/EO/MPF
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s R R ELECTRICALS (GSTN-27AGQPP4960N1ZG) BID ID -855967 |  | JUEL ELECTRICALS AND ELECTRONICS (GSTN-27AAPFZ7614A1ZA) BID ID -857388 |  | Ajay Enterprises (GSTN-NA) BID ID -857424
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Electrical wiring of Exhaust Fan in MTA Workshop and Main Workshop.
1.10 | Supply and fixing 415 V, 10 KA 'B' curve miniature circuit breaker (MCB) of Triple poles Neutral (TPN) and current carrying capacity 16- 32 AMP, in the MCB DB Complete with connection testing and commissioning. (Make: Siemens/ ABB/ Schneider / Legrand/ L&T/ Havells) etc all complete as directed by the Engg in Charge | 2.00 | EACH | 1912.70 | 1650.00 | 3300.00 | 1825.00 | 3650.00 | 1860.00 | 3720.00 | 3300.00 | M/s R R ELECTRICALS
2.10 | Fixing of 415 V, 10 KA 'B' curve miniature circuit breaker (MCB) of Triple poles and current carrying capacity 25-63 AMP, in the MCB DB Complete with connection testing and commissioning. (Make: Siemens/ ABB/ Schneider / Legrand/ L&T/ Havells) etc, all complete as directed by the Engg in Charge | 14.00 | EACH | 2236.96 | 52.00 | 728.00 | 58.00 | 812.00 | 65.00 | 910.00 | 728.00 | M/s R R ELECTRICALS
3.10 | Supply of PVC / XLPE insulated, armoured, heavy duty electric cable with multistrand Copper conductor, 4 Core, 1100 volts grade, FR, cross-sectional area 2.5 sq. mm, (Make: Polycab/ Finolex/ KEI/ RR / Havells) etc, all complete as directed by the Engg in Charge | 343.00 | RM | 284.20 | 181.00 | 62083.00 | 191.00 | 65513.00 | 196.00 | 67228.00 | 62083.00 | M/s R R ELECTRICALS
4.10 | Supply of PVC / XLPE insulated, armoured, heavy duty electric cable with multistrand Copper conductor, 4 Core, 1100 volts grade, cross-sectional area 1.5 sq. mm, (Make: Polycab/ Finolex/ KEI/ RR / Havells) etc, all complete as directed by the Engg in Charge | 84.00 | RM | 260.50 | 121.00 | 10164.00 | 129.00 | 10836.00 | 132.00 | 11088.00 | 10164.00 | M/s R R ELECTRICALS
5.10 | Fixing of PVC insulated, armoured, heavy duty electric cable with multi strand Copper conductor, 4 Core/ 3Core, 1100 volts grade, cross-sectional area 2.5 sq.mm / 1.5 sq.mm on Wall saddle of heavy duty with rust resistance coating, saddle at a distance of each 01 feet end termination with suitable Gland and Lug at 14 Junction Point is need to be considered as per site requirement, All accessories like heavy duty clamp, Screw, nut bolts, PVC Gland, Lug etc. is in the scope of firm etc,all complete as directed by the Engg in Charge | 400.00 | RM | 275.20 | 61.00 | 24400.00 | 63.00 | 25200.00 | 70.00 | 28000.00 | 24400.00 | M/s R R ELECTRICALS
6.10 | Supply of 415 V, 10 KA 'B' curve miniature circuit breaker (MCB) of Triple poles (TP) and current carrying capacity 2 AMP, in the MCB DB Complete with connection testing and commissioning. (Make: Siemens/ ABB/ Schneider / Legrand/ L&T/ Havells) etc all complete as directed by the Engg in Charge | 14.00 | EACH | 255.78 | 915.00 | 12810.00 | 920.00 | 12880.00 | 905.00 | 12670.00 | 12670.00 | Ajay Enterprises
7.10 | Supply of Metal Mounting DB 4M for 10 KA 'B' curve miniature circuit breaker (MCB) of Triple poles Neutral (TPN) MCB (Make: Siemens/ ABB/ Schneider / Legrand/ L&T/ Havells),etc all complete as directed by the Engg in Charge | 16.00 | NOS | 181.78 | 815.00 | 13040.00 | 823.00 | 13168.00 | 850.00 | 13600.00 | 13040.00 | M/s R R ELECTRICALS
8.10 | Supply of exhaust fan, heavy duty steel body AC Three Phase. 415V of size 600 mm sweep with, blades, frame and louvers, (Make: Crompton / Havells / almonard / Orient / Usha) with warranty of 2 years Mounting is on customized MS Plate with removable rust resistance nut bolt in a Round hole of 22 Inch or more, It include all accessories for Proper Mounting of exhaust fan and removing of old exhaust fan etc, all complete as directed by the Engg in Charge | 14.00 | EACH | 721.31 | 11550.00 | 161700.00 | 11730.00 | 164220.00 | 11950.00 | 167300.00 | 161700.00 | M/s R R ELECTRICALS
9.10 | Fixing of exhaust fan, heavy duty steel body AC Three Phase. 415V of size 600 mm sweep with, blades, frame and louvers, (Make: Crompton / Havells / almonard) with warranty of 2 years Mounting is on customized MS Plate with removable rust resistance nut bolt in a Round hole of 23 Inch or more, It include all accessories for Proper Mounting of exhaust fan and removing of old exhaust fan all complete along with mounting plate and accessories etc, all as directed by the Engg in Charge | 14.00 | EACH | 179.10 | 3250.00 | 45500.00 | 3210.00 | 44940.00 | 3250.00 | 45500.00 | 44940.00 | JUEL ELECTRICALS AND ELECTRONICS
| Total in Figures |  |  |  |  | 333725.00 |  | 341219.00 |  | 350016.00
Lowest Amount Quoted BY: M/s R R ELECTRICALS(333725.00)

## BOQ Summary
BOQ Summary Details Tender Title: ELECTRICAL WIRING OF EXHAUST FAN IN MTA WORKSHOP AND MAIN WORKSHOP Tender ID: 2025_AVNL_235866_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s R R ELECTRICALS (BID ID -855967) | 333725.00 | L1
| 2 | JUEL ELECTRICALS AND ELECTRONICS (BID ID -857388) | 341219.00 | L2
| 3 | Ajay Enterprises (BID ID -857424) | 350016.00 | L3