## BoQ1
Government eProcurement System Created By: SRI LAXMI K Created Date/Time: 30-Sep-2025 12:14 PM Tender Title: Item Rate Contract for internal electrical works at OFMK Estate as per the scope of work enclosed at Annexure A Tender ID: 2025_AVNL_238920_1
Tender Inviting Authority: CHIEF GENERAL MANAGER ORDNANCE FACTORY MEDAK (A UNIT OF AVNL)
Name of Work: Item Rate Contract for internal electrical works at OFMK Estate as per the scope of work enclosed at Annexure 'A'
Contract No: 76025/OFMK/TE -08/OFMK/EO/Item Rate/2025-26
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GAYATHRI ENGINEERS (GSTN-NA) BID ID -871813 |  | SATYANARAYANA RAJU VEGESNA (GSTN-NA) BID ID -877800 |  | SRI SAI PANASA ELECTRICALS (GSTN-NA) BID ID -871832
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Fixing in repairs of switch piano flush type single pole one way 6 amp. | 500.00 | Each |  | 45.67 | 22835.00 | 35.00 | 17500.00 | 50.00 | 25000.00 | 17500.00 | SATYANARAYANA RAJU VEGESNA
2.00 | Fixing in repairs of switch piano,flush type, single pole,one way, 16 amp. | 30.00 | Each |  | 77.18 | 2315.40 | 65.00 | 1950.00 | 85.00 | 2550.00 | 1950.00 | SATYANARAYANA RAJU VEGESNA
3.00 | Fixing in repairs of lamp holder PVC/polycarbonate type with back plate suitable for batten fittings. | 500.00 | Each |  | 85.45 | 42725.00 | 60.00 | 30000.00 | 100.00 | 50000.00 | 30000.00 | SATYANARAYANA RAJU VEGESNA
4.00 | Fixing in repairs of bell push,Flush type,5 Amps | 100.00 | Each |  | 77.18 | 7718.00 | 65.00 | 6500.00 | 85.00 | 8500.00 | 6500.00 | SATYANARAYANA RAJU VEGESNA
5.00 | Fixing in repairs of Bell, AC, 230 volts, single pole. | 100.00 | Each |  | 94.78 | 9478.00 | 80.00 | 8000.00 | 100.00 | 10000.00 | 8000.00 | SATYANARAYANA RAJU VEGESNA
6.00 | Fixing in repairs stepped type electronic fan regulator flush type on the existing phenolic laminated sheet etc. as reqd. | 500.00 | Each |  | 72.51 | 36255.00 | 150.00 | 75000.00 | 80.00 | 40000.00 | 36255.00 | GAYATHRI ENGINEERS
7.00 | Fixing in repairs Switch socket combination 2 in 1, 6A flush type | 200.00 | Each |  | 148.46 | 29692.00 | 130.00 | 26000.00 | 100.00 | 20000.00 | 20000.00 | SRI SAI PANASA ELECTRICALS
8.00 | Fixing in repairs of Socket outlet 3 pin, 6A, flush type | 250.00 | Each |  | 68.90 | 17225.00 | 90.00 | 22500.00 | 20.00 | 5000.00 | 5000.00 | SRI SAI PANASA ELECTRICALS
9.00 | Fixing in repairs Switch socket combination 6A/16A, 5 in 1 | 500.00 | Each |  | 154.26 | 77130.00 | 140.00 | 70000.00 | 100.00 | 50000.00 | 50000.00 | SRI SAI PANASA ELECTRICALS
10.00 | Hanging/Fixing only ceiling fan (material will be supplied by OFMK) and connecting up including provision of cables from ceiling rose or connector to fan at site. | 100.00 | Each |  | 150.13 | 15013.00 | 100.00 | 10000.00 | 150.00 | 15000.00 | 10000.00 | SATYANARAYANA RAJU VEGESNA
11.00 | Fixing only exhaust fan at normal height (Material will be supplied by OFMK) and connecting up including provision of cable from ceiling rose/connector to fan. | 20.00 | Each |  | 200.82 | 4016.40 | 130.00 | 2600.00 | 200.00 | 4000.00 | 2600.00 | SATYANARAYANA RAJU VEGESNA
12.00 | Supply and Fixing ceiling rose 3 phase /PVC/ polycarbonate, isolated body. | 40.00 | Each |  | 57.82 | 2312.80 | 50.00 | 2000.00 | 25.00 | 1000.00 | 1000.00 | SRI SAI PANASA ELECTRICALS
13.00 | Supply and Fixing junction boxes ( 1 to 4 way) suitlable for 25 mm PVC non metalic conduits. | 20.00 | Each |  | 40.66 | 813.20 | 35.00 | 700.00 | 20.00 | 400.00 | 400.00 | SRI SAI PANASA ELECTRICALS
14.00 | Fixing only rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of poles and current carrying capacity SP 6 To 32 AMP in the MCB DB complete with connection testing and commissioning. | 200.00 | Each |  | 17.61 | 3522.00 | 50.00 | 10000.00 | 20.00 | 4000.00 | 3522.00 | GAYATHRI ENGINEERS
15.00 | Fixing only rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of poles and current carrying capacity SPN 32 AMP in the MCB DB complete with connection testing and commissioning. | 100.00 | Each |  | 22.51 | 2251.00 | 60.00 | 6000.00 | 30.00 | 3000.00 | 2251.00 | GAYATHRI ENGINEERS
16.00 | Fixing only rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of poles and current carrying capacity SPN 40 to 63 AMP in the MCB DB complete with connection testing and commissioning. | 50.00 | Each |  | 22.51 | 1125.50 | 62.00 | 3100.00 | 30.00 | 1500.00 | 1125.50 | GAYATHRI ENGINEERS
17.00 | Fixing only rating 415V, 10KA 'C' curve miniature circuit breaker (MCB) of poles and current carrying capacity TP 25 To 63 AMP in the MCB DB complete with connection testing and commissioning. | 100.00 | Each |  | 37.19 | 3719.00 | 70.00 | 7000.00 | 50.00 | 5000.00 | 3719.00 | GAYATHRI ENGINEERS
18.00 | Fixing only rating 415V, 10KA 'C' curve miniature circuit breaker (MCB) of poles and current carrying capacity TPN 16 To 32 AMP in the MCB DB complete with connection testing and commissioning. | 50.00 | Each |  | 41.94 | 2097.00 | 60.00 | 3000.00 | 60.00 | 3000.00 | 2097.00 | GAYATHRI ENGINEERS
19.00 | Fixing only rating 415V, 10KA 'C' curve miniature circuit breaker (MCB) of poles and current carrying capacity TPN 40 To 100 AMP in the MCB DB complete with connection testing and commissioning. | 20.00 | Each |  | 41.94 | 838.80 | 61.00 | 1220.00 | 60.00 | 1200.00 | 838.80 | GAYATHRI ENGINEERS
20.00 | Supply and fixing Modular switch 1 way 6A, 1 module Make: Schneider (Opale) Catalogue code X1001WH | 300.00 | Each |  | 174.54 | 52362.00 | 150.00 | 45000.00 | 250.00 | 75000.00 | 45000.00 | SATYANARAYANA RAJU VEGESNA
21.00 | Supply and fixing Modular switch 1 way 16A, 1 module Make: Schneider (Opale) Catalogue code X1101WH | 200.00 | Each |  | 230.28 | 46056.00 | 220.00 | 44000.00 | 340.00 | 68000.00 | 44000.00 | SATYANARAYANA RAJU VEGESNA
22.00 | Supply and fixing Modular switch 2 way 6A, 1 module Make: Schneider (Opale) Catalogue code X1002WH | 50.00 | Each |  | 205.89 | 10294.50 | 170.00 | 8500.00 | 100.00 | 5000.00 | 5000.00 | SRI SAI PANASA ELECTRICALS
23.00 | Supply and fixing Modular bell push 1 way 6A, 1 module Make: Schneider (Opale) Catalogue code X1005WH | 50.00 | Each |  | 205.89 | 10294.50 | 168.00 | 8400.00 | 100.00 | 5000.00 | 5000.00 | SRI SAI PANASA ELECTRICALS
24.00 | Supply and fixing Modular Socket, 6A - 2/3 pin combined 2 module Make: Schneider (Opale) Catalogue code X2005WH | 300.00 | Each |  | 262.22 | 78666.00 | 180.00 | 54000.00 | 340.00 | 102000.00 | 54000.00 | SATYANARAYANA RAJU VEGESNA
25.00 | Supply and fixing Modular Socket, 6A/16A - 2/3 pin combined 2 module Make: Schneider (Opale) Catalogue code X2106WH | 200.00 | Each |  | 406.87 | 81374.00 | 280.00 | 56000.00 | 500.00 | 100000.00 | 56000.00 | SATYANARAYANA RAJU VEGESNA
26.00 | Supply and fixing Modular Fan step regulator, 120W - 2 module Make: Schneider (Opale) Catalogue code X3004WH | 50.00 | Each |  | 783.82 | 39191.00 | 600.00 | 30000.00 | 1000.00 | 50000.00 | 30000.00 | SATYANARAYANA RAJU VEGESNA
27.00 | Supply and fixing Modular white cover plate with frame 1 module Make: Schneider (Opale) | 20.00 | Each |  | 148.38 | 2967.60 | 110.00 | 2200.00 | 100.00 | 2000.00 | 2000.00 | SRI SAI PANASA ELECTRICALS
28.00 | Supply and fixing Modular white cover plate with frame 3 module Make: Schneider (Opale) | 20.00 | Each |  | 167.63 | 3352.60 | 150.00 | 3000.00 | 100.00 | 2000.00 | 2000.00 | SRI SAI PANASA ELECTRICALS
29.00 | Supply and fixing Modular white cover plate with frame 4 module Make: Schneider (Opale) | 20.00 | Each |  | 190.27 | 3805.40 | 140.00 | 2800.00 | 100.00 | 2000.00 | 2000.00 | SRI SAI PANASA ELECTRICALS
30.00 | Supply and fixing Modular white cover plate with frame 6 module Make: Schneider (Opale) | 20.00 | Each |  | 238.39 | 4767.80 | 200.00 | 4000.00 | 350.00 | 7000.00 | 4000.00 | SATYANARAYANA RAJU VEGESNA
31.00 | Supply and fixing Modular white cover plate with frame 8 module Make: Schneider (Opale) | 20.00 | Each |  | 293.68 | 5873.60 | 250.00 | 5000.00 | 400.00 | 8000.00 | 5000.00 | SATYANARAYANA RAJU VEGESNA
32.00 | Supply and fixing of TPN MCB 4 way 415 V Double door DB(Sheet metal enclosures for db's when mcbs to be used) | 15.00 | Each |  | 2034.88 | 30523.20 | 3500.00 | 52500.00 | 4000.00 | 60000.00 | 30523.20 | GAYATHRI ENGINEERS
33.00 | Supply and Fixing of Cable jointing kit for 11 KV (Earthed) grade cable for indoor termination heat shrink type joint complete with jointing material and accessories suitable for 3 core XLPE armoured aluminium conductor cable of size 240 sqmm to 300 sqmm.Make: Raychem/3M/denson | 6.00 | Each |  | 4135.01 | 24810.06 | 3000.00 | 18000.00 | 4000.00 | 24000.00 | 18000.00 | SATYANARAYANA RAJU VEGESNA
34.00 | Supply and Fixing of Cable jointing kit for 11 KV (Earthed) grade cable for straight through heat shrink type joint complete with jointing material and accessories suitable for 3 core XLPE armoured aluminium conductor cable of size 240 sqmm to 400 sqmm.Make: Raychem/3M/denson | 6.00 | Each |  | 11249.06 | 67494.36 | 12000.00 | 72000.00 | 4000.00 | 24000.00 | 24000.00 | SRI SAI PANASA ELECTRICALS
35.00 | Supply and Fixing of angle lamp holder fancy type, Ivory, for fixing LED bulb/CFL Anchor P.Code 50971 or equivalent | 2000.00 | Each |  | 48.45 | 96900.00 | 58.00 | 116000.00 | 85.00 | 170000.00 | 96900.00 | GAYATHRI ENGINEERS
36.00 | Dresssing with cliping of disturb wiring including 1 to 7 (max) wire running in existing casing caping/batten/conduit. | 200.00 | RM |  | 28.50 | 5700.00 | 59.00 | 11800.00 | 50.00 | 10000.00 | 5700.00 | GAYATHRI ENGINEERS
37.00 | S & F of square shape junction box for casing caping | 10.00 | Each |  | 31.35 | 313.50 | 100.00 | 1000.00 | 55.00 | 550.00 | 313.50 | GAYATHRI ENGINEERS
38.00 | Dressing of disturb wiring including 1 to 5 wire (max) by using casing caping/batten/conduit. | 50.00 | RM |  | 57.00 | 2850.00 | 75.00 | 3750.00 | 100.00 | 5000.00 | 2850.00 | GAYATHRI ENGINEERS
39.00 | Taking down exhaust fan at normal height (upto 3 mtrs.) and deposit to OFMK IMS store. | 20.00 | Each |  | 91.20 | 1824.00 | 200.00 | 4000.00 | 100.00 | 2000.00 | 1824.00 | GAYATHRI ENGINEERS
40.00 | Replacement and fixing of MCB distribution box of any size single/double door including removal of existing DB including disconnection and reconnection of I/c and O/g wires ckt, earth etc. Material will be provied by user section as directed. | 5.00 | Each |  | 228.00 | 1140.00 | 600.00 | 3000.00 | 300.00 | 1500.00 | 1140.00 | GAYATHRI ENGINEERS
41.00 | Fixing only flourescent tube light/ LED tube light fitting of any wattage including connection. | 700.00 | Each |  | 57.00 | 39900.00 | 100.00 | 70000.00 | 100.00 | 70000.00 | 39900.00 | GAYATHRI ENGINEERS
42.00 | Fixing only LED/CFL bulb of any wattage including connection | 2500.00 | Each |  | 34.20 | 85500.00 | 50.00 | 125000.00 | 60.00 | 150000.00 | 85500.00 | GAYATHRI ENGINEERS
43.00 | Fixing of Energy meter connect with electric supply of both incoming and outgoing by using required size of lug at site and removing old energy meter. Energy meters will be supplied by OFMK | 50.00 | Each |  | 228.00 | 11400.00 | 250.00 | 12500.00 | 400.00 | 20000.00 | 11400.00 | GAYATHRI ENGINEERS
44.00 | Fixing only of electrical switch board by using of machine screw with washer of required size of brass. | 20.00 | Each |  | 45.60 | 912.00 | 50.00 | 1000.00 | 80.00 | 1600.00 | 912.00 | GAYATHRI ENGINEERS
45.00 | Only replacement of capacitor of ceiling fan at site. Material will be provided by OFMK. | 100.00 | Each |  | 51.30 | 5130.00 | 60.00 | 6000.00 | 100.00 | 10000.00 | 5130.00 | GAYATHRI ENGINEERS
46.00 | Hanging of Wall mounted Geyser by using 02 Nos. of fastner of required size & connection of electric and water as directed . | 20.00 | Each |  | 291.00 | 5820.00 | 400.00 | 8000.00 | 300.00 | 6000.00 | 5820.00 | GAYATHRI ENGINEERS
47.00 | Removing of Wall mounted Geyser from wall after disconnecting all electrical and water connection and deposit IMS store. | 20.00 | Each |  | 145.50 | 2910.00 | 150.00 | 3000.00 | 100.00 | 2000.00 | 2000.00 | SRI SAI PANASA ELECTRICALS
48.00 | Fixing only of hanging board by using 2 Nos. of PVC Gutti/ Wooden gutti/ M/c Screw of as required . | 10.00 | Each |  | 57.00 | 570.00 | 70.00 | 700.00 | 100.00 | 1000.00 | 570.00 | GAYATHRI ENGINEERS
49.00 | Supply and Fixing fixing of board cover / Hylem sheet of size 7"X4" by using of 2 to 4 M/C screw as required including necessary cutting of sheet for fixing of switches, sockets, regulators etc. | 10.00 | Each |  | 85.50 | 855.00 | 90.00 | 900.00 | 150.00 | 1500.00 | 855.00 | GAYATHRI ENGINEERS
50.00 | Supply and Fixing fixing of board cover / Hylem sheet of size 10"X8" by using of 2 to 4 machine screw as required including necessary cutting of sheet for fixing of switches, sockets, regulators etc. | 10.00 | Each |  | 85.50 | 855.00 | 120.00 | 1200.00 | 100.00 | 1000.00 | 855.00 | GAYATHRI ENGINEERS
51.00 | Supply and Fixing fixing of board cover / Hylem sheet of size 12"X10" by using of 2 to 4 M/C screw.including necessary cutting of sheet for fixing of switches, sockets, regulators etc. | 10.00 | Each |  | 102.60 | 1026.00 | 150.00 | 1500.00 | 150.00 | 1500.00 | 1026.00 | GAYATHRI ENGINEERS
52.00 | Cutting of hylem sheet to fix Piano socket 5A/ Piano switch 5A/ Regulator including all disconnection and connection as directed. | 10.00 | Each |  | 22.80 | 228.00 | 70.00 | 700.00 | 40.00 | 400.00 | 228.00 | GAYATHRI ENGINEERS
53.00 | Cutting of hylem sheet to fix Piano socket 15A / Piano switch 15A including all disconnection and connection as directed. | 10.00 | Each |  | 38.80 | 388.00 | 75.00 | 750.00 | 40.00 | 400.00 | 388.00 | GAYATHRI ENGINEERS
54.00 | Repairing of wiring by using of 1/1.5/2.5 sq.mm aluminium/copper wire, single core. material will be supplied by OFMK. | 100.00 | RM |  | 38.80 | 3880.00 | 30.00 | 3000.00 | 40.00 | 4000.00 | 3000.00 | SATYANARAYANA RAJU VEGESNA
55.00 | Repairing of stair case light point by repairing of ckt with /without replacement of Al/Cu wire of required size upto one mtr to make operative of the point.(additional length of wire will be supplied by OFMK IMS) | 50.00 | Per Point |  | 145.50 | 7275.00 | 200.00 | 10000.00 | 100.00 | 5000.00 | 5000.00 | SRI SAI PANASA ELECTRICALS
56.00 | Fixing only TPN/4P MCCB of rating 40 A to 100 A | 100.00 | Each |  | 62.70 | 6270.00 | 120.00 | 12000.00 | 100.00 | 10000.00 | 6270.00 | GAYATHRI ENGINEERS
57.00 | Supply & Fixing of Digital street light timer, 240 volts, AC, 50 Hz. Model T2DDT7, Auto programmable season wise, Make L&T /GIC | 10.00 | Each |  | 1596.00 | 15960.00 | 2500.00 | 25000.00 | 1500.00 | 15000.00 | 15000.00 | SRI SAI PANASA ELECTRICALS
58.00 | Supply & Fixing of DOL starter, 3phase, 415 Volts, Overload relay range 1.8 to 2.2 amps. Make Siemens/ L&T/Schneider | 5.00 | Each |  | 1140.00 | 5700.00 | 3800.00 | 19000.00 | 2000.00 | 10000.00 | 5700.00 | GAYATHRI ENGINEERS
59.00 | Supply & Fixing of DOL starter, 3phase, 415 Volts, Overload relay range 10 to 16 amps. Make Siemens/ L&T/Schneider | 5.00 | Each |  | 1140.00 | 5700.00 | 3900.00 | 19500.00 | 2000.00 | 10000.00 | 5700.00 | GAYATHRI ENGINEERS
60.00 | Supply & Fixing of Forward Reverse DOL starter for 3 phase, 415 Volts, Overload relay range 3 - 6 amps in S.S housing Make Siemens/ L&T/Schneider | 5.00 | Each |  | 1710.00 | 8550.00 | 2000.00 | 10000.00 | 3000.00 | 15000.00 | 8550.00 | GAYATHRI ENGINEERS
61.00 | Supply & Fixing of Plug top 6 amps, 3 pin, 250 volts Nake: Anchor catalogue code 3982 or equivalent of , Havells/Cona/Havells | 50.00 | Each |  | 58.20 | 2910.00 | 60.00 | 3000.00 | 80.00 | 4000.00 | 2910.00 | GAYATHRI ENGINEERS
62.00 | Supply & Fixing of Plug top 16 amps, 3 pin, 250 volts Make Anchor catalogue code 3993 or equivalent of , Havells/Cona/Havells | 50.00 | Each |  | 77.60 | 3880.00 | 90.00 | 4500.00 | 80.00 | 4000.00 | 3880.00 | GAYATHRI ENGINEERS
63.00 | Supply and Fixing of PVC readymade electrical switch board with 6A switches -1 No & 6 A sockets - 1 No | 50.00 | Each |  | 232.80 | 11640.00 | 130.00 | 6500.00 | 200.00 | 10000.00 | 6500.00 | SATYANARAYANA RAJU VEGESNA
64.00 | Supply and Fixing of PVC readymade electrical switch board with 6A switches -2 No's & 6 A sockets - 02 No's | 20.00 | Each |  | 436.50 | 8730.00 | 250.00 | 5000.00 | 350.00 | 7000.00 | 5000.00 | SATYANARAYANA RAJU VEGESNA
65.00 | Supply and Fixing of PVC readymade electrical switch board with 6A switches -4No's & 6 A sockets - 04 No's | 20.00 | Each |  | 873.00 | 17460.00 | 500.00 | 10000.00 | 450.00 | 9000.00 | 9000.00 | SRI SAI PANASA ELECTRICALS
66.00 | Supply and Fixing of PVC readymade electrical switch board with 16A switches -1No & 16 A sockets - 01 No | 50.00 | Each |  | 194.00 | 9700.00 | 390.00 | 19500.00 | 200.00 | 10000.00 | 9700.00 | GAYATHRI ENGINEERS
67.00 | Supply and Fixing of PVC readymade electrical switch board with 16A switches -1No & 16 A sockets - 01 No, 6A switches -1 No & 6 A sockets - 01 No | 20.00 | Each |  | 388.00 | 7760.00 | 350.00 | 7000.00 | 250.00 | 5000.00 | 5000.00 | SRI SAI PANASA ELECTRICALS
68.00 | Supply and Fixing of PVC Casing and strip type capping for electrical wiring colour white, width 25mm Make: | 300.00 | Rm |  | 145.50 | 43650.00 | 200.00 | 60000.00 | 100.00 | 30000.00 | 30000.00 | SRI SAI PANASA ELECTRICALS
69.00 | Supply and Fixing of PVC Casing and strip type capping for electrical wiring colour white , width 19mm | 200.00 | Rm |  | 145.50 | 29100.00 | 100.00 | 20000.00 | 100.00 | 20000.00 | 20000.00 | SRI SAI PANASA ELECTRICALS, SATYANARAYANA RAJU VEGESNA
70.00 | Supply and Fixing of Bi-metal overload relay range 09-14 amps, with on/off push buttons, direct mounting Type M N 2, suitable for L & T cat No SS94142 or equivalent of siemens/Schneider | 10.00 | Each |  | 798.00 | 7980.00 | 1000.00 | 10000.00 | 1100.00 | 11000.00 | 7980.00 | GAYATHRI ENGINEERS
71.00 | Supply and Fixing of Bi-metal overload relay range 11-18 amps, with on/off push buttons, direct mounting Type M N 2, suitable for L & T cat No SS94142 or equivalent of siemens/Schneider | 10.00 | Each |  | 912.00 | 9120.00 | 850.00 | 8500.00 | 1000.00 | 10000.00 | 8500.00 | SATYANARAYANA RAJU VEGESNA
72.00 | Supply and Fixing of Bi-metal overload relay range 13-22 amps, with on/off push buttons, direct mounting Type M N 2, suitable for L & T cat No SS94142 or equivalent of siemens/Schneider | 10.00 | Each |  | 1425.00 | 14250.00 | 1500.00 | 15000.00 | 1500.00 | 15000.00 | 14250.00 | GAYATHRI ENGINEERS
73.00 | Supply and Fixing of Single phase preventor(SPP) with auto manual switch, Undervoltage/Over voltage cut-off, suitable for borewell motors | 10.00 | Each |  | 285.00 | 2850.00 | 950.00 | 9500.00 | 250.00 | 2500.00 | 2500.00 | SRI SAI PANASA ELECTRICALS
74.00 | Supply and Fixing of No volt coil/relay for DOL starter 415 Volts | 15.00 | Each |  | 114.00 | 1710.00 | 390.00 | 5850.00 | 200.00 | 3000.00 | 1710.00 | GAYATHRI ENGINEERS
75.00 | Supply and Fixing of M.S.Fabrication clamps along with nut & bolts, washers 04 nos for each clamp, with painting, suitable for 36-40 watts LED street light fittings | 200.00 | Each |  | 114.00 | 22800.00 | 385.00 | 77000.00 | 200.00 | 40000.00 | 22800.00 | GAYATHRI ENGINEERS
76.00 | Supply and Fixing of Actinic BL 18-20W tube light 230V ac Make: Philips/crompton/Wipro | 10.00 | Each |  | 436.50 | 4365.00 | 400.00 | 4000.00 | 250.00 | 2500.00 | 2500.00 | SRI SAI PANASA ELECTRICALS
77.00 | Supply and Fixing of LED bulb 0.5W, LED ping pong bulb, B22D, differenct colours as required by OFMK Make: Bajaj/Havells/Philips | 20.00 | Each |  | 100.50 | 2010.00 | 120.00 | 2400.00 | 150.00 | 3000.00 | 2010.00 | GAYATHRI ENGINEERS
78.00 | Supply and Fixing of Rubber compund tape, self amalgamating, for jointing submersible pump motor connections | 20.00 | Meter |  | 570.00 | 11400.00 | 600.00 | 12000.00 | 350.00 | 7000.00 | 7000.00 | SRI SAI PANASA ELECTRICALS
79.00 | Supply and Fixing of HT Electrical Tape, width 19mm, Thickness 0.75mm, Di electric strength 31.5MV/m, Make : 3M/steelgrip/Anchor | 200.00 | Meter |  | 57.00 | 11400.00 | 190.00 | 38000.00 | 80.00 | 16000.00 | 11400.00 | GAYATHRI ENGINEERS
80.00 | Supply and Fixing of Tungston filament lamp B.C 60W, 250 Volts confirming to IS 418 with latest amendments Make: Bajaj/CG/OSRAM/Philips | 100.00 | Each |  | 19.40 | 1940.00 | 39.00 | 3900.00 | 20.00 | 2000.00 | 1940.00 | GAYATHRI ENGINEERS
81.00 | Supply and Fixing of 1.5 V battery 'AAA' | 100.00 | Each |  | 9.70 | 970.00 | 15.00 | 1500.00 | 10.00 | 1000.00 | 970.00 | GAYATHRI ENGINEERS
82.00 | Supply and Fixing of 1.5 V battery 'AA' | 100.00 | Each |  | 9.70 | 970.00 | 16.00 | 1600.00 | 10.00 | 1000.00 | 970.00 | GAYATHRI ENGINEERS
83.00 | Supply and Fixing of Tube light side holder for LED 20 W , T8 tube light | 200.00 | Each |  | 43.65 | 8730.00 | 85.00 | 17000.00 | 25.00 | 5000.00 | 5000.00 | SRI SAI PANASA ELECTRICALS
84.00 | Supply and Fixing of heating elements for 2 KW, 230V vertical mounting 25 Ltr geyser. Make: Racold(Hatron)/Usha/Bajaj/V-Guard | 20.00 | Each |  | 824.50 | 16490.00 | 1500.00 | 30000.00 | 850.00 | 17000.00 | 16490.00 | GAYATHRI ENGINEERS
85.00 | Supply and Fixing of Rigid PVC conduit pipe , Size 20mm, Thickness 1 mm | 200.00 | Rm |  | 42.68 | 8536.00 | 25.00 | 5000.00 | 45.00 | 9000.00 | 5000.00 | SATYANARAYANA RAJU VEGESNA
86.00 | Supply and Fixing of Rigid PVC conduit pipe , Size 25mm, Thickness 1 mm | 200.00 | Rm |  | 43.65 | 8730.00 | 40.00 | 8000.00 | 45.00 | 9000.00 | 8000.00 | SATYANARAYANA RAJU VEGESNA
87.00 | Supply and Fixing of PVC Round junction box, 1 way, 20mm | 50.00 | Each |  | 19.40 | 970.00 | 30.00 | 1500.00 | 20.00 | 1000.00 | 970.00 | GAYATHRI ENGINEERS
88.00 | Supply and Fixing of PVC Round junction box, 2 way, 20mm | 50.00 | Each |  | 19.40 | 970.00 | 29.00 | 1450.00 | 20.00 | 1000.00 | 970.00 | GAYATHRI ENGINEERS
89.00 | Supply and Fixing of PVC Round junction box, 3 way, 20mm | 50.00 | Each |  | 24.25 | 1212.50 | 30.00 | 1500.00 | 25.00 | 1250.00 | 1212.50 | GAYATHRI ENGINEERS
90.00 | Supply and Fixing of PVC Round junction box, 4 way, 20mm | 50.00 | Each |  | 24.25 | 1212.50 | 35.00 | 1750.00 | 25.00 | 1250.00 | 1212.50 | GAYATHRI ENGINEERS
91.00 | Supply and Fixing of PVC Round junction box, 1 way, 25mm | 50.00 | Each |  | 24.25 | 1212.50 | 33.00 | 1650.00 | 25.00 | 1250.00 | 1212.50 | GAYATHRI ENGINEERS
92.00 | Supply and Fixing of PVC Round junction box, 2 way, 25mm | 50.00 | Each |  | 23.28 | 1164.00 | 40.00 | 2000.00 | 24.00 | 1200.00 | 1164.00 | GAYATHRI ENGINEERS
93.00 | Supply and Fixing of PVC Round junction box, 3 way, 25mm | 50.00 | Each |  | 29.10 | 1455.00 | 38.00 | 1900.00 | 30.00 | 1500.00 | 1455.00 | GAYATHRI ENGINEERS
94.00 | Supply and Fixing of PVC Round junction box, 4 way, 25mm | 50.00 | Each |  | 29.10 | 1455.00 | 39.00 | 1950.00 | 30.00 | 1500.00 | 1455.00 | GAYATHRI ENGINEERS
95.00 | Supply and Fixing of PVC electrial bend, 20mm | 50.00 | Each |  | 8.73 | 436.50 | 12.00 | 600.00 | 9.00 | 450.00 | 436.50 | GAYATHRI ENGINEERS
96.00 | Supply and Fixing of PVC electrial bend 25mm | 50.00 | Each |  | 11.64 | 582.00 | 13.00 | 650.00 | 12.00 | 600.00 | 582.00 | GAYATHRI ENGINEERS
97.00 | Supply and Fixing of PVC electrial elbow, 20mm | 50.00 | Each |  | 9.70 | 485.00 | 14.00 | 700.00 | 10.00 | 500.00 | 485.00 | GAYATHRI ENGINEERS
98.00 | Supply and Fixing of PVC electrial elbow, 25mm | 50.00 | Each |  | 9.70 | 485.00 | 12.00 | 600.00 | 10.00 | 500.00 | 485.00 | GAYATHRI ENGINEERS
99.00 | Supplu and Fixing of Power cantactor 3 phase 50HZ 3TF 47, coil voltage 230V Make: Siemens/L&T/BCH | 10.00 | Each |  | 11900.00 | 119000.00 | 11000.00 | 110000.00 | 7000.00 | 70000.00 | 70000.00 | SRI SAI PANASA ELECTRICALS
100.00 | Supply and Fixing of LT/LV Heat shrink type staright through joint kit suitable for 1.1 KV 3 1/2 core 120 sq.MM power cable. Make: Raychem/3M/denson | 4.00 | Each |  | 5415.00 | 21660.00 | 4000.00 | 16000.00 | 6000.00 | 24000.00 | 16000.00 | SATYANARAYANA RAJU VEGESNA
101.00 | Supply and Fixing of LT/LV Heat shrink type staright through joint kit suitable for 1.1 KV 3 1/2core 240 sq.MM power cable.Make: Raychem/3M/denson | 4.00 | Each |  | 6555.00 | 26220.00 | 5000.00 | 20000.00 | 6000.00 | 24000.00 | 20000.00 | SATYANARAYANA RAJU VEGESNA
| Total in Figures |  |  |  |  | 1508072.22 |  | 1724770.00 |  | 1689600.00
Lowest Amount Quoted BY: GAYATHRI ENGINEERS(1508072.22)

## BOQ Summary
BOQ Summary Details Tender Title: Item Rate Contract for internal electrical works at OFMK Estate as per the scope of work enclosed at Annexure A Tender ID: 2025_AVNL_238920_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GAYATHRI ENGINEERS (BID ID -871813) | 1508072.22 | L1
| 2 | SRI SAI PANASA ELECTRICALS (BID ID -871832) | 1689600.00 | L2
| 3 | SATYANARAYANA RAJU VEGESNA (BID ID -877800) | 1724770.00 | L3