## BoQ1
Government eProcurement System Created By: JITENDRA SHIKERIA Created Date/Time: 16-Aug-2025 04:02 PM Tender Title: REPAIRING OF ROOMS OF GANGA AND KAVERI HOSTEL AND OLD DINING HALL- AT IOLAM HOSTEL Tender ID: 2025_AVNL_239559_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGR MTPF (AVNL) AMBERNATH
Name of Work: Repairing of rooms of Ganga and Kaveri Hostel & old dining hall- at IOLAM hostel.
Contract No: 8700/IOLAM/CW/DC/01/2025-26
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s R R ELECTRICALS (GSTN-27AGQPP4960N1ZG) BID ID -869350 |  | K R Constructions (GSTN-NA) BID ID -871581 |  | JAYPEE ENTERPRISES (GSTN-NA) BID ID -871536
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Repairing of rooms of Ganga and Kaveri Hostel & old dining hall- at IOLAM hostel.
1.10 | Dismantling existing mild steel grill etc all complete as directed by EIC.-( @10 KG /Sq M ) | 10.00 | Qtl. | 574.90 | 480.00 | 4800.00 | 500.00 | 5000.00 | 450.00 | 4500.00 | 4500.00 | JAYPEE ENTERPRISES
2.10 | Taking down doors/windows with shutter not exc 1.5 sq. m each (without taking off shutters from the frames) etc all complete as directed by EIC. | 18.00 | Each | 282.90 | 310.00 | 5580.00 | 300.00 | 5400.00 | 180.00 | 3240.00 | 3240.00 | JAYPEE ENTERPRISES
3.10 | Taking down Chowkhats or frames exc 1.5 sq. m but n exc 4 sq. m each but with shutters (without taking off shutters), etc all complete as directed by EIC | 93.00 | Each | 357.30 | 335.00 | 31155.00 | 300.00 | 27900.00 | 200.00 | 18600.00 | 18600.00 | JAYPEE ENTERPRISES
4.10 | Taking down solid PVC Partitions consist of PVC sandwich panel of suitable thickness placed in Aluminium angle frame, etc all complete as directed by EIC | 159.00 | Sq.m | 59.50 | 63.00 | 10017.00 | 50.00 | 7950.00 | 160.00 | 25440.00 | 7950.00 | K R Constructions
5.10 | Taking down Chowkhats or frames exc 1.5 sq. m but n exc 4 sq. m each all complete as directed by EIC | 12.00 | Each | 223.40 | 280.00 | 3360.00 | 200.00 | 2400.00 | 250.00 | 3000.00 | 2400.00 | K R Constructions
6.10 | Taking down frames exc 1 sq. m and n exc 2 sq. m each but with shutters (without taking off frame), etc all complete as directed by EIC | 10.00 | Each | 89.30 | 110.00 | 1100.00 | 80.00 | 800.00 | 250.00 | 2500.00 | 800.00 | K R Constructions
7.10 | Demolition and dismantled of Brickwork ,walls built in cement mortar, etc all complete as directed by EIC | 5.00 | Cu.m | 1817.75 | 870.00 | 4350.00 | 1250.00 | 6250.00 | 1200.00 | 6000.00 | 4350.00 | M/s R R ELECTRICALS
8.10 | Dismantling floor, wall tiling including cement mortar bedding (but not backing), removing serviceable tiles to store and rubbish off the premises, etc all complete as directed by EIC | 751.00 | Sq.m | 89.50 | 105.00 | 78855.00 | 85.00 | 63835.00 | 80.00 | 60080.00 | 60080.00 | JAYPEE ENTERPRISES
9.10 | Roughening surfaces of old concrete floor by picking, sweeping clean and washing down with water to remove dust, etc. and Treating cement concrete surfaces with three dressings of sodium silicate solution as waterproofing, etc all complete as directed by EIC. | 751.00 | Sq.m | 65.30 | 35.00 | 26285.00 | 50.00 | 37550.00 | 70.00 | 52570.00 | 26285.00 | M/s R R ELECTRICALS
10.10 | M & L Cutting chases on Brick walls, pinning in. making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting exc 10 cm but not exc 20 cm girth, etc all complete as directed by EIC. | 179.00 | RM | 51.10 | 41.00 | 7339.00 | 45.00 | 8055.00 | 45.00 | 8055.00 | 7339.00 | M/s R R ELECTRICALS
11.10 | Roughening surfaces of old concrete floor by picking, sweeping clean and washing down with water to remove dust, etc. all complete as directed by EIC. | 233.00 | Sq.m | 35.40 | 38.00 | 8854.00 | 28.00 | 6524.00 | 50.00 | 11650.00 | 6524.00 | K R Constructions
12.10 | M & L for brick work with sub class 'B' bricks, straight or curved on plan exc. 6m mean radious built in cement mortar 1:6, etc all complete as directed by EIC. | 97.00 | Cu.m | 4875.00 | 5735.00 | 556295.00 | 5000.00 | 485000.00 | 4800.00 | 465600.00 | 465600.00 | JAYPEE ENTERPRISES
13.10 | M & L for rendering 10 mm thick cement plaster in cement mortar 1:4 on fair faces of brickwork or concrete surfaces including necessary staging, scaffolding, cleaning the area and removal of all rubbish including taking out old plaster, hacking out joints etc all - below granite surface ( same as sr. no.11), etc all complete as directed by the EIC. | 233.00 | Sq.m | 204.80 | 305.00 | 71065.00 | 185.00 | 43105.00 | 250.00 | 58250.00 | 43105.00 | K R Constructions
14.10 | M & L for rendering 10 mm thick cement plaster in cement mortar 1:4 on fair faces including neeru finish plastering of brickwork or concrete surfaces including necessary staging, scaffolding, cleaning the area and removal of all rubbish including taking out old plaster, hacking out joints, etc all complete as directed by the EIC. | 522.00 | Sq.m | 254.80 | 310.00 | 161820.00 | 235.00 | 122670.00 | 250.00 | 130500.00 | 122670.00 | K R Constructions
15.10 | M & L for rendering 10 mm thick cement plaster in cement mortar 1:4 on fair faces including Sand-faced plaster as specified of brickwork or concrete surfaces including necessary staging, scaffolding, cleaning the area and removal of all rubbish including taking out old plaster, hacking out joints, etc all complete as directed by the EIC. | 101.00 | Sq.m | 379.62 | 330.00 | 33330.00 | 345.00 | 34845.00 | 300.00 | 30300.00 | 30300.00 | JAYPEE ENTERPRISES
16.10 | M & L for cement concrete in lintels with type B1 1:2:4 with 20mm graded aggregate including shattering and scaffolding, etc all complete as directed by EIC. | 7.00 | Cu.m | 9259.40 | 7200.00 | 50400.00 | 8300.00 | 58100.00 | 6800.00 | 47600.00 | 47600.00 | JAYPEE ENTERPRISES
17.10 | M & L for Steel reinforcement TMT bars, 8mm or10mm dia and over , cut to length , bent to shape required and binding with annealed mild steel wire nort less than 0.9mm dia, etc all complete as directed by EIC. | 576.00 | KG | 82.60 | 76.00 | 43776.00 | 76.00 | 43776.00 | 77.00 | 44352.00 | 43776.00 | M/s R R ELECTRICALS, K R Constructions
18.10 | M & L for 18mm to 20mm thick Granite (of any type) work (table rubbed and polished) in steps, jambs, pillars, win dow-cills, cooking plat forms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite with chamfering of exposed edges rubbing and polishing, etc all complete as directed by EIC. | 244.00 | Sq.m | 5183.70 | 3950.00 | 963800.00 | 4700.00 | 1146800.00 | 3700.00 | 902800.00 | 902800.00 | JAYPEE ENTERPRISES
19.10 | M & L for Machine Cut Cudappah stone slab 20-25mm thick over cement screed base, laid and jointed with gray cement slurry mixed with pigment to match the shade of slab including rubbing and polishing ,rounding to edges of stone slabs one edge, such as in steps, cooking platform, and other similar situations, etc all complete as directed by EIC. | 22.00 | Sq.m | 847.47 | 1300.00 | 28600.00 | 820.00 | 18040.00 | 1250.00 | 27500.00 | 18040.00 | K R Constructions
20.10 | M & L for Non-skid Ceramic coloured tiles 7 to 8mm thick area of each tile size of 0.09 sq.m in floors etc (Make: Johnson/Somany/Kajaria) etc set and jointed in neat cement slurry and pointed in and pointed in white or coloured cement to match including screed bed avg. of 30mm thick in cement mortar 1:6, etc all complete as directed by EIC. Note:-Sample of Tile should be approved by EIC before execution | 228.00 | Sq.m | 1538.14 | 1390.00 | 316920.00 | 1250.00 | 285000.00 | 850.00 | 193800.00 | 193800.00 | JAYPEE ENTERPRISES
21.10 | M & L for Glazed Ceramic coloured tile of upto 7mm thick in vertical surface of walls such as skirting, dados and risers to steps of size 0.04 sq.m (Make: Johnson/Somany/Kajaria) set and jointed in neat cement slurry and pointed in white or coloured cement to match, etc all complete as directed by EIC. Note:-Sample of Tile should be approved by EIC before execution | 560.00 | Sq.m | 1298.90 | 1240.00 | 694400.00 | 1050.00 | 588000.00 | 850.00 | 476000.00 | 476000.00 | JAYPEE ENTERPRISES
22.10 | S & F Factory made solid panel PVC door shutter 30 mm thick (style) consisting of frame made out of M.S. tubes for top & bottom rails and paneling both sides with prelam PVC sheet, stile and rails feathered at edges (all as per manufacturer’s specification) including heavy duty cromium plated brass hings 4 Nos 100mm size, cromium plated brass door handles 100mm size, brass cromium plated sliding door bolts 2 nos of size 150mm, etc all complete as directed by the EIC. Note:-Sample shall be get approved from EIC before fixing for door shutter and all accessories. | 22.00 | Sq.m | 3876.80 | 3790.00 | 83380.00 | 3500.00 | 77000.00 | 3100.00 | 68200.00 | 68200.00 | JAYPEE ENTERPRISES
23.10 | S & F aluminum powder coated three track sliding windows (Thickness of section1.5 mm) with 4 mm thick tinted glass (Make -Saint Gobain/ ModiGuard/Triveni) including all fittings and accessories, secured in position, cleaning the premises and removal of all rubbish outside the premises area, etc all complete as directed by the EIC. Note:-samples should be got approved from the EIC. | 112.00 | Sq.m | 4000.00 | 3920.00 | 439040.00 | 3500.00 | 392000.00 | 3500.00 | 392000.00 | 392000.00 | JAYPEE ENTERPRISES, K R Constructions
24.10 | S & F Sheet glass, ordinary quality and glazing with oil putty in square exc 0.5 sq. m in each pane aluminum powder coated shutters to be fixed on top of the door (Thickness of section1.5 mm) with 4 mm thick tinted glass (Make -Saint Gobain/ ModiGuard/Triveni) including all fittings and accessories, secured in position, cleaning the premises and removal of all rubbish outside the premises area, etc all complete as directed by the EIC. Note:-samples should be got approved from the EIC. | 11.00 | Sq.m | 884.91 | 890.00 | 9790.00 | 840.00 | 9240.00 | 900.00 | 9900.00 | 9240.00 | K R Constructions
25.10 | M & L for Anodised aluminium ventilator shutters with side frame, fixed type, with semi transparent glass louvers including necessary joining cleats, glazing clips, rubber packing, anodised aluminum snap beading, screws, etc complete all as directed by EIC. Note:-Sample shall be get approved from EIC before fixing. | 6.00 | Sq.m | 1290.58 | 1550.00 | 9300.00 | 1200.00 | 7200.00 | 1750.00 | 10500.00 | 7200.00 | K R Constructions
26.10 | S & F Flush shutters, thickness 30mm ,solid core construction, with block board core and plywood face panels, commercial type on both sides, etc all complete as directed by EIC | 36.00 | Sq.m | 3171.00 | 3100.00 | 111600.00 | 2600.00 | 93600.00 | 3300.00 | 118800.00 | 93600.00 | K R Constructions
27.10 | S&F of Butt hinges, size 100mm, extruded brass, with mild steel hinge pin, bright polished and fixed, type B-11, etc all complete as directed by EIC | 64.00 | Each | 180.30 | 148.00 | 9472.00 | 150.00 | 9600.00 | 150.00 | 9600.00 | 9472.00 | M/s R R ELECTRICALS
28.10 | S & F of Size of handle 125mm Extruded brass handles, fabricated type polished with brass knob or lever handle, etc all complete as directed by EIC | 32.00 | Each | 243.40 | 225.00 | 7200.00 | 230.00 | 7360.00 | 150.00 | 4800.00 | 4800.00 | JAYPEE ENTERPRISES
29.10 | S & F of Rim latch with two levers, of brass body, polished bright; with brass knob or lever Size of latch 150 mm, handle and fixed, etc all complete as directed by EIC | 32.00 | Each | 732.20 | 975.00 | 31200.00 | 900.00 | 28800.00 | 200.00 | 6400.00 | 6400.00 | JAYPEE ENTERPRISES
30.10 | S & F Cast Iron Nahani Trap 100 mm with grating including jointing to waste pipe fixed in Cement mortar etc sample to be approve, etc all complete as directed by EIC. | 56.00 | Each | 385.00 | 315.00 | 17640.00 | 410.00 | 22960.00 | 350.00 | 19600.00 | 17640.00 | M/s R R ELECTRICALS
31.10 | S & F Vitreous china premium/ 1st quality wash down water closet wall hung EWC white/ ivory/off white (closed pattern including all necessary accessories like rag bolts/ gel gasket etc. (excluding flushing cistern & flush ipe) complete in all respect all as specified, etc sample to be approved all complete as directed by EIC. ( Make Hindware/ Perryware) | 23.00 | Each | 4000.00 | 4150.00 | 95450.00 | 4000.00 | 92000.00 | 14000.00 | 322000.00 | 92000.00 | K R Constructions
32.10 | S & F PVC valveless, syphonic action type,Flushing Cistern 10 lit capacity, low level, cream color, with inlet ball valve, float and handle including brackets and connector pipe and other necessary accessories, etc sample to be approved all complete as directed by EIC. (Make : Jaquar/Hindware /Cera / Essess) | 23.00 | Each | 797.24 | 675.00 | 15525.00 | 750.00 | 17250.00 | 2800.00 | 64400.00 | 15525.00 | M/s R R ELECTRICALS
33.10 | S & F Health faucet (ABS Body) mild steel chromium plated suitable for 15 mm dia pipe with 1.25 metre long flexible tube and ABS wall hook including making connections and fixed in position complete in all respect as specified. And other necessary accessories, etc sample to be approved all complete as directed by EIC. (Make : Jaquar/Hindware /Cera / Essess) | 23.00 | Each | 1350.00 | 1100.00 | 25300.00 | 1150.00 | 26450.00 | 900.00 | 20700.00 | 20700.00 | JAYPEE ENTERPRISES
34.10 | Toilet paper holder with flat recessed type stainless steel, etc all Complete as specified and directed by EIC. | 23.00 | Each | 566.39 | 425.00 | 9775.00 | 540.00 | 12420.00 | 1250.00 | 28750.00 | 9775.00 | M/s R R ELECTRICALS
35.10 | S & F vitreous China Wash Basin , cream color, flt back, size 550x400mm including brackets, out let PVC pipe connector, and inlet pipe connector and all accessories, etc sample to be approved all complete as directed by EIC. (Make : Jaquar/Hindware /Cera / Essess)- big size | 17.00 | Each | 1690.83 | 1850.00 | 31450.00 | 1450.00 | 24650.00 | 4000.00 | 68000.00 | 24650.00 | K R Constructions
36.10 | S & F vitreous China Wash Basin , cream color, flt back, size 450 x 300mm including brackets, out let PVC pipe connector, and inlet pipe connector and all accessories, etc sample to be approved all complete as directed by EIC. (Make : Jaquar/Hindware /Cera / Essess)-small size | 14.00 | Each | 1621.50 | 1720.00 | 24080.00 | 1480.00 | 20720.00 | 4000.00 | 56000.00 | 20720.00 | K R Constructions
37.10 | S & F Towel Rail 600mm long, etc sample to be approved all complete as directed by EIC. | 23.00 | Each | 292.46 | 300.00 | 6900.00 | 290.00 | 6670.00 | 1250.00 | 28750.00 | 6670.00 | K R Constructions
38.10 | S & F Mixing valve Concealed Type including three joints to steel pipes or unions and plugging and screwing to wall etc sample to be approved (Make : Jaquar/Hindware /Cera / Essess), etc all complete as directed by EIC. | 23.00 | Each | 3675.00 | 6250.00 | 143750.00 | 3900.00 | 89700.00 | 1500.00 | 34500.00 | 34500.00 | JAYPEE ENTERPRISES
39.10 | S & F 600mmx450mm bevelled edge mirror of selected quality, etc sample to be approved all complete as directed by EIC. | 17.00 | Each | 554.60 | 550.00 | 9350.00 | 550.00 | 9350.00 | 1500.00 | 25500.00 | 9350.00 | M/s R R ELECTRICALS, K R Constructions
40.10 | M&L Unplasticised PVC 15mm pipes of pressure rating 10 kgf/cm2 fixed complete to walls, ceilings or in floors etc., any type of pipe etc (Make: Prince/ Supreme/Jain/Astral), etc sample to be approved all complete as directed by EIC. | 351.00 | RM | 108.69 | 88.00 | 30888.00 | 85.00 | 29835.00 | 250.00 | 87750.00 | 29835.00 | K R Constructions
41.10 | S&F Supplying and laying of CPVC pipes 16mm SDR 11 & Plain CPVC SDR 11 fittings in trenches complete all as specified. with all fitings etc (Make: Prince/Supreme/Jain/Astral), etc sample to be approved all complete as directed by EIC. | 178.00 | RM | 139.10 | 125.00 | 22250.00 | 125.00 | 22250.00 | 160.00 | 28480.00 | 22250.00 | M/s R R ELECTRICALS, K R Constructions
42.10 | M & L for PVC SWR pipe 110mm Bore single socketed in any length with rubber ring joints fixed to wall with clamp brackets including all bents , Y junctions and required accessories etc (Make: Prince/Supreme/Jain/Astral), etc all complete as directed by EIC. | 147.00 | RM | 195.00 | 210.00 | 30870.00 | 165.00 | 24255.00 | 190.00 | 27930.00 | 24255.00 | K R Constructions
43.10 | Rough excavation in hard /dense surface not exceeding 1.5 m deep and getting out, etc all complete as directed by EIC. | 11.00 | Cu.m | 337.80 | 350.00 | 3850.00 | 330.00 | 3630.00 | 275.00 | 3025.00 | 3025.00 | JAYPEE ENTERPRISES
44.10 | M & L for hardcore of broken bricks / boulders of guage exc 63mm but n exc 100 mm, deposited spread in layers n exc 15 cm thick, watered and rolled / rammed to a true surface, etc all complete as directed by EIC. | 11.00 | Cu.m | 1215.80 | 1650.00 | 18150.00 | 1175.00 | 12925.00 | 1400.00 | 15400.00 | 12925.00 | K R Constructions
45.10 | M & L for cement concrete Type B2 1:2:4 ( 40 mm graded agregraded) in foundations, filling and mass concrete including cleaning the site, finishing sides of concrete even & smooth, etc all complete as directed by the EIC. | 11.00 | Cu.m | 6477.80 | 6600.00 | 72600.00 | 6100.00 | 67100.00 | 5900.00 | 64900.00 | 64900.00 | JAYPEE ENTERPRISES
46.10 | S&F Bib taps, cast copper alloy with crutch or butterfly handle, screwed down, screwed for brass ferrule and fixed 15mm, fancy type, chromium plated with long shank and cup (concealed type), screwed down, high pressure, with crutch or butterfly handle, screwed both ends for iron pipe or for unions and fixed, etc all complete as directed by EIC. | 40.00 | Each | 475.86 | 435.00 | 17400.00 | 450.00 | 18000.00 | 500.00 | 20000.00 | 17400.00 | M/s R R ELECTRICALS
47.10 | S&F Stop valves 15mm, fancy type, chromium plated with long shank and cup (concealed type), screwed down, high pressure, with crutch or butterfly handle, screwed both ends for iron pipe or for unions and fixed, etc all complete as directed by EIC. | 57.00 | Each | 720.14 | 680.00 | 38760.00 | 680.00 | 38760.00 | 650.00 | 37050.00 | 37050.00 | JAYPEE ENTERPRISES
48.10 | S&F Pillar taps, cast copper alloy with crutch or butterfly handle, screwed down, screwed for brass ferrule and fixed 15mm, fancy type, chromium plated with long shank and cup (concealed type), screwed down, high pressure, with crutch or butterfly handle, screwed both ends for iron pipe or for unions and fixed, etc all complete as directed by EIC. | 34.00 | Each | 676.44 | 575.00 | 19550.00 | 640.00 | 21760.00 | 600.00 | 20400.00 | 19550.00 | M/s R R ELECTRICALS
49.10 | S&F Chromium plated shower roses with or without swivel joints, any size, including fixing to steel pipe or union, etc all complete as directed by EIC. | 23.00 | Each | 97.29 | 280.00 | 6440.00 | 95.00 | 2185.00 | 750.00 | 17250.00 | 2185.00 | K R Constructions
50.10 | S&F sinks made of stainless steel lmm thick kitchen or laboratory with plugs, washers and wastes; including bedding in cement mortar on to dwarf wall or including fixing cantilever brackets and connecting union to pipe, overall size 495mm x 420mm bowl size 410mm x 330mm x 160mm, etc all complete as directed by EIC | 1.00 | Each | 2906.30 | 2650.00 | 2650.00 | 3000.00 | 3000.00 | 7500.00 | 7500.00 | 2650.00 | M/s R R ELECTRICALS
51.10 | M & L for Distempering with oil emulsion two coat (Make: Nerolack/ Asian /Berger) including preparation of wall surface and one coat of primer, etc all complete as directed By EIC. | 1145.00 | Sq.m | 101.50 | 71.00 | 81295.00 | 85.00 | 97325.00 | 80.00 | 91600.00 | 81295.00 | M/s R R ELECTRICALS
52.10 | M & L for Distempering with oil emulsion two coat (Make: Nerolack/ Asian /Berger) including preparation of ceiling surface and one coat of primer, etc all complete as directed By EIC. | 210.00 | Sq.m | 116.10 | 83.00 | 17430.00 | 110.00 | 23100.00 | 140.00 | 29400.00 | 17430.00 | M/s R R ELECTRICALS
53.10 | M & L for Distempering with cement paint two coat (Make: Nerolack/ Asian /Berger) including preparation of surface and one coat of primer, etc all complete as directed By EIC. | 99.00 | Sq.m | 105.20 | 88.00 | 8712.00 | 95.00 | 9405.00 | 90.00 | 8910.00 | 8712.00 | M/s R R ELECTRICALS
54.10 | Providing Grill for Windows and ventilator, etc all complete as directed by EIC | 202.00 | KG | 164.86 | 148.00 | 29896.00 | 135.00 | 27270.00 | 93.00 | 18786.00 | 18786.00 | JAYPEE ENTERPRISES
55.10 | S & F for Point Wiring One light point or one fan point controlled by one switch with cable 1.5 sq.mm in casing and caping, etc all complete as directed by EIC. | 70.00 | per point | 721.31 | 598.00 | 41860.00 | 700.00 | 49000.00 | 900.00 | 63000.00 | 41860.00 | M/s R R ELECTRICALS
56.10 | S & F Ceiling rose, 3 phase/PVC/ polycarbonate, isolated body, etc all complete as directed by EIC. | 70.00 | Each | 65.70 | 31.00 | 2170.00 | 60.00 | 4200.00 | 45.00 | 3150.00 | 2170.00 | M/s R R ELECTRICALS
57.10 | S & F PVC rectangular block for mounting ,switches, sockets, fan regulator etc with 3mm thick plastic laminated sheet cover of size 250x200x50mm deep, etc all complete as directed by EIC. | 17.00 | Each | 151.80 | 110.00 | 1870.00 | 140.00 | 2380.00 | 750.00 | 12750.00 | 1870.00 | M/s R R ELECTRICALS
58.10 | S & F PVC rectangular block for mounting ,switches, sockets, fan regulator etc. with 3mm thick plastic laminated sheet cover of size 100x100x50mm deep, etc all complete as directed by EIC. | 17.00 | Each | 91.10 | 58.00 | 986.00 | 90.00 | 1530.00 | 500.00 | 8500.00 | 986.00 | M/s R R ELECTRICALS
59.10 | S & F Switch Piano, flush type single pole, one way 5 Amp (Anchor/Havells /Crabtree/Roma make), etc all complete as directed by EIC. | 70.00 | Each | 120.80 | 28.00 | 1960.00 | 120.00 | 8400.00 | 150.00 | 10500.00 | 1960.00 | M/s R R ELECTRICALS
60.10 | S & F Socket out let 2in1, 3 pin 5A (Anchor/Havells/ Crabtree/ Roma), etc all complete as directed by EIC. | 32.00 | Each | 130.10 | 43.00 | 1376.00 | 120.00 | 3840.00 | 300.00 | 9600.00 | 1376.00 | M/s R R ELECTRICALS
61.10 | Supply and fix exhaust fan made of sturdy Engineering plastic complete with louvers shutter, voltage 230V, 50 Hz, RPM 1200, Copper winding of sweep 300m (Bajaj/Cromptor/ Havells/Philips), etc all complete as directed by EIC. | 23.00 | Each | 2535.38 | 1960.00 | 45080.00 | 2100.00 | 48300.00 | 3800.00 | 87400.00 | 45080.00 | M/s R R ELECTRICALS
62.10 | Credit Item:-Dismantled Grill, etc all complete as directed by EIC. | 906.00 | KG | 22.22 | 18.00 | -16308.00 | 20.00 | -18120.00 | 8.00 | -7248.00 | -18120.00 | K R Constructions
63.10 | Credit Item:-Dismantled Window, etc all complete as directed by EIC. | 93.00 | Each | 911.11 | 315.00 | -29295.00 | 525.00 | -48825.00 | 75.00 | -6975.00 | -48825.00 | K R Constructions
| Total in Figures |  |  |  |  | 4632743.00 |  | 4395475.00 |  | 4519795.00
Lowest Amount Quoted BY: K R Constructions(4395475.00)

## BOQ Summary
BOQ Summary Details Tender Title: REPAIRING OF ROOMS OF GANGA AND KAVERI HOSTEL AND OLD DINING HALL- AT IOLAM HOSTEL Tender ID: 2025_AVNL_239559_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | K R Constructions (BID ID -871581) | 4395475.00 | L1
| 2 | JAYPEE ENTERPRISES (BID ID -871536) | 4519795.00 | L2
| 3 | M/s R R ELECTRICALS (BID ID -869350) | 4632743.00 | L3