## BoQ1
Government eProcurement System Created By: RAJESH R Created Date/Time: 08-Sep-2025 09:46 AM Tender Title: CONSTRUCTION OF LAB. FACILITY, MACHINE PITS REPAIRS AND CONSTRUCTION OF TURRET STORES IN TANK SHOP AREA OF HVF, AVADI Tender ID: 2025_AVNL_240642_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: CONSTRUCTION OF LAB. FACILITY, MACHINE PITS REPAIRS AND CONSTRUCTION OF TURRET STORES IN TANK SHOP AREA OF HVF, AVADI
Tender No: HVF/TE/13025/CEO/2025-26/23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s.MSK Construction (GSTN-33EDTPS7287F1ZQ) BID ID -880793 |  | MNM Construction (GSTN-NA) BID ID -876753 |  | DEEPAM ENTERPRISES (GSTN-NA) BID ID -883271 |  | P S G CONSTRUCTIONS (GSTN-NA) BID ID -876644
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | M & L for cutting down the branches and Grubbing up tree trunk including cutting of trunk portion protruding over ground, digging out roots, filling holes and leveling off ground, stacking of serviceable material and removing of unserviceable material to a distance n exc. 50 m and clearing site (girth exc 30 cm and n.exc. 100cm) | 5.00 | Each | 2132.79 | 2100.00 | 10500.00 | 2200.00 | 11000.00 | 1935.00 | 9675.00 | 2000.00 | 10000.00 | 9675.00 | DEEPAM ENTERPRISES
2.00 | Excavating in post holes in Hard/dense soils (or similar holes) each n exc 0.5 cu.m, getting out, returning,filling in and ramming earth or broken rubble mixed with eart around,in layers not exceeding25cm, | 22.00 | Each | 438.61 | 435.00 | 9570.00 | 385.00 | 8470.00 | 400.00 | 8800.00 | 700.00 | 15400.00 | 8470.00 | MNM Construction
3.00 | Earth work excavation in hard/ dense soil for foundation width and depth not exceeding 1.50m and getting out. | 50.00 | Cum | 776.25 | 770.00 | 38500.00 | 715.00 | 35750.00 | 705.00 | 35250.00 | 775.00 | 38750.00 | 35250.00 | DEEPAM ENTERPRISES
4.00 | Demolition of cement concrete(unreinforced ) in of any thickness including plastering | 70.00 | Cum | 1876.00 | 1865.00 | 130550.00 | 1650.00 | 115500.00 | 1650.00 | 115500.00 | 1800.00 | 126000.00 | 115500.00 | MNM Construction, DEEPAM ENTERPRISES
5.00 | Demolition of cement concrete(reinforced ) in of any thickness including plastering | 20.00 | Cum | 2166.26 | 2155.00 | 43100.00 | 1815.00 | 36300.00 | 1920.00 | 38400.00 | 2100.00 | 42000.00 | 36300.00 | MNM Construction
6.00 | Demolition of brick work or stone / boulder masonry built in cement mortar or cement lime mortar. | 6.00 | CUM | 1888.23 | 675.00 | 4050.00 | 605.00 | 3630.00 | 1600.00 | 9600.00 | 1800.00 | 10800.00 | 3630.00 | MNM Construction
7.00 | Dismantling structural steel work including doors, windows, ventilators, gates but excluding framed truss etc and handing over to CE store. | 250.00 | Per Quintal | 717.14 | 715.00 | 178750.00 | 687.00 | 171750.00 | 650.00 | 162500.00 | 717.00 | 179250.00 | 162500.00 | DEEPAM ENTERPRISES
8.00 | Taking down plastering cement lime or cement mortar | 50.00 | SQM | 33.18 | 33.00 | 1650.00 | 27.00 | 1350.00 | 30.00 | 1500.00 | 70.00 | 3500.00 | 1350.00 | MNM Construction
9.00 | Taking up or down Taking up 200mm cast iron water mains (including all fittings),with spigot and socket ends and lead joints including burning out joints and recovering lead→ or removal to CE store.(Including all accessories). | 11.00 | RM | 149.50 | 150.00 | 1650.00 | 137.00 | 1507.00 | 125.00 | 1375.00 | 150.00 | 1650.00 | 1375.00 | DEEPAM ENTERPRISES
10.00 | Refixing Fabrication plates (plain or chequered) channels ,square cut or notched(ordinary and counter sunk)forming holes with out any attchment | 14000.00 | Kg | 19.00 | 22.00 | 308000.00 | 69.00 | 966000.00 | 20.50 | 287000.00 | 19.00 | 266000.00 | 266000.00 | P S G CONSTRUCTIONS
11.00 | Roughening surfaces of old concrete floor by picking, sweeping clean and washing down with water to remove dust, etc. | 180.00 | Sqm | 40.71 | 40.00 | 7200.00 | 35.00 | 6300.00 | 30.00 | 5400.00 | 40.00 | 7200.00 | 5400.00 | DEEPAM ENTERPRISES
12.00 | M&L for Epoxy bonding agent for applying in the old damaged concrete vertical surface to facilitate bonding with fresh concrete .The bonding agent should be brushed applied on the prepared surface and pouring concrete should be done when it is tacky.The make Fosroc,Master Builder,STP (or) Suitably equivalent make is only acceptable.The make should be approved by GE/EIC.The application methodology should be submitted to EIC. The application area alone will be taken for measurement. | 75.00 | Sqm | 93.00 | 105.00 | 7875.00 | 880.00 | 66000.00 | 95.00 | 7125.00 | 93.00 | 6975.00 | 6975.00 | P S G CONSTRUCTIONS
13.00 | Earth work excavation in hard/dense soil , width and depth n.exc 1.50m and getting out of moorum/red bajiri from borrow pits for floors or pavings, Removal of excavated soils lead exceeding exc. 1.50 km but n exc. 5 km and depositing where directed. and refilling of soil / loose including spreading, laid in layers n exc. 25 cm thick leveling, watering and well ramming in layers where directed. | 550.00 | CUM | 1723.51 | 1500.00 | 825000.00 | 1375.00 | 756250.00 | 1520.00 | 836000.00 | 1710.00 | 940500.00 | 756250.00 | MNM Construction
14.00 | Material and labour for hard core of gauge not exceeding 63 mm deposited, spread and levelled in layers not exceeding 15 cms thick watered and rammed to through surface. | 150.00 | CUM | 2381.42 | 2370.00 | 355500.00 | 2310.00 | 346500.00 | 2250.00 | 337500.00 | 2500.00 | 375000.00 | 337500.00 | DEEPAM ENTERPRISES
15.00 | Material and labour for sand filling in foundation including watering and consolidation. | 9.00 | Cum | 2270.45 | 2260.00 | 20340.00 | 1980.00 | 17820.00 | 1850.00 | 16650.00 | 2500.00 | 22500.00 | 16650.00 | DEEPAM ENTERPRISES
16.00 | M & L for P.C.C 1:3:6, C-2 type using 40mm graded aggregated in foundation, grouting of steel structures. | 165.00 | Cum | 6741.30 | 6710.00 | 1107150.00 | 7150.00 | 1179750.00 | 5695.00 | 939675.00 | 6600.00 | 1089000.00 | 939675.00 | DEEPAM ENTERPRISES
17.00 | M & L for providing RCC M20 Concrete (1:1.5:3) in Foundations, including rafts, footings, foundation beams; plinth beams; bases for columns, etc.; basement slabs, under-reamed piles and mass concrete | 55.00 | Cum | 8498.41 | 7095.00 | 390225.00 | 8250.00 | 453750.00 | 7900.00 | 434500.00 | 9400.00 | 517000.00 | 390225.00 | M/s.MSK Construction
18.00 | M & L for providing RCC M20 Concrete (1:1.5:3) in Columns, pillars, piers, posts and struts | 4.00 | Cum | 9546.27 | 9500.00 | 38000.00 | 9350.00 | 37400.00 | 8515.00 | 34060.00 | 9800.00 | 39200.00 | 34060.00 | DEEPAM ENTERPRISES
19.00 | M & L for providing RCC M20 Concrete (1:1.5:3) in Columns, pillars, piers, posts and struts and Lintels | 35.00 | CUM | 9077.53 | 9030.00 | 316050.00 | 9350.00 | 327250.00 | 8100.00 | 283500.00 | 9800.00 | 343000.00 | 283500.00 | DEEPAM ENTERPRISES
20.00 | M & L for providing RCC M20 Concrete (1:1.5:3) chajjas | 4.00 | Cum | 9701.34 | 9650.00 | 38600.00 | 9900.00 | 39600.00 | 8400.00 | 33600.00 | 9900.00 | 39600.00 | 33600.00 | DEEPAM ENTERPRISES
21.00 | M & L for providing RCC M20 Concrete (1:1.5:3) in Slabs supported on walls, beams and columns in floors, roofs, landings, balconies, canopies, deck slabs and in shelves and the like | 15.00 | Cum | 8208.36 | 8165.00 | 122475.00 | 8800.00 | 132000.00 | 7050.00 | 105750.00 | 9500.00 | 142500.00 | 105750.00 | DEEPAM ENTERPRISES
22.00 | M & L for Formwork to FLAT sides of concrete foundations, footings, bases of columns, raft and raft beams, sides and soffits (if any) of foundation and plinth beams; and similar work; vertical or to batter Add for fair surfaces of finished | 250.00 | SQM | 456.68 | 454.00 | 113500.00 | 495.00 | 123750.00 | 400.00 | 100000.00 | 456.00 | 114000.00 | 100000.00 | DEEPAM ENTERPRISES
23.00 | M & L for Formwork to FLAT sides of pillars, posts, struts, piers, columns and stanchions, Lintels Add for fair surfaces of finished | 120.00 | SQM | 624.67 | 620.00 | 74400.00 | 660.00 | 79200.00 | 540.00 | 64800.00 | 624.00 | 74880.00 | 64800.00 | DEEPAM ENTERPRISES
24.00 | M & L for Formwork to sides of pillars, posts, struts, piers, columns and stanchions | 55.00 | SQM | 780.24 | 775.00 | 42625.00 | 660.00 | 36300.00 | 628.00 | 34540.00 | 780.00 | 42900.00 | 34540.00 | DEEPAM ENTERPRISES
25.00 | M & L for Formwork to chullah hoods, chajjas, troughs and similar items including edges | 30.00 | SQM | 787.31 | 785.00 | 23550.00 | 660.00 | 19800.00 | 690.00 | 20700.00 | 780.00 | 23400.00 | 19800.00 | MNM Construction
26.00 | Material and Labour for Cutting out bricks, forming toothing for, and bonding new into old work including value of new mat erials entering old walls and jointing and pointing (measured on vertical face in contact with old wall only)cement mortar 1:4. | 110.00 | SQM | 736.46 | 730.00 | 80300.00 | 660.00 | 72600.00 | 510.00 | 56100.00 | 736.00 | 80960.00 | 56100.00 | DEEPAM ENTERPRISES
27.00 | Supply and application of seamless Polyurethane (PU) based elastomeric coating exposable to atmosphere. The work consisting:- a) Supply &Application of PU based primer minimum of 100gms per SQM. b) supply and application of seamless PU based elastomeric coating over a primer coat to achieve a thickness of 1.5 mm DFT in two coats, with an application rate of minimum 2.1 kg/Sq.M, having minimum solid content (ASTM 836) of more than 85% and elongation also more than 400%. c) Supply & Application of Protective UV top coat @ 0.25 kg/sq.m. (The Contractor Shall use the material from the reputed manufacturers such as "Master Builders Solutions", "MYK Arment", "Dr. Fixit", "Alchimica", "Bostik" and "Tecnopol" (or) Suitably equivalent make and as approved by EIC) | 95.00 | SQM | 1110.00 | 1270.00 | 120650.00 | 1500.00 | 142500.00 | 1150.00 | 109250.00 | 1700.00 | 161500.00 | 109250.00 | DEEPAM ENTERPRISES
28.00 | Supply and fixing of mild steel reinforcement TMT bars 10mm dia and over including bending, cranking, hooking and tieing with mild steel wire not less than 0.90mm dia. | 3800.00 | KG | 94.99 | 95.00 | 361000.00 | 110.00 | 418000.00 | 85.00 | 323000.00 | 97.00 | 368600.00 | 323000.00 | DEEPAM ENTERPRISES
29.00 | Supply and fixing of mild steel reinforcement TMT bars 8mm dia to 6 mm dia including bending, cranking, hooking and tieing with mild steel wire not less than 0.90mm dia. | 6300.00 | KG | 97.23 | 95.00 | 598500.00 | 110.00 | 693000.00 | 88.00 | 554400.00 | 98.00 | 617400.00 | 554400.00 | DEEPAM ENTERPRISES
30.00 | M & L for Brick work with subclass ‘B’ bricks, straight or curved on plan exc 6m mean radius, built In cement mortor 1:6 | 95.00 | CUM | 6950.00 | 7950.00 | 755250.00 | 8250.00 | 783750.00 | 7150.00 | 679250.00 | 7700.00 | 731500.00 | 679250.00 | DEEPAM ENTERPRISES
31.00 | Material & labour for plastering with CM(1:4) 12mm thick celling plastering | 90.00 | SQM | 291.77 | 275.00 | 24750.00 | 250.00 | 22500.00 | 265.00 | 23850.00 | 330.00 | 29700.00 | 22500.00 | MNM Construction
32.00 | M & L Forming jambs Cement mortar 1:4,Making good under cills or over arches, lintels and bressummers including allpinning when necessary | 10.00 | Sqm | 817.19 | 815.00 | 8150.00 | 715.00 | 7150.00 | 600.00 | 6000.00 | 810.00 | 8100.00 | 6000.00 | DEEPAM ENTERPRISES
33.00 | M&L for dubbing in CM1:4, 10mm thick on add two 5 mm thickness over or under 10mm thicknessof old brick work /concrete surfaces. | 65.00 | SQM | 336.56 | 250.00 | 16250.00 | 350.00 | 22750.00 | 270.00 | 17550.00 | 360.00 | 23400.00 | 16250.00 | M/s.MSK Construction
34.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of brick work, concrete surfaces and Door & Window Jamb plastering. | 1050.00 | SQM | 302.59 | 300.00 | 315000.00 | 275.00 | 288750.00 | 259.00 | 271950.00 | 360.00 | 378000.00 | 271950.00 | DEEPAM ENTERPRISES
35.00 | M & L for providing a cement concrete layer average thickness 40mm using B-0 type concrete and Including finishing Add for each extra 15mm thick | 198.00 | Sqm | 341.78 | 390.00 | 77220.00 | 350.00 | 69300.00 | 310.00 | 61380.00 | 420.00 | 83160.00 | 61380.00 | DEEPAM ENTERPRISES
36.00 | Supply and fixing of Glass dividing strips, 3 mm,22 MM | 110.00 | Rm | 14.03 | 14.00 | 1540.00 | 11.00 | 1210.00 | 13.00 | 1430.00 | 15.00 | 1650.00 | 1210.00 | MNM Construction
37.00 | Material and Labour for providing and laying RMC of design mix cement concrete of M-30 Grade (with steel fibres) with vaccum dewatering system(measured seperately in Sqm) in road/pavements/carriageways, using cement content as per desigh mix with minimum 450 Kg per Cum, using coarse sand and graded stone aggreagte of 25mm nominal size and other admixtures, plasticizers and fly ash/GGBS in approriate proportions as per approved & speciffied design mix criteria, providing dowel bars with sleeve/tie bars wherever required, laying at site spreading and compacting mechanically by using needle and surface vibrators , levelling to required slope/camber finishing with required texture and floating opearations including high tensile steel wire fibres of diameter not exceeding 0.456mm and length exceeding 50mm blended with ready mix concrete at plant at the rate of 7kg/cum and metallic hardener at the rate of 1 kg per 50 kgs of cement and making provision for contraction /expansion , construction & longitudinal joints(10mm widex50mm deep) by groove cutting machine, providing and filling joints with approved joint filler and sealants complete all as per direction of Engineer-in-charge(Item of joint fillers, sealants, dowel bars with sleever/tie bars to be paid seperately) The RMC plant shall be of Fully automatic plant and shall confirm to the IS 4926-2003 and IS 4925-2004. | 275.00 | CUM | 10500.00 | 11900.00 | 3272500.00 | 9350.00 | 2571250.00 | 10800.00 | 2970000.00 | 10500.00 | 2887500.00 | 2571250.00 | MNM Construction
38.00 | Material and Labour for providing Vaccum dewatering method to remove excess water from the laid concrete and filler pad and suction mat shall be laid on the freshly laid concrete which will not allow cement paster to flow out, and the suction pump are then started immediately to remove the excess water. The suction time normally is 20 to 30 minutes or as specified and as required and making the surface hard enough to enable to carry the floating operations for 200 mm thick slab including finishing the top surface with mechanical trowel) The finished surface should be smooth & even. | 1300.00 | SQM | 150.00 | 170.00 | 221000.00 | 55.00 | 71500.00 | 165.00 | 214500.00 | 380.00 | 494000.00 | 71500.00 | MNM Construction
39.00 | Material and Labour for Non Metallic floor Hardner of pure carborandum based for concrete road surfaces the application and proportions are as per the manufacturer specifications. Make: Master Builders Solutions,MYK Arment ,Da Fixit , Fosroc ,Bostik ,/Alchemica and Tecnopol (or) Suitably equivalent make and as approved by EIC). | 1300.00 | SQM | 384.00 | 440.00 | 572000.00 | 55.00 | 71500.00 | 360.00 | 468000.00 | 380.00 | 494000.00 | 71500.00 | MNM Construction
40.00 | Supply and Fixing of PVC tiles/ sheets of 3 mm thick ,laminated plain coloured, marbled mosaic or mottled finish, laid with approved rubber based adhesive in floors | 170.00 | sqm | 1342.17 | 1335.00 | 226950.00 | 1210.00 | 205700.00 | 1250.00 | 212500.00 | 1300.00 | 221000.00 | 205700.00 | MNM Construction
41.00 | Supply and Fixing of framed work using Fe 410 -W A quality mild rolled steel tube,angles,plates etc. inculding cutting,welding and grouting in the brick work etc complete. | 20850.00 | KG | 144.97 | 145.00 | 3023250.00 | 137.50 | 2866875.00 | 130.00 | 2710500.00 | 175.00 | 3648750.00 | 2710500.00 | DEEPAM ENTERPRISES
42.00 | S&F of Pre-painted galvalume aluminium zinc coating GI based corugatted steel sheet 0.50mm (TCT) thick of an colour having tensile strength of 550Mpa as in roof covering/cladding to wall fixed with self drilling / self tapping anti corrisive screws with EPDM seal complete all as per manfacturers specifications and instructions and as approved and as directed by EIC | 230.00 | Sq.m | 882.06 | 875.00 | 201250.00 | 825.00 | 189750.00 | 755.00 | 173650.00 | 870.00 | 200100.00 | 173650.00 | DEEPAM ENTERPRISES
43.00 | S&F of Pre-painted galvalume aluminum zinc coating GI based Plain steel sheet 0.50mm thick of any colour having tensile strength of 550 Mpa as in roof covering/cladding to wall fixed with self drilling / self tapping anti corrisive screws with EPDM seal complete all as per manfacturers specifications and instructions and as approved and as directed by EIC | 40.00 | Sq.m | 824.56 | 875.00 | 35000.00 | 165.00 | 6600.00 | 707.00 | 28280.00 | 820.00 | 32800.00 | 6600.00 | MNM Construction
44.00 | M & L for painting to steel surfaces of any description, over 10cm in width or girth,with two coats of synthetic enamel paint over a coat of Red oxide Zinc chromium primer including preparing new surfaces. | 350.00 | SQM | 162.50 | 140.00 | 49000.00 | 132.00 | 46200.00 | 135.00 | 47250.00 | 160.00 | 56000.00 | 46200.00 | MNM Construction
45.00 | Providing and fixing factory made uPVG white colour Sliding window Three track made of extruded profiles with wall thickness of 2.3mm (+ -0.2mm). Window profile with hollow section with multi chamber. Frame (88mm x 52mm), sliding sash (42mm x 67mm). Sliding mesh Sash (42mm x 57mm) Sliding interlock (One vertical length in each shutters) (45.5mm x 28mm), Glazing bead (24.5mm x 16mm) will be miterd cut and fusion welded at all corners, including drilling of holes for fixing hardware and drainage of water etc., making arrangement for fixing of hardware. EPDM gasket, 1.2+ -0.2mm thick galvanised steel Frame (30mm x 18mm) 2 nos, sliding sash (30mm x 18mm), sliding mesh sash (26mm x 10mm) profile to be inserted in required profile, frame will be fixed to the wall with 8mm x 100mm long fasteners, Hardware [Touch Lock of zinc alloyed (white powder coated), steel roller system. Stainless steel wire cloth 0.36mm nominal dia of wire and average width of aperture 1.40mm and required accessories. (Note: The unit rate quoted by contractor excludes cost of glass and includes all other connected accessories. Net Opening will be measured for payment purpose.) (B) Area not exceeding 2.00 sqm each and includes all fittings as directed by EIC) | 10.00 | SQM | 11065.82 | 12900.00 | 129000.00 | 12100.00 | 121000.00 | 9200.00 | 92000.00 | 9600.00 | 96000.00 | 92000.00 | DEEPAM ENTERPRISES
46.00 | S & F of 5.5mm Sheet glass, ordinary quality and glazing rubber beading with in square exceeding 0.5 sq. m in each pane as required for the aluminium partition. | 40.00 | SQM | 1385.72 | 1525.00 | 61000.00 | 1375.00 | 55000.00 | 1050.00 | 42000.00 | 1250.00 | 50000.00 | 42000.00 | DEEPAM ENTERPRISES
47.00 | S & F of Solar control film 50 micron reflective type sticked to glass panes as per instructions of manufacturers | 46.00 | sq.M | 864.11 | 860.00 | 39560.00 | 770.00 | 35420.00 | 740.00 | 34040.00 | 850.00 | 39100.00 | 34040.00 | DEEPAM ENTERPRISES
48.00 | Supply and fixing of Gl frame work for seamless ceiling comprising of Gl perimeter channnel 0.55 mm thick with two unequal flanges of 20 and 30 mm and web of 27 mm fixed to surrounding wall using nylon sleeves and screws at 450 mm centre to centre/intermediate channel 0.9 mm thick having two equal flanges of 15 mm each and web of 45 mm suspended from soffit at approx 900 mm centre to centre with Gl cleat and steel expansion fasteners with and including ceiling section (not exc 1.2 m length) of 0.55 mm thickness having kurled web of 50 mm and flange of 26 mm each with lips of 10.5 mm fixed to the intermediate channel with connecting clips across the intermediate channel at 457 mm centre to centre. including Hangers 6 mm dia. G.I. (upto 1200mm length) adjusting level fixed to roof slabs by means of ceilling cleats made out of G.I. flat 40 x 3 mm size 60mm long and expansion hold fasteners 12.5mm dia. 40mm long complete all as specified. | 95.00 | SQM | 684.51 | 685.00 | 65075.00 | 632.00 | 60040.00 | 498.00 | 47310.00 | 684.00 | 64980.00 | 47310.00 | DEEPAM ENTERPRISES
49.00 | S&F of 10 mm thick plaster of paris ceiling with curved surfaces (Gypsum anhydrous) to flat surface over 2nd class soft wood fillets, or metal frame work and reinforced with G.I. wire mesh, for any sunk or raised moulding . | 95.00 | SQM | 2106.92 | 1700.00 | 161500.00 | 1925.00 | 182875.00 | 1715.00 | 162925.00 | 1500.00 | 142500.00 | 142500.00 | P S G CONSTRUCTIONS
50.00 | Material and Labour for providing cornice to the false ceiling at the coreners 15cm width and apply of neeru finish/putty and one coat of primer and coats of plastic emulsion complete as directed by EIC. | 40.00 | RM | 600.00 | 685.00 | 27400.00 | 385.00 | 15400.00 | 475.00 | 19000.00 | 600.00 | 24000.00 | 15400.00 | MNM Construction
51.00 | Material and labour for 20 mm thick Granite (of any type) work (table rubbed and polished) in floor platforms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite. | 6.00 | SQM | 5961.26 | 5930.00 | 35580.00 | 5225.00 | 31350.00 | 5000.00 | 30000.00 | 5600.00 | 33600.00 | 30000.00 | DEEPAM ENTERPRISES
52.00 | Material and labour for Providing edge moulding to18-20mm thick stone of counters vanities etc. including machine polishing to edge to give high gloss finish etc. completemaking nosing /Rounding to edges of Granite stone slabs one edge, such as in steps, platform, skirts, and othersimilar situations complete as direction by EIC. | 10.00 | RM | 432.69 | 135.00 | 1350.00 | 5775.00 | 57750.00 | 345.00 | 3450.00 | 430.00 | 4300.00 | 1350.00 | M/s.MSK Construction
53.00 | S & F of Anodised aluminium frame for Partition, doors, windows, ventilators with one or more rebates including joining cleat for fixing etc. complete all as specified for powder coating of any colour (Thickness or powder coating not less than 50 micron) | 352.00 | KG | 628.95 | 625.00 | 220000.00 | 550.00 | 193600.00 | 596.00 | 209792.00 | 690.00 | 242880.00 | 193600.00 | MNM Construction
54.00 | Supply and Fixing of Anodised aluminium door shutters,for powder coating of any colour (Thickness or powder coating not less than 50 micron) aluminium section weighing 0.55 kg/m including necessary joining cleats,glazing clips, ruber neoprene packing, handles 2 Nos in each door, hinges, anodised aluminum snap beading screws etc. .complete all as specified | 25.00 | SQM | 1662.62 | 1650.00 | 41250.00 | 1375.00 | 34375.00 | 1580.00 | 39500.00 | 1900.00 | 47500.00 | 34375.00 | MNM Construction
55.00 | Supply & fixing of 150mm Aluminum anodized barrel tower bolts of extruded section fixed. | 12.00 | Each | 88.32 | 89.00 | 1068.00 | 82.00 | 984.00 | 75.00 | 900.00 | 88.00 | 1056.00 | 900.00 | DEEPAM ENTERPRISES
56.00 | S & F of 125mm butt hinges, extruded Aluminum alloy type B-21with galvanised mild steel hinge pin. | 18.00 | Each | 308.66 | 310.00 | 5580.00 | 275.00 | 4950.00 | 250.00 | 4500.00 | 308.00 | 5544.00 | 4500.00 | DEEPAM ENTERPRISES
57.00 | S & F of 150mm Aluminum Handles cast rod type, anodized | 12.00 | Each | 87.29 | 85.00 | 1020.00 | 82.00 | 984.00 | 75.00 | 900.00 | 87.00 | 1044.00 | 900.00 | DEEPAM ENTERPRISES
58.00 | S & F of Mild steel Rebated mortice lock, vertical type, size 100 mm 4 levre | 4.00 | Each | 487.95 | 485.00 | 1940.00 | 440.00 | 1760.00 | 420.00 | 1680.00 | 487.00 | 1948.00 | 1680.00 | DEEPAM ENTERPRISES
59.00 | S & Fixing of door closer hydrauliclically regulated, designation no.1, universal type, suitable for door shutters upto 700mm in width and of weight not more than 35 kg and fixed with aluminium (extruded section body) | 10.00 | Each | 1339.18 | 1335.00 | 13350.00 | 1210.00 | 12100.00 | 1150.00 | 11500.00 | 1800.00 | 18000.00 | 11500.00 | DEEPAM ENTERPRISES
60.00 | Supply and fixing of aluminium door stopper 150mm of aluminium body and tongue anodised with hard drawn steel spring fixed in floors. | 10.00 | Each | 116.84 | 115.00 | 1150.00 | 110.00 | 1100.00 | 95.00 | 950.00 | 110.00 | 1100.00 | 950.00 | DEEPAM ENTERPRISES
61.00 | M & L of 12mm thick Prelaminated particle board, interior grade, prelaminated on both sides with decorative choice lamination fixed with screws to timber frame work or Aluminum farme work | 100.00 | Sqm | 979.80 | 975.00 | 97500.00 | 880.00 | 88000.00 | 860.00 | 86000.00 | 1000.00 | 100000.00 | 86000.00 | DEEPAM ENTERPRISES
62.00 | Supply and fixing of anodised aluminium snap grid of size 605 x 605mm frame work for false ceiling all as specified. | 180.00 | SQM | 562.68 | 560.00 | 100800.00 | 495.00 | 89100.00 | 469.00 | 84420.00 | 562.00 | 101160.00 | 84420.00 | DEEPAM ENTERPRISES
63.00 | Material and labour for 12mm thick perforated particle board/ tiles for insulation and accoustic purposes, 60 x 60cm in size fixed in nails to timber frame or with staples on snap grid in ceilings | 180.00 | SQM | 617.62 | 615.00 | 110700.00 | 550.00 | 99000.00 | 540.00 | 97200.00 | 617.00 | 111060.00 | 97200.00 | DEEPAM ENTERPRISES
64.00 | S& F of PVC pipes singele socketed in any length with joints fixed to walls (200 mm) each pipe 6m length. | 35.00 | EACH | 6500.00 | 7435.00 | 260225.00 | 660.00 | 23100.00 | 6500.00 | 227500.00 | 9000.00 | 315000.00 | 23100.00 | MNM Construction
65.00 | S& F of PVC tee 10kg 200 mm dia any radius. | 3.00 | EACH | 1300.00 | 1490.00 | 4470.00 | 880.00 | 2640.00 | 1300.00 | 3900.00 | 1500.00 | 4500.00 | 2640.00 | MNM Construction
66.00 | S& F of PVC elbow 10kg 200 mm dia any radius. | 3.00 | EACH | 1250.00 | 1430.00 | 4290.00 | 715.00 | 2145.00 | 1250.00 | 3750.00 | 1300.00 | 3900.00 | 2145.00 | MNM Construction
67.00 | S& F of PVC coupler 10kg 200 mm dia any radius. | 3.00 | EACH | 600.00 | 685.00 | 2055.00 | 495.00 | 1485.00 | 600.00 | 1800.00 | 700.00 | 2100.00 | 1485.00 | MNM Construction
68.00 | Material & labour for white washing on ceilling with two coat including preparation of new ceilling surface | 125.00 | SQM | 24.73 | 30.00 | 3750.00 | 27.00 | 3375.00 | 21.00 | 2625.00 | 25.00 | 3125.00 | 2625.00 | DEEPAM ENTERPRISES
69.00 | S & F of Framed work such as grills, gratings, etc.. with ends of bars shouldered and/or riveted, or forged into spikes; framed guard bars; barred iron doors; ladders; framed balusters; walk ways; railings; framework of water tanks and similar work for portions framed and hung asgates, including pintle hinges, stops,hand made sliding bolts, etc conforming to Fe.290.Gde-E-16 | 110.00 | KG | 229.87 | 230.00 | 25300.00 | 192.00 | 21120.00 | 210.00 | 23100.00 | 229.00 | 25190.00 | 21120.00 | MNM Construction
70.00 | M&L for applying for single coat of alkali resistant priming paint including preparation of Ceiling surfaces with 3mm thick wall care putty on gypsum board Ceiling (Make shall be of JK white putty or Birla white wall care putty)(or) Suitably equivalent make. | 370.00 | SQM | 154.07 | 145.00 | 53650.00 | 137.00 | 50690.00 | 145.00 | 53650.00 | 190.00 | 70300.00 | 50690.00 | MNM Construction
71.00 | M&L for applying for single coat of alkali resistant priming paint including preparation wall surface with 3mm thick wall care putty on wall (Make shall be of JK white putty or Birla white wall care putty)(or) Suitably equivalent make | 600.00 | SQM | 138.39 | 140.00 | 84000.00 | 121.00 | 72600.00 | 110.00 | 66000.00 | 190.00 | 114000.00 | 66000.00 | DEEPAM ENTERPRISES
72.00 | Material and labour for applying two coat of interior plastic emulsion on internal wall/gypsum board Ceiling surfaces, MAKE:- ASIAN, NEROLAC, BERGER (or) Suitably equivalent make | 600.00 | SQM | 116.84 | 115.00 | 69000.00 | 104.00 | 62400.00 | 90.00 | 54000.00 | 116.00 | 69600.00 | 54000.00 | DEEPAM ENTERPRISES
73.00 | Material and labour for two coats of exterior emulsion paint on surfaces of any description over 10cm girth or width, not otherwise described including preparation of new painted surface with one coat of primer. (ASIAN/NEROLAC/BERGER) (or) Suitably equivalent make | 750.00 | SQM | 159.28 | 160.00 | 120000.00 | 121.00 | 90750.00 | 110.00 | 82500.00 | 160.00 | 120000.00 | 82500.00 | DEEPAM ENTERPRISES
74.00 | Returning, filling in Hard/dense soil, including spreading, levelling, watering and well ramming in layers not exc 25 cm. | 30.00 | CUM | 159.97 | 160.00 | 4800.00 | 121.00 | 3630.00 | 130.00 | 3900.00 | 160.00 | 4800.00 | 3630.00 | MNM Construction
75.00 | Removal of excavated soil materials to a lead exceeding 250 m but not exceeding 500 m and depositing where directed including, spreading & leveling | 25.00 | CUM | 669.99 | 370.00 | 9250.00 | 330.00 | 8250.00 | 450.00 | 11250.00 | 650.00 | 16250.00 | 8250.00 | MNM Construction
76.00 | Removal of excavated debris materials to a lead exceeding 250 m but not exceeding 500 m and depositing where directed including, spreading & leveling | 25.00 | CUM | 857.67 | 30.00 | 750.00 | 330.00 | 8250.00 | 690.00 | 17250.00 | 850.00 | 21250.00 | 750.00 | M/s.MSK Construction
77.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. a)one light point or one fan point controlled by one switch with cables1.5 sqmm size. | 56.00 | Point | 1191.30 | 1135.00 | 63560.00 | 1100.00 | 61600.00 | 1050.00 | 58800.00 | 1100.00 | 61600.00 | 58800.00 | DEEPAM ENTERPRISES
78.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. b)One 3 pin socket outlet 5 amps on the same board with other switches, with cables 2.5 sqmm size. | 12.00 | Point | 348.96 | 335.00 | 4020.00 | 275.00 | 3300.00 | 255.00 | 3060.00 | 340.00 | 4080.00 | 3060.00 | DEEPAM ENTERPRISES
79.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. c)One 3 pin socket outlet 5 amps on indepedent with cables 2.5 sqmm size. | 12.00 | Point | 1357.67 | 1300.00 | 15600.00 | 1210.00 | 14520.00 | 1250.00 | 15000.00 | 1350.00 | 16200.00 | 14520.00 | MNM Construction
80.00 | Material & Labour for Switch piano, flush type single pole, one way 16 Amp (Make: Anchor/ Havells/ Legrand) (or) Suitably equivalent make | 12.00 | Each | 262.08 | 250.00 | 3000.00 | 340.00 | 4080.00 | 195.00 | 2340.00 | 260.00 | 3120.00 | 2340.00 | DEEPAM ENTERPRISES
81.00 | Material & Labour for Soket outlet piano, flush type single pole, one way 16 Amp (Make: Anchor/ Havells/ Legrand) (or) Suitably equivalent make | 12.00 | Each | 269.52 | 255.00 | 3060.00 | 220.00 | 2640.00 | 200.00 | 2400.00 | 270.00 | 3240.00 | 2400.00 | DEEPAM ENTERPRISES
82.00 | Supply, laying or fixing with suitable clamps or passing through pipe, XLPE insulated, armoured, heavy duty electric cable with aluminium conductor, 1100 volts grade, cross sectional area 50 sqmm, 3.5core. (Make: Gloster/Nicco/ Havells/ Finolex/ Orbit/ Polycab/ Paragan) (or) Suitably equivalent make | 100.00 | RM | 405.02 | 392.96 | 39296.00 | 360.00 | 36000.00 | 350.00 | 35000.00 | 540.00 | 54000.00 | 35000.00 | DEEPAM ENTERPRISES
83.00 | Material & Labour for Switch piano, flush type single pole, one way 6 Amp (Make: Anchor/ Havells/ Legrand) (or) Suitably equivalent make | 56.00 | Each | 144.96 | 140.00 | 7840.00 | 132.00 | 7392.00 | 70.00 | 3920.00 | 120.00 | 6720.00 | 3920.00 | DEEPAM ENTERPRISES
84.00 | Supply & fixing of socket outlet 2 in 1, 3 pin 6 A flush type (Make: Anchor/ Havells/ Legrand) (or) Suitably equivalent make | 24.00 | Each | 156.12 | 150.00 | 3600.00 | 143.00 | 3432.00 | 110.00 | 2640.00 | 156.00 | 3744.00 | 2640.00 | DEEPAM ENTERPRISES
85.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit a) 2x2.5 sqmm + 1x2.5 sqmm earth wire | 150.00 | RM | 222.25 | 210.00 | 31500.00 | 200.00 | 30000.00 | 175.00 | 26250.00 | 222.00 | 33300.00 | 26250.00 | DEEPAM ENTERPRISES
86.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit b) 2x4.0 sqmm + 1x4.0 sqmm earth wire | 250.00 | RM | 258.00 | 245.00 | 61250.00 | 220.00 | 55000.00 | 203.00 | 50750.00 | 258.00 | 64500.00 | 50750.00 | DEEPAM ENTERPRISES
87.00 | Supply & fixing Single pole and neutral enclosure with a two pin and earth plug and socket complete with one single pole MCB 20 amps 240 VOLTS . (Make: Legrand / Havells /Anchor or suitably equivalent make) | 18.00 | Each | 2181.36 | 2080.00 | 37440.00 | 1925.00 | 34650.00 | 1600.00 | 28800.00 | 2100.00 | 37800.00 | 28800.00 | DEEPAM ENTERPRISES
88.00 | Supply & fixing and connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used Triple pole & neutral 8 way,415 V with 200 Amps rated busbar, (Make: Legrand/Havells / ABB or suitable equivalent make) | 4.00 | Each | 4306.44 | 4105.00 | 16420.00 | 1925.00 | 7700.00 | 3590.00 | 14360.00 | 4300.00 | 17200.00 | 7700.00 | MNM Construction
89.00 | Supply & fixing 415 Volt,10KA 'C' curve MCB of TPN 40 To 100Amps in the MCB DB complete with connection testing and commissioning. (Make :Legrand/ Havells/ C&S or suitable equivalent make) | 10.00 | Each | 2832.89 | 2700.00 | 27000.00 | 2475.00 | 24750.00 | 2500.00 | 25000.00 | 2850.00 | 28500.00 | 24750.00 | MNM Construction
90.00 | Supply & fixing 240 Volt,10KA 'C' curve MCB of single pole 6 to 32Amps in the MCB DB complete with connection testing and commissioning. Make Legrand/Havells/C&S or suitable equivalent make | 60.00 | Each | 352.80 | 335.00 | 20100.00 | 302.00 | 18120.00 | 275.00 | 16500.00 | 290.00 | 17400.00 | 16500.00 | DEEPAM ENTERPRISES
91.00 | Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete (Make: Havells/ Philips/ Wipro/ Bajaj/ CG/ Luker) (or) Suitably equivalent make | 32.00 | Each | 5123.03 | 4855.00 | 155360.00 | 4400.00 | 140800.00 | 4050.00 | 129600.00 | 5000.00 | 160000.00 | 129600.00 | DEEPAM ENTERPRISES
92.00 | Supply and fixing ceiling fans complete with copper winding ,blades, down rods, electronic regulator and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC), IS 374-2019 Make : (Atomberg / Havells/ Halonix or suitable equivalent make) | 16.00 | Each | 3179.36 | 3030.00 | 48480.00 | 2750.00 | 44000.00 | 2810.00 | 44960.00 | 4210.00 | 67360.00 | 44000.00 | MNM Construction
93.00 | Supply and fixing of exhaust fan, steel body AC single Phase. 230V of size 300 mm sweep with, blades, and frame and louvers (Make: Almonard/ Khaitan/ Crompton or Suitably equivalent make) | 10.00 | Each | 4258.31 | 4060.00 | 40600.00 | 3300.00 | 33000.00 | 3500.00 | 35000.00 | 4200.00 | 42000.00 | 33000.00 | MNM Construction
94.00 | Supply & fixing of galvanised steel tubes, medium grade 25mm dia for ceiling fan down rod. | 16.00 | RM | 408.00 | 390.00 | 6240.00 | 357.00 | 5712.00 | 250.00 | 4000.00 | 400.00 | 6400.00 | 4000.00 | DEEPAM ENTERPRISES
95.00 | Supply and laying or fixing or passing through pipe, 1100 volts grade heavy duty cable with XLPE insulated aluminium conductor served with an inner sheathing of PVC tape armoured with galvanised steel wire or tape and overall PVC sheathed 16 sq. mm nominal cross section in service connections stranded conductor 4 core (Make: Gloster/Nicco/ Havells/ Finolex/ Orbit) (or) Suitably equivalent make | 100.00 | RM | 235.20 | 245.00 | 24500.00 | 220.00 | 22000.00 | 170.00 | 17000.00 | 261.00 | 26100.00 | 17000.00 | DEEPAM ENTERPRISES
96.00 | Material and labour for Brick wall cutting chases,pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good,cutting exceeding 20cm girth. | 200.00 | RM | 66.72 | 65.00 | 13000.00 | 55.00 | 11000.00 | 55.00 | 11000.00 | 90.00 | 18000.00 | 11000.00 | MNM Construction, DEEPAM ENTERPRISES
97.00 | supply & fixing of angles in roof trusses (framed), trussed fastenings and heavy bracket framing , L- angle of size 35mmx35mmx5mm , Fe 410-W (Gde-E- 250)quality-A. for fixing down angle by welding with the existing angle at roof for fixing bay light fitting in all the shops | 210.00 | per Kg | 151.27 | 145.00 | 30450.00 | 126.00 | 26460.00 | 110.00 | 23100.00 | 200.00 | 42000.00 | 23100.00 | DEEPAM ENTERPRISES
98.00 | Earection of 75x75x6 cable support (lenth :800 mm ) inculuding breaking of trenchwall and redoing work | 80.00 | No | 885.00 | 1010.00 | 80800.00 | 550.00 | 44000.00 | 805.00 | 64400.00 | 990.00 | 79200.00 | 44000.00 | MNM Construction
99.00 | Removel of existing cable support | 50.00 | No | 530.00 | 630.00 | 31500.00 | 220.00 | 11000.00 | 450.00 | 22500.00 | 530.00 | 26500.00 | 11000.00 | MNM Construction
100.00 | Removel of existing LT cables up to 400 sqmm | 400.00 | RM | 150.00 | 170.00 | 68000.00 | 55.00 | 22000.00 | 110.00 | 44000.00 | 150.00 | 60000.00 | 22000.00 | MNM Construction
101.00 | Laying and clamping of LT Cables upto 400 sqmm | 400.00 | RM | 413.00 | 470.00 | 188000.00 | 110.00 | 44000.00 | 450.00 | 180000.00 | 600.00 | 240000.00 | 44000.00 | MNM Construction
102.00 | Removal of various size of earth stips up to 50x6 | 150.00 | RM | 95.00 | 110.00 | 16500.00 | 55.00 | 8250.00 | 85.00 | 12750.00 | 95.00 | 14250.00 | 8250.00 | MNM Construction
103.00 | Fixing of various size of earth strips upto 50x6 | 150.00 | RM | 212.00 | 240.00 | 36000.00 | 82.00 | 12300.00 | 210.00 | 31500.00 | 240.00 | 36000.00 | 12300.00 | MNM Construction
104.00 | Supply & installation of Inverter split Air Conditioner, cooling capacity: 1.5 Ton, Star Rating: 5 star, copmpressor type variable speed. Material of Evaporator & condensor: copper, including steel stands. (Make : BLUESTAR / VOLTAS / HITACHI / MITSUBHISHI / LG (or) Suitably equivelent Make | 10.00 | Each | 60116.00 | 68775.00 | 687750.00 | 64900.00 | 649000.00 | 59500.00 | 595000.00 | 60000.00 | 600000.00 | 595000.00 | DEEPAM ENTERPRISES
105.00 | Supply & Installation of air cutter of size 5 feet length alongwith its accessories.(Make : BLUESTAR / VOLTAS / HITACHI / MITSUBHISHI / LG (or) Suitably equivelent Make | 2.00 | Each | 50000.00 | 57200.00 | 114400.00 | 44000.00 | 88000.00 | 48000.00 | 96000.00 | 51000.00 | 102000.00 | 88000.00 | MNM Construction
| Total in Figures |  |  |  |  | 17799999.00 |  | 16423741.00 |  | 15967162.00 |  | 18716126.00
Lowest Amount Quoted BY: DEEPAM ENTERPRISES(15967162.00)

## BOQ Summary
BOQ Summary Details Tender Title: CONSTRUCTION OF LAB. FACILITY, MACHINE PITS REPAIRS AND CONSTRUCTION OF TURRET STORES IN TANK SHOP AREA OF HVF, AVADI Tender ID: 2025_AVNL_240642_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DEEPAM ENTERPRISES (BID ID -883271) | 15967162.00 | L1
| 2 | MNM Construction (BID ID -876753) | 16423741.00 | L2
| 3 | M/s.MSK Construction (BID ID -880793) | 17799999.00 | L3
| 4 | P S G CONSTRUCTIONS (BID ID -876644) | 18716126.00 | L4