## BoQ1
Government eProcurement System Created By: DINESH KUMAR V R Created Date/Time: 08-Sep-2025 10:00 AM Tender Title: STRENGTHENING OF GANTRY GIRDER FOR 03 BAYS OF OHA SHOP, CONSTRUCTION OF INSPECTION PITS AT STAGE-I AREA OF OH SHOP, CIVIL AND ELECTRICAL REPAIR WORKS AT OH ANNEX BUILDING AND VERTICAL PARTITION BETWEEN OH(PDN) AND TANK SHOP AT HVF, AVADI Tender ID: 2025_AVNL_240773_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: STRENGTHENING OF GANTRY GIRDER FOR 03 BAYS OF OHA SHOP, CONSTRUCTION OF INSPECTION PITS AT STAGE-I AREA OF OH SHOP, CIVIL AND ELECTRICAL REPAIR WORKS AT OH ANNEX BUILDING AND VERTICAL PARTITION BETWEEN OH(PDN) AND TANK SHOP AT HVF, AVADI.
Tender No: HVF/TE/13025/CEO/2025-26/25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Siva Enterprises (GSTN-NA) BID ID -889678 |  | P S G CONSTRUCTIONS (GSTN-NA) BID ID -876641
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolition of un reinforced Cement Concrete structure of any description. | 140.00 | CUM | 1876.00 | 2155.00 | 301700.00 | 1800.00 | 252000.00 | 252000.00 | P S G CONSTRUCTIONS
2.00 | Earth work excavation in hard/ dense soil for foundation width and depth not exceeding 1.50m and getting out. | 500.00 | CUM | 776.25 | 855.00 | 427500.00 | 776.00 | 388000.00 | 388000.00 | P S G CONSTRUCTIONS
3.00 | Earth work excavation in hard/ dense soil for foundation width and depth exceeding 1.50m and getting out. | 200.00 | CUM | 958.76 | 1255.00 | 251000.00 | 950.00 | 190000.00 | 190000.00 | P S G CONSTRUCTIONS
4.00 | Excavating in post holes in Hard/dense soils (or similar holes) each n exc 0.5 cu.m, getting out, returning,filling in and ramming earth or broken rubble mixed with eart around,in layers not exceeding25cm, | 60.00 | Each | 438.61 | 545.00 | 32700.00 | 750.00 | 45000.00 | 32700.00 | Siva Enterprises
5.00 | Material and labour for hard core broken stone or boulders of gauge not exceeding 63 mm deposited, spread and levelled in layers not exceeding 15 cms thick watered and rammed to through surface. | 60.00 | CUM | 2381.42 | 2255.00 | 135300.00 | 2700.00 | 162000.00 | 135300.00 | Siva Enterprises
6.00 | M & L for P.C.C 1:4:8, D2 type using 40mm graded aggregated in foundation. | 60.00 | CUM | 6305.57 | 5655.00 | 339300.00 | 6300.00 | 378000.00 | 339300.00 | Siva Enterprises
7.00 | M & L for R.C.C M25 (design Mix) , in foundations, including rafts, footings, plinth beams etc., and mass concrete. | 90.00 | CUM | 8786.69 | 7455.00 | 670950.00 | 9600.00 | 864000.00 | 670950.00 | Siva Enterprises
8.00 | Material and Labour for spreading Metallic floor Hardner / Mixing with concrete | 1200.00 | KG | 70.00 | 155.00 | 186000.00 | 70.00 | 84000.00 | 84000.00 | P S G CONSTRUCTIONS
9.00 | Material and labour for cement concrete 1:2:4 Type B1 20mm graded aggregate in foundation filling and mass concrete. | 198.00 | CUM | 7513.33 | 6955.00 | 1377090.00 | 9200.00 | 1821600.00 | 1377090.00 | Siva Enterprises
10.00 | M & L for R.C.C, M25 (design Mix) in Walls, retaining walls,basement walls, ballast walls and the like; any thickness; above top of footings; including attached pilasters and buttresseswalls. | 90.00 | CUM | 9232.89 | 8255.00 | 742950.00 | 9900.00 | 891000.00 | 742950.00 | Siva Enterprises
11.00 | Supply and Fixing of framed work using Fe 410 -W Gde E - 250 quality A mild rolled steel tube,angles,plates etc. inculding cutting,welding etc complete. | 2500.00 | KG | 144.97 | 175.00 | 437500.00 | 190.00 | 475000.00 | 437500.00 | Siva Enterprises
12.00 | M & L for Hand rails, half round or other steel section or core for wooden hand-rail straight portion, drilled and countersunk for balusters running bars, for doors, balusters, nosing to steps including embeding in concrete and screwing etc. wind ties for roof including securing bolt | 2500.00 | KG | 118.66 | 175.00 | 437500.00 | 145.00 | 362500.00 | 362500.00 | P S G CONSTRUCTIONS
13.00 | M & L for Formwork on Flat sides of concrete foundations, footings, bases of columns, raft and raft beams, sides and soffits (if any) of foundation and plinth beams; and similar work; vertical or to batter including Fair Finished surface | 70.00 | SQM | 456.68 | 855.00 | 59850.00 | 456.00 | 31920.00 | 31920.00 | P S G CONSTRUCTIONS
14.00 | Material and Labour for Formwork to flat faces of walls,retaining walls, abutments,parapets and staircase railings and similar work including attached pillasters, buttresses,etc.; vertical or to batter. | 600.00 | SQM | 567.58 | 655.00 | 393000.00 | 567.00 | 340200.00 | 340200.00 | P S G CONSTRUCTIONS
15.00 | Material and labour for water stop sealer pad PVC 300 mm height fixed in concrete wall. | 450.00 | RM | 200.00 | 425.00 | 191250.00 | 360.00 | 162000.00 | 162000.00 | P S G CONSTRUCTIONS
16.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of brick work, concrete surfaces and Door & Window Jamb plastering. | 600.00 | SQM | 302.59 | 355.00 | 213000.00 | 360.00 | 216000.00 | 213000.00 | Siva Enterprises
17.00 | Supply and fixing of mild steel reinforcement deformed or twisted bars 10mm dia and over including bending, cranking, hooking and tieing with mild steel wire not less than 0.90mm dia. | 20000.00 | KG | 94.15 | 95.00 | 1900000.00 | 102.00 | 2040000.00 | 1900000.00 | Siva Enterprises
18.00 | Removal of Rocks / debris exceeding 250m but not exceeding 500m and depositing where directed. | 140.00 | CUM | 857.67 | 755.00 | 105700.00 | 850.00 | 119000.00 | 105700.00 | Siva Enterprises
19.00 | Removal of excavated earth material exceeding 250m but not exceeding 500m and depositing where directed. | 200.00 | CUM | 669.99 | 255.00 | 51000.00 | 650.00 | 130000.00 | 51000.00 | Siva Enterprises
20.00 | Returing, refilling of hard / dense soil in the excavated trench including spreading levelling, watering and well ramming in layers not exc 25 cm. | 500.00 | CUM | 159.97 | 155.00 | 77500.00 | 150.00 | 75000.00 | 75000.00 | P S G CONSTRUCTIONS
21.00 | Strengthening of existing steel structure Fe 410 -W Gde E - 250 quality A in Compound girders and stanchions, lattice girders, aerial masts, staging for water tanks and the like including caps, bases, splices etc. built up from two or more beam or channel sections or angles with plates, including all lattice bars, stiffeners, gusset plates, etc. by welding/revetting etc complete inculding concreting,foundation etc complete. | 75000.00 | KG | 131.12 | 185.00 | 13875000.00 | 172.00 | 12900000.00 | 12900000.00 | P S G CONSTRUCTIONS
22.00 | Supply and Fixing of Framed work as in doors or gates of angle or other section Fe 410 -W Gde E - 250 quality A with gusset plates, rails, braces, etc., complete, drilled for fixing of steel sheeting or other covering. Doors, etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering, running rails and guides) and hanging; also fastening and fixing complete | 8000.00 | KG | 135.36 | 195.00 | 1560000.00 | 165.00 | 1320000.00 | 1320000.00 | P S G CONSTRUCTIONS
23.00 | Supply and Fixing of polycarbonate sheeting 4mm thick fixed with coach screw and washer in roof, wall etc. | 150.00 | SQM | 1000.00 | 3455.00 | 518250.00 | 2400.00 | 360000.00 | 360000.00 | P S G CONSTRUCTIONS
24.00 | S & F of Powder coated aluminium (minimum thickness of powder coating 50 micron) work for doors, windows, ventilators and partitions (Fixed portions) with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS:1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing/ paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-Charge. | 5400.00 | KG | 522.11 | 745.00 | 4023000.00 | 630.00 | 3402000.00 | 3402000.00 | P S G CONSTRUCTIONS
25.00 | Supply and Fixing of 12 mm thick Prelaminated particle board, exterior grade, prelaminated one side with decorative choice lamination & other side balancing white lamination, fixed with screws to Aluminium frame work | 1200.00 | SQM | 995.79 | 955.00 | 1146000.00 | 1050.00 | 1260000.00 | 1146000.00 | Siva Enterprises
26.00 | S& F of Non - skid Ceramic coloured tiles 7 to 8 mm thick (square/ rectangular) area of each tile exceeding 0.18 sqm but not exceeding 0.38 sqm,, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match., including Screed bedding 1:4, 25mm thick for laying floor finishes with for joint free non skid tiles. | 80.00 | SQM | 2139.86 | 1855.00 | 148400.00 | 2100.00 | 168000.00 | 148400.00 | Siva Enterprises
27.00 | S& F of Glazed ceramic coloured tiles in vertical surface 350x 250x 7 mm/ 450X 350X 7mm thick set and jointed in neat cement slurry and pointed in white or colour cement to match include for joint free non skid tiles | 200.00 | SQM | 1652.67 | 1955.00 | 391000.00 | 1650.00 | 330000.00 | 330000.00 | P S G CONSTRUCTIONS
28.00 | S & F of Factory made single extruded WPC (Wood Polymer Composite) solid door/ window/ Ceosetory windows & other Frames/ Chowkhat of size 65 x 100 mm comprising of virgin PVC polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) fabricated with miter joints after applyingPVC solvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 750 kg/ cum, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum compressive strength of 58 N/mm2, modules of elasticity 900 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/ moisture proof and fire retardantand fixed in position with MS hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-in-Charge. (M.S. hold fast/ lugs or SS dash fasteners shall be paid for separately). | 70.00 | RM | 1104.35 | 1455.00 | 101850.00 | 1100.00 | 77000.00 | 77000.00 | P S G CONSTRUCTIONS
29.00 | S & F of Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid decorative type flush door shutter of size 35 mm thick comprising of virigin polymer of K value 58-60 (Suspension Grade), Calcium Carbonate and natural fibers (wood powder/rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Calss A category and property of being termite / borer proof, water / moisture proof and fire retardant. WPC to be laminated with PVC foil of minimum 14 microns thick of approved design pasted with hot melt adhesive on both faces of shutter and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S. Screws, all as per direction of Engineer-In-Charges (Note : stainless steel butt hinges and necessary S.S. screws shall be paid seperately) as per approved by E-I.C. | 22.00 | SQM | 5176.04 | 4655.00 | 102410.00 | 4500.00 | 99000.00 | 99000.00 | P S G CONSTRUCTIONS
30.00 | Supply of articulate hydaulic boom lift truck mounted or slow moving type as required at site for the safety net tieing process only wherever pointed / directed by the safety section | 200.00 | Per Hour | 2500.00 | 1455.00 | 291000.00 | 1200.00 | 240000.00 | 240000.00 | P S G CONSTRUCTIONS
31.00 | S & F of 200mm Aluminum barrel towerbolts, with cast or sheet barrel and rolled or cast bolts and fixed . | 28.00 | Each | 344.31 | 255.00 | 7140.00 | 340.00 | 9520.00 | 7140.00 | Siva Enterprises
32.00 | S & F of 125mm butt hinges, Butt hinges, extruded brass, with mild steel hinge pin, bright polished and fixed, type B-11 | 42.00 | Each | 295.44 | 355.00 | 14910.00 | 295.00 | 12390.00 | 12390.00 | P S G CONSTRUCTIONS
33.00 | S & F of 150mm Aluminium handles, Extruded aluminium alloy handles, fabricated type, anodised | 28.00 | Each | 101.43 | 175.00 | 4900.00 | 101.00 | 2828.00 | 2828.00 | P S G CONSTRUCTIONS
34.00 | Supply and Fixing of granite(of any colour) work (table rubbedand polished) 20mm thick to fixing on wash basin platform, in steps, jambs, pillars, window-cills, cooking platforms including machine cutting suitably to fix the wash basin incluing nosing of inner nd outer edges in CM 1:4 including pointing in white cement(1:2) using marble dust with admixture with shade of granite complete as directed. | 5.00 | SQM | 5961.26 | 5655.00 | 28275.00 | 5900.00 | 29500.00 | 28275.00 | Siva Enterprises
35.00 | Material and labour for Providing edge moulding to18-20mm thick stone of counters vanities etc. including machine polishing to edge to give high gloss finish etc. completemaking nosing /Rounding to edges of Granite stone slabs one edge, such as in steps, platform, skirts, and othersimilar situations complete as direction by EIC. | 20.00 | RM | 432.69 | 355.00 | 7100.00 | 430.00 | 8600.00 | 7100.00 | Siva Enterprises
36.00 | Supply and Fixing of Stainless steel sink with draining board, made out of 1.00mm thick sheet for kitchen or laboratory with plug, washers waste pipe, cast iron cantilever brackets, connecting union overall size 915mmx460mm with bowl size 410mm x 330mm x 160mm complete all as directed by EIC. | 50.00 | Each | 5182.05 | 5455.00 | 272750.00 | 5800.00 | 290000.00 | 272750.00 | Siva Enterprises
37.00 | S & F of 20mm dia chromium plated Bib taps, long body type cast copper alloy with crutch or butterfly handle, screwed down, screwed for iron pipe or for brass ferrule and fixed | 4.00 | Each | 560.04 | 1255.00 | 5020.00 | 525.00 | 2100.00 | 2100.00 | P S G CONSTRUCTIONS
38.00 | S & F of 20 mm dia Stop valves, cast copper alloy, screwed down, high pressure, with crutch or butterfly handle, screwed both ends for iron pipe or for unions and fixed fancy type, chromium plated with long shank and cup (concealed type) | 16.00 | Each | 868.03 | 1155.00 | 18480.00 | 860.00 | 13760.00 | 13760.00 | P S G CONSTRUCTIONS
39.00 | S & F of 20 mm Bib tap standard of PTMT any colour high pressure screwed for iron pipe and fixed. (Minimum weight 20mm 125gms). | 16.00 | Each | 349.59 | 355.00 | 5680.00 | 340.00 | 5440.00 | 5440.00 | P S G CONSTRUCTIONS
40.00 | Supply and Fixing of Precast SRFC manhole covers with frame complete all as directed by EIC. | 5.00 | SQM | 4500.00 | 6455.00 | 32275.00 | 4500.00 | 22500.00 | 22500.00 | P S G CONSTRUCTIONS
41.00 | M&L for PVC Multi floor trap diameter of out let in 75mm with grating including with solvent cement. | 20.00 | Each | 460.00 | 255.00 | 5100.00 | 400.00 | 8000.00 | 5100.00 | Siva Enterprises
42.00 | M & L for PVC Gully trap 125/110mm of dia, setting and jointing with solvent cement. | 14.00 | Each | 304.75 | 455.00 | 6370.00 | 300.00 | 4200.00 | 4200.00 | P S G CONSTRUCTIONS
43.00 | S & F of Looking Mirror of any size as required at site selected quality glass, mount on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass | 3.00 | SQM | 1355.00 | 2855.00 | 8565.00 | 1550.00 | 4650.00 | 4650.00 | P S G CONSTRUCTIONS
44.00 | S & F of IWC Squat pan (Orissa pattern) Size 580 x 440mm white / colour with integral foot rests providing lime concrete bed and finishing the top etc.,10 litres flushing cistern low level white with inlet ball valve float and handle including bracket Plastic water closet seat, black, closed pattern with flat bottom,and cover and mild steel chromium plated or aluminised hinging device and etc. | 4.00 | Each | 6112.47 | 4855.00 | 19420.00 | 6100.00 | 24400.00 | 19420.00 | Siva Enterprises
45.00 | Supply of EWC with "P" or "S" trap including bedding valveless syphonic action type 10 litres flushing cistern low level white with inlet ball valve float and handle including bracket Plastic water closet seat, black, closed pattern with flat bottom,and cover and mild steel chromium plated or aluminised hinging device and etc., complete and dismantling the existing IWC | 2.00 | Each | 6034.21 | 5855.00 | 11710.00 | 6000.00 | 12000.00 | 11710.00 | Siva Enterprises
46.00 | S & F of Vitreous China urinals, half stall type refixing in old type (back or corner wall type), work complete including providing and fixing plugs, bedding urinal against wall in cement mortar 1:2, securing urinal to plugs with and including 60mm long brass screws, pointing around urinal back in cement; fixing automatic flushing cistern with brackets, flush pipe, grating and Union for discharge pipe.including Urinal spreader of PTMT any colour for fixing with 15 mm dia pipe. (Minimum weight 60gms) | 8.00 | Each | 2511.74 | 27455.00 | 219640.00 | 2500.00 | 20000.00 | 20000.00 | P S G CONSTRUCTIONS
47.00 | Supply and Fixing of Granite Partition made out of 20 mm thick granite fixed as urinal partition for 4 feet height and average width 0.50 M and the front visible edges shall be full rounded to have a smooth surface including cutting the tiles neatly and inserting the granite urnla partioin in the tiles and securing and finishing with epoxy grout. | 8.00 | Each | 2500.00 | 3955.00 | 31640.00 | 2500.00 | 20000.00 | 20000.00 | P S G CONSTRUCTIONS
48.00 | S & F of Angle stop valve of 15 MM PTMT any colour high pressure screwed for iron pipe and fixed,(Minimum weight 15mm-90gms) | 8.00 | Each | 251.00 | 355.00 | 2840.00 | 250.00 | 2000.00 | 2000.00 | P S G CONSTRUCTIONS
49.00 | S & F of PVC connections 15mm size with PTMT nuts of length 600mm | 8.00 | Each | 230.00 | 155.00 | 1240.00 | 200.00 | 1600.00 | 1240.00 | Siva Enterprises
50.00 | S & F of health faucet(ABS Body) mild steel chromium plated suitable for 15 mm dia pipe with 1.25 meter long flexible tube and ABC wall hook including making connections and fixed in position complet in all respect fixing in pipe etc, | 2.00 | Each | 507.32 | 855.00 | 1710.00 | 500.00 | 1000.00 | 1000.00 | P S G CONSTRUCTIONS
51.00 | Supply and Fixing of Shower arm 15 mm size, 195mm long with bend of 45degree with flange of PTMT any colour.(Minimum weight 40gms). | 6.00 | Each | 126.73 | 255.00 | 1530.00 | 195.00 | 1170.00 | 1170.00 | P S G CONSTRUCTIONS
52.00 | S & F of PVC 110mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 30.00 | RM | 464.19 | 475.00 | 14250.00 | 460.00 | 13800.00 | 13800.00 | P S G CONSTRUCTIONS
53.00 | S & F of PVC 110mm dia Pipes single socketed, in any length with rubber ring joints fixed to walls. | 20.00 | RM | 545.97 | 485.00 | 9700.00 | 540.00 | 10800.00 | 9700.00 | Siva Enterprises
54.00 | S & F of PVC 75 mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 30.00 | RM | 269.15 | 355.00 | 10650.00 | 265.00 | 7950.00 | 7950.00 | P S G CONSTRUCTIONS
55.00 | S & F of PVC Bend with door 110mm dia any radius, | 6.00 | Each | 195.50 | 285.00 | 1710.00 | 195.00 | 1170.00 | 1170.00 | P S G CONSTRUCTIONS
56.00 | S & F of PVC Bend with door 75mm dia any radius, | 6.00 | Each | 166.75 | 225.00 | 1350.00 | 166.00 | 996.00 | 996.00 | P S G CONSTRUCTIONS
57.00 | S & F of PVC single 'Y' with door 110 mm dia any radius, | 2.00 | Each | 687.19 | 425.00 | 850.00 | 680.00 | 1360.00 | 850.00 | Siva Enterprises
58.00 | S & F of PVC (SWR) 75mm, junction single, (Single T) equal or unequal and provided. | 2.00 | Each | 448.82 | 325.00 | 650.00 | 440.00 | 880.00 | 650.00 | Siva Enterprises
59.00 | S & F of PVC (SWR) 110mm, junction single, (Single T) equal or unequal and provided. | 2.00 | Each | 579.63 | 415.00 | 830.00 | 570.00 | 1140.00 | 830.00 | Siva Enterprises
60.00 | PVC (SWR) reducers 110mm dia any radius. | 2.00 | Each | 155.25 | 225.00 | 450.00 | 155.00 | 310.00 | 310.00 | P S G CONSTRUCTIONS
61.00 | S & F of PVC Vent Cowl 110mm dia. | 6.00 | Each | 132.25 | 75.00 | 450.00 | 90.00 | 540.00 | 450.00 | Siva Enterprises
62.00 | S&F Cast iron heavy duty Drian/channel grating of weight exe. 5 kg size 300x600 m wieghing around 15 kg fixed on floor including setting & finshing the sides with Cement mortar comeple (10 nos @ 15 kg / no 150 Kg ) | 150.00 | KG | 169.83 | 245.00 | 36750.00 | 150.00 | 22500.00 | 22500.00 | P S G CONSTRUCTIONS
63.00 | Supplying and laying of CPVC pipes 20mm dia SDR 11 including all fittings such as elbow, tee, etc., Plain CPVC SDR 11 fittings on walls /ceiling or laying in floors complete all as specified | 70.00 | RM | 281.29 | 345.00 | 24150.00 | 280.00 | 19600.00 | 19600.00 | P S G CONSTRUCTIONS
64.00 | Supplying and laying of CPVC pipes 25mm dia SDR 11 including all fittings such as elbow, tee, etc., Plain CPVC SDR 11 fittings on walls /ceiling or laying in floors complete all as specified. | 25.00 | RM | 406.41 | 425.00 | 10625.00 | 400.00 | 10000.00 | 10000.00 | P S G CONSTRUCTIONS
65.00 | S & F of 50 mm dia UPVC Pipes (SCH-40)of pressure rating 6 kgf/cm2 fixed complete to walls, ceilings or in floors etc. | 10.00 | RM | 389.85 | 855.00 | 8550.00 | 380.00 | 3800.00 | 3800.00 | P S G CONSTRUCTIONS
66.00 | S & F 25 mm dia Unplasticised PVC pipes of pressure rating 10 kgf/cm 2 fixed complete to walls, ceilings or in floors etc., any type of pipe | 20.00 | RM | 161.36 | 255.00 | 5100.00 | 161.00 | 3220.00 | 3220.00 | P S G CONSTRUCTIONS
67.00 | S & F of Gun Metal Valve 20mm dia with iron wheel head, screwed both ends for iron pipe. | 4.00 | Each | 621.13 | 1255.00 | 5020.00 | 620.00 | 2480.00 | 2480.00 | P S G CONSTRUCTIONS
68.00 | S & F of Gun Metal Valve 25mm dia with iron wheel head, screwed both ends for iron pipe. | 4.00 | Each | 675.33 | 1455.00 | 5820.00 | 675.00 | 2700.00 | 2700.00 | P S G CONSTRUCTIONS
69.00 | S & F of Gun Metal Valve 50mm dia with iron wheel head, screwed both ends for iron pipe. | 2.00 | Each | 1125.94 | 2455.00 | 4910.00 | 1125.00 | 2250.00 | 2250.00 | P S G CONSTRUCTIONS
70.00 | S & F of 25/20 mm dia brass ball valves high pressure, with epoxy coated aluminium rod & High density plastic float and fly nut complete screwed for iron pipe. Minimum weight for 25mm dia shall be 455 gms. | 4.00 | Each | 800.00 | 1655.00 | 6620.00 | 800.00 | 3200.00 | 3200.00 | P S G CONSTRUCTIONS
71.00 | S & F of 1000 litres capacity Rotational moulded polyethylene water storage tanks (cylindrical vertical with closed top) hoisted and fixed in position all as specified in SSR Part I | 4.00 | Each | 9425.93 | 14500.00 | 58000.00 | 10500.00 | 42000.00 | 42000.00 | P S G CONSTRUCTIONS
72.00 | Supply and fixing factory made uPVC white colour fixed glazed window/ventilator made of (small series) frame 47 x 50 mm mullion 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension (Area upto 0.75 sqm.) comprising of uPVC multi-chambered frame and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, EPDM gasket, G.I. fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Glass shall be paid separately) | 5.00 | SQM | 7360.61 | 9455.00 | 47275.00 | 7300.00 | 36500.00 | 36500.00 | P S G CONSTRUCTIONS
73.00 | S & F of 5.5mm Sheet glass, ordinary quality and glazing rubber beading with in square exceeding 0.5 sq. m in each pane as required for the aluminium partition. | 5.00 | SQM | 1385.72 | 1455.00 | 7275.00 | 1200.00 | 6000.00 | 6000.00 | P S G CONSTRUCTIONS
74.00 | S & f of Aluminium Hollow Section frame( size 40mm x12mm)/ 1.8' windows (size 25mm x12mm) for Mosquito Proofing shutter and size 16mmx9mm rectangular hollow sections with necessary corner brackets),intermediate sash bares etc all complete and as directed. | 5.00 | SQM | 1200.00 | 2455.00 | 12275.00 | 6000.00 | 30000.00 | 12275.00 | Siva Enterprises
75.00 | S & f of Stainless steel wire cloth. 0.36mm nominal dia of wire and average width of aperture 1.40mm and fixed with stainless steel wire staples | 5.00 | SQM | 837.55 | 855.00 | 4275.00 | 820.00 | 4100.00 | 4100.00 | P S G CONSTRUCTIONS
76.00 | M & L for painting to wooden surfaces of any description over 10cm width or girth with Two coats of synthetic enamel paint. including pink primer preparing new wooden surfaces. | 60.00 | SQM | 161.23 | 155.00 | 9300.00 | 160.00 | 9600.00 | 9300.00 | Siva Enterprises
77.00 | M & L for painting to steel surfaces of any description, over 10cm in width or girth,with two coats of synthetic enamel paint over a coat of redoxide primer including preparing new surfaces. | 10.00 | SQM | 162.50 | 155.00 | 1550.00 | 160.00 | 1600.00 | 1550.00 | Siva Enterprises
78.00 | Complete removal of exisitng treatment from walls including all as directed. | 1000.00 | SQM | 10.81 | 25.00 | 25000.00 | 30.00 | 30000.00 | 25000.00 | Siva Enterprises
79.00 | Material and labour for applying two coats of Exterior plastic emulsion on old new External wall surfaces including a coat of external primer coat and preparation of new untreated surfaces all complete {MAKE:- ASIAN paint (Apex Ultima)/ NEROLAC(Excel Total) / BERGER(Weather coat long life 7) } or Suitably Equivalent Make | 500.00 | SQM | 164.68 | 175.00 | 87500.00 | 160.00 | 80000.00 | 80000.00 | P S G CONSTRUCTIONS
80.00 | Material and labour for applying two coat of oil bound distemper on internal wall surfaces including priming paint and preparation of new painted surfaces (MAKE:- ASIAN / NEROLAC / BERGER) or Suitably Equivalent Make. | 100.00 | SQM | 116.73 | 85.00 | 8500.00 | 115.00 | 11500.00 | 8500.00 | Siva Enterprises
81.00 | M & L for Cutting chases, pinning in. making good to Brick work / concrete facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting not exc 10 cm girth | 30.00 | RM | 58.02 | 85.00 | 2550.00 | 90.00 | 2700.00 | 2550.00 | Siva Enterprises
82.00 | M & L for Brick work with subclass ‘B’ bricks, straight or curved on plan exc 6m mean radius, built In cement mortor 1:6 | 10.00 | CUM | 6950.00 | 7955.00 | 79550.00 | 7800.00 | 78000.00 | 78000.00 | P S G CONSTRUCTIONS
83.00 | S&F of Pre-painted galvalume aluminium zinc coating GI based corugatted steel sheet 0.50mm (TCT) thick of an colour having tensile strength of 550Mpa as in roof covering/cladding to wall fixed with self drilling / self tapping anti corrisive screws with EPDM seal complete all as per manfacturers specifications and instructions and as approved and as directed by EIC | 60.00 | SQM | 882.06 | 895.00 | 53700.00 | 880.00 | 52800.00 | 52800.00 | P S G CONSTRUCTIONS
84.00 | S&F of Pre-painted galvalume aluminum zinc coating GI based Plain steel sheet 0.50mm thick of any colour having tensile strength of 550 Mpa as in roof covering/cladding to wall fixed with self drilling / self tapping anti corrisive screws with EPDM seal complete all as per manfacturers specifications and instructions and as approved and as directed by EIC | 10.00 | SQM | 824.56 | 885.00 | 8850.00 | 850.00 | 8500.00 | 8500.00 | P S G CONSTRUCTIONS
85.00 | Laying and compacting 300 mm thick (compacted thickness) each layer not exceeding 150mm Granular Sub Base Course (GSB) grading as per Grade I as specified Table 400-1 of MoRTH specifications for Road and Bridge works, 2013, in a single layer over compacted subgrade with natural sand, crushed gravel, crushed stone, crushed slag, or combination thereof as per the grading required The materials are mechanically mixed, spread and leveling on the subgrade by using motor grader of adequate capacity, and rolling with vibratory roller of capacity 80-100 KN static weight for achieving required compaction density of atleast 98% of the Maximum Dry Density. Consolidating to required gradient and camber complete all as specified and directed with finished surface tolerances as per Table 900-1 of MoRTH specifications for Road and Bridge works, 2013. | 30.00 | 10SQM | 9054.43 | 8500.00 | 255000.00 | 9050.00 | 271500.00 | 255000.00 | Siva Enterprises
86.00 | Laying and compacting 225 mm thick (compacted thickness) Wet Mix Macadam (WMM)WMM laid in three IayerS of 75 mm each. grading as per table 400-13 of MoRTH :specifications for Road and Bridge works 2013 manufactured in WMM plant, material comprising of clean, crushed, graded aggregate and granular material premixed with water to a dense mass, spreading with sensor paver and rolling with vibratory roller of capacity 80-100KN static weight and consolidating to required gradient and camber complete all as specified and directed The finished surface tolerances to be as per Table 900-1 of MoRTH specifications for Road and Bridge works 2013 | 30.00 | 10SQM | 7249.61 | 7500.00 | 225000.00 | 7200.00 | 216000.00 | 216000.00 | P S G CONSTRUCTIONS
87.00 | Supplying and laying 400 micron thick HDPE sheet (Virgin Quality) water proof, wrinkle free without puncture having minimum weight 390 gm/Sqm over tack coat/sand cushion as specified in the design with overlap between adjacent strips and at transverse joints as minimum 300mm. | 300.00 | SQM | 135.08 | 75.00 | 22500.00 | 135.00 | 40500.00 | 22500.00 | Siva Enterprises
88.00 | Material and Labour for Moorum/red bajri filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, levelled and rammed including watering. | 88.00 | CUM | 1426.12 | 1255.00 | 110440.00 | 1400.00 | 123200.00 | 110440.00 | Siva Enterprises
89.00 | Material and Labour for stone sett flooring with stone setts of size 200 to 250mm long,150 to 200mm wide and 150mm deep and sides dressed; bedded in cement mortar 1:3, joints 20mm thick; grouted in cement mortar 1:2 with an admixture of metallic floor hardner 5% by weight of cement and struck. | 300.00 | SQM | 2700.00 | 2955.00 | 886500.00 | 2700.00 | 810000.00 | 810000.00 | P S G CONSTRUCTIONS
90.00 | Supply and fixing of Cement concrete Tiles 20cmx20cmx20mm thick with grey cement and pigment machine pressed with screed bed or bedding layer in CM 1:3 , 15mm thick and pointed in neat ceemnt slurry in floors and cut polished. | 100.00 | SQM | 1518.86 | 1455.00 | 145500.00 | 1500.00 | 150000.00 | 145500.00 | Siva Enterprises
91.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire .a)one light point or one fan point controlled by one switch with cables1.5 sqmm size. | 59.00 | Point | 1191.30 | 1255.00 | 74045.00 | 1100.00 | 64900.00 | 64900.00 | P S G CONSTRUCTIONS
92.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. b)One 3 pin socket outlet 5 amps on the same board with other switches, with cables 2.5 sqmm size. | 12.00 | Point | 348.96 | 355.00 | 4260.00 | 330.00 | 3960.00 | 3960.00 | P S G CONSTRUCTIONS
93.00 | Supply and laying or fixing or passing through pipe, 1100 volts grade heavy duty cable with PVC insulated aluminium conductor served with an inner sheathing of PVC tape armoured with galvanised steel wire or tape and overall PVC sheathed 10 sq. mm nominal cross section in service connections stranded conductor 4 core (Make: Gloster/Nicco/ Havells/ Finolex/ Orbit) or suitable equivalent make. | 60.00 | RM | 235.20 | 255.00 | 15300.00 | 225.00 | 13500.00 | 13500.00 | P S G CONSTRUCTIONS
94.00 | Supply and laying or fixing or passing through pipe, 1100 volts grade heavy duty cable with PVC insulated aluminium conductor served with an inner sheathing of PVC tape armoured with galvanised steel wire or tape and overall PVC sheathed 16 sq. mm nominal cross section in service connections stranded conductor 4 core (Make: Gloster/Nicco/ Havells/ Finolex/ Orbit) or suitable equivalent make. | 137.00 | RM | 258.00 | 355.00 | 48635.00 | 247.00 | 33839.00 | 33839.00 | P S G CONSTRUCTIONS
95.00 | Material & Labour for Switch piano, flush type single pole, one way 6 Amp (Make: Anchor/ Havells/ Legrand) or suitable equivalent make. | 60.00 | Each | 144.96 | 75.00 | 4500.00 | 120.00 | 7200.00 | 4500.00 | Siva Enterprises
96.00 | Supply & fixing of socket outlet 2 in 1, 3 pin 6 A flush type (Make: Anchor/ Havells/ Legrand) or suitable equivalent make. | 12.00 | Each | 156.12 | 155.00 | 1860.00 | 149.00 | 1788.00 | 1788.00 | P S G CONSTRUCTIONS
97.00 | Material & Labour for PVC/ Polycorbonate, isolated ceiling rose 5A, 230V, AC , three terminals. (Make: ANCHOR/ HAVELLS ) or suitable equivalent make. | 60.00 | Each | 78.84 | 75.00 | 4500.00 | 60.00 | 3600.00 | 3600.00 | P S G CONSTRUCTIONS
98.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit a) 2x2.5 sqmm + 1x2.5 sqmm earth wire | 700.00 | RM | 222.25 | 255.00 | 178500.00 | 212.00 | 148400.00 | 148400.00 | P S G CONSTRUCTIONS
99.00 | Supply & fixing Single pole and neutral enclosure with a two pin and earth plug and socket complete with one single pole MCB 20 amps 240 VOLTS . (Make: Legrand / Havells /Anchor ) or suitable equivalent make | 24.00 | Each | 2181.36 | 955.00 | 22920.00 | 272.00 | 6528.00 | 6528.00 | P S G CONSTRUCTIONS
100.00 | Supply and fixing of LED light fittings 1 x 22 watts 220 volt AC decorative box type with driver , holder including LED tubelight connecting up with three core flexible copper coductor cable of suitable size from ceiling rose complete. (Make:,LEGRAND MYRIUS / ANCHOR ROMA / GM ) or suitable equivalent make. | 60.00 | Each | 1614.74 | 1155.00 | 69300.00 | 1500.00 | 90000.00 | 69300.00 | Siva Enterprises
101.00 | Supply, fixing & connecting to the system of Sheet metal enclosures with single door DB's 240 V when MCB'S to be used Single pole & neutral 2 way without busbar, (Make: Legrand/ Havells/ Hager/ ABB) or suitable equivalent make. | 2.00 | Each | 652.92 | 4855.00 | 9710.00 | 625.00 | 1250.00 | 1250.00 | P S G CONSTRUCTIONS
102.00 | Supply, fixing & connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used Triple pole & neutral 4 way,415 V with 200 Amps rated busbar, (Make: Legrand/Havells / ABB or suitable equivalent make) | 2.00 | Each | 3171.24 | 7455.00 | 14910.00 | 3039.00 | 6078.00 | 6078.00 | P S G CONSTRUCTIONS
103.00 | Supply & fixing 415 Volt,10KA 'C' curve MCB of TPN 40 To 100Amps in the MCB DB complete with connection testing and commissioning. (Make :Legrand/ Havells/ C&S or suitable equivalent make) | 2.00 | Each | 2832.89 | 6255.00 | 12510.00 | 350.00 | 700.00 | 700.00 | P S G CONSTRUCTIONS
104.00 | Supply and fixing amp rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the MCB DB complete with connection testing and commissioning. SPN 32 AMP (Make: ABB/Legrand/ Havells/Hager) or suitable equivalent make. | 2.00 | Each | 1021.44 | 425.00 | 850.00 | 978.00 | 1956.00 | 850.00 | Siva Enterprises
105.00 | Supply & fixing 240 Volt,10KA 'C' curve MCB of single pole 6 to 32Amps in the MCB DB complete with connection testing and commissioning. (Make Legrand/Havells/C&S) or suitable equivalent make | 12.00 | Each | 352.80 | 415.00 | 4980.00 | 270.00 | 3240.00 | 3240.00 | P S G CONSTRUCTIONS
106.00 | Material and labour for Brick wall cutting chases,pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good,cutting exceeding 20cm girth. | 300.00 | RM | 66.72 | 85.00 | 25500.00 | 90.00 | 27000.00 | 25500.00 | Siva Enterprises
107.00 | Demolition of cement concrete of any description and in any position | 4.80 | CUM | 1957.56 | 2155.00 | 10344.00 | 1800.00 | 8640.00 | 8640.00 | P S G CONSTRUCTIONS
108.00 | Material and labour for cement concrete 1:2:4 Type B1 using 20mm graded aggregate in foundations, filling and mass concrete | 4.80 | CUM | 7840.00 | 6955.00 | 33384.00 | 8500.00 | 40800.00 | 33384.00 | Siva Enterprises
109.00 | Supply only of Industrial Pedestal Air circulators, sweep: 600mm(24") with capacitor start & run motor, 200watts maximum power consumption. (Make: MDS/ Havells/ Standard/ Anchor/Almonard/Khaitan/Crompton ) or suitable equivalent make, with close wire mesh. | 20.00 | Each | 7250.00 | 9455.00 | 189100.00 | 9000.00 | 180000.00 | 180000.00 | P S G CONSTRUCTIONS
110.00 | Supply & erection of Heavy duty air circulator fan of sweep 750 mm speed 1400 RPM as per scope of work whole job basis including DOL Statrer cable and a plug point for pedestal fan. Scope of Work attached at Annexure-I in NIT document | 40.00 | Each | 30100.00 | 12500.00 | 500000.00 | 33000.00 | 1320000.00 | 500000.00 | Siva Enterprises
111.00 | Removal, Rewinding, Servicing, Relocating of Heavy Duty Roof Exhaust Fans. Scope of Work attached at Annexure-II in NIT document. | 10.00 | Each | 99000.00 | 65000.00 | 650000.00 | 110000.00 | 1100000.00 | 650000.00 | Siva Enterprises
| Total in Figures |  |  |  |  | 35268078.00 |  | 34855453.00
Lowest Amount Quoted BY: P S G CONSTRUCTIONS(34855453.00)

## BOQ Summary
BOQ Summary Details Tender Title: STRENGTHENING OF GANTRY GIRDER FOR 03 BAYS OF OHA SHOP, CONSTRUCTION OF INSPECTION PITS AT STAGE-I AREA OF OH SHOP, CIVIL AND ELECTRICAL REPAIR WORKS AT OH ANNEX BUILDING AND VERTICAL PARTITION BETWEEN OH(PDN) AND TANK SHOP AT HVF, AVADI Tender ID: 2025_AVNL_240773_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | P S G CONSTRUCTIONS (BID ID -876641) | 34855453.00 | L1
| 2 | Siva Enterprises (BID ID -889678) | 35268078.00 | L2