## BoQ1
Government eProcurement System Created By: RAJESH R Created Date/Time: 13-Oct-2025 03:19 PM Tender Title: CONSTRUCTION OF PARKING SHED FOR OH AUGMENTATION PROJECT AT HVF, AVADI Tender ID: 2025_AVNL_241119_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: CONSTRUCTION OF PARKING SHED FOR OH AUGMENTATION PROJECT AT HVF, AVADI
Tender No: HVF/TE/13025/CEO/2025-26/26
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Vishnusurya Projects & Infra Limited (GSTN-NA) BID ID -878265 |  | P S G CONSTRUCTIONS (GSTN-NA) BID ID -878158 |  | J Santhanam Contractor (GSTN-NA) BID ID -878272 |  | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED (GSTN-NA) BID ID -877205
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Excavating over areas, n exc 1.5 m deep and getting out in soft loose soil. | 6200.00 | CUM | 297.28 | 275.00 | 1705000.00 | 290.00 | 1798000.00 | 284.35 | 1762970.00 | 210.00 | 1302000.00 | 1302000.00 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED
2.00 | Excavating over areas, exc 1.5 m deep and getting out in soft loose soil. | 1400.00 | CUM | 479.78 | 325.00 | 455000.00 | 475.00 | 665000.00 | 458.92 | 642488.00 | 280.00 | 392000.00 | 392000.00 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED
3.00 | Earth work excavation in hard/ dense soil for foundation width and depth not exceeding 1.50m and getting out. | 100.00 | CUM | 776.25 | 350.00 | 35000.00 | 775.00 | 77500.00 | 650.00 | 65000.00 | 650.00 | 65000.00 | 35000.00 | Vishnusurya Projects & Infra Limited
4.00 | Material and labour for hard core of gauge not exceeding 63 mm deposited, spread and levelled in layers not exceeding 15 cms thick watered and rammed to true surface. | 400.00 | CUM | 2381.42 | 2500.00 | 1000000.00 | 2500.00 | 1000000.00 | 2277.88 | 911152.00 | 2985.00 | 1194000.00 | 911152.00 | J Santhanam Contractor
5.00 | Laying and compacting 750 mm thick (compacted thickness) each layer not exceeding 150mm Granular Sub Base Course (GSB) grading as per Grade I as specified Table 400-1 of MoRTH specifications for Road and Bridge works, 2013, in a single layer over compacted subgrade with natural sand, crushed gravel, crushed stone, crushed slag, or combination thereof as per the grading required The materials are mechanically mixed, spread and leveling on the subgrade by using motor grader of adequate capacity, and rolling with vibratory roller of capacity 80-100 KN static weight for achieving required compaction density of atleast 98% of the Maximum Dry Density. Consolidating to required gradient and camber complete all as specified and directed with finished surface tolerances as per Table 900-1 of MoRTH specifications for Road and Bridge works, | 450.00 | 10SQM | 22636.08 | 14500.00 | 6525000.00 | 22500.00 | 10125000.00 | 18699.00 | 8414550.00 | 22500.00 | 10125000.00 | 6525000.00 | Vishnusurya Projects & Infra Limited
6.00 | Laying and compacting 525mm thick (compacted thickness) Wet Mix Macadam (WMM)WMM laid in each layer of 75 mm each. grading as per table 400-13 of MoRTH :specifications for Road and Bridge works 2013 manufactured in WMM plant, material comprising of clean, crushed, graded aggregate and granular material premixed with water to a dense mass, spreading with sensor paver and rolling with vibratory roller of capacity 80-100KN static weight and consolidating to required gradient and camber complete all as specified and directed The finished surface tolerances to be as per Table 900-1 of MoRTH specifications for Road and Bridge works | 450.00 | 10SQM | 16915.47 | 10500.00 | 4725000.00 | 16900.00 | 7605000.00 | 13973.54 | 6288093.00 | 16500.00 | 7425000.00 | 4725000.00 | Vishnusurya Projects & Infra Limited
7.00 | Supplying and laying 400 micron thick HDPE sheet (Virgin Quality) water proof, wrinkle free without puncture having minimum weight 390 gm/Sqm over tack coat/sand cushion as specified in the design with overlap between adjacent strips and at transverse joints as minimum 300mm. | 4500.00 | SQM | 135.08 | 45.00 | 202500.00 | 135.00 | 607500.00 | 129.20 | 581400.00 | 175.00 | 787500.00 | 202500.00 | Vishnusurya Projects & Infra Limited
8.00 | Material and Labour for Moorum/red bajri filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, levelled and rammed including watering. | 100.00 | CUM | 1426.12 | 1900.00 | 190000.00 | 1300.00 | 130000.00 | 1364.11 | 136411.00 | 1575.00 | 157500.00 | 130000.00 | P S G CONSTRUCTIONS
9.00 | M & L for P.C.C 1:4:8, D2 type using 40mm graded aggregated in foundation. | 800.00 | CUM | 6305.57 | 7000.00 | 5600000.00 | 6300.00 | 5040000.00 | 4700.00 | 3760000.00 | 6300.00 | 5040000.00 | 3760000.00 | J Santhanam Contractor
10.00 | M&L for cement concrete in foundation ,filling and mass concrete typeB2 1:2:4 using 20mm aggregate. | 975.00 | CUM | 7513.33 | 7800.00 | 7605000.00 | 8900.00 | 8677500.00 | 5500.00 | 5362500.00 | 9050.00 | 8823750.00 | 5362500.00 | J Santhanam Contractor
11.00 | M & L for R.C.C A1 Type, 1: 1.5: 3, 20mm graded aggregate in foundations, including rafts, footings, plinth beams etc., | 180.00 | CUM | 8498.41 | 8800.00 | 1584000.00 | 9400.00 | 1692000.00 | 6000.00 | 1080000.00 | 9200.00 | 1656000.00 | 1080000.00 | J Santhanam Contractor
12.00 | M & L for R.C.C, M20, 20mm graded aggregate in Walls, retaining walls,basement walls, ballast walls and the like; any thickness; above top of footings; including attached pilasters and buttresseswalls. | 250.00 | CUM | 8944.59 | 8200.00 | 2050000.00 | 9500.00 | 2375000.00 | 8240.00 | 2060000.00 | 9500.00 | 2375000.00 | 2050000.00 | Vishnusurya Projects & Infra Limited
13.00 | Supply and fixing of mild steel reinforcement deformed or twisted bars 10mm dia and over including bending, cranking, hooking and tieing with mild steel wire not less than 0.90mm dia. | 45000.00 | KG | 94.15 | 100.00 | 4500000.00 | 97.00 | 4365000.00 | 90.05 | 4052250.00 | 99.00 | 4455000.00 | 4052250.00 | J Santhanam Contractor
14.00 | S&F of mild steel reinforcement deformed or twisted bars 6 to 8 mm dia , cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia or securing with clips . | 9900.00 | KG | 96.47 | 100.00 | 990000.00 | 99.00 | 980100.00 | 92.26 | 913374.00 | 105.00 | 1039500.00 | 913374.00 | J Santhanam Contractor
15.00 | Material and Labour for flat formwork to sides of concrete foundations, footings, bases of columns, raft and raft beams,sides and soffits (if any) of foundation and plinth beams,and similar work; vertical or to batter. | 500.00 | SQM | 364.23 | 400.00 | 200000.00 | 364.00 | 182000.00 | 348.39 | 174195.00 | 525.00 | 262500.00 | 174195.00 | J Santhanam Contractor
16.00 | Material and Labour for Formwork to faces of walls,retaining walls, abutments,parapets and staircase railings and similar work including attached pillasters, buttresses,etc.; vertical or to batter. | 2000.00 | SQM | 567.58 | 450.00 | 900000.00 | 567.00 | 1134000.00 | 542.90 | 1085800.00 | 850.00 | 1700000.00 | 900000.00 | Vishnusurya Projects & Infra Limited
17.00 | Returing, refilling in the excavated trench including spreading levelling, watering and well ramming in layers not exc 25 cm. | 25.00 | Cum | 159.97 | 200.00 | 5000.00 | 150.00 | 3750.00 | 153.01 | 3825.25 | 300.00 | 7500.00 | 3750.00 | P S G CONSTRUCTIONS
18.00 | Removal of excavated soils exceeding 500m but not exceeding 1.50Km and depositing where directed. | 7700.00 | CUM | 716.91 | 350.00 | 2695000.00 | 600.00 | 4620000.00 | 685.74 | 5280198.00 | 175.00 | 1347500.00 | 1347500.00 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED
19.00 | S&F of Pre-painted galvalume aluminium zinc coating GI based corrugatted steel sheet 0.50mm (TCT) thick of an colour having tensile strength of 550Mpa as in roof covering/cladding to wall fixed with self drilling / self tapping anti corrisive screws with EPDM seal/screw cap complete all as per manfacturers specifications and instructions and as approved and as directed, by considering the dimensions & consideing the dimension & height including all necessary scaffolding and safety aspects complete. | 2000.00 | SQM | 882.06 | 850.00 | 1700000.00 | 870.00 | 1740000.00 | 843.71 | 1687420.00 | 935.00 | 1870000.00 | 1687420.00 | J Santhanam Contractor
20.00 | S &F Pre-painted galvalume aluminum zinc coating GI based Plain steel sheet 0.50mm thick of any colour having tensile strength of 550 Mpa as in roof covering/cladding to wall, fixed with self tapping screws/screw cap as specified . | 25.00 | SQM | 824.56 | 850.00 | 21250.00 | 820.00 | 20500.00 | 788.71 | 19717.75 | 767.00 | 19175.00 | 19175.00 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED
21.00 | Designing, providing, installing and fixing factory finished custom designed cold form Light Gauge Steel Framed super structure comprising of steel wall panel, trusses, purlins etc manufactured out of minimum 0.75mm thick steel sheet as per design requirements. The Detail specification is enclosed as Annexure-I in NIT Document. | 46000.00 | Kg | 211.99 | 244.23 | 11234580.00 | 210.00 | 9660000.00 | 202.77 | 9327420.00 | 265.00 | 12190000.00 | 9327420.00 | J Santhanam Contractor
22.00 | Material and labour for painting steel surfaces of any description over 10cm width or grith with two coats of synthetic enamel paint over a coat of primer including preparing new surfaces. | 2500.00 | SQM | 162.50 | 200.00 | 500000.00 | 160.00 | 400000.00 | 155.43 | 388575.00 | 200.00 | 500000.00 | 388575.00 | J Santhanam Contractor
23.00 | Material and Labour for stone sett flooring with stone setts of size 200 to 250mm long, 150 to 200mm wide and 150mm deep and sides dressed; bedded in cement mortar 1:3, joints 20mm thick; grouted in cement mortar 1:2 with an admixture of metallic floor hardner 5% by weight of cement and struck. | 4800.00 | SQM | 2700.00 | 350.00 | 1680000.00 | 2700.00 | 12960000.00 | 2700.00 | 12960000.00 | 1535.00 | 7368000.00 | 1680000.00 | Vishnusurya Projects & Infra Limited
24.00 | Supply and Fixing of Framed work such as grills, gratings, etc.. with ends of bars shouldered and/or riveted, or forged into spikes; framed guard bars; barred iron doors; ladders; framed balusters; walk ways; railings; framework of water tanks and similar work conforming to Fe.290.Gde-E-165 | 4000.00 | KG | 189.59 | 212.17 | 848680.00 | 189.00 | 756000.00 | 181.35 | 725400.00 | 150.00 | 600000.00 | 600000.00 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED
25.00 | M & L for R.C.C A1 Type, 1: 1.5: 3 M20, 20mm graded aggregate in foundations, including rafts, footings, plinth beams etc., | 10.00 | CUM | 8498.41 | 8500.00 | 85000.00 | 9000.00 | 90000.00 | 8128.91 | 81289.10 | 9500.00 | 95000.00 | 81289.10 | J Santhanam Contractor
26.00 | M & L for R.C.C A1 Type, 1: 1.5: 3 M20, 20mm graded aggregate in columns, pillars, piers, posts and struts etc . | 1.00 | CUM | 9546.27 | 8300.00 | 8300.00 | 9800.00 | 9800.00 | 9131.21 | 9131.21 | 11500.00 | 11500.00 | 8300.00 | Vishnusurya Projects & Infra Limited
27.00 | M & L for R.C.C A1 Type, 1: 1.5: 3 M20, 20mm graded aggregate in beams, cantilevers, bressummers, lintels over 1.50m span etc., | 3.00 | CUM | 9077.53 | 8500.00 | 25500.00 | 9500.00 | 28500.00 | 6500.00 | 19500.00 | 10500.00 | 31500.00 | 19500.00 | J Santhanam Contractor
28.00 | M & L for R.C.C A1 Type, 1: 1.5: 3 M20, 20mm graded aggregate in Slabs supported on walls,beams and columns in floors,roofs, landings, balconies,canopies, deck slabs and in shelves and the like.etc. | 3.50 | CUM | 8208.36 | 8500.00 | 29750.00 | 9100.00 | 31850.00 | 6750.00 | 23625.00 | 10500.00 | 36750.00 | 23625.00 | J Santhanam Contractor
29.00 | Material and Labour for flat formwork to sides of concrete foundations, footings, bases of columns, raft and raft beams,sides and soffits (if any) of foundation and plinth beams,and similar work; vertical or to batter. | 35.00 | SQM | 364.23 | 320.00 | 11200.00 | 364.00 | 12740.00 | 348.39 | 12193.65 | 650.00 | 22750.00 | 11200.00 | Vishnusurya Projects & Infra Limited
30.00 | M & L for form work to side of RCC Member such as columns, pillars, square,rectangular,polygonal etc. | 15.00 | SQM | 687.79 | 468.00 | 7020.00 | 667.00 | 10005.00 | 657.88 | 9868.20 | 850.00 | 12750.00 | 7020.00 | Vishnusurya Projects & Infra Limited
31.00 | M & L for form work to flat sides and soffits of floor or roof beam, beam, lintels, cantilevers, shelves, columns, slabs including supports, overhangs etc. | 40.00 | SQM | 532.22 | 350.00 | 14000.00 | 532.00 | 21280.00 | 450.00 | 18000.00 | 950.00 | 38000.00 | 14000.00 | Vishnusurya Projects & Infra Limited
32.00 | M & L for form work to soffits flat rough finish surfaces of suspended slabs such as roof slabs, floor slabs, landings and similar work not exceeding 200mm thick (Horizontal or sloping). | 25.00 | SQM | 569.55 | 370.00 | 9250.00 | 569.00 | 14225.00 | 400.00 | 10000.00 | 950.00 | 23750.00 | 9250.00 | Vishnusurya Projects & Infra Limited
33.00 | Material and labour for brick work built in CM 1:6 using sub-class ''B'' bricks ,straight or curved on plain exc 6m mean radius. | 10.00 | cum | 5606.25 | 7800.00 | 78000.00 | 7800.00 | 78000.00 | 5000.00 | 50000.00 | 10500.00 | 105000.00 | 50000.00 | J Santhanam Contractor
34.00 | M&L for Plastering with CM 1:4,15mm thick on faces of brick work and concrete surfaces. | 200.00 | sqm | 302.59 | 370.00 | 74000.00 | 330.00 | 66000.00 | 240.00 | 48000.00 | 550.00 | 110000.00 | 48000.00 | J Santhanam Contractor
35.00 | Providing and fixing factory made uPVC white color Sliding window Two track made of extruded profiles with wall thickness of 2.3mm (+- 0.2mm). Window profile with hollow section with multi chamber, Frame (60mm x 62mm). sash (42mm x 67mm). Sliding Interlock (One vertical length in each shutters) (45.5mm x 28mm). Glazing bead (24.5mmx 16mm) will he mitered cut and fusion welded at all corners, including drilling of holes for fixing hardware and drainage of water etc.. making arrangement for fixing of hardware. EPDM gasket 1.2 + -0.2mm thick galvanized steel frame (30mm x 21.5mm), Sash (30mm x 18mm), profile to be inserted in required profile, frame will be fixed to the wall with 8mm x 100mm long fasteners. Hardware : [Touch Lock of zinc alloyed (white powder coated), steel roller system including 5mm thick glazing with selected quality glass, aluminum track on bottom rail for two track sliding frame, wool pine for Sliding sash and interlock.] (Note: The unit rate quoted by contractor excludes cost of glass and includes all other connected accessories. Net opening will be measured for payment purpose) (A) Area not exceeding 2.00 sqm | 5.00 | SQM | 10748.88 | 10747.00 | 53735.00 | 9500.00 | 47500.00 | 10281.32 | 51406.60 | 9400.00 | 47000.00 | 47000.00 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED
36.00 | S & F of 5.5 mm thick Sheet glass, ordinary quality and glazing with oil putty in square exc 0.5 sq. m in each pane. | 5.00 | SQM | 1385.72 | 1528.00 | 7640.00 | 1200.00 | 6000.00 | 1325.47 | 6627.35 | 1330.00 | 6650.00 | 6000.00 | P S G CONSTRUCTIONS
37.00 | S & F of 2nd class hardwood plain,solid ,straight ,chowkats, and frames ,wrought,framed rebated on the solid ,rounded or chamfered,put together with glue pinned at joints, supplied and fixed. | .04 | CUM | 99345.22 | 198689.80 | 7947.59 | 99000.00 | 3960.00 | 95025.87 | 3801.03 | 185000.00 | 7400.00 | 3801.03 | J Santhanam Contractor
38.00 | Supply and fixing of Flush shutters 40 mm thick , particle board core solid board construction and plywood face panels, commercial type on both sides and both faces is covered with decorative face venner with lipping/frame to match. | 2.00 | sqm | 3838.01 | 3836.40 | 7672.80 | 3830.00 | 7660.00 | 3671.14 | 7342.28 | 6500.00 | 13000.00 | 7342.28 | J Santhanam Contractor
39.00 | S/F of Aluminium anodised,Barrel tower bolts (150mm) of extruded section and fixed. | 3.00 | EACH | 88.32 | 378.33 | 1134.99 | 88.00 | 264.00 | 84.48 | 253.44 | 80.00 | 240.00 | 240.00 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED
40.00 | S/F of Aluminium handles (150 mm), cast type,anodised | 2.00 | EACH | 87.29 | 500.00 | 1000.00 | 87.00 | 174.00 | 83.49 | 166.98 | 75.00 | 150.00 | 150.00 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED
41.00 | Supply and Fixing of Butt hinges100mm size, heavy weight, cold rolled mild steel, and fixed. | 3.00 | EACH | 106.49 | 500.00 | 1500.00 | 100.00 | 300.00 | 101.86 | 305.58 | 95.00 | 285.00 | 285.00 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED
42.00 | Material and labour for applying two coat of exterior plastic emulsion over a coat of primer inculding preparation of new surfaces on external wall surfaces (two storey building ) all complete (MAKE:- ASIAN Paint (Apex Ultima), NEROLAC (Excel Total), BERGER (Weather Coat Long Life 7) suitable equivalent make | 100.00 | SQM | 164.68 | 150.00 | 15000.00 | 160.00 | 16000.00 | 157.52 | 15752.00 | 280.00 | 28000.00 | 15000.00 | Vishnusurya Projects & Infra Limited
43.00 | Material and labour for applying two coats of internal emulsion paint with one coat primer on internal wall of painted new surfaces all complete. | 100.00 | SQM | 164.68 | 150.00 | 15000.00 | 160.00 | 16000.00 | 157.52 | 15752.00 | 220.00 | 22000.00 | 15000.00 | Vishnusurya Projects & Infra Limited
44.00 | M & L for painting to wooden surfaces of any description over 10cm width or girth with two coats of synthetic enamel paint over a coat of primer including preparing new surfaces. | 5.00 | SQM | 161.23 | 150.00 | 750.00 | 160.00 | 800.00 | 154.22 | 771.10 | 200.00 | 1000.00 | 750.00 | Vishnusurya Projects & Infra Limited
45.00 | Returning and refilling with well ramming, leveling with excavated soil and spreading at surplus soil | 45.00 | CUM | 159.97 | 150.00 | 6750.00 | 150.00 | 6750.00 | 153.01 | 6885.45 | 300.00 | 13500.00 | 6750.00 | P S G CONSTRUCTIONS, Vishnusurya Projects & Infra Limited
46.00 | Supply and filling of graannular space between casting pipe and raw bore with free pebbles of size 6mm to 10mm complete all as specifed and directed. | 5.00 | CUM | 1800.00 | 1400.00 | 7000.00 | 2500.00 | 12500.00 | 1980.00 | 9900.00 | 3500.00 | 17500.00 | 7000.00 | Vishnusurya Projects & Infra Limited
47.00 | Testing water samples from borewell for potability at king Institute, Guindy, Chennai and submit the report in original as per the instruction of EIC. | 1.00 | EACH | 7500.00 | 15000.00 | 15000.00 | 7500.00 | 7500.00 | 8250.00 | 8250.00 | 40000.00 | 40000.00 | 7500.00 | P S G CONSTRUCTIONS
48.00 | Supplying transporting and lowering and fixing in bore well 50 mm inner dia and 60 mm outer dia of PVC threaded submersible pipe each 10 feet length with joint and wire lock system with pressure rating 20kgf/cm² (MAKE- FINOLEX / ASHIRVAD) or suitable equivalent make | 100.00 | RM | 750.00 | 250.00 | 25000.00 | 750.00 | 75000.00 | 750.00 | 75000.00 | 950.00 | 95000.00 | 25000.00 | Vishnusurya Projects & Infra Limited
49.00 | Supply and fixing of 50 mm dia brass non return valves, screwed both ends for HDPE/PVC pipe with all accessories Note : Brass Non Return Valve + Nipple + Clamp + Welding or (Pipe + MTA/FTA+ Valve ) required fitting included. | 3.00 | EACH | 4100.00 | 1575.00 | 4725.00 | 4100.00 | 12300.00 | 4100.00 | 12300.00 | 1500.00 | 4500.00 | 4500.00 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED
50.00 | Supply and Fixing of NYLON rope of 12 mm dia along the PVC bore pipe and tied with motor base for safety of PVC pipes and tied with pvc tags of 5 mm thick each 1 meter of the bore well pipes . | 100.00 | RM | 22.00 | 65.00 | 6500.00 | 25.00 | 2500.00 | 22.00 | 2200.00 | 500.00 | 50000.00 | 2200.00 | J Santhanam Contractor
51.00 | Supply, install & commissioning of electric motor driven subersible pumpset multistage AC, 3 Phase, 400/440V, 50Hz with high quality Bronze impeller suction housing with perforated strainer with delivery size 50mm dia, complete with standard necessary accessories including Finolex make flat flexible weather proof PVC sheathed over insulated 3 core 4 sq.mm, 1100V grade from Motor to starter pumping capacity 60 to 70 LPM, Head 75 m ,10 Stage pump of 5 HP motor of ( Make : Kirloskar/Texmo or suitable equivalent make) with water level sensor , and the size of the motor should be suitable for 6 inches dia bore. | 1.00 | EACH | 67000.00 | 60000.00 | 60000.00 | 67000.00 | 67000.00 | 67000.00 | 67000.00 | 150000.00 | 150000.00 | 60000.00 | Vishnusurya Projects & Infra Limited
52.00 | Supply & fixing of pillar / wall mounting (as per site requirement) panel 1200mmX600mmX 200mm size. The Detail specification is enclosed as Annexure-II in NIT Document. | 1.00 | EACH | 90000.00 | 6490.00 | 6490.00 | 90000.00 | 90000.00 | 90000.00 | 90000.00 | 47650.00 | 47650.00 | 6490.00 | Vishnusurya Projects & Infra Limited
53.00 | Supply and installation of Earthing complete with galvanized steel pipe electrode, 40mm bore, medium grade 2.5 Mtrs length buried directly and preferably vertically in ground with top edge not less than 1.25 Mtrs below ground level connected with earth lead of 4mm dia galvanized iron or steel wire to the earth test point all as specified and indicated including testing on completion. | 1.00 | EACH | 6596.29 | 8196.00 | 8196.00 | 6500.00 | 6500.00 | 6309.49 | 6309.49 | 13500.00 | 13500.00 | 6309.49 | J Santhanam Contractor
54.00 | Sand filling with good river sand for filling cable trebnch for cushioning on UG cable | 1.50 | CUM | 2270.45 | 2200.00 | 3300.00 | 2500.00 | 3750.00 | 2171.73 | 3257.60 | 10000.00 | 15000.00 | 3257.60 | J Santhanam Contractor
55.00 | Supply and laying of Modular bricks(sub class'B' ) in widthwise laid dry for UG cable protective cover in trenches Old size bricks as directed by EIC. | 1.00 | CUM | 6384.66 | 7800.00 | 7800.00 | 13000.00 | 13000.00 | 6107.07 | 6107.07 | 10000.00 | 10000.00 | 6107.07 | J Santhanam Contractor
56.00 | Supply & Fixing & connecting of the system cable end termination of size 25 Sq mm 4 core including with suitable cable gland & lugg | 1.00 | EACH | 334.00 | 3300.00 | 3300.00 | 384.00 | 384.00 | 367.40 | 367.40 | 4500.00 | 4500.00 | 367.40 | J Santhanam Contractor
57.00 | Supply and fixing Earth continuity conductor or main earthing lead fixed to wall on batten or recess or chases or buried in ground or drawn in onduit/pipe or fixed to poles or any other indicated situation for loop earthing etc. as required 4mm dia galvanised iron or steel wire | 6.00 | EACH | 69.23 | 210.00 | 1260.00 | 60.00 | 360.00 | 66.22 | 397.32 | 200.00 | 1200.00 | 360.00 | P S G CONSTRUCTIONS
58.00 | Supply & Laying of 4 Core,PVC insulated, armoured, heavy duty electric cable with Aluminium conductor 1100 volts grade, cross sectional area 25 Sqmm through cable trenches/ flooring/ pipes etc. including termination with suitable glands and lugs etc. | 90.00 | RM | 238.04 | 284.00 | 25560.00 | 235.00 | 21150.00 | 227.69 | 20492.10 | 210.00 | 18900.00 | 18900.00 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED
59.00 | M & L For Drilling Bore holes 12 inch dia using power rig in any type of soil etc. and cleaning site after drilling. | 100.00 | RM | 650.00 | 670.00 | 67000.00 | 650.00 | 65000.00 | 650.00 | 65000.00 | 2000.00 | 200000.00 | 65000.00 | P S G CONSTRUCTIONS, J Santhanam Contractor
60.00 | Supplying transporting and lowering in raw bore wells PVC NON SLOTED Casing pipe of size 8 inch inner dia having thickness of 7.6 to 8.8 mm and lowering with vertical alingment including jointing complete . ( Make of the pipe shall be - Truebore/Finolex or suitable equivalent make are only acceptable. | 30.00 | RM | 1050.00 | 1577.50 | 47325.00 | 1600.00 | 48000.00 | 1050.00 | 31500.00 | 1150.00 | 34500.00 | 31500.00 | J Santhanam Contractor
61.00 | Supplying transporting and lowering in raw bore wells PVC VERTICAL SLOTED Casing pipe of size 8 inch inner dia having thickness of 7.6 mm to 8.8 mm and lowering with vertical alingment including jointing complete. (Make of the pipe shall be- Truebore/Finolex or suitable equivalent make) | 70.00 | RM | 1100.00 | 1577.50 | 110425.00 | 1700.00 | 119000.00 | 1100.00 | 77000.00 | 1255.00 | 87850.00 | 77000.00 | J Santhanam Contractor
62.00 | Supply and Fixing of Unplasticised PVC pipes of pressure rating 10 kgf/cm2 fixed complete to walls, ceilings or in floors etc., any type of pipe 63 mm .( Make of the pipe shall be- Truebore/Finolex or suitable equivalent make) Including all fitting | 175.00 | RM | 150.00 | 325.00 | 56875.00 | 190.00 | 33250.00 | 150.00 | 26250.00 | 700.00 | 122500.00 | 26250.00 | J Santhanam Contractor
63.00 | Supply and Fixing of Unplasticised PVC pipes of pressure rating 10 kgf/cm2 fixed complete to walls, ceilings or in floors etc., any type of pipe 20mm Bore of pipes in mm Including all fitting | 50.00 | RM | 135.88 | 160.00 | 8000.00 | 145.00 | 7250.00 | 129.98 | 6499.00 | 200.00 | 10000.00 | 6499.00 | J Santhanam Contractor
64.00 | Supply and fixing of 50 mm dia Gun-metal, globe or gate valves, with iron wheel head, screwed both ends for iron pipe or pvc with all accessories fitting required. Make should be ISI Heavy duty. | 4.00 | EACH | 1125.94 | 1675.00 | 6700.00 | 1500.00 | 6000.00 | 1076.99 | 4307.96 | 700.00 | 2800.00 | 2800.00 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED
65.00 | Supply and fixing of open well submersible 3 phase,7.50 KW,10 HP pump | 2.00 | EACH | 45000.00 | 70000.00 | 140000.00 | 45000.00 | 90000.00 | 45000.00 | 90000.00 | 80000.00 | 160000.00 | 90000.00 | P S G CONSTRUCTIONS, J Santhanam Contractor
66.00 | Supply, erection, testing and commissioning of Mild Steel ERW Pipe C-Class confirming to IS1239/IS3589 of Nominal Bore Dia. of 25mm dia with all necessary malleable fittings viz flanges, unions, bends, reducers, tees, gaskets, bolts & nuts etc complete., | 270.00 | RM | 277.15 | 430.00 | 116100.00 | 277.00 | 74790.00 | 265.10 | 71577.00 | 800.00 | 216000.00 | 71577.00 | J Santhanam Contractor
67.00 | Supply and installation of Flanged Gate / Ball valve 1”/25mm complete with flanges, fasteners, support arrangement with necessary gaskets, nuts, bolts, washers, etc. | 36.00 | Nos | 13275.00 | 1937.00 | 69732.00 | 15000.00 | 540000.00 | 13275.00 | 477900.00 | 465.00 | 16740.00 | 16740.00 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED
68.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in STEEL conduit a) 2x2.5 sqmm + 1x2.5 sqmm earth wire | 750.00 | RM | 310.63 | 115.00 | 86250.00 | 310.00 | 232500.00 | 284.75 | 213562.50 | 280.00 | 210000.00 | 86250.00 | Vishnusurya Projects & Infra Limited
69.00 | Supply & fixing Single pole and neutral enclosure with a two pin and earth plug and socket complete with one single pole MCB 20 amps 240 VOLTS . (Make: Legrand / Havells /Anchor or suitable equivalent make) | 8.00 | Each | 2181.36 | 2517.00 | 20136.00 | 2100.00 | 16800.00 | 1999.58 | 15996.64 | 1850.00 | 14800.00 | 14800.00 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED
70.00 | Supply & fixing and connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used Triple pole & neutral 12 way,415 V with 200 Amps rated busbar, (Make: Legrand/Havells / ABB or suitable equivalent make) | 1.00 | Each | 5499.96 | 2245.00 | 2245.00 | 5500.00 | 5500.00 | 5041.63 | 5041.63 | 6500.00 | 6500.00 | 2245.00 | Vishnusurya Projects & Infra Limited
71.00 | Supply & fixing of sheet metal enclosures for DBs when MCBs to be used Single pole & neutral,12 way double door. | 1.00 | Each | 2717.88 | 3342.70 | 3342.70 | 2710.00 | 2710.00 | 2491.39 | 2491.39 | 5000.00 | 5000.00 | 2491.39 | J Santhanam Contractor
72.00 | Supply & fixing 415 Volt,10KA 'C' curve MCB of TPN 40 To 100Amps in the MCB DB complete with connection testing and commissioning. (Make :Legrand/ Havells/ C&S or suitable equivalent make) | 1.00 | Each | 2832.89 | 2112.70 | 2112.70 | 2800.00 | 2800.00 | 2596.81 | 2596.81 | 2361.00 | 2361.00 | 2112.70 | Vishnusurya Projects & Infra Limited
73.00 | Supply and fixing amp rating 415V 10KA 'C' curve miniature circuit breaker (MCB) of SPN 32 AMP current carrying capacity in the MCB DB complete with connection testing and commissioning. | 1.00 | Each | 1021.44 | 1051.20 | 1051.20 | 1000.00 | 1000.00 | 936.32 | 936.32 | 1330.00 | 1330.00 | 936.32 | J Santhanam Contractor
74.00 | Supply & fixing 240 Volt,10KA 'C' curve MCB of single pole 6 to 32Amps in the MCB DB complete with connection testing and commissioning. Make Legrand/Havells/C&S or suitable equivalent make | 46.00 | Each | 352.80 | 1051.20 | 48355.20 | 270.00 | 12420.00 | 323.40 | 14876.40 | 400.00 | 18400.00 | 12420.00 | P S G CONSTRUCTIONS
75.00 | Supply and fixing of exhaust fan, steel body AC single Phase. 230V of size 300 mm sweep with, blades, and frame and louvers (Make: Almonard/ Khaitan/ Crompton or Suitably equivalent make) | 6.00 | Each | 4258.31 | 3422.00 | 20532.00 | 4200.00 | 25200.00 | 3903.45 | 23420.70 | 4500.00 | 27000.00 | 20532.00 | Vishnusurya Projects & Infra Limited
76.00 | Material & Labour for laying of 3.5core 120.00 sq.mm 1100 voltage grade heavy duty, armoured, U.G. cable with XLPE insulated aluminum conductor. (Make : Havells/Finolex/Orbit /Policab or Suitably equivalent make) | 150.00 | RM | 777.78 | 748.15 | 112222.50 | 750.00 | 112500.00 | 712.97 | 106945.50 | 650.00 | 97500.00 | 97500.00 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED
77.00 | Supply and fixing LED street light fitting 70 Watt 230 V AC outdoor type with high pressure die cast aluminum hosing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete. (Make: Havells/ Philips/ Wipro/ Bajaj/ CG/ Luker) or Suitably equivalent make ) | 6.00 | Each | 7130.52 | 7000.00 | 42000.00 | 6300.00 | 37800.00 | 6536.31 | 39217.86 | 6000.00 | 36000.00 | 36000.00 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED
78.00 | Excavating in trenches hard/dense soil not exceeding 1.5 m wide and not exceeding 1.5 m in depth for laying cable. | 54.00 | cu .m | 810.00 | 200.00 | 10800.00 | 810.00 | 43740.00 | 7433.80 | 401425.20 | 450.00 | 24300.00 | 10800.00 | Vishnusurya Projects & Infra Limited
79.00 | Material & labour for sand filling for cushioning on U.G cable | 7.20 | cu.m | 2369.16 | 2100.00 | 15120.00 | 2500.00 | 18000.00 | 2171.73 | 15636.46 | 3000.00 | 21600.00 | 15120.00 | Vishnusurya Projects & Infra Limited
80.00 | Materal & labour for Bricks; common burnt clay building bricks sub class B Old size designation 75 for protection to U.G cable | .96 | nos in 1000 | 6662.26 | 7800.00 | 7488.00 | 13000.00 | 12480.00 | 6107.07 | 5862.79 | 12500.00 | 12000.00 | 5862.79 | J Santhanam Contractor
81.00 | Returning, refilling in the excavated trench after laying of power cable including spreading levelling, watering and well ramming in layers not exc 25 cm. | 54.00 | cu.m | 166.92 | 150.00 | 8100.00 | 150.00 | 8100.00 | 153.01 | 8262.54 | 300.00 | 16200.00 | 8100.00 | P S G CONSTRUCTIONS, Vishnusurya Projects & Infra Limited
82.00 | Demolition of cement concrete of any description and in any position | 5.40 | Cum | 1957.56 | 2500.00 | 13500.00 | 1900.00 | 10260.00 | 1794.43 | 9689.92 | 3200.00 | 17280.00 | 9689.92 | J Santhanam Contractor
83.00 | Material and labour for cement concrete 1:2:4 Type B1 using 20mm graded aggregate in foundations, filling and mass concrete | 5.40 | Cum | 7840.00 | 8200.00 | 44280.00 | 7840.00 | 42336.00 | 7186.66 | 38807.96 | 9000.00 | 48600.00 | 38807.96 | J Santhanam Contractor
84.00 | Supply of Galvanised steel tubes mediam grade 150 mm diameter | 12.00 | RM | 1023.60 | 1284.00 | 15408.00 | 2700.00 | 32400.00 | 938.30 | 11259.60 | 900.00 | 10800.00 | 10800.00 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED
85.00 | Supply and fixing of 150 WATTS LED Highbay fittings | 15.00 | Each | 6745.00 | 6962.00 | 104430.00 | 6700.00 | 100500.00 | 6745.00 | 101175.00 | 12500.00 | 187500.00 | 100500.00 | P S G CONSTRUCTIONS
86.00 | ESE Air Terminal :- Supply of corrosion resistant, stainless chrome body , nonradioactive , fully autonomous Advanced Early Streamer Emission Air Terminal (ESEAT) Lightning protection system suitable for both negative and pasitive polarized discharge with CPRI tested average gain in triggering time (Delta Ts) 63micro second complying with NFC17-102version 2011, protection radius 107 mtrs. Supply & fixing of ESE Air Terminal, with 3 leg triangular 21 mtr mounting mast with foundation &accessories, 2 nos. earth pits, down conductor, LCD lighting transient event counter, inculuding installation & commissioning charges all inclusive. Make/Model:Tercel Tz63/GROUND PSG/Saint Elmo or suitable equivalent make | 1.00 | Each | 570000.00 | 60435.32 | 60435.32 | 590000.00 | 590000.00 | 570000.00 | 570000.00 | 365000.00 | 365000.00 | 60435.32 | Vishnusurya Projects & Infra Limited
| Total in Figures |  |  |  |  | 58825257.00 |  | 79683938.00 |  | 70812230.13 |  | 73768461.00
Lowest Amount Quoted BY: Vishnusurya Projects & Infra Limited(58825257.00)

## BOQ Summary
BOQ Summary Details Tender Title: CONSTRUCTION OF PARKING SHED FOR OH AUGMENTATION PROJECT AT HVF, AVADI Tender ID: 2025_AVNL_241119_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Vishnusurya Projects & Infra Limited (BID ID -878265) | 58825257.00 | L1
| 2 | J Santhanam Contractor (BID ID -878272) | 70812230.13 | L2
| 3 | NARASIMHAN ENGINEERING CONTRACTORS PRIVATE LIMITED (BID ID -877205) | 73768461.00 | L3
| 4 | P S G CONSTRUCTIONS (BID ID -878158) | 79683938.00 | L4