## BoQ1
Government eProcurement System Created By: SRI LAXMI K Created Date/Time: 14-Jan-2026 10:15 AM Tender Title: Electrical rewiring of Foundry 1, Foundry 2, Die Shop, Compressor House, AC Plant and Met Lab office buildings inside factory area at OFMK Tender ID: 2025_AVNL_246576_1
Tender Inviting Authority: CHIEF GENERAL MANAGER ORDNANCE FACTORY MEDAK (A UNIT OF AVNL)
Name of Work: Electrical rewiring of Foundry 1, Foundry 2, Die Shop, Compressor House, AC Plant and Met Lab office buildings inside factory area at OFMK
Contract No: 73025/TE -07/OFMK/EO/RW/2025
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SRS ELECTRICALS (GSTN-29AWZPK1221C1ZI) BID ID -895906 |  | GAYATHRI ENGINEERS (GSTN-NA) BID ID -901913 |  | Kranth Enterprises (GSTN-NA) BID ID -900280 |  | SRI SAI PANASA ELECTRICALS (GSTN-NA) BID ID -901622
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taking Down carefully copper/Aluminium point wiring (light, Fan, Socket, power point ) complete (fittings such as switches, ceiling roses, pendents, regulators, sockets, etc to be measured seperately) removing mateiral to store for keeping in safe custody for reuse at site and making good, disturbed surfaces of walls, floors etc as per the instructions of EIC. | 700.00 | per point |  | 125.00 | 87500.00 | 155.50 | 108850.00 | 195.00 | 136500.00 | 220.00 | 154000.00 | 87500.00 | SRS ELECTRICALS
2.00 | Taking Down carefully by unscrewing from board /outlets boxes fittings and fixtures such as switches ,sockets, ceiling roses, lamp holders, brackets, ceiling fittings, bulk head fittings, tubelight fittings and regulatorsetc for reuse at site or carrying to the store ( to be measured only when found serviciable in all respect complete for reuse as per instructions of EIC. | 500.00 | per point |  | 35.00 | 17500.00 | 33.90 | 16950.00 | 34.94 | 17470.00 | 30.00 | 15000.00 | 15000.00 | SRI SAI PANASA ELECTRICALS
3.00 | Point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one Light point or one fan point controlled by one switch with cables 1.5 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/polycab/L&T in PVC concealed conduit wiring, includes all accessories like bends, tees, screws, clips, plugs, clamps, junction boxes, cutting holes in or through walls, fixing of wooden boards, earth wire and nuetral etc and testing as specified all connections to be given by copper Pin/ eye type lugs including for earth connections complete all as specified by EIC. | 838.00 | per point |  | 900.00 | 754200.00 | 915.50 | 767189.00 | 845.00 | 708110.00 | 930.00 | 779340.00 | 708110.00 | Kranth Enterprises
4.00 | Point wiring: Supply and fixing /Drawing of cables to one 3 pin socket outlet 5 amps independent on the same board with other switches, with cables 1.5 sq.mm size of copper conductor cables FR PVC concealed conduit wiring Make Finolex/Havells/polycab/L&T as specified by EIC. | 360.00 | per point |  | 275.00 | 99000.00 | 275.00 | 99000.00 | 284.10 | 102276.00 | 250.00 | 90000.00 | 90000.00 | SRI SAI PANASA ELECTRICALS
5.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 5 amps independent, with cables 1.5 sq.mm size of copper conductor cables FR PVC Make Finolex /Havells /polycab /L&T in PVC conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and all connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC. | 408.00 | per point |  | 1000.00 | 408000.00 | 1250.00 | 510000.00 | 910.00 | 371280.00 | 1350.00 | 550800.00 | 371280.00 | Kranth Enterprises
6.00 | Point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 15 amps independent, with 4.0 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/ polycab/L&T in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire. All connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC 's technical instructions amended from time to time. | 234.00 | per point |  | 1930.00 | 451620.00 | 2000.00 | 468000.00 | 1810.00 | 423540.00 | 1700.00 | 397800.00 | 397800.00 | SRI SAI PANASA ELECTRICALS
7.00 | LED TUBE LIGHT: Supply and fixing LED lights fitting 1x 20W, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper onductor cable of suitable size from ceiling rose complete. Make: syska/Orient/ CG /wipro/ osram/surya/ halonex/ philips /havells | 590.00 | Each |  | 1260.00 | 743400.00 | 550.00 | 324500.00 | 900.00 | 531000.00 | 1000.00 | 590000.00 | 324500.00 | GAYATHRI ENGINEERS
8.00 | Ceiling rose : Supply and fixing of ceiling rose,PVC/Polycorbonate,3 terminal Make Anchor / Havells/Maru/Cona of ISI quality. | 838.00 | Each |  | 50.00 | 41900.00 | 80.00 | 67040.00 | 45.00 | 37710.00 | 60.00 | 50280.00 | 37710.00 | Kranth Enterprises
9.00 | Ceiling Fan: Supply and fixing ceiling fans completewith blades, down rods, electronicregulator and accessories, 230 V, 1200mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five starrated with brushless direct current motor (BLDC) | 162.00 | Each |  | 2650.00 | 429300.00 | 2550.80 | 413229.60 | 2550.00 | 413100.00 | 2800.00 | 453600.00 | 413100.00 | Kranth Enterprises
10.00 | BUZZER: Supply and fixing Ding dong buzzer of AC 230Volt. Make:Legrand /Schneider/ Havells / Anchor/GM | 10.00 | Each |  | 430.00 | 4300.00 | 390.00 | 3900.00 | 430.40 | 4304.00 | 250.00 | 2500.00 | 2500.00 | SRI SAI PANASA ELECTRICALS
11.00 | MCB :Supply and fixing of MCB, 240 V, single pole 5 to 40 amp Make legrand/Schneider/ Indoasian /Havells /L&T of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 400.00 | Each |  | 350.00 | 140000.00 | 280.00 | 112000.00 | 250.00 | 100000.00 | 200.00 | 80000.00 | 80000.00 | SRI SAI PANASA ELECTRICALS
12.00 | MCB :Supply and fixing of MCB, 240 V, DP 40 amp. Make legrand/Schneider/ Indoasian /Havells /L&T of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 50.00 | Each |  | 500.00 | 25000.00 | 550.00 | 27500.00 | 512.40 | 25620.00 | 550.00 | 27500.00 | 25000.00 | SRS ELECTRICALS
13.00 | MCB :Supply and fixing of MCB, 415 V, TPN 63A amp Make legrand/ Schneider/ Indoasian /Havells /L&T of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 40.00 | Each |  | 1300.00 | 52000.00 | 1847.00 | 73880.00 | 1300.00 | 52000.00 | 2000.00 | 80000.00 | 52000.00 | SRS ELECTRICALS, Kranth Enterprises
14.00 | MCB D.B : Supply and fixing of Sheet Metal enclousers for MCB D.B of double door of SPN, 8 way, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand /Schneider /Indoasian /Havells /L&T complete all as specified by EIC. | 50.00 | Each |  | 1875.00 | 93750.00 | 3200.00 | 160000.00 | 1912.70 | 95635.00 | 2500.00 | 125000.00 | 93750.00 | SRS ELECTRICALS
15.00 | MCB D.B : Supply andFixing of Sheet Metal enclousers for MCB D.B of double door of TPN,12 way, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand /Schneider /Indoasian /Havells /L&T complete all as specified by EIC | 2.00 | Each |  | 4583.00 | 9166.00 | 8500.00 | 17000.00 | 4583.30 | 9166.60 | 7000.00 | 14000.00 | 9166.00 | SRS ELECTRICALS
16.00 | MCB D.B : Supply andFixing of Sheet Metal enclousers for MCB D.B of double door of TPN,8 way, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand /Schneider /Indoasian /Havells /L&T complete all as specified by EIC | 18.00 | Each |  | 3500.00 | 63000.00 | 12888.00 | 231984.00 | 3588.70 | 64596.60 | 8000.00 | 144000.00 | 63000.00 | SRS ELECTRICALS
17.00 | MCCB: Suppply and fixing of MCCB 3 pole, 415 V, fixed type, 25-100 Amps with breaking capacity 16 KA Make: legrand /Schneider/ Indoasian/ L&T. | 4.00 | Each |  | 3016.00 | 12064.00 | 5786.00 | 23144.00 | 3016.10 | 12064.40 | 8000.00 | 32000.00 | 12064.00 | SRS ELECTRICALS
18.00 | MCCB: Suppply and fixing of MCCB 3 pole, 415 V,adjustable type, 125 Amps with breaking capacity 16 KA Make: legrand/ Schneider / Indoasian/ L&T. | 12.00 | Each |  | 3587.00 | 43044.00 | 6553.00 | 78636.00 | 3587.10 | 43045.20 | 8000.00 | 96000.00 | 43044.00 | SRS ELECTRICALS
19.00 | MCCB: Suppply and fixing of MCCB 3 pole, 415 V,adjustable type, 400 Amps with breaking capacity 36 KA Make: legrand/ Schneider / Indoasian / L&T. | 1.00 | Each |  | 14393.00 | 14393.00 | 24036.00 | 24036.00 | 14393.50 | 14393.50 | 18000.00 | 18000.00 | 14393.00 | SRS ELECTRICALS
20.00 | MCCB: Suppply and fixing of MCCB 3 pole, 415 V,adjustable type, 250 Amps with breaking capacity 36 KA Make: legrand/ Schneider / Indoasian/ L&T | 1.00 | Each |  | 13145.00 | 13145.00 | 18408.00 | 18408.00 | 13145.50 | 13145.50 | 18000.00 | 18000.00 | 13145.00 | SRS ELECTRICALS
21.00 | Industrial socket plug: Supply and fixing of Single pole and neutral, 240 V, 20 amps, enclosure with a two pin and earth plug and socket complete with one single pole MCB Make Schneider /Indoasian /Legrand /ABB | 66.00 | Each |  | 1750.00 | 115500.00 | 1900.00 | 125400.00 | 1750.00 | 115500.00 | 1400.00 | 92400.00 | 92400.00 | SRI SAI PANASA ELECTRICALS
22.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 4x6.0 Sq.mm + 1x6 sq.mm earth wire in PVC concelead Conduit wiring .Make: Finolex/Havells /polycab/L&T complete all as specified by the EIC | 2200.00 | RM |  | 400.00 | 880000.00 | 556.00 | 1223200.00 | 380.00 | 836000.00 | 325.00 | 715000.00 | 715000.00 | SRI SAI PANASA ELECTRICALS
23.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x4.0 Sq.mm + 1x4.0 sq.mm earth wire in PVC Conduit wiring. Make: Finolex /Havells /polycab /L&T complete all as specified by the EIC | 1400.00 | RM |  | 225.00 | 315000.00 | 240.00 | 336000.00 | 185.00 | 259000.00 | 200.00 | 280000.00 | 259000.00 | Kranth Enterprises
24.00 | MODULAR BELL PUSH: Supply and Fixing of modular bell push Flush type 5 amps Modular type Make:Legrand/ Schneider / Havells | 10.00 | Each |  | 134.00 | 1340.00 | 350.00 | 3500.00 | 134.10 | 1341.00 | 180.00 | 1800.00 | 1340.00 | SRS ELECTRICALS
25.00 | Switch Modular : Supply and Fixing of switch modular type of one way 6 amps make Legrand /Schneider /Havells of ISI quality complete all as specifies by the EIC | 1476.00 | Each |  | 260.00 | 383760.00 | 85.00 | 125460.00 | 145.00 | 214020.00 | 170.00 | 250920.00 | 125460.00 | GAYATHRI ENGINEERS
26.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1, 3 pin 6 amps modular type make Legrand/Schneider/Havells of ISI quality complete all as specified by the EIC | 648.00 | Each |  | 340.00 | 220320.00 | 160.00 | 103680.00 | 150.00 | 97200.00 | 280.00 | 181440.00 | 97200.00 | Kranth Enterprises
27.00 | SWITCH MODULAR : Supply and Fixing of switch modular type of one way 16 amps make Legrand/Schneider/Havells of ISI quality complete all as specifies by the EIC | 168.00 | Each |  | 340.00 | 57120.00 | 123.60 | 20764.80 | 243.00 | 40824.00 | 360.00 | 60480.00 | 20764.80 | GAYATHRI ENGINEERS
28.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 3 pin 6/16 amps modular type make Legrand/ Schneider/Havells of ISI quality complete all as specified by the EIC | 168.00 | Each |  | 500.00 | 84000.00 | 500.00 | 84000.00 | 328.00 | 55104.00 | 400.00 | 67200.00 | 55104.00 | Kranth Enterprises
29.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 4 module of make Legrand/ Schneider /Havells complete all as specified by the EIC | 342.00 | Each |  | 240.00 | 82080.00 | 193.00 | 66006.00 | 197.00 | 67374.00 | 250.00 | 85500.00 | 66006.00 | GAYATHRI ENGINEERS
30.00 | METAL FLUSH BOX : Supply and Fixing of 4 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand/ Schneider/ Havells complete all as specified by the EIC | 342.00 | Each |  | 200.00 | 68400.00 | 160.00 | 54720.00 | 180.00 | 61560.00 | 250.00 | 85500.00 | 54720.00 | GAYATHRI ENGINEERS
31.00 | LED street light fitting : Supply and fixing LED street light fitting 35 Watt230 V AC outdoor type with high pressure die cast aluminum hosing and heat resistant complete with driver, lamp bracket with impactand corrosion resistant including thermalmanagement in multiple optics complete withIP 65/66 protection complete.Make: Philips/CG/Wipro/ Osram/ Havells/ Orient/Halonix | 30.00 | Each |  | 2966.00 | 88980.00 | 2696.00 | 80880.00 | 2000.00 | 60000.00 | 1500.00 | 45000.00 | 45000.00 | SRI SAI PANASA ELECTRICALS
32.00 | Cutting Chases: Cutting chases , pinning in, making good to facings where required and pointing in cement mortor 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels etc; and cutting chases for concealed water tubing or concealed conduit wiring etc, and making good , cutting not exceding 10 cm girth.complete all as specified by the EIC | 1500.00 | RM |  | 50.00 | 75000.00 | 50.00 | 75000.00 | 50.45 | 75675.00 | 60.00 | 90000.00 | 75000.00 | SRS ELECTRICALS, GAYATHRI ENGINEERS
33.00 | Painting: Distempering walls with distemper oil emulsion, white or tinted double coat. | 1000.00 | Sq.M |  | 65.00 | 65000.00 | 64.00 | 64000.00 | 64.60 | 64600.00 | 50.00 | 50000.00 | 50000.00 | SRI SAI PANASA ELECTRICALS
34.00 | MODULAR WHITE COVER PLATE WITH FRAME: Supply and Fixing of 8 Module covering plate with frame of make Legrand/Schneider/Havells compleate all as secified by the EIC | 104.00 | Each |  | 381.00 | 39624.00 | 268.00 | 27872.00 | 281.00 | 29224.00 | 300.00 | 31200.00 | 27872.00 | GAYATHRI ENGINEERS
35.00 | SWITCH BOARD BOX WITH FRAME PLATE AND COVER PLATE 8 MODULE: Supply and Fixing of 8 Module metal flush box of make Legrand / Schneider /Havells compleate all as secified by the EIC | 104.00 | Each |  | 180.00 | 18720.00 | 228.00 | 23712.00 | 180.00 | 18720.00 | 280.00 | 29120.00 | 18720.00 | SRS ELECTRICALS, Kranth Enterprises
36.00 | PANEL: Splease refer complete specification / description for this item in ANNEXURE "A" | 1.00 | Each |  | 280000.00 | 280000.00 | 195945.00 | 195945.00 | 355000.00 | 355000.00 | 110000.00 | 110000.00 | 110000.00 | SRI SAI PANASA ELECTRICALS
37.00 | PANEL: Supply and fixing of PDB control panel coated of 2mm thickness CRCA sheet to accommodate 250 Amps MCCB in coming 3 ph and neutral bus (Aluminium) bar (250Amps) and provision to fixing of 15nos of TPN MCBs with indicating lamps. | 1.00 | Each |  | 32000.00 | 32000.00 | 40710.00 | 40710.00 | 44000.00 | 44000.00 | 35000.00 | 35000.00 | 32000.00 | SRS ELECTRICALS
38.00 | FAN HOOK: Supply and Fixing of Fan hook with double anchor bolt complete fixing as per instructions of EIC. | 30.00 | Each |  | 130.00 | 3900.00 | 150.00 | 4500.00 | 130.00 | 3900.00 | 100.00 | 3000.00 | 3000.00 | SRI SAI PANASA ELECTRICALS
39.00 | MCCB Enclosure: Suppply and fixing of MCCB Enclosure suitable for 3 pole, 415 V,adjustable type, 125 Amps with breaking capacity 36 KA Make: legrand/Schneider/ Indoasian/ L&T. | 4.00 | Each |  | 1125.00 | 4500.00 | 3500.00 | 14000.00 | 1125.00 | 4500.00 | 3200.00 | 12800.00 | 4500.00 | SRS ELECTRICALS, Kranth Enterprises
40.00 | SWITCH BOARD BOX WITH FRAME PLATE AND COVER PLATE 18 MODULE : Supply and Fixing of covering plates with Metal Flush box and cover plate frames of 18 module of make Legrand/ Schneider/ Havells complete all as specified by the EIC. | 160.00 | Each |  | 500.00 | 80000.00 | 1404.00 | 224640.00 | 420.00 | 67200.00 | 500.00 | 80000.00 | 67200.00 | Kranth Enterprises
| Total in Figures |  |  |  |  | 6397526.00 |  | 6439236.40 |  | 5645698.80 |  | 6024180.00
Lowest Amount Quoted BY: Kranth Enterprises(5645698.80)

## BOQ Summary
BOQ Summary Details Tender Title: Electrical rewiring of Foundry 1, Foundry 2, Die Shop, Compressor House, AC Plant and Met Lab office buildings inside factory area at OFMK Tender ID: 2025_AVNL_246576_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Kranth Enterprises (BID ID -900280) | 5645698.80 | L1
| 2 | SRI SAI PANASA ELECTRICALS (BID ID -901622) | 6024180.00 | L2
| 3 | SRS ELECTRICALS (BID ID -895906) | 6397526.00 | L3
| 4 | GAYATHRI ENGINEERS (BID ID -901913) | 6439236.40 | L4