## BoQ1
Government eProcurement System Created By: V. UKESH BABU Created Date/Time: 14-Oct-2025 11:07 AM Tender Title: SPECIAL REPAIRS / RENOVATION OF TYPE-IV DAMAGED VACANT QUARTERS AT HVF ESTATE. Tender ID: 2025_AVNL_247784_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: SPECIAL REPAIRS / RENOVATION OF TYPE-IV DAMAGED VACANT QUARTERS AT HVF ESTATE.
Tender No: HVF/TE/13025/CEO/2025-26/40
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Siva Enterprises (GSTN-NA) BID ID -905875 |  | TMS CONSTRUCTIONS (GSTN-NA) BID ID -905993 |  | Sri Lakshmi Industries (GSTN-NA) BID ID -905973
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolition of reinforced cement concrete in ground floors and pavings not exceeding 15cm thick. | 42.00 | CUM | 1795.09 | 1755.00 | 73710.00 | 900.00 | 37800.00 | 1400.00 | 58800.00 | 37800.00 | TMS CONSTRUCTIONS
2.00 | Demolition of Brick work built in Cement Mortor of any description | 10.00 | CUM | 1806.13 | 1255.00 | 12550.00 | 800.00 | 8000.00 | 1450.00 | 14500.00 | 8000.00 | TMS CONSTRUCTIONS
3.00 | Taking down window Shutters of any description but exc 1 sq. m and n exc 2 sq. m each complete all as directed by EIC. | 243.00 | Each | 98.23 | 95.00 | 23085.00 | 200.00 | 48600.00 | 60.00 | 14580.00 | 14580.00 | Sri Lakshmi Industries
4.00 | Taking down door shutters with frame or cupboard shutter with frame exceeding 1.50 sqm but not exceeding 4.00sqm each without taking shutter from the frame complete all as directed by EIC. | 54.00 | Each | 393.03 | 355.00 | 19170.00 | 100.00 | 5400.00 | 200.00 | 10800.00 | 5400.00 | TMS CONSTRUCTIONS
5.00 | Taking down door shutters with frame or cupboard shutter with frame not exceeding 1.0 sqm each and handing over the same to CE(E)/Store. | 243.00 | Each | 135.74 | 135.00 | 32805.00 | 100.00 | 24300.00 | 95.00 | 23085.00 | 23085.00 | Sri Lakshmi Industries
6.00 | Dismantling floor,hearth or wall tiling including cement mortar bedding (but not backing),removing serviceable tiles to store and rubbish off the premises | 1360.00 | SQM | 98.45 | 95.00 | 129200.00 | 90.00 | 122400.00 | 60.00 | 81600.00 | 81600.00 | Sri Lakshmi Industries
7.00 | Taking down Cement plastering on brick walls surfaces of any description including raking out joints, hacking for key, scrubbing down with water, etc. | 1200.00 | SQM | 104.43 | 105.00 | 126000.00 | 90.00 | 108000.00 | 80.00 | 96000.00 | 96000.00 | Sri Lakshmi Industries
8.00 | Material and labour for Dubbing out average 10mm thick in C.M 1:4 on irregular face of walls (when specifically ordered in writing). | 1200.00 | SQM | 187.15 | 195.00 | 234000.00 | 200.00 | 240000.00 | 120.00 | 144000.00 | 144000.00 | Sri Lakshmi Industries
9.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of brick work and concrete wall surfaces. | 1250.00 | SQM | 289.43 | 295.00 | 368750.00 | 350.00 | 437500.00 | 290.00 | 362500.00 | 362500.00 | Sri Lakshmi Industries
10.00 | M & L for Brick work built in CM.1:6 using Good quality modular bricks / solid Concrete bricks Bricks.straight or curved on plan exc 6m mean radius. | 20.00 | CUM | 7625.00 | 6155.00 | 123100.00 | 9000.00 | 180000.00 | 7500.00 | 150000.00 | 123100.00 | Siva Enterprises
11.00 | Material and Labour for forming jambs using CM 1:4 to opening including cutting, toothing and also facing, jointing and pointing to match existing work complete. | 650.00 | SQM | 781.66 | 455.00 | 295750.00 | 400.00 | 260000.00 | 600.00 | 390000.00 | 260000.00 | TMS CONSTRUCTIONS
12.00 | M & L for plastering in CM 1:4, 12mm thick on RCC Ceiling. | 100.00 | SQM | 279.08 | 295.00 | 29500.00 | 300.00 | 30000.00 | 300.00 | 30000.00 | 29500.00 | Siva Enterprises
13.00 | M&L for applying two coats of white washing on ceilings fair faced brick/concrete surfaces including preparation of old ceiling surfaces complete all as directed | 100.00 | Sqm | 24.42 | 25.00 | 2500.00 | 30.00 | 3000.00 | 15.00 | 1500.00 | 1500.00 | Sri Lakshmi Industries
14.00 | M&L for applying 3mm thick wall care putty on wall (Make shall be of JK white putty or Birla white wall care putty) or Suitabley Equivalent Make). | 4900.00 | SQM | 91.78 | 75.00 | 367500.00 | 120.00 | 588000.00 | 70.00 | 343000.00 | 343000.00 | Sri Lakshmi Industries
15.00 | M&L for applying two coats of plastic emulsion emulsion on internal wall surfaces including preparaition of old wall surfaces complete all as directed. (Make: Asian/Berger/Nerolac) or Suitably Equivalent Make. | 6250.00 | SQM | 130.13 | 85.00 | 531250.00 | 120.00 | 750000.00 | 90.00 | 562500.00 | 531250.00 | Siva Enterprises
16.00 | Material and labour for applying two coats of exterior emulsion on external wall surfaces (two storey building ) all complete | 450.00 | SQM | 130.13 | 125.00 | 56250.00 | 120.00 | 54000.00 | 92.00 | 41400.00 | 41400.00 | Sri Lakshmi Industries
17.00 | Material and Labour for painting of steel surfaces with two coats of synethic enamel paint inculding one coat of Red oxide/Zinc primer and preparation of new steel painted surfaces. | 350.00 | SQM | 155.43 | 145.00 | 50750.00 | 120.00 | 42000.00 | 105.00 | 36750.00 | 36750.00 | Sri Lakshmi Industries
18.00 | Material and Labour for painting of wooden surfaces with two coats of synethic enamel paint inculding preparation of old wooden surfaces. | 280.00 | SQM | 122.65 | 125.00 | 35000.00 | 120.00 | 33600.00 | 90.00 | 25200.00 | 25200.00 | Sri Lakshmi Industries
19.00 | Providing and fixing factory made uPVG white colour Sliding window Three track made of extruded profiles with wall thickness of 2.3mm (+/ - 0.2 mm). Window profile with hollow section with multi chamber. Frame (88mm x 52mm), sliding sash (42mm x 67mm). Sliding mesh Sash (42mm x 57mm) Sliding interlock (One vertical length in each shutters) (45.5mm x 28mm), Glazing bead (24.5mm x 16mm) will be miterd cut and fusion welded at all corners, including drilling of holes for fixing hardware and drainage of water etc., making arrangement for fixing of hardware. EPDM gasket, 1.2 +/ - 0.2 mm thick galvanised steel Frame (30mm x 18mm) 2 nos, sliding sash (30mm x 18mm), sliding mesh sash (26mm x 10mm) profile to be inserted in required profile, frame will be fixed to the wall with 8mm x 100mm long fasteners, Hardware [Touch Lock of zinc alloyed (white powder coated), steel roller system. Stainless steel wire cloth 0.36mm nominal dia of wire and average width of aperture 1.40mm and required accessories. (Note: The unit rate quoted by contractor excludes cost of glass and includes all other connected accessories. Net Opening will be measured lor payment purpose.) | 320.00 | SQM | 12404.03 | 7255.00 | 2321600.00 | 8500.00 | 2720000.00 | 8730.00 | 2793600.00 | 2321600.00 | Siva Enterprises
20.00 | Supply and fixing of Sheet glass ordinary quality 5.50mm thick and glazing with oil putty in square not exceeding 0.5 sq.m in each pane. | 250.00 | SQM | 1019.59 | 755.00 | 188750.00 | 1300.00 | 325000.00 | 700.00 | 175000.00 | 175000.00 | Sri Lakshmi Industries
21.00 | S & F of I class hard wood door frame, wrought framed rebated on the solid rounded or chamfered put together with glue pined at joints. | 7.50 | CUM | 190051.73 | 115500.00 | 866250.00 | 160000.00 | 1200000.00 | 195000.00 | 1462500.00 | 866250.00 | Siva Enterprises
22.00 | Supply and fixing of 30 mm thick Flush door shutter, solid core construction, with block board core and plywood decoratic face panels, veneer with lipping / frame to match, commercial type on both sides | 260.00 | SQM | 3307.15 | 2155.00 | 560300.00 | 3900.00 | 1014000.00 | 2700.00 | 702000.00 | 560300.00 | Siva Enterprises
23.00 | M&L for applying Chalk powder putty for wooden surfaces including neccesary smooth finish, etc. complete | 250.00 | Sqm | 175.00 | 195.00 | 48750.00 | 120.00 | 30000.00 | 150.00 | 37500.00 | 30000.00 | TMS CONSTRUCTIONS
24.00 | S & F of II class hardwood 35mm Glazed and skeleton shutters, open rebated and prepared to receive glass, gauze, etc. but divided into squares, with plain, chamfered or rounded, mitred and rebated sash bars, any numbers | 50.00 | SQM | 2365.94 | 1955.00 | 97750.00 | 3900.00 | 195000.00 | 2300.00 | 115000.00 | 97750.00 | Siva Enterprises
25.00 | S & F of 125mm Aluminium Butt hinges, extruded aluminium alloy anodised and fixed, type B-21 | 587.00 | Each | 295.24 | 275.00 | 161425.00 | 180.00 | 105660.00 | 180.00 | 105660.00 | 105660.00 | Sri Lakshmi Industries, TMS CONSTRUCTIONS
26.00 | S & F of 200mm Alumium anodized barrel tower bolt. | 300.00 | Each | 97.02 | 85.00 | 25500.00 | 300.00 | 90000.00 | 100.00 | 30000.00 | 25500.00 | Siva Enterprises
27.00 | S & F of 150mm Extruded aluminium alloy handles, fabricated type, anodised | 408.00 | Each | 97.02 | 85.00 | 34680.00 | 180.00 | 73440.00 | 100.00 | 40800.00 | 34680.00 | Siva Enterprises
28.00 | Supply and Fixing of Brass door stopper 150mm length. | 150.00 | Each | 306.24 | 275.00 | 41250.00 | 250.00 | 37500.00 | 250.00 | 37500.00 | 37500.00 | Sri Lakshmi Industries, TMS CONSTRUCTIONS
29.00 | Cutting holes in brick walls built in cement mortar Exc.half brick work but not exc.one brick for inserting hold fasts and making good dismantled portion in cement mortar 1:3 or cement concrete 1:2:4 type B1 as required. | 1785.00 | Each | 374.21 | 255.00 | 455175.00 | 200.00 | 357000.00 | 350.00 | 624750.00 | 357000.00 | TMS CONSTRUCTIONS
30.00 | M & L for Virified Ceramic tiles Dark Shade 10 mm thick in Floors (square/ rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including Screed bedding 1:4, 15mm thick for laying floor finishes. | 400.00 | SQM | 1876.13 | 1225.00 | 490000.00 | 1650.00 | 660000.00 | 1100.00 | 440000.00 | 440000.00 | Sri Lakshmi Industries
31.00 | M & L for Virified Ceramic tiles Dark Shade 10 mm thick in wall surfaces (square/ rectangular) polished, area of each tiles not exceeding 0.36 sqm etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including Screed bedding 1:4, 15mm thick for laying wall surfaces. | 908.00 | SQM | 1876.13 | 1255.00 | 1139540.00 | 1700.00 | 1543600.00 | 1200.00 | 1089600.00 | 1089600.00 | Sri Lakshmi Industries
32.00 | Supply and Fixing of Granite 20mm thick (of any type) work (table rubbed and polished) in steps, jambs, pillars, window-cills, cooking platforms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite complete all as direced by EIC. | 200.00 | SQM | 5702.07 | 2955.00 | 591000.00 | 4800.00 | 960000.00 | 5500.00 | 1100000.00 | 591000.00 | Siva Enterprises
33.00 | Material and Labour for Providing edge moulding for Granite stone of 18-20mm thick stone of counters vanities etc. including machine polishing to edge to give high gloss finish etc. complete. | 550.00 | RM | 413.88 | 255.00 | 140250.00 | 300.00 | 165000.00 | 380.00 | 209000.00 | 140250.00 | Siva Enterprises
34.00 | S& F of Water proof Plywood of thickness 18mm including necessary adhesives etc complete., | 460.00 | SQM | 1700.00 | 1645.00 | 756700.00 | 1900.00 | 874000.00 | 1600.00 | 736000.00 | 736000.00 | Sri Lakshmi Industries
35.00 | S&F of white/half white laminated sheet of thickness 0.6 mm Fixed on both sides of plywood including necessary adhesives etc complete., | 900.00 | SQM | 650.00 | 495.00 | 445500.00 | 1300.00 | 1170000.00 | 700.00 | 630000.00 | 445500.00 | Siva Enterprises
36.00 | S &F of PVC Edge Band 1.00 mm Thick around the edges of shutter. | 800.00 | RM | 275.00 | 195.00 | 156000.00 | 300.00 | 240000.00 | 200.00 | 160000.00 | 156000.00 | Siva Enterprises
37.00 | Supply and Fixing of Stainless steel Handle of Size 300mm includign necessay screws etc complete. | 108.00 | Each | 855.00 | 715.00 | 77220.00 | 350.00 | 37800.00 | 800.00 | 86400.00 | 37800.00 | TMS CONSTRUCTIONS
38.00 | Supply and Fixing of Stainless steel Handle of Size 200mm includign necessay screws etc complete. | 108.00 | Each | 755.00 | 625.00 | 67500.00 | 300.00 | 32400.00 | 730.00 | 78840.00 | 32400.00 | TMS CONSTRUCTIONS
39.00 | Supply and Fixing of Stainless steel Handle of Size 150mm includign necessay screws etc complete. | 165.00 | Each | 655.00 | 545.00 | 89925.00 | 300.00 | 49500.00 | 600.00 | 99000.00 | 49500.00 | TMS CONSTRUCTIONS
40.00 | S & F Continuous (piano) hinges 30mm, mild steel, bright finish or electrogalvanised | 450.00 | RM | 225.83 | 225.00 | 101250.00 | 400.00 | 180000.00 | 200.00 | 90000.00 | 90000.00 | Sri Lakshmi Industries
41.00 | Supply and Fixing of Stainless steel sink with draining board, made out of 1.00mm thick sheet for kitchen or laboratory with plug, washers waste pipe, cast iron cantilever brackets, connecting union overall size 915mmx460mm with bowl size 410mm x 330mm x 160mm complete all as directed by EIC. | 27.00 | Each | 4956.74 | 4955.00 | 133785.00 | 8000.00 | 216000.00 | 4000.00 | 108000.00 | 108000.00 | Sri Lakshmi Industries
42.00 | S & F of Vitreous China IWC Squat pan (Orissa pattern) Size 580 x 440mm white / colour with integral foot rests including lime concrete bed and finishing etc., with 10lit flushing tank wirh all accessories | 27.00 | Each | 3978.40 | 4155.00 | 112185.00 | 7000.00 | 189000.00 | 3900.00 | 105300.00 | 105300.00 | Sri Lakshmi Industries
43.00 | Diverter with hand shower and rain shower of 200mmdia . | 27.00 | Each | 19500.00 | 20455.00 | 552285.00 | 1300.00 | 35100.00 | 19000.00 | 513000.00 | 35100.00 | TMS CONSTRUCTIONS
44.00 | S & F of Bib Taps, 15 mm cast copper alloy with crutch or butterfly handle, screwed for iron pipe or for brass ferrule fancy type and chroumium plated | 108.00 | Each | 668.33 | 715.00 | 77220.00 | 1500.00 | 162000.00 | 630.00 | 68040.00 | 68040.00 | Sri Lakshmi Industries
45.00 | Supply and Fixing of 15mm swan neck chromium plated sink cock of (Make: Jaguar / ESS ESS / Parryware) or suitably equivalent make. | 54.00 | Nos | 2800.00 | 3155.00 | 170370.00 | 3000.00 | 162000.00 | 2850.00 | 153900.00 | 153900.00 | Sri Lakshmi Industries
46.00 | Providing and fixing Counter sunk wash basins, waste coupling. Cost incl. of providing and fixing of bottle traps, angle valve, Teflon tape etc. complete as directed by the architects. (Make : JAGUAR / KOHLER / DURAVIT.) or suitably equivalent make. | 27.00 | Each | 9955.00 | 10500.00 | 283500.00 | 3500.00 | 94500.00 | 9500.00 | 256500.00 | 94500.00 | TMS CONSTRUCTIONS
47.00 | Supply and fixing of Angle Cock (15mm) with pipe (Jaguar / Kohler / duravit) or suitably equivalent make. | 165.00 | Each | 1545.00 | 1055.00 | 174075.00 | 1500.00 | 247500.00 | 1500.00 | 247500.00 | 174075.00 | Siva Enterprises
48.00 | Supply and fixing of PVC connections 15mm size with PTMT nuts of length 450mm. | 27.00 | Each | 165.00 | 165.00 | 4455.00 | 120.00 | 3240.00 | 140.00 | 3780.00 | 3240.00 | TMS CONSTRUCTIONS
49.00 | Supply and fixing of Health facet cromium plated (ESS YES VICTORIAN / PARRYWARE / CERA) or suitably equivalent make. | 27.00 | Each | 1045.00 | 1155.00 | 31185.00 | 1500.00 | 40500.00 | 1100.00 | 29700.00 | 29700.00 | Sri Lakshmi Industries
50.00 | Supply and fixing of towel rake (Jaguar / Parryware / Cera ) or suitably equivalent make. | 54.00 | Each | 3455.00 | 3455.00 | 186570.00 | 1200.00 | 64800.00 | 3500.00 | 189000.00 | 64800.00 | TMS CONSTRUCTIONS
51.00 | Supply and Fixing of Soap dish fixed with chromium plate brass screws and wooden/plastic cleats (Make : Parryware / Jaguar ) or suitably equivalent make | 27.00 | No | 1025.00 | 1125.00 | 30375.00 | 900.00 | 24300.00 | 1100.00 | 29700.00 | 24300.00 | TMS CONSTRUCTIONS
52.00 | S & F of Looking Mirror of any size as required at site selected quality glass, mount on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass. | 27.00 | SQM | 1355.00 | 1155.00 | 31185.00 | 1600.00 | 43200.00 | 1400.00 | 37800.00 | 31185.00 | Siva Enterprises
53.00 | Supply and Fixing of CPVC pipe 25 mm SDR11 &plain CPVC SDR 11 Fitting on concealed walls/ceiling or laying in floor complete all as specified. | 300.00 | RM | 388.74 | 325.00 | 97500.00 | 400.00 | 120000.00 | 340.00 | 102000.00 | 97500.00 | Siva Enterprises
54.00 | Supply and Fixing of CPVC pipe 20 mm SDR11 &plain CPVC SDR 11 Fitting on concealed walls/ceiling or laying in floor complete all as specified. | 81.00 | RM | 269.06 | 225.00 | 18225.00 | 380.00 | 30780.00 | 250.00 | 20250.00 | 18225.00 | Siva Enterprises
55.00 | M&L for PVC Multi floor trap diameter of out let in 75mm with grating including with solvent cement. | 81.00 | Each | 440.00 | 455.00 | 36855.00 | 400.00 | 32400.00 | 390.00 | 31590.00 | 31590.00 | Sri Lakshmi Industries
56.00 | S & F of PVC 110mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 108.00 | RM | 444.00 | 255.00 | 27540.00 | 450.00 | 48600.00 | 410.00 | 44280.00 | 27540.00 | Siva Enterprises
57.00 | S & F of PVC 110mm dia Pipes single socketed, in any length with rubber ring joints fixed to walls. | 270.00 | RM | 522.24 | 255.00 | 68850.00 | 450.00 | 121500.00 | 450.00 | 121500.00 | 68850.00 | Siva Enterprises
58.00 | S & F of PVC Bend 110mm dia any radius. | 81.00 | Each | 137.50 | 135.00 | 10935.00 | 250.00 | 20250.00 | 130.00 | 10530.00 | 10530.00 | Sri Lakshmi Industries
59.00 | S & F of PVC (SWR) reducers 110mm dia any radius. | 27.00 | Each | 148.50 | 145.00 | 3915.00 | 200.00 | 5400.00 | 150.00 | 4050.00 | 3915.00 | Siva Enterprises
60.00 | S & F of PVC Bend with door 75mm dia any radius, | 27.00 | Each | 159.50 | 155.00 | 4185.00 | 200.00 | 5400.00 | 160.00 | 4320.00 | 4185.00 | Siva Enterprises
61.00 | Supply and fixing of Frame size 65x100MM mm factory made single extruded WPC(wood polymer composite) solid door window /clerestory window&desertort other frame/chowkat comprising of virgin PVC polymer of k value 58-60(suspension grade).calcium carbonate and natural fiber (wood power)/rice husk/wheat husk and non toxic additives(maximum toxicity index of 12 for 100 mgs) fabricated with miter joints after applying PVC solvent cement screwed with full body threaded star headed SS screws having minium frame density of 750 kg/cum.screw withdrawl strength of 2200 N (face) & 1100 N (edge) minium compressive strength of 58N/mm2. modulus of elastity 9000N/mm2 and resistence to spread of flame of class A category with property of being termite/borer proof.water/moisture proof and fire retardant and fixed in position with MS hold fast/ugs/SS dash fasteeners of required dia and length complete .all as per direction of EIC(MS hold fast/lugs/SS dash fasteeners shall be paid for separately) | 265.00 | RM | 1200.00 | 955.00 | 253075.00 | 800.00 | 212000.00 | 1250.00 | 331250.00 | 212000.00 | TMS CONSTRUCTIONS
62.00 | Supply and fixing of 30 mm thick factory made single extruded WPC(wood polymer composite) solid plain flush door shuter or required size comprising of virgin polymer of k value 58-60(suspension grade).calcium carbonate and natural fiber (wood power)/rice husk/wheat husk and non toxic additives(maximum toxicity index of 12 for 100 mgs) having minium dencity of 650kg/cum,screw withdrawl strength of 1800N (face)&900N(edge)minium compressive strength of 50N/mm2. modulus of elastity 850N/mm2 and resistence to spread of flame of class A category with property of being termite/borer proof.water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star head counter sunk SS screws.all as per direction of EIC | 80.00 | SQM | 3610.00 | 3455.00 | 276400.00 | 8500.00 | 680000.00 | 3800.00 | 304000.00 | 276400.00 | Siva Enterprises
63.00 | Surface dressing n exc 15 cm deep Hard/dense soil | 140.00 | SQM | 36.85 | 35.00 | 4900.00 | 20.00 | 2800.00 | 40.00 | 5600.00 | 2800.00 | TMS CONSTRUCTIONS
64.00 | S & F of 150mm Alumium anodized barrel tower bolt. | 108.00 | Each | 84.48 | 85.00 | 9180.00 | 200.00 | 21600.00 | 85.00 | 9180.00 | 9180.00 | Siva Enterprises, Sri Lakshmi Industries
65.00 | Material and labour for sand filling under foundation including watering and consolidation. | 2.00 | CUM | 2171.73 | 2155.00 | 4310.00 | 2200.00 | 4400.00 | 2100.00 | 4200.00 | 4200.00 | Sri Lakshmi Industries
66.00 | Cutting chasesin Brick walls, pinning in. making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting not exc 10 cm girth | 500.00 | RM | 55.50 | 55.00 | 27500.00 | 120.00 | 60000.00 | 60.00 | 30000.00 | 27500.00 | Siva Enterprises
67.00 | Material and labour for cement concrete 1:2:4 Type B1 20mm graded aggregate in foundation filling and mass concrete. | 6.55 | CUM | 7186.66 | 6455.00 | 42280.25 | 8000.00 | 52400.00 | 6950.00 | 45522.50 | 42280.25 | Siva Enterprises
68.00 | Supply and fixing of twisted MS Bars 10mm dia and over, cut to length bent to shape required including cranking, bending, spiraling for hoping for columns, hooking ends and binding with MS Wire not less than 0.9mm dia or securing with clips. (Make: RINL-VIZAG Steel/SAIL/TATA-TISCON/"BIS"MARKED Primary Manufacturers) or Suitably Equivalent | 750.00 | KG | 90.06 | 85.00 | 63750.00 | 140.00 | 105000.00 | 90.00 | 67500.00 | 63750.00 | Siva Enterprises
69.00 | Supply and Fabrication or Steel work in tubular trusses including special shaped washer etc. complete using ERW or induction butt welded tubes conforming to I. S.1161- 1979 grade St.-240 | 7500.00 | KG | 136.52 | 105.00 | 787500.00 | 160.00 | 1200000.00 | 140.00 | 1050000.00 | 787500.00 | Siva Enterprises
70.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 1.5 sqmm copper earth continuity wire. a)one light /fan/Bell push point controlled by one switch with cables1.5 sqmm size. | 181.00 | Point | 1141.66 | 955.00 | 172855.00 | 1400.00 | 253400.00 | 1100.00 | 199100.00 | 172855.00 | Siva Enterprises
71.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 1.5 sqmm copper earth continuity wire. b)One 3 pin socket outlet 5 amps independent, with cables 2.5 sqmm size. | 82.00 | Point | 1301.10 | 1055.00 | 86510.00 | 1300.00 | 106600.00 | 1200.00 | 98400.00 | 86510.00 | Siva Enterprises
72.00 | Supply & fixing of switch piano, flush type single pole one way 6 amps. (ANCHOR / LEGRAND / HAVELLS) or Suitable equivalent make | 630.00 | Each | 138.92 | 95.00 | 59850.00 | 30.00 | 18900.00 | 140.00 | 88200.00 | 18900.00 | TMS CONSTRUCTIONS
73.00 | Supply & fixing of switch piano, flush type single pole one way 16 amps. (ANCHOR / LEGRAND/ HAVELLS) or Suitable equivalent make | 27.00 | Each | 251.16 | 195.00 | 5265.00 | 100.00 | 2700.00 | 135.00 | 3645.00 | 2700.00 | TMS CONSTRUCTIONS
74.00 | Supply & fixing of socket outlet two in one, three pin , 6 and 16 amp Flush type (ANCHOR / LEGRAND/ HAVELLS ) or Suitable equivalent make | 27.00 | Each | 258.29 | 195.00 | 5265.00 | 110.00 | 2970.00 | 240.00 | 6480.00 | 2970.00 | TMS CONSTRUCTIONS
75.00 | Supply & fixing o6f switch socket combination 3 pin 6A/16A, 5 in 1 flush type(ANCHOR / LEGRAND/ HAVELLS) or Suitable equivalent make | 162.00 | Each | 339.60 | 225.00 | 36450.00 | 180.00 | 29160.00 | 330.00 | 53460.00 | 29160.00 | TMS CONSTRUCTIONS
76.00 | Supply & fixing of switch socket combination 2 in 1, 6A flush type (ANCHOR / LEGRAND/ HAVELLS) or Suitable equivalent make | 405.00 | Each | 428.03 | 355.00 | 143775.00 | 150.00 | 60750.00 | 400.00 | 162000.00 | 60750.00 | TMS CONSTRUCTIONS
77.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor , single core cable in PVC conduit and conduit accessories surface/recessed as required. a) 2x2.5sqmm + 1x2.5sqmm earth wire | 630.00 | RM | 212.99 | 175.00 | 110250.00 | 340.00 | 214200.00 | 210.00 | 132300.00 | 110250.00 | Siva Enterprises
78.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor , single core cable in PVC conduit and conduit accessories surface/recessed as required. b) 2x4sqmm + 1x4sqmm earth wire | 1010.00 | RM | 247.25 | 195.00 | 196950.00 | 450.00 | 454500.00 | 225.00 | 227250.00 | 196950.00 | Siva Enterprises
79.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor , single core cable in PVC conduit and conduit accessories surface/recessed as required. cb) 2x6.0sqmm + 1x6.0sqmm earth wire | 482.00 | RM | 298.08 | 205.00 | 98810.00 | 550.00 | 265100.00 | 285.00 | 137370.00 | 98810.00 | Siva Enterprises
80.00 | Material & Labour for ceiling rose, 3 Phase/PVC/polycorbonate, isolated body (ANCHOR / LEGRAND/ HAVELLS) or Suitable equivalent make | 354.00 | Each | 75.56 | 55.00 | 19470.00 | 50.00 | 17700.00 | 80.00 | 28320.00 | 17700.00 | TMS CONSTRUCTIONS
81.00 | Supply & fixing sheet metal enclosures for DB's when MCBs to be use, single pole and neutral, 8 way with 200 amps rated bus bar, double door,240V Make:STANDARD / LEGRAND / HAVELLS) or Suitable equivalent make | 54.00 | Each | 2199.61 | 1755.00 | 94770.00 | 2100.00 | 113400.00 | 2200.00 | 118800.00 | 94770.00 | Siva Enterprises
82.00 | Supply and fixing SPN 32 AMP rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the MCB DB complete with connection testing and commissioning.. (Make: STANDARD /LEGRAND / HAVELLS) or Suitable equivalent make | 14.00 | Each | 978.88 | 755.00 | 10570.00 | 700.00 | 9800.00 | 1150.00 | 16100.00 | 9800.00 | TMS CONSTRUCTIONS
83.00 | Supply and fixing of SPN 40 to 63 AMP (double pole) rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the MCB DB complete with connection testing and commissioning. (Make: STANDARD /LEGRAND / HAVELLS) or Suitable equivalent make | 14.00 | Each | 1529.95 | 1255.00 | 17570.00 | 900.00 | 12600.00 | 1800.00 | 25200.00 | 12600.00 | TMS CONSTRUCTIONS
84.00 | Supply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 6 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. ( Make: STANDARD / LEGRAND/ HAVELLS) or Suitable equivalent make | 324.00 | Each | 326.83 | 285.00 | 92340.00 | 300.00 | 97200.00 | 100.00 | 32400.00 | 32400.00 | Sri Lakshmi Industries
85.00 | Supply & Fixing of stepped type electronic fan regulator flush type on the existing phenolic laminated sheet etc. as required (ANCHOR / LEGRAND/ HAVELLS) or Suitable equivalent make | 135.00 | Each | 420.79 | 355.00 | 47925.00 | 440.00 | 59400.00 | 360.00 | 48600.00 | 47925.00 | Siva Enterprises
86.00 | Supply & fixing of bell push, flush type, 5 amps (ANCHOR / LEGRAND/ HAVELLS) or Suitable equivalent make | 27.00 | Each | 154.22 | 125.00 | 3375.00 | 70.00 | 1890.00 | 140.00 | 3780.00 | 1890.00 | TMS CONSTRUCTIONS
87.00 | Supply and fixing of buzzer ding dong type AC 230 Volts single pole. | 27.00 | Each | 494.96 | 405.00 | 10935.00 | 180.00 | 4860.00 | 400.00 | 10800.00 | 4860.00 | TMS CONSTRUCTIONS
88.00 | supply & fixing of lamp holders PVC/polycorbonate type with cord grid cap suitabile for PENDANT/slanding fittings. | 235.00 | Each | 150.42 | 115.00 | 27025.00 | 50.00 | 11750.00 | 12.00 | 2820.00 | 2820.00 | Sri Lakshmi Industries
89.00 | Material and labour for Brick walls cutting chases, pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good,cutting exc. 10 cm but not exc. 20 cm grith. | 1127.00 | RM | 59.92 | 55.00 | 61985.00 | 55.00 | 61985.00 | 59.45 | 67000.15 | 61985.00 | Siva Enterprises, TMS CONSTRUCTIONS
90.00 | Material and labour for Cutting holes into in brick walls built in cement mortar exceeding 400 sq.cm but not exceeding 0.1 sq.mtr. and making good condition in cement mortar 1:3 or cement concrete 1:2:4 type B-l as required | 675.00 | per CM of depth | 30.15 | 25.00 | 16875.00 | 60.00 | 40500.00 | 25.00 | 16875.00 | 16875.00 | Siva Enterprises, Sri Lakshmi Industries
91.00 | Taking down Aluminium point wiring(light, fan, socket or power) complete, including fixture and fittings such as switches, ceiling roses, pendants, regulators, sockets, light fitting etc. removing materials to store for keeping in safe custody for taking credit and making good disturbed surfaces of wall, floors, etc. | 161.00 | Point | 174.80 | 155.00 | 24955.00 | 30.00 | 4830.00 | 110.00 | 17710.00 | 4830.00 | TMS CONSTRUCTIONS
92.00 | Supply and fixing of exhaust fan, steel body AC single Phase. 230V of size 300m sweep with, blades, and frame and louvers (Make: Almonard/ Kaitan/ Crompton) or Suitably equivalent make | 54.00 | Each | 4080.88 | 3155.00 | 170370.00 | 3500.00 | 189000.00 | 3450.00 | 186300.00 | 170370.00 | Siva Enterprises
93.00 | Supply and fixing of electric water heater,storage type steel/plastic body with copper inner tank and heating element upto 2 KW capacity 25 litre, BEE 5 Star rated, 8 bar pressure, complete with all accessories such as safety valve, thermostate, NRV, connection piece, fixing bolts etc. (Make: Wipro/Havells/Racold) or Suitable equivalent make | 27.00 | Each | 11533.97 | 8755.00 | 236385.00 | 7000.00 | 189000.00 | 11000.00 | 297000.00 | 189000.00 | TMS CONSTRUCTIONS
94.00 | Supply and fixing LED lights fitting 1x 20W, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete. (Make: Philips / Wipro / CG / Havells/ C&S) or suitably equivalent make | 162.00 | Each | 1501.21 | 1055.00 | 170910.00 | 750.00 | 121500.00 | 1350.00 | 218700.00 | 121500.00 | TMS CONSTRUCTIONS
95.00 | Supply and fixing OF PVC rectangular block for mounting, switches, sockets,fan regulator etc. with 3 mm thick plastic laminated sheet cover of size 100 mm x 100 mm and 50 mm deep. | 120.00 | Each | 104.77 | 95.00 | 11400.00 | 120.00 | 14400.00 | 110.00 | 13200.00 | 11400.00 | Siva Enterprises
96.00 | Supply and fixing OF PVC rectangular block for mounting, switches, sockets, fan regulator etc. with 3 mm thick plastic laminated sheet cover of size 250 mm x 200 mm and 50 mm deep. | 120.00 | Each | 174.57 | 145.00 | 17400.00 | 230.00 | 27600.00 | 193.34 | 23200.80 | 17400.00 | Siva Enterprises
97.00 | Supply and fixing OF PVC rectangular block formounting, switches, sockets,fan regulator etc. with 3 mm thick plastic laminated sheet cover of size 350 mm x 300 mm and 50 mm deep. | 45.00 | Each | 199.18 | 165.00 | 7425.00 | 440.00 | 19800.00 | 234.00 | 10530.00 | 7425.00 | Siva Enterprises
98.00 | LESS CREDIT : Dismantled item of copper/Aluminium point wiring complete, including fixture and fittings such as switches, ceiling roses, pendants, regulators, sockets, etc. | 161.00 | Point | 14.00 | 15.00 | -2415.00 | 10.00 | -1610.00 | 18.00 | -2898.00 | -2898.00 | Sri Lakshmi Industries
| Total in Figures |  |  |  |  | 16846525.25 |  | 21441055.00 |  | 19400000.45
Lowest Amount Quoted BY: Siva Enterprises(16846525.25)

## BOQ Summary
BOQ Summary Details Tender Title: SPECIAL REPAIRS / RENOVATION OF TYPE-IV DAMAGED VACANT QUARTERS AT HVF ESTATE. Tender ID: 2025_AVNL_247784_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Siva Enterprises (BID ID -905875) | 16846525.25 | L1
| 2 | Sri Lakshmi Industries (BID ID -905973) | 19400000.45 | L2
| 3 | TMS CONSTRUCTIONS (BID ID -905993) | 21441055.00 | L3