## BoQ1
Government eProcurement System Created By: V. UKESH BABU Created Date/Time: 28-Nov-2025 11:05 AM Tender Title: PROVISION OF VIP WASHROOMS AT VALLUVAR VASUKI THIRUMANA MANDAPAM (VVTM) AT HVF ESTATE Tender ID: 2025_AVNL_251299_1
Tender Inviting Authority: THE CHAIRMAN / VVTM, ON BEHALF OF THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: PROVISION OF VIP WASHROOMS AT VALLUVAR VASUKI THIRUMANA MANDAPAM (VVTM) AT HVF ESTATE.
Tender No: HVF/TE/VVTM/VWR/PW/2025-26/02
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SPPS CONSTRUTCION INDIA PRIVTAE LIMITED (GSTN-NA) BID ID -923723 |  | Siva Enterprises (GSTN-NA) BID ID -924327 |  | SS ENTERPRISE (GSTN-NA) BID ID -919183 |  | Leela Constructions (GSTN-NA) BID ID -919069
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Surface Dressing in hard/dense soil n.exc 15 cm deep | 24.00 | SQM | 38.53 | 37.28 | 894.72 | 35.00 | 840.00 | 32.00 | 768.00 | 35.00 | 840.00 | 768.00 | SS ENTERPRISE
2.00 | Earthwork excavation in hard/dense soil in trenches width and depth not exceeding 1.50 m and getting out | 23.00 | CUM | 776.25 | 708.75 | 16301.25 | 795.00 | 18285.00 | 675.00 | 15525.00 | 700.00 | 16100.00 | 15525.00 | SS ENTERPRISE
3.00 | Material and labour for sand filling in foundation including watering and consolidation. | 5.00 | CUM | 2270.45 | 2073.02 | 10365.10 | 2355.00 | 11775.00 | 2000.00 | 10000.00 | 2200.00 | 11000.00 | 10000.00 | SS ENTERPRISE
4.00 | M & L for P.C.C 1:3:6, C2 Type using 40mm graded aggregated in foundation. | 5.00 | CUM | 6741.30 | 6155.10 | 30775.50 | 6995.00 | 34975.00 | 6000.00 | 30000.00 | 6500.00 | 32500.00 | 30000.00 | SS ENTERPRISE
5.00 | M & L for R.C.C A1 Type, 1: 1.5: 3 M20, 20mm graded aggregate in foundations, including rafts, footings, column, beam, plinth beams, roof slab etc., complete all as directed by EIC. | 9.20 | CUM | 8498.41 | 7889.95 | 72587.54 | 8855.00 | 81466.00 | 7350.00 | 67620.00 | 7500.00 | 69000.00 | 67620.00 | SS ENTERPRISE
6.00 | M & L for R.C.C A1 Type, 1: 1.5: 3 M20, 20mm graded aggregate in Slabs supported on walls, beams and columns in floors, roofs, landings, balconies, canopies, deck slabs and in shelves etc., complete all as directed by EIC. | 4.00 | CUM | 8208.36 | 7209.08 | 28836.32 | 8565.00 | 34260.00 | 7500.00 | 30000.00 | 8000.00 | 32000.00 | 28836.32 | SPPS CONSTRUTCION INDIA PRIVTAE LIMITED
7.00 | M & L for form work to side of RCC Member such as columns, pillars roof beam and roof slab etc., and the finishing shall be of fair finished surface of square rectangular or polygonal . | 90.00 | SQM | 780.24 | 712.39 | 64115.10 | 805.00 | 72450.00 | 660.00 | 59400.00 | 500.00 | 45000.00 | 45000.00 | Leela Constructions
8.00 | Supply and fixing of mild steel reinforcement deformed or twisted bars 10mm dia and over including bending, cranking, hooking and tieing with mild steel wire not less than 0.90mm dia. Used RINL-VIZAG Steel/SAIL/TATA-TISCON/"BIS"MARKED Primary Manufacturers or suitably Equivalent Make | 1500.00 | KG | 94.15 | 81.87 | 122805.00 | 98.55 | 147825.00 | 85.00 | 127500.00 | 85.00 | 127500.00 | 122805.00 | SPPS CONSTRUTCION INDIA PRIVTAE LIMITED
9.00 | M & L for Brick work built in CM.1:6 using Good quality modular bricks / solid Concrete bricks, straight or curved on plan exc 6m mean radius. | 20.00 | CUM | 7625.00 | 7625.00 | 152500.00 | 8375.00 | 167500.00 | 8000.00 | 160000.00 | 6800.00 | 136000.00 | 136000.00 | Leela Constructions
10.00 | Material and Labour for forming jambs using CM 1:4 to opening including cutting, toothing and also facing, jointing and pointing to match existing work complete. | 10.00 | SQM | 817.19 | 746.13 | 7461.30 | 825.00 | 8250.00 | 750.00 | 7500.00 | 820.00 | 8200.00 | 7461.30 | SPPS CONSTRUTCION INDIA PRIVTAE LIMITED
11.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of brick work and concrete wall surfaces. | 200.00 | SQM | 302.59 | 276.28 | 55256.00 | 315.00 | 63000.00 | 350.00 | 70000.00 | 300.00 | 60000.00 | 55256.00 | SPPS CONSTRUTCION INDIA PRIVTAE LIMITED
12.00 | M & L for plastering in CM 1:4, 12mm thick on RCC Ceiling. | 30.00 | SQM | 291.77 | 266.40 | 7992.00 | 305.00 | 9150.00 | 300.00 | 9000.00 | 290.00 | 8700.00 | 7992.00 | SPPS CONSTRUTCION INDIA PRIVTAE LIMITED
13.00 | M&L for applying two coats of white washing on ceilings fair faced brick/concrete surfaces including preparation of old ceiling surfaces complete all as directed | 30.00 | SQM | 25.53 | 23.31 | 699.30 | 25.00 | 750.00 | 20.00 | 600.00 | 25.00 | 750.00 | 600.00 | SS ENTERPRISE
14.00 | M&L for applying 3mm thick wall care putty on wall (Make shall be of JK white putty or Birla white wall care putty) or Suitably Equivalent Make. | 245.00 | SQM | 95.96 | 87.61 | 21464.45 | 99.00 | 24255.00 | 77.00 | 18865.00 | 95.00 | 23275.00 | 18865.00 | SS ENTERPRISE
15.00 | M&L for applying two coats of plastic emulsion emulsion on internal wall surfaces including preparation of old wall surfaces complete all as directed. (Make: Asian/Berger /Nerolac) or Suitably Equivalent Make | 80.00 | SQM | 136.05 | 124.22 | 9937.60 | 140.00 | 11200.00 | 110.00 | 8800.00 | 135.00 | 10800.00 | 8800.00 | SS ENTERPRISE
16.00 | Material and labour for applying two coats of exterior emulsion on external wall surfaces (two storey building ) all complete including preparation of odl surfaces. | 75.00 | SQM | 136.05 | 124.22 | 9316.50 | 140.00 | 10500.00 | 110.00 | 8250.00 | 135.00 | 10125.00 | 8250.00 | SS ENTERPRISE
17.00 | Providing and fixing factory made UPVC white colour casment (Openable) window made out of extruded profiles with wall thickness of 2.3mm (+/-0.2mm) window profile with hollow section with multi chamber frame(60x58mm) sash (60mmx73mm T profile one vertical length in between two shutters ) (60mmx74mm) glazing bead (35x20mm) will be mitred cut and fusion welded at all corners including drilling of holes for fixing hardware and drainage fo water etc., makeing arrangement for fixing of hardware EPDM gasket 1.2 to (+/-) 0.2mm thick galvanized steel frame(28mmx21.5mm) sash (31mmx27.5mm) T profile(27mmx17mm ) to be inserted in reuired profile frame will be fixed to the wall with 8mm x 10mm long fasternes Hardware casement handle made of zinc alloyed(white powder coated) butt hinges of zinc alloyed (white powder coated)transission gear made of mild steel multi point locking system and 5mm thick glazing selected quality glass ( Note the unit rate quoted by contractor excludes glass ,area not exceeding 1.00 sqm each and includes all fittings as directed by EIC) | 1.50 | SQM | 14407.03 | 12527.85 | 18791.78 | 14500.00 | 21750.00 | 12500.00 | 18750.00 | 14000.00 | 21000.00 | 18750.00 | SS ENTERPRISE
18.00 | Supply and fixing of Sheet glass ordinary quality 5.50mm thick and glazing with oil putty in square not exceeding 0.5 sq.m in each pane. | 1.20 | SQM | 1065.94 | 973.23 | 1167.88 | 1155.00 | 1386.00 | 1000.00 | 1200.00 | 1000.00 | 1200.00 | 1167.88 | SPPS CONSTRUTCION INDIA PRIVTAE LIMITED
19.00 | S & F of 30 mm FRP DOORS with frame of size 0.90 x 2.10 mtr with polish and all fittings such as hinges towerbolt,handle etc | 2.00 | Each | 25000.00 | 26250.00 | 52500.00 | 27000.00 | 54000.00 | 24500.00 | 49000.00 | 23000.00 | 46000.00 | 46000.00 | Leela Constructions
20.00 | M & L for Virified Ceramic tiles dark Shade 10 mm thick in wall surfaces (square/ rectangular), Double charged polished, area of each tiles exceeding 0.42sqm, and not exceed 1.00 Sqm in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including Screed bedding 1:4, 15mm thick for laying floor finishes. | 40.00 | SQM | 2512.83 | 2294.32 | 91772.80 | 2615.00 | 104600.00 | 2200.00 | 88000.00 | 2300.00 | 92000.00 | 88000.00 | SS ENTERPRISE
21.00 | Supply and Fixing of Colored Non Skid ceramic tiles not less than 7 to 8mm thick (Square /rectangular)area of each tile exceeding 0.18 sqm but not exceeding 0.38 sqm in floors etc., set and jointed in neat cement slurry and pointed in white or coloured cement to match and screed bed or bedding layer in CM1:3, 20mm thick for laying floor finishes. | 15.00 | SQM | 1987.88 | 1815.02 | 27225.30 | 2065.00 | 30975.00 | 1800.00 | 27000.00 | 1900.00 | 28500.00 | 27000.00 | SS ENTERPRISE
22.00 | Material and Labour for Gl frame work for seamless ceiling comprising of Gl perimeter channnel 0.55 mm thick with two unequal flanges of 20 and 30 mm and web of 27 mm fixed to surrounding wall using nylon sleeves and screws at 450 mm centre to ntre/intermediate channel 0.9 mm thick having two equal flanges of 15 mm each and web of 45 mm suspended from soffit at approx 900 mm centre to centre with Gl cleat and steel expansion fasteners with and including ceiling section (not exc 1.2 m length) of 0.55mm thickness having kurled web of 50 mm and flange of 26 mm each with lips of 10.5mm fixed to the intermediate channel with connecting clips across the intermediate channel at 457 mm centre to centre with Hangers 6 mm dia. G.I. (upto 1200mm length) adjusting level fixed to roof slabs by means of ceilling cleats made out of G.I. flat 40 x 3 mm size 60mm long and expansion hold fasteners 12.5mm dia. 40mm long complete all as specified. complete as directed by EIC. | 20.00 | SQM | 684.51 | 624.99 | 12499.80 | 725.00 | 14500.00 | 650.00 | 13000.00 | 595.00 | 11900.00 | 11900.00 | Leela Constructions
23.00 | Material and Labour Providing and fixing 10mm thick plaster of paris ceiling (Gypsum anhydrous) to flat surface with metal frame work and reinforced with G.I. wire mesh (Fillets, metal frame work and G.I. wire mesh paid separately) including for any raised or sunk moulding & Including cornice at corners and applying of neeru finish/putty and one coat of primer and two caots of plastic emulsion complete as directed by EIC. and also making the provisions for electrical fittings etc by cutting the board as approved including preparation of new or previously untreated surface and complete. | 20.00 | SQM | 2126.10 | 1941.22 | 38824.40 | 2195.00 | 43900.00 | 1820.00 | 36400.00 | 2000.00 | 40000.00 | 36400.00 | SS ENTERPRISE
24.00 | Material and Labour for providing cornice to the false ceiling at the corners of 15cm width and apply neeru finish/putty and one coat or primer and two coats of plastic emulsion complete ad directed by EIC. . | 22.00 | RM | 355.00 | 372.75 | 8200.50 | 375.00 | 8250.00 | 340.00 | 7480.00 | 355.00 | 7810.00 | 7480.00 | SS ENTERPRISE
25.00 | Supply and Fixing of Granite 20mm thick (of any type) work (table rubbed and polished) in steps, jambs, pillars, window-cills, cooking platforms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite complete all as direced by EIC. | 7.50 | SQM | 5961.26 | 5442.89 | 40821.68 | 6195.00 | 46462.50 | 5100.00 | 38250.00 | 5000.00 | 37500.00 | 37500.00 | Leela Constructions
26.00 | Material and Labour for Providing edge moulding for Granite stone of 18-20mm thick stone of counters vanities etc. including machine polishing to edge to give high gloss finish etc. complete. | 25.00 | RM | 432.69 | 395.06 | 9876.50 | 395.00 | 9875.00 | 370.00 | 9250.00 | 430.00 | 10750.00 | 9250.00 | SS ENTERPRISE
27.00 | S& F of Toughened Glass Partition with door and all fittings | 11.52 | SQM | 9500.00 | 9975.00 | 114912.00 | 10355.00 | 119289.60 | 9800.00 | 112896.00 | 8500.00 | 97920.00 | 97920.00 | Leela Constructions
28.00 | Supply and Fixing of Stainless steel Handle of Size 300mm including necessary screws etc complete. | 40.00 | Each | 855.00 | 897.75 | 35910.00 | 655.00 | 26200.00 | 850.00 | 34000.00 | 800.00 | 32000.00 | 26200.00 | Siva Enterprises
29.00 | Supply and Fixing of Stainless steel Handle of Size 200mm including necessary screws etc complete. | 25.00 | Each | 755.00 | 792.75 | 19818.75 | 545.00 | 13625.00 | 750.00 | 18750.00 | 700.00 | 17500.00 | 13625.00 | Siva Enterprises
30.00 | Providing and fixing in position Toilet Wall mounted Coupled Closet, Including soft seat cover, concealed flush tank etc. (Make : JAGUAR/KOHLER/DURAVIT) or Suitabley Equivalent Make. | 2.00 | Each | 40500.00 | 40500.00 | 81000.00 | 43500.00 | 87000.00 | 41000.00 | 82000.00 | 35000.00 | 70000.00 | 70000.00 | Leela Constructions
31.00 | Providing and fixing in position Automatic sensor urinal. (Make : JAGUAR/KOHLER/DURAVIT) or Suitabley Equivalent make. | 1.00 | Each | 57500.00 | 57500.00 | 57500.00 | 61500.00 | 61500.00 | 57000.00 | 57000.00 | 51000.00 | 51000.00 | 51000.00 | Leela Constructions
32.00 | Diverter with hand shower and rain shower of 200mmdia . | 2.00 | Each | 19500.00 | 20475.00 | 40950.00 | 20955.00 | 41910.00 | 20000.00 | 40000.00 | 17000.00 | 34000.00 | 34000.00 | Leela Constructions
33.00 | Supply and Fixing of SENSOR Piller cock 15mm long body fixed on wash basin with all nessary fitting etc(make parryware/Jaguar) or Suitabley Equivalent make. | 2.00 | Nos | 9600.00 | 10080.00 | 20160.00 | 10455.00 | 20910.00 | 9450.00 | 18900.00 | 9000.00 | 18000.00 | 18000.00 | Leela Constructions
34.00 | Providing and fixing Counter sunk wash basins, waste coupling. Cost incl. of providing and fixing of bottle traps, angle valve, Teflon tape etc. complete as directed by the architects. (Make : JAGUAR/KOHLER/DURAVIT.) or Suitabley Equivalent make | 2.00 | Each | 9955.00 | 10452.75 | 20905.50 | 10500.00 | 21000.00 | 10000.00 | 20000.00 | 9000.00 | 18000.00 | 18000.00 | Leela Constructions
35.00 | Supply and fixing of Angle Cock (15mm) with pipe (Jaguar/Parryware make) or Suitably Equivalent make | 10.00 | Each | 1545.00 | 1622.25 | 16222.50 | 1655.00 | 16550.00 | 1500.00 | 15000.00 | 1500.00 | 15000.00 | 15000.00 | Leela Constructions, SS ENTERPRISE
36.00 | Supply and fixing of PVC connections 15mm size with PTMT nuts of length 450mm. | 8.00 | Each | 172.50 | 157.50 | 1260.00 | 155.00 | 1240.00 | 150.00 | 1200.00 | 170.00 | 1360.00 | 1200.00 | SS ENTERPRISE
37.00 | Supply and fixing of Health facet cromium plated (ESS YES VICTORIAN"/Parryware Make) or Suitably Equivalent make | 2.00 | Each | 1045.00 | 1097.25 | 2194.50 | 1255.00 | 2510.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 2000.00 | Leela Constructions, SS ENTERPRISE
38.00 | Supply and fixing of towel rake (Jaguar/Parryware) or Suitabley Equivalent make | 2.00 | Each | 3455.00 | 3627.75 | 7255.50 | 3955.00 | 7910.00 | 3500.00 | 7000.00 | 3455.00 | 6910.00 | 6910.00 | Leela Constructions
39.00 | Supply and fixing of towel Ring of Make (Jaguar/Parryware ) or Suitabley Equivalent make | 2.00 | Each | 1345.00 | 1412.25 | 2824.50 | 1455.00 | 2910.00 | 1300.00 | 2600.00 | 1300.00 | 2600.00 | 2600.00 | Leela Constructions, SS ENTERPRISE
40.00 | Supply and Fixing of Soap dish fixed with chromium plate brass screws and wooden/plastic cleats (make parryware/Jaguar) or Suitabley Equivalent make | 2.00 | Nos | 1025.00 | 1076.25 | 2152.50 | 1155.00 | 2310.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 2000.00 | Leela Constructions, SS ENTERPRISE
41.00 | S & F of Looking Mirror of size 800 MM DIA With Gold Colour Mettalic Frame of (Kohler / Jaguar Brand) or suitably equivalent make | 2.00 | Each | 12500.00 | 13125.00 | 26250.00 | 13500.00 | 27000.00 | 12800.00 | 25600.00 | 11000.00 | 22000.00 | 22000.00 | Leela Constructions
42.00 | Supply and fixing of tubular towel rail 20mm D type 60cm long of Brss Chromium plated with and including chromium coated brass screws and wooden /plastic cleats. | 2.00 | Each | 1003.84 | 916.55 | 1833.10 | 955.00 | 1910.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 1833.10 | SPPS CONSTRUTCION INDIA PRIVTAE LIMITED
43.00 | Supply and Fixing of CPVC pipe 25 mm SDR11 &plain CPVC SDR 11 Fitting on concealed walls/ceiling or laying in floor complete all as specified. | 45.00 | RM | 406.41 | 853.40 | 38403.00 | 405.00 | 18225.00 | 375.00 | 16875.00 | 400.00 | 18000.00 | 16875.00 | SS ENTERPRISE
44.00 | Supply and Fixing of CPVC pipe 20 mm SDR11 &plain CPVC SDR 11 Fitting on concealed walls/ceiling or laying in floor complete all as specified. | 25.00 | RM | 281.29 | 256.83 | 6420.75 | 275.00 | 6875.00 | 275.00 | 6875.00 | 280.00 | 7000.00 | 6420.75 | SPPS CONSTRUTCION INDIA PRIVTAE LIMITED
45.00 | M&L for PVC Multi floor trap diameter of out let in 75mm with grating including with solvent cement. | 8.00 | Each | 460.00 | 400.00 | 3200.00 | 355.00 | 2840.00 | 390.00 | 3120.00 | 450.00 | 3600.00 | 2840.00 | Siva Enterprises
46.00 | S & F of PVC 110mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 20.00 | RM | 464.19 | 403.64 | 8072.80 | 425.00 | 8500.00 | 400.00 | 8000.00 | 470.00 | 9400.00 | 8000.00 | SS ENTERPRISE
47.00 | S & F of PVC 110mm dia Pipes single socketed, in any length with rubber ring joints fixed to walls. | 20.00 | RM | 545.97 | 474.76 | 9495.20 | 495.00 | 9900.00 | 460.00 | 9200.00 | 550.00 | 11000.00 | 9200.00 | SS ENTERPRISE
48.00 | S & F of PVC Bend 110mm dia any radius. | 6.00 | Each | 143.75 | 131.25 | 787.50 | 115.00 | 690.00 | 115.00 | 690.00 | 140.00 | 840.00 | 690.00 | SS ENTERPRISE, Siva Enterprises
49.00 | S & F of PVC (SWR) reducers 110mm dia any radius. | 6.00 | Each | 155.25 | 141.75 | 850.50 | 125.00 | 750.00 | 125.00 | 750.00 | 155.00 | 930.00 | 750.00 | SS ENTERPRISE, Siva Enterprises
50.00 | S & F of PVC Bend with door 75mm dia any radius, | 5.00 | Each | 166.75 | 152.25 | 761.25 | 125.00 | 625.00 | 135.00 | 675.00 | 165.00 | 825.00 | 625.00 | Siva Enterprises
51.00 | Cutting chasesin Brick walls, pinning in. making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting not exc 10 cm girth | 39.50 | RM | 58.02 | 50.45 | 1992.78 | 55.00 | 2172.50 | 50.00 | 1975.00 | 55.00 | 2172.50 | 1975.00 | SS ENTERPRISE
52.00 | Material and labour for cement concrete 1:2:4 Type B1 20mm graded aggregate in foundation filling and mass concrete. | 65.00 | CUM | 7513.33 | 6533.33 | 424666.45 | 7855.00 | 510575.00 | 6450.00 | 419250.00 | 6800.00 | 442000.00 | 419250.00 | SS ENTERPRISE
53.00 | Supply and Fixing of Precast SRFC manhole covers with frame complete all as directed by EIC. | 1.00 | SQM | 4948.00 | 4948.00 | 4948.00 | 5255.00 | 5255.00 | 4800.00 | 4800.00 | 5700.00 | 5700.00 | 4800.00 | SS ENTERPRISE
54.00 | Supply and Fixing of soap dispenser of (Make :- Jaguar / ESS ESS /Parryware) or Suitably Equivalent Make | 2.00 | Nos | 4500.00 | 4725.00 | 9450.00 | 4755.00 | 9510.00 | 5000.00 | 10000.00 | 4500.00 | 9000.00 | 9000.00 | Leela Constructions
55.00 | Supply and Fixing of Toilet paper Holder of (Make Jaguar/ ESS ESS / Parryware) or suitably equivalent make | 3.00 | Nos | 1255.00 | 1317.75 | 3953.25 | 1255.00 | 3765.00 | 1250.00 | 3750.00 | 1255.00 | 3765.00 | 3750.00 | SS ENTERPRISE
56.00 | Returning / refilling of Hard /dense soil including spreading, leveling, watering and well ramming in layers not exceeding 25cm. | 8.00 | CUM | 159.97 | 146.06 | 1168.48 | 155.00 | 1240.00 | 130.00 | 1040.00 | 155.00 | 1240.00 | 1040.00 | SS ENTERPRISE
57.00 | Removal of excavated soils exceeding 250m but not exceeding 500mm and depositing where directed. | 4.00 | CUM | 669.99 | 611.73 | 2446.92 | 455.00 | 1820.00 | 575.00 | 2300.00 | 650.00 | 2600.00 | 1820.00 | Siva Enterprises
58.00 | Material and labour for Point wiring with 1.5sqmm FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall/ roof/L angle including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including copper earth continuity wire.(Make:Finolex / Orbit/ Havells/ polycab) or suitably equivalent make a) one light point controlled by one switch light/fan | 11.00 | Point | 1141.66 | 1141.66 | 12558.26 | 1255.00 | 13805.00 | 1200.00 | 13200.00 | 1100.00 | 12100.00 | 12100.00 | Leela Constructions
59.00 | Supply fixing and connecting to the system modular type switches 6A single pole one way (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree) or suitably equivalent make | 11.00 | Each | 299.58 | 299.58 | 3295.38 | 155.00 | 1705.00 | 250.00 | 2750.00 | 290.00 | 3190.00 | 1705.00 | Siva Enterprises
60.00 | Supply, fixing and connecting to the system modular type switch one way 16A, 1 module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree) or suitably equivalent make | 1.00 | Each | 395.26 | 395.26 | 395.26 | 255.00 | 255.00 | 320.00 | 320.00 | 395.00 | 395.00 | 255.00 | Siva Enterprises
61.00 | Supply, fixing and connecting to the system of socket, 6/16A-2/3 pin combined modular type 2 module(Make:,LEGRAND MYRIUS/ Litaski/ Crabtree) or suitably equivalent make | 1.00 | Each | 607.66 | 607.66 | 607.66 | 355.00 | 355.00 | 500.00 | 500.00 | 600.00 | 600.00 | 355.00 | Siva Enterprises
62.00 | Material & Labour for ceiling rose, 3 Phase/PVC/polycorbonate, isolated body (ANCHOR / LEGRAND/ HAVELLS) or suitably equivalent make | 4.00 | Each | 75.56 | 75.56 | 302.24 | 65.00 | 260.00 | 60.00 | 240.00 | 75.00 | 300.00 | 240.00 | SS ENTERPRISE
63.00 | Supply & fixing of modular white cover plate with frame 2 module | 4.00 | Each | 225.17 | 225.17 | 900.68 | 355.00 | 1420.00 | 190.00 | 760.00 | 225.00 | 900.00 | 760.00 | SS ENTERPRISE
64.00 | Supply & fixing metal flush box for 2 module plate | 4.00 | Each | 205.97 | 205.97 | 823.88 | 325.00 | 1300.00 | 180.00 | 720.00 | 205.00 | 820.00 | 720.00 | SS ENTERPRISE
65.00 | Supply & fixing of 4 module modular white cover plate with frame | 3.00 | Each | 284.17 | 284.17 | 852.51 | 455.00 | 1365.00 | 240.00 | 720.00 | 280.00 | 840.00 | 720.00 | SS ENTERPRISE
66.00 | Supply & fixing of metal flush box for 4 module plate | 3.00 | Each | 245.41 | 245.41 | 736.23 | 425.00 | 1275.00 | 210.00 | 630.00 | 240.00 | 720.00 | 630.00 | SS ENTERPRISE
67.00 | Supply & fixing of 6 module modular white cover plate with frame | 1.00 | Each | 356.04 | 356.04 | 356.04 | 575.00 | 575.00 | 300.00 | 300.00 | 355.00 | 355.00 | 300.00 | SS ENTERPRISE
68.00 | Supply & fixing of metal flush box for 6 module plate | 1.00 | Each | 326.72 | 326.72 | 326.72 | 525.00 | 525.00 | 290.00 | 290.00 | 325.00 | 325.00 | 290.00 | SS ENTERPRISE
69.00 | Material & Labour for wiring with two runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan ) or suitably equivalent make a) 2x2.5sqmm + 1x2.5sqmm earth wire | 16.00 | RM | 212.99 | 212.99 | 3407.84 | 225.00 | 3600.00 | 180.00 | 2880.00 | 200.00 | 3200.00 | 2880.00 | SS ENTERPRISE
70.00 | Material & Labour for wiring with two runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan ) or suitably equivalent make b) 2x4.0 sq.mm+1x4.0 sq.mm earth wire | 40.00 | RM | 247.25 | 247.25 | 9890.00 | 295.00 | 11800.00 | 220.00 | 8800.00 | 250.00 | 10000.00 | 8800.00 | SS ENTERPRISE
71.00 | Material and labour for Brick walls cutting chases,pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good,cutting exc. 10 cm but not exc. 20 cm grith. | 25.00 | RM | 59.92 | 59.92 | 1498.00 | 55.00 | 1375.00 | 50.00 | 1250.00 | 55.00 | 1375.00 | 1250.00 | SS ENTERPRISE
72.00 | Supply, fixing & connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used Single pole Neutral 8 way with 200 Amps rated busbar, (Make: Legrand/ABB/ Schneider) or suitably equivalent make | 1.00 | Each | 2199.61 | 2199.61 | 2199.61 | 2755.00 | 2755.00 | 2000.00 | 2000.00 | 2100.00 | 2100.00 | 2000.00 | SS ENTERPRISE
73.00 | Supply and fixing amp rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of SPN 32 AMP current carrying capacity in the MCB DB complete with connection testing and commissioning. | 1.00 | Each | 978.88 | 978.88 | 978.88 | 1255.00 | 1255.00 | 850.00 | 850.00 | 975.00 | 975.00 | 850.00 | SS ENTERPRISE
74.00 | Supply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 6 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. ( Make: STANDARD /LEGRAND/ HAVELLS / ABB / Schneider) or suitable equivalent make | 6.00 | Each | 326.83 | 326.83 | 1960.98 | 275.00 | 1650.00 | 280.00 | 1680.00 | 325.00 | 1950.00 | 1650.00 | Siva Enterprises
75.00 | Supply and fixing of LED ceiling/Recessed mounting fitting complete with suitable Led lamp and accessories wattage 24 to 30 watts and minimum system output 1800 lumens (Make:Philips/Bajaj/CG/ Havells/Wipro) or suitable equivalent make | 6.00 | Each | 2055.00 | 2363.25 | 14179.50 | 1655.00 | 9930.00 | 2400.00 | 14400.00 | 2300.00 | 13800.00 | 9930.00 | Siva Enterprises
| Total in Figures |  |  |  |  | 1936023.72 |  | 2123901.60 |  | 1894694.00 |  | 1852757.50
Lowest Amount Quoted BY: Leela Constructions(1852757.50)

## BOQ Summary
BOQ Summary Details Tender Title: PROVISION OF VIP WASHROOMS AT VALLUVAR VASUKI THIRUMANA MANDAPAM (VVTM) AT HVF ESTATE Tender ID: 2025_AVNL_251299_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Leela Constructions (BID ID -919069) | 1852757.50 | L1
| 2 | SS ENTERPRISE (BID ID -919183) | 1894694.00 | L2
| 3 | SPPS CONSTRUTCION INDIA PRIVTAE LIMITED (BID ID -923723) | 1936023.72 | L3
| 4 | Siva Enterprises (BID ID -924327) | 2123901.60 | L4