## BoQ1
Government eProcurement System Created By: V. UKESH BABU Created Date/Time: 26-Nov-2025 05:26 PM Tender Title: SPECIAL REPAIRS / RENOVATION TO KITCHEN, BATHROOM AND TOILETS IN TYPE - IV (90 Nos) AND TYPE - V (17 Nos) QUARTERS AT AVNL ESTATE Tender ID: 2025_AVNL_251494_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work : SPECIAL REPAIRS / RENOVATION TO KITCHEN, BATHROOM AND TOILETS IN TYPE – IV (90 Nos) AND TYPE – V (17 Nos) QUARTERS AT AVNL ESTATE
Tender No: HVF/TE/13025/CEO/2025-26/45
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AADHARSHILA CONSTRUCTIONS CO (GSTN-NA) BID ID -919231 |  | Sri Lakshmi Industries (GSTN-NA) BID ID -919139 |  | R.Krishnamurthy and Co (GSTN-NA) BID ID -918995 |  | Siva Enterprises (GSTN-NA) BID ID -918639
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taking down door shutters with frame or cupboard shutter with frame exceeding 1.50 sqm but not exceeding 4.00sqm each without taking shutter from the frame and handing over the same to CE(E)/Store. | 180.00 | Each | 501.16 | 360.00 | 64800.00 | 300.00 | 54000.00 | 660.10 | 118818.00 | 455.00 | 81900.00 | 54000.00 | Sri Lakshmi Industries
2.00 | Earth work excavation in hard/ dense soil in trenches width and depth not exceeding 1.50m and getting out. | 45.00 | CuM | 742.50 | 675.00 | 30375.00 | 600.00 | 27000.00 | 943.00 | 42435.00 | 755.00 | 33975.00 | 27000.00 | Sri Lakshmi Industries
3.00 | Dismantling floor, hearth or wall tiling including cement mortar bedding (but not backing), removing serviceable tiles to store and rubbish off the premises. | 7500.00 | SqM | 98.45 | 90.00 | 675000.00 | 90.00 | 675000.00 | 235.75 | 1768125.00 | 95.00 | 712500.00 | 675000.00 | Sri Lakshmi Industries, AADHARSHILA CONSTRUCTIONS CO
4.00 | Material and Labour for forming jambs using CM 1:4 to opening including cutting, toothing and also facing, jointing and pointing to match existing work complete. | 300.00 | SqM | 781.66 | 720.00 | 216000.00 | 700.00 | 210000.00 | 670.10 | 201030.00 | 545.00 | 163500.00 | 163500.00 | Siva Enterprises
5.00 | Material and Labour for Dubbing out average 10mm thick on irregular face of walls in CM 1:6. | 6000.00 | SqM | 174.69 | 160.00 | 960000.00 | 180.00 | 1080000.00 | 282.90 | 1697400.00 | 175.00 | 1050000.00 | 960000.00 | AADHARSHILA CONSTRUCTIONS CO
6.00 | Material and labour for providing a cement concrete layer average thickness 40mm using B-0 type concrete 1:2:4 using(12.5mm graded aggregated) complete all as directed. | 1250.00 | SqM | 326.92 | 340.00 | 425000.00 | 297.20 | 371500.00 | 402.90 | 503625.00 | 255.00 | 318750.00 | 318750.00 | Siva Enterprises
7.00 | Material and Labour for Brickwork with subclass ‘B’ bricks, straight or curved on plan to any radius in half brick thick walls built in CM 1:3. | 100.00 | SqM | 758.60 | 689.00 | 68900.00 | 800.00 | 80000.00 | 1414.50 | 141450.00 | 655.00 | 65500.00 | 65500.00 | Siva Enterprises
8.00 | Material and Labour for plastering in CM 1:4, 15mm thick on fair faces of brick work and concrete surfaces. | 6500.00 | SqM | 289.43 | 263.00 | 1709500.00 | 300.00 | 1950000.00 | 377.20 | 2451800.00 | 295.00 | 1917500.00 | 1709500.00 | AADHARSHILA CONSTRUCTIONS CO
9.00 | Supply and fixing of EWC with "P" or "S" trap including bedding valveless syphonic action type 10 litres flushing cistern low level white with inlet ball valve float and handle including bracket Plastic water closet seat, black, closed pattern with flat bottom and cover and mild steel chromium plated or aluminised hinging device etc., complete and dismantling the existing IWC. | 60.00 | Each | 6144.41 | 5800.00 | 348000.00 | 5500.00 | 330000.00 | 6210.44 | 372626.40 | 5455.00 | 327300.00 | 327300.00 | Siva Enterprises
10.00 | Supply and Fixing of Health Facet chromium plated (Make: ESS YESS , VICTORIAN, PARRY WARE or suitably Equivalent make). | 60.00 | Each | 800.00 | 1250.00 | 75000.00 | 900.00 | 54000.00 | 1650.25 | 99015.00 | 955.00 | 57300.00 | 54000.00 | Sri Lakshmi Industries
11.00 | Supply and Fixing of vitreous china Squatt pan pattern size 580x440mm with "P" or "S" trap including provision of lime concrete bedding hing level flushing cistern 10 litres flush out pipes etc., complete and dismantling existing IWC complete. | 30.00 | Each | 5884.66 | 5500.00 | 165000.00 | 5500.00 | 165000.00 | 6147.69 | 184430.70 | 5955.00 | 178650.00 | 165000.00 | Sri Lakshmi Industries, AADHARSHILA CONSTRUCTIONS CO
12.00 | Providing and fixing in position Toilet wall mounted Coupled closet including soft seat cove, concealed flush tank etc., Make: Jaguar/Kohler/Duravit or suitable equivalent make. | 34.00 | Each | 40500.00 | 1200.00 | 40800.00 | 39000.00 | 1326000.00 | 14216.92 | 483375.28 | 39455.00 | 1341470.00 | 40800.00 | AADHARSHILA CONSTRUCTIONS CO
13.00 | Diverter with hand shower and rain shower of 200mm dia. | 34.00 | Each | 19500.00 | 11000.00 | 374000.00 | 18000.00 | 612000.00 | 6462.24 | 219716.16 | 19455.00 | 661470.00 | 219716.16 | R.Krishnamurthy and Co
14.00 | Supply and Fixing of Angle cock (15mm) with pipe Make: Jaguar/Kohler/Duravit or suitable equivalent make. | 50.00 | Each | 1545.00 | 1500.00 | 75000.00 | 1600.00 | 80000.00 | 1163.20 | 58160.00 | 1595.00 | 79750.00 | 58160.00 | R.Krishnamurthy and Co
15.00 | Supply and fixing of Health facet chromium plated (Jaguar/Kohler/Duravit or suitable equivalent make. | 34.00 | Each | 1045.00 | 1800.00 | 61200.00 | 1200.00 | 40800.00 | 4523.57 | 153801.38 | 1055.00 | 35870.00 | 35870.00 | Siva Enterprises
16.00 | Supply and fixing of towel rake (Jaguar/Kohler/Duravit or suitable Equivalent make. | 34.00 | Each | 1345.00 | 1800.00 | 61200.00 | 1500.00 | 51000.00 | 5169.79 | 175772.86 | 1355.00 | 46070.00 | 46070.00 | Siva Enterprises
17.00 | Material and Labour for Coloured Non Skid Ceramic tiles not less than 7mm thick (Square /rectangular)area of each tile exceeding 0.18 sqm but not exceeding 0.38 sqm in floors etc., set and jointed in neat cement slurry and pointed in white or coloured cement to match and screed bed or bedding layer in CM1:3, 20mm thick for laying floor finishes. | 1350.00 | SqM | 1901.45 | 980.00 | 1323000.00 | 1400.00 | 1890000.00 | 1630.08 | 2200608.00 | 1455.00 | 1964250.00 | 1323000.00 | AADHARSHILA CONSTRUCTIONS CO
18.00 | Material and Labour for glazed ceramic colour tiles in vertical surfaces 350x250x7 / 450x350x7mm thick set and jointed in neat cement slurry and pointed in white or coloured cement to match including screed bed in CM 1:4 15mm thick complete. | 6000.00 | SqM | 1717.95 | 1000.00 | 6000000.00 | 1300.00 | 7800000.00 | 1367.35 | 8204100.00 | 1355.00 | 8130000.00 | 6000000.00 | AADHARSHILA CONSTRUCTIONS CO
19.00 | Supply and Fixing of vitreous china wash basin 580x450 including pillar cock 15mm dia waste chain and plug 32 mm dia and porcelian stopper and removal of old one from the site. | 125.00 | Each | 2826.07 | 2100.00 | 262500.00 | 2500.00 | 312500.00 | 4441.53 | 555191.25 | 2755.00 | 344375.00 | 262500.00 | AADHARSHILA CONSTRUCTIONS CO
20.00 | Supply and fixing of cast copper alloy screwed down, high pressure stop cock /angle cock fancy type chromium plated concealed type of size 15mm. | 900.00 | Each | 792.15 | 750.00 | 675000.00 | 700.00 | 630000.00 | 930.74 | 837666.00 | 795.00 | 715500.00 | 630000.00 | Sri Lakshmi Industries
21.00 | Supply and Fixing of chromium plated cast copper alloy bib cock of size 15mm. | 700.00 | Each | 512.27 | 650.00 | 455000.00 | 550.00 | 385000.00 | 2649.52 | 1854664.00 | 525.00 | 367500.00 | 367500.00 | Siva Enterprises
22.00 | Supply and Fixing of 600x450mm bevelled mirror of selected quality glass mounted on commercial ply wood and fixed to wooden plugs with chromium plated brass screws and cup washers. | 150.00 | Each | 610.06 | 650.00 | 97500.00 | 600.00 | 90000.00 | 1131.60 | 169740.00 | 625.00 | 93750.00 | 90000.00 | Sri Lakshmi Industries
23.00 | Supply and fixing of PVC(SWR) pipe 110mm bend. | 300.00 | Each | 137.50 | 125.00 | 37500.00 | 140.00 | 42000.00 | 188.60 | 56580.00 | 115.00 | 34500.00 | 34500.00 | Siva Enterprises
24.00 | Supply and fixing of PVC(SWR) pipe 75mm bend. | 300.00 | Each | 121.00 | 110.00 | 33000.00 | 100.00 | 30000.00 | 155.60 | 46680.00 | 115.00 | 34500.00 | 30000.00 | Sri Lakshmi Industries
25.00 | Supply and Fixing of PVC(SWR) pipe of 110mm dia laid in trenches or in walls including all fittings complete all as directed. | 350.00 | RM | 522.24 | 195.00 | 68250.00 | 400.00 | 140000.00 | 711.97 | 249189.50 | 455.00 | 159250.00 | 68250.00 | AADHARSHILA CONSTRUCTIONS CO
26.00 | Supply and Fixing of PVC(SWR) pipe of 110mm dia laid in trenches or in floors including all fittings complete all as directed. | 350.00 | RM | 444.00 | 190.00 | 66500.00 | 395.00 | 138250.00 | 801.55 | 280542.50 | 405.00 | 141750.00 | 66500.00 | AADHARSHILA CONSTRUCTIONS CO
27.00 | Supply and Fixing of PVC floor trap 75mm dia outlet of with grating and connecting PVC extension pipe including jointing with solvent cement etc., complete | 300.00 | Each | 247.50 | 225.00 | 67500.00 | 210.00 | 63000.00 | 471.50 | 141450.00 | 255.00 | 76500.00 | 63000.00 | Sri Lakshmi Industries
28.00 | Supply and fixing of tubular towel rail 20mm D type 60cm long of aluminium anodized and including chromium coated brass screws and wooden /plastic cleats. | 200.00 | Each | 417.78 | 500.00 | 100000.00 | 350.00 | 70000.00 | 358.15 | 71630.00 | 425.00 | 85000.00 | 70000.00 | Sri Lakshmi Industries
29.00 | Supply and fixing of soap dish fixed to plugs with chromium plated brass screws. | 100.00 | Each | 211.22 | 300.00 | 30000.00 | 210.00 | 21000.00 | 218.62 | 21862.00 | 205.00 | 20500.00 | 20500.00 | Siva Enterprises
30.00 | Supply and Fixing of Swivel Shower of PTMT of any colour for fixing with 15mm pipe (minimum weight 40 gms). | 100.00 | Each | 124.28 | 112.00 | 11200.00 | 130.00 | 13000.00 | 106.54 | 10654.00 | 115.00 | 11500.00 | 10654.00 | R.Krishnamurthy and Co
31.00 | Supply and Fixing of PVC (SWR) gully trap 125/110 mm, setting and jointing with neat cement solvent. | 150.00 | Each | 291.50 | 265.00 | 39750.00 | 280.00 | 42000.00 | 660.10 | 99015.00 | 355.00 | 53250.00 | 39750.00 | AADHARSHILA CONSTRUCTIONS CO
32.00 | Material and Labour for Cutting chases, pinning in, making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc., and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting not exc 8 cm girth. | 1700.00 | RM | 55.50 | 56.00 | 95200.00 | 60.00 | 102000.00 | 94.30 | 160310.00 | 55.00 | 93500.00 | 93500.00 | Siva Enterprises
33.00 | Supply and Laying of CPVC 20mm over dia pipes SD 11 & Plain CPVC SDR 11 fittings in trenches complete all as specified. | 1700.00 | RM | 269.06 | 245.00 | 416500.00 | 260.00 | 442000.00 | 378.99 | 644283.00 | 255.00 | 433500.00 | 416500.00 | AADHARSHILA CONSTRUCTIONS CO
34.00 | Supply and Fixing of 20mm dia High density polyethylene pipes (HDPE) of pressure rating 6 kgf/cm2 fixed complete to walls, ceilings or in floors etc. | 1200.00 | RM | 164.34 | 148.00 | 177600.00 | 160.00 | 192000.00 | 194.20 | 233040.00 | 125.00 | 150000.00 | 150000.00 | Siva Enterprises
35.00 | Supply and Fixing of Stainless steel sink with draining board, made out of 1.00mm thick sheet for kitchen or laboratory with plug, washers waste pipe, cast iron cantilever brackets, connecting union overall size 915mm x 460mm with bowl size 410mm x 330mm x 160mm complete all as directed by EIC. | 35.00 | Each | 4956.74 | 4500.00 | 157500.00 | 4700.00 | 164500.00 | 7991.16 | 279690.60 | 4955.00 | 173425.00 | 157500.00 | AADHARSHILA CONSTRUCTIONS CO
36.00 | Supply and Fixing of stainless steel sink, 1.00mm thick for kitchen or laboratory, with plug, waste pipe, washers, including cantilever cast iron brackets, connecting union etc., overall size 495mm x 420mm with bowl size 410mm x 330mm x 160mm complete all as directed by EIC. | 75.00 | Each | 2745.27 | 2500.00 | 187500.00 | 2700.00 | 202500.00 | 7108.47 | 533135.25 | 2755.00 | 206625.00 | 187500.00 | AADHARSHILA CONSTRUCTIONS CO
37.00 | Supply and Fixing of solid PVC frame (single rebated) of size 60mm x 30mm made out of solid PVC foam with Homogenous fine cellular structure having smooth outer integral skin with suitable stiffner and fixed with 100 x 8 sheet metal CSK screws complete all as specified and as shown on drawing. (Note: Door frame shall be water proof, termite proof, elegant and should have excellent screws holding strength to fix hinges and hold doors properly for a long life) etc., all complete and as directed for ventilator frame and windows shutters styles and railes. | 700.00 | RM | 696.41 | 633.00 | 443100.00 | 650.00 | 455000.00 | 895.52 | 626864.00 | 545.00 | 381500.00 | 381500.00 | Siva Enterprises
38.00 | Supply and fixing of 30mm thick factory made single extruded WPC (wood polymer composite) solid plain flush door shutter of required size comprising of virgin polymer of K-value 58-60 (suspension grade) calcium carbonate and natural fibre(wood powder) /rice husk / wheat husk and non toxic additives (maximum toxicity index of 12 for 100 mgs) having minimum density of 650 Kg/Cum, screws withdrawl strength of 1800N (face) & 900 N (edge) minimum compressive strength of 50N/mm2. Modulus of elasticity 850 N/mm2 and resistence to spread of flame of class A catagory with property of being termite / borer proof, water / moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star head counter sunk SS screws all as per direction of EIC. | 200.00 | SqM | 3610.00 | 3700.00 | 740000.00 | 3800.00 | 760000.00 | 6905.59 | 1381118.00 | 2755.00 | 551000.00 | 551000.00 | Siva Enterprises
39.00 | Supply and Fixing of extruded Aluminium alloy with brass/bronze hinge pin type C-22 Butt hinges heavy weight 75mm length. | 900.00 | Each | 119.35 | 108.00 | 97200.00 | 110.00 | 99000.00 | 102.32 | 92088.00 | 115.00 | 103500.00 | 92088.00 | R.Krishnamurthy and Co
40.00 | Supply and Fixing of Aluminium anodized skeleton tower bolts with plate of 100mm length. | 580.00 | Each | 64.57 | 58.00 | 33640.00 | 70.00 | 40600.00 | 55.35 | 32103.00 | 65.00 | 37700.00 | 32103.00 | R.Krishnamurthy and Co
41.00 | Supply and Fixing of Aluminium handle fabricated type 100mm length. | 580.00 | Each | 80.85 | 73.00 | 42340.00 | 85.00 | 49300.00 | 69.31 | 40199.80 | 75.00 | 43500.00 | 40199.80 | R.Krishnamurthy and Co
42.00 | Supply and Fixing of Aluminium Coat Hooks of soild body of size 175mm to 250mm. | 220.00 | Each | 74.70 | 67.00 | 14740.00 | 75.00 | 16500.00 | 64.04 | 14088.80 | 65.00 | 14300.00 | 14088.80 | R.Krishnamurthy and Co
43.00 | Supply and Fixing of granite (of any colour) work (table rubbed and polished) 25mm thick to fixing on wash basin platform including machine cutting suitably to fix the wash basin including nosing of inner and outer edges complete as directed in CM 1:4 including pointing in white cement (1:2) using marble dust with admixture with shade of granite. | 150.00 | SqM | 5869.83 | 5350.00 | 802500.00 | 6200.00 | 930000.00 | 5032.05 | 754807.50 | 4255.00 | 638250.00 | 638250.00 | Siva Enterprises
44.00 | Material and Labour for providing edge moulding of Granite stone of 18-20mm thick stone of counters vanities etc., including machine polishing to edge to give high gloss finish etc., complete. | 300.00 | RM | 413.88 | 375.00 | 112500.00 | 385.00 | 115500.00 | 389.46 | 116838.00 | 355.00 | 106500.00 | 106500.00 | Siva Enterprises
45.00 | Supply and Fixing of PVC 75mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 200.00 | RM | 257.44 | 160.00 | 32000.00 | 250.00 | 50000.00 | 188.60 | 37720.00 | 255.00 | 51000.00 | 32000.00 | AADHARSHILA CONSTRUCTIONS CO
46.00 | Material and Labour for white washing on ceiling with two coats including preparation of old ceiling surfaces. | 1800.00 | SqM | 24.42 | 25.00 | 45000.00 | 25.00 | 45000.00 | 64.62 | 116316.00 | 25.00 | 45000.00 | 45000.00 | Siva Enterprises, Sri Lakshmi Industries, AADHARSHILA CONSTRUCTIONS CO
47.00 | Complete removal of existing lime wash from the walls using scrappers emery paper etc., and washing the surface with water for removal of dust and applying two coats of OBD over one coat of alkali resistant primer paint. | 2000.00 | SqM | 119.57 | 63.00 | 126000.00 | 130.00 | 260000.00 | 232.92 | 465840.00 | 95.00 | 190000.00 | 126000.00 | AADHARSHILA CONSTRUCTIONS CO
48.00 | Material and Labour for providing / repairs to the cupboards in kitchen using 18mm thick water proof plywood BWP type fixed with necessary clamps, screws and required lippings, beadings etc., all complete as directed by EIC. | 325.00 | SqM | 1450.00 | 1450.00 | 471250.00 | 1650.00 | 536250.00 | 4001.98 | 1300643.50 | 1545.00 | 502125.00 | 471250.00 | AADHARSHILA CONSTRUCTIONS CO
49.00 | Supply and Fixing of white / half white laminated sheet of thickness 0.6mm fixed on both sides of plywood including necessary adhesives etc., complete. | 600.00 | SqM | 625.00 | 1650.00 | 990000.00 | 750.00 | 450000.00 | 1692.31 | 1015386.00 | 545.00 | 327000.00 | 327000.00 | Siva Enterprises
50.00 | Supply and Fixing of PVC Edge Band 1.00 mm Thick around the edges of shutter. | 600.00 | RM | 275.00 | 45.00 | 27000.00 | 300.00 | 180000.00 | 70.73 | 42438.00 | 295.00 | 177000.00 | 27000.00 | AADHARSHILA CONSTRUCTIONS CO
51.00 | Supply and Fixing of Color Acrylic laminated sheet of thickness 1.20 mm Fixed on both sides of plywood including necessary adhesives etc., complete. | 250.00 | SqM | 2355.00 | 2500.00 | 625000.00 | 2500.00 | 625000.00 | 1972.66 | 493165.00 | 2155.00 | 538750.00 | 493165.00 | R.Krishnamurthy and Co
52.00 | Supply and Fixing of Stainless steel Handle of Size 300mm including necessay screws etc., complete. | 85.00 | Each | 855.00 | 180.00 | 15300.00 | 850.00 | 72250.00 | 421.52 | 35829.20 | 745.00 | 63325.00 | 15300.00 | AADHARSHILA CONSTRUCTIONS CO
53.00 | Supply and Fixing of Stainless steel Handle of Size 200mm including necessay screws etc., complete. | 72.00 | Each | 755.00 | 120.00 | 8640.00 | 780.00 | 56160.00 | 337.22 | 24279.84 | 655.00 | 47160.00 | 8640.00 | AADHARSHILA CONSTRUCTIONS CO
54.00 | Supply and Fixing of Stainless steel Handle of Size 150mm including necessay screws etc., complete. | 90.00 | Each | 655.00 | 90.00 | 8100.00 | 670.00 | 60300.00 | 252.91 | 22761.90 | 615.00 | 55350.00 | 8100.00 | AADHARSHILA CONSTRUCTIONS CO
55.00 | Supply and Fixing of soft closer Runner 500 / 550mm. | 85.00 | Pair | 1755.00 | 1500.00 | 127500.00 | 1800.00 | 153000.00 | 1043.32 | 88682.20 | 1455.00 | 123675.00 | 88682.20 | R.Krishnamurthy and Co
56.00 | Supply and Fixing of Soft closer auto Hinges. | 550.00 | Nos | 375.00 | 250.00 | 137500.00 | 410.00 | 225500.00 | 384.74 | 211607.00 | 355.00 | 195250.00 | 137500.00 | AADHARSHILA CONSTRUCTIONS CO
57.00 | Supply and Fixing of SS Basket 200 mm depth as per req size. | 28.00 | Each | 5755.00 | 2800.00 | 78400.00 | 6000.00 | 168000.00 | 3877.34 | 108565.52 | 4955.00 | 138740.00 | 78400.00 | AADHARSHILA CONSTRUCTIONS CO
58.00 | Supply and Fixing of SS Basket 150 mm depth as per req size. | 28.00 | Each | 5255.00 | 2700.00 | 75600.00 | 5500.00 | 154000.00 | 3231.12 | 90471.36 | 4855.00 | 135940.00 | 75600.00 | AADHARSHILA CONSTRUCTIONS CO
59.00 | Supply and Fixing of SS Basket 100 mm depth as per req size. | 28.00 | Each | 4855.00 | 2500.00 | 70000.00 | 5200.00 | 145600.00 | 2908.00 | 81424.00 | 4755.00 | 133140.00 | 70000.00 | AADHARSHILA CONSTRUCTIONS CO
60.00 | Supply and Fixing of oil pull out 150 mm. | 17.00 | Each | 5455.00 | 3500.00 | 59500.00 | 5750.00 | 97750.00 | 3877.34 | 65914.78 | 5455.00 | 92735.00 | 59500.00 | AADHARSHILA CONSTRUCTIONS CO
61.00 | Supply and Fixing sheet glass Frasted quality of 4.00mm thick. | 20.00 | SqM | 1545.00 | 1000.00 | 20000.00 | 1610.00 | 32200.00 | 1163.20 | 23264.00 | 1455.00 | 29100.00 | 20000.00 | AADHARSHILA CONSTRUCTIONS CO
62.00 | Supply and Fixing of extruded Aluminium alloy with brass / bronze hinge pin type C-22 Butt hinges heavy weight 100mm length. | 30.00 | Each | 148.28 | 135.00 | 4050.00 | 160.00 | 4800.00 | 208.92 | 6267.60 | 115.00 | 3450.00 | 3450.00 | Siva Enterprises
63.00 | Supply and Fixing of Aluminium anodized skeleton tower bolts with plate of 125mm length. | 20.00 | Each | 76.01 | 69.00 | 1380.00 | 85.00 | 1700.00 | 97.74 | 1954.80 | 55.00 | 1100.00 | 1100.00 | Siva Enterprises
64.00 | Supply and Fixing of Aluminium handle fabricated type 125mm length. | 20.00 | Each | 88.88 | 80.00 | 1600.00 | 90.00 | 1800.00 | 122.21 | 2444.20 | 65.00 | 1300.00 | 1300.00 | Siva Enterprises
65.00 | Material and Labour for painting to wooden surfaces of any description over 10cm width or girth with Two coats of synthetic enamel paint including preparing new wooden surfaces. | 120.00 | SqM | 118.25 | 110.00 | 13200.00 | 120.00 | 14400.00 | 330.05 | 39606.00 | 115.00 | 13800.00 | 13200.00 | AADHARSHILA CONSTRUCTIONS CO
66.00 | Providing and fixing factory made uPVC white colour Sliding window Three track made of extruded profiles with wall thickness of 2.3mm (+ -0.2mm). Window profile with hollow section with multi chamber. Frame (88mm x 52mm), sliding sash (42mm x 67mm). Sliding mesh Sash (42mm x 57mm) Sliding interlock (One vertical length in each shutters) (45.5mm x 28mm), Glazing bead (24.5mm x 16mm) will be miterd cut and fusion welded at all corners, including drilling of holes for fixing hardware and drainage of water etc., making arrangement for fixing of hardware. EPDM gasket, 1.2+ -0.2mm thick galvanised steel Frame (30mm x 18mm) 2 nos, sliding sash (30mm x 18mm), sliding mesh sash (26mm x 10mm) profile to be inserted in required profile, frame will be fixed to the wall with 8mm x 100mm long fasteners, Hardware [Touch Lock of zinc alloyed (white powder coated), steel roller system. Stainless steel wire cloth 0.36mm nominal dia of wire and average width of aperture 1.40mm and required accessories. (Note: The unit rate quoted by contractor excludes cost of glass and includes all other connected accessories. Net Opening will be measured for payment purpose. (a) Area not exceeding 2.00 Sqm each) and as approved and as directed. | 130.00 | SqM | 12404.03 | 9500.00 | 1235000.00 | 12000.00 | 1560000.00 | 7443.54 | 967660.20 | 8155.00 | 1060150.00 | 967660.20 | R.Krishnamurthy and Co
67.00 | Supply and Fixing of 5.50mm sheet Glass, Ordinary quality and glazing with oil putty in square exc 0.5Sqm in each pane, ground or obscured or tinted on one side and as approved and as directed by EIC. | 125.00 | SqM | 1339.00 | 1350.00 | 168750.00 | 1200.00 | 150000.00 | 1266.54 | 158317.50 | 795.00 | 99375.00 | 99375.00 | Siva Enterprises
68.00 | Supply and Fixing of stainless steel wire mesh 0.36mm nominal dia of wire and average width of aperture size 1.40mm and fixed with stainless steel wire staples all complete as directed by EIC. | 60.00 | SqM | 801.13 | 728.00 | 43680.00 | 800.00 | 48000.00 | 714.61 | 42876.60 | 745.00 | 44700.00 | 42876.60 | R.Krishnamurthy and Co
69.00 | Material and labour for Treatment of soil under existing floors using emulsion @ one litre per hole, 300mm apart including drilling and plugging 12mm dia holes with cement mortar 1:2 (1 cement: 2 coarse sand) to match the existing and Anti-termite treatment by appointing a specialised agency as per the specifications mentioned by the Bureau of Indian Standards and Agencies specifications. | 285.00 | SqM | 232.10 | 211.00 | 60135.00 | 240.00 | 68400.00 | 198.97 | 56706.45 | 245.00 | 69825.00 | 56706.45 | R.Krishnamurthy and Co
70.00 | Material and labour for Anti-termite treatment Along the external wall below concrete or masonry apron using chemical emulsion @ 2.25 litres per linear metre including drilling and plugging holes etc. in apron. | 220.00 | RM | 98.12 | 89.00 | 19580.00 | 100.00 | 22000.00 | 84.12 | 18506.40 | 75.00 | 16500.00 | 16500.00 | Siva Enterprises
71.00 | Material and labour for Point wiring with 1.5sqmm PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduit accessories run on wall or roof including M.S. switch box concealed in the wall (made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc., mount on a wall/roof etc., including 1.5 sqmm for point & 2.5 sqmm for independent copper earth continuity wire. Make: Kundan/ Finolex/ Havells or suitably Equivalent make. a)one light point/one fan point controlled by one switch with cables1.5 sqmm size. | 220.00 | Point | 1141.66 | 1100.00 | 242000.00 | 1000.00 | 220000.00 | 3772.00 | 829840.00 | 1055.00 | 232100.00 | 220000.00 | Sri Lakshmi Industries
72.00 | Material and labour for Point wiring with 1.5sqmm PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduit accessories run on wall or roof including M.S. switch box concealed in the wall (made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 1.5 sqmm for point & 2.5 sqmm for independent copper earth continuity wire. Make: Kundan/ Finolex/ Havells or suitably Equivalent make. c)One 3 pin socket outlet 5 amps independent, with cables 2.5 sqmm size. | 127.00 | Point | 1301.10 | 1400.00 | 177800.00 | 1150.00 | 146050.00 | 4007.75 | 508984.25 | 1155.00 | 146685.00 | 146050.00 | Sri Lakshmi Industries
73.00 | Supply & fixing of switch piano, flush type single pole one way 6 amps. (Make: ANCHOR / LEGRAND/ HAVELLS or suitably equivalent make). | 220.00 | Each | 138.92 | 120.00 | 26400.00 | 100.00 | 22000.00 | 2132.15 | 469073.00 | 115.00 | 25300.00 | 22000.00 | Sri Lakshmi Industries
74.00 | Supply & fixing of switch socket combination 2 in 1, 3 pin 6A/16A, 5 in 1 flush type universal. (Make: ANCHOR / LEGRAND/ HAVELLS or suitably equivalent make). | 127.00 | Each | 436.31 | 379.00 | 48133.00 | 350.00 | 44450.00 | 1886.00 | 239522.00 | 355.00 | 45085.00 | 44450.00 | Sri Lakshmi Industries
75.00 | Material & Labour for ceiling rose, 3 Phase/PVC /polycorbonate, isolated body (ANCHOR / LEGRAND/ HAVELLS or suitable equivalent make). | 220.00 | Each | 75.56 | 66.00 | 14520.00 | 60.00 | 13200.00 | 141.45 | 31119.00 | 55.00 | 12100.00 | 12100.00 | Siva Enterprises
76.00 | Material and Labour for Brick walls Cutting chases, pinning in, making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc., and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting exceeding 10 cm but not exc 20cm girth. | 330.00 | RM | 59.92 | 52.00 | 17160.00 | 60.00 | 19800.00 | 226.32 | 74685.60 | 55.00 | 18150.00 | 17160.00 | AADHARSHILA CONSTRUCTIONS CO
77.00 | Supply and fixing exhaust fan made of sturdy Engineering plastic complete with louvers shutter, voltage 230V, 50 Hz, RPM 1200, Copper winding of sweep 300mm. (Make: Almonard/ Kaitan/ Crompton or Suitably equivalent make). | 313.00 | Each | 2915.69 | 2535.00 | 793455.00 | 3000.00 | 939000.00 | 3303.33 | 1033942.29 | 2455.00 | 768415.00 | 768415.00 | Siva Enterprises
78.00 | Supply and fixing exhaust fan, steel body AC single Phase. 230V of size 300mm sweep with, blades, and frame and louvers. (Make: Almonard/ Kaitan/ Crompton or Suitably equivalent make). | 93.00 | Each | 4080.88 | 3548.00 | 329964.00 | 4000.00 | 372000.00 | 4913.03 | 456911.79 | 2755.00 | 256215.00 | 256215.00 | Siva Enterprises
79.00 | Supply and fixing of electric water heater, storage type steel / plastic body with copper inner tank and heating element upto 2 KW capacity 25 litre, BEE 5 Star rated, 8 bar pressure, complete with all accessories such as safety valve, thermostate, NRV, connection piece etc., (Make: Wipro/Havells/Racold or Suitably equivalent make). | 127.00 | Nos | 11533.97 | 10000.00 | 1270000.00 | 11130.00 | 1413510.00 | 13720.65 | 1742522.55 | 10455.00 | 1327785.00 | 1270000.00 | AADHARSHILA CONSTRUCTIONS CO
| Total in Figures |  |  |  |  | 25320392.00 |  | 30714070.00 |  | 39284967.51 |  | 29224255.00
Lowest Amount Quoted BY: AADHARSHILA CONSTRUCTIONS CO(25320392.00)

## BOQ Summary
BOQ Summary Details Tender Title: SPECIAL REPAIRS / RENOVATION TO KITCHEN, BATHROOM AND TOILETS IN TYPE - IV (90 Nos) AND TYPE - V (17 Nos) QUARTERS AT AVNL ESTATE Tender ID: 2025_AVNL_251494_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AADHARSHILA CONSTRUCTIONS CO (BID ID -919231) | 25320392.00 | L1
| 2 | Siva Enterprises (BID ID -918639) | 29224255.00 | L2
| 3 | Sri Lakshmi Industries (BID ID -919139) | 30714070.00 | L3
| 4 | R.Krishnamurthy and Co (BID ID -918995) | 39284967.51 | L4