## BoQ1
Government eProcurement System Created By: V. UKESH BABU Created Date/Time: 21-Nov-2025 02:51 PM Tender Title: REPLACEMENT OF DEFECTIVE UNDERGROUND LT ARMOURED CABLE FROM SS12 TO FEEDER PILLAR BOX NEAR VI - 2 AND VI - 3 QUARTERS IN AVNL ESTATE Tender ID: 2025_AVNL_251553_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work : REPLACEMENT OF DEFECTIVE UNDERGROUND LT ARMOURED CABLE FROM SS12 TO FEEDER PILLAR BOX NEAR VI - 2 AND VI - 3 QUARTERS IN AVNL ESTATE
Tender No: HVF/TE/13025/CEO/2025-26/46
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Thirumalai Enterprises (GSTN-34AAGFT7137H1Z2) BID ID -918631 |  | SENTHIL ENGINEERING CONTRACTORS (GSTN-33AADHM1672F1ZI) BID ID -919005
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Excavating of hard / dense soil in trenches not exceeding 1.5m wide and not exceeding 1.5m in depth for laying cable. | 10.00 | CuM | 776.25 | 250.00 | 2500.00 | 900.00 | 9000.00 | 2500.00 | Thirumalai Enterprises
2.00 | Material & Labour for sand filling for cushioning on U.G cable. | 1.80 | CuM | 2270.45 | 2500.00 | 4500.00 | 3000.00 | 5400.00 | 4500.00 | Thirumalai Enterprises
3.00 | Materal & Labour for Bricks; common burnt clay building bricks sub class B designation 75, Old size bricks for protection to U.G cable. | .40 | Nos in 1000 | 6384.66 | 16600.00 | 6640.00 | 7000.00 | 2800.00 | 2800.00 | SENTHIL ENGINEERING CONTRACTORS
4.00 | Returning, refilling in the excavated trench of hard / dense soil after laying of power cable including spreading levelling, watering and well ramming in layers not exc 25 cm. | 10.00 | CuM | 159.97 | 175.00 | 1750.00 | 350.00 | 3500.00 | 1750.00 | Thirumalai Enterprises
5.00 | Brick work with subclass 'B' bricks straight / curved on pla,n exc 6m mean radius built in (Cement mortar 1:4). | .60 | CuM | 6176.08 | 21665.00 | 12999.00 | 3500.00 | 2100.00 | 2100.00 | SENTHIL ENGINEERING CONTRACTORS
6.00 | Rendering 10mm thickness on fair faces of brick work surfaces. (Cement plaster 1:4) | 6.00 | SqM | 235.52 | 300.00 | 1800.00 | 6000.00 | 36000.00 | 1800.00 | Thirumalai Enterprises
7.00 | Demolition of un-reinforced cement concrete of any description and in any position. | 1.00 | CuM | 1876.00 | 3000.00 | 3000.00 | 4000.00 | 4000.00 | 3000.00 | Thirumalai Enterprises
8.00 | Material and Labour for Cement concrete 1:2:4 Type B1 using 20mm graded aggregate in foundations, filling and mass concrete. | 1.00 | CuM | 7513.33 | 11000.00 | 11000.00 | 9000.00 | 9000.00 | 9000.00 | SENTHIL ENGINEERING CONTRACTORS
9.00 | Supply, laying or fixing with suitable clamps or passing through pipe, PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 1100 volts grade, cross sectional area 120 sqmm, 3.5 core. (Make: GLOSTER/ Nicco/ Polycab/ Kai or suitable equivalent make). | 220.00 | RM | 639.17 | 1075.00 | 236500.00 | 760.00 | 167200.00 | 167200.00 | SENTHIL ENGINEERING CONTRACTORS
10.00 | Supply, laying or fixing with suitable clamps or passing through pipe, PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 1100 volts grade, cross sectional area 25 sqmm, 4 core. (Make: GLOSTER/ Nicco/ Polycab/ Kai or suitable equivalent make). | 40.00 | RM | 238.04 | 415.00 | 16600.00 | 250.00 | 10000.00 | 10000.00 | SENTHIL ENGINEERING CONTRACTORS
11.00 | Supply, laying or fixing with suitable clamps or passing through pipe, PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 1100 volts grade, cross sectional area 35 sqmm, 3.5 core. (Make: GLOSTER/ Nicco/ Polycab/ Kai or suitable equivalent make). | 40.00 | RM | 270.56 | 455.00 | 18200.00 | 300.00 | 12000.00 | 12000.00 | SENTHIL ENGINEERING CONTRACTORS
12.00 | Supply & fixing of Earth continuity conductor or main earthing lead fixed to wall on batten or recess or chases or buried in ground or drawn in conduit / pipe or fixed to poles or any other indicated situation for loop earthing etc., as required 32x6mm galvanised iron strip. | 10.00 | RM | 265.42 | 410.00 | 4100.00 | 900.00 | 9000.00 | 4100.00 | Thirumalai Enterprises
13.00 | Material & Labour for Earthing complete with galvanised steel pipe electrode, 40mm bore, medium grade, 2.5 metres length, buried directly and preferably vertically in ground with top edge not less than 1.25 metres below ground level connected with earthing lead of by using galvanised iron 32×6mm strip as earth lug lead all as shown in Plate No. 2 to the earthing test point all as specified and indicated including testing on completion. | 2.00 | Each | 7769.86 | 4785.00 | 9570.00 | 10000.00 | 20000.00 | 9570.00 | Thirumalai Enterprises
14.00 | OUT DOOR FPB consisting of 200A MCCB-1 No for incoming, outgoing feeders are 63A MCCB-6 Nos. Specifcation sheet enclosed as annexure -1 (1.0.1 to 1.0.9.5). | 1.00 | Set | 288000.00 | 335000.00 | 335000.00 | 450000.00 | 450000.00 | 335000.00 | Thirumalai Enterprises
15.00 | Material and Labour for horizontal drilling hole (trench less boring) at a depth of 1.5 mtr below the normal ground level and supply and insert including materials 150 mm bore HDPE pipe across the road, the horizontal position at different locations using special drilling machine as per trade of practise and as directed. | 200.00 | RM | 5334.00 | 2990.00 | 598000.00 | 3250.00 | 650000.00 | 598000.00 | Thirumalai Enterprises
16.00 | Supply, fixing & connecting of the system cable end termination of size 35 sqmm 3.5 core including with suitable cable gland & lugs. | 4.00 | Set | 780.00 | 250.00 | 1000.00 | 1500.00 | 6000.00 | 1000.00 | Thirumalai Enterprises
17.00 | Supply, fixing & connecting of the system cable end termination of size 25 sqmm 4 core including with suitable cable gland & lugs. | 4.00 | Each | 334.00 | 230.00 | 920.00 | 1500.00 | 6000.00 | 920.00 | Thirumalai Enterprises
18.00 | Material & Labour for straight through heat shrink type cable joint, complete with jointing material and accessories suitable for PVC armoured under ground cable of size 35 sqmm 3.5 / 4 core. Make: Raychem/ 3M or suitably equivalent make approved by EIC. | 2.00 | Each | 2500.00 | 4350.00 | 8700.00 | 5000.00 | 10000.00 | 8700.00 | Thirumalai Enterprises
19.00 | Material & Labour for straight through heat shrink type cable joint, complete with jointing material and accessories suitable for PVC armoured under ground cable of size 25 sqmm 3.5 / 4 core. Make: Raychem/ 3M or suitably equivalent make approved by EIC. | 2.00 | Each | 2000.00 | 4350.00 | 8700.00 | 4000.00 | 8000.00 | 8000.00 | SENTHIL ENGINEERING CONTRACTORS
20.00 | Material & Labour for Cable jointing kit for 1100 Volt (Earthed) grade cable for straight through heat shrink type joint complete with jointing material and accessories suitable for 3/4 core, PVC armoured under cable of size 16 sqmm to 35 sqmm. | 4.00 | Each | 5000.00 | 4350.00 | 17400.00 | 5000.00 | 20000.00 | 17400.00 | Thirumalai Enterprises
21.00 | Supply, fixing & connecting of the system cable end termination of size 120 sqmm 3.5 core including with double compression suitable cable gland & lugs. | 2.00 | Set | 5000.00 | 510.00 | 1020.00 | 2000.00 | 4000.00 | 1020.00 | Thirumalai Enterprises
| Total in Figures |  |  |  |  | 1299899.00 |  | 1444000.00
Lowest Amount Quoted BY: Thirumalai Enterprises(1299899.00)

## BOQ Summary
BOQ Summary Details Tender Title: REPLACEMENT OF DEFECTIVE UNDERGROUND LT ARMOURED CABLE FROM SS12 TO FEEDER PILLAR BOX NEAR VI - 2 AND VI - 3 QUARTERS IN AVNL ESTATE Tender ID: 2025_AVNL_251553_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Thirumalai Enterprises (BID ID -918631) | 1299899.00 | L1
| 2 | SENTHIL ENGINEERING CONTRACTORS (BID ID -919005) | 1444000.00 | L2