## BoQ1
Government eProcurement System Created By: DINESH KUMAR V R Created Date/Time: 10-Nov-2025 12:03 PM Tender Title: SPECIAL REPAIRS TO FINANCE AND ACCOUNTS BUILDING TO ACCOMMODATE ERP FACILITIES AT HVF, AVADI Tender ID: 2025_AVNL_251558_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work : SPECIAL REPAIRS TO FINANCE AND ACCOUNTS BUILDING TO ACCOMMODATE ERP FACILITIES AT HVF, AVADI.
Tender No: HVF/TE/13025/CEO/2025-26/47
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | HARI ENTERPRISES (GSTN-NA) BID ID -918156 |  | P S G CONSTRUCTIONS (GSTN-NA) BID ID -918045 |  | MAHALAXMI CONSTRUCTION COMPANY (GSTN-NA) BID ID -918503
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolition of reinforced cement concrete in ground floors and pavings not exceeding 15cm thick. | 8.00 | CUM | 1876.69 | 900.00 | 7200.00 | 1800.00 | 14400.00 | 2000.00 | 16000.00 | 7200.00 | HARI ENTERPRISES
2.00 | Dismantling of false ceiling boards (fibre, pulp, insulation etc.) or insulation boards/slabs. blankets of any thickness and removing to CE Stores as directed. | 175.00 | SQM | 47.84 | 40.00 | 7000.00 | 45.00 | 7875.00 | 90.00 | 15750.00 | 7000.00 | HARI ENTERPRISES
3.00 | Demolition of brickwork or stone/boulder masonery, built in cement motar. | 8.00 | CUM | 1888.23 | 850.00 | 6800.00 | 1500.00 | 12000.00 | 2000.00 | 16000.00 | 6800.00 | HARI ENTERPRISES
4.00 | Taking down Chowkhats or frames not exc. 1.5 sq. m each with shutter (with out taking off shutterfrom the frame) | 80.00 | Each | 325.34 | 250.00 | 20000.00 | 320.00 | 25600.00 | 350.00 | 28000.00 | 20000.00 | HARI ENTERPRISES
5.00 | Earth work excavation in hard/ dense soil in trenches width and depth not exceeding 1.50m and getting out. | 5.00 | CUM | 776.25 | 800.00 | 4000.00 | 775.00 | 3875.00 | 750.00 | 3750.00 | 3750.00 | MAHALAXMI CONSTRUCTION COMPANY
6.00 | Material and Labour for sand filling under foundations, flooring,etc,including watering and consolidation. | 35.00 | CUM | 2270.45 | 2500.00 | 87500.00 | 2260.00 | 79100.00 | 2300.00 | 80500.00 | 79100.00 | P S G CONSTRUCTIONS
7.00 | Material and Labour for Hardcore using broken stone or boulders of gauge n exc. 63 mm, deposited, spread and levelled in layers n exc. 15 cm thick, watered and rammed to a true surface. | 25.00 | CUM | 2381.42 | 2700.00 | 67500.00 | 2380.00 | 59500.00 | 2500.00 | 62500.00 | 59500.00 | P S G CONSTRUCTIONS
8.00 | M&L for cement concrete in foundation ,filling and mass concrete typeB2 1:2:4 using 20mm aggregate. | 25.00 | CUM | 7513.33 | 6500.00 | 162500.00 | 7500.00 | 187500.00 | 7500.00 | 187500.00 | 162500.00 | HARI ENTERPRISES
9.00 | Surface Excavation soft /loose soil not exceeding 30 cm deep and averaging 15cm deep and getting out as directed by EIC. | 150.00 | SQM | 61.07 | 55.00 | 8250.00 | 60.00 | 9000.00 | 50.00 | 7500.00 | 7500.00 | MAHALAXMI CONSTRUCTION COMPANY
10.00 | Cutting openings, through brick walls built in cement mortat for door, window and other openings or enlarging existing openings.converting window into door openings, etc. or cutting out defective brick work for under-pinning, including providing, fixing and removing shoring, cleaning and stacking bricks,removing surplus serviceable bricks, hard-core,etc.. to store and rubbish not exc. 50m. | 6.00 | CUM | 832.14 | 1400.00 | 8400.00 | 830.00 | 4980.00 | 1000.00 | 6000.00 | 4980.00 | P S G CONSTRUCTIONS
11.00 | Taking down cement plaster on brick or stone walls tiles etc,including ranking out, joints ,hacking for keys scrubbing down with water,etc. | 600.00 | SQM | 109.18 | 120.00 | 72000.00 | 105.00 | 63000.00 | 110.00 | 66000.00 | 63000.00 | P S G CONSTRUCTIONS
12.00 | Supply of Liquid water proofing compound which will be mixed with cement plaster / concrete surfaces. | 10.00 | LITRE | 300.73 | 250.00 | 2500.00 | 300.00 | 3000.00 | 300.00 | 3000.00 | 2500.00 | HARI ENTERPRISES
13.00 | Material and labour for dubbing in C.M 1:4 average 10 mm thick on irregular face off walls. | 600.00 | SQM | 195.66 | 180.00 | 108000.00 | 190.00 | 114000.00 | 180.00 | 108000.00 | 108000.00 | HARI ENTERPRISES, MAHALAXMI CONSTRUCTION COMPANY
14.00 | Dismantling of floor,hearth or wall tiling including cement mortar bedding (but not backing),removing serviceable tiles to store and clearing the rubbish off the premises. | 600.00 | SQM | 102.93 | 120.00 | 72000.00 | 100.00 | 60000.00 | 100.00 | 60000.00 | 60000.00 | P S G CONSTRUCTIONS, MAHALAXMI CONSTRUCTION COMPANY
15.00 | M &L for virified Ceramic tiles light shade 10 mm thick (square/ rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including screed bed or bedding layer in CM1:3, 20mm thick for laying floor finishes. | 1250.00 | SQM | 2035.14 | 1400.00 | 1750000.00 | 2000.00 | 2500000.00 | 1800.00 | 2250000.00 | 1750000.00 | HARI ENTERPRISES
16.00 | Material and labour for brick work built in CM 1:6 using sub-class ''B'' bricks ,straight or curved on plain exc 6m mean radius. | 10.00 | CUM | 5606.25 | 8000.00 | 80000.00 | 5600.00 | 56000.00 | 10000.00 | 100000.00 | 56000.00 | P S G CONSTRUCTIONS
17.00 | Material and labour for Brickwork with subclass ‘B’ bricks, straight or curved on plan to any radius in half brick thick walls built in CM 1:4. | 20.00 | SQM | 773.48 | 1500.00 | 30000.00 | 770.00 | 15400.00 | 1000.00 | 20000.00 | 15400.00 | P S G CONSTRUCTIONS
18.00 | Cutting out bricks,forming toothing for,and bonding new into old work including cement mortar 1:4 value of new materials entering old walls and jointing and pointing (measured on vertical face in contact with old wall only) | 30.00 | SQM | 736.46 | 900.00 | 27000.00 | 730.00 | 21900.00 | 725.00 | 21750.00 | 21750.00 | MAHALAXMI CONSTRUCTION COMPANY
19.00 | M&L for Plastering with CM 1:4,15mm thick on faces of brick work and concrete surfaces. | 700.00 | SQM | 302.59 | 400.00 | 280000.00 | 300.00 | 210000.00 | 450.00 | 315000.00 | 210000.00 | P S G CONSTRUCTIONS
20.00 | S&F of Gl frame work for seamless ceiling comprising of G l perimeter channnel 0.55 mm thick with two unequal flanges of 20 and 30 mm and web of 27 mm fixed to surrounding wall using nylon sleeves and screws at 450 mm centre to centre/intermediate channel 0.9 mm thick having two equal flanges of 15 mm each and web of 45 mm suspended from soffit at approx 900 mm centre to centre with Gl cleat and steel expansion fasteners with and including ceiling section (not exc 1.2 m length) of 0.55 mm thickness having kurled web of 50 mm and flange of 26 mm each with lips of 10.5 mm fixed to the intermediate channel with connecting clips across the intermediate channel at required centre to centre. | 750.00 | SQM | 556.63 | 800.00 | 600000.00 | 550.00 | 412500.00 | 550.00 | 412500.00 | 412500.00 | P S G CONSTRUCTIONS, MAHALAXMI CONSTRUCTION COMPANY
21.00 | M&L for 8mm Seamless calcium silicate ceiling made out of 1800 x 1200 mm size board of siliceous and calcareous material reinforced with cellulose fibre fixed to the ceiling section with 25 mm long self drilling and tapping screws having phillips head with under headcutter at 200 mm centre to centre,including finshing the joint of face board with specially formulated jointing compound and 48 mm wide fibre tape to provide seam less finish (Frame work for ceiling shall be measured and paid separately) | 750.00 | SQM | 707.14 | 700.00 | 525000.00 | 705.00 | 528750.00 | 900.00 | 675000.00 | 525000.00 | HARI ENTERPRISES
22.00 | Supply and Fixing of Gyspum cornice of size 90mm to 120mm ,box type /open type/closed type with desired design and pattern as directed. | 250.00 | RM | 150.00 | 300.00 | 75000.00 | 150.00 | 37500.00 | 200.00 | 50000.00 | 37500.00 | P S G CONSTRUCTIONS
23.00 | Supply & fixing of powder coated anodised aluminium frame for partition,doors, windows, ventilators with one or more rebates including joining cleat for fixing and power coating etc. complete all as specified. | 150.00 | KG | 628.95 | 660.00 | 99000.00 | 625.00 | 93750.00 | 650.00 | 97500.00 | 93750.00 | P S G CONSTRUCTIONS
24.00 | Material and Labour for pre-laminated particle board of 12 mm thick with both sides with decorative choice lamination. | 40.00 | SQM | 979.80 | 1400.00 | 56000.00 | 975.00 | 39000.00 | 900.00 | 36000.00 | 36000.00 | MAHALAXMI CONSTRUCTION COMPANY
25.00 | S & F of 5.5 mm thick Sheet glass, ordinary quality and glazing with oil putty in square exc 0.5 sq. m in each pane. | 90.00 | SQM | 1385.72 | 1400.00 | 126000.00 | 1300.00 | 117000.00 | 1200.00 | 108000.00 | 108000.00 | MAHALAXMI CONSTRUCTION COMPANY
26.00 | Cutting holes into or through brick walls not exceeding 150 Sq.CM built in CM mortar and making good in cement mortar 1:3 or cement concrete 1:2:4 type B-l as required. | 1800.00 | Per CM Depth | 13.69 | 15.00 | 27000.00 | 13.50 | 24300.00 | 15.00 | 27000.00 | 24300.00 | P S G CONSTRUCTIONS
27.00 | Taken down door frame with shutter not exceeding 1.5 sq.m and handing over the same to CE (stores) | 10.00 | Each | 415.84 | 300.00 | 3000.00 | 400.00 | 4000.00 | 400.00 | 4000.00 | 3000.00 | HARI ENTERPRISES
28.00 | S & F of 2nd class hardwood plain, solid, straight, chowkats, and frames, wrought, framed rebated on the solid, rounded or chamfered, put together with glue pinned at joints, supplied and fixed. | .40 | CUM | 99345.22 | 140000.00 | 56000.00 | 99000.00 | 39600.00 | 100000.00 | 40000.00 | 39600.00 | P S G CONSTRUCTIONS
29.00 | Supply and fixing of Flush shutters 40 mm thick , particle borad core solid board construction and plywood face panels, commercial type on both sides and both faces is covered with decorative face venner with lipping/frame to match. | 22.00 | SQM | 3838.01 | 4100.00 | 90200.00 | 3830.00 | 84260.00 | 4000.00 | 88000.00 | 84260.00 | P S G CONSTRUCTIONS
30.00 | Supply and Fixing of Mortice lock,vertical type, size 100 mm with four levers, Brass body and fixed . | 10.00 | Each | 872.62 | 850.00 | 8500.00 | 870.00 | 8700.00 | 1000.00 | 10000.00 | 8500.00 | HARI ENTERPRISES
31.00 | Supply and Fixing of Brass barrel tower bolts, (100 mm )with cast or sheet barrel and rolled or cast bolts and fixed | 20.00 | Each | 201.71 | 250.00 | 5000.00 | 200.00 | 4000.00 | 200.00 | 4000.00 | 4000.00 | P S G CONSTRUCTIONS, MAHALAXMI CONSTRUCTION COMPANY
32.00 | Supply and Fixing of butt hinges (125mm) cast, brass with mild steel hinge pin,bright polished and fixed type B-12. | 30.00 | Each | 311.77 | 290.00 | 8700.00 | 310.00 | 9300.00 | 300.00 | 9000.00 | 8700.00 | HARI ENTERPRISES
33.00 | Supply and Fixing of Brass skeleton tower bolts (450 MM) with cast brass plate and staples and rolled or drawn brass bolt and fixed. | 20.00 | Each | 978.54 | 800.00 | 16000.00 | 970.00 | 19400.00 | 1000.00 | 20000.00 | 16000.00 | HARI ENTERPRISES
34.00 | Supply and Fixing of Floor door stopper of brass body Overall length of cover plate (140 mm)and tongue, anodised,with hard drawn steel spring,fixed in floor. | 10.00 | Each | 240.58 | 250.00 | 2500.00 | 240.00 | 2400.00 | 250.00 | 2500.00 | 2400.00 | P S G CONSTRUCTIONS
35.00 | Supply and fixing of extructed brass handles fabricated and polished of size 150m | 20.00 | Each | 308.09 | 270.00 | 5400.00 | 306.00 | 6120.00 | 310.00 | 6200.00 | 5400.00 | HARI ENTERPRISES
36.00 | Supply and Fixing of Aluminium anodised,Barrel tower bolts (150mm) of extruded section and fixed. | 24.00 | Each | 88.32 | 110.00 | 2640.00 | 88.00 | 2112.00 | 100.00 | 2400.00 | 2112.00 | P S G CONSTRUCTIONS
37.00 | Supply and Fixing of Aluminium handles (150 mm), cast type,anodised | 24.00 | Each | 87.29 | 110.00 | 2640.00 | 87.00 | 2088.00 | 100.00 | 2400.00 | 2088.00 | P S G CONSTRUCTIONS
38.00 | Supply and Fixing of Butt hinges100mm size, heavy weight, cold rolled mild steel, and fixed. | 36.00 | Each | 106.49 | 130.00 | 4680.00 | 105.00 | 3780.00 | 110.00 | 3960.00 | 3780.00 | P S G CONSTRUCTIONS
39.00 | Supply and Fixing of 600mmx450mm bevelled edge mirror of selected quality glass, mounted on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass screws and cup washers. | 6.00 | Each | 637.79 | 800.00 | 4800.00 | 630.00 | 3780.00 | 650.00 | 3900.00 | 3780.00 | P S G CONSTRUCTIONS
40.00 | Supply and Fixing of Aluminium Door closer(Die cast) hydraulically regulated, designation No. 3, universal type, suitable for door shutters of 851 to 1000 mm in width and of weight between 61 to 80 kg and fixed | 10.00 | Each | 1497.30 | 1900.00 | 19000.00 | 1500.00 | 15000.00 | 1500.00 | 15000.00 | 15000.00 | P S G CONSTRUCTIONS, MAHALAXMI CONSTRUCTION COMPANY
41.00 | Supply and Fixing of frame size 65X100mm factory made single extruded WPC(wood polymer composite) solid door/ window/ clerestory window& desertory other frames/chowkat comprising of virgin PVC polymer of k value 58-60(suspension grade), calcium carbonate and natural fiber(wood power)/rice husk/wheat husk and non toxic additives(maximum toxicity index of 12 for 100mgs) fabricated with miter joints after applying PVS solvent cement screwed with full body threaded star headed SS screws having minimum frame density of 750kg/cum, screw withdrawl strength of 2200N (face)&1100N (edge) minimum compressive strength of 58N/mm2, modulus of elasticity 900N/mm2 and resistence to spread of flame of class A category with property of being termite/borer proof,water/moisture proof and fire retardant and fixed in position with MS hold fast/lugs/SS dash fasteeners of required dia and length complete as per direction of engineer-in-charge.(MS hold fast/lugs or SS fasteners shall be paid for separately. | 60.00 | RM | 1200.00 | 1100.00 | 66000.00 | 1200.00 | 72000.00 | 1100.00 | 66000.00 | 66000.00 | HARI ENTERPRISES, MAHALAXMI CONSTRUCTION COMPANY
42.00 | Supply and Fixing of 30mm thick factory made single extruded WPC(wood polymer composite) solid plain flush door shutter or required size comprising of virgin polymer of k value 58-60(suspension grade), calcium carbonate and natural fiber(wood power)/rice husk/wheat husk and non toxic additives(maximum toxicity index of 12 for 100mgs) having minimum density of 650kg/cum, screw withdrawl strength of 1800N (face)& 900N (edge) minimum compressive strength of 50N/mm2, modulus of elasticity 850N/mm2 and resistence to spread of flame of class A category with property of being termite/borer proof,water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star head counter sunk SS screws, all as per direction of engineer-in-charge. | 20.00 | SQM | 3610.00 | 4000.00 | 80000.00 | 3610.00 | 72200.00 | 3600.00 | 72000.00 | 72000.00 | MAHALAXMI CONSTRUCTION COMPANY
43.00 | Taking up or down steel tubing 25 or 32 mm dia pipe and connections, including cleaning for refixing or removal to CE store. | 60.00 | RM | 46.23 | 40.00 | 2400.00 | 45.00 | 2700.00 | 60.00 | 3600.00 | 2400.00 | HARI ENTERPRISES
44.00 | Taking up or down steel tubing of bore 20mm and connection including cleaning for refixing or removal to CE/E store.(Including all accessories). | 40.00 | RM | 42.11 | 40.00 | 1600.00 | 42.00 | 1680.00 | 50.00 | 2000.00 | 1600.00 | HARI ENTERPRISES
45.00 | cutting chases, pinning in making good to facing where required and pointing in cement mortar 1:3 for water tubing etc., and making good , cutting not exceeding 10cm girth in brick wall. | 100.00 | RM | 58.02 | 70.00 | 7000.00 | 58.00 | 5800.00 | 60.00 | 6000.00 | 5800.00 | P S G CONSTRUCTIONS
46.00 | Supplying and laying of CPVC pipes 32 mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors, trenches complete all as specified. | 60.00 | RM | 534.29 | 650.00 | 39000.00 | 531.00 | 31860.00 | 600.00 | 36000.00 | 31860.00 | P S G CONSTRUCTIONS
47.00 | Supplying and laying of CPVC pipes 20 mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors, trenches complete all as specified. | 40.00 | RM | 253.81 | 320.00 | 12800.00 | 252.00 | 10080.00 | 300.00 | 12000.00 | 10080.00 | P S G CONSTRUCTIONS
48.00 | S & F of PVC (SWR) 110mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in wall. Make : Finolex / Supreme / Star or Suitably Equivalent Make | 15.00 | RM | 545.97 | 670.00 | 10050.00 | 545.00 | 8175.00 | 650.00 | 9750.00 | 8175.00 | P S G CONSTRUCTIONS
49.00 | Supply and Fixing of PVC (SWR) multi floor trap 75mmwith grating including jointing with solvent cement. | 6.00 | Each | 460.00 | 600.00 | 3600.00 | 460.00 | 2760.00 | 500.00 | 3000.00 | 2760.00 | P S G CONSTRUCTIONS
50.00 | M&L for PVC (SWR) gully trap 125/110mm setting and jointing with solvent cement. | 6.00 | Each | 304.75 | 390.00 | 2340.00 | 300.00 | 1800.00 | 400.00 | 2400.00 | 1800.00 | P S G CONSTRUCTIONS
51.00 | Supply and fixing of 50 mm dia Unplasticised PVC pipes of pressure rating 10 kgf/cm2 fixed complete to walls, ceilings or in floors etc., any type of pipe Make : Finolex / Supreme / Star or Suitably Equivalent Make | 40.00 | RM | 327.18 | 330.00 | 13200.00 | 325.00 | 13000.00 | 400.00 | 16000.00 | 13000.00 | P S G CONSTRUCTIONS
52.00 | S & F of PVC Bend with door 110mm dia any radius Make : Finolex / Supreme / Star or Suitably Equivalent Make | 6.00 | Each | 195.50 | 190.00 | 1140.00 | 195.00 | 1170.00 | 250.00 | 1500.00 | 1140.00 | HARI ENTERPRISES
53.00 | S & F of PVC (SWR) branch piece,single (single Y) equal or unequal with door 75mm dia any radius. | 3.00 | Each | 538.83 | 600.00 | 1800.00 | 536.00 | 1608.00 | 500.00 | 1500.00 | 1500.00 | MAHALAXMI CONSTRUCTION COMPANY
54.00 | S & F of Gun-metal (15mm) , globe or gate valves,with iron wheel head, screwed both ends for iron pipe and fixed. Make : Any ISI Make | 9.00 | Each | 581.27 | 750.00 | 6750.00 | 580.00 | 5220.00 | 700.00 | 6300.00 | 5220.00 | P S G CONSTRUCTIONS
55.00 | S & F of Gun-metal (25mm) , globe or gate valves,with iron wheel head, screwed both ends for iron pipe and fixed. | 9.00 | Each | 675.33 | 850.00 | 7650.00 | 672.00 | 6048.00 | 750.00 | 6750.00 | 6048.00 | P S G CONSTRUCTIONS
56.00 | S & F of 20mm Ball valves set Ball valves high pressure of PTMT with epoxy coated Aluminium rod & highdensity plastic ball screwed for iron pipe and fixed. Make : Prayag / Wilson / Supreme or Suitably Equivalent Make | 2.00 | Each | 491.12 | 600.00 | 1200.00 | 490.00 | 980.00 | 700.00 | 1400.00 | 980.00 | P S G CONSTRUCTIONS
57.00 | Supply and fixing of cast copper alloy screwed down, high pressure stop cock /angle cock fancy type chromium plated concealed type of size 15mm. | 15.00 | Each | 828.16 | 850.00 | 12750.00 | 825.00 | 12375.00 | 850.00 | 12750.00 | 12375.00 | P S G CONSTRUCTIONS
58.00 | Supply & Fixing of PTMT health facuet with 1.5 M long hose and apporoved colour. Make : Wilson / Prayag / Waterman or Suitably Equivalent Make | 6.00 | Each | 495.00 | 650.00 | 3900.00 | 495.00 | 2970.00 | 500.00 | 3000.00 | 2970.00 | P S G CONSTRUCTIONS
59.00 | S & F of 15 mm fancy type bib tap to bore dia of 15 mm pipe standard of PTMT any colour high pressure screwed for iron pipe and fixed. (Minimum weight 15mm-105gms) Make : Wilson / Prayag / Waterman or Suitably Equivalent Make | 6.00 | Each | 222.35 | 250.00 | 1500.00 | 220.00 | 1320.00 | 300.00 | 1800.00 | 1320.00 | P S G CONSTRUCTIONS
60.00 | Material and labour for Precast cement concrete 1:2:4 Type B1 using 20 mm aggregate in landings, cover slabs (for man holes etc.) chullah hoods, chajjas, water troughs, mangers, shelves and similar articles with plain face. | .50 | CUM | 12711.87 | 12000.00 | 6000.00 | 12500.00 | 6250.00 | 12000.00 | 6000.00 | 6000.00 | HARI ENTERPRISES, MAHALAXMI CONSTRUCTION COMPANY
61.00 | S&F of mild steel reinforcement deformed or twisted bars 6 to 8 mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia or securing with clips . | 25.00 | KG | 96.47 | 120.00 | 3000.00 | 96.00 | 2400.00 | 100.00 | 2500.00 | 2400.00 | P S G CONSTRUCTIONS
62.00 | M & L for 25mm thick granite (of any type) work (table rubbed and olished) in steps, jambs, pillars, window cills, cooking platforms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite. | 20.00 | SQM | 6136.64 | 6600.00 | 132000.00 | 5500.00 | 110000.00 | 5000.00 | 100000.00 | 100000.00 | MAHALAXMI CONSTRUCTION COMPANY
63.00 | Material and labour for making nosing /Rounding to edges of Granite stone slabs one edge, such as in steps, platform, skirts, and othersimilar situations complete as direction by EIC. | 15.00 | RM | 130.00 | 150.00 | 2250.00 | 130.00 | 1950.00 | 125.00 | 1875.00 | 1875.00 | MAHALAXMI CONSTRUCTION COMPANY
64.00 | Supply and Fixing of Stainless steel sink with draining board, made out of 1.00mm thick sheet for kitchen or laboratory with plug, washers waste pipe, cast iron cantilever brackets, connecting union overall size 915mmx460mm with bowl size 410mm x 330mm x 160mm complete all as directed by EIC. | 6.00 | Each | 5182.05 | 6500.00 | 39000.00 | 5180.00 | 31080.00 | 5000.00 | 30000.00 | 30000.00 | MAHALAXMI CONSTRUCTION COMPANY
65.00 | S&F of Rotational moulded polye-thylene water storage tanks (cylindrical verticalwith closed top) hoistedand fixed in position all asspecified(1000 litres) | 2.00 | Each | 9425.93 | 8500.00 | 17000.00 | 9425.00 | 18850.00 | 9500.00 | 19000.00 | 17000.00 | HARI ENTERPRISES
66.00 | Supply and fixing of Chromium Plated Angle Cock (15mm) with pipe Make : Jaguar / Kohler / Parryware or Suitably Equivalent Make | 12.00 | Each | 1425.00 | 1400.00 | 16800.00 | 1425.00 | 17100.00 | 1500.00 | 18000.00 | 16800.00 | HARI ENTERPRISES
67.00 | Supply and fixing of PVC connections 15mm size with PTMT nuts of length 450mm. | 6.00 | Each | 172.50 | 200.00 | 1200.00 | 172.00 | 1032.00 | 170.00 | 1020.00 | 1020.00 | MAHALAXMI CONSTRUCTION COMPANY
68.00 | Supply and fixing of Health facet cromium plated Make : Cera / Parryware / Ess Ess or Suitably Equivalent Make | 6.00 | Each | 950.00 | 950.00 | 5700.00 | 950.00 | 5700.00 | 1000.00 | 6000.00 | 5700.00 | P S G CONSTRUCTIONS, HARI ENTERPRISES
69.00 | Supply and Fixing of Soap dish fixed with chromium plate brass screws and wooden/plastic cleats Make : Jaguar / Kohler / Parryware or Suitably Equivalent Make | 6.00 | Nos. | 955.00 | 900.00 | 5400.00 | 955.00 | 5730.00 | 900.00 | 5400.00 | 5400.00 | HARI ENTERPRISES, MAHALAXMI CONSTRUCTION COMPANY
70.00 | Supply and fixing of tubular towel rail 20mm D type 60cm long of Barss Chromium plated with and including chromium coated brass screws and wooden /plastic cleats. | 6.00 | Each | 1003.84 | 900.00 | 5400.00 | 10000.00 | 60000.00 | 1000.00 | 6000.00 | 5400.00 | HARI ENTERPRISES
71.00 | Supply and Fixing of Toilet paper Holder of Make Make : Jaguar / Kohler / Parryware or Suitably Equivalent Make | 6.00 | Nos. | 1150.00 | 900.00 | 5400.00 | 1150.00 | 6900.00 | 1100.00 | 6600.00 | 5400.00 | HARI ENTERPRISES
72.00 | Supply and fixing of white/coloured EWC complete high or low level flushing cistern and connections to pipes and fixing of chain and pull, or lever ,if PVC valveless syphonic action type, flushing cistern 10 liters capacity ,low level ,white with inlet ball valves ,flat and handle including bracket. Make : Cera/Jaquar/Parrryware/toto/Hindware/Kohler | 6.00 | Each | 12000.00 | 15000.00 | 90000.00 | 12000.00 | 72000.00 | 11500.00 | 69000.00 | 69000.00 | MAHALAXMI CONSTRUCTION COMPANY
73.00 | Supply & fixing of white /coloured, flat back, size 580x450 wash basin.inculding taps,waste, chain and plug and porcelain stopper but including brackets,Wash basins, any size, including cutting for and pinning in ends of brackets or erecting stand fixed in repair,32 mm Waste fittings, brass,chromium plated for glazed ware sinks, basins, etc.with long screwed shanks and fly-nuts, flange end bedded in red lead cement and other end fixed,15 mm Pillar taps, cast copper alloy, with capstan heads,chromium plated,screwed down high pressure, with or without lettered 'Hot' or 'Cold' with long screwed shanks and fly-nuts,screwed for iron pipe and fixed. Make:Cera/Jaquar/Parrryware/Toto/Hindware/Kohler | 6.00 | Each | 5000.00 | 4800.00 | 28800.00 | 5000.00 | 30000.00 | 5000.00 | 30000.00 | 28800.00 | HARI ENTERPRISES
74.00 | Supply and Fixing of touch less Vitreous China urinals of size 620X320X290 mm white including in built automatic flusher with sensor and all other aceesaries as directed. Make:Roca,Belmonte,kolher/Soca/Cura/Duravit | 3.00 | Each | 25000.00 | 22000.00 | 66000.00 | 25000.00 | 75000.00 | 20000.00 | 60000.00 | 60000.00 | MAHALAXMI CONSTRUCTION COMPANY
75.00 | Providing and fixing factory made uPVC white color Sliding window Two track made of extruded profiles with wall thickness of 2.3mm (+- 0.2mm). Window profile with hollow section with multi chamber, Frame (60mm x 62mm). sash (42mm x 67mm). Sliding Interlock (One vertical length in each shutters) (45.5mm x 28mm). Glazing bead (24.5mmx 16mm) will he mitered cut and fusion welded at all corners, including drilling of holes for fixing hardware and drainage of water etc.. making arrangement for fixing of hardware. EPDM gasket 1.2 + -0.2mm thick galvanized steel frame (30mmx 21.5mm), Sash (30mm x 18mm), profile to be inserted in required profile, frame will be fixed to the wall with 8mm x 100mm long fasteners. Hardware : [Touch Lock of zinc alloyed (white powder coated), steel roller system including 5mm thick glazing with selected quality glass, aluminum track on bottom rail for two track sliding frame, wool pine for Sliding sash and interlock.] (Note: The unit rate quoted by contractor excludes cost of glass and includes all other connected accessories. Net opening will be measured for payment purpose) (A) Area not exceeding 2.00 sqm | 70.00 | SQM | 10748.88 | 7400.00 | 518000.00 | 9500.00 | 665000.00 | 8500.00 | 595000.00 | 518000.00 | HARI ENTERPRISES
76.00 | Material and Labour for forming jambs using CM 1:4 to opening including cutting, toothing and also facing, jointing and pointing to match existing work complete. | 25.00 | SQM | 817.19 | 800.00 | 20000.00 | 810.00 | 20250.00 | 800.00 | 20000.00 | 20000.00 | HARI ENTERPRISES, MAHALAXMI CONSTRUCTION COMPANY
77.00 | Supply and fixing of Framed work such as grills,gratings, etc.. with ends of bars shouldered and/or riveted,or forged into spikes; framed guard bars; barred iron doors; ladders; framed balusters; walk ways; railings; framework of water tanks and similar work conforming to Fe.290.Gde-E-165 | 3000.00 | KG | 189.59 | 180.00 | 540000.00 | 150.00 | 450000.00 | 150.00 | 450000.00 | 450000.00 | P S G CONSTRUCTIONS, MAHALAXMI CONSTRUCTION COMPANY
78.00 | Material and labour for applying two coats of internal emulsion paint with one coat primer on internal wall of old painted surfaces all complete. | 600.00 | SQM | 173.54 | 130.00 | 78000.00 | 170.00 | 102000.00 | 150.00 | 90000.00 | 78000.00 | HARI ENTERPRISES
79.00 | Material and labour for applying two coats of internal emulsion paint with one coat primer on internal wall of painted new surfaces all complete. (MAKE:- ASIAN Paint (Apcolite), NEROLAC (Excel Total), BERGER). | 700.00 | SQM | 164.68 | 126.00 | 88200.00 | 160.00 | 112000.00 | 150.00 | 105000.00 | 88200.00 | HARI ENTERPRISES
80.00 | Complete removal of old treatment on walls. | 600.00 | SQM | 10.81 | 10.00 | 6000.00 | 10.80 | 6480.00 | 15.00 | 9000.00 | 6000.00 | HARI ENTERPRISES
81.00 | Material and labour for applying one coat of 3mm thick white cement based wall care putty in walls and as specified in SSR 2020 part-I specification clause 15.19.1 to 15.19.6.4 (Make shall be of JK white putty or Birla white wall care putty) | 600.00 | SQM | 95.96 | 110.00 | 66000.00 | 96.00 | 57600.00 | 100.00 | 60000.00 | 57600.00 | P S G CONSTRUCTIONS
82.00 | Material and labour for French polishing on surfaces of any description,width or girth including cleaning and preparing the surface including a coat of wood filler on new works with two or more coats. | 75.00 | SQM | 137.37 | 180.00 | 13500.00 | 130.00 | 9750.00 | 130.00 | 9750.00 | 9750.00 | P S G CONSTRUCTIONS, MAHALAXMI CONSTRUCTION COMPANY
83.00 | Removal of excavated rocks exceeding 250m but not exceeding 500m and depositing where directed. | 16.00 | CUM | 857.67 | 900.00 | 14400.00 | 850.00 | 13600.00 | 750.00 | 12000.00 | 12000.00 | MAHALAXMI CONSTRUCTION COMPANY
84.00 | Removal of excavated soils exceeding 250m but not exceeding 500m and depositing where directed. | 50.00 | CUM | 669.99 | 800.00 | 40000.00 | 650.00 | 32500.00 | 650.00 | 32500.00 | 32500.00 | P S G CONSTRUCTIONS, MAHALAXMI CONSTRUCTION COMPANY
85.00 | Removing existing modulur furnitures, Racks, almarhs, etc., from the site by dismantling if required and deposition the same where directed. | 1.00 | WJ | 50000.00 | 50000.00 | 50000.00 | 50000.00 | 50000.00 | 45000.00 | 45000.00 | 45000.00 | MAHALAXMI CONSTRUCTION COMPANY
86.00 | Hacking out paltering from Brick wall 15CM wide on either side of the crack cutting of 600 V groove,by inserting chicken mesh in the gaps of wall and applying pressure grounting the cracks with a mixture of CERA POLY CRACK FILLER,crack fill of bostick or equivalent in STP,BASF,CIPY and finishing to the original shape as directed. | 500.00 | RM | 85.55 | 80.00 | 40000.00 | 85.00 | 42500.00 | 90.00 | 45000.00 | 40000.00 | HARI ENTERPRISES
87.00 | Supply and Fixing of steel work in tubular trusses inculding special shaped washer etc complete usign ERW etc or induction butt weld tubes conforming to IS 1161-1979 grade steel240. | 4000.00 | KG | 142.73 | 180.00 | 720000.00 | 142.00 | 568000.00 | 145.00 | 580000.00 | 568000.00 | P S G CONSTRUCTIONS
88.00 | Supply and Fixing of Pre-painted galvalume aluminium zinc coating GI based corrugatted steel sheet 0.50mm (TCT) thick of an colour having tensile strength of 550Mpa as in roof covering/cladding to wall fixed with self drilling / self tapping anti corrisive screws with EPDM seal complete all as per manfacturers specifications and instructions and as approved and as directed, by considering the dimensions & consideing the dimension & height including all necessary scaffolding and safety aspects complete. | 150.00 | SQM | 882.06 | 750.00 | 112500.00 | 880.00 | 132000.00 | 850.00 | 127500.00 | 112500.00 | HARI ENTERPRISES
89.00 | Material and labour for painting two coats of synthetic enamel paint over one coat of primer(red oxideon new steel surfaces including preparation of new steel surfaces. Make : Asian / Berger / Nerolac or Suitably Equivalent Make | 75.00 | SQM | 162.50 | 120.00 | 9000.00 | 160.00 | 12000.00 | 150.00 | 11250.00 | 9000.00 | HARI ENTERPRISES
90.00 | Material and labour for applying two coat of exterior plastic emulsion on external wall surfaces (two storey building ) all complete (MAKE:- ASIAN Paint (Apex Ultima), NEROLAC (Excel Total), BERGER (Weather Coat Long Life 7) | 1200.00 | SQM | 136.05 | 160.00 | 192000.00 | 136.00 | 163200.00 | 150.00 | 180000.00 | 163200.00 | P S G CONSTRUCTIONS
91.00 | Design, Supply, Erection, Testing, and Commissioning of fire protection systems as per Annexure - I in the NIT Document | 700.00 | SqM | 1600.00 | 1900.00 | 1330000.00 | 1600.00 | 1120000.00 | 1600.00 | 1120000.00 | 1120000.00 | P S G CONSTRUCTIONS, MAHALAXMI CONSTRUCTION COMPANY
92.00 | Material and labour for repairing the framed structure member such as column,beams sunshades etc by removing the spalled / damaged concrete from position and cleaning the corroded reinforcement and appying Zinc treatment of approved companies any additional placing of the reinforement with new one and applying latex based bond coat to teceive the re concreting and platering and making good as directed. | 1.00 | WJ | 69000.00 | 69000.00 | 69000.00 | 69000.00 | 69000.00 | 75000.00 | 75000.00 | 69000.00 | P S G CONSTRUCTIONS, HARI ENTERPRISES
93.00 | Supply and fixing of door glazing consisting of 12 mm clear toughened glass (Saint gobain/Modi make and fixing with Dorma/Ozone make single leg spider,ceiling/bottom to glass connector, glass to glass connector, handle, doorset, floor spring, pivot etc, all the necessary fittings up to all height including scaffolding all complete and as per the direction of Engineer-in-charge. | 25.00 | SQM | 12000.00 | 14000.00 | 350000.00 | 12000.00 | 300000.00 | 11700.00 | 292500.00 | 292500.00 | MAHALAXMI CONSTRUCTION COMPANY
94.00 | Supply and Fixing of finger print scanner/sensor,rugged optical sensors, higher user capacity, authenlication modes, lower error rate FRR< 0.01%, FAR <0.001% comminication modes:tCP/IPO connectivity,operating temperature 0-50 degree celcius ,In built bateery back up to 15 hes with out UPS,identifcation time lesss than 2 second (90% of cases) and compliance with relavant standarad(ISO/IE 19794) suitable for to attach to wooden/metal/glass door complte. | 2.00 | Nos | 15000.00 | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 30000.00 | P S G CONSTRUCTIONS, HARI ENTERPRISES, MAHALAXMI CONSTRUCTION COMPANY
95.00 | Supply and fixing of fabric soft board suitable for notice board,display etc.,with metal/wooden frame in ordered size and shape as directed. | 15.00 | SQM | 4500.00 | 5000.00 | 75000.00 | 4500.00 | 67500.00 | 5000.00 | 75000.00 | 67500.00 | P S G CONSTRUCTIONS
96.00 | Cutting rectangular/square groove on the granite slab, not exceeding 36sq.mm as directed. | 120.00 | RM | 110.00 | 130.00 | 15600.00 | 110.00 | 13200.00 | 150.00 | 18000.00 | 13200.00 | P S G CONSTRUCTIONS
97.00 | Providing and applying plaster of paris putty of 1 mm thickness over finished surface to prepare the surface even and smooth | 600.00 | SQM | 119.43 | 130.00 | 78000.00 | 119.00 | 71400.00 | 120.00 | 72000.00 | 71400.00 | P S G CONSTRUCTIONS
98.00 | Supply and installation of RECTA WORKSTATIONS - 1350 x 600 "UPBEAT"desk based modular workstation with System ht - 1200 mm. PARTIAL SCREENS: 8mm thk Laminated glass marker screen. Available in 450mm ht., mounted on Studs. LEGS: Providing metal powder coated CUBE leg. Legs are for standard workstation height of 750mm. UNDERSTRUCTURE: Comprising of metal powder coated cross connectors between legs and legs. Made up of metal powder coated finish and the entire assemply is fixed to the worktop. WIRE MANAGEMENT: For 750 high workstations- For vertical wiremenagement, Shared legs / wire risers with cover are considere. For horizontal wiremanagement - Wire Tray with integrated power box . Access flap will be provided. Switch plate of (8+3 Anchor Roma) module is considered for Power and Data points. WORKSURFACE - Out of 25 mm thk prelam particle board with flat pvc lipping edge banding of size 1350 mm w x 600 mm d. MODESTY : Metal modesty: Lazer cut perforated Metal modestyMetal and wooden modesty are mounted on the worktop with the help of the modesty mounting brackets Modesty terminates at 400 mm from ground. Worksurface - out of 25 mm thk prelam particle board with flat pvc lipping edge banding of size 1500 mm w1 X 1500 MM w2 x 600 mm d. Make:Godrej Interio or or suitably equivalent make. | 95.00 | Each | 32716.17 | 39000.00 | 3705000.00 | 32000.00 | 3040000.00 | 27000.00 | 2565000.00 | 2565000.00 | MAHALAXMI CONSTRUCTION COMPANY
99.00 | Supply and installation of Pedestals with or without legs - Nova pedestal flat metal front, full ht free standing central locking of size 390 mm w x 435 mm d x 646 mm ht 3dr = 2 box + 1file. Make:Godrej Interio or or suitably equivalent make. | 20.00 | Each | 10188.12 | 12000.00 | 240000.00 | 10000.00 | 200000.00 | 9900.00 | 198000.00 | 198000.00 | MAHALAXMI CONSTRUCTION COMPANY
100.00 | Supply and installation of CPU trolley with castor Make:Godrej Interio or or suitably equivalent make. | 20.00 | Each | 995.45 | 1200.00 | 24000.00 | 995.00 | 19900.00 | 900.00 | 18000.00 | 18000.00 | MAHALAXMI CONSTRUCTION COMPANY
101.00 | Supply and installation of KBPT with mouse tray Make : Godrej Interio or or suitably equivalent make. | 20.00 | Each | 2548.80 | 2900.00 | 58000.00 | 2500.00 | 50000.00 | 2000.00 | 40000.00 | 40000.00 | MAHALAXMI CONSTRUCTION COMPANY
102.00 | Supply and installation of ARISTO MAIN TABLES with ERU attached Pedestal ARISTO TBL 1800 RH RU 1200 PDL_1800x2100x750 ACE Full Back Headrest Primary Work Surface Made of 25mm thick MDF one side pre-laminate board confirming to IS-14587:1998 with 0.4mm PVC membrane pressed on to top Soft closing access flap with in-build power box are provided on work surface for wire managementSecondary Work Surface Made of 25mm thick MDF one side pre-laminate board confirming to IS-14587:1998 with 0.4mm PVC membrane pressed on to top.Modesty Panel Made of 25mm thick MDF one side pre-laminate board confirming to IS-14587:1998 with 0.4mm PVC membrane pressed on to top. Under structure Made of 25mm Thick Pre-laminated twin board of E1-P2 grade and approved shade confirming to IS-12823:1990, Edge banded with matching 2 mm thick PVC lipping. Integrated Pedestal Made of 25mm Thick Pre-laminated twin board of E1-P2 grade and approved shadeconfirming to IS-12823:1990, Edge banded with matching 2 mm thick PVC lipping.Drawer fronts made of 25mm thick MDF one side pre-laminate board confirming toIS-14587:1998 with 0.4mm PVC membrane pressed on to top Pedestal construction is BOX-BOX-FILE type which Uses powder coated 400 MM long meta lPanel Drawer Slides. Drawer extension is 325 MM.Drawers have a soft closing & anti slam mechanism.Handles are provided for ease of opening.Pedestals are provided with lock for security. Make:Godrej Interio or or suitably equivalent make. | 2.00 | Each | 97874.50 | 100000.00 | 200000.00 | 97000.00 | 194000.00 | 90000.00 | 180000.00 | 180000.00 | MAHALAXMI CONSTRUCTION COMPANY
103.00 | Supply and Installation of ACE full back headrest SEAT / BACK Assembly as per Annexure - II in the NIT Document | 2.00 | Each | 23956.36 | 27500.00 | 55000.00 | 24000.00 | 48000.00 | 23000.00 | 46000.00 | 46000.00 | MAHALAXMI CONSTRUCTION COMPANY
104.00 | Supply and installation of Ace Visitor SEAT/BACK ASSEMBLY: The Cushioned seat assembly consshould be ts of seat outer (material-30% Glass Fiber Nylon)& upholstered Seat inner (material- Poly Propylene) with moulded Polyurethane foam & polyster fabric. The Net Back should be made up of Back outer (material-Glass Fiber Filled Nylon)& Back inner (material- PP) and upholstered using Polyester Mesh fabric with high tenacity yarn. Full Back Size: 46.5 cm. (W) x 60.0 cm. (H)Seat Size : 51.0 cm. (W) x 49.0 cm. (D)HIGH RESILIENCE (HR) POLYURETHANE FOAM: The HR Polyurethane foam should be moulded with density = 45 +/- 2 kg/m³ and Hardness load 12 +/- 2 kgf for 25% compression.BACK SPINE: The support spine should be made up of High Pressure Die cast polished hed Aluminum.LUMBAR SUPPORT ASSEMBLY: The Lumbar support assembly should consist of lumbar spine (material-Glass Fiber Filled Nylon) which should be fixed to Aluminum Back spine. The Lumbar pad (material- Poly Propylene) should be fixed to lumbar spine through lumbar Pad support. Lumbar Support Assembly has height adjustment of 5.0±0.5cmTUBULAR FRAME: The powder coated (DFT 40-60 micron) tubular frame should be cantilever type & made of Dia 2.54±0.03 cm x 0.2±0.016 cm thk MS ERW tube.Overall Dimensions of ChairSeat Height - 48.5cm.Height - 99.5cm.Width-65.5 cm and Depth-58.2 cm Make:Godrej Interio or or suitably equivalent make. | 2.00 | Each | 15309.32 | 18000.00 | 36000.00 | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 30000.00 | P S G CONSTRUCTIONS, MAHALAXMI CONSTRUCTION COMPANY
105.00 | Supply and installation of Mid back Chair of size 761mm L x 761mm D x (1140-1282)mm H. The Chair shall confirming to the following specifications :a) All metal parts shall be powder coated with approved colour. b) Seat Assembly : The seat assembly shall be made up of 1.5±0.1cm thk Plywood upholstered with moulded foam and polyester fabric and covered with an injection-moulded polypropylene outer cover with approved colour. *SEAT SIZE :Not less than 47.0 cm.(W) x 51.5 cm.(D). c) Back Assembly : The back assembly is made up of injection moulded glass filled polypropylene & upholstered using Net fabric with high tenacity yarn with apporved colour. BACK SIZE : Not less than 45.0 cm. (W) x 65.3 cm. (H). d) High Resilience (HR) Polyurethane Foam : The HR polyurethane foam is moulded with density 55 kg/m3 and hardness 16 kgf as per IS:7888 for 25% compression. e) Armrests (Adjustable) -The adjustable armrest is designed with the following features:Up-Down adjustment- 6 steps (7.2cm range). Armrest top is mounted on Armrest structure made of glass filled Nylon.Armrest Top is PU moulded over glass filled Nylon insert.f) Lumbar Support Assembly : The Lumbar support consists of polypropylene pad.The Height of Lumbar pad can be adjusted through two projecting knobs provided on the rear side of thepad. Lumbar pad has an adjustment of 8.0cm in height.Make:Godrej Interio or or suitably equivalent make. g) Front Pivot Synchro Mechanism -The adjustable tilting mechanism is designed with the following features.360° revolving type.Single point control.Front-pivot for tilt with feet resting on ground ensuring more comfort.Tilt tension adjustment.4-position locking with anti-shock feature.Seat/back tilting ratio of 1:2.h) Neck Rest : The neckrest assembly consist of polypropylene pad with moulded polyurethane foam & covered with polyster fabric. Neckrest is fixed to back assembly through neckrestconnector. i) Pneumatic Height Adjustment : The pneumatic height adjustment has an adjustment stroke of 10 cm. j) Pedestal Assembly : The pedestal is injection moulded in black 30% glass-filled Nylon and fitted with 5 nos. twin wheel castors. The pedestal pitch-center dia is 66cm and 76 cm with castors. 9.Twin Wheel Castors : The twin wheel castors are injection moulded in black Nylon.Make:Godrej Interio or or suitably equivalent make. | 111.00 | Each | 18223.92 | 22000.00 | 2442000.00 | 18000.00 | 1998000.00 | 16000.00 | 1776000.00 | 1776000.00 | MAHALAXMI CONSTRUCTION COMPANY
106.00 | Supply and installation of 10 seater mingle table of size 3000WX 1500D X 740H mm.work top made of 25mm thick MDFone side preliminate board conforming to IS 1458-1998 woth 0.40mm PVC membrance pressed on to top and having chamfered edges.Access panels provided with soft closing hinges.Under structures consists of mixture of 25mm and 18mm preliminated twin board of E1-P2 grade and appoved shade conforming IS 12823-1990,edge banded with mactching 2mm thick PVC lipping,anodised aluminium alloy 63400-WP profile is added at bottom edges for improving the aesthetics.The product has a knock down construction.Wire management -bottom cabinert with door is provided for flow of wire and cables.Cut out provision below acess flap at two location for standard 8 module achor roma is provided.Besides each cut out an additional cutout plate with plate is provided for mounting audio visual cables(eg:HDMI,VGA-A etc)Make:Godrej Interio or or suitably equivalent make. | 2.00 | Each | 85977.16 | 100000.00 | 200000.00 | 86000.00 | 172000.00 | 90000.00 | 180000.00 | 172000.00 | P S G CONSTRUCTIONS
107.00 | Supply and installation of Storage Unit GNPRO MN GRGL 1950 X 1200 2 Doors (LH and RH) For 900W storage - Each Door width 448W Construction & Material - Made from 0.6mm Thick CRCA (D Grade, IS-513) Soft closing HingeHandle - Asthetically appealing handle made of Aluminum Cam Lock - -3 Way locking provision.- Click action mechanism. - Key removable in locked and unlocked positions. - Zinc alloy die cast housing.Shelving - It is a 12 bend panel made of 0.7mm Thick CRCA (D Grade, IS-513) Each shelf has max Load Capacity of - 55kg UDL for 900W unit 4 Nos. of fixed shelves for 1950(H) A4 size Box file (85Wx340Hx285D) can be stored vertically on all loading levels (Refer Sheet 4 of 17) Number of files that can be stored in one shelf is as follows:900 w = 10 no of filesFinish - Epoxy Polyester Powder coated to the thickness of 50 microns (+/-10 micron). Make:Godrej Interio or or suitably equivalent make. | 3.00 | Each | 23252.14 | 27000.00 | 81000.00 | 23000.00 | 69000.00 | 25000.00 | 75000.00 | 69000.00 | P S G CONSTRUCTIONS
108.00 | Supply and installation of Storage Unit GNPRO AD GRGL 1950 X 1200- 2 Doors (LH and RH) For 900W storage - Each Door width 448W Construction & Material - Made from 0.6mm Thick CRCA (D Grade, IS-513) Soft closing HingeHandle - Asthetically appealing handle made of Aluminum Cam Lock - -3 Way locking provision.- Click action mechanism. - Key removable in locked and unlocked positions. - Zinc alloy die cast housing.Shelving - It is a 12 bend panel made of 0.7mm Thick CRCA (D Grade, IS-513) Each shelf has max Load Capacity of - 55kg UDL for 900W unit 4 Nos. of fixed shelves for 1950(H) A4 size Box file (85Wx340Hx285D) can be stored vertically on all loading levels (Refer Sheet 4 of 17) Number of files that can be stored in one shelf is as follows:900 w = 10 no of filesFinish - Epoxy Polyester Powder coated to the thickness of 50 microns (+/-10 micron).Make:Godrej Interio or or suitably equivalent make. | 12.00 | Each | 19477.08 | 22000.00 | 264000.00 | 19000.00 | 228000.00 | 19000.00 | 228000.00 | 228000.00 | P S G CONSTRUCTIONS, MAHALAXMI CONSTRUCTION COMPANY
109.00 | Supply and installation of GNPRO DR MTL CL 1950 X 1200 GRGL - 2 Doors (LH and RH) for 900W For 900W storage-Each Door width 448WConstruction & Material - Made from 0.6mm Thick CRCA (D Grade, IS-513) Soft closing HingeHandle - Asthetically appealing handle made of AluminumCam Lock - -3 Way locking provision.- Click action mechanism. - Key removable in locked and unlocked positions. - Zinc alloy die cast housing.Shelving - It is a 12 bend panel made of 0.7mm Thick CRCA (D Grade, IS-513) Each shelf has max Load Capacity of - 55kg UDL for 900W unit 4 Nos. of fixed shelves for 1950(H) A4 size Box file (85Wx340Hx285D) can be stored vertically on all loading levels (Refer Sheet 4 of 17) Number of files that can be stored in one shelf is as follows:900 w = 10 no of filesFinish - Epoxy Polyester Powder coated to the thickness of 50 microns (+/-10 micron). Make:Godrej Interio or or suitably equivalent make. | 15.00 | Each | 10069.18 | 12000.00 | 180000.00 | 10000.00 | 150000.00 | 14000.00 | 210000.00 | 150000.00 | P S G CONSTRUCTIONS
110.00 | Supply and installation of VERTICAL SLIDING DOOR UNIT - 7 (Metal Top)Size - 900mm W x 450mm D x 1830mm H 9 Rigid KD Construction Sliding Door with Top Hanging Arrangement 5 Lever cam lock Heightwise adjustible shelves 4 nos. shelf. Make:Godrej Interio or or suitably equivalent make. | 20.00 | Each | 37821.36 | 44000.00 | 880000.00 | 38000.00 | 760000.00 | 38000.00 | 760000.00 | 760000.00 | P S G CONSTRUCTIONS, MAHALAXMI CONSTRUCTION COMPANY
111.00 | Supply and installation of VERTICAL SLIDING DOOR UNIT - 9 (Metal Top) Size - 1200mm W x 450mm D x 711mm H 10 Rigid KD Construction Sliding Door with Top Hanging Arrangement 5 Lever cam lock Heightwise adjustible shelves 2 nos. half shelf 4 nos. shelf. Make:Godrej Interio or or suitably equivalent make. | 20.00 | Each | 37821.36 | 44000.00 | 880000.00 | 38000.00 | 760000.00 | 38000.00 | 760000.00 | 760000.00 | P S G CONSTRUCTIONS, MAHALAXMI CONSTRUCTION COMPANY
112.00 | Material & Labour for One light point or one fan point wiring controlled by one switch with PVC single core cables 1.5 sq. mm size in PVC conduit, wiring with copper conducted cables FRLS. | 831.00 | Point | 1191.30 | 950.00 | 789450.00 | 1100.00 | 914100.00 | 1100.00 | 914100.00 | 789450.00 | HARI ENTERPRISES
113.00 | Supply & Fixing of Wiring for circuit / sub main wiring alongwith earth wire 2 X 1.5 Sq.mm PVC insulated copper conductor single core cabla surface / recessed as required in PVC conduit along with earth wire size 1 X 1.5 Sq.mm.including PVC conduit & accessories. | 720.00 | RM | 195.98 | 240.00 | 172800.00 | 196.00 | 141120.00 | 190.00 | 136800.00 | 136800.00 | MAHALAXMI CONSTRUCTION COMPANY
114.00 | Supply & Fixing of Wiring for circuit / sub main wiring alongwith earth wire 2 X 2.5 Sq.mm PVC insulated copper conductor single core cable surface / recessed ap required in PVC coobuit along with earth wire size 1 X 2.5 Sq.mm.including PVC conduit & accessories. | 2400.00 | RM | 222.25 | 270.00 | 648000.00 | 222.00 | 532800.00 | 210.00 | 504000.00 | 504000.00 | MAHALAXMI CONSTRUCTION COMPANY
115.00 | Supply & Fixing of Wiring for circuit / sub main wiring alongwith earth wire 2x4.0 Sq.mm PVC insulated copper conductor single core cable surface / recessed as required in PVC conduit along with earth wire size 1 X 4.0 Sq.mm.including PVC conduit & accessories. | 2700.00 | RM | 258.00 | 320.00 | 864000.00 | 258.00 | 696600.00 | 250.00 | 675000.00 | 675000.00 | MAHALAXMI CONSTRUCTION COMPANY
116.00 | Supply & Fixing of Wiring for circuit / sub main wiring alongwith earth wire 2x6.0 Sq.mm PVC insulated copper conductor single core cable surface / recessed as required in PVC conduit along with earth wire size 1 X 6.0 Sq.mm.including PVC conduit & accessories. | 1940.00 | RM | 311.04 | 390.00 | 756600.00 | 311.00 | 603340.00 | 300.00 | 582000.00 | 582000.00 | MAHALAXMI CONSTRUCTION COMPANY
117.00 | Taking down carefully copper / alumin point wiring (light, fan, socket or power) complete, (fittings such us switches. ceiling roses, pendants, regulators, sockets etc. to be measuréd separately), removing materials to store for keeping inside safe custody for re-use at site and making good disturbed surfaces of wafls, floors, etc | 830.00 | Per Point | 282.72 | 120.00 | 99600.00 | 282.00 | 234060.00 | 300.00 | 249000.00 | 99600.00 | HARI ENTERPRISES
118.00 | Taking down carefully unscrewing from boards/out-let boxes, fittings and fixtures such as switches sockets, ceiling roses, lamp holders, brackets, ceiling fittings, bulk head fittings, tube light fittings and regulators, etc, for re-use at site or carrying to the store (To be measured only when found service cable in all respects compete for re-use). | 540.00 | Per Point | 41.93 | 40.00 | 21600.00 | 41.00 | 22140.00 | 40.00 | 21600.00 | 21600.00 | HARI ENTERPRISES, MAHALAXMI CONSTRUCTION COMPANY
119.00 | Material & Labour for PVC rectangular block for mounting, switches, sockets, fan regulator etc. with 3 mm thtck plastic laminated sheet cover of size 350 x 300 x 50 mm deep. | 285.00 | Each | 207.84 | 250.00 | 71250.00 | 160.00 | 45600.00 | 200.00 | 57000.00 | 45600.00 | P S G CONSTRUCTIONS
120.00 | Material & Labour for switch sachet combination outlet 2 in 1, 6 amp, flush type.240 volts, AC. (Make: ANCHORS / Legrand / GM) or Suitably Equivalent make. | 70.00 | Each | 446.64 | 380.00 | 26600.00 | 441.00 | 30870.00 | 450.00 | 31500.00 | 26600.00 | HARI ENTERPRISES
121.00 | Material & Labour for Switch socket combination 6A/16A, 5 in 1, flush type. Make: ANCHOR/ HAVELS/ Legrand or Suitably Equivalent make. | 50.00 | Each | 354.36 | 300.00 | 15000.00 | 350.00 | 17500.00 | 350.00 | 17500.00 | 15000.00 | HARI ENTERPRISES
122.00 | Material & Labour for switch flush type, 6 amps, single pole, one way. (Make: ANCHOR/ HAVELS/ Legrand or Suitably Equivalent make. | 70.00 | Each | 144.96 | 120.00 | 8400.00 | 140.00 | 9800.00 | 140.00 | 9800.00 | 8400.00 | HARI ENTERPRISES
123.00 | Supply and fixing LED lights fitting 1x22 Watt, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cabte of suitable size from ceiling rose complete. Make: Philips/HaveIIs/Osram or Suitably Equivalent make. | 45.00 | Each | 1614.74 | 1050.00 | 47250.00 | 1600.00 | 72000.00 | 1500.00 | 67500.00 | 47250.00 | HARI ENTERPRISES
124.00 | Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitabte for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete. (Make: Philips/Havells/Osram) or Suitably Equivalent Make | 315.00 | Each | 5123.03 | 3900.00 | 1228500.00 | 3600.00 | 1134000.00 | 3900.00 | 1228500.00 | 1134000.00 | P S G CONSTRUCTIONS
125.00 | Material & Labour for Material & Labour for PVC/Polycorbonate, isolated ceiling rose . (Make: FYBROS / ZEN / KUNDAN) or Suitably Equivalent make. | 600.00 | Each | 78.84 | 65.00 | 39000.00 | 65.00 | 39000.00 | 100.00 | 60000.00 | 39000.00 | P S G CONSTRUCTIONS, HARI ENTERPRISES
126.00 | Demolition of concrete, unreinforced Concrete in ground floors and pavings not exe 15 cm thickness (below or above ground level) | 25.00 | CuM | 1655.40 | 900.00 | 22500.00 | 1650.00 | 41250.00 | 1800.00 | 45000.00 | 22500.00 | HARI ENTERPRISES
127.00 | Supply and filling of cement concrete of wherever demolition work done work in surface channels and drains 40 mm graded aggregate. type B2 ( 1:2:4) | 25.00 | CuM | 7903.32 | 6700.00 | 167500.00 | 7900.00 | 197500.00 | 8000.00 | 200000.00 | 167500.00 | HARI ENTERPRISES
128.00 | Cutting chases, pinning in. making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting exc 20 cm girth Brick walls. | 6000.00 | RM | 66.72 | 60.00 | 360000.00 | 66.00 | 396000.00 | 70.00 | 420000.00 | 360000.00 | HARI ENTERPRISES
129.00 | Supply & fixing of single pole sheet metal enclosure with a two pin and earth plug and socket complete with one doublle pole MCB 240 V 20amp | 45.00 | Each | 2181.36 | 2300.00 | 103500.00 | 2180.00 | 98100.00 | 2000.00 | 90000.00 | 90000.00 | MAHALAXMI CONSTRUCTION COMPANY
130.00 | Supply & fixing of Four pole isoIater, 415V, 100A. (Make: STANDARD/ HAVELS/ SIEMENS/ LEGREND) or Suitably Equivalent make. | 90.00 | Each | 2640.96 | 2800.00 | 252000.00 | 2640.00 | 237600.00 | 2700.00 | 243000.00 | 237600.00 | P S G CONSTRUCTIONS
131.00 | Supplied & fixed 240V lsolator SP 40A, (Make: STANDARD/ HAVELS/ SIEMENS/ LEGREND) or Suitably Equivalent make. | 600.00 | Each | 432.17 | 500.00 | 300000.00 | 430.00 | 258000.00 | 425.00 | 255000.00 | 255000.00 | MAHALAXMI CONSTRUCTION COMPANY
132.00 | Supply & fixing of SHEET METAL ENCLOSURES FOR DB'S WHEN MCBs Double Door Supplied & fixed Triple pole & neutral 12 way 415 volt, AC. (Make: STANDARD/ HAWELS/ SIEMENS/ LEGREND) or Suitably Equivalent make. | 30.00 | Each | 5499.96 | 6500.00 | 195000.00 | 5500.00 | 165000.00 | 5500.00 | 165000.00 | 165000.00 | P S G CONSTRUCTIONS, MAHALAXMI CONSTRUCTION COMPANY
133.00 | Suppły ańd fixing ceiling fans complete with blades, down r‹xIs, electronic regulator and accessońes, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.łXł BEE. Five str rated with brushless direct current moto‹ (BLDC) (Make: STANDARD/ HAWELS/ SIEMENS/ LEGREND/ CROMPTON/ AUTOMBERG) or Suitabły Equivalant make | 170.00 | Each | 3179.36 | 3500.00 | 595000.00 | 3200.00 | 544000.00 | 3000.00 | 510000.00 | 510000.00 | MAHALAXMI CONSTRUCTION COMPANY
134.00 | Supply & fixing of‘ Gl Pipes heavy class, 25 mm dia. | 400.00 | RM | 408.00 | 400.00 | 160000.00 | 405.00 | 162000.00 | 410.00 | 164000.00 | 160000.00 | HARI ENTERPRISES
135.00 | Supply ard fixing of Double door sheet metal enclouser for BB's when MCB 's to be used Triple pole and neutral 8 way, 415 volt, AC. (Make: STANDARD/ HAWELS/ SIEMENS/ LEGREND) or Suitably Equivalent make. | 20.00 | Each | 4306.44 | 7000.00 | 140000.00 | 4300.00 | 86000.00 | 4500.00 | 90000.00 | 86000.00 | P S G CONSTRUCTIONS
136.00 | Supply and fixing of Double door sheet metal enclouser for DB's when MCB ’s to be used Triple pole and neutral 6 way, 415 volt, AC. (Make: STANDARD/ HAWELS/ SIEMENS/ LEGREND) or Suitably Equivalent make or Suitably Equivalent make. | 20.00 | Each | 3823.44 | 6000.00 | 120000.00 | 3800.00 | 76000.00 | 4000.00 | 80000.00 | 76000.00 | P S G CONSTRUCTIONS
137.00 | Supply and fixing of Double door sheet metal enclouser for DB's when MCB ’s to be used Tripte pole and neutral 4 way, 415 volt, AC. (Make: STANDARD/ HAWELS/ SIEMENS/ LEGREND) or Suitably Equivalent make. | 35.00 | Each | 3171.24 | 4000.00 | 140000.00 | 3170.00 | 110950.00 | 3500.00 | 122500.00 | 110950.00 | P S G CONSTRUCTIONS
138.00 | Materials & labour PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 25 sq. mm, 3’7 core. Make: Havells/Gloster/Finolex/ABB or Suitably Equivalent make. | 400.00 | RM | 233.69 | 280.00 | 112000.00 | 233.00 | 93200.00 | 250.00 | 100000.00 | 93200.00 | P S G CONSTRUCTIONS
139.00 | Materials & labour PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area M sq. mm, 3’7 core. Make: Havells/Gloster/Finolex/ABB or Suitably Equivalent make. | 350.00 | RM | 282.32 | 350.00 | 122500.00 | 282.00 | 98700.00 | 325.00 | 113750.00 | 98700.00 | P S G CONSTRUCTIONS
140.00 | Supply and fixing of exhaust fan, steel body AC single Phase. 230V of size 300mm sweep with, blades, and frame and louvers. (Make USHA / HAVELLS / BAJAJ / CROMPTON) or Suitably Equivalent make. | 10.00 | Each | 4258.31 | 4200.00 | 42000.00 | 4200.00 | 42000.00 | 4000.00 | 40000.00 | 40000.00 | MAHALAXMI CONSTRUCTION COMPANY
141.00 | Supply and fixing of Modular white cover plate with frame 6 module. (Make: ANCHOR / HAVELLS/ Legrand / Schneider / GM) or Suitably Equivalent make. | 50.00 | Each | 371.52 | 350.00 | 17500.00 | 370.00 | 18500.00 | 350.00 | 17500.00 | 17500.00 | HARI ENTERPRISES, MAHALAXMI CONSTRUCTION COMPANY
142.00 | Supply & fixing of Modular metal flush box 6 module. (Make: ANCHOR / HAVELLS / Legrand / Schneider / GM) or Suitably Equivalent make. | 50.00 | Each | 340.92 | 330.00 | 16500.00 | 340.00 | 17000.00 | 350.00 | 17500.00 | 16500.00 | HARI ENTERPRISES
143.00 | Supply & Fixing of One bell / buzzer point controlled by one push button on the same board with other switches or independent with cables 1.5 sq.mm size in PVC conduit | 15.00 | Each | 1191.30 | 1200.00 | 18000.00 | 1190.00 | 17850.00 | 1150.00 | 17250.00 | 17250.00 | MAHALAXMI CONSTRUCTION COMPANY
144.00 | Supply & Fixing of Bell Multi Music type. (Make: ANCHOR / HAVELS/ Leqrand/ Schneider/ GM) or Suitably Equivalent make. | 15.00 | Each | 673.80 | 600.00 | 9000.00 | 673.00 | 10095.00 | 700.00 | 10500.00 | 9000.00 | HARI ENTERPRISES
145.00 | Supply & fixing of Rigid non-metallic PVC conduit exclusive of boxes (junctional terminal) but inclusive of all tees, bends, elbows, reducers, bell mouth tube ends and fixing accessories such as couplets, lock nuts, saddles, pipe hooks etc, external dia 25 mm | 4000.00 | RM | 101.16 | 70.00 | 280000.00 | 85.00 | 340000.00 | 100.00 | 400000.00 | 280000.00 | HARI ENTERPRISES
146.00 | Supply & fixing of Rigid non-metallic PVC Junction boxes, dia 25mm (1 to 4 way) | 1000.00 | Each | 55.45 | 40.00 | 40000.00 | 50.00 | 50000.00 | 60.00 | 60000.00 | 40000.00 | HARI ENTERPRISES
147.00 | Materials & labour for XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 400 sqmm, 3’7 core. Make. Havells/ Gloster/ Finolex/ ABB or Suitably Equivalent make. | 650.00 | RM | 2160.36 | 1750.00 | 1137500.00 | 2160.00 | 1404000.00 | 2700.00 | 1755000.00 | 1137500.00 | HARI ENTERPRISES
148.00 | Supply and fixing round shape 15 watt 220 volts AC recessed type with high efficiency PMMA diffuser soft glare free light complete with drivers, holders, LED lamp suitable for roof ceiling including connecting up with three core flexible copper conductor cable of suitable size complete. (Make: ANCHOR/ HAVELS/ Legrand/ Schneider/ GM) or Suitably Equivalent make. | 60.00 | Each | 1274.18 | 850.00 | 51000.00 | 1274.00 | 76440.00 | 1250.00 | 75000.00 | 51000.00 | HARI ENTERPRISES
149.00 | Supply, Fixing and Testing Modular Switch 1 way 10A, 1 Module. (Make: Schneider Electric, Legrand ABB or Suitably Equivalent make. | 600.00 | Each | 312.60 | 800.00 | 480000.00 | 310.00 | 186000.00 | 300.00 | 180000.00 | 180000.00 | MAHALAXMI CONSTRUCTION COMPANY
150.00 | Supply, fixing, and testing of Modular Switch 1 Way 16A, 1 Module. (Make: Schneider Electric, Legrand, ABB) or Suitably Equivalent make. | 50.00 | Each | 412.44 | 90.00 | 4500.00 | 410.00 | 20500.00 | 400.00 | 20000.00 | 4500.00 | HARI ENTERPRISES
151.00 | Supply & fixing of Socket, 6A - 2/3 Pin combined 2 Module (Make: Schneider Electric, Legrand, ABB) or Suitably Equivalent make. | 650.00 | Each | 408.65 | 140.00 | 91000.00 | 405.00 | 263250.00 | 400.00 | 260000.00 | 91000.00 | HARI ENTERPRISES
152.00 | Supply & fixing of 6A/16A - 2/3 Pin Combined 2 module (Make: Schneider Electric, Lagrand, ABB) or Suitably Equivalent make. | 207.00 | Each | 634.08 | 250.00 | 51750.00 | 630.00 | 130410.00 | 600.00 | 124200.00 | 51750.00 | HARI ENTERPRISES
153.00 | Supply & fixing of Fan step regulator, 120 W - 2 Module (Make: Schneider Electric, Legrand, ABB or Suitably Equivalent make) | 170.00 | Each | 1221.54 | 650.00 | 110500.00 | 1220.00 | 207400.00 | 1100.00 | 187000.00 | 110500.00 | HARI ENTERPRISES
154.00 | Supply, fixing, testing of 6A modular Bell push Switch 1 Module (Make: Schneider Electńc, Legrand. ABB or Suitably Equivalent make) | 15.00 | Each | 368.76 | 180.00 | 2700.00 | 360.00 | 5400.00 | 400.00 | 6000.00 | 2700.00 | HARI ENTERPRISES
155.00 | Supply & Fixing of exhaust fan made of sturdy Engineering plastic complete with louvers shutter, voltage 230V, 50 Hz, RPM 1200, Copper winding of sweep 250mm (Make: Crompton,Usha,Almonard or Suitably Equivalent make) | 20.00 | Each | 1927.82 | 3500.00 | 70000.00 | 1920.00 | 38400.00 | 2000.00 | 40000.00 | 38400.00 | P S G CONSTRUCTIONS
156.00 | Supply & fixing of 12 modular metal box in a concealed manner with inner plate and cover plate, white colour. Make: Schneider Electric, Legrand, Crabtree, Litaski, ABB or Suitably Equivalent make. | 368.00 | Each | 650.00 | 550.00 | 202400.00 | 650.00 | 239200.00 | 650.00 | 239200.00 | 202400.00 | HARI ENTERPRISES
157.00 | Supply & Fixing of Modular type single pole MCB & 32 A, 10kA (Make: Schneider Electńc, Legrand, ABB or Suitably Equivalent make) | 50.00 | Each | 520.00 | 300.00 | 15000.00 | 520.00 | 26000.00 | 450.00 | 22500.00 | 15000.00 | HARI ENTERPRISES
158.00 | Supply & fixing of 16 modular plate with frame & metal flush box (Make: Schneider Electńc, Legrand, ABB or Suitably Equivalent make) | 30.00 | Each | 840.62 | 750.00 | 22500.00 | 840.00 | 25200.00 | 850.00 | 25500.00 | 22500.00 | HARI ENTERPRISES
159.00 | Supply of Double compression cable glands and heavy duty type copper crimping lugs for making end termination work for the sizes of 1100V grade 3.5 core x 400 Sqmm. XLPE insulated Aluminium conductor underground armoured cables. (Make: Jainson/Lotus/Dowells/Commet/Grip well or Suitably Equivalent make) | 4.00 | Each | 7500.00 | 8000.00 | 32000.00 | 7500.00 | 30000.00 | 7000.00 | 28000.00 | 28000.00 | MAHALAXMI CONSTRUCTION COMPANY
160.00 | Labour for making end terminations for the sizes of 1100V grade 3.5 core x 400 Sqmm. XLPE insulated Aluminium conductor underground armoured cables with double compression cable glands and heavy duty type copper crimping lugs. (Make: Jainson/Lotus/Dowells or Suitably Equivalent make) | 4.00 | Each | 1800.00 | 3000.00 | 12000.00 | 1800.00 | 7200.00 | 2000.00 | 8000.00 | 7200.00 | P S G CONSTRUCTIONS
161.00 | Supply of 14 SWG CRCA sheet steel floor mounted cubical indoor type Floor Power Panel with necessary base frame MS channels etc and comprising of 02 Nos of 4 Pole 630A, 36kA MCCBs with Microprocessor based Protection Relay as source incomers with Motor Mechanism for Automatic Source Change over System with Electrical interlock and should have provision for manual operating system, with suitable CTs,digital multifunction meter, RYB indication lamps of LED type for indication. Four pole MCCBs 125A, 36kA-12Nos with Microprocessor based protection as outgoing feeders, Electrolytic copper bus bar of 600A capacity with each phase and neutral (RYB&N) and 02 runs of size 25x06 for earth bus. All MCCBs will have lCS=lCU=100% (Make: Schneider Electric, L&T, ABB or Suitably Equivalent make) | 1.00 | WJ | 1250000.00 | 1446239.00 | 1446239.00 | 140000.00 | 140000.00 | 1350000.00 | 1350000.00 | 140000.00 | P S G CONSTRUCTIONS
162.00 | Supply and installation of 1.50 TR inverter type Hi-wall split air conditioner unit with 5-star rating, copper coil and with all accessories including copper pipe. | 50.00 | Each | 48800.00 | 46000.00 | 2300000.00 | 50000.00 | 2500000.00 | 50000.00 | 2500000.00 | 2300000.00 | HARI ENTERPRISES
163.00 | Supply and laying of suction / liquid copper pipe of size as required and as directed | 50.00 | Each | 1050.00 | 1050.00 | 52500.00 | 1050.00 | 52500.00 | 2000.00 | 100000.00 | 52500.00 | P S G CONSTRUCTIONS, HARI ENTERPRISES
164.00 | Supply and laying of 32mm HDPE pipe of pressure rate 6 KG/Sq.mt. | 800.00 | Mtr | 94.40 | 120.00 | 96000.00 | 80.00 | 64000.00 | 100.00 | 80000.00 | 64000.00 | P S G CONSTRUCTIONS
165.00 | Per Node Cost with supply of below material & Installation in structured way/Numbering/Network Connectivity Testing between server & Node a) CAT 6 Patch Cord 2 Mtrs. (Work station side) - 1 b) Single Face Plate with Back Box - 1 c) CAT 6 I/O (Workstation & jack panel) - 2 d) CAT 6 UTP Cable & Casing/caping/PVC conduit with all accessories Average 30 Mtr Per Node e) Jack Pannel 24 port Unloaded (per port) - 1 f) CAT 6 Patch Cord 1 Mtrs. (Rack side) - 1 Make : AMP / D-Link/TP-Link/Molex | 236.00 | Mtr | 4000.20 | 4600.00 | 1085600.00 | 3390.00 | 800040.00 | 3600.00 | 849600.00 | 800040.00 | P S G CONSTRUCTIONS
166.00 | Supply & installation of SC to LC (10 no.) and SC to SC (4 no.) Fiber Patch Cord Make : Uniprice / Pannet / AMP / D-Link | 14.00 | Nos. | 1416.00 | 1600.00 | 22400.00 | 1200.00 | 16800.00 | 1500.00 | 21000.00 | 16800.00 | P S G CONSTRUCTIONS
167.00 | Supply & Installation of C1000 - 48P-4G-L managed Switch with Gigabit Uplinks. (L3 Switch) | 1.00 | Nos. | 141600.00 | 150000.00 | 150000.00 | 120000.00 | 120000.00 | 145000.00 | 145000.00 | 120000.00 | P S G CONSTRUCTIONS
168.00 | Supply & Installation of CBS350 - 24P-4G-IN managed Switch with Gigabit Uplinks. | 14.00 | Nos. | 46020.00 | 55000.00 | 770000.00 | 39000.00 | 546000.00 | 45000.00 | 630000.00 | 546000.00 | P S G CONSTRUCTIONS
169.00 | Supply & laying of 12 Core Single Mode Ruggedized Armored Cable (OFC) Make : Pannet / AMP / D-Link / Digisol / Finolex | 800.00 | Mtrs. | 106.20 | 130.00 | 104000.00 | 90.00 | 72000.00 | 110.00 | 88000.00 | 72000.00 | P S G CONSTRUCTIONS
170.00 | Supply & installation of Single Mode Module (Mini GBIC) Make : CISCO / CADYCE / INTEL / D-Link | 30.00 | Nos. | 12272.00 | 12000.00 | 360000.00 | 10400.00 | 312000.00 | 12500.00 | 375000.00 | 312000.00 | P S G CONSTRUCTIONS
171.00 | Supply & installation of Singlemode Convertor Make : Uniprice / Pannet / AMP / D-Link / digisol | 4.00 | Nos. | 6136.00 | 7200.00 | 28800.00 | 5200.00 | 20800.00 | 6000.00 | 24000.00 | 20800.00 | P S G CONSTRUCTIONS
172.00 | Supply & Installation of 6 U Rack with Power Adaptor & Accessories Make : HCL / ABW / Ritel / Netrack / Digisol | 6.00 | Nos. | 4720.00 | 5600.00 | 33600.00 | 4000.00 | 24000.00 | 4500.00 | 27000.00 | 24000.00 | P S G CONSTRUCTIONS
173.00 | Supply & Installation of 15 U Rack with Power Adaptor & Accessories Make : HCL / ABW / Ritel / Netrack / Digisol | 1.00 | Nos. | 8260.00 | 9500.00 | 9500.00 | 7000.00 | 7000.00 | 8200.00 | 8200.00 | 7000.00 | P S G CONSTRUCTIONS
174.00 | Splicing work at ITC & ERP Building with all accessories like: Pigtail cable, OFC connector etc. Make : Uniprice / Pannet / AMP / Digisol / D-Link | 48.00 | Nos | 59.00 | 1000.00 | 48000.00 | 50.00 | 2400.00 | 70.00 | 3360.00 | 2400.00 | P S G CONSTRUCTIONS
175.00 | Excavating in trenches in hard / dense soil, n exc 1.5 m wide and n exc 1.5 m in depth for laying of cable n exc 10 sq m on plan and not exc 1.5 m in depth and getting out. | 42.00 | CuM | 810.00 | 520.00 | 21840.00 | 810.00 | 34020.00 | 800.00 | 33600.00 | 21840.00 | HARI ENTERPRISES
176.00 | Supply & labour for filling of Sand under floors or in foundations including watering and consolidation for cushioning of UG cable. | 9.00 | CuM | 2369.16 | 2300.00 | 20700.00 | 2360.00 | 21240.00 | 2300.00 | 20700.00 | 20700.00 | HARI ENTERPRISES, MAHALAXMI CONSTRUCTION COMPANY
177.00 | Returning, filling hard / dense soil in excavated trench after laying of cable including spreading, levelling, watering and well ramming in layers not exc 25 cm. | 42.00 | CuM | 166.92 | 70.00 | 2940.00 | 150.00 | 6300.00 | 150.00 | 6300.00 | 2940.00 | HARI ENTERPRISES
178.00 | Supply & Laying of burnt Bricks common burnt clay building bricks sub class B designation 75, old size for protection to UG cable. | 1.60 | Per 10 Nos | 6662.26 | 10500.00 | 16800.00 | 13000.00 | 20800.00 | 7000.00 | 11200.00 | 11200.00 | MAHALAXMI CONSTRUCTION COMPANY
179.00 | Demolition of cement concrete of any description in any position. (below or above ground level) 20 meters | 1.00 | CuM | 1655.40 | 900.00 | 900.00 | 1600.00 | 1600.00 | 1800.00 | 1800.00 | 900.00 | HARI ENTERPRISES
180.00 | Material and labour for Cement concrete Type B1 1:2:4 using 20mm graded aggregate in foundations, filling and mass concrete | 1.00 | CuM | 7840.00 | 7300.00 | 7300.00 | 7800.00 | 7800.00 | 7500.00 | 7500.00 | 7300.00 | HARI ENTERPRISES
181.00 | Steel Water Tubes, of ‘medium grade' galvanized of tube bore of size 50mm with all fittings laid in trenches. | 20.00 | Mtr | 482.40 | 500.00 | 10000.00 | 480.00 | 9600.00 | 500.00 | 10000.00 | 9600.00 | P S G CONSTRUCTIONS
182.00 | Laying of cable by Horizontal Directional Drilling method under the concrete/Tar road minimum diameter of 2.5" with laying of HDPE pipe at various locations as requirement of site. | 58.00 | Mtr | 4900.00 | 7500.00 | 435000.00 | 4900.00 | 284200.00 | 5000.00 | 290000.00 | 284200.00 | P S G CONSTRUCTIONS
183.00 | Supply and laying of 100 pair jelly filled armoured underground copper telephone cable (Make: Finolex/Delton/Vindhya) in trench and /or in the cable tray as requirement of site. | 250.00 | Mtr | 980.00 | 1100.00 | 275000.00 | 980.00 | 245000.00 | 1000.00 | 250000.00 | 245000.00 | P S G CONSTRUCTIONS
184.00 | Supply and fixing of telephone cable route indicator/marker with marking as "TEL CABLE". The route indicator/ marker shall be size of 100mmx100mmx5mm of made cast iron bolted or welded to 35mmx35mmx6mm MS angle iron of 600mm long. The indicators shall be grouted with proper concreting work (PCC 1:2:4) in a regular interval of every 10 meters for the length of the cable. | 25.00 | Nos. | 500.00 | 700.00 | 17500.00 | 500.00 | 12500.00 | 500.00 | 12500.00 | 12500.00 | P S G CONSTRUCTIONS, MAHALAXMI CONSTRUCTION COMPANY
185.00 | supply and fixing of powder coated wall mountable telephone distribution bos including KRONE connetor strip 400 pairs | 1.00 | Nos. | 17050.00 | 20000.00 | 20000.00 | 17050.00 | 17050.00 | 15000.00 | 15000.00 | 15000.00 | MAHALAXMI CONSTRUCTION COMPANY
186.00 | supply and fixing of powder coated wall mountable telephone distribution bos including KRONE connetor strip 200 pairs | 3.00 | Nos. | 7500.00 | 10000.00 | 30000.00 | 7500.00 | 22500.00 | 8000.00 | 24000.00 | 22500.00 | P S G CONSTRUCTIONS
187.00 | Supply and fixing of 25mm rigid non matetalic PVC conduit exclusive of boxes (junction / terminal) but inclusive of all tees, bends, elbow, reductors, bell mouth, tube ends and fixing accessories such as couplers, locknuts, saddles, pipe hooks, etc. | 600.00 | RM | 101.16 | 120.00 | 72000.00 | 85.00 | 51000.00 | 100.00 | 60000.00 | 51000.00 | P S G CONSTRUCTIONS
188.00 | Material labour for cutting chases, pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good, cutting exc. 10cm but not exc. 20 cm grith | 600.00 | RM | 66.72 | 60.00 | 36000.00 | 66.00 | 39600.00 | 70.00 | 42000.00 | 36000.00 | HARI ENTERPRISES
189.00 | Supply and fixing modular white cover plate with frame 4 module (Make: ANCHOR / HAVELS/ Leqrand/ Schneider/ GM) or Suitably Equivalent make. | 55.00 | Each | 296.52 | 250.00 | 13750.00 | 295.00 | 16225.00 | 300.00 | 16500.00 | 13750.00 | HARI ENTERPRISES
190.00 | Supply and fixing modular metal flush box for 4 module plate (Make: ANCHOR / HAVELS/ Leqrand/ Schneider/ GM) or Suitably Equivalent make. | 55.00 | Each | 256.08 | 220.00 | 12100.00 | 255.00 | 14025.00 | 250.00 | 13750.00 | 12100.00 | HARI ENTERPRISES
191.00 | Supply of 5 pair PVC telephone cable with conductor size of 0.5 mm (Make: Finolex / Delton / Five star or equivalent acceptable) | 1300.00 | RM | 30.00 | 40.00 | 52000.00 | 30.00 | 39000.00 | 30.00 | 39000.00 | 39000.00 | P S G CONSTRUCTIONS, MAHALAXMI CONSTRUCTION COMPANY
192.00 | Labour only for laying of 5 / 10 pair telephone cable in PVC / GI pipe. | 1300.00 | RM | 15.00 | 20.00 | 26000.00 | 15.00 | 19500.00 | 15.00 | 19500.00 | 19500.00 | P S G CONSTRUCTIONS, MAHALAXMI CONSTRUCTION COMPANY
193.00 | Supply and fixing of12 module plate with frame and metal flush box (Make: ANCHOR / HAVELS/ Leqrand/ Schneider/ GM) or Suitably Equivalent make. | 6.00 | Each | 650.00 | 490.00 | 2940.00 | 650.00 | 3900.00 | 650.00 | 3900.00 | 2940.00 | HARI ENTERPRISES
194.00 | Supply and Fixing modular type dummy plate (12 module) | 6.00 | Each | 20.00 | 25.00 | 150.00 | 20.00 | 120.00 | 21.00 | 126.00 | 120.00 | P S G CONSTRUCTIONS
| Total in Figures |  |  |  |  | 36799999.00 |  | 33184683.00 |  | 34494491.00
Lowest Amount Quoted BY: P S G CONSTRUCTIONS(33184683.00)

## BOQ Summary
BOQ Summary Details Tender Title: SPECIAL REPAIRS TO FINANCE AND ACCOUNTS BUILDING TO ACCOMMODATE ERP FACILITIES AT HVF, AVADI Tender ID: 2025_AVNL_251558_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | P S G CONSTRUCTIONS (BID ID -918045) | 33184683.00 | L1
| 2 | MAHALAXMI CONSTRUCTION COMPANY (BID ID -918503) | 34494491.00 | L2
| 3 | HARI ENTERPRISES (BID ID -918156) | 36799999.00 | L3