## BoQ1
Government eProcurement System Created By: M APPAJI Created Date/Time: 14-Jan-2026 09:42 AM Tender Title: Provision of certain civil works / Infrastructural facilities for Final acceptance activities of 693 Armament Upgrade vehicles in OH Bldg. inside factory area at OFMK. Tender ID: 2025_AVNL_252338_1
Tender Inviting Authority: CHIEF GENERAL MANAGER ORDNANCE FACTORY MEDAK (A UNIT OF AVNL)
Name of Work: Provision of certain civil works / Infrastructural facilities for Final acceptance activities of 693 Armament Upgrade vehicles in OH Bldg. inside factory area at OFMK.
Contract No: 73025/OFMK/TE -13/OFMK/EO/693 OH/2025-26
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GOVIND REDDY CONTRACTOR (GSTN-NA) BID ID -928896 |  | BANTUSURESHGOUD CIVIL CONTRACTOR (GSTN-NA) BID ID -929213 |  | Samrat Engineering Works (GSTN-NA) BID ID -929141 |  | P LAVAKUSHA REDDY CONTRACTORS (GSTN-NA) BID ID -929215
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolition of reinforced cement concrete of any description and in any position not otherwise specifically provided for. complete all as specified and directed by EIC | 4.00 | Cum |  | 1575.00 | 6300.00 | 153.00 | 612.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 612.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
2.00 | Excavation : Excavating in trenches in hard/dense soils n.exc. 1.5m wide and n.exc. 1.5m depth for foundations, shafts, wells, cesspits, manholes, pier holes etc | 15.00 | Cum |  | 261.00 | 3915.00 | 540.00 | 8100.00 | 400.00 | 6000.00 | 490.00 | 7350.00 | 3915.00 | GOVIND REDDY CONTRACTOR
3.00 | Excavation : Earth work in excavation in any type of soils by mechanical means (Hydraulic excavator) means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5m, as directed by Engineer-in-charge | 150.00 | Cum |  | 559.00 | 83850.00 | 153.00 | 22950.00 | 400.00 | 60000.00 | 200.00 | 30000.00 | 22950.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
4.00 | Site clearance in soft/loose soil complete all as specified and directed. | 351.55 | Sqm |  | 24.30 | 8542.67 | 15.00 | 5273.25 | 15.00 | 5273.25 | 15.00 | 5273.25 | 5273.25 | Samrat Engineering Works, BANTUSURESHGOUD CIVIL CONTRACTOR, P LAVAKUSHA REDDY CONTRACTORS
5.00 | Removing excavated material(soils) exc. 500m but n.exc 1500m and depositing where directed. | 43.90 | Cum |  | 420.00 | 18438.00 | 400.00 | 17560.00 | 400.00 | 17560.00 | 525.00 | 23047.50 | 17560.00 | Samrat Engineering Works, BANTUSURESHGOUD CIVIL CONTRACTOR
6.00 | Moorum : Supply and filling of Moorum/Red Bajri, filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, levelled and rammed including watering complete all as specified and directed. | 175.00 | Cum |  | 451.20 | 78960.00 | 1050.00 | 183750.00 | 1000.00 | 175000.00 | 950.00 | 166250.00 | 78960.00 | GOVIND REDDY CONTRACTOR
7.00 | Hardcore with broken stone/ boulders of gauge exc. 63mm but n.exc.100mm, deposited, spread, levelled in layers not exc. 15 cm thick and watered and rolled/rammed to a true surface, complete all as specified and directed. | 35.00 | Cum |  | 1389.20 | 48622.00 | 2000.00 | 70000.00 | 2000.00 | 70000.00 | 1800.00 | 63000.00 | 48622.00 | GOVIND REDDY CONTRACTOR
8.00 | Stone Masonry : Walling of squared rubble, regular coursed, well bonded ,bedded and solidly hearted, built in CM 1:6 complete all as specified and directed. | 5.00 | Cum |  | 8050.00 | 40250.00 | 5000.00 | 25000.00 | 7000.00 | 35000.00 | 5700.00 | 28500.00 | 25000.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
9.00 | PCC FLOORING : PCC 1:4:8 in floors/ paving of type D-2, 1:4:8 with 40mm graded aggregate, 100 mm thick . Concreting should be done in panels as directed. Complete all as specified and directed. | 300.00 | Sqm |  | 711.21 | 213363.00 | 480.00 | 144000.00 | 460.00 | 138000.00 | 450.00 | 135000.00 | 135000.00 | P LAVAKUSHA REDDY CONTRACTORS
10.00 | PCC FLOORING : PCC 1:2:4 in floors/ paving of type B-1, 1:2:4 with 20mm graded aggregate, 115 mm thick . Concreting should be done in panels as directed. Complete all as specified and directed. | 300.00 | Sqm |  | 1011.89 | 303567.00 | 600.00 | 180000.00 | 550.00 | 165000.00 | 600.00 | 180000.00 | 165000.00 | Samrat Engineering Works
11.00 | Wearproof topping 20 mm thick using CC 1:2:4, as specified incorporating an approved metallic floor hardner), laid on concrete floors and pavings, and finished even and smooth (except metallic hardner). Complete all as specified and directed. | 300.00 | Sqm |  | 338.50 | 101550.00 | 270.00 | 81000.00 | 600.00 | 180000.00 | 325.00 | 97500.00 | 81000.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
12.00 | Supply of metalic floor hardener, | 1200.00 | Kg |  | 48.00 | 57600.00 | 25.00 | 30000.00 | 100.00 | 120000.00 | 25.00 | 30000.00 | 30000.00 | BANTUSURESHGOUD CIVIL CONTRACTOR, P LAVAKUSHA REDDY CONTRACTORS
13.00 | Finishing cement concrete surface even and smooth without using extra cement or Vaccume dewater flooring as directed be EIC at site. | 300.00 | Sqm |  | 45.80 | 13740.00 | 27.00 | 8100.00 | 200.00 | 60000.00 | 40.00 | 12000.00 | 8100.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
14.00 | Forming joints in CC using Aluminium dividing strips width 38 mm and 1.5 mm thick, inserted in position, confirm to design. Complete all as specified and directed. | 150.00 | Rm |  | 288.00 | 43200.00 | 90.00 | 13500.00 | 200.00 | 30000.00 | 90.00 | 13500.00 | 13500.00 | BANTUSURESHGOUD CIVIL CONTRACTOR, P LAVAKUSHA REDDY CONTRACTORS
15.00 | PCC 1:4:8 :PCC : Plain Cement Concrete (1:4:8) Type D-2 using 40 mm graded aggregate in foundations, floors, filling and mass concrete, Complete all as specified and directed . | 2.00 | Cum |  | 6500.00 | 13000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 4900.00 | 9800.00 | 9800.00 | P LAVAKUSHA REDDY CONTRACTORS
16.00 | RCC : Reinforced cement concrete (Type B1, 1:2:4 with 20 mm aggregates) in columns, pillars, piers, posts etc.Complete all as specified and directed. | 7.00 | Cum |  | 7519.00 | 52633.00 | 8200.00 | 57400.00 | 8500.00 | 59500.00 | 7800.00 | 54600.00 | 52633.00 | GOVIND REDDY CONTRACTOR
17.00 | REINFORCEMENT : Mild steel(TMT) bars 10 mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9 mm dia or securing with clips. Complete all as specified and directed. . | 1800.00 | Kg |  | 100.80 | 181440.00 | 80.00 | 144000.00 | 90.00 | 162000.00 | 68.00 | 122400.00 | 122400.00 | P LAVAKUSHA REDDY CONTRACTORS
18.00 | Formwork to sides of concrete foundations, footings, bases of columns, raft and raft beams, sides and soffits (if any) of foundation and plinth beams; and similar work; vertical or to batter flat surfaces. Complete all as specified and directed. | 120.00 | Sqm |  | 530.00 | 63600.00 | 300.00 | 36000.00 | 500.00 | 60000.00 | 315.00 | 37800.00 | 36000.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
19.00 | Structural steel (S&F) : Structural steel work Roof trusses (framed), trussed, purlins, crane gantries, rails and fastenings and heavy bracket framing (Beam, tee, angle, channel or flat sections) including distance pieces, cleats etc. Steel confirming to Fe410W (Gde E-250 quality A). Make : TATA, Jindal, Complete all as specified directed. | 6500.00 | Kgs |  | 116.00 | 754000.00 | 98.00 | 637000.00 | 115.00 | 747500.00 | 115.00 | 747500.00 | 637000.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
20.00 | Structural steel work : Supply and erection of framed work as in doors or gates of angle or other section with gusset pla tes, rails, braces, etc., complete, drilled for fixing of steel sheeting or other covering. Doors, etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering, running rails and guides) and hanging; also fastening and fixing complete. steel conforming to Fe.410 W .Gde-E-250 quality B. including application of of one coat of zinc chromate primer paint. Make : TATA, Jindal, Complete all as specified directed. Complete all as specified and directed | 2500.00 | Kg |  | 112.00 | 280000.00 | 98.00 | 245000.00 | 120.00 | 300000.00 | 110.00 | 275000.00 | 245000.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
21.00 | Structural steel (S&F) : Mild steel bolts. purpose made. of dia. of neck n.exc. 12 mm with hexagonal orsquare head one end and screwed the other, or screwed both ends; each screwed end to be fitted with washers and one hexagonal or square nut. exc 30cm long. Complete all as specified directed. | 100.00 | Kgs |  | 121.00 | 12100.00 | 180.00 | 18000.00 | 200.00 | 20000.00 | 190.00 | 19000.00 | 12100.00 | GOVIND REDDY CONTRACTOR
22.00 | SY.ENAMEL PAINTING (STEEL) (M&L) : Synthetic enamel painting two coats on new steel surfaces of any description not otherwise described over 10cm width or girth - including preparation of surfaces and application of one coat red oxide primer. | 300.00 | Sqm |  | 162.90 | 48870.00 | 81.00 | 24300.00 | 100.00 | 30000.00 | 90.00 | 27000.00 | 24300.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
23.00 | Roofing sheet : Supply and fixing of pre painted galvalume aluminium zinc coating GI based corrugated/ trapezoidal profile roofing sheets of thickness 0.5 mm having tensile strength of 550Mpa as in roof covering / cladding to wall with self tapping screws etc. Make : TATA / Jindal /Essar. Complete all as specified and directed. | 400.00 | Sqm |  | 741.50 | 296600.00 | 620.00 | 248000.00 | 690.00 | 276000.00 | 660.00 | 264000.00 | 248000.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
24.00 | Brick work with sub class ‘B’ bricks straight or curved in plan with 1:4 cement mortar. Complete all as specified and directed. | 25.00 | Cum |  | 7579.50 | 189487.50 | 5300.00 | 132500.00 | 7500.00 | 187500.00 | 5350.00 | 133750.00 | 132500.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
25.00 | PLASTERING : Rendering of 10mm thick plastering with 1:6 cement mortar on fair faces of brick work or concrete surfaces. Complete in all respects as specified and directed. | 200.00 | Sqm |  | 228.40 | 45680.00 | 180.00 | 36000.00 | 300.00 | 60000.00 | 180.00 | 36000.00 | 36000.00 | BANTUSURESHGOUD CIVIL CONTRACTOR, P LAVAKUSHA REDDY CONTRACTORS
26.00 | Snap grid : Supply and fixing of 605x605 mm snap grid Gl frame work for seamless ceiling comprising of Gl perimeter channel 0.55 mm thick with two unequal flanges of 20 and 30 mm and web of 27 mm fixed to surrounding wall using nylon sleeves and screws at 450 mm centre to centre/intermediate channel 0.9 mm thick having two equal flanges of 15 mm each and web of 45 mm suspended from soffit at approx 900 mm centre to centre with Gl cleat and steel expansion fasteners with and including ceiling section (not exc 1.2 m length) of 0.55 mm thickness having kurled web of 50 mm and flange of 26 mm each with lips of 10.5 mm fixed to the intermediate channel with connecting clips across the intermediate channel at 457 mm centre to centre. complete all as specifiedand directed, Make : Armstrong | 270.00 | Sqm. |  | 485.98 | 131214.60 | 410.00 | 110700.00 | 400.00 | 108000.00 | 450.00 | 121500.00 | 108000.00 | Samrat Engineering Works
27.00 | Supply and fixing of Hangers 6 mm dia. G.I. (upto 1200mm length) adjusting level fixed to roof slabs by means of ceilling cleats made out of G.I. flat 40 x 3 mm size 60mm long and expansion hold fasteners 12.5mm dia. 40mm long complete all as specified. | 270.00 | Sqm |  | 69.50 | 18765.00 | 90.00 | 24300.00 | 400.00 | 108000.00 | 90.00 | 24300.00 | 18765.00 | GOVIND REDDY CONTRACTOR
28.00 | Ceiling board : (M&L) S&F Exposed metal frame ceiling with calcium silicate board of siliceous and calcareous material 8 mm thk. reinforced with cellulose fibre for fixing in 600 mm x 600mm grid Make: Gyproc/ La gyp | 270.00 | Sqm |  | 710.20 | 191754.00 | 450.00 | 121500.00 | 590.00 | 159300.00 | 400.00 | 108000.00 | 108000.00 | P LAVAKUSHA REDDY CONTRACTORS
29.00 | ALUMINIUM PARTITIONS : Supply and fixing complete of anodised aluminium powder coated frames for partition frames and windows etc. all complete as directed by E.I.C. | 1500.00 | Kg |  | 465.20 | 697800.00 | 540.00 | 810000.00 | 630.00 | 945000.00 | 450.00 | 675000.00 | 675000.00 | P LAVAKUSHA REDDY CONTRACTORS
30.00 | PARTICLE BOARDS : Supply and Fixing of Pre-laminated particle board of 12mm thick, exterior grade prelaminated one side with decorative choice lamination and other side balancing white lamination, fixed with screws to timber frame work, including all as specified and directed by EIC. | 250.00 | Sqm |  | 625.25 | 156312.50 | 850.00 | 212500.00 | 1400.00 | 350000.00 | 790.00 | 197500.00 | 156312.50 | GOVIND REDDY CONTRACTOR
31.00 | Sheet glass : Supply and fixing of Sheet glass, ordinary quality 4.0 mm thick and glazing with oil putty in square n exc 0.5 sq. m in each pane. Complete all as specified and directed by EIC. | 130.00 | Sqm |  | 589.20 | 76596.00 | 670.00 | 87100.00 | 900.00 | 117000.00 | 600.00 | 78000.00 | 76596.00 | GOVIND REDDY CONTRACTOR
32.00 | ALUMINIUM SHUTTERS : Supply and fixing complete of anodised aluminium Door / window / ventilator shutters powder coated fixed type without sash bar ,aluminium section weighing 0.55 kg/m including necessary jointig cleats, glazing clips, rubber neoprane packing, handles 2 nos. in each door, hinges/sliding rollers, anodised aluminium snap beading, screws etc. complete all as directed by E.I.C. | 50.00 | Sqm |  | 1701.20 | 85060.00 | 1260.00 | 63000.00 | 2500.00 | 125000.00 | 1350.00 | 67500.00 | 63000.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
33.00 | PVC sheet : Supply and fixing of PVC tiles/ sheets, 2.0 mm thick laminated plain coloured, marbled mosaic or mottled finish, laid with approved rubbed based adhesive in floors. complete all as specified and directed | 275.00 | Sqm |  | 498.80 | 137170.00 | 1050.00 | 288750.00 | 1500.00 | 412500.00 | 1050.00 | 288750.00 | 137170.00 | GOVIND REDDY CONTRACTOR
34.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one Light point or one fan point controlled by one switch with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make Finolex/Havells/polycab in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and nuetral etc and testing as specified all connections to be given by copper Pin/ eye type lugs including for earth connections complete all as specified by EIC. | 90.00 | Per point |  | 1301.00 | 117090.00 | 950.00 | 85500.00 | 1000.00 | 90000.00 | 950.00 | 85500.00 | 85500.00 | BANTUSURESHGOUD CIVIL CONTRACTOR, P LAVAKUSHA REDDY CONTRACTORS
35.00 | Point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 15 amps independent, with 4.0 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make Finolex/Havells/ polycab/ L&T in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire. All connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC 's technical instructions amended from time to time. | 16.00 | Per point |  | 1398.00 | 22368.00 | 1800.00 | 28800.00 | 1100.00 | 17600.00 | 1850.00 | 29600.00 | 17600.00 | Samrat Engineering Works
36.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 5 amps independent, with cables 2.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make Finolex/Havells/polycab in PVC conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs, clamps, junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and all connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC. | 18.00 | Per point |  | 1525.00 | 27450.00 | 1050.00 | 18900.00 | 1500.00 | 27000.00 | 700.00 | 12600.00 | 12600.00 | P LAVAKUSHA REDDY CONTRACTORS
37.00 | point wiring: Supply and fixing /Drawing of cables to one 3 pin socket outlet 5 amps on the same board with other switches, with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable concealed conduit wiring Make Finolex/Havells/ polycab. complete all as specified and directed | 46.00 | Per point |  | 1080.00 | 49680.00 | 200.00 | 9200.00 | 950.00 | 43700.00 | 280.00 | 12880.00 | 9200.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
38.00 | ceiling rose : M&L of ceiling rose, PVC/Polycorbonate,3 phase terminal Make Anchor / Havells/Maru of ISI quality. | 50.00 | Each |  | 31.50 | 1575.00 | 50.00 | 2500.00 | 80.00 | 4000.00 | 65.00 | 3250.00 | 1575.00 | GOVIND REDDY CONTRACTOR
39.00 | MCB :Supply and fixing of MCB, 240 V, single pole 5 to 40 Amp Make legrand/Schneider/Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 60.00 | Each |  | 238.50 | 14310.00 | 250.00 | 15000.00 | 150.00 | 9000.00 | 350.00 | 21000.00 | 9000.00 | Samrat Engineering Works
40.00 | MCB :Supply and fixing of MCB, 240 V, DP 40 amp. Make legrand/Schneider/Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 10.00 | Each |  | 372.60 | 3726.00 | 500.00 | 5000.00 | 200.00 | 2000.00 | 500.00 | 5000.00 | 2000.00 | Samrat Engineering Works
41.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of single door of SPN, 8 way, 240 V, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand/Schneider/Indoasian/ Havells. Complete all as specified by EIC. | 10.00 | Each |  | 2933.10 | 29331.00 | 1350.00 | 13500.00 | 5800.00 | 58000.00 | 1500.00 | 15000.00 | 13500.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
42.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x6.0 Sq.mm + 1x6.0 sq.mm earth wire in PVC concelead Conduit wiring .Make: Finolex/Havells /polycab complete all as specified by the EIC | 500.00 | RM |  | 705.20 | 352600.00 | 250.00 | 125000.00 | 200.00 | 100000.00 | 300.00 | 150000.00 | 100000.00 | Samrat Engineering Works
43.00 | Switch Modular : Supply and Fixing of switch modular type of one way 6 amps make Legrand/Schneider/Havells of ISI quality complete all as specifies by the EIC | 160.00 | Each |  | 76.50 | 12240.00 | 160.00 | 25600.00 | 100.00 | 16000.00 | 240.00 | 38400.00 | 12240.00 | GOVIND REDDY CONTRACTOR
44.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 2/3 pin 6 amps combined 2 modular type make Legrand/Schneider/Havells of ISI quality complete all as specified by the EIC | 65.00 | Each |  | 220.50 | 14332.50 | 250.00 | 16250.00 | 105.00 | 6825.00 | 300.00 | 19500.00 | 6825.00 | Samrat Engineering Works
45.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 2/3 pin 16 amps combined 2 modular type make Legrand/Schneider/Havells of ISI quality complete all as specified by the EIC | 16.00 | Each |  | 247.50 | 3960.00 | 400.00 | 6400.00 | 160.00 | 2560.00 | 500.00 | 8000.00 | 2560.00 | Samrat Engineering Works
46.00 | SWITCH MODULAR : Supply and Fixing of switch modular type of one way 16 amps make Legrand/ Schneider/Havells of ISI quality complete all as specifies by the EIC | 16.00 | Each |  | 175.50 | 2808.00 | 250.00 | 4000.00 | 200.00 | 3200.00 | 300.00 | 4800.00 | 2808.00 | GOVIND REDDY CONTRACTOR
47.00 | Modular Fan Regulator: Material and Labour for fan step regulator, 120watt , 2 module Make Havells/ Schneider/ Legrand | 40.00 | Each |  | 355.50 | 14220.00 | 720.00 | 28800.00 | 600.00 | 24000.00 | 950.00 | 38000.00 | 14220.00 | GOVIND REDDY CONTRACTOR
48.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 4 module of make Legrand/ Schneider /Havells complete all as specified by the EIC | 20.00 | Each |  | 163.80 | 3276.00 | 200.00 | 4000.00 | 150.00 | 3000.00 | 240.00 | 4800.00 | 3000.00 | Samrat Engineering Works
49.00 | METAL FLUSH BOX : Supply and Fixing of 6 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand/ Schneider/ Havells complete all as specified by the EIC | 20.00 | Each |  | 166.50 | 3330.00 | 150.00 | 3000.00 | 130.00 | 2600.00 | 200.00 | 4000.00 | 2600.00 | Samrat Engineering Works
50.00 | LED LUMINAIRE :Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete.Make: Philips/CG/Wipro/ Osram/ Havells/ Orient/ Halonix | 50.00 | Each |  | 765.00 | 38250.00 | 4000.00 | 200000.00 | 6500.00 | 325000.00 | 3600.00 | 180000.00 | 38250.00 | GOVIND REDDY CONTRACTOR
51.00 | Ceiling Fan(BLDC):Supply and fixing ceiling fans complete with blades, down rods, electronic regulator and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC) Make : CG/Havells/Orient/Usha | 40.00 | Each |  | 2450.21 | 98008.40 | 2500.00 | 100000.00 | 3000.00 | 120000.00 | 3000.00 | 120000.00 | 98008.40 | GOVIND REDDY CONTRACTOR
52.00 | Fan Hook: Supply and Fixing of Fan hook with double anchor bolt complete fixing as per instructions of EIC. | 42.00 | Each |  | 135.90 | 5707.80 | 120.00 | 5040.00 | 300.00 | 12600.00 | 150.00 | 6300.00 | 5040.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
53.00 | Switch board box with frame plate and cover plate , metal flush box18 module : Supply and Fixing of covering plates with Metal Flush box and cover plate frames of 18 module of make Legrand/ Schneider/ Havells complete all as specified by the EIC | 25.00 | Each |  | 736.20 | 18405.00 | 500.00 | 12500.00 | 200.00 | 5000.00 | 650.00 | 16250.00 | 5000.00 | Samrat Engineering Works
| Total in Figures |  |  |  |  | 5286647.97 |  | 4804885.25 |  | 6177218.25 |  | 4859700.75
Lowest Amount Quoted BY: BANTUSURESHGOUD CIVIL CONTRACTOR(4804885.25)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of certain civil works / Infrastructural facilities for Final acceptance activities of 693 Armament Upgrade vehicles in OH Bldg. inside factory area at OFMK. Tender ID: 2025_AVNL_252338_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | BANTUSURESHGOUD CIVIL CONTRACTOR (BID ID -929213) | 4804885.25 | L1
| 2 | P LAVAKUSHA REDDY CONTRACTORS (BID ID -929215) | 4859700.75 | L2
| 3 | GOVIND REDDY CONTRACTOR (BID ID -928896) | 5286647.97 | L3
| 4 | Samrat Engineering Works (BID ID -929141) | 6177218.25 | L4