## BoQ1
Government eProcurement System Created By: JITENDRA SHIKERIA Created Date/Time: 10-Aug-2026 03:19 PM Tender Title: REPAIR AND RENOVATION OF BUILDING No.2 FOR ACCOMODATING ITC,CAD,CENTER,TELEPHONE EXCHANGE AND SECURITY OFFICE AT MPF AMBERNATH Tender ID: 2025_AVNL_257694_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGR MTPF (AVNL) AMBERNATH
Name of Work: Repair and renovation of Building No. 2 for accomodating ITC, Cad Center , telephone exchange and security office, at MPF Ambernath.
Contract No: 0503/11/2024-25/EO/MPF
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Vikash Enterprises (GSTN-NA) BID ID -942533 |  | MDAC Engineers (GSTN-NA) BID ID -949882 |  | M P TOTARE (GSTN-NA) BID ID -941450
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Repair and renovation of Building No. 2 for accomodating ITC, Cad Center , telephone exchange and security office, at MPF Ambernath.
1.10 | Taking down and removing to store Chowkhats or frames exc 1.5 sq. m but n exc 4 sq. m each, with shutters (without taking off shutters from the frame) including thorough cleaning of site & removal of all rubbish outside Factory Premises, etc all complete as directed by the EIC. | 59.00 | Each | 455.60 | 1950.00 | 115050.00 | 500.00 | 29500.00 | 375.00 | 22125.00 | 22125.00 | M P TOTARE
2.10 | M & L 1st class hard wood Plain, solid, straight chowkats and frames, wrought, framed rebated on the solid, rounded or chamfered, put together with glue pinned at joints, supplied and fixed, etc all complete as directed by EIC. Note : Sample of Wooden Chowkhats shall be got approved from Competent Factory Authority before execution of work | 1.38 | Cu.m | 172774.30 | 78450.00 | 108496.35 | 160000.00 | 221280.00 | 116592.80 | 161247.84 | 108496.35 | Vikash Enterprises
3.10 | S & F 40 mm thick Flush door shutters, solid core construction, with particle board core and plywood face panels, commercial type on both sides including toughened Glass panel approx size 0.3m x1.5m x 6 mm thick or as per design suitable for door, including heavy duty hinges (Minimum 4 Nos. in each door shutter), decorative & heavy duty tower bolts (as per minimum requirement at each door shutter) , heavy duty and decorative handles as per required size & design, door stopper and other all required accessories as per design suitable for aesthetic door, etc all complete as directed by EIC. Note : Sample of all materials and accessories for all the doors shall be got approved from Competent Factory Authority before execution of work | 82.00 | Sq.m | 1950.90 | 5940.00 | 487080.00 | 1815.00 | 148830.00 | 3910.00 | 320620.00 | 148830.00 | MDAC Engineers
4.10 | S & F Decorative laminate type1 (0.9mm thick) of surface finish, colour & pattern as approved fixed with approved adhesive as per Manufacturer's instructions, etc all complete as directed by EIC. Note : Sample of all materials and accessories for all the doors shall be got approved from Competent Factory Authority before execution of work | 163.00 | Sq.m | 1215.40 | 165.00 | 26895.00 | 1200.00 | 195600.00 | 2210.80 | 360360.40 | 26895.00 | Vikash Enterprises
5.10 | S & F Factory made single extruded WPC (Wood Polymer Composite) solid plain flush door shutter of 30mm size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2 , modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, including all fittings and accessories all as per direction of Engineer-In- Charge. Note : Sample of doors and all accessories shall be got approved from Competent Factory Authority before execution of work | 13.00 | Sq.m | 3870.45 | 5250.00 | 68250.00 | 3800.00 | 49400.00 | 4280.80 | 55650.40 | 49400.00 | MDAC Engineers
6.10 | S & F 4 lever brass Mortice lock, vertical type, size 100 mm , including handle, etc all complete as directed by EIC (Make : Godrej/ Zone/ plantex /Lapo.) Note : Sample should be approved before execution of work | 32.00 | Each | 758.80 | 721.00 | 23072.00 | 1000.00 | 32000.00 | 1092.00 | 34944.00 | 23072.00 | Vikash Enterprises
7.10 | S & F Biometric door lock suitable for flush door shutter, etc all complete as directed by EIC. (Make : Godrej/ Zone/ plantex /Lapo.) Note : Sample should be approved before execution of work | 6.00 | Each | 13140.60 | 30000.00 | 180000.00 | 14000.00 | 84000.00 | 4268.20 | 25609.20 | 25609.20 | M P TOTARE
8.10 | S & F Aluminum extruded Door closer hydraulically regulated, designation No. 3, universal type, suitable for door shutters of 851 to 1200 mm in width and of weight between 61 to 80 kg and fixed, etc all complete as directed by EIC. (Make : Godrej/ Zone/ plantex /Lapo.) Note : Sample should be approved before execution of work | 32.00 | Each | 1507.00 | 3250.00 | 104000.00 | 1500.00 | 48000.00 | 1590.70 | 50902.40 | 48000.00 | MDAC Engineers
9.10 | S & F Granite 20mm thick work (table rubbed and polished) of selected colur & pattern in steps, jambs, pillars, window-cills, cooking platforms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite, etc all complete as directed by EIC. Note : Sample of Granite shall be got approved from Competent Factory Authority before execution of work | 295.00 | Sq.m | 5183.70 | 4250.00 | 1253750.00 | 5000.00 | 1475000.00 | 4200.00 | 1239000.00 | 1239000.00 | M P TOTARE
10.10 | Providing edge moulding to granite stone 18-20mm thick stone of counters vanities etc. including machine polishing to edge to give high gloss finish, etc all complete as directed by EIC. Note : The Sample for edge moulding shall be got approved from the Competent Factory Authority before execution of the work. | 1059.00 | RM | 376.25 | 310.00 | 328290.00 | 400.00 | 423600.00 | 4820.80 | 5105227.20 | 328290.00 | Vikash Enterprises
11.10 | S & F Anodised aluminium powder coated frame for windows, ventilators with one or more rebates including joining cleat for fixing, etc. complete all as specified etc all complete as directed by the Engg In Charge. Important Note: Sample of Aluminum Frames & allied accessories, shed of powder coating etc shall be got approved from Competent Factory Authority before incorporating in the work. | 472.00 | Kg | 546.91 | 500.00 | 236000.00 | 700.00 | 330400.00 | 490.80 | 231657.60 | 231657.60 | M P TOTARE
12.10 | S & F Sheet tempered or toughened glass, 6.3 mm thick and glazing with suitable accessories for aluminium sliding windows including cutting to shape drilling holes as required, etc all complete as directed by the Engg In Charge. Important Note: Sample of toughened glass & allied accessories shall be got approved from EIC before incorporating in the work. | 150.00 | Sq.m | 1331.20 | 7200.00 | 1080000.00 | 1500.00 | 225000.00 | 3910.20 | 586530.00 | 225000.00 | MDAC Engineers
13.10 | Dismantling Wall and ceiling boards (fibre, pulp, insulation, etc.) or insulation boards/slabs/ blankets, any thickness, including cover fillets and removing to store including thorough cleaning of site & removal of all rubbish outside Factory Preemies, etc all complete as directed by EIC. | 753.00 | Sq.m | 41.60 | 79.00 | 59487.00 | 50.00 | 37650.00 | 56.35 | 42431.55 | 37650.00 | MDAC Engineers
14.10 | Demolition of Brickwork or stone/ boulder masonry, built in Cement mortar including all quoins, arches, pillars, etc, but excluding ashlar facings, dressed stonework and precast concrete articles including removing demolished material outside factory premises, thorough cleaning of site, etc all complete as directed by EIC | 11.48 | Cu.m | 1641.94 | 2100.00 | 24108.00 | 1400.00 | 16072.00 | 2060.40 | 23653.39 | 16072.00 | MDAC Engineers
15.10 | Taking down Cement plaster on brick or stone walls, etc. including raking out joints, hacking for key, scrubbing down including removing of debris outside Factory Premises, thorough cleaning of site, etc all complete as directed by EIC | 351.00 | Sq.m | 94.94 | 740.00 | 259740.00 | 90.00 | 31590.00 | 54.65 | 19182.15 | 19182.15 | M P TOTARE
16.10 | M & L for Rendering 20mm thick cement plaster in Cement Mortar 1:4 on fair faces of brick/ stone work or concrete surfaces for internal plaster only, etc all complete as directed by EIC. Imp. Note: The Contractor shall use approved sand free from Dust particles for cement mortar preparation. | 693.00 | Sq.m | 321.44 | 670.00 | 464310.00 | 350.00 | 242550.00 | 354.65 | 245772.45 | 242550.00 | MDAC Engineers
17.10 | M&L for neeru finish for internal plaster only, etc all complete as directed by EIC | 527.00 | Sq.m | 50.00 | 310.00 | 163370.00 | 100.00 | 52700.00 | 80.70 | 42528.90 | 42528.90 | M P TOTARE
18.10 | Supply, erection, designing & installation of wall and ceiling panels at any height or position including necessary support system either permanent or temporary, etc all complete as directed by the Engg in Charge (Make: Kingspan / Lloyd Insulation / Klenzaids / Jindal Mectec / Metecno) as per following specification: (i) Wall & Ceiling Panels 1100 mm width & shall be of following properties. (a) Thickness shall be Minimum 40 mm with PIR Core, having Min Density 40 kg/ Cu.m (b) Material of skin: Steel (Prepainted GI Sheet Hot Dip Galvanized with a Zinc Coating of 180 GSM) internal & external Min 0.5 mm thick (Total Coated Thickness), Polyester Coated surface, ribbed outside & light cutting grooves inside to improve strength & appearance. (ii) The Sample of all material shall be approved by the Engg in Charge & the colour combination shall also be approved by the Engg in Charge. (iii) All Panel Fixing Ancillaries shall be supplied & fixed by the Contractor without any extra cost. (Except PPGI Flashings which shall be measured & paid for under relevant item). (iv) Proper supportings, safe erection & securing in position is an invariable part of scope of work. All the Panels and ancillary items erected in position shall be vibration free. Any deficiency arise during execution shall be borne by the Contractor. (v) Design & preparation of all shop drawings / working drawings clearly showing inclusion of necessary cutouts / openings for electrical fittings, AC fittings, ductings, doors, glass panes etc (as directed by the Engg in Charge / Factory Authority) shall be carried out by the Contractor at his own cost & shall submit the drawings for approval of Engg in Charge prior to execution of the work. (vi) The necessary cut outs / openings for electrical fittings, AC fittings, ducting, doors, glass panes shall be provided by the Contractor as per approved shop drawings. | 1286.00 | Sq.m | 2973.75 | 2200.00 | 2829200.00 | 2940.00 | 3780840.00 | 490.00 | 630140.00 | 630140.00 | M P TOTARE
19.10 | S & F Pre Painted Galvanised iron (PPGI) flashings 0.300 mm (Make: Kingspan / Lloyd Insulation / Klenzaids / Jindal Mectec / Metecno) suitable for wall & ceiling panels, etc all complete as directed by the Engg in Charge. Note: The sample of all PPGI flashings & ancillary items shall be got approved from the Engg in Charge before fixing. | 1448.00 | RM | 403.65 | 300.00 | 434400.00 | 380.00 | 550240.00 | 292.00 | 422816.00 | 422816.00 | M P TOTARE
20.10 | M&L for Design supply & installation of suspended Spider glazing system designed to withstand the wind pressure as per IS 875(Part II) .The Suspended system held with Spider fittings of SS316 grade steel of approved manufacturer with glass panel having 12mm thick clear toughened glass hold together with SS 316 grade stainless steel Spider and bolt assembly with laminated glass fin 21 mm thick. The glass fins and glass panel assembly shall be connected to slab/ beams by means of SS 316 grade stainless steel brackets and anchor bolts, non staining weather sealants of approved make, Teflon/nylon bushes and separator to prevent bi-metallic contact, all complete to perform as per specification and approved drawings. The complete system to be designed to accommodate thermal expansion and sesmic movement etc. The joints between glass panels(6 to 8mm) and gaps at the perimeter and in U channel of the assembly to be filled with non staining weather sealant, so as to make the entire system fully water proof and dust proof. The rate shall include all design, Engineering and shop drawing including approval from structural designer, labour, T&P, scaffolding, other incidental charges including wastage, enabling temporary services all fitting fixtures nut bolt, washer, buffer platers, fasteners, anchore, SS Channel laminated glass etc. all completed for the purpose of payment, actual elevation area of glazing including thickness of joints and portion of glass panel inside the SS channel shall be measured, etc all completed as directed by Engg-in-Charge. | 198.00 | Sq.m | 5000.00 | 6000.00 | 1188000.00 | 4850.00 | 960300.00 | 3190.50 | 631719.00 | 631719.00 | M P TOTARE
21.10 | Providing and fixing 12mm thick frameless toughened glass door shutter (of size 1.9 m x 2.2m Approx, Contractor shall provide door as per actual measurement reqd. at site) of approved brand and manufacture, including providing and fixing top and bottom pivot and double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required fitting including Door handle, locking arrangement and heavy duty hydraulic floor machine 2 Nos. for Each door (Make: godrej / dormakaba, strickers and flilm) as per direction of Engg-in Charge including approved Door handle of required design size and pattern, approved lock and door stopper etc all complete as directed by Engg-in-Charge. Imp. Note: Sample of all materials and accessories shall be got approved from the Competent Factory Authority before execution of the work. | 11.00 | Each | 20000.00 | 98700.00 | 1085700.00 | 23000.00 | 253000.00 | 5260.00 | 57860.00 | 57860.00 | M P TOTARE
22.10 | Dismantling floor, hearth or wall tiling including cement mortar bedding (but not backing), removing serviceable tiles to store and rubbish off the premises, etc all complete as directed by EIC | 99.00 | Sq.m | 89.50 | 120.00 | 11880.00 | 100.00 | 9900.00 | 73.40 | 7266.60 | 7266.60 | M P TOTARE
23.10 | S & F Vitrified Ceramic tiles of approved shade and design 10 mm thick (or of equivalent thickness as per Manufacturer's specification) (square/ rectangular) polished, area of each tiles exceeding 0.42 Sqm but not exceeding 1.00 Sq.m , in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match, etc all complete as directed by EIC.(Make: Kajaria/ Somany / Johnson.) Note : Sample design & pattern of tiles from the given makes shall be got approved from the Competent Factory Authority before execution of work | 1529.00 | Sq.m | 1601.20 | 2100.00 | 3210900.00 | 1800.00 | 2752200.00 | 1380.20 | 2110325.80 | 2110325.80 | M P TOTARE
24.10 | S & F Non - skid Ceramic coloured tiles (7 to 8 mm thick) as per manufacturer specification thick (square/ rectangular) area of each tile exceeding 0.18 Sqm but not exceeding 0.38 Sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match, etc all complete as directed by EIC.(Make:Kajaria/ Somany / Johnson). Note : Sample design & pattern of tiles from the given makes shall be got approved from the Competent Factory Authority before execution of work | 24.00 | Sq.m | 1428.70 | 2300.00 | 55200.00 | 1400.00 | 33600.00 | 1290.10 | 30962.40 | 30962.40 | M P TOTARE
25.10 | S & F Glazed ceramic coloured tiles in vertical surface of Minimum 450 X 350 X 7 mm or as per manufacturer specification thick set and jointed in neat cement slurry and pointed in white or colour cement to match, etc all complete as directed by EIC. (Make:Kajaria/ Somany / Johnson) Note : Sample design & pattern of tiles from the given makes shall be got approved from the Competent Factory Authority before execution of work | 166.00 | Sq.m | 1338.40 | 1670.00 | 277220.00 | 1450.00 | 240700.00 | 1390.90 | 230889.40 | 230889.40 | M P TOTARE
26.10 | S&F Chequered cement concrete tiles of Min. size 20 cm x 20 cm x 25 mm thick or of equivalent size as per manufacturer specification set, jointed and pointed in neat cement slurry with mixture of white and gray cement in equal preparation and no pigment in floors, etc all complete as directed by EIC. Important Note: Contractor shall get the sample and design pattern of concrete tiles approved from the Engg In Charge / Competent Factory Authority prior to commence the work | 150.00 | Sq.m | 1253.30 | 740.00 | 111000.00 | 1250.00 | 187500.00 | 890.50 | 133575.00 | 111000.00 | Vikash Enterprises
27.10 | M&L for Screed bed or bedding layer of mortar 25 mm thick for laying floor finishes in CM 1:6, etc all complete as directed by the EIC. Imp. Note: The Contractor shall use suitably graded fine aggregate free from dust / lumps for the screed bed purpose. The Use of Stone Dust shall not be made for screed bed preparation. | 1629.00 | Sq.m | 308.39 | 1060.00 | 1726740.00 | 400.00 | 651600.00 | 695.20 | 1132480.80 | 651600.00 | MDAC Engineers
28.10 | M&L Moorum/red bajri filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, leveled and rammed including watering, etc all complete as directed by EIC | 3.00 | Cu.m | 1240.10 | 5200.00 | 15600.00 | 1200.00 | 3600.00 | 690.00 | 2070.00 | 2070.00 | M P TOTARE
29.10 | M&L Hardcore with broken stone / bolder of guage exc 63mm but n exc. 100 mm, deposited, spread and leveled in layers n exc. 15 cm thick, watered and rolled/rammed to a true surface, etc all complete as directed by EIC | 1.00 | Cu.m | 2614.90 | 3100.00 | 3100.00 | 2800.00 | 2800.00 | 895.00 | 895.00 | 895.00 | M P TOTARE
30.10 | M & L for Cement Concrete M15 1:2:4 , 20mm graded aggregate, etc all complete as directed by EIC | 6.00 | Cu.m | 5330.80 | 8740.00 | 52440.00 | 6500.00 | 39000.00 | 6200.00 | 37200.00 | 37200.00 | M P TOTARE
31.10 | M&L Brickwork with subclass ‘B’ bricks, straight or curved on plan exc 6m mean radius built in CM 1: 4, etc all complete as directed by EIC | 16.00 | Cu.m | 5370.50 | 12400.00 | 198400.00 | 7500.00 | 120000.00 | 8590.00 | 137440.00 | 120000.00 | MDAC Engineers
32.10 | M&L reinforced Cement concrete B1 1:2:4 , 20mm graded aggregate in Beams, cantilevers, bressummers, lintels over 1.5m span including required shuttering and form work, etc all complete as directed by EIC | 3.00 | Cu.m | 8160.80 | 12450.00 | 37350.00 | 7000.00 | 21000.00 | 9980.00 | 29940.00 | 21000.00 | MDAC Engineers
33.10 | M&L Mild steel TMT bars 10mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia or securing with clips, etc all complete as directed by EIC | 199.00 | Kg | 82.60 | 96.00 | 19104.00 | 70.00 | 13930.00 | 76.90 | 15303.10 | 13930.00 | MDAC Engineers
34.10 | S & F vitroous china Table top wash basin White glazed fine clay sink approx size 600x450x200mm (or Equivalent size as approved by the EIC) including waste pipe and all other required accessories, etc all complete as directed by EIC. (Make : Jaquare /Cera/ parryware/ Hindware/Kohler/ plantex ) Imp Note: The sample of Wash basin and all other accessories shall be got approved from the Competent Factory Authority before execution of the work. | 8.00 | Each | 4117.20 | 22500.00 | 180000.00 | 3500.00 | 28000.00 | 13900.00 | 111200.00 | 28000.00 | MDAC Engineers
35.10 | Demolition in concrete in ground floors and pavings exc 15 cm thickness (below or above ground level ), etc all complete as directed by EIC | 6.00 | Cu.m | 2142.70 | 3200.00 | 19200.00 | 1800.00 | 10800.00 | 2434.25 | 14605.50 | 10800.00 | MDAC Engineers
36.10 | Excavating in trenches in hard dense soil, n exc 1.5 m wide and n exc 1.5 m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc. n exc 10 sq m on plan and n exc 1.5 m in depth and getting out, etc all complete as directed by EIC | 1.00 | Cu.m | 675.00 | 2540.00 | 2540.00 | 1800.00 | 1800.00 | 270.00 | 270.00 | 270.00 | M P TOTARE
37.10 | S & F 110mm PVC (SWR) pipes single socketed, in any length with rubber ring joints, of reputed make with ISI mark laid in trenches or in floors, etc all complete as directed by EIC | 20.00 | RM | 403.64 | 740.00 | 14800.00 | 366.00 | 7320.00 | 170.00 | 3400.00 | 3400.00 | M P TOTARE
38.10 | S&F Vitreous china premium/ 1st quality wash down water closet wall hung EWC white/ ivory/off white (closed pattern incl all necessary accessories like rag bolts/ gel gasket etc. (excluding flushing cistern & flush pipe) complete in all respect all, etc all complete as directed by EIC. Sample should be get approved by EIC before execution of work specified. (Make: Cera/ Hindwere / Parryware) Imp Note: The sample of EWC and all other accessories shall be got approved from the Competent Factory Authority before execution of the work. | 4.00 | Each | 4000.00 | 15000.00 | 60000.00 | 6500.00 | 26000.00 | 14900.00 | 59600.00 | 26000.00 | MDAC Engineers
39.10 | S&F vitreous China squatting pan, ‘Orissa’ pattern, size 580 x 440 mm or equivalent white, with integral foot rests (excluding flushing cistern and flush pipe)including fixing in repair Squatting pan including connection to trap, and to flushing pipe, anti-syphonage pipe, etc. complete including making good to floor including trap set in and including concrete, etc all complete as directed by EIC. Sample should be get approved by EIC before execution of work (Make: Cera/ Hindwere / Parryware). Imp Note: The sample of WC pan and all other accessories shall be got approved from the Competent Factory Authority before execution of the work. | 1.00 | Each | 3325.09 | 13500.00 | 13500.00 | 2000.00 | 2000.00 | 8500.00 | 8500.00 | 2000.00 | MDAC Engineers
40.10 | S&F Vitreous China bowl urinal flat back, size of 465 x 355 x 265 mm or equivalent white (minimum), with grating and union for discharge pipe (excluding flushing cistern, flush pipe and waste pipe) including fixing Vitreous China urinals, bowl type (back or corner wall type), complete including providing and fixing plugs, bedding urinal against wall in cement mortar 1:2, securing urinal to plugs with and including 60mm long brass screws, pointing around urinal back in cement; fixing automatic flushing cistern with brackets, flush pipe, grating and Union for discharge pipe. (Exclusive of fixing supply pipe to flushing cistern, trap and waste pipe), etc all complete as directed by EIC (Make: Cera/ Hindwere / Parryware) Imp Note: The sample of Urinal pan and all other accessories shall be got approved from the Competent Factory Authority before execution of the work. | 3.00 | Each | 1599.74 | 24000.00 | 72000.00 | 6300.00 | 18900.00 | 2200.00 | 6600.00 | 6600.00 | M P TOTARE
41.10 | S&F 10 lit PVC valveless, syphonic action type, flushing cistern, low level, white, with inlet, ball valve, float and handle including brackets, etc all complete as directed by EIC. (Make: Cera/ Hindwere / Parryware Imp Note: The sample of Flush Tank and all other accessories shall be got approved from the Competent Factory Authority before execution of the work. | 5.00 | Each | 797.24 | 8000.00 | 40000.00 | 1150.00 | 5750.00 | 4900.00 | 24500.00 | 5750.00 | MDAC Engineers
42.10 | S&F Plastic water closet seat, black, closed pattern with flat bottom, and cover and mild steel chromium plated or aluminised hinging device, etc all complete as directed by EIC. Make: Cera/ Hindwere / Parryware). Imp Note: The sample of Flush Tank and all other accessories shall be got approved from the Competent Factory Authority before execution of the work. Sample should be get approved by EIC before execution of work | 4.00 | Each | 775.55 | 4000.00 | 16000.00 | 1600.00 | 6400.00 | 490.00 | 1960.00 | 1960.00 | M P TOTARE
43.10 | S&F Health faucet (ABS Body) mild steel chromium plated suitable for 15 mm dia pipe with 1.25 metre long flexible tube and ABS wall hook including making connections and fixed in position complete in all respect as specified, etc all complete as directed by EIC. Sample should be get approved by EIC before execution of work (Make : Jaquare / Plumber ) | 5.00 | Each | 441.15 | 2500.00 | 12500.00 | 500.00 | 2500.00 | 790.60 | 3953.00 | 2500.00 | MDAC Engineers
44.10 | S & F PVC (SWR) 'P’ trap 110 mm including making connections and fixed in position complete in all respect as specified, etc all complete as directed by EIC | 7.00 | Each | 265.00 | 2000.00 | 14000.00 | 500.00 | 3500.00 | 890.00 | 6230.00 | 3500.00 | MDAC Engineers
45.10 | S&F PVC (SWR) 75mm multi floor trap with grating including jointing with solvent cement, etc all complete as directed by EIC | 7.00 | Each | 400.00 | 2500.00 | 17500.00 | 590.00 | 4130.00 | 490.00 | 3430.00 | 3430.00 | M P TOTARE
46.10 | S & F 20mm Unplasticised PVC pipes UPVC pipes (Make: Prince / Astral / Birla) of pressure rating 10 kgf/cm2 laid in trenches or fixed in walls / chase cutting including all necessary plain & brass threaded fittings, etc all complete as directed by EIC. Imp. Note: Sample of pipes and all accessories shall be got approved from the EIC before execution of the work. | 90.00 | RM | 113.38 | 365.00 | 32850.00 | 200.00 | 18000.00 | 335.00 | 30150.00 | 18000.00 | MDAC Engineers
47.10 | S&F 15mm Unplasticiscd PVC pipes UPVC pipes (Make: Prince / Astral / Birla) of pressure rating 10 kgf/cm2 laid in trenches or fixed in walls / chase cutting including all necessary plain & brass threaded fittings, etc all complete as directed by EIC. Imp. Note: Sample of pipes and all accessories shall be got approved from the EIC before execution of the work. | 90.00 | RM | 103.92 | 310.00 | 27900.00 | 550.00 | 49500.00 | 286.00 | 25740.00 | 25740.00 | M P TOTARE
48.10 | S&F Bib taps 15mm fancy type chromium plated, cast copper alloy with crutch or butterfly handle, screwed down, screwed for iron pipe or for brass ferrule and fixed, etc all complete as directed by EIC.(Make: Jaquare / Plumber / Hindware / Parryware). Imp. Note: Sample of Bib Taps shall be got approved by Competent Factory Authority before execution of work | 10.00 | Each | 607.57 | 9600.00 | 96000.00 | 560.00 | 5600.00 | 1290.00 | 12900.00 | 5600.00 | MDAC Engineers
49.10 | S&F 15mm Pillar taps, cast copper alloy, with capstan heads, chromium plated, screwed down high pressure, with or without lettered 'Hot' or 'Cold' with long screwed shanks and fly-nuts, screwed for iron pipe and fixed, etc all complete as directed by EIC.(Make: Jaquare / Plumber / Hindware / Parryware). Imp. Note: Sample of Pillar Taps shall be got approved by Competent Factory Authority before execution of work | 8.00 | Each | 676.44 | 4500.00 | 36000.00 | 990.00 | 7920.00 | 2290.00 | 18320.00 | 7920.00 | MDAC Engineers
50.10 | S&F Stop valves 15 mm fancy and chromium plated , cast copper alloy, screwed down, high pressure, with crutch or butterfly handle, screwed both ends for iron pipe or for unions and fixed, etc all complete as directed by EIC (Make: Jaquare / Plumber / Hindware / Parryware). Imp. Note: Sample of Pillar Taps shall be got approved by Competent Factory Authority before execution of work | 17.00 | Each | 682.03 | 2500.00 | 42500.00 | 1500.00 | 25500.00 | 1800.00 | 30600.00 | 25500.00 | MDAC Engineers
51.10 | S&F Brass Chromium plated shower roses 125 mm with or without swivel joints, any size, including fixing to steel pipe or union etc all complete as directed by EIC.(Make: Jaquare / Plumber / Hindware / Parryware). Imp. Note: Sample of Pillar Taps shall be got approved by Competent Factory Authority before execution of work | 1.00 | Each | 409.25 | 8100.00 | 8100.00 | 500.00 | 500.00 | 3900.00 | 3900.00 | 500.00 | MDAC Engineers
52.10 | S&F Cutting chases in stone, concrete wall, pinning in, making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc. and making good, cutting exceeding 20cm girth, etc all complete as directed by EIC | 100.00 | RM | 65.40 | 1200.00 | 120000.00 | 55.00 | 5500.00 | 69.00 | 6900.00 | 5500.00 | MDAC Engineers
53.10 | S&F 500 lit Rotational/Rectangular moulded polyethylene water storage tanks including all accessories (cylindrical vertical with closed top) hoisted and fixed in position all, etc all complete as directed by EIC Sample should be get approved by EIC before execution of work.(Make: Syntex/Supreme) | 4.00 | Each | 4219.60 | 6940.00 | 27760.00 | 4100.00 | 16400.00 | 4900.00 | 19600.00 | 16400.00 | MDAC Engineers
54.10 | M&L 20mm Ball brass valves, high pressure, with polythene float and flynut complete, screwed for iron pipe or brass ferrule and fixed Ball, etc all complete as directed by EIC. Sample should be get approved by EIC before execution of work | 4.00 | Each | 408.74 | 2100.00 | 8400.00 | 390.00 | 1560.00 | 1600.00 | 6400.00 | 1560.00 | MDAC Engineers
55.10 | M & L for preparation of surfaces i.e. complete removal of existing treatment and applying 3mm thick wall care putty, one coat of primer plaster coat and two coat of plastic emulsion paint on surfaces of any description over 10cm girth or width, not otherwise described, etc all complete as directed by EIC.(Make of all materials shall be 1st Quality paint from : Asian Paints/ Indigo Paints / Birla Opus Paints). Imp Note: Sample of all materials, shade, colour combination, etc shall be got approved from the Competent Factory Authority before commencement of work. | 1928.00 | Sq.m | 234.34 | 410.00 | 790480.00 | 200.00 | 385600.00 | 69.00 | 133032.00 | 133032.00 | M P TOTARE
56.10 | M & L for preparation of surfaces i.e. complete removal of existing treatment, one coat of primer plaster coat and two coat of synthetic enamel paint (suitable for Stone surface for better aesthetics) on Surfaces of any description over 10cm girth or width, not otherwise described, etc all complete as directed by EIC. (Make of all materials shall be 1st Quality paint from : Asian Paints/ Indigo Paints / Birla Opus Paints) Imp Note: Sample of all materials, shade, colour combination etc shall be got approved from the Competent Factory Authority before commencement of work. | 2913.00 | Sq.m | 143.30 | 160.00 | 466080.00 | 125.00 | 364125.00 | 226.25 | 659066.25 | 364125.00 | MDAC Engineers
57.10 | S&F Automatic sensor Single Sliding door / Bi part type (double leaf door), 1500mm - 3000 mm height 1800 mm-2500 mm width Door Mounting: on track operator mechanism Door Direction: Horizontal Mounting Location: on RCC Steel Door Structure: Fully Glazed Door Operating mechanism: Top mounting mechanism with timing belt & pully Control Type: Deadman/pulse control Toughened glass to be used, etc all complete as directed by EIC Note: Sample Should be approved before execution | 2.00 | Each | 108000.00 | 94000.00 | 188000.00 | 85000.00 | 170000.00 | 62910.00 | 125820.00 | 125820.00 | M P TOTARE
58.10 | S & F Stainless steel railing with Semi framed toughen glass 11.52 mm thick with approved design, 1200mm long, 48.3 mm dia / square stainless steel grade 304 balusters with 100mm dia / square welded base plate fixing with anchore bolt 100mm length with grouting, 105 mm dia / square cover plate 25mm deep end cap on post top maximum baluster post spacing 1.66 m c/c. 11.52 mm thick toughen and laminated glass over all height 1200mm, gap from bottom and top 100mm glass height and necessary joinery, etc all complete as directed by Engg in charge. Sample Should be approved before execution | 175.00 | RM | 7663.40 | 8456.00 | 1479800.00 | 7000.00 | 1225000.00 | 282.10 | 49367.50 | 49367.50 | M P TOTARE
59.10 | S & F APP based polymeric membrane minimum weighing 3kg/sqm and minimum 3mm thick reinforced with polyster non wove fabric (wt. not less than 150 gms/sqm) land on primed surface by forced application complete all as specified including removing of existing treatment and repairing cracks, etc all complete as directed by EIC.(Make: Tiki dan / Pidilite). Imp. Note: The sample of all materials shall be got approved from Competent Factory Authority before commencement of work. | 1535.00 | Sq.m | 403.65 | 760.00 | 1166600.00 | 195.00 | 299325.00 | 830.20 | 1274357.00 | 299325.00 | MDAC Engineers
60.10 | Providing & fixing false ceiling at all heights (The False Ceiling to be suspended from the existing roof slab height of 5.60 meters to the required level of Approx. 3.00 meter height with suitable hangers fixed & secured in position) with GRG (Glass Fibre Reinforced Gypsum) false ceiling tiles of Size 595x595 mm of approved texture, design and patterns, pre painted, having moisture content less than 2%, humidity resistance of 99%, NRC0.50 to 0.75 as per IS 8225:1987, Non combustible as per BS 476 (part 4)-1970 and light reflectance of 85% (minimum) to be laid in true horizontal level suspended on inter-locking metal T-Grid of hot dipped galvanised iron section of 0.33mm thick (galvanized @ 120 grams per sqm including both sides) comprising of main-T runners of size 15x32 mm of length 3000 mm, cross - T of size 15x32 mm of length 1200 mm and secondary intermediate cross-T of size 15x32 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia hanger rod upto required length for suspending false ceiling from existing roof slab height pf 5.60 m to approx. 3.00 m height and L-shape level adjuster of size 85x25x2 mm. Galvanised iron perimeter wall angle of size 24x24x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall wood screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. With semi perforated 12 mm thick micro regular edged GRG false ceiling tiles, etc all complete as directed by the Engg in Charge. Imp. Note: (i) Apart from above, all required accessories, suitable hangers to withstand the load of false ceiling of appropriate numbers shall be taken into consideration & shall be considered while quoting the rates. Any claim, whatsoever, for extra cost shall not be considered at any stage of work. (ii) The Contractor shall carry out the detailed design for the False Ceiling & Supports / hangers including all shop drawings, working drawings at his own risk & cost. (iii) All materials, accessories for the work shall be got approved from the Competent Factory Authority before commencement of work. | 734.00 | Sq.m | 2148.38 | 1710.00 | 1255140.00 | 1780.00 | 1306520.00 | 692.50 | 508295.00 | 508295.00 | M P TOTARE
61.10 | S & F 4 mm thick exterior grade Aluminium composite Panel with coil thickness of 0.5 mm, cladding of Eurobond / Altobond / Viva makes, in desired colour / colour combination as per elevation drawing & shop drawings approved by the Competent Authority / Engg in Charge, over the basic frame work. The basic frame work shall be created by 50mm X 25 mm X 2 mm thick extruded aluminium rectangular tube of Jindal make in the vertical / horizontal plane of the cladding with the following specifications: (i) The Extruded Aluminium Rectangular tube shall be provided with 50 mm long aluminium extruded angle (brackets) of 25 x 25 x 4 mm thick (or 38x25x 4 mm thick or 50x25x4 mm or as may be required at respective locations) at every 600 mm interval on both side of the tube fixed with 2 Nos. of Aluminium rivets on each angle. The Periphery of the geometrical pattern of the structure shall also be done in the same tube. (ii) The grooves between the Aluminium Composite Panel shall be aligned vertically and horizontally for a width of 12 mm and provided with the backer rod and sealed with non-staining silicone weather sealant of Dow Coming / GE Silicon. The Contractor shall make necessary scaffolding arrangement for carrying out the work in such a way the same shall not in any way damage the existing space. Also the Contractor shall prepare shop drawing & submit the same to Engg in Charge for approval prior to start of the work, etc all complete as directed by the Engg in Charge | 483.00 | Sq.m | 4124.25 | 4100.00 | 1980300.00 | 3400.00 | 1642200.00 | 490.00 | 236670.00 | 236670.00 | M P TOTARE
62.10 | Supply Installation, Testing & Commissioning of modular type Variable Refrigerant Flow/Variable Refrigerant Volume air cooled Outdoor units suitable for cooling and heating, having all hermetically sealed inverter type Scroll Compressor(s), minimum two compressors for above 14 HP modules, microprocessor based Controller, top discharge type condensing unit(s), with R 410 A Refrigerant, vibration isolators, with suitable foundation etc. complete as required. The unit shall deliver the rated capacity at AHRI Conditions and work even at 50°C ambient temperature without tripping. The unit shall be suitable to work on 400V +/- 10%, 3 Phase, 50Hz AC power supply. The unit shall be filled with first charge of the refrigerant and ready for use as required. The COP at AHRI conditions shall not be less than 3.1 and IEER not less than 6.5, etc all complete as directed by the EIC. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of HVAC works prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the HVAC System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire HVAC System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the HVAC system including all shop drawings, working drawings at his own risk & cost from the established HVAC Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 214.00 | Per Hp | 19041.40 | 6000.00 | 1284000.00 | 16300.00 | 3488200.00 | 29758.00 | 6368212.00 | 1284000.00 | Vikash Enterprises
63.10 | Supply, installation, testing and commissioning of following minimum capacity 4-way flow VRV/VRF Cassette Type Indoor ceiling mounted unit equipped with synthetic washable media pre-filter, fan section with low noise fan/dynamically balanced blower, multispeed motor, coil section with DX Copper coil, electronic expansion valve, outer cabinet, drain pump, grill, necessary supports, vibration isolation, cord less remote control etc., suitable for operation on single phase 230 V ± 10%, 50Hz AC supply, complete, as required. The unit shall have automatic force shut down provision in case of fire on receiving signal from BMS System. The cooling capacity of indoor unit will be at air inlet conditions of 27 Degree C DB and 19 Degree C WB temperature, etc all complete as directed by the EIC. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of HVAC works prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the HVAC System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire HVAC System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the HVAC system including all shop drawings, working drawings at his own risk & cost from the established HVAC Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 23.00 | Each | 38032.92 | 107500.00 | 2472500.00 | 32650.00 | 750950.00 | 30324.00 | 697452.00 | 697452.00 | M P TOTARE
64.10 | Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of following nominal sizes of soft/hard drawn copper refrigerant piping for VRV/VRF system, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastomeric nitrile rubber tubular sleeves sections of specified thickness as given below for Suction and Liquid lines, all accessories as per specifications etc. as required :12.7 mm dia (OD) (Soft drawn) with tube thickness 1.2 mm with 19 mm thick insulation, etc all complete as directed by the EIC. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of HVAC works prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the HVAC System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire HVAC System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the HVAC system including all shop drawings, working drawings at his own risk & cost from the established HVAC Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 234.00 | RM | 540.56 | 500.00 | 117000.00 | 450.00 | 105300.00 | 820.00 | 191880.00 | 105300.00 | MDAC Engineers
65.10 | Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of following nominal sizes of soft/hard drawn copper refrigerant piping for VRV/VRF system, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of specified thickness as given below for Suction and Liquid lines, all accessories as per specifications etc. as required :15.86 mm dia (OD) (Soft drawn) with tube thickness 1.2 mm with 19 mm thick insulation, etc all complete as directed by the EIC. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of HVAC works prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the HVAC System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire HVAC System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the HVAC system including all shop drawings, working drawings at his own risk & cost from the established HVAC Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 30.00 | RM | 682.08 | 500.00 | 15000.00 | 550.00 | 16500.00 | 230.50 | 6915.00 | 6915.00 | M P TOTARE
66.10 | Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of following nominal sizes of soft/hard drawn copper refrigerant piping for VRV/VRF system, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of specified thickness as given below for Suction and Liquid lines, all accessories as per specifications etc. as required :19 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation, etc all complete as directed by the EIC. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of HVAC works prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the HVAC System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire HVAC System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the HVAC system including all shop drawings, working drawings at his own risk & cost from the established HVAC Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 30.00 | RM | 820.12 | 500.00 | 15000.00 | 690.00 | 20700.00 | 282.40 | 8472.00 | 8472.00 | M P TOTARE
67.10 | Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of following nominal sizes of soft/hard drawn copper refrigerant piping for VRV/VRF system, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of specified thickness as given below for Suction and Liquid lines, all accessories as per specifications etc. as required :22.2 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation, etc all complete as directed by the EIC. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of HVAC works prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the HVAC System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire HVAC System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the HVAC system including all shop drawings, working drawings at his own risk & cost from the established HVAC Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 30.00 | RM | 1003.40 | 500.00 | 15000.00 | 840.00 | 25200.00 | 249.90 | 7497.00 | 7497.00 | M P TOTARE
68.10 | Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of following nominal sizes of soft/hard drawn copper refrigerant piping for VRV/VRF system, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of specified thickness as given below for Suction and Liquid lines, all accessories as per specifications etc. as required : 25.4 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation, etc all complete as directed by the EIC. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of HVAC works prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the HVAC System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire HVAC System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the HVAC system including all shop drawings, working drawings at his own risk & cost from the established HVAC Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 30.00 | RM | 1185.52 | 500.00 | 15000.00 | 990.00 | 29700.00 | 275.90 | 8277.00 | 8277.00 | M P TOTARE
69.10 | Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of following nominal sizes of soft/hard drawn copper refrigerant piping for VRV/VRF system, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of specified thickness as given below for Suction and Liquid lines, all accessories as per specifications etc. as required :28.58 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation, etc all complete as directed by the EIC. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of HVAC works prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the HVAC System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire HVAC System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the HVAC system including all shop drawings, working drawings at his own risk & cost from the established HVAC Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 30.00 | RM | 1285.28 | 500.00 | 15000.00 | 1015.00 | 30450.00 | 330.00 | 9900.00 | 9900.00 | M P TOTARE
70.10 | Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of following nominal sizes of soft/hard drawn copper refrigerant piping for VRV/VRF system, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastomeric nitrile rubber tubular sleeves sections of specified thickness as given below for Suction and Liquid lines, all accessories as per specifications etc. as required 31.80 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation, etc all complete as directed by the EIC. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessement of the quantum of HVAC works prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the HVAC System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire HVAC System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the HVAC system including all shop drawings, working drawings at his own risk & cost from the etablished HVAC Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 40.00 | RM | 1357.20 | 500.00 | 20000.00 | 1100.00 | 44000.00 | 410.90 | 16436.00 | 16436.00 | M P TOTARE
71.10 | Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of following nominal sizes of soft/hard drawn copper refrigerant piping for VRV/VRF system, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of specified thickness as given below for Suction and Liquid lines, all accessories as per specifications etc. as required : 34.90 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation, etc all complete as directed by the EIC. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of HVAC works prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the HVAC System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire HVAC System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the HVAC system including all shop drawings, working drawings at his own risk & cost from the established HVAC Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 80.00 | RM | 1426.80 | 500.00 | 40000.00 | 1200.00 | 96000.00 | 481.00 | 38480.00 | 38480.00 | M P TOTARE
72.10 | Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of following nominal sizes of soft/hard drawn copper refrigerant piping for VRV/VRF system, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of specified thickness as given below for Suction and Liquid lines, all accessories as per specifications etc. as required : 38.10 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation, etc all complete as directed by the EIC. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of HVAC works prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the HVAC System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire HVAC System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the HVAC system including all shop drawings, working drawings at his own risk & cost from the established HVAC Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 80.00 | RM | 1467.40 | 500.00 | 40000.00 | 1230.00 | 98400.00 | 590.00 | 47200.00 | 40000.00 | Vikash Enterprises
73.10 | Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of following nominal sizes of soft/hard drawn copper refrigerant piping for VRV/VRF system, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of specified thickness as given below for Suction and Liquid lines, all accessories as per specifications etc. as required : 41.27 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation, etc all complete as directed by the EIC. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of HVAC works prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the HVAC System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire HVAC System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the HVAC system including all shop drawings, working drawings at his own risk & cost from the established HVAC Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 80.00 | RM | 1518.44 | 450.00 | 36000.00 | 1290.00 | 103200.00 | 690.20 | 55216.00 | 36000.00 | Vikash Enterprises
74.10 | Supplying and installing following size of perforated painted with powder coating M.S. cable trays with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders, etc as required 600 mm width X 50 mm depth X 2.0 mm thickness, etc all complete as directed by the EIC. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of HVAC works prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the HVAC System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire HVAC System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the HVAC system including all shop drawings, working drawings at his own risk & cost from the established HVAC Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 192.00 | RM | 1584.56 | 864.00 | 165888.00 | 220.00 | 42240.00 | 1120.00 | 215040.00 | 42240.00 | MDAC Engineers
75.10 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 25 mm nominal outer dia .Pipes, etc all complete as directed by the EIC. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessement of the quantum of HVAC works prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the HVAC System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire HVAC System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the HVAC system including all shop drawings, working drawings at his own risk & cost from the established HVAC Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work. | 234.00 | RM | 465.80 | 271.00 | 63414.00 | 390.00 | 91260.00 | 130.00 | 30420.00 | 30420.00 | M P TOTARE
76.10 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 32 mm nominal outer dia .Pipes, etc all complete as directed by the EIC Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of HVAC works prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the HVAC System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire HVAC System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the HVAC system including all shop drawings, working drawings at his own risk & cost from the established HVAC Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 90.00 | RM | 601.75 | 292.00 | 26280.00 | 490.00 | 44100.00 | 190.00 | 17100.00 | 17100.00 | M P TOTARE
77.10 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 40 mm nominal outer dia .Pipes, etc all complete as directed by the EIC Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of HVAC works prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the HVAC System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire HVAC System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the HVAC system including all shop drawings, working drawings at his own risk & cost from the etablished HVAC Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 80.00 | RM | 815.42 | 310.00 | 24800.00 | 690.00 | 55200.00 | 220.90 | 17672.00 | 17672.00 | M P TOTARE
78.10 | Supply & Fixing of Piano (Modular) Type switches 1 way, 5A (Make:Anchor/ Roma/GM/Cona/Legrand), etc all complete as directed by the EIC. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 150.00 | Each | 120.80 | 70.00 | 10500.00 | 200.00 | 30000.00 | 75.00 | 11250.00 | 10500.00 | Vikash Enterprises
79.10 | Supply & Fixing of moduler Socket 6A, 2/3 Pin (Make:Anchor/Roma/GM/Cona/Legrand), etc all complete as directed by the EIC. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 114.00 | Each | 130.10 | 176.00 | 20064.00 | 300.00 | 34200.00 | 190.00 | 21660.00 | 20064.00 | Vikash Enterprises
80.10 | Wiring for Circuit / Submain wiring along with earth wire with 2x6 sq. mm + 1x6 sq. mm earth wire of FR PVC insulated copper conductor (Make:Finolex / Polycab / Havells ) in PVC Casing & Caping (Make: Precision / Pressfit), etc all complete as directed by the EIC. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 600.00 | RM | 255.78 | 146.00 | 87600.00 | 200.00 | 120000.00 | 94.00 | 56400.00 | 56400.00 | M P TOTARE
81.10 | Wiring for Circuit / Submain wiring along with earth wire with 2 x 2.5 sq.mm + 1 x 2.5 Sq.mm earth wire of FR PVC insulated copper conductor (Make:Finolex / Polycab / Havells ) in PVC Casing N Caping Make: Precision / Pressfit.), etc all complete as directed by the EIC. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 1500.00 | RM | 181.78 | 134.00 | 201000.00 | 75.00 | 112500.00 | 93.00 | 139500.00 | 112500.00 | MDAC Engineers
82.10 | One Light Point or one Fan point controlled by one switch with cables 1.5 Sq.mm size copper multistrand wire, (Make: Polycab/ Finnolex/KEI/RR Kabel) in PVC Casing n Caping of thickness 2 mm, (Make:Pressfit/Prestige), etc all complete as directed by the EIC. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 210.00 | Each | 721.31 | 840.00 | 176400.00 | 800.00 | 168000.00 | 220.00 | 46200.00 | 46200.00 | M P TOTARE
83.10 | Supply and Fixing of MODULAR METAL/PVC FLUSH BOX 6 Module, (Make: Havells/ Pressfit/ Legrand/GM), etc all complete as directed by the EIC. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 70.00 | Each | 284.10 | 220.00 | 15400.00 | 500.00 | 35000.00 | 120.00 | 8400.00 | 8400.00 | M P TOTARE
84.10 | Supply and Fixing of MODULAR WHITE COVER PLATE WITH FRAME 6 Module(Make: Havells/ Pressfit/ Legrand/GM) etc all complete as directed by the EIC. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 70.00 | Each | 309.60 | 165.00 | 11550.00 | 500.00 | 35000.00 | 94.00 | 6580.00 | 6580.00 | M P TOTARE
85.10 | Fixing only 20 Watts LED Tubelight fixtures (M.D supply), etc all complete as directed by the EIC. | 20.00 | Each | 75.25 | 790.00 | 15800.00 | 150.00 | 3000.00 | 393.00 | 7860.00 | 3000.00 | MDAC Engineers
86.10 | S & F of Switch socket Combination 16A, 6 pin, 3 module (Make: Anchor/Roma/GM/ Legrand), etc all complete as directed by the EIC. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 112.00 | Each | 392.20 | 174.00 | 19488.00 | 500.00 | 56000.00 | 180.40 | 20204.80 | 19488.00 | Vikash Enterprises
87.10 | Supply and Fixing only LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable or roof ceiling including connecting up with driver three core flexible copper Conductor cases of suitable size complete. (Make: Philips / Havells / Surya / GM / Legrand / Other reputed make as apporved by EIC based on availability), etc all complete as directed by the EIC.) Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 170.00 | Each | 4269.19 | 2100.00 | 357000.00 | 4000.00 | 680000.00 | 890.00 | 151300.00 | 151300.00 | M P TOTARE
88.10 | S & F of Ceiling Rose 6A, 3 Point (Make:Anchor/Roma/GM/Legrand), etc all complete as directed by the EIC. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 200.00 | Each | 65.70 | 84.00 | 16800.00 | 100.00 | 20000.00 | 66.00 | 13200.00 | 13200.00 | M P TOTARE
89.10 | Supply and fixing ceiling fans complete with blades, down rods, electronic regulator remote and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC) (Make:Crompton/Bajaj/Automberg), etc all complete as directed by the EIC. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 10.00 | Each | 2649.47 | 2800.00 | 28000.00 | 4000.00 | 40000.00 | 1890.00 | 18900.00 | 18900.00 | M P TOTARE
90.10 | Material & Labour with both end termination, laying 3&1/2 Core XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 240 sq. mm (Make: Polycab/ Finnolex/KEI/RR Kabel), etc all complete as directed by the EIC. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 90.00 | RM | 1168.69 | 465.00 | 41850.00 | 150.00 | 13500.00 | 120.00 | 10800.00 | 10800.00 | M P TOTARE
91.10 | Material & Labour with both end termination, laying 3&1/2 Core XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 185 sq. mm (Make: Polycab/ Finnolex/KEI/RR Kabel), etc all complete as directed by the EIC. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 40.00 | RM | 937.13 | 462.00 | 18480.00 | 150.00 | 6000.00 | 110.00 | 4400.00 | 4400.00 | M P TOTARE
92.10 | Supply & Fixing Sheet Metal Enclosure Single Pole & Neutral 8 way for 230 VAC Supply, (Make:Siemens/L&T/Standard), etc all complete as directed by the EIC. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 10.00 | Each | 1578.70 | 3500.00 | 35000.00 | 1500.00 | 15000.00 | 320.00 | 3200.00 | 3200.00 | M P TOTARE
93.10 | Supply & Fixing of Isolator DP MCB 40 Amps (Make: Siemens/L&T/Standard/Legrand), etc all complete as directed by the EIC. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 10.00 | Each | 512.40 | 400.00 | 4000.00 | 600.00 | 6000.00 | 91.00 | 910.00 | 910.00 | M P TOTARE
94.10 | Supply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 5 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. (Make: Siemens/L&T/Standard/Legrand), etc all complete as directed by the EIC. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 60.00 | Each | 284.20 | 1500.00 | 90000.00 | 300.00 | 18000.00 | 690.00 | 41400.00 | 18000.00 | MDAC Engineers
95.10 | Excavating in trenches, n exc 1.5 m wide and n exc 1.5 m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc. n exc 10 sq m on plan and n exc1.5 m in depth and getting out soft/disintegrated rock, etc all complete as directed by the Engg in Charge | 25.00 | Cu.m | 1542.20 | 600.00 | 15000.00 | 1200.00 | 30000.00 | 275.00 | 6875.00 | 6875.00 | M P TOTARE
96.10 | Return filing in soft disintegrated rocks/cement concrete, including spreading, leveling, watering and well raming in layers not exc 25 CM, etc all complete as directed by the Engg in Charge | 25.00 | Cu.m | 185.00 | 800.00 | 20000.00 | 200.00 | 5000.00 | 85.00 | 2125.00 | 2125.00 | M P TOTARE
97.10 | Demolition and Dismantling of cement Concrete of any description and in any position with cutting reinforced bars as required to facilitate demolition, etc all complete as directed by the Engg in Charge | 25.00 | Cu.m | 1883.70 | 2000.00 | 50000.00 | 1200.00 | 30000.00 | 895.00 | 22375.00 | 22375.00 | M P TOTARE
98.10 | M & L for Cement concrete in foundation, surface drain, walls, mass concrete, retaining walls Cement concrete in foundations, filling and mass concrete, etc all complete as directed by the Engg in Charge (Type B2, 1:2:4, with 40 mm graded aggregate) | 25.00 | Cu.m | 6477.80 | 8640.00 | 216000.00 | 7500.00 | 187500.00 | 6700.00 | 167500.00 | 167500.00 | M P TOTARE
99.10 | S & F Main Distribution Panel (1300mm H, 800mm W, 400mm D) powder coated, 14/16 SWG with MCCB 400 Amp-1 Nos, MCCB 300 1-Nos,MCB 63 Amp 4 pole 5 Nos (Make: Siemens/Schindler/L&T), etc all complete as directed by the EIC. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 1.00 | Each | 207397.00 | 60000.00 | 60000.00 | 195000.00 | 195000.00 | 9800.00 | 9800.00 | 9800.00 | M P TOTARE
100.10 | Supply and Fixing of Recessed Mount False Ceiling Air circulator Fan, Size: 24 Inch x 24 Inch, for proper circulation of Air conditioner cooling in conference room, etc all complete as directed by the Engg in Charge. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 25.00 | Each | 5000.00 | 2300.00 | 57500.00 | 4300.00 | 107500.00 | 2200.00 | 55000.00 | 55000.00 | M P TOTARE
101.10 | Supply and fixing/laying ,termination of CAT-5 cable for data/voice communication as per standard networking practice, four tested pairs, etc all complete as directed by the Engg in Charge. Imp Note: The Sample of subject material & related accessories shall be got approved from Competent Factory Authority before use in work. | 1500.00 | RM | 31.15 | 57.00 | 85500.00 | 50.00 | 75000.00 | 220.00 | 330000.00 | 75000.00 | MDAC Engineers
102.10 | S & F Fire alarm control panel complying with BS EN 54 Single loop panel of capacity from 99 detectors & 99 modules up to 200 detector and modules, etc all complete as directed by the Engg in Charge. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of Fire Alarm System work prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the Fire Alarm System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire Fire Alarm System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the Fire Alram system including all shop drawings, working drawings at his own risk & cost from the established Fire Safety Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 2.00 | Each | 64641.00 | 50000.00 | 100000.00 | 51000.00 | 102000.00 | 4200.00 | 8400.00 | 8400.00 | M P TOTARE
103.10 | S & F Detectors Complying with and type certified to EN - 45 Addressable type multisensor detector with heat and smoke combination Including required connection wires, etc all complete as directed by the Engg in Charge. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of Fire Alarm System work prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the Fire Alarm System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire Fire Alarm System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the Fire Alram system including all shop drawings, working drawings at his own risk & cost from the established Fire Safety Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 90.00 | Each | 2498.00 | 1800.00 | 162000.00 | 2300.00 | 207000.00 | 820.00 | 73800.00 | 73800.00 | M P TOTARE
104.10 | S & F Beam Master detector with Transmitter and receiver (Add power supply units & Module), etc all complete as directed by the Engg in Charge. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of Fire Alarm System work prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the Fire Alarm System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire Fire Alarm System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the Fire Alram system including all shop drawings, working drawings at his own risk & cost from the established Fire Safety Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 2.00 | Each | 43525.00 | 32000.00 | 64000.00 | 40000.00 | 80000.00 | 15200.00 | 30400.00 | 30400.00 | M P TOTARE
105.10 | S & F ANNUNCIATING DEVICES Addressable electronic sounder cum strobe, etc all complete as directed by the Engg in Charge. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessement of the quantum of Fire Alarm System work prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the Fire Alarm System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire Fire Alarm System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the Fire Alram system including all shop drawings, working drawings at his own risk & cost from the established Fire Safety Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 4.00 | Each | 7094.00 | 6000.00 | 24000.00 | 6900.00 | 27600.00 | 16300.00 | 65200.00 | 24000.00 | Vikash Enterprises
106.10 | Supply and laying or fixing or passing through pipe, 1100 volts grade heavy duty cable with PVC insulated aluminium conductor served with an inner sheathing of PVC tape armoured with galvanised steel wire or tape and overall PVC sheathed 4 sq. mm nominal cross section in service connections (Make: Reputed Make as approved by the EIC), etc all complete as directed by the Engg in Charge. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of Fire Alarm System work prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the Fire Alarm System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire Fire Alarm System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the Fire Alram system including all shop drawings, working drawings at his own risk & cost from the established Fire Safety Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 400.00 | RM | 125.00 | 475.00 | 190000.00 | 120.00 | 48000.00 | 520.00 | 208000.00 | 48000.00 | MDAC Engineers
107.10 | S & F of 6 Watt ceiling Speaker for fire alarm (Make: Reputed Make as approved by the EIC), etc all complete as directed by the Engg in Charge. Imp Notes: (i) The Bidder may at his discretion, visit the site for assessment of the quantum of Fire Alarm System work prior to quoting the rates. Any other essential materials & their fixing required for proper installation and functioning of the Fire Alarm System to the entire satisfaction of Factory Authorities must be included in the quoted rates for entire Fire Alarm System. Any claim, whatsoever, regarding additional Items of works & their corresponding costs etc shall not be entertained at any stage of works. (ii) The Contractor shall carry out the detailed design for the Fire Alram system including all shop drawings, working drawings at his own risk & cost from the established Fire Safety Consultant having work experience of at least 7 years for Govt. / Public limited companies. (iii) The Sample of all materials, accessories etc shall be got approved from the Competent Factory Authority before commencement of work | 10.00 | Each | 719.00 | 780.00 | 7800.00 | 500.00 | 5000.00 | 600.00 | 6000.00 | 5000.00 | MDAC Engineers
| Total in Figures |  |  |  |  | 30991696.35 |  | 26436932.00 |  | 26847500.63
Lowest Amount Quoted BY: MDAC Engineers(26436932.00)

## BOQ Summary
BOQ Summary Details Tender Title: REPAIR AND RENOVATION OF BUILDING No.2 FOR ACCOMODATING ITC,CAD,CENTER,TELEPHONE EXCHANGE AND SECURITY OFFICE AT MPF AMBERNATH Tender ID: 2025_AVNL_257694_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MDAC Engineers (BID ID -949882) | 26436932.00 | L1
| 2 | M P TOTARE (BID ID -941450) | 26847500.63 | L2
| 3 | Vikash Enterprises (BID ID -942533) | 30991696.35 | L3