## BoQ1
Government eProcurement System Created By: V. UKESH BABU Created Date/Time: 31-Jan-2026 11:56 AM Tender Title: SPECIAL REPAIRS TO THE PROPOSED FSC IN 601 EME BATTALION PATIALA Tender ID: 2025_AVNL_257851_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work : SPECIAL REPAIRS TO THE PROPOSED FSC IN 601 EME BATTALION PATIALA
Tender No: HVF/TE/13025/CEO/2025-26/55
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MAHALAXMI CONSTRUCTION COMPANY (GSTN-NA) BID ID -945132 |  | NARENDER KUMAR CONTRACTOR (GSTN-NA) BID ID -944938
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling of Plain or corrugated steel sheeting, any gauge, thickness, including Nainital or similar pattern roof coverings. | 730.00 | SQM | 25.38 | 40.00 | 29200.00 | 36.80 | 26864.00 | 26864.00 | NARENDER KUMAR CONTRACTOR
2.00 | Dismantling Structural steel work including doors, gates but excluding framed structure | 7.50 | Quintal | 561.24 | 820.00 | 6150.00 | 813.80 | 6103.50 | 6103.50 | NARENDER KUMAR CONTRACTOR
3.00 | Supply and fixing of Pre-painted galvalume aluminium zinc coating GI based corrugated steel sheet 0.50mm (TCT) thick of any colour having tensile strength of 550Mpa as in roof covering/cladding to wall fixed with self-drilling / self-tapping anti-corrosive screws with EPDM seal complete all as per manufacturers specifications and instructions and as approved and as directed by EIC | 740.00 | SQM | 690.31 | 770.00 | 569800.00 | 750.00 | 555000.00 | 555000.00 | NARENDER KUMAR CONTRACTOR
4.00 | Supply and fixing of Pre-painted galvalume aluminium zinc coating GI based Plain steel sheet 0.50mm thick of any colour having tensile strength of 550 Mpa as in roof covering/cladding to wall fixed with self-drilling / self-tapping anti-corrosive screws with EPDM seal complete all as per manufacturers specifications and instructions and as approved and as directed by EIC | 100.00 | SQM | 645.31 | 770.00 | 77000.00 | 750.00 | 75000.00 | 75000.00 | NARENDER KUMAR CONTRACTOR
5.00 | Applying evenly a tack coat of industrial bitumen 85/25 at the rate of 1.2 kg per sq.m including cleaning surfaces and applying of APP based polymeric membrane minimum weighing 3kg/sqm and minimum 3mm thick reinforced with polyester non wove fabric (wt. not less than 150 gms/sqm) land on primed surface by forced application. Complete all as specified. | 15.00 | SQM | 453.38 | 540.00 | 8100.00 | 500.00 | 7500.00 | 7500.00 | NARENDER KUMAR CONTRACTOR
6.00 | Providing & fixing false ceiling at heights with GRG (Glass Fibre Reinforced Gyspum) false ceiling tiles of size 595 x 595 mm of approved texture, design and patterns having moisture content less than 2%, humidity resistance of 99%, NRC 0.50 to 0.75 as per IS 8225:1987, Non-Combustible as per BS 476 (part 4)-1970 and light reflectance of 85% minimum to be laid in true horizontal level suspended on interlocking metal T-Grid of hot dipped (galvanized iron section of 0.33mm thick @ 120 grams per sqm including both sides) comprising of main T runners of size 15 x 32 mm of length 3000mm, cross-T of size 15x32mm of length 1200mm and secondary intermediate cross-T of size 15 x 32mm of length 600mm to form grid module of size 600x600mm, suspended from ceiling using galvanized mild steel items (galvanizing @ 80 grams per sqm) i.e. 50mm long, 8mm outer diameter M-6 dash fasteners, 6mm dia fully threaded hanger rod upto 1000mm length and L-shape level adjuster of size 85x25x2mm. Galvanised iron perimeter wall angle of size 24x24x0.40mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450mm centre to centre and 40mm long dry wall wood screws. The work shall be carried out as per specification, drawing and as per directions of the engineer-in-Charge. (A) With Semi perforated 12mm thick micro tegular edged GRG false ceiling tiles | 145.00 | SQM | 1322.42 | 1450.00 | 210250.00 | 1500.00 | 217500.00 | 210250.00 | MAHALAXMI CONSTRUCTION COMPANY
7.00 | Material and Labour for providing Vacuum De-watering method to remove excess water from the laid concrete and filler pad and suction mat shall be laid on the freshly laid concrete which will not allow cement plaster to flow out, and the suction pump are then started immediately to remove the excess water. The suction time normally is 20 to 30 minutes or as specified and as required and making the surface hard enough to enable to carry the floating operations for 200 mm thick slab including finishing the top surface with mechanical trowel). The finished surface should be smooth & even. | 350.00 | SQM | 150.00 | 151.00 | 52850.00 | 150.00 | 52500.00 | 52500.00 | NARENDER KUMAR CONTRACTOR
8.00 | Demolition of Cement Concrete of any description and in any position not otherwise specifically provided for (unreinforced) of any thickness | 2.00 | Cum | 1468.17 | 1490.00 | 2980.00 | 1500.00 | 3000.00 | 2980.00 | MAHALAXMI CONSTRUCTION COMPANY
9.00 | Excavating in hard/dense soil in post holes (or similar holes) each n exc 0.5 cu. m, getting out, returning, filling in and ramming earth or broken rubble mixed with earth around, in layers not exceeding 25 cm. | 16.00 | EACH | 343.26 | 400.00 | 6400.00 | 400.00 | 6400.00 | 6400.00 | NARENDER KUMAR CONTRACTOR, MAHALAXMI CONSTRUCTION COMPANY
10.00 | Material and labour for sand filling in foundation including watering and consolidation. | 10.00 | Cum | 1776.87 | 1830.00 | 18300.00 | 1800.00 | 18000.00 | 18000.00 | NARENDER KUMAR CONTRACTOR
11.00 | Material and labour for P.C.C 1:4:8, D-2 type using 40mm graded aggregated in foundation, grouting of steel structures. | 1.00 | Cum | 4934.79 | 6000.00 | 6000.00 | 5500.00 | 5500.00 | 5500.00 | NARENDER KUMAR CONTRACTOR
12.00 | Material and labour Cement concrete in foundations, filling and mass concrete type B2 1:2:4 using 20mm grade aggregate. | 16.00 | Cum | 5880.00 | 6600.00 | 105600.00 | 7000.00 | 112000.00 | 105600.00 | MAHALAXMI CONSTRUCTION COMPANY
13.00 | Material and labour for Hardcore of gauge n exc. 63mm, using broken stone or boulder deposited, spread and levelled in layers not exc. 15cm thick, watered and rammed to a true surface. | 8.00 | Cum | 1863.72 | 2500.00 | 20000.00 | 2500.00 | 20000.00 | 20000.00 | NARENDER KUMAR CONTRACTOR, MAHALAXMI CONSTRUCTION COMPANY
14.00 | Material and labour for applying Epoxy bonding coat over the existing flooring including cleaning and preparation of existing flooring. | 350.00 | SQM | 250.00 | 240.00 | 84000.00 | 250.00 | 87500.00 | 84000.00 | MAHALAXMI CONSTRUCTION COMPANY
15.00 | Material and labour for precast cement concrete set in cement mortor 1:6 type B1 (1:2:4) 20mm graded aggregate in landings, cover slabs (for man holes etc.) chullah hoods, chajjas, water troughs, mangers, shelves and similar articles with plain faces. | 1.00 | CUM | 9933.12 | 9000.00 | 9000.00 | 10000.00 | 10000.00 | 9000.00 | MAHALAXMI CONSTRUCTION COMPANY
16.00 | Material and labour for providing RCC M20 Concrete (1:1.5:3) in Foundations, including rafts, footings, foundation beams; plinth beams; bases for columns, etc.; basement slabs, under-reamed piles and mass concrete. | 21.00 | Cum | 6650.93 | 7000.00 | 147000.00 | 6700.00 | 140700.00 | 140700.00 | NARENDER KUMAR CONTRACTOR
17.00 | Material and labour for providing and laying RMC of design mix cement concrete of M_40 Grade (with steel fibres)with vacuum De-watering system (measured separately in sqm) in road/pavement/carriageways, using cement content as per design mix with min 450kg/cum using coarse sand and graded stone aggregate of 25mm nominal size and other admixtures, plasticizers and fly ash/GGBS in appropriate proportions as per approved and specified design mix criteria, providing dowel bars with sleeve/tie bars wherever required, laying at sides spreading under compacting mechanically by using needle and surface vibrators, levelling to required slope/camber finishing with required texture and floating operations including high tensile steel wire fibres of dia not exc. 0.456mm and length exc. 50mm blended with ready mix concrete at plant at the rate of 7kg/cum and metallic hardener at the rate of 1kg per 50kg of cement and making provision for contraction/expansion, construction and longitudinal joints(10mm wide x 50mm deep) by groove cutting machine. Providing and filling joints with approved joint filler and sealants. Complete all as per direction of EIC (item of joint fillers, sealant, dowel bars with sleeve/tie bars to be paid separately) Ready mix concrete of M/s. Ultra tech, M/s. ACC, M/s. Ramco, M/s. Birla, M/s. RMC India limited or suitably equivalent make shall be used. | 83.00 | CUM | 12000.00 | 11550.00 | 958650.00 | 12500.00 | 1037500.00 | 958650.00 | MAHALAXMI CONSTRUCTION COMPANY
18.00 | Supply and fixing of mild steel reinforcement TMT bars 10mm dia and over including bending, cranking, hooking and tieing with mild steel wire not less than 0.90mm dia. | 100.00 | KG | 74.34 | 100.00 | 10000.00 | 100.00 | 10000.00 | 10000.00 | NARENDER KUMAR CONTRACTOR, MAHALAXMI CONSTRUCTION COMPANY
19.00 | Supply and fixing of Vitrified Ceramic tiles light shade 10 mm thick (square/ rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors etc., set and jointed in neat cement slurry and pointed in white or coloured cement to match, Screed bed or bedding layer of mortar 15 mm thick for laying floor finishes in CM 1:4. | 68.00 | SQM | 1523.85 | 1600.00 | 108800.00 | 1550.00 | 105400.00 | 105400.00 | NARENDER KUMAR CONTRACTOR
20.00 | Anodised aluminium frame for doors, windows, ventilators with one or more rebates including joining cleat for fixing etc., and with powder coating, complete all as specified. | 140.00 | SQM | 4000.00 | 5000.00 | 700000.00 | 4000.00 | 560000.00 | 560000.00 | NARENDER KUMAR CONTRACTOR
21.00 | Anodised aluminium door shutters, aluminium section weighing 0.55 kg/ m including necessary joining cleats, glazing clips, rubber neoprene packing, handles 2 Nos in each door, hinges, anodised aluminium snap beading screws etc., and with powder coating. complete all as specified. | 32.00 | SQM | 5000.00 | 5000.00 | 160000.00 | 5000.00 | 160000.00 | 160000.00 | NARENDER KUMAR CONTRACTOR, MAHALAXMI CONSTRUCTION COMPANY
22.00 | Material and labour of 12mm thick Pre-laminated particle board, interior grade, pre-laminated on both sides with decorative choice lamination, fixed with screws to timber frame work or Aluminium frame work. | 95.00 | sqm | 766.80 | 700.00 | 66500.00 | 800.00 | 76000.00 | 66500.00 | MAHALAXMI CONSTRUCTION COMPANY
23.00 | Taking down Chowkhats or frames exceeding 1.5 sq.m but not exceeding 4 sq.m with shutters (without taking off shutters from the frames) and Removing to or from store. | 7.00 | EACH | 410.04 | 420.00 | 2940.00 | 400.00 | 2800.00 | 2800.00 | NARENDER KUMAR CONTRACTOR
24.00 | Supply and fixing factory made uPVC white colour Casement window single panel with S.S. friction hinges (300 x 19 x 1.9 mm), made of (small series) frame 47 x 50 mm & sash 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glass pane glazing bead of appropriate dimension (Area of window upto 0.75 sqm.) comprising of uPVC multi-chambered frame, sash and mullion (whereever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, EPDM gasket, stainless steel (SS 304 grade) friction hinges, zinc alloy (white powder coated) casement handles, G.I. fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, complete all as specified and directed by Engineer-in-Charge. (Glass shall be paid separately). Note: For uPVC frame, sash and mullion extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable. Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. | 5.00 | SQM | 8575.61 | 8500.00 | 42500.00 | 9000.00 | 45000.00 | 42500.00 | MAHALAXMI CONSTRUCTION COMPANY
25.00 | Supply and fixing of 5.5mm Sheet glass, ordinary quality and glazing rubber beading with oil putty in square exceeding 0.5 sq. m in each pane as required and Extra over sheet glass, ordinary quality | 45.00 | SQM | 1084.47 | 1000.00 | 45000.00 | 1100.00 | 49500.00 | 45000.00 | MAHALAXMI CONSTRUCTION COMPANY
26.00 | Supply and fixing of 5.5mm Sheet glass, ordinary quality and glazing with oil putty in square n exc 0.5 sq. m in each pane | 35.00 | SQM | 834.21 | 900.00 | 31500.00 | 850.00 | 29750.00 | 29750.00 | NARENDER KUMAR CONTRACTOR
27.00 | Supply and fixing of Glazed coloured ceramic tiles in vertical surface 350x 250x 7 mm/ 450X 350X 7mm thick set and jointed in neat cement slurry and pointed in colour cement to match, screed bed or bedding layer of mortar 15mm thick for laying floor finishes in cement plaster 1:4. | 30.00 | SQM | 1405.59 | 1500.00 | 45000.00 | 1400.00 | 42000.00 | 42000.00 | NARENDER KUMAR CONTRACTOR
28.00 | Supply and fixing of white or coloured EWC complete high or low level flushing cistern and connections to pipes and fixing of chain and pull, or lever, if PVC valveless syphonic action type, flushing cistern 10 litres capacity, low level with inlet ball valves, flat and handle including bracket. Make: Cera/Jaquar/Parryware/Toto/Hindware/Kohler or suitably equivalent make. | 1.00 | EACH | 15000.00 | 17000.00 | 17000.00 | 15000.00 | 15000.00 | 15000.00 | NARENDER KUMAR CONTRACTOR
29.00 | Supply and fixing of Health faucet (ABS Body) mild steel chromium plated suitable for 15 mm dia pipe with 1.25 meter long flexible tube and ABS wall hook including making connections and fixed in position complete in all respect as specified & Health faucet fixing in pipe etc., complete. | 1.00 | EACH | 397.04 | 500.00 | 500.00 | 436.00 | 436.00 | 436.00 | NARENDER KUMAR CONTRACTOR
30.00 | Supply and fixing of 15mm cast copper alloy, screwed down, high pressure stop cock/Angle cock fancy type chromium plated with long shank and cup (concealed type) | 2.00 | EACH | 648.13 | 700.00 | 1400.00 | 712.29 | 1424.58 | 1400.00 | MAHALAXMI CONSTRUCTION COMPANY
31.00 | Supply and fixing 600mm wide wash basin of polished 18mm thick granite slab top, providing 200mm high front facia & band above the counter top of same shade granite. All exposed surfaces of platform to be finished in same granite slab and cut-out, exposed edges to be bull nosed with mirror polished. Also include making necessary cut-outs thru counter top. Cost to also include drainage (32mm waste fittings) pipes and raised platform, 15mm pillar taps, cast copper alloy, and 15mm connection pipe all completed and finished to satisfactory conditions etc. | 1.00 | EACH | 6100.00 | 7000.00 | 7000.00 | 6703.90 | 6703.90 | 6703.90 | NARENDER KUMAR CONTRACTOR
32.00 | Supply and fixing of Looking Mirror of any size as required at site selected quality glass, mount on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass. | .40 | SQM | 1335.00 | 1500.00 | 600.00 | 1467.17 | 586.87 | 586.87 | NARENDER KUMAR CONTRACTOR
33.00 | Material and labour for Brickwork built in CM 1:6 using subclass ‘B’ bricks, straight or curved on plan exc. 6m mean radius. | 30.00 | CUM | 7000.00 | 7900.00 | 237000.00 | 8000.00 | 240000.00 | 237000.00 | MAHALAXMI CONSTRUCTION COMPANY
34.00 | Taking down cement plaster on brick or stone walls, etc., including raking out joints, hacking for key, scrubbing down with water, etc. | 230.00 | SQM | 85.45 | 90.00 | 20700.00 | 90.00 | 20700.00 | 20700.00 | NARENDER KUMAR CONTRACTOR, MAHALAXMI CONSTRUCTION COMPANY
35.00 | Material & labour for cement plastering with CM (1:4) 15 mm thick wall plastering. | 360.00 | SQM | 236.81 | 270.00 | 97200.00 | 260.25 | 93690.00 | 93690.00 | NARENDER KUMAR CONTRACTOR
36.00 | Material and labour for dubbing out average (CM 1:6 )10 mm thick on irregular face off walls. | 230.00 | SQM | 142.93 | 150.00 | 34500.00 | 157.08 | 36128.40 | 34500.00 | MAHALAXMI CONSTRUCTION COMPANY
37.00 | Demolition Brickwork or stone/ boulder masonry, built in cement mortar including all quoins, arches, pillars, etc., but excluding ashlar facings, dressed stonework and precast concrete articles. | 2.00 | CUM | 1477.75 | 1700.00 | 3400.00 | 1624.05 | 3248.10 | 3248.10 | NARENDER KUMAR CONTRACTOR
38.00 | Complete removal of paint in existing wall treatment. | 270.00 | SQM | 8.46 | 9.00 | 2430.00 | 9.30 | 2511.00 | 2430.00 | MAHALAXMI CONSTRUCTION COMPANY
39.00 | Supply and fixing of 3mm thick PVC tiles/ sheets, laminated plain coloured, marbled mosaic or mottled finish, laid with approved rubber based adhesive in floors. | 130.00 | SQM | 1050.39 | 1010.00 | 131300.00 | 1000.00 | 130000.00 | 130000.00 | NARENDER KUMAR CONTRACTOR
40.00 | Supply and fixing of Door closer (aluminium die cast type) hydraulically regulated, designation No. 3, Universal type, suitable for door shutters of 851 to 1000 mm in width and of weight between 61 to 80 kg and fixed. | 4.00 | EACH | 1171.80 | 1200.00 | 4800.00 | 1200.00 | 4800.00 | 4800.00 | NARENDER KUMAR CONTRACTOR, MAHALAXMI CONSTRUCTION COMPANY
41.00 | Supply and fixing of Double action floor spring hydraulically regulated made up of minimum 1.25 mm thick aluminium alloy sheet foundation box, main body with stainless steel cover, governing pivot made of brass, other parts made of mild steel heavy duty and fixed | 7.00 | EACH | 3360.60 | 3600.00 | 25200.00 | 3500.00 | 24500.00 | 24500.00 | NARENDER KUMAR CONTRACTOR
42.00 | Cutting chases, pinning in, making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, Shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting not exc. 10 cm girth on brick walls. | 20.00 | RM | 45.41 | 50.00 | 1000.00 | 50.00 | 1000.00 | 1000.00 | NARENDER KUMAR CONTRACTOR, MAHALAXMI CONSTRUCTION COMPANY
43.00 | Supplying and laying of CPVC pipes 40mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/celling or laying in floors, in trenches complete all as specified. | 50.00 | RM | 557.73 | 650.00 | 32500.00 | 600.00 | 30000.00 | 30000.00 | NARENDER KUMAR CONTRACTOR
44.00 | Supplying and laying of CPVC pipes 25mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/celling or laying in floors, in trenches complete all as specified. | 40.00 | RM | 295.65 | 350.00 | 14000.00 | 330.00 | 13200.00 | 13200.00 | NARENDER KUMAR CONTRACTOR
45.00 | Supplying and laying of CPVC pipes 20mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/celling or laying in floors, in trenches complete all as specified. | 20.00 | RM | 198.63 | 250.00 | 5000.00 | 220.00 | 4400.00 | 4400.00 | NARENDER KUMAR CONTRACTOR
46.00 | Supply and fixing of PVC 75mm dia pipes single sockets, in any length with rubber ring joints laid in trenches or in floor. | 10.00 | RM | 210.64 | 250.00 | 2500.00 | 230.00 | 2300.00 | 2300.00 | NARENDER KUMAR CONTRACTOR
47.00 | Supply and fixing of PVC 110mm dia pipes single sockets, in any length with rubber ring joints fixed to floor. | 10.00 | RM | 363.28 | 400.00 | 4000.00 | 390.00 | 3900.00 | 3900.00 | NARENDER KUMAR CONTRACTOR
48.00 | Supply and fixing of PVC pipe of 160mm dia to walls/roof (10kg/cm2) in trenches including fittings like clamps, bend, tee, etc., as directed and approved by considering the dimensions & height not exc. 20m approx., including all necessary scaffolding and safety aspects. Complete as required at site. | 30.00 | RM | 1350.00 | 1500.00 | 45000.00 | 1400.00 | 42000.00 | 42000.00 | NARENDER KUMAR CONTRACTOR
49.00 | Supply and fixing PVC (SWR) vent cowl 75 mm dia. | 1.00 | EACH | 85.50 | 100.00 | 100.00 | 90.00 | 90.00 | 90.00 | NARENDER KUMAR CONTRACTOR
50.00 | Supply and fixing of PVC bend with door, 75mm dia any radius. | 2.00 | EACH | 130.50 | 150.00 | 300.00 | 140.00 | 280.00 | 280.00 | NARENDER KUMAR CONTRACTOR
51.00 | Supply and fixing of PVC bend with door 110mm dia any radius. | 2.00 | EACH | 153.00 | 170.00 | 340.00 | 165.00 | 330.00 | 330.00 | NARENDER KUMAR CONTRACTOR
52.00 | Supply and fixing of 25mm ball valves set ball valves high pressure of PTMT with epoxy coated Aluminium rod & high-density plastic ball screwed for iron pipe and fixed. (Minimum weight 20 mm – 210 gms. | 1.00 | EACH | 660.38 | 750.00 | 750.00 | 700.00 | 700.00 | 700.00 | NARENDER KUMAR CONTRACTOR
53.00 | Supply and fixing of Rotational moulded polyethylene water storage tanks (cylindrical vertical with closed top) hoisted and fixed, 1000 litres capacity. | 1.00 | EACH | 7376.81 | 9500.00 | 9500.00 | 9000.00 | 9000.00 | 9000.00 | NARENDER KUMAR CONTRACTOR
54.00 | Supply and fixing of Gun-metal (32mm), globe or gate valves, with iron wheel head, screwed both ends for iron pipe and fixed. | 2.00 | EACH | 603.23 | 700.00 | 1400.00 | 650.00 | 1300.00 | 1300.00 | NARENDER KUMAR CONTRACTOR
55.00 | Supply and fixing of 15mm fancy type bib tap bore dia of 15mm pipe standard of PTMT any colour High pressure screwed for iron pipe and fixed in repairs. | 2.00 | EACH | 196.94 | 250.00 | 500.00 | 200.00 | 400.00 | 400.00 | NARENDER KUMAR CONTRACTOR
56.00 | Supply and fixing of Towel Rail 600mm long of PTMT fixed with and including Chromium plated brass screws and wooden/plastic cleats (Minimum weight 170gms). | 1.00 | EACH | 1500.00 | 1600.00 | 1600.00 | 1600.00 | 1600.00 | 1600.00 | NARENDER KUMAR CONTRACTOR, MAHALAXMI CONSTRUCTION COMPANY
57.00 | Supply and fixing of Aluminium Hat and coat hooks, solid body, 175mm to 250 mm | 2.00 | EACH | 61.12 | 70.00 | 140.00 | 67.00 | 134.00 | 134.00 | NARENDER KUMAR CONTRACTOR
58.00 | Supply and fixing of 200mm Brass barrel tower bolts, with cast or sheet barrel and rolled or cast bolts and fixed. | 6.00 | EACH | 269.46 | 300.00 | 1800.00 | 290.00 | 1740.00 | 1740.00 | NARENDER KUMAR CONTRACTOR
59.00 | Supply and fixing of high Strength external board 8mm thick. | 6.00 | SQM | 2500.00 | 2600.00 | 15600.00 | 2500.00 | 15000.00 | 15000.00 | NARENDER KUMAR CONTRACTOR
60.00 | Material and labour for painting of steel Surfaces of any description over 10cm in width or girth with two coats of synthetic enamel paint over a coat of red oxide, zinc chrome primer including preparing old surfaces. | 700.00 | SQM | 136.89 | 140.00 | 98000.00 | 139.00 | 97300.00 | 97300.00 | NARENDER KUMAR CONTRACTOR
61.00 | Material and labour for painting of steel Surfaces of any description over 10cm in width or girth with two coats of synthetic enamel paint over a coat of red oxide, zinc chrome primer including preparing new surfaces. | 100.00 | SQM | 127.17 | 140.00 | 14000.00 | 139.00 | 13900.00 | 13900.00 | NARENDER KUMAR CONTRACTOR
62.00 | Forming dummy / contraction joint with an initial saw cut of 3 mm soon after the concrete has set, upto a depth of 1/3rd to 1/4th the thickness of the slab. Widening the first saw cut to 6 mm and 24 mm deep by using diamond bit cutter of appropriate size. Straight and smooth edges. Joint cleaned thoroughly with application of compressed air. Joint shall be made dry, vacuum cleaned and free of dirt, Oil, vegetation and other debris. Application of two coats of primer with thin brush by forward and backward movement at interval of 30 minutes before placing the backup rod and pouring the sealant. Placing of closed cell, medium density, crossed linked polyethylene foam backup rod of 8 mm dia. Application of bond braker tape on the top of backup rod of complete width of the joint and filled with polyurethane based sealant complying with BS-5212, BS 4254 and EN-141875-2003 with minimum movement accommodation factor (MAF) of +/- 30% having minimum 10 year performance guarantee. Applying masked tape on the edges of joints and removing the masking tape after filling of sealant as per the method specified by the manufacturer complete as specified and directed. | 25.00 | 10RM | 1962.59 | 2550.00 | 63750.00 | 2500.00 | 62500.00 | 62500.00 | NARENDER KUMAR CONTRACTOR
63.00 | Material and labour for applying 3mm thick wall care putty on wall including preparation of new surfaces. | 55.00 | SQM | 77.08 | 100.00 | 5500.00 | 84.00 | 4620.00 | 4620.00 | NARENDER KUMAR CONTRACTOR
64.00 | Material and labour for Priming plastered and other surfaces with alkali resistant priming paint on walls. | 250.00 | SQM | 31.23 | 50.00 | 12500.00 | 33.00 | 8250.00 | 8250.00 | NARENDER KUMAR CONTRACTOR
65.00 | Material and labour for applying two coats of plastic emulsion on internal wall surfaces including preparation of old surfaces complete all as directed. The interior emulsion shall be luxury interior emulsion manufactured by reputed companies such as Asian paint, Burger, Nerolac, Dulux, Nippon or suitably equivalent. The brand shall be got approved by EIC. | 610.00 | SQM | 106.47 | 120.00 | 73200.00 | 110.00 | 67100.00 | 67100.00 | NARENDER KUMAR CONTRACTOR
66.00 | Material and labour for applying two coats of plastic emulsion on external wall surfaces including preparation of old surfaces complete all as directed. The exterior emulsion shall be Ultimate supreme of Asian paint or similar paint in terms of price and quality in NEROLAC, BERGER, DULUX or suitably equivalent make. The brand shall be approved by EIC. | 120.00 | SQM | 106.47 | 110.00 | 13200.00 | 110.00 | 13200.00 | 13200.00 | NARENDER KUMAR CONTRACTOR, MAHALAXMI CONSTRUCTION COMPANY
67.00 | Supply and fixing of brass plate name board. | 1.00 | WJ | 15000.00 | 14500.00 | 14500.00 | 15000.00 | 15000.00 | 14500.00 | MAHALAXMI CONSTRUCTION COMPANY
68.00 | Supply & fixing of Steel windows for industrial buildings with centre hung shutters including brass pivots, catch spring and pulley wheel complete. | 35.00 | SQM | 1766.20 | 2000.00 | 70000.00 | 1900.00 | 66500.00 | 66500.00 | NARENDER KUMAR CONTRACTOR
69.00 | Supply and Fixing of Compound girders and stanchions, lattice girders, aerial masts, staging for water tanks and the like including caps, bases, splices etc. built up from two or more beam or channel sections or angles with plates, including all lattice bars, stiffeners, gusset plates, etc., complete. (Fe 410 -W (Gde E- 250) quality A. | 10000.00 | KG | 102.62 | 140.00 | 1400000.00 | 135.00 | 1350000.00 | 1350000.00 | NARENDER KUMAR CONTRACTOR
70.00 | Supply and fixing of Framed work as in doors or gates of angle or other section with gusset plates, rails, braces, etc., complete, drilled for fixing of steel sheeting or other covering. Doors, etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering, running rails and guides) and hanging; also fastening and fixing complete. | 2000.00 | Kg | 105.93 | 140.00 | 280000.00 | 135.00 | 270000.00 | 270000.00 | NARENDER KUMAR CONTRACTOR
71.00 | Supply and fixing of Framed work such as grills, gratings, etc., with ends of bars shouldered and/or riveted, or forged into spikes; framed guard bars; barred iron doors; ladders; framed balusters; walk ways; railings; framework of water tanks and similar work for portions framed and hung as gates, including pintle hinges, stops, hand made sliding bolts, etc., conforming to Fe.290.Gde-E-165 | 1500.00 | KG | 148.37 | 140.00 | 210000.00 | 150.00 | 225000.00 | 210000.00 | MAHALAXMI CONSTRUCTION COMPANY
72.00 | Supply and Fixing Welded steel wire fabric supplied and fixed complete to wood or steel members weight per sq.m exc 4kg. | 250.00 | Kg | 215.07 | 210.00 | 52500.00 | 215.00 | 53750.00 | 52500.00 | MAHALAXMI CONSTRUCTION COMPANY
73.00 | Supply and Fixing of ACP panels of wooden finish/dark colour finish with necessary aluminium frame work as approved and as directed. | 75.00 | SQM | 10000.00 | 10000.00 | 750000.00 | 9999.00 | 749925.00 | 749925.00 | NARENDER KUMAR CONTRACTOR
74.00 | Supplying and placing in position Main Table, ERU & pedestal of the following specifications. 1800x2100x750. Primary Work Surface made of 25mm thick MDF one side pre-laminate board confirming to IS-14587:1998 with 0.4mm PVC membrane pressed on to top soft closing access flap with in-build power box are provided on work surface for wire management. Secondary Work Surface made of 25mm thick MDF one side pre-laminate board confirming to IS-14587:1998 with 0.4mm PVC membrane pressed on to top. Modesty Panel made of 25mm thick MDF one side pre-laminate board confirming to IS-14587:1998 with 0.4mm PVC membrane pressed on to top. Under structure made of 25mm thick pre-laminated twin board of E1-P2 grade and approved shade confirming to IS-12823:1990, Edge banded with matching 2 mm thick PVC lipping. Integrated Pedestal made of 25mm Thick Pre-laminated twin board of E1-P2 grade and approved shade confirming to IS-12823:1990, Edge banded with matching 2 mm thick PVC lipping. Drawer fronts made of 25mm thick MDF one side pre-laminate board confirming to IS-14587:1998 with 0.4mm PVC membrane pressed on to top Pedestal construction is BOX-BOX-FILE type which Uses powder coated 400 mm long metal Panel Drawer Slides. Drawer extension is 325 mm. Drawers have a soft closing & anti-slam mechanism. Handles are provided for ease of opening. Pedestals are provided with lock for security. The product should be certified by GreenGuard, IAQ Gold, GreenPro & GRIHA (Make: Godrej Interio or suitably Equivalent make). | 1.00 | EACH | 114000.00 | 120000.00 | 120000.00 | 115000.00 | 115000.00 | 115000.00 | NARENDER KUMAR CONTRACTOR
75.00 | Supplying and placing in position Back unit of the following specifications. 1650x500x1100 Top Panel-made of 25mm thick MDF one side pre-laminate board confirming to IS-14587:1998 with 0.4mm PVC membrane pressed on to top. Slide Door Unit-made of 25mm Thick Pre-laminated twin board of E1-P2 grade and approved shade confirming to IS-12823:1990, Edge banded with matching 2 mm thick PVC lipping for body panels like side, bottom, back and shelves. Shutters are made of 25mm thick MDF one side pre-laminate board confirming to IS-14587:1998 with 0.4mm PVC membrane pressed on to top. Shutters have a soft closing & anti-slam mechanism. Handles are provided for ease of opening. Storage is provided with lock for security. The product should be certified by GreenGuard, IAQ Gold, GreenPro & GRIHA (Make: Godrej Interio or suitably Equivalent make). | 1.00 | EACH | 74800.00 | 70000.00 | 70000.00 | 75000.00 | 75000.00 | 70000.00 | MAHALAXMI CONSTRUCTION COMPANY
76.00 | Providing, supplying and placing of High Back Chair. SEAT/BACK ASSEMBLY: The Cushioned seat should be made of Injection moulded Plastic outer & inner. Plastic Inner should be upholstered with pure leather and moulded High Resilience (HR) Polyurethane foam of Density 45±2 kg/m3, and hardness load 16 ± 2 kgf for 25% compression. The Cushioned back should be made of PU Foam with insitu molded MS E.R.W Round Tube of size 1.9 ± 0.03cm x 0.16 ± 0.0128cm. It upholstered with Pure Leather. Seat SIZE : 47.6 cm (W) x 49.2 cm (D). BACK SIZE : 47.5 cm (W) x 77 cm (D). ARM RESTS: The arm rest top should be moulded from polyurethane(PU), upholstered in pure leather and mounted on to a drop lift adjustable type tubular arm rest support made of 03.81 ± 0.03 cm x 0.2 ± 0.01 cm thick, M.S E.R.W tube having chrome plated finish. The arm rest height adjustable up to 6.5 ± 0.5cm in 5 steps. ACTIVE BIO-SYNCHRO MECHANISM: The adjustable tilting mechanism should be designed with the following features: • 360° revolving type, • Front-pivot for tilt with feet resting on ground and continuous lumbar support ensuring more comfort, • Tilt tension adjustment can be operated in seating position, • 5-position Tilt limiter giving option of variable tilt angle to the chair, • Seat/back tilting ratio of 1: 2. The mechanism housing should be made up of HPDC Aluminium black powder coated. SEAT DEPTH ADJUSTMENT: Seat depth adjustment should be integrated in the seat through a sliding mechanism. Seat depth adjustment range should be of 6.0 ± 0.5 cm. ADJUSTABLE BACK SUPPORT: Back Frame should be connected to the Up/Down mechanism housed in Plastic T spine. It can be adjusted in the range of 7.42 ± 0.5 cm for the comfortable back support to suit individual need. PNEUMATIC HEIGHT ADJUSTMENT: The pneumatic height adjustment has an adjustment stroke of 10.0 ± 0.3 cm. PEDESTAL ASSEMBLY: The pedestal should be High Pressure Die cast polished, Aluminium and fitted with 5 nos. twin wheel castors. The pedestal should be 65.0 ± 0.5cm. pitch-center dia.(75.0 ± 1.0cm. with castors.) TWIN WHEEL CASTORS: The twin wheel castors should be injection moulded in Black Polypropylene. Overall Dimensions of Chair: Seat Height - 44.5 to 54.5 cm, Height - 114.0-131.5 cm, Width & Depth of Chair as measured from base - Width-76.1 cm and Depth-76.1 cm The product should be certified by GreenGuard Gold, BIFMA Level 2, IAQ Gold, GreenPro & GRIHA (Make: Godrej Interio or suitably Equivalent make). | 1.00 | EACH | 56200.00 | 55000.00 | 55000.00 | 56000.00 | 56000.00 | 55000.00 | MAHALAXMI CONSTRUCTION COMPANY
77.00 | Providing, supplying and placing of Visitor Chair. SEAT/BACK ASSEMBLY: The Cushioned seat should be made of Injection moulded Plastic outer & inner. Plastic Inner should be upholstered with pure leather and moulded High Resilience (HR) Polyurethane foam of Density 45±2 kg/m3, and hardness load 16 ± 2 kgf for 25% compression. The Cushioned back should be made of PU Foam with insitu moulded MS E.R.W Round Tube of size 1.9±0.03cm x 0.16 ±0.0128cm. It upholstered with Pure Leather. Seat SIZE: 47.6 cm. (W) x 49.2 cm. (D), BACK SIZE: 46.5 cm. (W) x 59.5 cm. (D) Visitor TUBULAR FRAME: The tubular frame should be cantilever type and made of Ø2.54± 0.03 cm X 0.02 ± 0.016cm thick SS 202 tube. The back should be connected to frame through chrome plated high pressure die case connector piece. Overall Dimensions of Chair Seat Height -46.2 cm, Height -98.2 cm, Width & Depth of Chair as measured from base - Width-60.9 cm and Depth-64.7 cm. The product should be certified by GreenGuard Gold, BIFMA Level 2, IAQ Gold, GreenPro & GRIHA (Make:odrej Interio or suitably Equivalent make). | 4.00 | EACH | 40400.00 | 45000.00 | 180000.00 | 40000.00 | 160000.00 | 160000.00 | NARENDER KUMAR CONTRACTOR
78.00 | Supplying and placing in position Back unit Body of the following specifications.2400 x 470 x 1950. CONSTRUCTION AND MATERIAL: Made from combination of Top panel (0.5mm CRCA), side panel (0.5mm CRCA), Bottom panel (0.5mm CRCA for 600W and 0.8mm CRCA for 1200W), Back panel (0.5mm CRCA), Top Bottom stiffener (1.2mm CRCA) and End Cover (0.5mm CRCA). Shelves are 12 bend panel made of 0.7mm Thick CRCA (D Grade, IS-513). 4 Nos. of shelves for 1950H and 5 Nos. of shelves for 2325H back unit. Storage body is powder coated with Epoxy Polyester to the thickness of 50 microns (+/-10 micron). VENEER DOOR: Made of 12mm Thick (±1) MDF with 3.5mm veneer both side and face coated with clear lacquer. All edges are edge banded with matching 1mm thick veneer lipping. Door is provided with soft closing hinge. Handle is also provided for ease of opening. Storage is secured with 3 way cam lock. GLASS DOOR: Made from the combination of aluminium alloy (63400) extrusion and 4mm clear toughened glass. Aluminium extrusion of glass doors are powder coated with Epoxy Polyester to the thickness of 50 microns (+/-10 micron). Handle is provided for ease of opening. RH Glass Door is provided with 3 way cam lock for security. (Make: Godrej Interio or suitably Equivalent make). | 1.00 | EACH | 165000.00 | 160000.00 | 160000.00 | 163000.00 | 163000.00 | 160000.00 | MAHALAXMI CONSTRUCTION COMPANY
79.00 | Supplying and placing in position Main Table of the following specifications. Its size shall be 1200 Width x 600 Depth x 743 Height. Top shall be of 18 mm thickness made of PLT board with 2 mm Edge banding. Wenge and savannah Maple PLT board shall be used. The Under structure shall be in pre-laminated panels made with PLT boards . 2- Drawer and 3 - Drawer storage units with different combinations to support tops made with 18 mm PLT boards of different colours. Modesty and back panels made with 18 mm PLT boards. The pedestals / storages shall be fitted with necessary locks. (Make: Godrej Interio or suitably Equivalent make). | 3.00 | EACH | 24075.00 | 25000.00 | 75000.00 | 25000.00 | 75000.00 | 75000.00 | NARENDER KUMAR CONTRACTOR, MAHALAXMI CONSTRUCTION COMPANY
80.00 | Providing, supplying and placing of High Back Chair. SEAT/BACK ASSEMBLY: The seat is made up of 1.2 ± 0 1cm thick, hot pressed plywood measured. The Back is made up of injection moulded glass filled nylon & upholstered using Quitted Leatherette fabric SEAT SIZE : 47.0 cm (W) x 51.5 cm (D), BACK SIZE : 45.0 cm. (W) x 65.3 cm. (H) HIGH RESILIENCE (HR) POLYURETHANE FOAM: The HR polyurethane seat foam is moulded with density 45±2 kg/m3 and hardness 16 ± 2 kgf as per IS:7888 for 25% compression. ARM RESTS : The adjustable arm rest is designed with the following features: • Up-Down adjustment- 8 steps (8.0 ± 0.5cm range), • Height adjustable arm rest structure which is Chrome plated & fitted with an armrest top, •Fixed Arm rest Top is PU moulded over metal insert. LUMBAR SUPPORT ASSEMBLY: The Lumbar support consists of polypropylene pad with moulded polyurethane foam & covered with polyester fabric. The Height of Lumbar pad can be adjusted through two projecting knobs provided on the rear side of the pad. Lumbar pad has an adjustment of 8.0 ± 0.5 cm in height. FRONT PIVOT SYNCHRO MECHANISM: The adjustable tilting mechanism is designed with the following features. • 360° revolving type, • Single point control, • Front-pivot for tilt with feet resting on ground ensuring more comfort, • Tilt tension adjustment, • 4-position locking with anti-shock feature, • Seat/back tilting ratio of 1.2. Pneumatic Height Adjustment : The pneumatic height adjustment has adjustment stroke of 10.0±0.3 PEDESTAL ASSEMBLY : The pedestal is fabricated from 0.2 ± 0.02 cm thick HR sheet, chrome plated and assembled with injection moulded black polypropylene hub cap and 5 nos. twin wheel castors. The pedestal! is 66.0± 0.5cm. Pitch-center dia. (76.0±1.0 cm with castors). TWIN WHEEL CASTORS: The twin wheel castors are injection moulded in black Nylon. NECK REST: The Neck rest assembly consist of polypropylene pad with moulded polyurethane foam & covered with Polyester fabric. Neck rest is fixed to Back Assembly through Neck rest connector. Neck rest assembly has Weight adjustment of 4.2 ± 0.5 cm and rotation adjustment to operate 76°± 2°. The complete neck rest assembly is retro fit to the main chair. Width: 76.1cm, Depth: 76.1cm, Height: 114.0- 128.2cm, Seat Height: 45.5- 55.5cm The product should be certified by BIFMA Level 2, IAQ Gold, GreenPro (Make: Godrej Interio or suitably Equivalent make). | 3.00 | EACH | 20475.00 | 20000.00 | 60000.00 | 20500.00 | 61500.00 | 60000.00 | MAHALAXMI CONSTRUCTION COMPANY
81.00 | Providing, supplying and placing of Visitor Chair. SEAT ASSEMBLY: The seat assembly should be made up of 1.2 ±0.1cm. thick hot-pressed plywood, upholstered with fabric upholstery covers and moulded Polyurethane foam. SEAT SIZE: 47.0 cm. (W) x 48.0 cm. (D) BACK ASSEMBLY: The back assembly should be made of powder coated (OFT 40-60 microns) tubular frame of 2.54 ± 0.03cm x 0.2 ± 0.016cm thick. MS ERW tube designed with contoured lumbar support for extra comfort. The back should be upholstered using double layer spacer mesh fabric with high tenacity yarn. BACK SIZE: 46.5 cm(W) x 60.5cm(H) HIGH RESILIENCE (HR) POLYURETHANE FOAM: The HR polyurethane foam should be moulded with density 45±2 kg/m3 and hardness load 16 ± 2 kgf for 25% compression. ARM RESTS: The one-piece arm rests should be injection moulded from black Co-polymer Polypropylene. . TUBULAR FRAME: The powder coated (DFT 40-60 microns) tubular frame should be cantilever type & made of Ø2.54 ±0.03cm x 0.2 ± 0.016 cm thick M.S.E.R.W Tube. Overall Dimensions of Chair: Seat Height - 46.5cm, Height - 93.5cm. Width & Depth of Chair as measured from pedestal - Width-61.0 cm and Depth-64.5 cm. The product should be certified by BIFMA Level 2, IAQ Gold, GreenPro & GRIHA (Make: Godrej Interio or suitably Equivalent make). | 8.00 | EACH | 9250.00 | 9500.00 | 76000.00 | 9300.00 | 74400.00 | 74400.00 | NARENDER KUMAR CONTRACTOR
82.00 | Providing steel locker unit. Each unit of size 0.45 x 0.45m. (Make: Godrej Interio or suitably Equivalent make) | 1.00 | EACH | 50000.00 | 51000.00 | 51000.00 | 50000.00 | 50000.00 | 50000.00 | NARENDER KUMAR CONTRACTOR
83.00 | Providing steel cupboard 7' high. (Make: Godrej Interio or suitably Equivalent make). | 3.00 | EACH | 35000.00 | 36000.00 | 108000.00 | 35000.00 | 105000.00 | 105000.00 | NARENDER KUMAR CONTRACTOR
84.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. a)one light point or one fan point controlled by one switch with cables1.5 sqmm size. | 53.00 | Point | 1042.39 | 1100.00 | 58300.00 | 1050.00 | 55650.00 | 55650.00 | NARENDER KUMAR CONTRACTOR
85.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. b)One 3 pin socket outlet 5 amps on the same board with other switches, with cables 1.5 sqmm size. | 27.00 | Point | 298.31 | 300.00 | 8100.00 | 320.00 | 8640.00 | 8100.00 | MAHALAXMI CONSTRUCTION COMPANY
86.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. c)One 3 pin socket outlet 5 amps on indepedent with cables 2.5 sqmm size. | 8.00 | Point | 1187.96 | 1190.00 | 9520.00 | 1200.00 | 9600.00 | 9520.00 | MAHALAXMI CONSTRUCTION COMPANY
87.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit a) 2x2.5 sqmm + 1x2.5 sqmm earth wire | 200.00 | RM | 194.47 | 220.00 | 44000.00 | 200.00 | 40000.00 | 40000.00 | NARENDER KUMAR CONTRACTOR
88.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit b) 2x4.0 sqmm + 1x4.0 sqmm earth wire | 300.00 | RM | 225.75 | 230.00 | 69000.00 | 230.00 | 69000.00 | 69000.00 | NARENDER KUMAR CONTRACTOR, MAHALAXMI CONSTRUCTION COMPANY
89.00 | Material & Labour for connecting to the system modular type switches 6A single pole one way (Make:,LEGRAND /ANCHOR/ Litaski/ Crabtree (or) Suitably equivalent make) | 88.00 | Each | 273.53 | 300.00 | 26400.00 | 280.00 | 24640.00 | 24640.00 | NARENDER KUMAR CONTRACTOR
90.00 | Material & Labour for connecting to the system modular type switches 16A single pole one way (Make:,LEGRAND /ANCHOR/ Litaski/ Crabtree (or) Suitably equivalent make) | 4.00 | Each | 360.89 | 350.00 | 1400.00 | 360.00 | 1440.00 | 1400.00 | MAHALAXMI CONSTRUCTION COMPANY
91.00 | Supply, fixing and connecting to the system of socket, 6A-2/3 pin combined modular type 2 module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree (or) Suitably equivalent make) | 34.00 | Each | 357.57 | 350.00 | 11900.00 | 360.00 | 12240.00 | 11900.00 | MAHALAXMI CONSTRUCTION COMPANY
92.00 | Supply, fixing and connecting to the system of socket, 16A-2/3 pin combined modular type 2 module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or Suitably equivalent make) | 4.00 | Each | 554.82 | 540.00 | 2160.00 | 550.00 | 2200.00 | 2160.00 | MAHALAXMI CONSTRUCTION COMPANY
93.00 | Supply and fixing of exhaust fan, steel body AC single Phase. 230V of size 300mm sweep with, blades, and frame and louvers | 1.00 | Each | 3726.02 | 4000.00 | 4000.00 | 3725.00 | 3725.00 | 3725.00 | NARENDER KUMAR CONTRACTOR
94.00 | Supply and fixing ceiling fans complete with blades, down rods, electronic Regulator and accessories, 230 V, 1200mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star, rated Copper winding with brushless direct current motor (BLDC) Make: HAVELLS/CGL/ATOMBERG/LUKER or suitable equivalent make as approved by EIC | 6.00 | Each | 2781.94 | 2800.00 | 16800.00 | 2780.00 | 16680.00 | 16680.00 | NARENDER KUMAR CONTRACTOR
95.00 | Supply and fixing of modular Fan step regulator, 120W - 2 module | 6.00 | Each | 1068.85 | 1000.00 | 6000.00 | 1066.00 | 6396.00 | 6000.00 | MAHALAXMI CONSTRUCTION COMPANY
96.00 | Supply and fixing of single pole and neutral enclosure with a two pins and earth plug and socket complete with one single pole MCB 20 amps, 240V. Make: Standard/Havels/Siemens/ Legrend or Suitably Equivalent Make. | 13.00 | Each | 1908.69 | 2000.00 | 26000.00 | 1900.00 | 24700.00 | 24700.00 | NARENDER KUMAR CONTRACTOR
97.00 | Supply & fixing of 3 module modular white cover plate with frame | 12.00 | Each | 228.59 | 250.00 | 3000.00 | 230.00 | 2760.00 | 2760.00 | NARENDER KUMAR CONTRACTOR
98.00 | Supply & fixing of metal flush box for 3 module plate | 12.00 | Each | 188.79 | 200.00 | 2400.00 | 190.00 | 2280.00 | 2280.00 | NARENDER KUMAR CONTRACTOR
99.00 | Supply & fixing of 6 module modular white cover plate with frame | 4.00 | Each | 325.08 | 330.00 | 1320.00 | 325.00 | 1300.00 | 1300.00 | NARENDER KUMAR CONTRACTOR
100.00 | Supply & fixing of metal flush box for 6 module plate | 4.00 | Each | 298.31 | 300.00 | 1200.00 | 300.00 | 1200.00 | 1200.00 | NARENDER KUMAR CONTRACTOR, MAHALAXMI CONSTRUCTION COMPANY
101.00 | Supply & Fixing of 12 module, polycarbonate modular white cover plate with frame and metal flush box. Make: Anchor/Havells/Legrand or suitably equivalent. | 18.00 | Each | 430.00 | 450.00 | 8100.00 | 430.00 | 7740.00 | 7740.00 | NARENDER KUMAR CONTRACTOR
102.00 | Supply & Fixing of modular type Dummy plate. | 30.00 | Numbers | 30.00 | 40.00 | 1200.00 | 30.00 | 900.00 | 900.00 | NARENDER KUMAR CONTRACTOR
103.00 | Material & Labour for ceiling rose, 3 Phase/PVC/polycorbonate, isolated body. | 29.00 | Each | 68.99 | 75.00 | 2175.00 | 70.00 | 2030.00 | 2030.00 | NARENDER KUMAR CONTRACTOR
104.00 | Supply, fixing & connecting to the system of Sheet metal enclosures with double door DB's 415 V when MCB'S to be used for outgoing feeders and MCCB for incoming, 6 way(suitable for Incoming 4 pole MCCB and outgoing 6 Nos of single pole MCB each phase) with 200 amps rated busbar. (Make: Legrand/Havells/ Hager/ABB) or Suitably equivalent make | 2.00 | Each | 3345.51 | 3500.00 | 7000.00 | 3350.00 | 6700.00 | 6700.00 | NARENDER KUMAR CONTRACTOR
105.00 | Supply and fixing of SP 6 to 32 amp rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the MCB DB complete with connection testing and commissioning. (Make: ABB/Legrand/ Havells/Hager) or Suitably equivalent make | 36.00 | Each | 308.70 | 330.00 | 11880.00 | 310.00 | 11160.00 | 11160.00 | NARENDER KUMAR CONTRACTOR
106.00 | Supply and fixing of MCCBs 63 Amps, 415V,16KA, 4 Pole | 1.00 | Each | 4225.31 | 4200.00 | 4200.00 | 4225.00 | 4225.00 | 4200.00 | MAHALAXMI CONSTRUCTION COMPANY
107.00 | Supply and fixing of MCCBs 100Amps, 415V,16KA, 4 Pole | 2.00 | Each | 4545.14 | 5000.00 | 10000.00 | 4550.00 | 9100.00 | 9100.00 | NARENDER KUMAR CONTRACTOR
108.00 | Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete (Make: Havells/ Philips/ Wipro/ Bajaj/ CG/ Luker (or) Suitably Equivalent Make. | 23.00 | Each | 4482.65 | 44000.00 | 1012000.00 | 4500.00 | 103500.00 | 103500.00 | NARENDER KUMAR CONTRACTOR
109.00 | Supply and fixing round shape 15 watt 220 volts AC recessed type with high efficiency PMMA diffuser soft glare free light complete with drivers, holders, LED lamp suitable for roof ceiling including connecting up with three core flexible copper conductor cable of suitable size complete. | 2.00 | Each | 1114.91 | 1111.00 | 2222.00 | 1115.00 | 2230.00 | 2222.00 | MAHALAXMI CONSTRUCTION COMPANY
110.00 | Supply and fixing LED light fitting mirror type with high out put diffuser 2 feet, 10 watt 220 V AC decorative type with driver holder and LED lamp including connecting up with three core flexible copper conductor cable of suitable size complete. | 1.00 | Each | 1422.55 | 1420.00 | 1420.00 | 1400.00 | 1400.00 | 1400.00 | NARENDER KUMAR CONTRACTOR
111.00 | Materials & labour for XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 70 sq. mm, 3.5 core | 500.00 | RM | 466.08 | 510.00 | 255000.00 | 500.00 | 250000.00 | 250000.00 | NARENDER KUMAR CONTRACTOR
112.00 | Materials & labour for XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 35 sq. mm, 3.5 core | 250.00 | RM | 283.24 | 300.00 | 75000.00 | 300.00 | 75000.00 | 75000.00 | NARENDER KUMAR CONTRACTOR, MAHALAXMI CONSTRUCTION COMPANY
113.00 | Excavating hard/dense soil in trenches not exceeding 1.5 m wide and not exceeding 1.5 m in depth for laying cable. | 150.00 | cu .m | 708.75 | 700.00 | 105000.00 | 700.00 | 105000.00 | 105000.00 | NARENDER KUMAR CONTRACTOR, MAHALAXMI CONSTRUCTION COMPANY
114.00 | Material & labour for sand filling for cushioning on U.G cable | 24.00 | cu.m | 2073.02 | 2000.00 | 48000.00 | 2100.00 | 50400.00 | 48000.00 | MAHALAXMI CONSTRUCTION COMPANY
115.00 | Materal & labour for Bricks; common burnt clay building bricks sub class B designation 75, old size for protection to U.G cable | 4.50 | Nos in 1000 | 5829.47 | 6100.00 | 27450.00 | 6000.00 | 27000.00 | 27000.00 | NARENDER KUMAR CONTRACTOR
116.00 | Returning, refilling hard/dense soil in the excavated trench after laying of power cable including spreading levelling, watering and well ramming in layers not exc 25 cm. | 150.00 | cu.m | 146.06 | 150.00 | 22500.00 | 145.00 | 21750.00 | 21750.00 | NARENDER KUMAR CONTRACTOR
117.00 | Material & Labour for LT cable end termination with galnd and copper lugs suitable for 3.5 core 70 sqmm XLPE cable. | 4.00 | Each | 600.00 | 700.00 | 2800.00 | 600.00 | 2400.00 | 2400.00 | NARENDER KUMAR CONTRACTOR
118.00 | Material & Labour for LT cable end termination with galnd and copper lugs suitable for 3.5 core 35 sqmm XLPE cable. | 2.00 | Each | 500.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 1000.00 | NARENDER KUMAR CONTRACTOR, MAHALAXMI CONSTRUCTION COMPANY
119.00 | Demolition of cement concrete (unreinforced) of any description and in any position | 1.00 | Cum | 1712.87 | 2000.00 | 2000.00 | 1800.00 | 1800.00 | 1800.00 | NARENDER KUMAR CONTRACTOR
120.00 | Material and labour for cement concrete 1:2:4 Type B1 using 20mm graded aggregate in foundations, filling and mass concrete((6477.80+0.90(1665.60-1603.90) | 1.00 | Cum | 6860.00 | 7200.00 | 7200.00 | 6800.00 | 6800.00 | 6800.00 | NARENDER KUMAR CONTRACTOR
121.00 | Excavating in trenches, n exc 1.5 m wide and n exc 3.0 m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc. N exc 10 sq m on plan and n exc 1.5 m in depth and getting out in Hard / dense soil. | 6.00 | Cum | 875.39 | 800.00 | 4800.00 | 800.00 | 4800.00 | 4800.00 | NARENDER KUMAR CONTRACTOR, MAHALAXMI CONSTRUCTION COMPANY
122.00 | Material & Labour for Earthing complete with galvanised steel earth plate electrode 60×60cm.× 6mm thick, buried directly in ground (earth pit not less than 2.25 metres deep below ground level) with top edge of the plate not less than 1.5 metres below normal ground level, connected to galvanised earth lead 32 x 6 GI strip by means of bolts, nuts, check nuts and washers of galvanised iron or steel all as shown in electrical plate No. 3 connected to earthing test point all as specified or indicated including earth elctrode pipe, Funnnel, charcoal, salt, earth PCC pit with cover and testing on completion | 4.00 | Each Set | 7951.55 | 9000.00 | 36000.00 | 8000.00 | 32000.00 | 32000.00 | NARENDER KUMAR CONTRACTOR
123.00 | Supply, install, commissioning and testing of commercial Air curtain unit with Door Opening size 64" x 84" for prevention of dust and conditioned air losses, single phase, 220 V, 50 HZ, made out of MS/CRCA sheet of minimum thickness 18 gauge finished with two coats of red oxide primer and final coat of synthetic enamel paint (oven baked) with MS - CRC 18 gauge square perforated suction grills, Aluminium alloy fans and single phase electric motor, nozzles etc, complete with fittings and accessories so as to produce 1 - 1.5 m/sec air velocity at floor level for door opening as specified. | 1.00 | Each | 78587.78 | 80000.00 | 80000.00 | 80000.00 | 80000.00 | 80000.00 | NARENDER KUMAR CONTRACTOR, MAHALAXMI CONSTRUCTION COMPANY
124.00 | Supply and installation of 1.5TR, Hi-wall split, units indoor /outdoor complete with cordless remote control unit and with in-built air ioniser and Plasma filter for better indoor air quality with minimum 5 star rating and EER 3.2.of capacity as shown. | 9.00 | Each | 63856.14 | 60000.00 | 540000.00 | 62000.00 | 558000.00 | 540000.00 | MAHALAXMI CONSTRUCTION COMPANY
125.00 | Supply and fixing of LED High bay roof light fitting 200 watts, 230 Volt, 50 Hz. | 21.00 | Each | 4000.00 | 3500.00 | 73500.00 | 4000.00 | 84000.00 | 73500.00 | MAHALAXMI CONSTRUCTION COMPANY
126.00 | Taking down carefully copper/aluminium point wiring (light, fan, socket or power) complete, removing materials HANDOVER to store for keeping in safe custody for reuse at site and making good disturbed surfaces of walls, floors, etc. | 27.00 | Point | 247.38 | 240.00 | 6480.00 | 250.00 | 6750.00 | 6480.00 | MAHALAXMI CONSTRUCTION COMPANY
127.00 | Taking down carefully by unscrewing from boards/ outlet boxes, fittings and fixtures such as switches, sockets, ceiling roses, lamp holders, brackets, ceiling fittings, bulk head fittings, tube light fittings and regulators, etc. for reuse at site or carrying to the store (To be measured only when found serviceable in all respects complete for reuse). | 27.00 | Point | 36.69 | 45.00 | 1215.00 | 40.00 | 1080.00 | 1080.00 | NARENDER KUMAR CONTRACTOR
| Total in Figures |  |  |  |  | 10894372.00 |  | 9839781.35
Lowest Amount Quoted BY: NARENDER KUMAR CONTRACTOR(9839781.35)

## BOQ Summary
BOQ Summary Details Tender Title: SPECIAL REPAIRS TO THE PROPOSED FSC IN 601 EME BATTALION PATIALA Tender ID: 2025_AVNL_257851_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NARENDER KUMAR CONTRACTOR (BID ID -944938) | 9839781.35 | L1
| 2 | MAHALAXMI CONSTRUCTION COMPANY (BID ID -945132) | 10894372.00 | L2