## BoQ1
Government eProcurement System Created By: DINESH KUMAR V R Created Date/Time: 21-Jan-2026 12:05 PM Tender Title: CONSTRUCTION OF EMPLOYEES DRESS CHANGING ROOM FOR OH AUGMENTATION PROJECT AT HVF, AVADI Tender ID: 2025_AVNL_258361_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: CONSTRUCTION OF EMPLOYEES DRESS CHANGING ROOM FOR OH AUGMENTATION PROJECT AT HVF, AVADI
Tender No: HVF/TE/13025/CEO/2025-26/56
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BRIDGE AND ROADS (GSTN-NA) BID ID -948965 |  | P S G CONSTRUCTIONS (GSTN-NA) BID ID -948570
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolition of Brick work built in Cement Mortor of any description | 25.00 | CUM | 1888.23 | 1700.00 | 42500.00 | 900.00 | 22500.00 | 22500.00 | P S G CONSTRUCTIONS
2.00 | Demolition of cement concrete(unreinforced ) in of any thickness including plastering | 5.00 | CUM | 1876.00 | 1700.00 | 8500.00 | 1800.00 | 9000.00 | 8500.00 | BRIDGE AND ROADS
3.00 | Dismantling structural steel work including doors, windows, ventilators, gates but excluding framed truss etc and handing over to CE store. | 3.00 | Per Quintal | 717.14 | 750.00 | 2250.00 | 702.00 | 2106.00 | 2106.00 | P S G CONSTRUCTIONS
4.00 | M & L for cutting down the branches and Grubbing up tree trunk including cutting of trunk portion protruding over ground, digging out roots, filling holes and leveling off ground, stacking of serviceable material and removing of unserviceable material to a distance n exc. 50 m and clearing site (girth exc 30 cm and n.exc. 100cm) | 10.00 | EACH | 2132.79 | 2300.00 | 23000.00 | 2000.00 | 20000.00 | 20000.00 | P S G CONSTRUCTIONS
5.00 | Surface excavation in Hard/Dense soil n.exc (not exceeding) 30 cm deep and averaging 15cm deep and getting out | 1095.00 | SQM | 107.18 | 110.00 | 120450.00 | 90.00 | 98550.00 | 98550.00 | P S G CONSTRUCTIONS
6.00 | Obtaining Reports for Soil investigation includes geotechnical investigation for the proposed project site to determine subsurface soil conditions for structural foundation design, based on the attached plan and elevation and structural Drawing should be provided by contractor .all as specified and directed. | 1.00 | WJ | 140000.00 | 15000.00 | 15000.00 | 145000.00 | 145000.00 | 15000.00 | BRIDGE AND ROADS
7.00 | Earthwork excavation in hard/dense soil in trenches width and depth not exceeding 1.50 m and getting out | 700.00 | CUM | 776.25 | 600.00 | 420000.00 | 450.00 | 315000.00 | 315000.00 | P S G CONSTRUCTIONS
8.00 | Earth work excavation in trenches exceeding 1.5m and not exceeding 3.0 m in width and depth and getting out in hard/dense soil.. | 350.00 | CUM | 958.76 | 900.00 | 315000.00 | 600.00 | 210000.00 | 210000.00 | P S G CONSTRUCTIONS
9.00 | Excavating in post holes in Hard/dense soils (or similar holes) each n exc 0.5 cu.m, getting out, returning,filling in and ramming earth or broken rubble mixed with earth around,in layers not exceeding 25cm, | 4.00 | Each | 438.61 | 457.00 | 1828.00 | 430.00 | 1720.00 | 1720.00 | P S G CONSTRUCTIONS
10.00 | Material and labour for sand filling in foundation including watering and consolidation. | 350.00 | CUM | 2270.45 | 1900.00 | 665000.00 | 2400.00 | 840000.00 | 665000.00 | BRIDGE AND ROADS
11.00 | M & L for P.C.C 1:4:8, D2 type using 40mm graded aggregated in foundation. | 350.00 | CUM | 6305.57 | 6500.00 | 2275000.00 | 5950.00 | 2082500.00 | 2082500.00 | P S G CONSTRUCTIONS
12.00 | M & L for filling of moorum/red bajiri in floors or pavings, laid in layers not exceeding 15cm thick, spread, leveled and rammed including watering where directed. | 600.00 | CUM | 1426.12 | 1500.00 | 900000.00 | 1200.00 | 720000.00 | 720000.00 | P S G CONSTRUCTIONS
13.00 | Material and labour for Treating the bottom and sides of excavation at the rate of 5 litres of emulsion per square metre of surface area | 900.00 | SQM | 76.82 | 250.00 | 225000.00 | 82.00 | 73800.00 | 73800.00 | P S G CONSTRUCTIONS
14.00 | Material and Labour for Treating the soil under plinth protection at the rate of 5 litres of emulsion per square metre of surface area | 250.00 | SQM | 76.82 | 250.00 | 62500.00 | 82.00 | 20500.00 | 20500.00 | P S G CONSTRUCTIONS
15.00 | M & L for providing RCC design mix M25 Concrete in Foundations, including rafts,footings, foundation beams; plinth beams; bases for columns, etc.; basement slabs, under-reamed piles and mass concrete | 120.00 | CUM | 8786.69 | 9181.00 | 1101720.00 | 8800.00 | 1056000.00 | 1056000.00 | P S G CONSTRUCTIONS
16.00 | M & L for providing RCC design mix M25 Concrete Walls, retaining walls, basement walls, ballast walls and the like; any thickness; above top of footings; including attached pilasters and buttresses | 35.00 | CUM | 9232.89 | 9647.00 | 337645.00 | 9200.00 | 322000.00 | 322000.00 | P S G CONSTRUCTIONS
17.00 | M & L for providing RCC design mix M25 Concrete in Columns, pillars, piers, posts and struts | 35.00 | CUM | 9947.73 | 10395.00 | 363825.00 | 9500.00 | 332500.00 | 332500.00 | P S G CONSTRUCTIONS
18.00 | M & L for providing RCC design mix M25 Concrete in Beams, cantilever bressummers, lintels over 1.5m span | 55.00 | CUM | 9365.83 | 9787.00 | 538285.00 | 9400.00 | 517000.00 | 517000.00 | P S G CONSTRUCTIONS
19.00 | M & L for providing RCC design mix M25 Concrete in Slabs supported on walls, beams and columns in floors, roofs, landings, balconies, canopies, deck slabs and in shelves and the like | 124.00 | CUM | 8496.66 | 8879.00 | 1100996.00 | 9300.00 | 1153200.00 | 1100996.00 | BRIDGE AND ROADS
20.00 | M & L for providing RCC design mix M25 Concrete in chajjas | 2.00 | CUM | 10019.48 | 10470.00 | 20940.00 | 9900.00 | 19800.00 | 19800.00 | P S G CONSTRUCTIONS
21.00 | M & L for Formwork Flat to sides of concrete foundations, footings, bases of columns, raft and raft beams, sides and soffits (if any) of foundation and plinth beams; and similar work; vertical or to batter Add to Fair Finished surface | 500.00 | SQM | 456.68 | 550.00 | 275000.00 | 456.00 | 228000.00 | 228000.00 | P S G CONSTRUCTIONS
22.00 | M & L for Formwork to faces of walls, retaining walls, abutments, parapets and staircase railings and similar work including attached pillasters, buttresses, etc.; vertical or to batter | 350.00 | SQM | 660.03 | 690.00 | 241500.00 | 610.00 | 213500.00 | 213500.00 | P S G CONSTRUCTIONS
23.00 | M & L for Formwork Square/Rectanglur to sides of pillars, posts, struts, piers, columns and stanchions Add to Fair Finished surface | 400.00 | SQM | 780.24 | 815.00 | 326000.00 | 610.00 | 244000.00 | 244000.00 | P S G CONSTRUCTIONS
24.00 | M & L for Formwork flat to floor or roof beams, beam haunchings, girders, bressummers, lintels, cantilevers, shelves including sup- ports, overhangs, etc. also splays between floors and Add to Fair Finished surface beams, etc. | 450.00 | SQM | 624.67 | 650.00 | 292500.00 | 610.00 | 274500.00 | 274500.00 | P S G CONSTRUCTIONS
25.00 | M & L for Formwork to flat soffits of suspended slabs such as roof slabs, floor slabs, landings and similar work; not exceeding 200mm thick (Horizontal or sloping) Add to Fair Finished surface | 800.00 | SQM | 662.00 | 690.00 | 552000.00 | 610.00 | 488000.00 | 488000.00 | P S G CONSTRUCTIONS
26.00 | M & L for Formwork to flat chullah hoods, chajjas, troughs and similar items Add to Fair Finished surface including edges | 20.00 | SQM | 787.31 | 820.00 | 16400.00 | 690.00 | 13800.00 | 13800.00 | P S G CONSTRUCTIONS
27.00 | Mild steel TMT bars 10mm dia and over, cut to length, bent to shape required, including cranking, Bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia or securing with clips | 26000.00 | KG | 94.99 | 95.00 | 2470000.00 | 97.00 | 2522000.00 | 2470000.00 | BRIDGE AND ROADS
28.00 | Supply and fixing of mild steel reinforcement TMT bars 8mm dia to 6 mm dia including bending, cranking, hooking and tieing with mild steel wire not less than 0.90mm dia. | 18000.00 | KG | 97.23 | 98.00 | 1764000.00 | 99.00 | 1782000.00 | 1764000.00 | BRIDGE AND ROADS
29.00 | Material and labour for precast cement concrete B-0 type (1:2:4) 12.5 mm aggreat jallies 35 mm thick and set in cement mortar 1:6. | 10.00 | SQM | 821.22 | 858.00 | 8580.00 | 820.00 | 8200.00 | 8200.00 | P S G CONSTRUCTIONS
30.00 | Supply of liquid water proofing compound | 10.00 | Per Litre | 300.73 | 450.00 | 4500.00 | 300.00 | 3000.00 | 3000.00 | P S G CONSTRUCTIONS
31.00 | M & L for Damp proof course in CM 1:2:4 type in 40 mm thick B0 to horizontal or vertical surfaces including necessary formwork | 80.00 | SQM | 325.92 | 500.00 | 40000.00 | 325.00 | 26000.00 | 26000.00 | P S G CONSTRUCTIONS
32.00 | Material and labour for precast cement concrete type B1 1:2:4 20 mm graded aggregate set in cemtn mortar 1:4 in landings , cover slabs, manholes, chullas hoods, chajjas water groughs, mangers, shelves and similar articles with plain faces | 15.00 | CUM | 12711.87 | 13282.00 | 199230.00 | 12700.00 | 190500.00 | 190500.00 | P S G CONSTRUCTIONS
33.00 | M & L for Cutting chases, pinning in. making good to Brick work / concrete facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting not exc 10 cm girth | 100.00 | RM | 58.02 | 450.00 | 45000.00 | 58.00 | 5800.00 | 5800.00 | P S G CONSTRUCTIONS
34.00 | M & L for Brick work with subclass ‘B’ bricks, straight or curved on plan exc 6m mean radius, built In cement mortor 1:6 | 350.00 | CUM | 6950.00 | 7500.00 | 2625000.00 | 7800.00 | 2730000.00 | 2625000.00 | BRIDGE AND ROADS
35.00 | M & L for Fly ash half Brick wall built in CM.1:4 using Sub-Class “B” Bricks. | 70.00 | SQM | 716.20 | 750.00 | 52500.00 | 820.00 | 57400.00 | 52500.00 | BRIDGE AND ROADS
36.00 | Material & labour for plastering with CM(1:3) 12mm thick celling plastering | 610.00 | SQM | 313.55 | 280.00 | 170800.00 | 300.00 | 183000.00 | 170800.00 | BRIDGE AND ROADS
37.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of inner brick work, concrete surfaces and Door & Window Jamb plastering. | 2600.00 | SQM | 302.59 | 300.00 | 780000.00 | 302.00 | 785200.00 | 780000.00 | BRIDGE AND ROADS
38.00 | M & L for plastering in CM 1:6, 15mm thick on fair faces of out side brick work, concrete surfaces and Door & Window Jamb plastering. | 2900.00 | SQM | 279.88 | 292.00 | 846800.00 | 306.00 | 887400.00 | 846800.00 | BRIDGE AND ROADS
39.00 | M & L for Extra over rendering or plastering for work in isolated widths or in widths not forming part of general plastering such as in bands, sunk panels, cornices, skirtings, drip moulds and similar work not exc 15 cm in width or girth; including cutting to edges, all mitres and stopped ends, etc. | 200.00 | RM | 58.65 | 400.00 | 80000.00 | 58.00 | 11600.00 | 11600.00 | P S G CONSTRUCTIONS
40.00 | Material and labour for cement concrete 1:2:4 Type B1 20mm graded aggregate in foundation filling and mass concrete | 200.00 | CUM | 7513.33 | 7900.00 | 1580000.00 | 7700.00 | 1540000.00 | 1540000.00 | P S G CONSTRUCTIONS
41.00 | M & L for Pavement quality concrete(PQC) of minimum 28 days field Flexural strength of 45Kg/ Sqcm or 4.5 Mpa, aggregate gradation as per Table 3 of IRC 15- 2017, coarse aggregate of clean, hard strong, dense, non-porous and durable pieces of crushed stone or gravel, fine aggregates of clean natural sand or crushed stone sand or combination of both using minimum 360 kg/cum of cement with non-circular, virgin synthetic fibre of 12-18 mm length, specific gravity 1.34 to 1.39, UV stable, alkali resistant, with equivalent dia 15-40 micron, minimum melting temperature as 240°C and minimum tensile strength of 300 Mpa and at the rate as specified by the manufacturer. PQG laid, spread and compacted with slip-form paver of minimum 7.50 m width, including curing and tining by Texturing cum Curing Machine complete all as specified and directed. Required surface texturing to be done as specified in Clause 10.1.14 and Table 9 of IRC 15-2017 | 255.00 | CUM | 9749.72 | 11100.00 | 2830500.00 | 9900.00 | 2524500.00 | 2524500.00 | P S G CONSTRUCTIONS
42.00 | Formation of surface by power roller (Exc 8 but not exceeding 12T) for consolidating surfaces in cutting. | 120.00 | 10 SQM | 29.90 | 30.00 | 3600.00 | 30.00 | 3600.00 | 3600.00 | P S G CONSTRUCTIONS, BRIDGE AND ROADS
43.00 | Material and Labour for Laying and compacting 150 mm thick (compacted thickness) Granular Sub Base Course (GSB) grading as per Grade I as specified Table 400-1 of MoRTH specifications for Road and Bridge works, 2013, in a single layer over compacted subgrade with natural sand, crushed gravel, crushed stone, crushed slag, or combination thereof as per the grading required The materials are mechanically mixed, spread and leveling on the subgrade by using motor grader of adequate capacity, and rolling with vibratory roller of capacity 80-100 KN static weight for achieving required compaction density of atleast 98% of the Maximum Dry Density. Consolidating to required gradient and camber complete all as specified and directed with finished surface tolerances as per Table 900-1 of MoRTH specifications for Road and Bridge works, 2013. | 120.00 | 10 SQM | 4527.22 | 4700.00 | 564000.00 | 4500.00 | 540000.00 | 540000.00 | P S G CONSTRUCTIONS
44.00 | M & L for Laying and compacting 225 mm thick (compacted thickness) Wet Mix Macadam (WMM) grading as per table 400-13 of MoRTH :specifications for Road and Bridge works 2013 manufactured in WMM plant, material comprising of clean, crushed, graded aggregate and granular material premixed with water to a dense mass, spreading with sensor paver and rolling with vibratory roller of capacity 80-100KN static weight and consolidating to required gradient and camber complete all as specified and directed The finished surface tolerances to be as per Table 900-1 of MoRTH specifications for Road and Bridge works 2013 WMM laid in three IayerS of 75 mm each | 120.00 | 10 SQM | 7249.61 | 7575.00 | 909000.00 | 7200.00 | 864000.00 | 864000.00 | P S G CONSTRUCTIONS
45.00 | Supply and laying 400 micron thick HDPE sheet (VIRIGIN QUALITY) water proof wrinkle free without puncture having minium weight 390gm/sqm over tack coat /sand cushion as specified in the design with over lap between adjacent strips and at transverse joint as minimum 300 mm. | 1200.00 | SQM | 135.08 | 150.00 | 180000.00 | 135.00 | 162000.00 | 162000.00 | P S G CONSTRUCTIONS
46.00 | Material and Labour for Forming 25 mm width expansion joint in concrete slab for full depth of PQC. Early entry saw and subsequent cutting by using diamond bit cutter of appropriate size, straight and smooth edges. Joint cleaned thoroughly with application of compressed air. Joint shall be made dry, vacuum cleaned and free of dirt, oil, vegetation and other debris. The joint then filled with pre-molded 25 mm thick compressible polyethylene closed cell type filler board as specified, thereafter application of two coats of primer with thin brush by forward and backward movement at an interval of 30 minutes before placing the backup rod and pouring the sealant. Placing of closed cell, medium density, crossed linked polyethylene foam backup rod of 30 mm dia, over filler board and filled with polyurethane based sealant complying with BS- 5212, BS 4254 and EN-141gzc-2003 with minimum movement accommodation factor (MAF) of+/- 30% having minimum 10 year performance guarantee, applying masked tape on the edges of joints and removing the masking tape after filling of sealant as per the method specified by the manufacturer complete as specified and directed | 50.00 | 10RM | 5133.49 | 5365.00 | 268250.00 | 5100.00 | 255000.00 | 255000.00 | P S G CONSTRUCTIONS
47.00 | M & L for Virified Ceramic tiles 10 mm thick (square/ rectangular) polished, area of each tiles exceeding 0.36 sqm , in floors/wall etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including Screed bedding 1:4, 15mm thick for laying floor finishes with for joint free | 550.00 | SQM | 2073.62 | 2166.00 | 1191300.00 | 1800.00 | 990000.00 | 990000.00 | P S G CONSTRUCTIONS
48.00 | S& F of Non - skid Ceramic coloured tiles 7 to 8 mm thick (square/ rectangular) area of each tile exceeding 0.18 sqm but not exceeding 0.38 sqm,, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match., including Screed bedding 1:4, 15mm thick for laying floor finishes with for joint free non skid tiles. | 210.00 | SQM | 2139.86 | 2235.00 | 469350.00 | 1990.00 | 417900.00 | 417900.00 | P S G CONSTRUCTIONS
49.00 | S& F of Glazed ceramic coloured tiles in vertical surface 350x 250x 7 mm/ 450X 350X 7mm thick set and jointed in neat cement slurry and pointed in white or colour cement to match include for joint free non skid tiles | 900.00 | SQM | 1652.67 | 1726.00 | 1553400.00 | 1690.00 | 1521000.00 | 1521000.00 | P S G CONSTRUCTIONS
50.00 | Supply and fixing of Cement concrete Tiles 20cmx20cmx20mm thick with grey cement and pigment machine pressed with screed bed or bedding layer in CM 1:3 , 15mm thick and pointed in neat ceemnt slurry in floors and cut polished. | 100.00 | SQM | 1518.86 | 1590.00 | 159000.00 | 1500.00 | 150000.00 | 150000.00 | P S G CONSTRUCTIONS
51.00 | S & F of II class hard wood door frame, wrought framed rebated on the solid rounded or chamfered put together+B61with glue pined at joints. | .15 | CUM | 99345.22 | 103900.00 | 15585.00 | 99000.00 | 14850.00 | 14850.00 | P S G CONSTRUCTIONS
52.00 | S & F of 40 mm thick Plain, framed, panelled shutters (any number of panels), with panels of timber flat on both sides (feather edged), or of veneered particle board medium density, wood particle board with commercial face veneers: supplied and fitted to chowkats | 11.00 | SQM | 3335.00 | 3500.00 | 38500.00 | 3335.00 | 36685.00 | 36685.00 | P S G CONSTRUCTIONS
53.00 | S & F of Factory made single extruded WPC (Wood Polymer Composite) solid door/ window/ Ceosetory windows & other Frames/ Chowkhat of size 65 x 100 mm comprising of virgin PVC polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) fabricated with miter joints after applyingPVC solvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 750 kg/ cum, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum compressive strength of 58 N/mm2, modules of elasticity 900 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/ moisture proof and fire retardantand fixed in position with MS hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-in-Charge. (M.S. hold fast/ lugs or SS dash fasteners shall be paid for separately). | 55.00 | RM | 1104.35 | 1050.00 | 57750.00 | 1100.00 | 60500.00 | 57750.00 | BRIDGE AND ROADS
54.00 | S & f of Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid decorative type flush door shutter of size 35mm thick comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/ wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moistureproof and fire retardant. WPC to be laminated with PVC foil of minimum 14 microns thick of approved design pasted with hot melt adhesive on both faces of shutter and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer- In - Charge. (Note: stainless steel butt hinges and necessary S.S screws shall be paid separately) as per approved by E-I-C. | 18.00 | SQM | 5176.04 | 5400.00 | 97200.00 | 3900.00 | 70200.00 | 70200.00 | P S G CONSTRUCTIONS
55.00 | S & F of 200mm Aluminum barrel towerbolts, with cast or sheet barrel and rolled or cast bolts and fixed . | 40.00 | EACH | 344.31 | 360.00 | 14400.00 | 330.00 | 13200.00 | 13200.00 | P S G CONSTRUCTIONS
56.00 | S & F of 125mm butt hinges, Butt hinges, extruded brass, with mild steel hinge pin, bright polished and fixed, type B-11 | 50.00 | EACH | 295.44 | 310.00 | 15500.00 | 295.00 | 14750.00 | 14750.00 | P S G CONSTRUCTIONS
57.00 | S & F of 150mm Aluminium handles, Extruded aluminium alloy handles, fabricated type, anodised | 42.00 | EACH | 101.43 | 110.00 | 4620.00 | 101.00 | 4242.00 | 4242.00 | P S G CONSTRUCTIONS
58.00 | S & F of 300 mm Aluminium alloy, anodised, sliding door bolt with hasp, staple (bolt type) and fixing clips of sheet, cast or extruded sections and fixing bolts and sliding bolts of extruded sections or cast-aluminium alloy and fixed | 5.00 | EACH | 492.43 | 515.00 | 2575.00 | 450.00 | 2250.00 | 2250.00 | P S G CONSTRUCTIONS
59.00 | S & F of 200 mm Aluminium alloy, anodised, sliding door bolt with hasp, staple (bolt type) and fixing clips of sheet, cast or extruded sections and fixing bolts and sliding bolts of extruded sections or cast-aluminium alloy and fixed | 11.00 | EACH | 297.28 | 310.00 | 3410.00 | 290.00 | 3190.00 | 3190.00 | P S G CONSTRUCTIONS
60.00 | Supply and fixing of holdfast , Bands, straps, supports or stays for rainwater, ventilating pipes,including bolts, if required:hooks (stay), heavy, for largegates; hook and pintle hinges:large hasps and staples; chains;hand made sliding bolts; clamps;hold fasts; wall ties; hooks forhanging fans; plain angle cleatsfor securing purlins to wood trusses or rafters; knee piecevinserts; two way and three way straps, plate washers and similar small articles conforming to Fe-290 Gde-E-165 | 10.00 | KG | 208.24 | 217.00 | 2170.00 | 200.00 | 2000.00 | 2000.00 | P S G CONSTRUCTIONS
61.00 | S & Fixing of door closer hydrauliclically regulated, designation no.1, universal type, suitable for door shutters upto 700mm in width and of weight not more than 35 kg and fixed with aluminium (extruded section body) | 2.00 | EACH | 1339.18 | 1300.00 | 2600.00 | 1500.00 | 3000.00 | 2600.00 | BRIDGE AND ROADS
62.00 | Supply and fixing of Floor door stopper of aluminium alloy body and tongue, anodised, with hard drawn steel spring, fixed in floor | 5.00 | EACH | 116.84 | 121.00 | 605.00 | 115.00 | 575.00 | 575.00 | P S G CONSTRUCTIONS
63.00 | S & F of MS Painted hook set for hanging cloth in bath and Toilet | 11.00 | EACH | 500.00 | 522.00 | 5742.00 | 500.00 | 5500.00 | 5500.00 | P S G CONSTRUCTIONS
64.00 | S & F of Magnetic door Cather stopper holder Brass/Antique | 5.00 | EACH | 450.00 | 470.00 | 2350.00 | 450.00 | 2250.00 | 2250.00 | P S G CONSTRUCTIONS
65.00 | S&F of Weather Stripping Door Bottom Sealing Strip used for sound proof doorguard, stop outside dust hot air,Insects size 39" large as directed | 5.00 | EACH | 550.00 | 575.00 | 2875.00 | 550.00 | 2750.00 | 2750.00 | P S G CONSTRUCTIONS
66.00 | Providing and fixing factory made UPVC white colour casement (Openable) window made of extruded profiles with wall thickness 0f 2.3mm (+-0.2mm). Window profile with hollow section with multi chamber, Frame (60mm x 58mm), sash (60mm x 73mm), T Profile (One vertical length in between two shutters) (60mmx 74mm). Glazing bead (35mmx20mm) will be mitered cut and fusion welded at all corners, including drilling of holes for fixing of hardware, EPDM gasket. 1.2 +- 0.2mm thick, galvanised steel frame (28mm x 21.5mm), sash (31mm x 27.5mm), T Profile (27mm x 17mm) to be inserted in required profile, frame will be fixed to the wall with 8mm x 100mm long fasteners. Hardware :[casement handle made of zinc alloyed (white powder coated). But hinges of zinc alloyed (white powder coated), transmission gear made of mild steel with multi point locking system] and 5mm thick glazing with selected quality glass. (Note: The unit rate quoted by contractor excludes cost of glass and includes all other connected accessories. Net opening will be measured for payment purpose). (c) Area exceeding 2.00 Sqm each | 85.00 | SQM | 11232.14 | 11737.00 | 997645.00 | 9900.00 | 841500.00 | 841500.00 | P S G CONSTRUCTIONS
67.00 | Supply and fixing factory made uPVC white colour fixed glazed window/ventilator made of (small series) frame 47 x 50 mm mullion 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension (Area upto 0.75 sqm.) comprising of uPVC multi-chambered frame and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, EPDM gasket, G.I. fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Glass shall be paid separately) | 30.00 | SQM | 7360.61 | 7690.00 | 230700.00 | 7300.00 | 219000.00 | 219000.00 | P S G CONSTRUCTIONS
68.00 | S & F of 5.5mm Sheet glass, ordinary quality and glazing rubber beading with in square exceeding 0.5 sq. m in each pane as required for the aluminium partition. | 135.00 | SQM | 1385.72 | 1447.00 | 195345.00 | 1200.00 | 162000.00 | 162000.00 | P S G CONSTRUCTIONS
69.00 | S & f of Aluminium Hollow Section frame( size 40mm x12mm)/ 1.8' windows (size 25mm x12mm) for Mosquito Proofing shutter and size 16mmx9mm rectangular hollow sections with necessary corner brackets), intermediate sash bares etc all complete and as directed. | 135.00 | SQM | 1200.00 | 1255.00 | 169425.00 | 1500.00 | 202500.00 | 169425.00 | BRIDGE AND ROADS
70.00 | S & F of Powder coated aluminium (minimum thickness of powder coating 50 micron) work for doors, windows, ventilators and partitions (Fixed portions) with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS:1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing/ paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-Charge. | 50.00 | KG | 522.11 | 545.00 | 27250.00 | 675.00 | 33750.00 | 27250.00 | BRIDGE AND ROADS
71.00 | M & L for Particle board 12 mm thick for Aluminum partition fixed with neoprene beading. | 20.00 | SQM | 619.78 | 647.00 | 12940.00 | 900.00 | 18000.00 | 12940.00 | BRIDGE AND ROADS
72.00 | S & f of Stainless steel wire cloth. 0.36mm nominal dia of wire and average width of aperture 1.40mm and fixed with stainless steel wire staples | 100.00 | SQM | 837.55 | 875.00 | 87500.00 | 830.00 | 83000.00 | 83000.00 | P S G CONSTRUCTIONS
73.00 | M&L for Machine cut kota stone slab flooring 20-25mm thick over cement screed base laid and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete with screed bed or bedding layer in CM 1:6 , 25mm thick and pointed in neat ceemnt slurry in floors and cut polished. | 50.00 | SQM | 1536.16 | 1600.00 | 80000.00 | 1530.00 | 76500.00 | 76500.00 | P S G CONSTRUCTIONS
74.00 | M&L for Machine cut kota stone slab flooring 20-25mm thick over cement screed base laid and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete in riser of steps, skirting, dado and pillar laid over cement screed and jointed | 4.00 | SQM | 1223.95 | 1450.00 | 5800.00 | 1220.00 | 4880.00 | 4880.00 | P S G CONSTRUCTIONS
75.00 | Supply and Fixing of granite(of any colour) work (table rubbedand polished) 20mm thick to fixing on wash basin platform, in steps, jambs, pillars, window-cills, cooking platforms including machine cutting suitably to fix the wash basin incluing nosing of inner nd outer edges in CM 1:4 including pointing in white cement(1:2) using marble dust with admixture with shade of granite complete as directed. | 20.00 | SQM | 5961.26 | 6228.00 | 124560.00 | 5000.00 | 100000.00 | 100000.00 | P S G CONSTRUCTIONS
76.00 | Material and labour for Providing edge moulding to18-20mm thick stone of counters vanities etc. including machine polishing to edge to give high gloss finish etc. completemaking nosing /Rounding to edges of Granite stone slabs one edge, such as in steps, platform, skirts, and othersimilar situations complete as direction by EIC. | 10.00 | RM | 432.69 | 450.00 | 4500.00 | 430.00 | 4300.00 | 4300.00 | P S G CONSTRUCTIONS
77.00 | Supply and Fixing of Stainless steel sink with draining board, made out of 1.00mm thick sheet for kitchen or laboratory with plug, washers waste pipe, cast iron cantilever brackets, connecting union overall size 915mmx460mm with bowl size 410mm x 330mm x 160mm complete all as directed by EIC. | 4.00 | EACH | 5182.05 | 7500.00 | 30000.00 | 5180.00 | 20720.00 | 20720.00 | P S G CONSTRUCTIONS
78.00 | Providing and fixing 600mm wide Wash basin of polished 19mm thick granite slab top of approved shade laid on 25mm thick one side polished cuddupah with cement mortar in between, supported on 25mm thick both sides polished cuddapah verticals as directed, Provide 200mm high front facia & band above the counter top of same shade granite. All exposed surfaces of platform to be finished in same granite slab and all cut-out, exposed edges to be bull nosed with mirror polished. Also include making necessary cut-outs thru counter top. Cost to also include making necessary cut-outs for taking drainage pipes and Nahni traps in raised platform, all completed and finished to satisfactory conditions. used for dinning | 2.00 | RM | 17700.00 | 18500.00 | 37000.00 | 17500.00 | 35000.00 | 35000.00 | P S G CONSTRUCTIONS
79.00 | S & F of chromium plated Bib taps, long body type cast copper alloy with crutch or butterfly handle, screwed down, screwed for iron pipe or for brass ferrule and fixed | 2.00 | EACH | 560.04 | 585.00 | 1170.00 | 560.00 | 1120.00 | 1120.00 | P S G CONSTRUCTIONS
80.00 | S & F of Stop valves, cast copper alloy, screwed down, high pressure, with crutch or butterfly handle, screwed both ends for iron pipe or for unions and fixed fancy type, chromium plated with long shank and cup (concealed type) | 20.00 | EACH | 868.03 | 900.00 | 18000.00 | 860.00 | 17200.00 | 17200.00 | P S G CONSTRUCTIONS
81.00 | S & F of 20 mm Bib tap standard of PTMT any colour high pressure screwed for iron pipe and fixed. (Minimum weight 15mm-90gms/20mm 125gms). | 11.00 | EACH | 349.59 | 360.00 | 3960.00 | 340.00 | 3740.00 | 3740.00 | P S G CONSTRUCTIONS
82.00 | Supply and Fixing of Precast SRFC manhole covers with frame complete all as directed by EIC. | 10.00 | SQM | 4500.00 | 7500.00 | 75000.00 | 4500.00 | 45000.00 | 45000.00 | P S G CONSTRUCTIONS
83.00 | M&L for PVC Multi floor trap diameter of out let in 75mm with grating including with solvent cement. | 17.00 | EACH | 460.00 | 480.00 | 8160.00 | 400.00 | 6800.00 | 6800.00 | P S G CONSTRUCTIONS
84.00 | M & L for PVC Gully trap 125/110mm of dia, setting and jointing with solvent cement. | 12.00 | EACH | 304.75 | 320.00 | 3840.00 | 304.00 | 3648.00 | 3648.00 | P S G CONSTRUCTIONS
85.00 | S & F of Looking Mirror of any size as required at site selected quality glass, mount on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass. | 20.00 | SQM | 1355.00 | 1415.00 | 28300.00 | 1355.00 | 27100.00 | 27100.00 | P S G CONSTRUCTIONS
86.00 | S & F of IWC Squat pan (Orissa pattern) Size 580 x 440mm white / colour with integral foot rests providing lime concrete bed and finishing the top etc.,10 litres flushing cistern low level white with inlet ball valve float and handle including bracket Plastic water closet seat, black, closed pattern with flat bottom,and cover and mild steel chromium plated or aluminised hinging device and etc. . | 3.00 | EACH | 6112.47 | 6400.00 | 19200.00 | 6100.00 | 18300.00 | 18300.00 | P S G CONSTRUCTIONS
87.00 | Supply of EWC with "P" or "S" trap including bedding valveless syphonic action type 10 litres flushing cistern low level white with inlet ball valve float and handle including bracket Plastic water closet seat, black, closed pattern with flat bottom,and cover and mild steel chromium plated or aluminised hinging device and etc., complete and dismantling the existing IWC | 4.00 | EACH | 6034.21 | 6300.00 | 25200.00 | 6000.00 | 24000.00 | 24000.00 | P S G CONSTRUCTIONS
88.00 | S & F of Vitreous China urinals, half stall type refixing in old type (back or corner wall type), work complete including providing and fixing plugs, bedding urinal against wall in cement mortar 1:2, securing urinal to plugs with and including 60mm long brass screws, pointing around urinal back in cement; fixing automatic flushing cistern with brackets, flush pipe, grating and Union for discharge pipe.including Urinal spreader of PTMT any colour for fixing with 15 mm dia pipe. (Minimum weight 60gms) | 6.00 | EACH | 1132.52 | 2500.00 | 15000.00 | 1600.00 | 9600.00 | 9600.00 | P S G CONSTRUCTIONS
89.00 | Supply and Fixing of Granite Partition made out of 20 mm thick granite fixed as urinal partition for 4 feet height and average width 0.50 M and the front visible edges shall be full rounded to have a smooth surface including cutting the tiles neatly and inserting the granite urnla partioin in the tiles and securing and finishing with epoxy grout. | 4.00 | EACH | 2500.00 | 2600.00 | 10400.00 | 2500.00 | 10000.00 | 10000.00 | P S G CONSTRUCTIONS
90.00 | S & F of Angle stop valve of 15 MM PTMT any colour high pressure screwed for iron pipe and fixed,(Minimum weight 15mm-90gms) | 7.00 | NOS. | 251.00 | 260.00 | 1820.00 | 250.00 | 1750.00 | 1750.00 | P S G CONSTRUCTIONS
91.00 | S & F of PVC connections 15mm size with PTMT nuts of length 600mm | 7.00 | NOS. | 230.00 | 240.00 | 1680.00 | 200.00 | 1400.00 | 1400.00 | P S G CONSTRUCTIONS
92.00 | S & F of health faucet(ABS Body) mild steel chromium plated suitable for 15 mm dia pipe with 1.25 meter long flexible tube and ABC wall hook including making connections and fixed in position complet in all respect fixing in pipe etc, | 7.00 | EACH | 507.32 | 2500.00 | 17500.00 | 500.00 | 3500.00 | 3500.00 | P S G CONSTRUCTIONS
93.00 | Supply and Fixing of Shower arm 15 mm size, 195mm long with bend of 45degree with flange of PTMT any colour.(Minimum weight 40gms). | 4.00 | EACH | 126.73 | 450.00 | 1800.00 | 126.00 | 504.00 | 504.00 | P S G CONSTRUCTIONS
94.00 | S & F of PVC 110mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 20.00 | RM | 464.19 | 490.00 | 9800.00 | 460.00 | 9200.00 | 9200.00 | P S G CONSTRUCTIONS
95.00 | S & F of PVC 110mm dia Pipes single socketed, in any length with rubber ring joints fixed to walls. | 135.00 | RM | 545.97 | 570.00 | 76950.00 | 540.00 | 72900.00 | 72900.00 | P S G CONSTRUCTIONS
96.00 | S & F of PVC 75 mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 50.00 | RM | 269.15 | 280.00 | 14000.00 | 269.00 | 13450.00 | 13450.00 | P S G CONSTRUCTIONS
97.00 | S & F of PVC Bend with door 110mm dia any radius, | 70.00 | EACH | 195.50 | 200.00 | 14000.00 | 195.00 | 13650.00 | 13650.00 | P S G CONSTRUCTIONS
98.00 | S & F of PVC Bend with door 75mm dia any radius, | 5.00 | EACH | 166.75 | 174.00 | 870.00 | 166.00 | 830.00 | 830.00 | P S G CONSTRUCTIONS
99.00 | S & F of PVC single 'Y' with door 110 mm dia any radius, | 4.00 | EACH | 687.19 | 717.00 | 2868.00 | 680.00 | 2720.00 | 2720.00 | P S G CONSTRUCTIONS
100.00 | S & F of PVC (SWR) 75mm, junction single, (Single T) equal or unequal and provided. | 4.00 | EACH | 448.82 | 468.00 | 1872.00 | 445.00 | 1780.00 | 1780.00 | P S G CONSTRUCTIONS
101.00 | S & F of PVC (SWR) 110mm, junction single, (Single T) equal or unequal and provided. | 4.00 | EACH | 579.63 | 605.00 | 2420.00 | 570.00 | 2280.00 | 2280.00 | P S G CONSTRUCTIONS
102.00 | PVC (SWR) reducers 110mm dia any radius. | 4.00 | EACH | 155.25 | 280.00 | 1120.00 | 155.00 | 620.00 | 620.00 | P S G CONSTRUCTIONS
103.00 | S & F of PVC Vent Cowl 110mm dia. | 7.00 | EACH | 132.25 | 250.00 | 1750.00 | 90.00 | 630.00 | 630.00 | P S G CONSTRUCTIONS
104.00 | S&F of Cast iron work grade FG 150, unmachined, inbrackets, gully traps,gratings, railing, frames,manhole covers, exe. 5 kg size 300x600 m wieghing around 15 kg fixed on floor including setting & finshing the sides with Cement mortar comeple (10 nos @ 15 kg / no 150 Kg ) | 150.00 | KG | 169.83 | 180.00 | 27000.00 | 170.00 | 25500.00 | 25500.00 | P S G CONSTRUCTIONS
105.00 | Supplying and laying of CPVC pipes 20mm dia SDR 11 including all fittings such as elbow, tee, etc., Plain CPVC SDR 11 fittings on walls /ceiling or laying in floors complete all as specified | 70.00 | RM | 281.29 | 290.00 | 20300.00 | 280.00 | 19600.00 | 19600.00 | P S G CONSTRUCTIONS
106.00 | Supplying and laying of CPVC pipes 25mm dia SDR 11 including all fittings such as elbow, tee, etc., Plain CPVC SDR 11 fittings on walls /ceiling or laying in floors complete all as specified. | 25.00 | RM | 406.41 | 420.00 | 10500.00 | 400.00 | 10000.00 | 10000.00 | P S G CONSTRUCTIONS
107.00 | S & F of 50 mm dia UPVC Pipes (SCH-40)of pressure rating 6 kgf/cm2 fixed complete to walls, ceilings or in floors etc. | 250.00 | RM | 389.85 | 450.00 | 112500.00 | 380.00 | 95000.00 | 95000.00 | P S G CONSTRUCTIONS
108.00 | S & F of Low Density Poly Ethylene Pipes (LDPE) of pressure rating 6 kg/cm2 laid in trenches 25mm | 250.00 | RM | 173.96 | 550.00 | 137500.00 | 173.00 | 43250.00 | 43250.00 | P S G CONSTRUCTIONS
109.00 | S & F of Gun Metal Valve 20mm dia with iron wheel head, screwed both ends for iron pipe. | 6.00 | EACH | 621.13 | 640.00 | 3840.00 | 620.00 | 3720.00 | 3720.00 | P S G CONSTRUCTIONS
110.00 | S & F of Gun Metal Valve 25mm dia with iron wheel head, screwed both ends for iron pipe. | 6.00 | EACH | 675.33 | 850.00 | 5100.00 | 675.00 | 4050.00 | 4050.00 | P S G CONSTRUCTIONS
111.00 | S & F of Gun Metal Valve 50mm dia with iron wheel head, screwed both ends for iron pipe. | 2.00 | EACH | 1125.94 | 1170.00 | 2340.00 | 1125.00 | 2250.00 | 2250.00 | P S G CONSTRUCTIONS
112.00 | S & F of 25/20 mm dia brass ball valves high pressure, with epoxy coated aluminium rod & High density plastic float and fly nut complete screwed for iron pipe. Minimum weight for 25mm dia shall be 455 gms. | 4.00 | EACH | 800.00 | 830.00 | 3320.00 | 800.00 | 3200.00 | 3200.00 | P S G CONSTRUCTIONS
113.00 | S & F of 1000 litres capacity Rotational moulded polyethylene water storage tanks (cylindrical vertical with closed top) hoisted and fixed in position all as specified in SSR Part I | 4.00 | EACH | 9425.93 | 14500.00 | 58000.00 | 9425.00 | 37700.00 | 37700.00 | P S G CONSTRUCTIONS
114.00 | Supply and fixing of SS Hand wash basin length for 8 users with CP tap and all accessories required. | 1.00 | EACH | 90000.00 | 94000.00 | 94000.00 | 90000.00 | 90000.00 | 90000.00 | P S G CONSTRUCTIONS
115.00 | Supply and Fixing of 2nd class hardwood Wrought wooden scantlings for making platform for the Stainless steel sink area | 1.20 | CUM | 117729.86 | 123000.00 | 147600.00 | 105000.00 | 126000.00 | 126000.00 | P S G CONSTRUCTIONS
116.00 | Supply and Fixing of framed work using Fe 410 -W A quality mild rolled steel tube,angles,plates etc. inculding cutting,welding and grouting in the brick work etc complete. | 500.00 | KG | 144.97 | 210.00 | 105000.00 | 150.00 | 75000.00 | 75000.00 | P S G CONSTRUCTIONS
117.00 | S & F of Framed work such as grills, gratings, for ornamentaland intricate designetc.. with ends of bars shouldered and/or riveted, or forged into spikes; framed guard bars; barred iron doors; ladders; framed balusters; walk ways; railings; framework of water tanks and similar work for portions framed and hung asgates, including pintle hinges, stops,hand made sliding bolts, etc conforming to Fe.290.Gde-E-16 | 3500.00 | KG | 189.59 | 190.00 | 665000.00 | 190.00 | 665000.00 | 665000.00 | P S G CONSTRUCTIONS, BRIDGE AND ROADS
118.00 | S & F of Framed work as in doors or gates of angle or other section with gusset plates, rails, braces, etc., complete, drilled for fixing of steel sheeting or other covering. Doors, etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering, running rails and guides) and hanging; also fastening and fixing complete,at site as per design/model approved by E-I-C. | 250.00 | KG | 135.36 | 210.00 | 52500.00 | 160.00 | 40000.00 | 40000.00 | P S G CONSTRUCTIONS
119.00 | Material and Labour for Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, leveland curvature, jointed with cement mortar1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5 mm), including making drainage opening wherever required complete. | 25.00 | CUM | 9792.14 | 10200.00 | 255000.00 | 12000.00 | 300000.00 | 255000.00 | BRIDGE AND ROADS
120.00 | M & L for Concrete bed to drain pipes (200mm).in PCC Type C2 1:3:6 Including acking under, and haunching against the sides of pipes after they are laid and tested in | 150.00 | RM | 744.96 | 900.00 | 135000.00 | 740.00 | 111000.00 | 111000.00 | P S G CONSTRUCTIONS
121.00 | S & F of 150mm UPVC Pipes (SCH-80) laid in trenches and jointed as specified. | 150.00 | RM | 3077.40 | 3210.00 | 481500.00 | 2900.00 | 435000.00 | 435000.00 | P S G CONSTRUCTIONS
122.00 | M&L for 225 mm(inner dia) Cutting into existing manholes for connecting new drains, making good to pipe and rendering, cutting out existing benching for and forming branch channel (1/2 round or 3/4 section) in cement concrete 1:2:4 type B1 smooth finished, and reforming benching as required. | 2.00 | EACH | 1719.25 | 1796.00 | 3592.00 | 1710.00 | 3420.00 | 3420.00 | P S G CONSTRUCTIONS
123.00 | M & L for painting to wooden surfaces of any description over 10cm width or girth with Two coats of synthetic enamel paint. including pink primer preparing new wooden surfaces. | 90.00 | SQM | 161.23 | 260.00 | 23400.00 | 150.00 | 13500.00 | 13500.00 | P S G CONSTRUCTIONS
124.00 | M & L for painting to steel surfaces of any description, over 10cm in width or girth,with two coats of synthetic enamel paint over a coat of redoxide primer including preparing new surfaces. | 100.00 | SQM | 162.50 | 260.00 | 26000.00 | 150.00 | 15000.00 | 15000.00 | P S G CONSTRUCTIONS
125.00 | M&L for applying for single coat of alkali resistant priming paint including preparation of Ceiling surfaces with 3mm thick wall care putty on gypsum board Ceiling (Make shall be of JK white putty or Birla white wall care putty).or suitabally equivalent make. | 300.00 | SQM | 154.07 | 225.00 | 67500.00 | 150.00 | 45000.00 | 45000.00 | P S G CONSTRUCTIONS
126.00 | Material and labour for applying two coats of Exterior emulsion new External wall surfaces all complete (MAKE:- ASIAN paint (Apex Ultima),NEROLAC(Excel Total) & BERGER(Weather coat long life 7). or suitabally equivalent make. | 1000.00 | SQM | 116.84 | 250.00 | 250000.00 | 120.00 | 120000.00 | 120000.00 | P S G CONSTRUCTIONS
127.00 | Material and labour for applying two coat of oil bound distemper on internal wall surfaces (MAKE:- ASIAN, NEROLAC, BERGER) or suitabally equivalent make. | 600.00 | SQM | 74.29 | 150.00 | 90000.00 | 90.00 | 54000.00 | 54000.00 | P S G CONSTRUCTIONS
128.00 | M & L for painting concrete surfaces pre cast kerb stones in approved design, shape and colour of two coats of Synthetic enamal with one coat of red led primer including new surfaces if required.Make as aapproved by the EIC. | 50.00 | SQM | 157.90 | 250.00 | 12500.00 | 160.00 | 8000.00 | 8000.00 | P S G CONSTRUCTIONS
129.00 | Material and Labour for plugging of hard/dense soil including necessary preparation of the existing ground for plantation of Bermuda/Zoysia/Korean Gras etc., all complete as directedby EIC. | 505.00 | SQM | 650.00 | 679.00 | 342895.00 | 650.00 | 328250.00 | 328250.00 | P S G CONSTRUCTIONS
130.00 | Supply and laying of Bermuda/Zoysia/Korean Grass including watering etc complete all as directed.. | 500.00 | SQM | 350.00 | 450.00 | 225000.00 | 350.00 | 175000.00 | 175000.00 | P S G CONSTRUCTIONS
131.00 | Supply and laying of Hedging plants (Golden Durantha,Clerodendron) including watering etc complete all as directed… | 225.00 | EACH | 93.00 | 210.00 | 47250.00 | 93.00 | 20925.00 | 20925.00 | P S G CONSTRUCTIONS
132.00 | supply and filling pure Red Earth including spreading, levelling the surfaces smooth and uniform to facilitate plantatin of grass, Hedge plants etc all complete as directed by EIC. | 210.00 | CUM | 2200.00 | 2200.00 | 462000.00 | 2200.00 | 462000.00 | 462000.00 | P S G CONSTRUCTIONS, BRIDGE AND ROADS
133.00 | Supply and spreading of cow dung manure for the plantations in the propsed site in various stages etc complete all as directed by EIC. | 125.00 | CUM | 700.00 | 730.00 | 91250.00 | 700.00 | 87500.00 | 87500.00 | P S G CONSTRUCTIONS
134.00 | Supply and filling of grannular space between casting pipe and raw bore with free pebbles of size 6mm to 10mm complete all as specifed and directed. | 14.00 | CUM | 1800.00 | 1900.00 | 26600.00 | 1800.00 | 25200.00 | 25200.00 | P S G CONSTRUCTIONS
135.00 | Testing water samples taken from borewell for potability at king Institute, Guindy, Chennai and submit the report in original as per the instruction of EIC. | 1.00 | EACH | 7500.00 | 15000.00 | 15000.00 | 7500.00 | 7500.00 | 7500.00 | P S G CONSTRUCTIONS
136.00 | Supplying transporting and lowering and fixing in bore well 50 mm inner dia and 60 mm outer dia of PVC threaded submersible pipe each 10 feet length with joint and wire lock system with pressure rating 20kgf/cm² (MAKE- FINOLEX / ASHIRVAD/ TRUBORE or suitabally equivalent make) only | 180.00 | RM | 750.00 | 850.00 | 153000.00 | 750.00 | 135000.00 | 135000.00 | P S G CONSTRUCTIONS
137.00 | Supply and fixing of 50 mm dia brass non return valves, screwed both ends for HDPE/PVC pipe with all accessories Note : Brass Non Return Valve + Nipple + Clamp + Welding or ( Pipe + MTA/FTA+ Valve ) required fitting included. | 2.00 | EACH | 4100.00 | 4300.00 | 8600.00 | 4100.00 | 8200.00 | 8200.00 | P S G CONSTRUCTIONS
138.00 | Supply and Fixing of NYLON rope of 12 mm dia along the PVC bore pipe and tied with motor base for safety of PVC pipes and tied with pvc tags of 5 mm thick each 1 meter of the bore well pipes. | 120.00 | RM | 22.00 | 75.00 | 9000.00 | 22.00 | 2640.00 | 2640.00 | P S G CONSTRUCTIONS
139.00 | Supply, install & commissioning of electric motor driven subersible pumpset multistage AC, 3 Phase, 400/440V, 50Hz with high quality Bronze impeller suction housing with perforated strainer with delivery size 50mm dia, complete with standard necessary accessories including Finolex make flat flexible weather proof PVC sheathed over insulated 3 core 4 sq.mm, 1100V grade from Motor to starter pumping capacity 60 to 70 LPM, Head 75 m ,10 Stage pump of 5 HP motor of (Make : Kirloskar /Texmo / CRI or suitabally equivalent make only) with water level sensor , and the size of the motor should be suitable for 6 inches dia bore. | 1.00 | EACH | 67000.00 | 90000.00 | 90000.00 | 72000.00 | 72000.00 | 72000.00 | P S G CONSTRUCTIONS
140.00 | Supply & fixing of pillar / wall mounting (as per site requirement) panel 1200mmX600mmX 200mm size of indoor / outdoor type made out of 2mm thick MS sheet including provision of 2 coats of Red Oxide primer and two coats of aluminium paint on surface. The box should have heavy duty hinges and front door should open by using panel key. The box shall be dust and vermin proof. The joints of the box shall be fully welded. The box and door should have the metal beading width of 10mm and 15mm respectively. The rubber/PVC beading should be provided around the box cover for water proof. The box shall be provided with 2 nos 6mm earthing bolts with 2 nos of plain washers and one spring washer with nut at both side of the box shall be provided. The box shall be provided 2 nos of gland holes suitable for 3.5C, 25Sqmm for cable entries for Incoming & Outgoing. All the power & control wiring shall be the scope of the contractor. The power wiring shall done between TPN main switch to starter & MCCB shall be done with 16 Sqmm PVC insulated flexible copper wires/cable with proper lugs. The wiring shall be neatly bunched together with non returnable cable ties. The panel shall be fitted with functional accessories such as: a) 3 phase, 415 Volts 32 Amps TPN main switch suitable for operation of above referred pump set (Make: Havells/Standard/Indo Asian or suitabally equiavalent make). b) Single phase preventer (Make: L&T, Minilec,Standard or suitabally equiavalent make). c) Voltmeter 0 to 500 Volts (Size: 96X96 mm, Make: AE/MECO/RISHAB or suitabally equiavalent make) with 3 phase selector switch (Make: Salzer/Switron/ Kaycee or suitabally equiavalent make). d) Ammeter 0 to 30 Amps (Size: 96X96mm, Make: MECO/IMP/RISHAB or suitabally equiavalent make) with 3 phase selector switch (Make:salzer/ Switron/Kaycee or suitabally equiavalent make) e) Indication lamps (LED integral type - 25mm panel cut) for R, Y, B phases (Make: Teknic/vaishnov/jai balaji or suitabally equiavalent make). f) Suitable rated DOL starter for above referred pump set motor with proper O/L relays and contactor (Make: Siemens/BCH/Schneider or suitabally equiavalent make).g) Electronic Timer (Range: 0 to 60min) (Make: EAPL/L&T/Siemens or suitabally equiavalent make).). h) Dry run protection relay suitable for 3HP to 10 HP submersible pump motor (Make: Minilec/Siemens/BCH Siemens/BCH or suitabally equiavalent make). | 1.00 | EACH | 90000.00 | 110000.00 | 110000.00 | 100000.00 | 100000.00 | 100000.00 | P S G CONSTRUCTIONS
141.00 | M & L For Drilling Bore holes 12 inch dia using power rig in any type of soil etc. and cleaning site after drilling. | 120.00 | RM | 650.00 | 680.00 | 81600.00 | 650.00 | 78000.00 | 78000.00 | P S G CONSTRUCTIONS
142.00 | Supplying transporting and lowering in raw bore wells PVC NON SLOTED Casing pipe of size 8 inch inner dia having thickness of 7.6 to 8.8 mm and lowering with vertical alingment including jointing complete . ( Make of the pipe shall be - Truebore/Finolex/Aashirvad or suitabally equiavalent make) are only acceptable. | 30.00 | RM | 1050.00 | 1100.00 | 33000.00 | 1800.00 | 54000.00 | 33000.00 | BRIDGE AND ROADS
143.00 | Supplying transporting and lowering in raw bore wells PVC VERTICAL SLOTED Casing pipe of size 8 inch inner dia having thickness of 7.6 mm to 8.8 mm and lowering with vertical alingment including jointing complete .( Make of the pipe shall be - Truebore/Finolex/Aashirvad or suitabally equiavalent make) | 90.00 | RM | 1100.00 | 1150.00 | 103500.00 | 1900.00 | 171000.00 | 103500.00 | BRIDGE AND ROADS
144.00 | Supply, installation, commis-sioning of Water cooler fully stainless steel, electric driven single phase having approx storage and nominal cooling capacity as shown 150 / 150 litres | 2.00 | Each | 76526.12 | 80000.00 | 160000.00 | 76000.00 | 152000.00 | 152000.00 | P S G CONSTRUCTIONS
145.00 | Supply and laying of MS ERW PIPE 100mm pipe | 200.00 | RM | 1038.45 | 1080.00 | 216000.00 | 1000.00 | 200000.00 | 200000.00 | P S G CONSTRUCTIONS
146.00 | Supply and Fixing of Hydrant valve single headed | 1.00 | EACH SET | 33808.85 | 35330.00 | 35330.00 | 39000.00 | 39000.00 | 35330.00 | BRIDGE AND ROADS
147.00 | Supply and Fixing of Hose box made of 18 gauge MS Sheet 800mm X 600mm X 250mm with double door with 4 mm thick glasses and door frame made of 16 gauge MS sheet painted fire red out side and brilliant white inside. | 1.00 | EACH SET | 3862.85 | 5000.00 | 5000.00 | 4500.00 | 4500.00 | 4500.00 | P S G CONSTRUCTIONS
148.00 | Supply and Fixing of Hose reel drum 30m | 1.00 | EACH SET | 8913.65 | 11000.00 | 11000.00 | 8900.00 | 8900.00 | 8900.00 | P S G CONSTRUCTIONS
149.00 | Supply & Laying of 4 Core,PVC insulated, armoured, heavy duty electric cable with Aluminium conductor 1100 volts grade, cross sectional area 25 Sqmm through cable trenches/ flooring/ pipes etc. including termination with suitable glands and lugs etc. | 120.00 | RM | 238.04 | 325.00 | 39000.00 | 260.00 | 31200.00 | 31200.00 | P S G CONSTRUCTIONS
150.00 | S&F of Pre-painted galvalume aluminium zinc coating GI based corugatted steel sheet 0.50mm (TCT) thick of an colour having tensile strength of 550Mpa as in roof covering/cladding to wall fixed with self drilling / self tapping anti corrisive screws with EPDM seal complete all as per manfacturers specifications and instructions and as approved and as directed by EIC | 60.00 | SQM | 882.06 | 921.00 | 55260.00 | 860.00 | 51600.00 | 51600.00 | P S G CONSTRUCTIONS
151.00 | S&F of Pre-painted galvalume aluminum zinc coating GI based Plain steel sheet 0.50mm thick of any colour having tensile strength of 550 Mpa as in roof covering/cladding to wall fixed with self drilling / self tapping anti corrisive screws with EPDM seal complete all as per manfacturers specifications and instructions and as approved and as directed by EIC | 6.00 | SQM | 824.56 | 920.00 | 5520.00 | 820.00 | 4920.00 | 4920.00 | P S G CONSTRUCTIONS
152.00 | Material and Labour for 20mm special gravel used for filteration media laid in layers and rammed including watering RWH complete as directed by EIC. | 10.00 | CUM | 2600.00 | 2700.00 | 27000.00 | 2600.00 | 26000.00 | 26000.00 | P S G CONSTRUCTIONS
153.00 | Material and Labour for 40mm quarried rubble stone or broken nullah boulders in large pieces for soiling/subbaseof drain /filter media for RWN etc., | 10.00 | CUM | 2100.00 | 2500.00 | 25000.00 | 2100.00 | 21000.00 | 21000.00 | P S G CONSTRUCTIONS
154.00 | Supply and Fixing of Nylon mesh 1 Sq mm filter area placed between the filtering layer in recharge pit, dug well, tube wells etc., complete as directed by EIC. | 20.00 | SQM | 260.00 | 270.00 | 5400.00 | 260.00 | 5200.00 | 5200.00 | P S G CONSTRUCTIONS
155.00 | Supply and fixing Heat Resistant Terrace Tiles (300 mm x 300 mm x 20 mm) with SRI (solar refractive index) > 78, solar reflection > 0.70 and initial emittance > 0.75 on waterproof and sloped surface of terrace, laid on 20 mm thick cement sand mortar in the ratio of 1:4 (1 cement : 4 coarse sand) and grouting the joints with mix of white cement & marble powder in ratio of 1:1, including rubbing and polishing of the surface upto 3 cuts complete, including providing skirting upto 150 mm height along the parapet walls in the same manner. | 600.00 | SQM | 1158.74 | 1450.00 | 870000.00 | 1200.00 | 720000.00 | 720000.00 | P S G CONSTRUCTIONS
156.00 | Supply, Erection , Commissioning of 500 LPH RO plant with 1000 Ltr SS Storage Tanks along with 1 year warranty 1. Raw Water Pump 1 HP single Phase Make : Genvik - 01 Nos 2.Pressure Sand Filter 10 x 54 - 2.5 TOP MPV 25 NB, Media , Frontal Piping along with all accessories, Make : Pentair/ Eqv - 01 Nos 3. Activated Carbon Filter 10x 54 - 2.5 TOP MPV 25 NB, Media , Frontal Piping along with all accessories, Make : Pentair/ Eqv - 01 Nos 4. Dosing System : Dosing Pump Make : Anadose, Dosing Tank, ROAS Chemsol 4591 10 kgs - 01 Nos 5. Micron Filter System : Filter Housing PP 20" Jumbo - 01 Nos 6. RO SKID Fully SS MOC : SS 304 32mm Sq.Tube 7. High Pressure Pump 2-15 Single Phase, 2HP Vertical Multistage SS Make : Genvik - 01 Nos 8. RO Housing 4" dia 40 " Long MOC :FRP , 300 Psi, Make : UKL - 02 Nos 9. RO Membrane : BW 30 Size : 4040 Spiral Wound Make : Filmtech/ Hyronatics/ Hydromem/ Eqv - 02 Nos 10. RO Control Panel 1-3 Make Astro - - 01 Nos 11. Roto-meter, Pressure Gague, Low and Hig Pressure Switch Make Danfos, Floty Switch 3 mts wire and Solenoid Valve 1" Brass Make : Techno -01set 12. Piping & Fitting : SS 304, UPVC, PVC - 01 set 13. SS Tank For RO Water Storage 1000 lts Capacity with suitable stand arrangements - 02 Nos 14 RO water transfer Pump : capacity: 1 HP , MOC : Satinless Steel , Make: Lyson/ CRI /Equ - - 01 Nos 15. Piping : UPVC, CPVC & SS Piping with fittings 01 lot 16. Installation of RO unit, Pre Treatment systems, SS Storage Tank fixing , All piping works, Commissioning. Insurance cover for Technician and other related works - 01 job | 1.00 | 1 Whole Job | 259650.00 | 190000.00 | 190000.00 | 290000.00 | 290000.00 | 190000.00 | BRIDGE AND ROADS
157.00 | S& F of Water proof Plywood of thickness 18mm including necessary adhesives etc complete., | 40.00 | SQM | 1855.00 | 1940.00 | 77600.00 | 1855.00 | 74200.00 | 74200.00 | P S G CONSTRUCTIONS
158.00 | S&F of white/half white laminated sheet of thickness 0.6 mm Fixed on both sides of plywood including necessary adhesives etc complete. | 50.00 | SQM | 695.00 | 720.00 | 36000.00 | 695.00 | 34750.00 | 34750.00 | P S G CONSTRUCTIONS
159.00 | S &F of PVC Edge Band 1.00 mm Thick around the edges of shutter. | 40.00 | RM | 265.00 | 270.00 | 10800.00 | 265.00 | 10600.00 | 10600.00 | P S G CONSTRUCTIONS
160.00 | S&F of Color Acrylic laminated sheet of thickness 1.20 mm Fixed on both sides of plywood including necessary adhesives etc complete. | 40.00 | SQM | 2155.00 | 2251.00 | 90040.00 | 2155.00 | 86200.00 | 86200.00 | P S G CONSTRUCTIONS
161.00 | Supply and Fixing of Stainless steel Handle of Size 300mm includign necessay screws etc complete. | 2.00 | Each | 875.00 | 915.00 | 1830.00 | 875.00 | 1750.00 | 1750.00 | P S G CONSTRUCTIONS
162.00 | Supply and Fixing of Soft closer auto Hinges. | 6.00 | NOS. | 375.00 | 390.00 | 2340.00 | 375.00 | 2250.00 | 2250.00 | P S G CONSTRUCTIONS
163.00 | Removal of excavated earth to a lead exceeding 250 m but not exceeding 500 m and depositing where directed including, spreading & leveling | 1000.00 | CUM | 669.99 | 550.00 | 550000.00 | 650.00 | 650000.00 | 550000.00 | BRIDGE AND ROADS
164.00 | Returning refilling in layers not exceeding 15 cm thick in layers in hard / dense soil. | 380.00 | CUM | 159.97 | 170.00 | 64600.00 | 160.00 | 60800.00 | 60800.00 | P S G CONSTRUCTIONS
165.00 | Removal of excavated debris materials to a lead exceeding 250 m but not exceeding 500 m and depositing where directed including, spreading & leveling | 30.00 | CUM | 857.67 | 890.00 | 26700.00 | 850.00 | 25500.00 | 25500.00 | P S G CONSTRUCTIONS
166.00 | Material and labour for one light point or one fan point controlled by one switch with cables1.5 sqmm size wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. | 169.00 | POINT | 1191.30 | 1192.00 | 201448.00 | 1100.00 | 185900.00 | 185900.00 | P S G CONSTRUCTIONS
167.00 | Material and labour for One 3 pin socket outlet 5 amps on the same board with other switches, with cables 2.5 sqmm size. wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. | 74.00 | POINT | 348.96 | 350.00 | 25900.00 | 340.00 | 25160.00 | 25160.00 | P S G CONSTRUCTIONS
168.00 | Material and labour for One 3 pin socket outlet 5 amps on indepedent with cables 2.5 sqmm size. wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including same size copper earth continuity wire. | 19.00 | POINT | 1357.67 | 1350.00 | 25650.00 | 1350.00 | 25650.00 | 25650.00 | P S G CONSTRUCTIONS, BRIDGE AND ROADS
169.00 | Material & Labour for Switch piano, flush type single pole, one way 16 Amp (Make: Anchor/ Havells/ Legrand or Suitably equivalent) | 19.00 | EACH | 262.08 | 260.00 | 4940.00 | 262.00 | 4978.00 | 4940.00 | BRIDGE AND ROADS
170.00 | Material & Labour for Soket outlet piano, flush type single pole, one way 16 Amp (Make: Anchor/ Havells/ Legrand or Suitably equivalent) | 19.00 | EACH | 269.52 | 270.00 | 5130.00 | 269.00 | 5111.00 | 5111.00 | P S G CONSTRUCTIONS
171.00 | Material & Labour for Switch piano, flush type single pole, one way 6 Amp (Make: Anchor/ Havells/ Legrand or Suitably equivalent) | 243.00 | EACH | 144.96 | 145.00 | 35235.00 | 120.00 | 29160.00 | 29160.00 | P S G CONSTRUCTIONS
172.00 | Supply & fixing of socket outlet 2 in 1, 3 pin 6 A flush type (Make: Anchor/ Havells/ Legrand or Suitably equivalent) | 74.00 | EACH | 156.12 | 155.00 | 11470.00 | 156.00 | 11544.00 | 11470.00 | BRIDGE AND ROADS
173.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit a) 2x2.5 sqmm + 1x2.5 sqmm earth wire | 1955.00 | RM | 222.25 | 220.00 | 430100.00 | 222.00 | 434010.00 | 430100.00 | BRIDGE AND ROADS
174.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit b) 2x4.0 sqmm + 1x4.0 sqmm earth wire | 200.00 | RM | 258.00 | 260.00 | 52000.00 | 258.00 | 51600.00 | 51600.00 | P S G CONSTRUCTIONS
175.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required in PVC conduit c) 4x10.0sqmm + 1x10sqmm earth wire | 200.00 | RM | 678.94 | 680.00 | 136000.00 | 790.00 | 158000.00 | 136000.00 | BRIDGE AND ROADS
176.00 | Supply & fixing Single pole and neutral enclosure with a two pin and earth plug and socket complete with one single pole MCB 20 amps 240 VOLTS . (Make: Legrand / Havells /Anchor or suitable equivalent make) | 10.00 | EACH | 2181.36 | 2200.00 | 22000.00 | 2100.00 | 21000.00 | 21000.00 | P S G CONSTRUCTIONS
177.00 | Supply & fixing of sheet metal enclosures for DBs when MCBs to be used Single pole & neutral,12 way double door. | 2.00 | EACH | 2717.88 | 2720.00 | 5440.00 | 2700.00 | 5400.00 | 5400.00 | P S G CONSTRUCTIONS
178.00 | Supply and fixing amp rating 415V 10KA 'C' curve miniature circuit breaker (MCB) of SPN 32 AMP current carrying capacity in the MCB DB complete with connection testing and commissioning. | 2.00 | EACH | 1021.44 | 1100.00 | 2200.00 | 1000.00 | 2000.00 | 2000.00 | P S G CONSTRUCTIONS
179.00 | Excavating in trenches hard/dense soil not exceeding 1.5 m wide and not exceeding 1.5 m in depth for laying cable. | 30.00 | CUM | 810.00 | 810.00 | 24300.00 | 760.00 | 22800.00 | 22800.00 | P S G CONSTRUCTIONS
180.00 | Material & labour for sand filling for cushioning on U.G cable | 4.50 | CUM | 2369.16 | 2300.00 | 10350.00 | 2700.00 | 12150.00 | 10350.00 | BRIDGE AND ROADS
181.00 | Materal & labour for Bricks; common burnt clay building bricks sub class B Old size designation 75 for protection to U.G cable | .90 | NOS IN 1000 | 6662.26 | 6670.00 | 6003.00 | 9000.00 | 8100.00 | 6003.00 | BRIDGE AND ROADS
182.00 | Returning, refilling in the excavated trench after laying of power cable including spreading levelling, watering and well ramming in layers not exc 25 cm. | 30.00 | CUM | 166.92 | 167.00 | 5010.00 | 150.00 | 4500.00 | 4500.00 | P S G CONSTRUCTIONS
183.00 | Supply & fixing of MCCB 3 pole 415 Volt, fixed type 125 Amps, with breaking capacity 16KA. Make: L& T / Schneider/ ABB/Havells or suitable equivalent make | 1.00 | EACH | 4304.52 | 4300.00 | 4300.00 | 4300.00 | 4300.00 | 4300.00 | P S G CONSTRUCTIONS, BRIDGE AND ROADS
184.00 | Supply & fixing 240 Volt,10KA 'C' curve MCB of single pole 6 to 32Amps in the MCB DB complete with connection testing and commissioning. Make Legrand/Havells/C&S or suitable equivalent make | 120.00 | EACH | 352.80 | 350.00 | 42000.00 | 270.00 | 32400.00 | 32400.00 | P S G CONSTRUCTIONS
185.00 | Supply & fixing and connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used Triple pole & neutral 8 way,415 V with 200 Amps rated busbar, (Make: Legrand/Havells / ABB or suitable equivalent make) | 2.00 | EACH | 4306.44 | 4300.00 | 8600.00 | 4300.00 | 8600.00 | 8600.00 | P S G CONSTRUCTIONS, BRIDGE AND ROADS
186.00 | Supply & fixing and connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used Triple pole & neutral 4 way,415 V with 200 Amps rated busbar, (Make: Legrand/Havells / ABB or suitable equivalent make) | 3.00 | EACH | 3171.24 | 3175.00 | 9525.00 | 4300.00 | 12900.00 | 9525.00 | BRIDGE AND ROADS
187.00 | Supply and fixing LED light fitting mirror type with high out put diffuser 2 feet, 10 watt 220 V AC decorative type with driver holder and LED lamp including connecting up with three core flexible copper conductor cable of suitable size complete. | 2.00 | EACH | 1625.77 | 1630.00 | 3260.00 | 1600.00 | 3200.00 | 3200.00 | P S G CONSTRUCTIONS
188.00 | Supply & fixing 415 Volt,10KA 'C' curve MCB of TPN 40 To 100Amps in the MCB DB complete with connection testing and commissioning. (Make :Legrand/ Havells/ C&S or suitable equivalent make) | 5.00 | EACH | 2832.89 | 3500.00 | 17500.00 | 2800.00 | 14000.00 | 14000.00 | P S G CONSTRUCTIONS
189.00 | Supply & fixing 415 Volt, 10KA 'C' curve MCB of TP25 To 63 Amps in the MCB DB complete with connection testing and commissioning. (Make :Legrand/ Havells/ C&S or suitable equivalent make) | 6.00 | EACH | 2037.12 | 2500.00 | 15000.00 | 2000.00 | 12000.00 | 12000.00 | P S G CONSTRUCTIONS
190.00 | Supply and fixing LED street light fitting 70 Watt 230 V AC outdoor type with high pressure die cast aluminum hosing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete. (Make: Havells/ Philips/ Wipro/ Bajaj/ CG/ Luker) (or) suitably equivalent make | 13.00 | EACH | 7130.52 | 7140.00 | 92820.00 | 6000.00 | 78000.00 | 78000.00 | P S G CONSTRUCTIONS
191.00 | Supply and fixing ceiling fans complete with copper winding ,blades, down rods, electronic regulator and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC), IS 374-2019 Make : (Atomberg / Havells/ Halonix or suitable equivalent make) | 79.00 | EACH | 3179.36 | 3200.00 | 252800.00 | 3600.00 | 284400.00 | 252800.00 | BRIDGE AND ROADS
192.00 | Supply and fixing of exhaust fan, steel body AC single Phase. 230V of size 450 mm sweep with, blades, and frame and louvers (Make: Almonard/ Khaitan/ Crompton or Suitably equivalent make) | 18.00 | EACH | 6537.62 | 6500.00 | 117000.00 | 6500.00 | 117000.00 | 117000.00 | P S G CONSTRUCTIONS, BRIDGE AND ROADS
193.00 | Supply & fixing of galvanised steel tubes, medium grade 25mm dia for ceiling fan down rod. | 255.00 | RM | 408.00 | 400.00 | 102000.00 | 405.00 | 103275.00 | 102000.00 | BRIDGE AND ROADS
194.00 | Material & labour for .XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 3.5 core 120 sq.mm , U.G. cable with XLPE insulated aluminum conductor. (Make : Havells/Finolex/Orbit /Policab or Suitably equivalent ) | 150.00 | RM | 777.78 | 850.00 | 127500.00 | 900.00 | 135000.00 | 127500.00 | BRIDGE AND ROADS
195.00 | Material and labour for Brick wall cutting chases,pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good,cutting exceeding 20cm girth. | 400.00 | RM | 66.72 | 70.00 | 28000.00 | 90.00 | 36000.00 | 28000.00 | BRIDGE AND ROADS
196.00 | Supply & Fixing stepped type electronic fan regulator flush type on the existing phenolic laminated sheet etc. as reqd (Make: Anchor/ Havells/ Legrand or Suitably equivalent ) | 79.00 | EACH | 439.08 | 440.00 | 34760.00 | 430.00 | 33970.00 | 33970.00 | P S G CONSTRUCTIONS
197.00 | Material & Labour for ceiling rose, 3 Phase/PVC/polycorbonate, isolated body.(Make: Anchor/ Havells/ Legrand or Suitably equivalent ) | 187.00 | EACH | 78.84 | 80.00 | 14960.00 | 60.00 | 11220.00 | 11220.00 | P S G CONSTRUCTIONS
198.00 | ESE Air Terminal :- Supply of corrosion resistant, stainless chrome body , nonradioactive , fully autonomous Advanced Early Streamer Emission Air Terminal (ESEAT) Lightning protection system suitable for both negative and positive polarized discharge with CPRI tested average gain in triggering time (Delta Ts) 63micro second complying with NFC17-102version 2011, protection radius 107 mtrs. Supply & fixing of ESE Air Terminal, with 3 leg triangular 21 mtr mounting mast with foundation &accessories, 2 nos. earth pits, down conductor, LCD lighting transient event counter, inculuding installation & commissioning charges all inclusive. Make/Model:Tercel Tz63/GROUND PSG/Saint Elmo or Suitably equivalent ) | 1.00 | EACH | 570000.00 | 400000.00 | 400000.00 | 570000.00 | 570000.00 | 400000.00 | BRIDGE AND ROADS
199.00 | Supply & fixing of Sheet metel enclosoures for DB'S MCCBDB 8 way DOUBLE DOOR (DPX250+24).Make:Legrand or any reputed make, CAT. No. 507759 ( CAT -Legrand 507759 - VTPN 8 Way MCCB DPX 3 250+24) | 1.00 | EACH | 24000.00 | 25000.00 | 25000.00 | 23000.00 | 23000.00 | 23000.00 | P S G CONSTRUCTIONS
200.00 | Supply and fixing of LED light fittings 2x 22 watts 220 volt AC decorative box type with driver unit, holder including LED tubelight connecting up with three core flexible copper coductor cable of suitable size from ceiling rose complete. (Make: Havells/ Philips/ Wipro/ Bajaj/ CG/ Luker) or suitable equivalent make | 88.00 | EACH | 1888.00 | 1900.00 | 167200.00 | 1500.00 | 132000.00 | 132000.00 | P S G CONSTRUCTIONS
| Total in Figures |  |  |  |  | 41220384.00 |  | 39102993.00
Lowest Amount Quoted BY: P S G CONSTRUCTIONS(39102993.00)

## BOQ Summary
BOQ Summary Details Tender Title: CONSTRUCTION OF EMPLOYEES DRESS CHANGING ROOM FOR OH AUGMENTATION PROJECT AT HVF, AVADI Tender ID: 2025_AVNL_258361_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | P S G CONSTRUCTIONS (BID ID -948570) | 39102993.00 | L1
| 2 | BRIDGE AND ROADS (BID ID -948965) | 41220384.00 | L2