## BoQ1
Government eProcurement System Created By: GURCHARAN SINGH Created Date/Time: 12-Dec-2025 01:12 PM Tender Title: Laying of cooling water pipes in trenches and controlling gate valves at 132KV Switchyard at Ganguwal and Kotla Power Houses. Tender ID: 2025_BBMB_254709_1
Tender Inviting Authority: Resident Engineer, Ganguwal & Kotla PHs, Division, BBMB, (PW) Ganguwal, Distt: - Ropar-140 123 (Punjab)
Name of Work: Laying of cooling water pipes in trenches and controlling gate valves at 132KV Switchyard at Ganguwal & Kotla Power Houses.
Contract No: NIT-929
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NITISH SHARMA (GSTN-NA) BID ID -935019 |  | The Gag Co Op L and C Society Ltd (GSTN-NA) BID ID -935039 |  | Pankaj Kumar Govt Contractor (GSTN-NA) BID ID -934542
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | AOR (Based on CSR 28.106) for laying, fixing, testing and commissioning of “C” Class heavy duty MS pipe conforming to Indian standard IS:1239/3589 including fittings like tees, bends, sockets, elbows, flanges, tapers, nuts bolts, gaskets etc. on surface and providing angle iron support or cement concrete block as support including painting with two or more coats of synthetic enamel paint of required shade complete in all respect (for 80mm internal dia pipe) (a) 80 mm internal dia. pipe (As per AOR based on -28.106) | 90.00 | Mtr |  | 183.00 | 16470.00 | 184.00 | 16560.00 | 190.00 | 17100.00 | 16470.00 | NITISH SHARMA
2.00 | Providing laying, fixing testing and commissioning of ‘C’ class heavy duty MS pipe confirming to Indian standard IS: 1239/3589 including fitting like tees, bends, sockets, elbows, flanges, tapers, nuts bolts, gaskets etc. on surface and providing angle iron support or cement concrete blocks as support including painting with two or more coats of synthetic enamel paint of required shade complete in all respects
2.01 | (a) 100 mm internal dia. pipe (As per CSR-2020 item No.28.106 (a) | 156.00 | Mtr |  | 246.00 | 38376.00 | 248.00 | 38688.00 | 270.00 | 42120.00 | 38376.00 | NITISH SHARMA
2.02 | (b) 150 mm internal dia. pipe (As per CSR-2020 item No.28.106 (b) | 784.00 | Mtr |  | 337.00 | 264208.00 | 340.00 | 266560.00 | 360.00 | 282240.00 | 264208.00 | NITISH SHARMA
3.00 | Add unforeseen charges such as excavation work during laying of pipe, providing paint &other miscellaneous items (required during execution of work) | 1.00 | Job |  | 49500.00 | 49500.00 | 51000.00 | 51000.00 | 50000.00 | 50000.00 | 49500.00 | NITISH SHARMA
| Total in Figures |  |  |  |  | 368554.00 |  | 372808.00 |  | 391460.00
Lowest Amount Quoted BY: NITISH SHARMA(368554.00)

## BOQ Summary
BOQ Summary Details Tender Title: Laying of cooling water pipes in trenches and controlling gate valves at 132KV Switchyard at Ganguwal and Kotla Power Houses. Tender ID: 2025_BBMB_254709_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NITISH SHARMA (BID ID -935019) | 368554.00 | L1
| 2 | The Gag Co Op L and C Society Ltd (BID ID -935039) | 372808.00 | L2
| 3 | Pankaj Kumar Govt Contractor (BID ID -934542) | 391460.00 | L3