## BoQ1
Government eProcurement System Created By: CHANDERMANI SHARMA Created Date/Time: 26-Dec-2025 04:46 PM Tender Title: Renovation of complaint cell of public health in BBMB Pandoh. Tender ID: 2025_BBMB_258185_1
Tender Inviting Authority: Addl.Superintending Engineer, Pandoh Dam Division,BBMB, Pandoh (H.P).
Name of Work: Renovation of complaint cell of public health in BBMB Pandoh.
Contract No: NIT-7/2024-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Yashpal (GSTN-NA) BID ID -946416 |  | M/s Sharma Electrical Works (GSTN-NA) BID ID -946383 |  | AMAN SHARMA (GSTN-NA) BID ID -945725
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling asbestos cement, celotax or other hard board ceiling or partition wall including supporting timber. | 78.78 | Sqm | 1.25 | 30.00 | 2363.40 | 20.00 | 1575.60 | 50.00 | 3939.00 | 1575.60 | M/s Sharma Electrical Works
2.00 | Dismantling cement conglomerate floors (25 mm to 50 mm) thick without concrete base | 25.22 | Sqm | 0.00 | 40.00 | 1008.80 | 40.00 | 1008.80 | 70.00 | 1765.40 | 1008.80 | M/s Sharma Electrical Works, Yashpal
3.00 | Dismantling glazed tiles (to be carefully removed). | 13.50 | Sqm | 100.00 | 200.00 | 2700.00 | 100.00 | 1350.00 | 150.00 | 2025.00 | 1350.00 | M/s Sharma Electrical Works
4.00 | Removing door and window (steel or wood) with chowkhat by making necessary recesses in walls when the wall not to be dismantled. (a)door of area 3 sqm and below | 3.00 | Each | 53.00 | 200.00 | 600.00 | 100.00 | 300.00 | 300.00 | 900.00 | 300.00 | M/s Sharma Electrical Works
5.00 | Removing door and window (steel or wood) with chowkhat by making necessary recesses in walls when the wall not to be dismantled. (b) Window of area 3 sqm and below | 3.00 | Each | 10.00 | 100.00 | 300.00 | 100.00 | 300.00 | 170.00 | 510.00 | 300.00 | M/s Sharma Electrical Works, Yashpal
6.00 | Steel work fixed independently without connecting plates including cutting hoisting and fixing in position. (c ) Tees angles & channels | 8.26 | Qtl | 11.00 | 10000.00 | 82600.00 | 8400.00 | 69384.00 | 9000.00 | 74340.00 | 69384.00 | M/s Sharma Electrical Works
7.00 | Corrugated asbestos Sheet roofing 6 mm thick sheets fixed with G.I. hooks and bolts, limpet and bitumen washers complete fixed in position excluding the cost of perlins, rafters and trusses. | 78.78 | Sqm | 10.00 | 420.00 | 33087.60 | 420.00 | 33087.60 | 500.00 | 39390.00 | 33087.60 | M/s Sharma Electrical Works, Yashpal
8.00 | Kail wood wrought planed and fixed in position | .26 | Cum | 22.00 | 120000.00 | 31200.00 | 120000.00 | 31200.00 | 200000.00 | 52000.00 | 31200.00 | M/s Sharma Electrical Works, Yashpal
9.00 | Deodar wood doors shutter with 12mm thick phenol Bonded BWP ply (Anchor Kit ply, Nova teak , or National or any other ISI approved quality) I/C hinges, screws, chocks & cords etc. Complete fixed in position (Single leaf) (a)Phenol Bonded Ply Panal (ii) 35 mm thick | 7.92 | Sqm | 0.00 | 4300.00 | 34056.00 | 4300.00 | 34056.00 | 5000.00 | 39600.00 | 34056.00 | M/s Sharma Electrical Works, Yashpal
10.00 | Wire gauze deodar wood door shutter without springs housed in chowkats (Single Leaf) (i) 35 mm thick | 6.65 | Sqm | 0.00 | 4500.00 | 29925.00 | 4200.00 | 27930.00 | 4500.00 | 29925.00 | 27930.00 | M/s Sharma Electrical Works
11.00 | Preparation of plastered or concrete surface for painting (including sand papering the surface) using ready mixed cement based wall putty by applying two or more coats to get required finish | 185.47 | Sqm | 100.00 | 75.00 | 13910.25 | 70.00 | 12982.90 | 100.00 | 18547.00 | 12982.90 | M/s Sharma Electrical Works
12.00 | Applying priming coat with cement primer in all shade on newly plastered or concrete exterior surface | 185.47 | Sqm | 53.00 | 26.00 | 4822.22 | 24.00 | 4451.28 | 30.00 | 5564.10 | 4451.28 | M/s Sharma Electrical Works
13.00 | Distempering with Acrylic washable oil bound distemper (of approved manufacture) two or more coats on old distempered work when shade is changed | 185.47 | Sqm | 10.00 | 50.00 | 9273.50 | 50.00 | 9273.50 | 60.00 | 11128.20 | 9273.50 | M/s Sharma Electrical Works, Yashpal
14.00 | Applying pink primer or aluminum priming coat on wood work including preparation of surface knotting and stopping etc. | 7.13 | Sqm | 11.00 | 30.00 | 213.90 | 30.00 | 213.90 | 40.00 | 285.20 | 213.90 | M/s Sharma Electrical Works, Yashpal
15.00 | Providing and fixing aluminum sliding door bolts ISI marked anodized (anodic coating not less than grade AC 10 as per IS :1868) transparent or dyed to required colour or shade with nuts and screws etc.complete :b)250mm x16mm | 3.00 | Nos. | 10.00 | 300.00 | 900.00 | 250.00 | 750.00 | 200.00 | 600.00 | 600.00 | AMAN SHARMA
16.00 | Cost of aluminum fittings complete for doors, windows such as tower bolts, handles,Stoppers and screw etc. for these fittings (Excluding sliding bolt) (ii) For shutter area above 0.50 sqm | 14.57 | Sqm | 22.00 | 300.00 | 4371.00 | 300.00 | 4371.00 | 300.00 | 4371.00 | 4371.00 | AMAN SHARMA, M/s Sharma Electrical Works, Yashpal
17.00 | Providing and laying vitrified floor tiles of different sizes in light colour shades made using Double Charge technology (thickness to be specified by the manufacturer) with water absorption’s less than 0.08% and conforming to IS : 15622 of approved make in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement: 4 fine sand), complete.(a )Size 600x600 mm | 29.32 | Sqm | 0.00 | 1200.00 | 35184.00 | 1132.00 | 33190.24 | 1200.00 | 35184.00 | 33190.24 | M/s Sharma Electrical Works
18.00 | 12.5 mm thick cement plaster 1:6 | 202.84 | Sqm | 100.00 | 200.00 | 40568.00 | 200.00 | 40568.00 | 250.00 | 50710.00 | 40568.00 | M/s Sharma Electrical Works, Yashpal
19.00 | Providing, laying in trenches to correct gradient and alignment and jointing of UPVC pipes having ISI specification IS:15328-2003 class-SN-8 marked make Supreme, Finolex,Kissan, Jain, Prince or equivalent good on them and laying the same in trenches to correct alignment and gradients, cutting and jointing, testing for water tightness and making good the leakages and defects including cost of specials (Specials and Solvent should be of same make as that of pipes) complete in all respects.(a) For 110mm o/d pipes | 15.60 | Mtr | 53.00 | 600.00 | 9360.00 | 600.00 | 9360.00 | 2500.00 | 39000.00 | 9360.00 | M/s Sharma Electrical Works, Yashpal
20.00 | Providing and fixing in position SWR UPVC special for soil waste vent or anti syphonage pipes as per as per IS - 14735 including cutting and wastage etc. cutting holes in walls roofs or floors etc. and making good to its original condition but excluding cost of lead joining.B For 110mm o/d pipes i )Door cap | 1.00 | Each | 10.00 | 300.00 | 300.00 | 100.00 | 100.00 | 80.00 | 80.00 | 80.00 | AMAN SHARMA
21.00 | Providing and fixing in position SWR UPVC special for soil waste vent or anti syphonage pipes as per as per IS - 14735 including cutting and wastage etc. cutting holes in walls roofs or floors etc. and making good to its original condition but excluding cost of lead joining (ii) single tee with door | 1.00 | Each | 11.00 | 600.00 | 600.00 | 250.00 | 250.00 | 250.00 | 250.00 | 250.00 | AMAN SHARMA, M/s Sharma Electrical Works
22.00 | Providing and fixing in position SWR UPVC special for soil waste vent or anti syphonage pipes as per as per IS - 14735 including cutting and wastage etc. cutting holes in walls roofs or floors etc. and making good to its original condition but excluding cost of lead joining (iv) Door Elbow 90 Degree (All side socketed) | 3.00 | Each | 10.00 | 400.00 | 1200.00 | 202.00 | 606.00 | 210.00 | 630.00 | 606.00 | M/s Sharma Electrical Works
23.00 | Providing and laying Anti skid Ceramic floor tiles of size 300x300 mm x 10 mm thick of 1st quality of size 300x300 mm x 10 mm thick of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on flooring skirting and dado in 12.5mm thick cement plaster 1:3 in base and jointed with @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., completewhite cement slurry in joints including corners angles and beading. | 5.00 | Sqm | 22.00 | 900.00 | 4500.00 | 900.00 | 4500.00 | 1000.00 | 5000.00 | 4500.00 | M/s Sharma Electrical Works, Yashpal
24.00 | Providing and fixing 1st quality ceramic glazed wall tiles Matt/Semi Matt/Glosy/Highly Gloss finish/Highlighter/emboss conforming to IS :15622 (thickness to be specified by the manufacture of approved make in all colours,shades except burgundy, bottle green, black of size 450 x 310 mm as approved by Engineer-in_x005f?Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:4 (1 cement:4 fine sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 10.50 | Sqm | 0.00 | 1000.00 | 10500.00 | 870.00 | 9135.00 | 900.00 | 9450.00 | 9135.00 | M/s Sharma Electrical Works
25.00 | Providing and fixing in position Chinaware European type water closet P trap or S trap of approved make (to the approval of the Engineer-in-charge) consisting of 10 ltr. PVC flushing cistern ISI marked, PVC short bend 32 mm dia including cost of seat cover complete in all respect and to the entire satisfaction of Engineer-in-charge. | 1.00 | Each | 0.00 | 5300.00 | 5300.00 | 5200.00 | 5200.00 | 5200.00 | 5200.00 | 5200.00 | AMAN SHARMA, M/s Sharma Electrical Works
26.00 | Providing and fixing in position vitreous chinaware white lavatory suites of approved make (to the approval of Engineer-in-charge) including Rack Bolt Screw Pair 115mm long without CP fittings complete in all respect. ii Size 550 mm x 400 mm x 815 mm | 1.00 | Each | 100.00 | 2400.00 | 2400.00 | 2200.00 | 2200.00 | 2200.00 | 2200.00 | 2200.00 | AMAN SHARMA, M/s Sharma Electrical Works
27.00 | Providing and fixing vitreous chinaware pedestal of approved make (to the approval of Engineer-in-charge) for wash hand basin complete in all respect.(i) Vitreous chinaware standard whitepedestal for wash hand basin. | 1.00 | Each | 53.00 | 2200.00 | 2200.00 | 2200.00 | 2200.00 | 2300.00 | 2300.00 | 2200.00 | M/s Sharma Electrical Works, Yashpal
28.00 | Providing & Fixing in postion stop cock / Angle valve of approved make (to the approval of Engineer-in-charge ) complete in all respect.(a) C.P.brass 15mm stop cock Male and female end | 4.00 | Each | 10.00 | 1200.00 | 4800.00 | 1200.00 | 4800.00 | 1300.00 | 5200.00 | 4800.00 | M/s Sharma Electrical Works, Yashpal
29.00 | Providing and fixing 5mm thick asbestos sheets ceiling | 25.22 | Sqm | 11.00 | 420.00 | 10592.40 | 420.00 | 10592.40 | 500.00 | 12610.00 | 10592.40 | M/s Sharma Electrical Works, Yashpal
30.00 | Base course of floor consisting of 100mm thick cement concrete 1:8:16 with stone aggregare 40 mm gauge and 100 mm fine sandfilling using mechanical mixer for mixing of material | 47.20 | Sqm | 10.00 | 500.00 | 23600.00 | 500.00 | 23600.00 | 600.00 | 28320.00 | 23600.00 | M/s Sharma Electrical Works, Yashpal
31.00 | 40mm thick grey polished flooring cement concrete 1:2:4 toping finished with 3 mm thick neat coat of cement rubbed and polished using mechanical mixer for mixing of material | 47.20 | Sqm | 22.00 | 530.00 | 25016.00 | 530.00 | 25016.00 | 530.00 | 25016.00 | 25016.00 | AMAN SHARMA, M/s Sharma Electrical Works, Yashpal
32.00 | RECESSED HDPE PIPE WIRING SYSTEM WITH MODULAR SWITCHES: Wiring in PVC insulated copper conductor single core FR cable (ISI marked), overall 1.5sq. mm, 1100volts grade to be laid in HDPE electrical conduit pipe 20mm/25mm dia. ISI Marked, recessed in wall etc., complete with powder coated/anodized concealed metal boxes (1.6mm thick with Brass lugs) required for suitable number of modules odular accessories) for having Step type electronic fan regulators (two module) 100watts, bell push, 6Amp. 2/3 universal socket (shuttered), 16/20Amp. combined/ universal Socket (shuttered), 6/10Amp. Switches, 16/20Amp. switches with indicator etc. and covered with Frame Plate etc., PVC connector (For Fan Box and Call Bell), PVC Bush, Steel Hooks, Sheet metal fan box (1.6mm thick shape hexagonal), CI Circular junction Boxes (Four way 1½" deep for walls and 3" deep for ceiling), bonding to earth with PVC insulated copper conductor single core FR cable (ISI marked) 1sq. mm, 1100volts grade (For 6Amp. wall socket & plug control point) and other petty material etc., including the cost of above material, cutting and filling up of chases (with finishing the surface):-Wiring fan point (Without fan box) | 2.00 | Each | 0.00 | 1200.00 | 2400.00 | 1120.00 | 2240.00 | 1200.00 | 2400.00 | 2240.00 | M/s Sharma Electrical Works
33.00 | Wiring light point | 6.00 | Each | 100.00 | 800.00 | 4800.00 | 800.00 | 4800.00 | 800.00 | 4800.00 | 4800.00 | AMAN SHARMA, M/s Sharma Electrical Works, Yashpal
34.00 | Wiring 6Amp. wall socket point | 7.00 | Each | 53.00 | 900.00 | 6300.00 | 700.00 | 4900.00 | 700.00 | 4900.00 | 4900.00 | AMAN SHARMA, M/s Sharma Electrical Works
35.00 | Wiring 6Amp. Plug control comprising wall socket point | 5.00 | Each | 10.00 | 700.00 | 3500.00 | 600.00 | 3000.00 | 400.00 | 2000.00 | 2000.00 | AMAN SHARMA
36.00 | MINIATURE CIRCUIT BREAKERS: Supply and erection of Miniature Circuit Breaker MCB's for circuit protection against overload and short circuit current fault suitable for 240/ 415 volts 50cycles AC supply with breaking capacity of 10kA, Curve-C and low watt losses as per IS/IEC 60898-1, energy limitation class-3, true contact indication, label holder facility in the existing MCB distribution board as per PWD General Specifications including connections with suitable size of thimbles/lugs:-MCB Single Pole 0.5-4amp. (10kA, Curve-C) | 6.00 | Each | 11.00 | 400.00 | 2400.00 | 350.00 | 2100.00 | 300.00 | 1800.00 | 1800.00 | AMAN SHARMA
37.00 | MCB Single Pole 6-32amp. (10kA, Curve-C) | 8.00 | Each | 10.00 | 300.00 | 2400.00 | 250.00 | 2000.00 | 500.00 | 4000.00 | 2000.00 | M/s Sharma Electrical Works
| Total in Figures |  |  |  |  | 449252.07 |  | 422592.22 |  | 525939.90
Lowest Amount Quoted BY: M/s Sharma Electrical Works(422592.22)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of complaint cell of public health in BBMB Pandoh. Tender ID: 2025_BBMB_258185_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Sharma Electrical Works (BID ID -946383) | 422592.22 | L1
| 2 | Yashpal (BID ID -946416) | 449252.07 | L2
| 3 | AMAN SHARMA (BID ID -945725) | 525939.90 | L3