## BoQ1
Government eProcurement System Created By: Vinay Kumar Kutlehria Created Date/Time: 07-Feb-2026 04:54 PM Tender Title: Providing and Fixing floor wall tiles in rooms kitchen bathrooms toilets including replacement of old water supply and sanitary installation of 90 Nos T 1 to T 5 houses in BBMB colony Talwara Township Tender ID: 2025_BBMB_259275_1
Tender Inviting Authority: Executive Engineer Township Division BBMB Talwara
Name of Work: Providing and fixing floor/wall tiles in rooms Kitchen,Bathroom & Toilet including raplaicemnet of old water supply and sanitary insatallation of 90 No. Houses T-1 to T-5 houses in BBMB Colony Talwara
Contract No: NIT No 197/2025-26
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S Mittal Construction Company (GSTN-03AFNPM7391E1ZA) BID ID -955772 |  | M/s Vijay Builders (GSTN-NA) BID ID -955621 |  | Rahul Verma Govt. Contractor (GSTN-NA) BID ID -954812 |  | M/S Surindera Traders (GSTN-NA) BID ID -955651 |  | B T Construction Company (GSTN-NA) BID ID -954918 |  | JMM INFRACON (GSTN-NA) BID ID -955061
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Nicking cement concrete surface (over 28 days old including preparation and laying slurry (CSR Item No. 10.31) | 5323.45 | Sqm |  | 34.00 | 180997.30 | 37.00 | 196967.65 | 20.00 | 106469.00 | 25.00 | 133086.25 | 10.00 | 53234.50 | 45.00 | 239555.25 | 53234.50 | B T Construction Company
2.00 | Scraping Cement Plaster (CSR Item No. 8.31 (c) | 11118.88 | Sqm |  | 44.00 | 489230.72 | 51.00 | 567062.88 | 30.00 | 333566.40 | 29.00 | 322447.52 | 5.00 | 55594.40 | 50.00 | 555944.00 | 55594.40 | B T Construction Company
3.00 | Providing and laying vitrified floor tiles in different sizes in light colour shades made using Soluble Salt Technology (thickness to be specified by the manufacturer) with water absorption’s less than 0.08% and conforming to IS : 15622 of approved make in all colours andshades, laid on 20mm thick cement mortar 1:4 (1 cement: 4 fine sand), complete. ( Soluble saltPrint Penetration should be up to 1 to 2 mm after the tiles are fired & polished ). CSR Item No. 14.112 (A) 600X600 | 5481.85 | Sqm |  | 913.00 | 5004929.05 | 963.00 | 5279021.55 | 850.00 | 4659572.50 | 1550.00 | 8496867.50 | 1150.00 | 6304127.50 | 900.00 | 4933665.00 | 4659572.50 | Rahul Verma Govt. Contractor
4.00 | Providing and fixing 1st quality ceramic glazed wall tiles Matt/Semi Matt/Glosy/Highly Glossfinish/Highlighter/emboss conforming to IS : 15622 (thickness to be specified by the manufacture of approved make in all colours, shades except burgundy, bottle green, black of size 250 x 330 mm & 300x300mm as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:4 (1 cement: 4 fine sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. CSR Item No. 14.126 ) | 5225.35 | Sqm |  | 852.00 | 4451998.20 | 906.00 | 4734167.10 | 750.00 | 3919012.50 | 1100.00 | 5747885.00 | 950.00 | 4964082.50 | 850.00 | 4441547.50 | 3919012.50 | Rahul Verma Govt. Contractor
5.00 | Black Granite stone tiles 15mm to 20mm thick in skirting, risers of steps, dado walls and pillars laid in 12.5mm thick cement mortar 1:3 (1 cement 3 coarse sand) and jointed with neat cement slurry mixed with pigment to match the shade of stone, including rubbing and polishing including labour for fixing dowel pins and cramps. CSR Item No. 14.87) | 126.00 | Sqm |  | 3847.00 | 484722.00 | 4022.00 | 506772.00 | 3050.00 | 384300.00 | 4850.00 | 611100.00 | 3000.00 | 378000.00 | 4000.00 | 504000.00 | 378000.00 | B T Construction Company
6.00 | Extra labour for projected nosing of stair case of any shape and design. ( CSR 14.56 b ) | 1125.00 | Rmt |  | 78.00 | 87750.00 | 80.00 | 90000.00 | 350.00 | 393750.00 | 45.00 | 50625.00 | 200.00 | 225000.00 | 70.00 | 78750.00 | 50625.00 | M/S Surindera Traders
7.00 | Providing and fixing aluminum work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate z sections and other sections conforming to Is: 733 and IS : 1285 of Jindal, Hindalco, Mahavir or equivalent make approved by Engineer in Charge , fixed with rawl plugs and screws or with fixing clips, or with expansion hold fasteners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC Plug/neoprene felt etc. aluminum sections shall be smooth, rust free, straight, mitered and jointed mechanically wherever required including cleat angle, aluminum snap beading for glazing/paneling, C.P.brass/stainless steel screws, all complete as per architectural drawings and the directions of Engineer-In- Charge. (Glazing and paneling to be paid for separately) : CSR Item No. 17.45 a)For fixed portion and chawkhats | 1685.77 | Kg |  | 429.00 | 723195.33 | 438.00 | 738367.26 | 450.00 | 758596.50 | 575.00 | 969317.75 | 400.00 | 674308.00 | 400.00 | 674308.00 | 674308.00 | B T Construction Company, JMM INFRACON
8.00 | For shutters of doors, windows & ventilators including providing and fixing hinges/pivots and labour for fixing of fittings wherever required including the cost of PVC Plug /gasket required (CSR Item No. 17.45 (b) | 2221.54 | Kg |  | 449.00 | 997471.46 | 457.00 | 1015243.78 | 475.00 | 1055231.50 | 600.00 | 1332924.00 | 450.00 | 999693.00 | 350.00 | 777539.00 | 777539.00 | JMM INFRACON
9.00 | Providing and fixing 12mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in paneling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of Engineer-In-Charge. Pre laminated particle board with decorative lamination on one side.[CSR Item no.17.46(i)] | 163.80 | Sqm |  | 1400.00 | 229320.00 | 1439.00 | 235708.20 | 850.00 | 139230.00 | 950.00 | 155610.00 | 1000.00 | 163800.00 | 1500.00 | 245700.00 | 139230.00 | Rahul Verma Govt. Contractor
10.00 | Cost of aluminum fittings complete for doors, windows such as tower bolts,handles,Stoppers and screw etc. for these fittings (Excluding sliding bolt) (CSR Item No. 17.23 (ii) For shutter area above 0.50 sqm | 163.80 | Sqm |  | 135.00 | 22113.00 | 139.00 | 22768.20 | 110.00 | 18018.00 | 140.00 | 22932.00 | 200.00 | 32760.00 | 150.00 | 24570.00 | 18018.00 | Rahul Verma Govt. Contractor
11.00 | Removing Doors and Windows (Steel or wood) with chowkhats by making recesses in walls when thewall is not to be dismantled. (CSR Item NO. 8.26 9a) Doors of area 3 Sqm and Below | 120.00 | No. |  | 272.00 | 32640.00 | 294.00 | 35280.00 | 100.00 | 12000.00 | 200.00 | 24000.00 | 100.00 | 12000.00 | 300.00 | 36000.00 | 12000.00 | Rahul Verma Govt. Contractor, B T Construction Company
12.00 | Providing and laying Anti skid Ceramic floor tiles of size 300x300 mm x 10 mm thick of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on flooring skirting and dado in 12.5mm thick cement plaster 1:3 in base and jointed with @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., completewhite cement slurry in joints including corners angles and beading. CSR Item No. 14.72 | 351.95 | Sqm |  | 820.00 | 288599.00 | 871.00 | 306548.45 | 750.00 | 263962.50 | 985.00 | 346670.75 | 950.00 | 334352.50 | 700.00 | 246365.00 | 246365.00 | JMM INFRACON
13.00 | 12.5mm thick cement plaster 1:3 (CSR Item no.15.8) | 5893.53 | Sqm |  | 243.00 | 1432127.79 | 252.00 | 1485169.56 | 150.00 | 884029.50 | 275.00 | 1620720.75 | 350.00 | 2062735.50 | 150.00 | 884029.50 | 884029.50 | Rahul Verma Govt. Contractor, JMM INFRACON
14.00 | Cement pointing 1:2 flush on flat brick flooring(CSR Item no. 15.67) | 12977.67 | Sqm |  | 85.00 | 1103101.95 | 86.00 | 1116079.62 | 65.00 | 843548.55 | 100.00 | 1297767.00 | 250.00 | 3244417.50 | 100.00 | 1297767.00 | 843548.55 | Rahul Verma Govt. Contractor
15.00 | Cement concrete 1:2:4 gola 10cm x 10cm concave quadrant along junction of roofs with parapet wall finished smooth, where specially specified.CSR Item No.13.55 | 6881.12 | Mtr. |  | 79.00 | 543608.48 | 82.00 | 564251.84 | 65.00 | 447272.80 | 60.00 | 412867.20 | 200.00 | 1376224.00 | 100.00 | 688112.00 | 412867.20 | M/S Surindera Traders
16.00 | Providing and applying Anti Termite Treatment using post constructional chemical treatment measures as per IS- 6313- 2001(Part 3 )& using Chemical containg chloropyrifos systemic insecticide diluted to manufacturer's specifications by drilling holes in the floor slab & along skirting 300mm apart &12mm dia , drilling holes along all possible entry points such as junctions of floor and walls, door frames, sewage lines,entrypoints,etc.&injecting them with the chemical solution. The Engineer in Charge will ensure consumption of chemical as per manufacturer's specifications & minimum 5years warranty from the concerned dealer.CSR Item no.14.132.(on Roof slab) | 80.00 | Ltr. |  | 1361.00 | 108880.00 | 1411.00 | 112880.00 | 1000.00 | 80000.00 | 1500.00 | 120000.00 | 210.00 | 16800.00 | 1000.00 | 80000.00 | 16800.00 | B T Construction Company
17.00 | Water proofing treatment of Roof Slab with High performance cementitious two component product, consisting of a powder component and an acrylic polymer using two coats ( Dr Fixit Roofseal flex - Packaging Size: 12 .5 kg (7.5 kg powder + 5 kg polymer) / equivalent water proofing Solution ). The slurry thus formed by mixing the two, is to be applied on new roofs to forms a seamless, highly elastic, non-toxic waterproofing layer on the roof with a life expectancy of 7 years. The work shall be carried out all complete as per specification and the direction of the Engineer-in-charge.(CSR Item no.13.91)Supply& Fixing Fiber Glass Coated Mesh with thickness of 45Gsm for the waterproofingof roof terraces, bathrooms , Water tanks, etc. The surface to be levelled, finished, made smooth before fixing of Fiber Glass Mesh, with complete in all respect as per manufactures specification and as per directions of Engineer-in-Charge ( CSR 13.90) | 12977.67 | Sqm |  | 682.00 | 8850770.94 | 704.00 | 9136279.68 | 875.00 | 11355461.25 | 450.00 | 5839951.50 | 500.00 | 6488835.00 | 1000.00 | 12977670.00 | 5839951.50 | M/S Surindera Traders
18.00 | Repairs to plaster in patches of Area 2.5 sqm and under including cutting the patch in proper shape and preparing and plastering the surface of the walls complete including disposal of rubbish to the dumping ground within 50 Metres lead with cement mortar 1:4 (1 cement: 4 sand) Taking area 2.5 sqm[CSR Item No. 31.1(a)] | 150.00 | Sqm |  | 183.00 | 27450.00 | 191.00 | 28650.00 | 100.00 | 15000.00 | 200.00 | 30000.00 | 400.00 | 60000.00 | 200.00 | 30000.00 | 15000.00 | Rahul Verma Govt. Contractor
19.00 | Chowkats of commercial hardwoodsuch as Hollock confirming to ISI specification no 1003mki ln seasonedof doors and windows including ironhold fasts, corner straps cleats, stops, bolts for hold fasts etc, complete fixed in position (Section 60mm x 150mm)Double Rebate (60mmx150mm) (60mm x 150mm) [CSR Item no.17.15(ii) (A)] | 450.00 | Mtr |  | 1390.00 | 625500.00 | 1453.00 | 653850.00 | 1025.00 | 461250.00 | 1000.00 | 450000.00 | 200.00 | 90000.00 | 1500.00 | 675000.00 | 90000.00 | B T Construction Company
20.00 | Cement concrete 1:2:4 with stone ballast or shingle mixing by manual means[CSR Item no.10.13(i)] A&C-1 | 20.00 | Cum |  | 5558.00 | 111160.00 | 5714.00 | 114280.00 | 4564.00 | 91280.00 | 4400.00 | 88000.00 | 5000.00 | 100000.00 | 4000.00 | 80000.00 | 80000.00 | JMM INFRACON
21.00 | Distempering with Acrylic washable oil bound distemper (of approved manufacture) one coat over one priming coat on old distempered surface[CSR Item no.16.11] A&C-1 | 1800.00 | Sqm |  | 40.00 | 72000.00 | 42.00 | 75600.00 | 30.00 | 54000.00 | 30.00 | 54000.00 | 90.00 | 162000.00 | 25.00 | 45000.00 | 45000.00 | JMM INFRACON
22.00 | Preparation of plastered or concrete surface for painting (including sand papering the surface) using ready mixed cement based wall putty by applying two or more coats to get required finish[CSR Item no.16.65] | 1800.00 | Sqm |  | 98.00 | 176400.00 | 102.00 | 183600.00 | 60.00 | 108000.00 | 80.00 | 144000.00 | 80.00 | 144000.00 | 150.00 | 270000.00 | 108000.00 | Rahul Verma Govt. Contractor
23.00 | Removing,Cutting and Refixing of doors in existing position including repair (As per direction by engineer incharge)[Quotation attached] | 1000.00 | Sqm |  | 695.00 | 695000.00 | 732.00 | 732000.00 | 500.00 | 500000.00 | 200.00 | 200000.00 | 300.00 | 300000.00 | 300.00 | 300000.00 | 200000.00 | M/S Surindera Traders
24.00 | Dismantling, disjointing, removal of G.I. pipe lines, specials, valves and fitting complete in all respects15mm internal diameter pipe line.[CSR item No.28.63(a)] | 1172.50 | Mtr. |  | 24.00 | 28140.00 | 26.00 | 30485.00 | 15.00 | 17587.50 | 15.00 | 17587.50 | 50.00 | 58625.00 | 18.00 | 21105.00 | 17587.50 | Rahul Verma Govt. Contractor, M/S Surindera Traders
25.00 | -do- 20mm internal diameter pipe line .[CSR item No.28.63(b)] | 1157.50 | Mtr. |  | 29.00 | 33567.50 | 31.00 | 35882.50 | 15.00 | 17362.50 | 20.00 | 23150.00 | 60.00 | 69450.00 | 18.00 | 20835.00 | 17362.50 | Rahul Verma Govt. Contractor
26.00 | -do- 25mm internal diameter pipe line.[CSR item No.28.63(c)] | 210.00 | Mtr. |  | 39.00 | 8190.00 | 39.00 | 8190.00 | 15.00 | 3150.00 | 30.00 | 6300.00 | 70.00 | 14700.00 | 30.00 | 6300.00 | 3150.00 | Rahul Verma Govt. Contractor
27.00 | Dismantling sanitary fixtures such as European/Indian /Orissa W.C., PVC/ China ware cistern, wash hand basin, urinal pot, sinks and CP Fittings and disposal of dismantled material within a distance of 100 Mtr. Complete in all respect as required by Engineer-in-charge. European/ Indian/ Orissa W.C. [CSR item No. 30.88(a)] | 180.00 | Each |  | 267.00 | 48060.00 | 279.00 | 50220.00 | 200.00 | 36000.00 | 210.00 | 37800.00 | 65.00 | 11700.00 | 300.00 | 54000.00 | 11700.00 | B T Construction Company
28.00 | -do- PVC/China Ware Cistern[CSR item No. 30.88(b)] | 90.00 | Each |  | 200.00 | 18000.00 | 209.00 | 18810.00 | 100.00 | 9000.00 | 160.00 | 14400.00 | 80.00 | 7200.00 | 100.00 | 9000.00 | 7200.00 | B T Construction Company
29.00 | -do- Wash Hand Basin/ Urinal Pot [CSR item No. 30.88(c)] | 105.00 | Each |  | 133.00 | 13965.00 | 135.00 | 14175.00 | 50.00 | 5250.00 | 100.00 | 10500.00 | 80.00 | 8400.00 | 100.00 | 10500.00 | 5250.00 | Rahul Verma Govt. Contractor
30.00 | Dismantling H.C.I. specials including dismantling of lead joints including cartage/ disposal within 5km.100mm I/d H.C.I. specials.[CSR item No.-30.87(a)] | 75.00 | Each |  | 40.00 | 3000.00 | 41.00 | 3075.00 | 25.00 | 1875.00 | 30.00 | 2250.00 | 100.00 | 7500.00 | 20.00 | 1500.00 | 1500.00 | JMM INFRACON
31.00 | Providing and fixing110mmdia.U.P.V.Cbend for Rainwater pipe as per IS:14735 including jointing complete as per specifications and to the entire satisfaction of Engineer- in- charge. UPVC 110 mm bend CSR item 13.75a | 75.00 | Each |  | 165.00 | 12375.00 | 171.00 | 12825.00 | 125.00 | 9375.00 | 440.00 | 33000.00 | 500.00 | 37500.00 | 500.00 | 37500.00 | 9375.00 | Rahul Verma Govt. Contractor
32.00 | Providing and laying, jointing, fixing and testing ISI Marked UPVC pipe lines as per ISI 4985-2000, including specials such as tees, bends, sockets, elbow etc, cutting, testing,(including cost of specials) in the ground complete in all respect 40mm I/d. [CSR item No. 28.12 B(a) A&C-4 | 180.00 | Mtr. |  | 102.00 | 18360.00 | 107.00 | 19260.00 | 83.97 | 15114.60 | 125.00 | 22500.00 | 12000.00 | 2160000.00 | 190.00 | 34200.00 | 15114.60 | Rahul Verma Govt. Contractor
33.00 | Providing ,laying, fixing and jointing of PVC pipe as per ISI 4985( ISI marked with prior approval of Engineer –in-charge) along the tranches and laying the same in trenches to correct alignment and gradients, cutting, jointing and testing complete as per specifications 110 mm O/d PVC pipe of 6 Kg/sqcm. [CSR item No. 28.13B(XV) including specials(i.e. CSR- 28.18 xv ( RATE AS PER CSR 266+ 5%=279.30) | 180.00 | Mtr. |  | 323.00 | 58140.00 | 341.00 | 61380.00 | 275.00 | 49500.00 | 430.00 | 77400.00 | 8000.00 | 1440000.00 | 500.00 | 90000.00 | 49500.00 | Rahul Verma Govt. Contractor
34.00 | Cutting holes up to 23 cm square through B.B in cement walls or stone masonry wall in cement for pipes and making good the same & finishing according existing finish where required.(CSR-28.56 b) Through wall 22.86 cm thick. | 290.00 | Each. |  | 291.00 | 84390.00 | 310.00 | 89900.00 | 225.00 | 65250.00 | 155.00 | 44950.00 | 250.00 | 72500.00 | 200.00 | 58000.00 | 44950.00 | M/S Surindera Traders
35.00 | Cutting holes up to 23cm square for pipes in floor and roofs of cement concrete, reinforced concrete or reinforced brick work and making good the same and finishing according to existing finish where required.[CSR Item No. 28.56(c )] | 180.00 | Each |  | 373.00 | 67140.00 | 390.00 | 70200.00 | 325.00 | 58500.00 | 170.00 | 30600.00 | 250.00 | 45000.00 | 300.00 | 54000.00 | 30600.00 | M/S Surindera Traders
36.00 | Cutting Chase in brick walls in cement or in floor for embedding G.I or C.I pipes line and making good the same to its original condition.(CSR—30.85) a. Size 75x75 mm. | 2540.00 | Mtr. |  | 84.00 | 213360.00 | 88.00 | 223520.00 | 75.00 | 190500.00 | 68.00 | 172720.00 | 200.00 | 508000.00 | 50.00 | 127000.00 | 127000.00 | JMM INFRACON
37.00 | Providing laying jointing, fixing and testing ISI Marked G.I. pipe (as per IS 1239) B-class premium make such as (Jindal Hisar) including cost of specials (such as tees, bends, sockets, elbows etc.) painting with anti-corrosive bitumastic paint, testing, cutting, threading inside building complete15mm i/d.[CSR Item No. 28.35(a)] | 1172.50 | Mtr. |  | 250.00 | 293125.00 | 261.00 | 306022.50 | 225.00 | 263812.50 | 310.00 | 363475.00 | 1000.00 | 1172500.00 | 650.00 | 762125.00 | 263812.50 | Rahul Verma Govt. Contractor
38.00 | -do- 20mm i/d.[CSR Item No. 28.35(b)] | 1157.50 | Mtr. |  | 304.00 | 351880.00 | 312.00 | 361140.00 | 265.00 | 306737.50 | 370.00 | 428275.00 | 1200.00 | 1389000.00 | 300.00 | 347250.00 | 306737.50 | Rahul Verma Govt. Contractor
39.00 | -do- 25mm i/d .[CSR Item No. 28.35(c)] | 210.00 | Mtr. |  | 384.00 | 80640.00 | 391.00 | 82110.00 | 325.00 | 68250.00 | 440.00 | 92400.00 | 1250.00 | 262500.00 | 200.00 | 42000.00 | 42000.00 | JMM INFRACON
40.00 | Providing & Fixing in position 15mm i/d bib cock of approved make (to the approval of Engineer-in-charge) complete in all respect. C.P brass bib cock without flange[CSR item No. 30.65 A (ii)] | 360.00 | Each |  | 1118.00 | 402480.00 | 1159.00 | 417240.00 | 900.00 | 324000.00 | 900.00 | 324000.00 | 700.00 | 252000.00 | 1000.00 | 360000.00 | 252000.00 | B T Construction Company
41.00 | Fixing in position 15mm i/d bib cock of approved make (to the approval of Engineer-in-charge) complete in all respect. Brass bib cock/ Stop cock 15mm x 400 gm. [CSR item No. 30.65 A (iv)] | 105.00 | Each |  | 516.00 | 54180.00 | 539.00 | 56595.00 | 425.00 | 44625.00 | 440.00 | 46200.00 | 800.00 | 84000.00 | 100.00 | 10500.00 | 10500.00 | JMM INFRACON
42.00 | Providing and fixing in position Chinaware Indian Orissa water closet size 580mmX400 mm of approved make (to the approval of the Engineer-in-charge) consisting of 10Ltr. PVC flushing cistern including cost of PVC long bend 32mm dia complete in all respect and to the entire satisfaction of Engineer-in-charge. [CSR item No. 30.2] | 15.00 | Each |  | 6491.00 | 97365.00 | 6841.00 | 102615.00 | 4500.00 | 67500.00 | 5000.00 | 75000.00 | 6500.00 | 97500.00 | 5200.00 | 78000.00 | 67500.00 | Rahul Verma Govt. Contractor
43.00 | Providing and fixing in position Chinaware European type water closet P trap or S trap of approved make (to the approval of the Engineer-in-charge) consisting of 10Ltr. PVC flushing cistern PVC short bend 32mm dia including cost of seat cover complete in all respect and to the entire satisfaction of Engineer-in-charge. [CSR item No. 30.4] | 90.00 | Each |  | 5829.00 | 524610.00 | 6194.00 | 557460.00 | 5500.00 | 495000.00 | 5000.00 | 450000.00 | 5900.00 | 531000.00 | 4700.00 | 423000.00 | 423000.00 | JMM INFRACON
44.00 | Providing and fixing in position S.S Grating with frame of approved make (to the approval of Engineer-in-charge) complete in all respect (Previously item No. 30.104) [CSR item No. 30.80] | 285.00 | Each |  | 135.00 | 38475.00 | 141.00 | 40185.00 | 100.00 | 28500.00 | 100.00 | 28500.00 | 180.00 | 51300.00 | 90.00 | 25650.00 | 25650.00 | JMM INFRACON
45.00 | Providing and fixing in position vitreous chinaware with lavatory suites of approved make (to the approval of Engineer –in-charge) consisting of C.P brass waste 32mm dia with one C.P brass pillar tap complete in all respect. (CSR-30.32 (ii) Size 550mmx 400mm | 105.00 | Each |  | 4407.00 | 462735.00 | 4607.00 | 483735.00 | 3614.00 | 379470.00 | 3600.00 | 378000.00 | 5000.00 | 525000.00 | 5000.00 | 525000.00 | 378000.00 | M/S Surindera Traders
46.00 | Providing, fixing and jointing G.I. Union couplings (of approved made with the approval EIC) as per IS 1879 in G.I. pipe lines complete in all respect. 15mm i/d G.I. Union [CSR item No. 28.40(a)] | 180.00 | Each |  | 111.00 | 19980.00 | 113.00 | 20340.00 | 100.00 | 18000.00 | 90.00 | 16200.00 | 160.00 | 28800.00 | 200.00 | 36000.00 | 16200.00 | M/S Surindera Traders
47.00 | -do- 20mm i/d G.I. Union[CSR item No. 28.40(b)] | 180.00 | Each |  | 184.00 | 33120.00 | 188.00 | 33840.00 | 150.83 | 27149.40 | 140.00 | 25200.00 | 180.00 | 32400.00 | 200.00 | 36000.00 | 25200.00 | M/S Surindera Traders
48.00 | -do- 25mm i/d G.I. Union [CSR item No. 28.40(c)] | 30.00 | Each |  | 232.00 | 6960.00 | 243.00 | 7290.00 | 190.38 | 5711.40 | 190.00 | 5700.00 | 200.00 | 6000.00 | 200.00 | 6000.00 | 5700.00 | M/S Surindera Traders
49.00 | Providing, fixing and jointing ISI Marked Gun-Metal peat valves (Heavy Pattern) as per IS 778 with hand wheels, on G.I. pipe lines laid in the ground or inside buildings including all carriages complete. 20 mm I/D Gun metal peat valve heavy pattern[CSR item No.-28.43(b)] | 165.00 | Each |  | 686.00 | 113190.00 | 717.00 | 118305.00 | 550.00 | 90750.00 | 500.00 | 82500.00 | 4000.00 | 660000.00 | 500.00 | 82500.00 | 82500.00 | JMM INFRACON, M/S Surindera Traders
50.00 | 25 mm I/D Gun metal peat valve heavy pattern[CSR item No.-28.43(c)] | 15.00 | Each |  | 943.00 | 14145.00 | 969.00 | 14535.00 | 775.00 | 11625.00 | 800.00 | 12000.00 | 5000.00 | 75000.00 | 900.00 | 13500.00 | 11625.00 | Rahul Verma Govt. Contractor
51.00 | Providing & fixing in position stop cock/ Angle valve of approved make (to the approval of Engineer-in-charge) complete in all respect. C.P brass 15mm angle valve without flange.[CSR item No. 30.66 (c )] | 390.00 | Each |  | 1007.00 | 392730.00 | 1027.00 | 400530.00 | 800.00 | 312000.00 | 800.00 | 312000.00 | 1000.00 | 390000.00 | 900.00 | 351000.00 | 312000.00 | Rahul Verma Govt. Contractor, M/S Surindera Traders
52.00 | Providing & fixing in position stop cock/ Angle valve of approved make (to the approval of Engineer-in-charge) complete in all respect. C.P brass 15mm concealed stop cock with flange [CSR item No. 30.66 (b)] | 180.00 | Each |  | 1468.00 | 264240.00 | 1522.00 | 273960.00 | 1050.00 | 189000.00 | 1200.00 | 216000.00 | 1300.00 | 234000.00 | 1000.00 | 180000.00 | 180000.00 | JMM INFRACON
53.00 | Providing & fixing in position C.P brass overhead shower 1 flow with shower arm with 15mm I/d inlet of approved make (to the approval of Engineer-in-charge) complete in all respect. [CSR item No. 30.56 A] | 90.00 | Each |  | 1250.00 | 112500.00 | 1307.00 | 117630.00 | 750.00 | 67500.00 | 950.00 | 85500.00 | 2000.00 | 180000.00 | 1000.00 | 90000.00 | 67500.00 | Rahul Verma Govt. Contractor
54.00 | Providing and fixing in position stainless steel sinks of approved make ( to the approval of Engineer-in-charge) 1mm thick, grade-304 (18/8) with waste coupling complete in all respect.(CSR-30.47) (a) rectangular sink with deluxe border single bowl overall size 700mmx 555mm x200m. fixed with RCC slab work complete in all respect. | 90.00 | Each |  | 9438.00 | 849420.00 | 9948.00 | 895320.00 | 6000.00 | 540000.00 | 7000.00 | 630000.00 | 7800.00 | 702000.00 | 8000.00 | 720000.00 | 540000.00 | Rahul Verma Govt. Contractor
55.00 | Providing and fixing in position 5mm thick beveled edge mirror of superior glass(of approved make) complete with 4mm thick hard board backing fixed in with rawl plugs 50mm, C.P brass screws and washers and S/S studs on top complete in all respect (as required by the Engineer-in-charge)(CSR-30.61) a (Size 600mmx450mm) | 105.00 | Each |  | 1462.00 | 153510.00 | 1579.00 | 165795.00 | 850.00 | 89250.00 | 1100.00 | 115500.00 | 1400.00 | 147000.00 | 1000.00 | 105000.00 | 89250.00 | Rahul Verma Govt. Contractor
56.00 | Providing and fixing PVC waste pipe 32mm complete in all respect. (CSR-30.20) | 105.00 | Each |  | 138.00 | 14490.00 | 144.00 | 15120.00 | 90.00 | 9450.00 | 90.00 | 9450.00 | 400.00 | 42000.00 | 500.00 | 52500.00 | 9450.00 | Rahul Verma Govt. Contractor, M/S Surindera Traders
57.00 | Providing and fixing in position PVC flexible tube connection of approved make (to the approval of Engineer-in-charge) complete in all respect. (CSR-30.72) (b) PVC tube connection of size 15mm x 450mm with C.P Brass nut. | 540.00 | Each |  | 222.00 | 119880.00 | 226.00 | 122040.00 | 150.00 | 81000.00 | 110.00 | 59400.00 | 200.00 | 108000.00 | 150.00 | 81000.00 | 59400.00 | M/S Surindera Traders
58.00 | Providing and fixing Jet Spray with 2’-6” long PVC pipe. (CSR-30.8) a With C.P Brass nut | 75.00 | Each |  | 580.00 | 43500.00 | 607.00 | 45525.00 | 476.00 | 35700.00 | 440.00 | 33000.00 | 1350.00 | 101250.00 | 500.00 | 37500.00 | 33000.00 | M/S Surindera Traders
59.00 | Providing and fixing stainless steel Health faucet complete in all respect. (CSR- 30.24) | 90.00 | Each |  | 1389.00 | 125010.00 | 1500.00 | 135000.00 | 850.00 | 76500.00 | 990.00 | 89100.00 | 1000.00 | 90000.00 | 1000.00 | 90000.00 | 76500.00 | Rahul Verma Govt. Contractor
60.00 | Providing and fixing in position G.M Non return valve 20mm. Heavyduty ISI marked reputed make- Zoloto etc | 180.00 | Each |  | 868.00 | 156240.00 | 923.00 | 166140.00 | 750.00 | 135000.00 | 600.00 | 108000.00 | 1100.00 | 198000.00 | 600.00 | 108000.00 | 108000.00 | JMM INFRACON, M/S Surindera Traders
61.00 | Providing and placing in position on terrace ( at all floor levels) HDPE water storage tanks of approved make (to the approval of Engineer-in-charge) with cover with suitable locking arrangement and making necessary holes for inlet, outlet and over flow pipes but without fittings and base support for tank. (CSR-30.97A (i)) triple layer tank | 45000.00 | Ltr. |  | 13.00 | 585000.00 | 14.00 | 630000.00 | 7.00 | 315000.00 | 9.50 | 427500.00 | 12.00 | 540000.00 | 15.00 | 675000.00 | 315000.00 | Rahul Verma Govt. Contractor
62.00 | Providing and fixing in position G.I tank Nipple of approved make (to the approval of Engineer-in-charge) complete in all respect. G.I tank nipple 20 mm i/d (CSR-30.98(b)) | 90.00 | Each. |  | 144.00 | 12960.00 | 147.00 | 13230.00 | 100.00 | 9000.00 | 100.00 | 9000.00 | 150.00 | 13500.00 | 300.00 | 27000.00 | 9000.00 | Rahul Verma Govt. Contractor, M/S Surindera Traders
63.00 | Providing and fixing in position automatic brass Ball Cock in tanks.CSR Item No. 30.96(B)Brass Ball Cock with rod and Plastic Ball (ii) 20mm i/d | 90.00 | Each |  | 700.00 | 63000.00 | 720.00 | 64800.00 | 525.00 | 47250.00 | 495.00 | 44550.00 | 600.00 | 54000.00 | 500.00 | 45000.00 | 44550.00 | M/S Surindera Traders
64.00 | Wiring inPVC insulated copper conductor single core FR cable (ISI marked) overall 1.5sq. mm, 1100volts grade to be laid in heavy gauge PVC conduit pipe 20mm / 25mm dia (ISI Marked) recessed in wall etc., complete with powder coated/anodized concealed metal boxes (1.6mm thick with Brasslugs) required for having (Flush/Piano type accessories) Step type electronic fan regulators 100watts(socketsize),bellpush, 5Pin 6Amp. sockets (4Module Box), 16/20Amp .universal sockets (6ModuleBox), 6/16/20Amp.Switchesetc. andcoveredwith brown bakelite white glazed translucent back side painted sheet 3mmthicketc.,PVC connector (For Fan Box and Call Bell),Steel Hooks, Sheet metal fan box (1.6mm thick shape hexagonal), Circular junction Boxes (Fourway PVC1½" deep for wall sandCI3" deep for ceiling), bonding to earth with PVC insulated copper conductor single coreFR cable (ISImarked) 1sq.mm,1100volts grade (For6Amp .wall socket& plug control point) andother pettymaterial etc., including the cost of bovematerial,cutting and filling up of chases (with finishing the surface):Wiring 6Amp. wall socket point.CSR Item no.34.05 iv | 90.00 | Each |  | 751.00 | 67590.00 | 766.00 | 68940.00 | 319.00 | 28710.00 | 510.00 | 45900.00 | 2000.00 | 180000.00 | 1000.00 | 90000.00 | 28710.00 | Rahul Verma Govt. Contractor
65.00 | Wiring inPVC insulated copper conductor single core FR cable (ISI marked) overall 1.5sq. mm, 1100volts grade to be laid in heavy gauge PVC conduit pipe 20mm / 25mm dia (ISI Marked) recessed in wall etc., complete with powder coated/anodized concealed metal boxes (1.6mm thick with Brasslugs) required for having (Flush/Piano type accessories) Step type electronic fan regulators 100watts(socketsize),bellpush, 5Pin 6Amp. sockets (4Module Box), 16/20Amp .universal sockets (6Module Box), 6/16/20Amp.Switchesetc. andcovered with brown bakelite white glazed translucent back side painted sheet 3mmthicketc.,PVC connector (For Fan Box and Call Bell),Steel Hooks, Sheet metal fan box (1.6mm thick shape hexagonal), Circular junction Boxes (Fourway PVC1½" deep for wall sandCI3" deep for ceiling), bonding to earth with PVC insulated copper conductor single coreFR cable (ISImarked) 1sq.mm,1100volts grade (For6Amp .wall socket& plug control point) andother petty material etc., including the cost of bovematerial,cutting andfillingup of chases (with finishing the surface):Wiring 16/20Amp. power plug control point CSR Item no.34.05 vi | 180.00 | Each |  | 389.00 | 70020.00 | 400.00 | 72000.00 | 41.00 | 7380.00 | 410.00 | 73800.00 | 2500.00 | 450000.00 | 600.00 | 108000.00 | 7380.00 | Rahul Verma Govt. Contractor
66.00 | Supply&erectionofPVCConduitPipes (ISI marked) as per IS9537:Part-III & HDPE pipes (ISI marked) as per IS:4984:1995 for wiring purposes including bends, junction boxes, Steel hooks, M.S. saddle clamps and other pettymaterials etc.,asperPWDGeneralSpecifications: Heavy Gauge PVCConduit Pipe20mmdia. (Flushed) (Flushed).CSR Item no.34.12(ix) A&C-3 | 200.00 | Mtr |  | 50.00 | 10000.00 | 51.00 | 10200.00 | 41.00 | 8200.00 | 60.00 | 12000.00 | 500.00 | 100000.00 | 100.00 | 20000.00 | 8200.00 | Rahul Verma Govt. Contractor
67.00 | SupplyanderectionofPVCinsulatedFR single core Unsheathed copper conductor cable (ISI marked) suitable upto 1100 volts grade confirm to IS:694/1990 leftbareinpipeorcasingof suitablesizecomplete inall respect as desired by the Engineer-in-charge. Overall size 1sq.mm (Un-sheathed).CSR Item no.34.09 (i) A&C-10 | 150.00 | Mtr |  | 17.00 | 2550.00 | 18.00 | 2700.00 | 14.00 | 2100.00 | 25.00 | 3750.00 | 550.00 | 82500.00 | 20.00 | 3000.00 | 2100.00 | Rahul Verma Govt. Contractor
68.00 | SupplyanderectionofPVCinsulatedFR single core Unsheathed copper conductor cable (ISI marked) suitable upto 1100 volts grade confirm to IS:694/1990 leftbareinpipeorcasingof suitablesizecomplete inall respect as desired by the Engineer-in-charge. Overall size 1.5sq.mm (Un-sheathed).CSR Item no.34.09 (ii) | 300.00 | Mtr |  | 22.00 | 6600.00 | 22.00 | 6600.00 | 18.00 | 5400.00 | 30.00 | 9000.00 | 700.00 | 210000.00 | 30.00 | 9000.00 | 5400.00 | Rahul Verma Govt. Contractor
69.00 | Dismantlingoldwiringpoints including necessary repairs to wall etc. CSR item No. 34.39 II) | 180.00 | Each |  | 11.00 | 1980.00 | 14.00 | 2520.00 | 9.00 | 1620.00 | 8.00 | 1440.00 | 150.00 | 27000.00 | 10.00 | 1800.00 | 1440.00 | M/S Surindera Traders
| Total in Figures |  |  |  |  | 32889757.72 |  | 34377932.77 |  | 31453206.40 |  | 33576269.72 |  | 41698789.40 |  | 36150787.25
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words (Iteration 0)
|  |  | Bidder Price | Amount in Words
1 | M/S Mittal Construction Company (BID ID -955772) | 31453206.00 | Not Quoted | Not Quoted
2 | M/s Vijay Builders (BID ID -955621) | 31453206.00 | Not Quoted | Not Quoted
3 | JMM INFRACON (BID ID -955061) | 31453206.00 | 28149906.00 | Two Crore Eighty One Lakh Forty Nine Thousand Nine Hundred and Six
4 | B T Construction Company (BID ID -954918) | 31453206.00 | Not Quoted | Not Quoted
5 | Rahul Verma Govt. Contractor (BID ID -954812) | 31453206.00 | 27992606.00 | Two Crore Seventy Nine Lakh Ninety Two Thousand Six Hundred and Six
6 | M/S Surindera Traders (BID ID -955651) | 31453206.00 | 29565606.00 | Two Crore Ninety Five Lakh Sixty Five Thousand Six Hundred and Six
Lowest Amount Quoted BY: Rahul Verma Govt. Contractor(27992606.00)

## BOQ Summary
BOQ Summary Details Tender Title: Providing and Fixing floor wall tiles in rooms kitchen bathrooms toilets including replacement of old water supply and sanitary installation of 90 Nos T 1 to T 5 houses in BBMB colony Talwara Township Tender ID: 2025_BBMB_259275_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Rahul Verma Govt. Contractor (BID ID -954812) | 31453206.40 | L1
| 2 | M/S Mittal Construction Company (BID ID -955772) | 32889757.72 | L2
| 3 | M/S Surindera Traders (BID ID -955651) | 33576269.72 | L3
| 4 | M/s Vijay Builders (BID ID -955621) | 34377932.77 | L4
| 5 | JMM INFRACON (BID ID -955061) | 36150787.25 | L5
| 6 | B T Construction Company (BID ID -954918) | 41698789.40 | L6