## BoQ1
Government eProcurement System Created By: GULSHAN MANN Created Date/Time: 27-Jan-2026 02:35 PM Tender Title: Design and construction of main gate/entrance with exclusive wooden craftsmanship and installation of garden light in VVIP Rest House and Field Hostel in BBMB Colony, Sundernagar. Tender ID: 2025_BBMB_259556_1
Tender Inviting Authority: Sr. Executive Engineer, Township Division, BBMB, Sundernagar (H.P).
Name of Work: -Design and construction of main gate/entrance with exclusive wooden craftsmanship and installation of garden light in VVIP Rest House and Field Hostel in BBMB Colony, Sundernagar.
Contract No: NIT No.13/2025-26.
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AKSHAY KUMAR (GSTN-NA) BID ID -961273 |  | SHIV KUMAR (GSTN-NA) BID ID -960873 |  | LEKH RAJ (GSTN-NA) BID ID -960435
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation in foundations trenches etc. in all kinds of soil where Pick-Jumper work is not involved and not exceeding 2.0 metres depth including dressing of bottom and sides of trenches, stacking the excavated soil clear from the edge of excavation and subsequent filling around masonry in 15 cm, layers with compaction including disposal of all surplus soil as directed within lead of 30 metres. | 57.70 | Cum. | 1.00 | 320.00 | 18464.00 | 350.00 | 20195.00 | 250.00 | 14425.00 | 14425.00 | LEKH RAJ
2.00 | Dismantling of 8" thick H.B. Masonry in 1:5 cement Mortar in super structure | 24.48 | Cum | 1.00 | 550.00 | 13464.00 | 500.00 | 12240.00 | 450.00 | 11016.00 | 11016.00 | LEKH RAJ
3.00 | Cement concrete 1:4:8 With stone aggregate 40mm gauge mixing by manual means | 20.90 | Cum | 1.00 | 4250.00 | 88825.00 | 4200.00 | 87780.00 | 4800.00 | 100320.00 | 87780.00 | SHIV KUMAR
4.00 | Squared rubble masonry coursed (coursed rubble) in foundations and plinth in Cement mortar 1:4 | 16.85 | Cum | 1.00 | 6600.00 | 111210.00 | 6500.00 | 109525.00 | 6200.00 | 104470.00 | 104470.00 | LEKH RAJ
5.00 | Plum cement concrete 1:5:10 with stone ballast 40mm gauge using 20 percent plum | 6.35 | Cum | 1.00 | 3900.00 | 24765.00 | 4000.00 | 25400.00 | 4600.00 | 29210.00 | 24765.00 | AKSHAY KUMAR
6.00 | ASHLAR MASONRY Fine ashlar in cement mortar (1:3) upto 6 meters above plinth level | 51.98 | Cum | 1.00 | 24500.00 | 1273510.00 | 24000.00 | 1247520.00 | 24000.00 | 1247520.00 | 1247520.00 | LEKH RAJ, SHIV KUMAR
7.00 | Plain cement concrete 1:8:16 with stone ballast 40mm guage using 20% plum | 6.70 | Cum | 1.00 | 3600.00 | 24120.00 | 3500.00 | 23450.00 | 4500.00 | 30150.00 | 23450.00 | SHIV KUMAR
8.00 | Reinforced cement concrete M-20 mechanically batch mixed using batch type concrete mixer as per IS:1791 and vibrated by needle vibrator but excluding steel reinforcement centring and shuttering in foundation and plinth. | 28.27 | Cum | 1.00 | 6500.00 | 183755.00 | 6300.00 | 178101.00 | 6400.00 | 180928.00 | 178101.00 | SHIV KUMAR
9.00 | Reinforced cement concrete M-20 mechanically batch mixed using batch type concrete mixer as per IS:1791 and vibrated by needle vibrator but excluding steel reinforcment centring and shuttering in superstructure. | 12.66 | Cum | 1.00 | 6650.00 | 84189.00 | 6600.00 | 83556.00 | 7200.00 | 91152.00 | 83556.00 | SHIV KUMAR
10.00 | Centering and shuttering for columns (Square or rectangular or poly gonal in plain) | 142.28 | Sqm | 1.00 | 870.00 | 123783.60 | 850.00 | 120938.00 | 600.00 | 85368.00 | 85368.00 | LEKH RAJ
11.00 | Cold twisted detormed (Ribbed/ Tor steel) Bars (Fe 500 grade as per IS 1786-2008), for R.C.C works, where not including in the complete rate of RCC including bending and binding placing in position complete | 21.08 | Qtl | 1.00 | 8600.00 | 181288.00 | 8500.00 | 179180.00 | 9000.00 | 189720.00 | 179180.00 | SHIV KUMAR
12.00 | Kail wood wrought planed and fixed in position CSR 17.2 Where jointing is involved as in case of roof trusses composite beams etc (As per clause (v) of CHAPTER NO. 17 WOOD WORK of Punjab CSR 2020 FOURTH EDITION, The rate for item No. 17.1 to 17.6 apply to simple wood work not involving any jointing such as beams/ battens etc. Where jointing is involved as in case of roof trusses composite beams etc., increase the labour and through rate by Rs. 3600/- per cum. In case of built -in-fixtures involving jointing increase the rates by Rs. 2400/- per cum) | 4.60 | Cum | 1.00 | 170100.00 | 782460.00 | 170000.00 | 782000.00 | 180000.00 | 828000.00 | 782000.00 | SHIV KUMAR
13.00 | Teak wood wrought planed and fixed in position CSR 17.5 Where jointing is involved as in case of built -in-fixtures involving jointing (As per clause (v) of CHAPTER NO. 17 WOOD WORK of Punjab CSR 2020 FOURTH EDITION, The rate for item No. 17.1 to 17.6 apply to simple wood work not involving any jointing such as beams/ battens etc. Where jointing is involved as in case of roof trusses composite beams etc., increase the labour and through rate by Rs. 3600/- per cum. In case of built -in-fixtures involving jointing increase the rates by Rs. 2400/- per cum) | 4.40 | Cum | 1.00 | 198000.00 | 871200.00 | 199000.00 | 875600.00 | 220000.00 | 968000.00 | 871200.00 | AKSHAY KUMAR
14.00 | Slate roofing with lap double layer fixed on wooden batten (wood work to be paid for separately) size 30cmx15cm | 64.48 | Sqm | 1.00 | 1800.00 | 116064.00 | 1700.00 | 109616.00 | 1600.00 | 103168.00 | 103168.00 | LEKH RAJ
15.00 | Providing and fixing ridges and hips in fibre cement reinforced by organic fibres and/or inorganic synthetic fibres roofing with suitable fixing accessories or self drilling fastener and EPDM washer etc. complete(c) Unserrated adjustable hips | 52.40 | Mtr | 1.00 | 600.00 | 31440.00 | 550.00 | 28820.00 | 750.00 | 39300.00 | 28820.00 | SHIV KUMAR
16.00 | Providing and fixing asbestos cement semi-corrugated sheet eaves filler piece in position etc complete | 52.40 | Mtr | 1.00 | 450.00 | 23580.00 | 400.00 | 20960.00 | 450.00 | 23580.00 | 20960.00 | SHIV KUMAR
17.00 | Detailed wood carvings on high-quality teak wood, with specific patterns such as floral designs, geometric motifs or nature inspired elements. The teak used must be of premium quality, free of defects such as cracks or knots and should be inspected before carving. The carving work should be done with specialized tools to achieve precise and detailed designs with no rough edges or inconsistencies in depth. The wood must be carefully sanded to remove tool marks and the final surface should be treated with a protective finish like teak oil or varnish to enhance the wood’s natural beauty and durability. Quality control is a priority, with regular checks to ensure the carvings match the approved design. | 119.32 | Sqm | 1.00 | 4500.00 | 536940.00 | 4000.00 | 477280.00 | 3800.00 | 453416.00 | 453416.00 | LEKH RAJ
18.00 | Varnishing with copal varnish one coat of sizing and two coats of varnishing on wood work including stopping a) With superior quality paint | 119.32 | Sqm. | 1.00 | 102.00 | 12170.64 | 99.00 | 11812.68 | 150.00 | 17898.00 | 11812.68 | SHIV KUMAR
19.00 | Steel work in built up tubular pipes (round, square or rectangular hollow tubes etc. ISI Marked) for flat shed (ie. Where no truss work is involved) including cutting, hoisting, fixing in position andapplying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. | 4.21 | Qtl | 1.00 | 12000.00 | 50580.00 | 12000.00 | 50580.00 | 11000.00 | 46365.00 | 46365.00 | LEKH RAJ
20.00 | Steel work fixed independently without connecting plates including cutting hoisting and fixing in position Tees angles & channels | 1.96 | Qtl | 1.00 | 8100.00 | 15876.00 | 8000.00 | 15680.00 | 9000.00 | 17640.00 | 15680.00 | SHIV KUMAR
21.00 | Applying priming coat with metal primer on new steel or iron work including preparation of surface. | 36.60 | Sqm | 1.00 | 37.00 | 1354.20 | 35.00 | 1281.00 | 35.00 | 1281.00 | 1281.00 | LEKH RAJ, SHIV KUMAR
22.00 | Painting two or more coats excluding priming coat with synthetic enamel paint in all shades on wood work, metallic or plastered, concrete surface to give an even shade. | 36.60 | Sqm | 1.00 | 85.00 | 3111.00 | 80.00 | 2928.00 | 90.00 | 3294.00 | 2928.00 | SHIV KUMAR
23.00 | Supply and installation of garden bench Cast Iron bench of 1800 mm length, 900 mm width, 450 mm seating height, sides made of cast iron. Seat and back shall be made of 10 strips of M.S. pipes 63 mm x 25 mm of 14 gauge with one M.S. Flat 25 x 10 mm welded at the centre, below and back of the seat and back rest. Spray painted with approved brand paint. Fixed by grouting with 1:2:4 cement concrete (Minimum weight of each bench 105 kg) | 4.00 | Each | 1.00 | 17500.00 | 70000.00 | 17000.00 | 68000.00 | 16000.00 | 64000.00 | 64000.00 | LEKH RAJ
24.00 | Supply, Installation, Testing and Commissioning of Decorative Lighting (40w Light) Poles of 4 Meter Height Made of Mild Steel, Round in Shape with Base Diameter 201–250 mm and Top Diameter 70.1–80.0 mm, Wall Thickness 2.0–4.0 mm, PU Painted Finish in Black/Grey Colour Over Hot-Dip Galvanized Surface, Fitted with Single Downward Arm (Length 701–800 mm), Including Inbuilt Terminal Connection Box, Mounting Plate with 4 Mounting Holes and Foundation Bolts, Approximate Weight 35 kg, Weatherproof, Rustproof and Corrosion-Resistant, Complete in All Respects as Per Approved Design and Site Requirements | 15.00 | Each | 1.00 | 28900.00 | 433500.00 | 29000.00 | 435000.00 | 28000.00 | 420000.00 | 420000.00 | LEKH RAJ
25.00 | Supply, Installation, Testing, and Commissioning of 30W LED Post Top Garden Luminaires Without Pole, Using SMD LED Chips with Minimum Efficacy ≥105 lm/W, Colour Temperature 6000±500K, CRI ≥70, Power Factor ≥0.95, and Driver Efficiency ≥85%, Operating at 230V AC (140V–270V), 50Hz, Complete with UV-Stabilized Polycarbonate Diffuser (Minimum 3mm, IK07), Weatherproof IP65 Rated Housing with Extruded Silicon Gasket, Inbuilt Protection Against Voltage Fluctuation, Reverse Polarity, Overload, and Short Circuit, Suitable for Outdoor Garden Illumination with Life ≥50,000 Hours (LM80/TM21 Certified), BIS and ISI Compliant as per IS:15885 (Part 2/Sec 13), IS:16103, IS:16104, IS:16106, and IS:16108, Including All Accessories and Markings as Per Specifications, Complete in All Respects as per Approved Design NS | 15.00 | Each | 1.00 | 4200.00 | 63000.00 | 4000.00 | 60000.00 | 4200.00 | 63000.00 | 60000.00 | SHIV KUMAR
26.00 | Supply, Installation, Testing, and Commissioning of Bollard-Type LED Garden Lights with 1-Meter-High Aluminium Casting Pole Including 15W LED Post Top Luminaires Using SMD LED Chips (System Efficacy ≥105 lm/W), Colour Temperature 4000K ±275K, CRI ≥70, Power Factor ≥0.95, Driver Efficiency ≥85%, with UV-Stabilized Polycarbonate Diffuser (≥3mm), IP65 Rated Weatherproof Housing, Internal Surge Protection ≥4kV, External Surge Protection ≥10kV, and Inbuilt Protections Against Overvoltage, Overload, Short Circuit, and Reverse Polarity, Complete with Silicon Gasket Seal, ISI Marked Three-Core Cable (0.5 m), BIS/ISI Compliant as per IS:15885, IS:16103, IS:16104, IS:16105, IS:16106, and IS:16108, Minimum Rated Life of 50,000 Hours (as per LM80/TM21), and Warranty of 2 Years, Including All Accessories and Markings as per Specifications and Site Requirements. | 15.00 | Each | 1.00 | 3200.00 | 48000.00 | 3000.00 | 45000.00 | 3200.00 | 48000.00 | 45000.00 | SHIV KUMAR
27.00 | Supply, Installation, Testing, and Commissioning of 25W LED Bollard Type Garden Light with Aluminium Casting Pole and LED Lantern/Luminaire, 0.5m Pole Height, SMD LED Chip, IP66 Protection, UV-Stabilized Polycarbonate Diffuser, BIS/ISI Certified Components, Including Surge Protection and Electrical Accessories as Per Approved Specifications. | 15.00 | Each | 1.00 | 4100.00 | 61500.00 | 3900.00 | 58500.00 | 4200.00 | 63000.00 | 58500.00 | SHIV KUMAR
28.00 | Supply, Installation, and Commissioning of Garden Swing Made of M.S Frame with Two-Side Aluminum Casting Seating, Weight Capacity of 500-700 kg, 5.28 ft Width and 48" Depth, All-Weather Proof Fabric in Various Colors as Per Choice, Suitable for All-Weather Conditions. | 3.00 | Each | 1.00 | 42000.00 | 126000.00 | 40000.00 | 120000.00 | 38000.00 | 114000.00 | 114000.00 | LEKH RAJ
29.00 | Providing and laying, jointing, fixing and testing ISI Marked uPVC Pipe Lines as per ISI 4985-2000, including specials such as tees, bends, sockets, elbow etc., cutting, testing (including cost of specials) in the ground complete in all respects. uPVC Pipe 10 Kgf/cm2 25mm i/d | 480.00 | Mtr | 1.00 | 135.00 | 64800.00 | 120.00 | 57600.00 | 590.00 | 283200.00 | 57600.00 | SHIV KUMAR
30.00 | Supply and erection of Double Walled Corrugated (DWC) HDPE pipe to be laid 1mtr. below ground level including excavation placing the pipe in position and back filling with excavated soil etc. of the required size:- Double Walled Corrugated HDPE Pipe 50/38mm (Outer/ Inner dia.) | 480.00 | Metre | 1.00 | 190.00 | 91200.00 | 170.00 | 81600.00 | 210.00 | 100800.00 | 81600.00 | SHIV KUMAR
31.00 | MINIATURE CIRCUIT BREAKERS/ RCBO's/ RCCB's: i) MCB Single Pole 0.5-4amp. (10kA, Curve- C) | 20.00 | No. | 1.00 | 370.00 | 7400.00 | 350.00 | 7000.00 | 350.00 | 7000.00 | 7000.00 | LEKH RAJ, SHIV KUMAR
32.00 | M.S. JUNCTION BOX FOR STREETLIGHT: Supply and erection of M.S. Junction box of suitable size made from M.S. Sheet 16 SWG (1.60mm thick). Junction box should have one locking arrangement and 2 nos. hinges on front side. It should have 1 No. Brass terminal connecting strip, 1 No. Kit kat 16 Amp/240 Volts along with M.S. Flat 20mm x 2mm clamp with nuts and bolts for fixing on the pole. The junction box should be painted with one coat of good quality primer and two coats of post office red enamel paint inside and outside complete in all respect:- M.S. Junction Box 300mm x 200mm x100mm | 20.00 | No. | 1.00 | 190.00 | 3800.00 | 180.00 | 3600.00 | 1250.00 | 25000.00 | 3600.00 | SHIV KUMAR
33.00 | Providing and fixing All Weather PVC Multi core Copper Wires 1.5 MM x 3 Core with (ISI Mark) | 520.00 | Mtr | 1.00 | 165.00 | 85800.00 | 150.00 | 78000.00 | 190.00 | 98800.00 | 78000.00 | SHIV KUMAR
34.00 | Providing and fixing All Weather PVC Multi core Copper Wires 1.5 MM x 2 Core with (ISI Mark) | 90.00 | Mtr. | 1.00 | 1850.00 | 166500.00 | 1800.00 | 162000.00 | 150.00 | 13500.00 | 13500.00 | LEKH RAJ
35.00 | Providing and Fixing L&T Tripbox Plus Metal Industrial Plug & Socket DB Box for MCB - 20A 2 Pin (P+N)+E For 2 Pole MCB With Top and MCB 20 AMP | 10.00 | No. | 1.00 | 1850.00 | 18500.00 | 1800.00 | 18000.00 | 1800.00 | 18000.00 | 18000.00 | LEKH RAJ, SHIV KUMAR
36.00 | SHEET METAL DOUBLE DOOR DISTRIBUTION BOARD FOR MCB's/ RCBO's/ RCCB's: ii)SP&N Double Door Distribution Board 8 way each | 1.00 | No. | 1.00 | 1750.00 | 1750.00 | 1650.00 | 1650.00 | 1600.00 | 1600.00 | 1600.00 | LEKH RAJ
37.00 | SP&N Double Door Distribution Board 12 way each | 1.00 | No. | 1.00 | 2250.00 | 2250.00 | 2200.00 | 2200.00 | 2200.00 | 2200.00 | 2200.00 | LEKH RAJ, SHIV KUMAR
| Total in Figures |  |  |  |  | 5816149.44 |  | 5662592.68 |  | 5908321.00
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words (Iteration 0)
|  |  | Bidder Price | Amount in Words
1 | LEKH RAJ (BID ID -960435) | 5662597.00 | Not Quoted | Not Quoted
2 | SHIV KUMAR (BID ID -960873) | 5662597.00 | 5492719.00 | Fifty Four Lakh Ninety Two Thousand Seven Hundred and Nineteen
3 | AKSHAY KUMAR (BID ID -961273) | 5662597.00 | 5521032.00 | Fifty Five Lakh Twenty One Thousand Thirty Two
Lowest Amount Quoted BY: SHIV KUMAR(5492719.00)

## BOQ Summary
BOQ Summary Details Tender Title: Design and construction of main gate/entrance with exclusive wooden craftsmanship and installation of garden light in VVIP Rest House and Field Hostel in BBMB Colony, Sundernagar. Tender ID: 2025_BBMB_259556_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHIV KUMAR (BID ID -960873) | 5662592.68 | L1
| 2 | AKSHAY KUMAR (BID ID -961273) | 5816149.44 | L2
| 3 | LEKH RAJ (BID ID -960435) | 5908321.00 | L3