## BoQ1
Government eProcurement System Created By: RAHUL INGLE Created Date/Time: 27-Jun-2025 02:24 PM Tender Title: SKM/B378-999-PJ-T-8820/1053 Tender ID: 2025_GAIL_230737_1
Tender Inviting Authority: SUMAN KUMAR MANDAL
Name of Work: CATHODIC PROTECTION OF UG PIPING-II FOR PDH-PP PROJECT OF GAIL AT USAR
Contract No: SKM/ B378-999-PJ-T-8820/1053
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SARK EPC Projects Pvt.Ltd. (GSTN-NA) BID ID -845642 |  | CONSULTECH (GSTN-NA) BID ID -845285 |  | BIN SARI SPECIALIZED TECHNOLOGIES CORROSION PROTECTION INDIA PRIVATE LIMITED (GSTN-NA) BID ID -847818 |  | Corrosion Technology Services India PVT LTD (GSTN-NA) BID ID -843666
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
0.00 | CATHODIC PROTECTIONOF UG PIPING-II FOR PDHPP USAR
1.00 | CATHODIC PROTECTION
2.00 | Cathodic Protection (CP) System for soil side corrosion prevention of underground fire water lines under road crossings as per details given in the specification vide document No. B378-999-06-45-CSW-0002 for U&O, GAIL Usar. All work shall be carried out conforming to the Scope of work, Design Basis, Data Sheets, specification, standards as per the tender and provisions of GCC, SCC , EIL / OWNER approved survey report/ design package, including all materials, equipment, consumables, spares, transportation, storage of materials at site, manpower, in line with direction of Engineer-in –charge.
3.00 | Supply and Installation of automatic current controlled, outdoor type, oil cooled, plinth mounted transformer Rectifier Unit (T/R Unit), complete with its accessories and auxiliaries including earthing arrangement, related civil/ Foundation / Structural works and input/output cable connection and glanding of incoming and outgoing cables inside T/R unit and including all labour and materials as per specifications, drawings and directions of Engineer-in-Charge.
4.00 | 50V / 25A | 30.00 | nos |  | 420000.00 | 12600000.00 | 550000.00 | 16500000.00 | 477747.00 | 14332410.00 | 700000.00 | 21000000.00 | 12600000.00 | SARK EPC Projects Pvt.Ltd.
5.00 | Supply and Installation of outdoor type, plinth /structure mounted IP-55, C.P.System Power distribution board (PDB), complete with its accessories and auxiliaries including earthing arrangement, related civil/ Foundation / Structural works and input/output cable connection and glanding of incoming and outgoing cables and also at owner switch board complete in all respects and including all labour and materials as per specifications, drawings and directions of Engineer-in-Charge.
6.00 | 63Amps | 5.00 | nos |  | 120000.00 | 600000.00 | 65000.00 | 325000.00 | 157271.00 | 786355.00 | 78500.00 | 392500.00 | 325000.00 | CONSULTECH
7.00 | 250Amps | 1.00 | nos |  | 250000.00 | 250000.00 | 100000.00 | 100000.00 | 367955.00 | 367955.00 | 125000.00 | 125000.00 | 100000.00 | CONSULTECH
8.00 | Supply and Installation of junction Boxes excluding laying of cables, but including connection, termination and glanding of cables at junction box end for +ve header, -ve header, drainage, measurement, reference cell, anode lead cables including supporting and mounting arrangements for junction box related civil/foundation works, excavation of concrete pavement/soil whichever existing for installation, backfilling and restoration of the concrete pavement wherever existing after completion of works etc. complete and including all labour/ materials as per specifications, drawings and direction of Engineer-in-Charge.
9.00 | Anode Junction Boxes (AJB) suitable for classified areas | 10.00 | nos |  | 70000.00 | 700000.00 | 55000.00 | 550000.00 | 64324.00 | 643240.00 | 111500.00 | 1115000.00 | 550000.00 | CONSULTECH
10.00 | Anode Junction Boxes (AJB) suitable for non-classified areas | 165.00 | nos |  | 35000.00 | 5775000.00 | 35000.00 | 5775000.00 | 50860.00 | 8391900.00 | 59000.00 | 9735000.00 | 5775000.00 | CONSULTECH, SARK EPC Projects Pvt.Ltd.
11.00 | Cathode Junction Boxes (CJB) suitable for classified areas | 3.00 | nos |  | 44000.00 | 132000.00 | 40000.00 | 120000.00 | 53414.00 | 160242.00 | 92000.00 | 276000.00 | 120000.00 | CONSULTECH
12.00 | Cathode Junction Boxes (CJB) suitable for non-classified areas | 27.00 | nos |  | 30000.00 | 810000.00 | 30000.00 | 810000.00 | 44512.00 | 1201824.00 | 59200.00 | 1598400.00 | 810000.00 | CONSULTECH, SARK EPC Projects Pvt.Ltd.
13.00 | Monitoring Junction box (MJB) suitable for Classified Areas | 3.00 | nos |  | 39000.00 | 117000.00 | 45000.00 | 135000.00 | 44512.00 | 133536.00 | 111500.00 | 334500.00 | 117000.00 | SARK EPC Projects Pvt.Ltd.
14.00 | Monitoring Junction box (MJB) suitable for Non-Classified Areas | 27.00 | nos |  | 29000.00 | 783000.00 | 30000.00 | 810000.00 | 41544.00 | 1121688.00 | 72500.00 | 1957500.00 | 783000.00 | SARK EPC Projects Pvt.Ltd.
15.00 | Test Junction box (TJB) suitable for Classified Areas | 10.00 | nos |  | 29000.00 | 290000.00 | 25000.00 | 250000.00 | 26708.00 | 267080.00 | 59000.00 | 590000.00 | 250000.00 | CONSULTECH
16.00 | Test Junction box (TJB) suitable for non-Classified Areas | 165.00 | nos |  | 22000.00 | 3630000.00 | 15000.00 | 2475000.00 | 25223.00 | 4161795.00 | 39500.00 | 6517500.00 | 2475000.00 | CONSULTECH
17.00 | Current Distribution Boxes for non-classified areas (CDB) | 27.00 | nos |  | 85000.00 | 2295000.00 | 45000.00 | 1215000.00 | 48963.00 | 1322001.00 | 92000.00 | 2484000.00 | 1215000.00 | CONSULTECH
18.00 | Positive Distribution Box (PDB) suitable for Classified Areas | 27.00 | nos |  | 90000.00 | 2430000.00 | 45000.00 | 1215000.00 | 63799.00 | 1722573.00 | 78500.00 | 2119500.00 | 1215000.00 | CONSULTECH
19.00 | Supply and Laying of following cables including back filling, arrangement of Nullah/Road Crossing by using proper size PVC conduit pipe for each cable including restoration of any damage of Nullah/road crossing, clamping cables at cable/pipe racks and structures wherever existing, laying through GI/PVC conduit under RCC pavement, laying through existing cable trench or cable tray inside/outside sub-station building, supply and installation of all accessories required for cable laying including cable markers etc. complete and including all labours and materials as per specification and instructions of Engineer-in- Charge. GI/PVC Conduit pipe to be used shall be 50 mm N.B.,2.9mm W.T & 25 mm N.B.,2.65mm W.T
20.00 | 1C x 95sq.mm - Anode & Cathode Header Cable (Al, Al wire armoured, PVC insulated and PVC Sheathed) | 20000.00 | m |  | 450.00 | 9000000.00 | 280.00 | 5600000.00 | 349.00 | 6980000.00 | 540.00 | 10800000.00 | 5600000.00 | CONSULTECH
21.00 | 1C x 95sq.mm - TR to CDB Cable (Al, Al wire armoured, PVC insulated and PVC Sheathed) | 4400.00 | m |  | 450.00 | 1980000.00 | 280.00 | 1232000.00 | 349.00 | 1535600.00 | 540.00 | 2376000.00 | 1232000.00 | CONSULTECH
22.00 | 1C x 50sq.mm - Drainage Cable (Cu, Al wire armoured, PVC insulated and PVC sheathed) | 2400.00 | m |  | 800.00 | 1920000.00 | 650.00 | 1560000.00 | 836.00 | 2006400.00 | 1060.00 | 2544000.00 | 1560000.00 | CONSULTECH
23.00 | 4C x 50sq.mm - Power cable between Power Source and PDB (Al, PVC insulated and PVC sheathed, armoured) for 63Amp PDB | 800.00 | m |  | 700.00 | 560000.00 | 525.00 | 420000.00 | 846.00 | 676800.00 | 845.00 | 676000.00 | 420000.00 | CONSULTECH
24.00 | 4C x 300sq.mm - Power cable between Power Source and PDB (Al, PVC insulated and PVC sheathed, armoured) for 250Amp PDB | 500.00 | m |  | 1800.00 | 900000.00 | 2000.00 | 1000000.00 | 3544.00 | 1772000.00 | 3010.00 | 1505000.00 | 900000.00 | SARK EPC Projects Pvt.Ltd.
25.00 | 3C x 25sq.mm - Power Supply cable between Power PDB & TR unit (Al, Al wire armoured, PVC insulated and PVC sheathed) | 2400.00 | m |  | 480.00 | 1152000.00 | 375.00 | 900000.00 | 348.00 | 835200.00 | 520.00 | 1248000.00 | 835200.00 | BIN SARI SPECIALIZED TECHNOLOGIES CORROSION PROTECTION INDIA PRIVATE LIMITED
26.00 | 1C x 35sq.mm - Earthing Cable (Al, unarmoured, PVC insulated and PVC sheathed) | 800.00 | m |  | 240.00 | 192000.00 | 275.00 | 220000.00 | 169.00 | 135200.00 | 345.00 | 276000.00 | 135200.00 | BIN SARI SPECIALIZED TECHNOLOGIES CORROSION PROTECTION INDIA PRIVATE LIMITED
27.00 | 1C x 10sq.mm - Anode lead cable between anode to AJB (Cu, Unarmoured, PVDF insulated, HMWPE sheathed) | 4000.00 | m |  | 560.00 | 2240000.00 | 375.00 | 1500000.00 | 408.00 | 1632000.00 | 530.00 | 2120000.00 | 1500000.00 | CONSULTECH
28.00 | 1C x 4sq.mm - Reference Cell / Measurement Cable (Cu, PE/PVC insulated and PVC sheathed, screened and armoured cable) . | 1500.00 | m |  | 210.00 | 315000.00 | 190.00 | 285000.00 | 233.00 | 349500.00 | 375.00 | 562500.00 | 285000.00 | CONSULTECH
29.00 | 10C x 2.5sq.mm - Reference Cell / Measurement Cable between MJB to TRU & pipe CJB to MJB(Cu, PE/PVC insulated and PVC sheathed, screened and armoured) | 800.00 | m |  | 610.00 | 488000.00 | 640.00 | 512000.00 | 547.00 | 437600.00 | 760.00 | 608000.00 | 437600.00 | BIN SARI SPECIALIZED TECHNOLOGIES CORROSION PROTECTION INDIA PRIVATE LIMITED
30.00 | 4C x 2.5sq.mm - Reference Cell / Measurement Cable between TJB to MJB (Cu, PE/PVC insulated and PVC sheathed, screened and armoured) | 20000.00 | m |  | 300.00 | 6000000.00 | 260.00 | 5200000.00 | 295.00 | 5900000.00 | 465.00 | 9300000.00 | 5200000.00 | CONSULTECH
31.00 | 24C x 2.5sq.mm - Reference Cell / Measurement Cable between MJB to RTU & TRU to RTU (Cu, PE/PVC insulated and PVC sheathed, screened and armoured) | 5000.00 | m |  | 750.00 | 3750000.00 | 1000.00 | 5000000.00 | 1010.00 | 5050000.00 | 1395.00 | 6975000.00 | 3750000.00 | SARK EPC Projects Pvt.Ltd.
32.00 | 3C x 16sq.mm - Power Supply Cable between PDB to RTU/PLC for Central Monitoring (Al, PVC insulated and PVC sheathed, Al wire armoured) | 700.00 | m |  | 320.00 | 224000.00 | 275.00 | 192500.00 | 326.00 | 228200.00 | 465.00 | 325500.00 | 192500.00 | CONSULTECH
33.00 | RS485 network cable, 1.0mm2, 2-Pair, each pair twisted and Laid, Numbered or colour coded, solid copper conductor, PE/PC insulated and sheathed, provided with polyester tape over it, screened with Poly Aluminium tape of 0.3mm and armoured with one layer of GI wire cable, to be laid between RTU & FO Junction box located at each TRU shed and Master Computer & FO Junction box located at S/S. | 1500.00 | m |  | 250.00 | 375000.00 | 270.00 | 405000.00 | 278.00 | 417000.00 | 525.00 | 787500.00 | 375000.00 | SARK EPC Projects Pvt.Ltd.
34.00 | Fibre Optic Cable, 6 Core, single mode, for Central Monitoring system to be laid between the FO Junction box located at each TRU shed and the FO Junction box located at S/S. | 1200.00 | m |  | 280.00 | 336000.00 | 175.00 | 210000.00 | 150.00 | 180000.00 | 325.00 | 390000.00 | 180000.00 | BIN SARI SPECIALIZED TECHNOLOGIES CORROSION PROTECTION INDIA PRIVATE LIMITED
35.00 | Supply & Making cable to pipe joint by thermit welding method or Pin brazing method including excavation of concrete pavement/soil wherever existing and including supply of all consumables, labours and materials as per specifications, drawings and directions of Engineer-in-Charge.
36.00 | For 50mm2 copper cable | 175.00 | nos |  | 2500.00 | 437500.00 | 1000.00 | 175000.00 | 669.00 | 117075.00 | 1645.00 | 287875.00 | 117075.00 | BIN SARI SPECIALIZED TECHNOLOGIES CORROSION PROTECTION INDIA PRIVATE LIMITED
37.00 | For 4mm2 copper cable | 300.00 | nos |  | 1800.00 | 540000.00 | 1000.00 | 300000.00 | 595.00 | 178500.00 | 2850.00 | 855000.00 | 178500.00 | BIN SARI SPECIALIZED TECHNOLOGIES CORROSION PROTECTION INDIA PRIVATE LIMITED
38.00 | Supply and Installation of Permanent reference cells (Cu/CuSO4 type or Ag/AgCl type) | 175.00 | nos |  | 22000.00 | 3850000.00 | 15000.00 | 2625000.00 | 21812.00 | 3817100.00 | 17760.00 | 3108000.00 | 2625000.00 | CONSULTECH
39.00 | Design, Detail Engineering, Testing & Commissioning of System
40.00 | Conducting Soil Resistivity Survey at 2 nos. locations including supply of all necessary material and labour and as per specifications, drawings and instructions of Engineer-in-Charge. | 1.00 | Lumpsum |  | 180000.00 | 180000.00 | 10000.00 | 10000.00 | 59348.00 | 59348.00 | 39500.00 | 39500.00 | 10000.00 | CONSULTECH
41.00 | Preparation and submission of approved Detail Engineering package including location drawings, construction drawings, C.P.System equipment/material drawings and BOQ for procurement purpose as per tender specifications. | 1.00 | Lumpsum |  | 1200000.00 | 1200000.00 | 200000.00 | 200000.00 | 1186950.00 | 1186950.00 | 657500.00 | 657500.00 | 200000.00 | CONSULTECH
42.00 | Testing/commissioning of complete CP System including interference tests and Central Monitoring & Control System including supply of all materials, labour, and as per specifications, drawings and instruction of Engineer-in-Charge. | 1.00 | Lumpsum |  | 200000.00 | 200000.00 | 200000.00 | 200000.00 | 1186950.00 | 1186950.00 | 657500.00 | 657500.00 | 200000.00 | CONSULTECH, SARK EPC Projects Pvt.Ltd.
43.00 | Supply and Installation of CP System central monitoring and control considering RS485 over Fibre Optics as the communication network between RTU/PLC & Master Computer located at Central control room along with its SCADA soft ware / hardware and supply of Central Monitoring PC of i7 latest generation along with accessories as per specification for Central Monitoring & Control of TR Unit , GPS based synchronised switching on /off of TR Units & ON/OFF potential monitoring of Permanent reference Cells for Plant piping in real time, all TRU located in each shed at each S/S along with 5 no. ref.cell within the influence of zone of protection for each TRU for UG Piping shall be monitored and controlled through central monitoring and control system as per specification and direction of the Engineer- In - Charge. | 1.00 | Lumpsum |  | 850000.00 | 850000.00 | 1000000.00 | 1000000.00 | 1350155.00 | 1350155.00 | 559000.00 | 559000.00 | 559000.00 | Corrosion Technology Services India PVT LTD
44.00 | Supply and Installation of Common sun/rain shed in non -classified area for T/R Units, PDB, MJB & RTU/PLC etc. | 1.00 | Lumpsum |  | 850000.00 | 850000.00 | 1500000.00 | 1500000.00 | 9792324.00 | 9792324.00 | 4605000.00 | 4605000.00 | 850000.00 | SARK EPC Projects Pvt.Ltd.
45.00 | Supply of Instruments for O & M of CP System | 1.00 | Lumpsum |  | 95000.00 | 95000.00 | 100000.00 | 100000.00 | 296738.00 | 296738.00 | 460500.00 | 460500.00 | 95000.00 | SARK EPC Projects Pvt.Ltd.
46.00 | Mandatory Spares for CP System as per spec | 1.00 | Lumpsum |  | 1200000.00 | 1200000.00 | 1500000.00 | 1500000.00 | 2726273.00 | 2726273.00 | 394700.00 | 394700.00 | 394700.00 | Corrosion Technology Services India PVT LTD
47.00 | Supply and Installation of test point, with installation of 4" HDPE/PVC perforated pipe vertically upto pipe depth by suitable drilling method for installation of permanent reference cells as per specification & drawing & direction of Engineer-in-Charge. | 175.00 | nos |  | 1500.00 | 262500.00 | 1000.00 | 175000.00 | 7716.00 | 1350300.00 | 22350.00 | 3911250.00 | 175000.00 | CONSULTECH
48.00 | Coupons | 25.00 | nos |  | 12000.00 | 300000.00 | 5000.00 | 125000.00 | 3710.00 | 92750.00 | 6575.00 | 164375.00 | 92750.00 | BIN SARI SPECIALIZED TECHNOLOGIES CORROSION PROTECTION INDIA PRIVATE LIMITED
49.00 | Coupon cable 1CX16 Sq. mm std. Cu conductor XLPE/PVC | 250.00 | m |  | 600.00 | 150000.00 | 400.00 | 100000.00 | 431.00 | 107750.00 | 130.00 | 32500.00 | 32500.00 | Corrosion Technology Services India PVT LTD
50.00 | CP bonding cable 1CX10 Sq. mm | 200.00 | m |  | 450.00 | 90000.00 | 275.00 | 55000.00 | 305.00 | 61000.00 | 265.00 | 53000.00 | 53000.00 | Corrosion Technology Services India PVT LTD
51.00 | Supply and Installation of materials for cable crossing of major roads by making cable duct with 6 Inch. PVC pipe embedded in RCC | 150.00 | m |  | 1500.00 | 225000.00 | 1500.00 | 225000.00 | 1559.00 | 233850.00 | 1975.00 | 296250.00 | 225000.00 | CONSULTECH, SARK EPC Projects Pvt.Ltd.
52.00 | Supply and Installation of Vertical shallow depth anode bed using MMO tubular anode (25mm dia.x 750mm long), 1 Number 6 A Output anode, including GI canister 200 mm ODx2m long filled with petroleum coke breeze, 1 number 1C x 10sq.mm (Cu, Unarmoured, PVDF insulated, HMWPE sheathed) anode tail cable between anode and AJB or 20m long whichever is higher & 1 No. anode to tail cable joint at anode manufacturer's factory, 1" dia. perforated vent pipe. Nylon rope shall be used for lowering canistered anode inside bore hole & RCC Pit cover shall be installed for anode bed. | 350.00 | nos |  | 52000.00 | 18200000.00 | 50000.00 | 17500000.00 | 76305.00 | 26706750.00 | 35000.00 | 12250000.00 | 12250000.00 | Corrosion Technology Services India PVT LTD
53.00 | Supply and installation of Test point/soil access point-4" PVC/HDPE pipe and 500 mm long with PVC end caps) | 175.00 | nos |  | 1500.00 | 262500.00 | 2000.00 | 350000.00 | 1930.00 | 337750.00 | 985.00 | 172375.00 | 172375.00 | Corrosion Technology Services India PVT LTD
54.00 | Straight through cable joint kit for following cables
55.00 | 1C x 95sq.mm - Anode & Cathode Header Cable (Al, Al wire armoured, PVC insulated and PVC Sheathed) | 1.00 | Lumpsum |  | 200000.00 | 200000.00 | 25000.00 | 25000.00 | 1337.00 | 1337.00 | 32850.00 | 32850.00 | 1337.00 | BIN SARI SPECIALIZED TECHNOLOGIES CORROSION PROTECTION INDIA PRIVATE LIMITED
56.00 | 1C x 50sq.mm - Drainage Cable (Cu, Al wire armoured, PVC insulated and PVC sheathed) | 1.00 | Lumpsum |  | 100000.00 | 100000.00 | 25000.00 | 25000.00 | 1188.00 | 1188.00 | 32850.00 | 32850.00 | 1188.00 | BIN SARI SPECIALIZED TECHNOLOGIES CORROSION PROTECTION INDIA PRIVATE LIMITED
57.00 | 1C x 10sq.mm - Anode lead cable (Cu, Unarmoured, PVDF insulated, HMWPE sheathed) | 1.00 | Lumpsum |  | 400000.00 | 400000.00 | 25000.00 | 25000.00 | 892.00 | 892.00 | 32850.00 | 32850.00 | 892.00 | BIN SARI SPECIALIZED TECHNOLOGIES CORROSION PROTECTION INDIA PRIVATE LIMITED
58.00 | 1C x 4sq.mm - Reference Cell / Measurement Cable (Cu, PE/PVC insulated and PVC sheathed, screened and armoured cable) between Ref Cell /Pipe to TJB | 1.00 | Lumpsum |  | 175000.00 | 175000.00 | 25000.00 | 25000.00 | 669.00 | 669.00 | 32850.00 | 32850.00 | 669.00 | BIN SARI SPECIALIZED TECHNOLOGIES CORROSION PROTECTION INDIA PRIVATE LIMITED
59.00 | Preparation and submission of all approved as built drawing for complete C.P. System including soft copies for Auto cad drawings, operation & maintenance manual for CP System including commissioning report. Notes: Above SOR is indicative/tentative. Contractor to calculate actual quantity of equipment and cable lengths based on design criteria and site conditions during detailed engineering as per specification, calculation of which to be done item-rate wise. | 1.00 | Lumpsum |  | 100000.00 | 100000.00 | 100000.00 | 100000.00 | 222554.00 | 222554.00 | 657800.00 | 657800.00 | 100000.00 | CONSULTECH, SARK EPC Projects Pvt.Ltd.
60.00 | Applicable GST Rate for above SOR items
| Total in Figures |  |  |  |  | 89711500.00 |  | 80856500.00 |  | 112576302.00 |  | 118031925.00
Lowest Amount Quoted BY: CONSULTECH(80856500.00)

## BOQ Summary
BOQ Summary Details Tender Title: SKM/B378-999-PJ-T-8820/1053 Tender ID: 2025_GAIL_230737_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CONSULTECH (BID ID -845285) | 80856500.00 | L1
| 2 | SARK EPC Projects Pvt.Ltd. (BID ID -845642) | 89711500.00 | L2
| 3 | BIN SARI SPECIALIZED TECHNOLOGIES CORROSION PROTECTION INDIA PRIVATE LIMITED (BID ID -847818) | 112576302.00 | L3
| 4 | Corrosion Technology Services India PVT LTD (BID ID -843666) | 118031925.00 | L4

## Preferential Bidder BOQ Summary
Preferential Bidder Non-Itemwise BOQ Summary Details Tender Title: SKM/B378-999-PJ-T-8820/1053 Tender ID: 2025_GAIL_230737_1
Sheet Name | Sl.No | Bidder Name | Amount | Difference Amount from L1 | Difference Percentage from L1 | Tolerance Percentage | Preference Category
BoQ1 | 1 | CONSULTECH (BID ID -845285) | 80856500.00 |  |  | 20.00% | Make in India
| 2 | SARK EPC Projects Pvt.Ltd. (BID ID -845642) | 89711500.00
| 3 | BIN SARI SPECIALIZED TECHNOLOGIES CORROSION PROTECTION INDIA PRIVATE LIMITED (BID ID -847818) | 112576302.00
| 4 | Corrosion Technology Services India PVT LTD (BID ID -843666) | 118031925.00