## BoQ1
Government eProcurement System Created By: RAMAR E Created Date/Time: 06-Aug-2025 03:39 PM Tender Title: SITC OF PORTA CABIN AND ASSOCIATED ELECTRICAL POWER SYSTEMS TO ESTABLISH INSTRUMENTATION/SCADA/TELECOM SERVICES AT LKPL TERMINALS Tender ID: 2025_GAIL_238961_1
Tender Inviting Authority: GAIL (INDIA) LIMITED, KG BASIN, RAJAHMUNDRY
Name of Work: SUPPLY, INSTALLATION, TESTING & COMMISSIONG OF PORTA CABIN & ASSOCIATED ELECTRICAL POWER SYSTEMS TO ESTABLISH INSTRUMENTATION/SCADA/TELECOM SERVICES AT LKPL TERMINALS
Tender Ref. No: GAIL/3130/CNP/SR-13/25-26/RE (TENDER ID: 2025_GAIL_238961_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MAESTRO ENGINEERING (GSTN-NA) BID ID -873272
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation & Commissioning of Industrial Grade Porta Cabin of size 24’ x 10’ x 8’. Layout detailed in SCC & Detailed technical Specifications | 2.00 | EA |  | 450000.00 | 1062000.00 | 1062000.00 | MAESTRO ENGINEERING
2.00 | Supply, Installation & Commissioning of 3 PH Power Control Center (PCC) Panel with 1 Incomer, 5 Outcomers & Change over switch. Refer SCC & Detailed technical Specifications for more details. | 2.00 | EA |  | 150000.00 | 354000.00 | 354000.00 | MAESTRO ENGINEERING
3.00 | Supply, Installation & Commissioning of 30 KVA 3ph, 415 V, Servo Stabiliser. Refer SCC & Detailed technical Specifications for more details. | 2.00 | EA |  | 80000.00 | 188800.00 | 188800.00 | MAESTRO ENGINEERING
4.00 | Supply, Installation & Commissioning of 25KVA Diensel Engine Generator Set. Refer SCC & Detailed technical Specifications for more details. | 2.00 | EA |  | 380000.00 | 896800.00 | 896800.00 | MAESTRO ENGINEERING
5.00 | Supply, Installation & Commissioning of Industrial Battery Changer 48 V, 150 A SMPS configuration. Refer SCC & Detailed technical Specifications for more details. | 3.00 | EA |  | 450000.00 | 1593000.00 | 1593000.00 | MAESTRO ENGINEERING
6.00 | Supply, Installation & Commissioning of 48 V / 24 V Coverter (1+1) Parllel Stand by configuration. Refer SCC & Detailed technical Specifications for more details. | 3.00 | EA |  | 100000.00 | 354000.00 | 354000.00 | MAESTRO ENGINEERING
7.00 | Supply, Installation & Commissioning of Industrial Inverter 1 Ph, 3KVA (1+1) Parllel Stand by configuration. Refer SCC & Detailed technical Specifications for more details. | 1.00 | EA |  | 120000.00 | 141600.00 | 141600.00 | MAESTRO ENGINEERING
8.00 | Earthing for Porta Cabin, DEG & Equipments. Earth Pits - 4 no.s at Each site, 2 no.s of eartpits are dedicated for DEG neutral & 2 no.s for Grid connection for Instrumentation & SCADA. GI earth strip 50x 6 size - 50 M at each site for terminations. | 2.00 | EA |  | 110000.00 | 259600.00 | 259600.00 | MAESTRO ENGINEERING
9.00 | Foundation works for Porta Cabin & DG set. Foundation size -12M X 5M x 0.8M . Includes Soil Ecxcavation (12x5x0.3 - 18M3), RCC Grade 1:2:4 (12x5x0.8 - 48 M3), Steel reinforcement (250 Kg) & Shuttering (20 M2). Refer SCC & Detailed technical Specifications for more details. | 2.00 | EA |  | 320000.00 | 755200.00 | 755200.00 | MAESTRO ENGINEERING
| Total in Figures |  |  |  |  | 5605000.00
Lowest Amount Quoted BY: MAESTRO ENGINEERING(5605000.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC OF PORTA CABIN AND ASSOCIATED ELECTRICAL POWER SYSTEMS TO ESTABLISH INSTRUMENTATION/SCADA/TELECOM SERVICES AT LKPL TERMINALS Tender ID: 2025_GAIL_238961_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MAESTRO ENGINEERING (BID ID -873272) | 5605000.00 | L1