## BoQ1
Government eProcurement System Created By: VIBHOR JAIN Created Date/Time: 27-Oct-2025 12:36 PM Tender Title: AUGMENTATION OF RESOURCES DURING EXECUTION OF CROSS-COUNTRY PIPELINES, LMC AND CGD HOOKUPS PROJECTS ON PAN INDIA BASIS ON ANNUAL RATE CONTRACT BASIS Tender ID: 2025_GAIL_246685_1
Tender Inviting Authority: GAIL India Ltd
Name of Work: Augmentation of resources during execution of Cross-Country Pipelines, LMC and CGD Hookups Projects on Pan India Basis on Annual Rate Contract basis
TENDER ID- 2025_GAIL_246685_1 [Tender Reference No.GAIL/NOIDA/CNP/PROJ/AUG/25-38]
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AKSH INFRASPACE PVT LTD (GSTN-NA) BID ID -907023
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | MAIN LINE WORKS
2.00 | Deployment of Excavator/Back-hoe loader for Mainline Works
3.00 | Deployment of Excavator/Back-hoe loader (100X or 200X or 3DX) for mainline pipeline laying works including trench excavation, pipeline lowering, and backfilling operations in all types of soil, terrain and strata including marshy land. Rate is inclusive of operator and one helper, fuel expenses, maintenance, all required attachments, shifting within worksite. Per day means upto 12 working hours per machine Note: Additional manpower required during lowering shall be paid extra as per SOR Item No. C.10.5 & C10.6
4.00 | Hydraulic Excavator/Backhoe EX-100X or above | 30.00 | Per Day |  | 8825.00 | 264750.00 | 264750.00 | AKSH INFRASPACE PVT LTD
5.00 | Hydraulic Excavator/Backhoe EX-200X or above | 60.00 | Per Day |  | 10850.00 | 651000.00 | 651000.00 | AKSH INFRASPACE PVT LTD
6.00 | Hydraulic Back-hoe Loader EX- 3DX or above | 30.00 | Per Day |  | 15000.00 | 450000.00 | 450000.00 | AKSH INFRASPACE PVT LTD
7.00 | Idle charges for Excavator/Backhoe EX-100X or above in Case work is not performed due to reasons not attributable to contractor | 10.00 | Per Day |  | 7500.00 | 75000.00 | 75000.00 | AKSH INFRASPACE PVT LTD
8.00 | Idle charges for Excavator/Backhoe EX-200X or above in Case work is not performed due to reasons not attributable to contractor | 10.00 | Per Day |  | 8500.00 | 85000.00 | 85000.00 | AKSH INFRASPACE PVT LTD
9.00 | Idle charges for Back-hoe loader 3DX or above in Case work is not performed due to reasons not attributable to contractor | 10.00 | Per Day |  | 10250.00 | 102500.00 | 102500.00 | AKSH INFRASPACE PVT LTD
10.00 | Deployment of Hydra/Ferhana Crane for Mainline Works
11.00 | Deployment of Hydra/Ferana crane (12T or Above) for material handling, shifting, and supporting mainline works such as pipe stringing, equipment lifting, and pipe alignment. Rate includes fuel, operator and one helper, maintenance, shifting within site, and required manpower. Upto 12 working hours per day per machine
12.00 | Hydra / Ferhana Crane ( 12 Ton or above) | 30.00 | Per Day |  | 3600.00 | 108000.00 | 108000.00 | AKSH INFRASPACE PVT LTD
13.00 | Idle Charges for Hydra / Ferhana Crane ( 12 Ton or above) in Case work is not performed due to reasons not attributable to contractor | 6.00 | Per Day |  | 2800.00 | 16800.00 | 16800.00 | AKSH INFRASPACE PVT LTD
14.00 | Deployment of Welding Rectifier with Power Source and Consumables
15.00 | Deployment of Welding Rectifier (3 Phase, 50A-400A) along with power source (generator), including all welding accessories, cables, and standard consumables such as holder, clamps, gloves, lenses, argon cylinder and other accessories (except welding electrode/filler wire) for mainline/station piping welding works. Rate includes operator for generator, helper, power/fuel, daily maintenance, and tool setup for upto 12 working hours per day.
16.00 | Welding rectifier with power source and consumables | 60.00 | Per Day |  | 3650.00 | 219000.00 | 219000.00 | AKSH INFRASPACE PVT LTD
17.00 | Mobilization & De-Mobilization
18.00 | Mobilization refers to all activities necessary to bring the welding rectifier and associated equipment to the work site in operational condition. This includes transportation, initial setup, testing, and manpower required for installation etc. 'Demobilization is the process of safely dismantling, packing, and transporting the rectifier back to the storage or another site after completion of work including required activities like clearance form site etc.
19.00 | Upto 0 - 200 km | 3.00 | EA |  | 650000.00 | 1950000.00 | 1950000.00 | AKSH INFRASPACE PVT LTD
20.00 | Above 200 km | 1800.00 | KM |  | 6025.00 | 10845000.00 | 10845000.00 | AKSH INFRASPACE PVT LTD
21.00 | Note: 1. If mobilisation is being done from one site to other site in the same project within one month of completion of work at first location then mobilisation shall be payable only one time for initial mobilisation. 2. Mobilization from applicable location or Registered office/store of contractor to site or vice versa.
22.00 | Deployment of Welding Crew
23.00 | Deployment of welding crew along with all tool and tackles for execution of mainline/station piping welding works for edge preparation, fit-up, welding, visual inspection, and related tasks as per project technical specifications and approved procedures
24.00 | Qualified welder (GTAW/SMAW) | 120.00 | MAD |  | 3250.00 | 390000.00 | 390000.00 | AKSH INFRASPACE PVT LTD
25.00 | Welding Assistant/Helper | 120.00 | MAD |  | 2850.00 | 342000.00 | 342000.00 | AKSH INFRASPACE PVT LTD
26.00 | Fitter/Pipe Alignment Specialist | 120.00 | MAD |  | 2500.00 | 300000.00 | 300000.00 | AKSH INFRASPACE PVT LTD
27.00 | Grinder/Surface Preparation Technician | 120.00 | MAD |  | 2250.00 | 270000.00 | 270000.00 | AKSH INFRASPACE PVT LTD
28.00 | Welding Foreman/Technician | 120.00 | MAD |  | 2650.00 | 318000.00 | 318000.00 | AKSH INFRASPACE PVT LTD
29.00 | Welding Inspector (QA/AC) | 120.00 | MAD |  | 3200.00 | 384000.00 | 384000.00 | AKSH INFRASPACE PVT LTD
30.00 | Rigger | 120.00 | MAD |  | 1500.00 | 180000.00 | 180000.00 | AKSH INFRASPACE PVT LTD
31.00 | Notes: 1. Welder must have valid certification (WQT/PQR as per applicable code) 2. All welding to be done as per ASME/API 1104/Project Specifications 3. Safety Compliance and PPE is mandatory and to be provided by contractor
32.00 | Welding of Mainline Pipes
33.00 | Carrying out welding of carbon steel line pipes of various diameters (ranging from 4" to 30" of various thickness and grade) for mainline pipeline laying works, including grinding, fit-up, root pass, hot pass, filler, and capping welding using approved welding procedures and qualified welders. Work shall be executed using SMAW or TIG or other approved methods and shall include supply of all tools, tackles, electrodes, welding rods, grinding machines, clamps, edge prep, fit-up, preheating (if required), and any other consumables necessary for completing high-quality welds. Pipeline grade may vary from X42 to X70 and thickness may vary from 6.4 mm to 19.5 mm.
34.00 | Rate includes all consumable and required tools & tackles for fit-up, Cleaning, Grinding, Welding, DPT, preparation of all inspection reports, and full compliance with project specifications and directions of Engineer-in-Charge.
35.00 | Welding for pipeline size 4" to 8" | 1000.00 | IDXmm |  | 2500.00 | 2500000.00 | 2500000.00 | AKSH INFRASPACE PVT LTD
36.00 | Welding for pipeline size 10" to 12" | 2000.00 | IDXmm |  | 2750.00 | 5500000.00 | 5500000.00 | AKSH INFRASPACE PVT LTD
37.00 | Welding for pipeline size 14" to 20" | 3000.00 | IDXmm |  | 3250.00 | 9750000.00 | 9750000.00 | AKSH INFRASPACE PVT LTD
38.00 | Welding for pipeline size 24" to 30" | 4000.00 | IDXmm |  | 3750.00 | 15000000.00 | 15000000.00 | AKSH INFRASPACE PVT LTD
39.00 | Radiographic Testing (RT) for Mainline Welding Joints
40.00 | Carrying out radiographic testing (RT) of welded joints for under ground pipeline (X 42 to X70) using X-ray techniques as per approved specifications and project quality plan/approved procedures. The scope includes providing all necessary equipment, manpower, consumables, radiation safety arrangements, film processing, interpretation, and submission of radiographic reports to Engineer-in-Charge. Full circle re-radiography for repairs or unacceptable welds due to contractor’s fault shall be done at no extra cost. Pipeline grade may vary from X42 to X70 and thickness may vary from 6.4 mm to 19.5 mm.
41.00 | RT for pipeline size 4" to 8" | 240.00 | Nos |  | 2250.00 | 540000.00 | 540000.00 | AKSH INFRASPACE PVT LTD
42.00 | RT for pipeline size 10" to 12" | 120.00 | Nos |  | 2750.00 | 330000.00 | 330000.00 | AKSH INFRASPACE PVT LTD
43.00 | RT for pipeline size 14" to 20" | 60.00 | Nos |  | 2800.00 | 168000.00 | 168000.00 | AKSH INFRASPACE PVT LTD
44.00 | RT for pipeline size 24" to 30" | 60.00 | Nos |  | 3000.00 | 180000.00 | 180000.00 | AKSH INFRASPACE PVT LTD
45.00 | Ultrasonic Testing (UT) for Golden Tie-in/Tie-in joints
46.00 | Carrying out ultrasonic testing (UT) of Golden Tie-in/Tie-in joints using approved ultrasonic testing methods as per applicable standards/approved procedures. Includes supply of UT machine, qualified personnel, calibration blocks, documentation, and test reports submission to Engineer-in-Charge. Any re-testing due to poor workmanship shall be in contractor’s scope at no extra cost. Pipeline grade may vary from X42 to X70 and thickness may vary from 6.4 mm to 19.5 mm.
47.00 | UT for pipeline size 4" to 8" | 6.00 | Nos |  | 1000.00 | 6000.00 | 6000.00 | AKSH INFRASPACE PVT LTD
48.00 | UT for pipeline size 10" to 12" | 6.00 | Nos |  | 1150.00 | 6900.00 | 6900.00 | AKSH INFRASPACE PVT LTD
49.00 | UT for pipeline size 14" to 20" | 6.00 | Nos |  | 1250.00 | 7500.00 | 7500.00 | AKSH INFRASPACE PVT LTD
50.00 | UT for pipeline size 22" to 30" | 6.00 | Nos |  | 1325.00 | 7950.00 | 7950.00 | AKSH INFRASPACE PVT LTD
51.00 | Joint Coating for Mainline Pipeline Welded Joints with Sleeves
52.00 | Joint coating on field welded joints of mainline pipeline as per project technical specifications and approved procedures. Scope includes surface preparation, cleaning of bare metal surfaces, surface roughening (by sand blasting), application of primer and coating using heat-shrink sleeves, liquid epoxy, or other specified materials as per approved technical specifications. The job also includes supply of coating materials, manpower, tools, consumables, inspection and testing, and holiday testing of pipeline section.
53.00 | Joint Coating for pipeline size 4" to 8" | 240.00 | Nos |  | 7200.00 | 1728000.00 | 1728000.00 | AKSH INFRASPACE PVT LTD
54.00 | Joint Coating for pipeline size 10" to 12" | 120.00 | Nos |  | 9850.00 | 1182000.00 | 1182000.00 | AKSH INFRASPACE PVT LTD
55.00 | Joint Coating for pipeline size 14" to 20" | 60.00 | Nos |  | 10250.00 | 615000.00 | 615000.00 | AKSH INFRASPACE PVT LTD
56.00 | Joint Coating for pipeline size 24" to 30" | 60.00 | Nos |  | 11250.00 | 675000.00 | 675000.00 | AKSH INFRASPACE PVT LTD
57.00 | Joint Coating for Mainline Pipeline Welded Joints without sleeves
58.00 | Joint coating on field welded joints of mainline pipeline as per project technical specifications and approved procedures. Scope includes surface preparation, cleaning of bare metal surfaces, surface roughening (by sand blasting), application of primer and coating using heat-shrink sleeves, liquid epoxy, or other specified materials as per approved technical specifications. The job also includes supply of manpower, tools, consumables except Heat shrinkable sleeves, inspection and testing, and holiday testing of pipeline section. Heat shrinkable sleeves shall be supplied by owner as FIM
59.00 | Joint Coating for pipeline size 4" to 8" | 30.00 | Nos |  | 5500.00 | 165000.00 | 165000.00 | AKSH INFRASPACE PVT LTD
60.00 | Joint Coating for pipeline size 10" to 12" | 30.00 | Nos |  | 7500.00 | 225000.00 | 225000.00 | AKSH INFRASPACE PVT LTD
61.00 | Joint Coating for pipeline size 14" to 20" | 30.00 | Nos |  | 9500.00 | 285000.00 | 285000.00 | AKSH INFRASPACE PVT LTD
62.00 | Joint Coating for pipeline size 24" to 30" | 30.00 | Nos |  | 9820.00 | 294600.00 | 294600.00 | AKSH INFRASPACE PVT LTD
63.00 | Deployment of Hydrotesting Team
64.00 | This includes deployment of a qualified hydro test team along with all required equipment and tools & tackles (dead weight tester) to carry out hydrotesting activities on pipeline sections. The work involves, air volume calculation, hydrostatic pressure testing in accordance with approved procedures and standards. All consumables, manpower, and equipment to be provided by the contractor.
65.00 | Includes provision of experienced personnel, test pumps, hoses, gauges, pressure chart recorders and all necessary tools and tackles. Upto 12 hours working per day. Mobilization and demobilization included in the rate.
66.00 | Deployment of Hydro Test Team with Equipment | 12.00 | Per Day |  | 35000.00 | 420000.00 | 420000.00 | AKSH INFRASPACE PVT LTD
67.00 | Deployment of Dewatering Pump (8-10 HP)
68.00 | This includes deployment of suitable capacity dewatering pump (8-10 HP) along with all required equipment and accessories to carry out dewatering from water logged areas at pipeline construction sites. All consumables, manpower, and equipment to be provided by the contractor. Note: The Contractor will ensure the maintenance of the drainage and rainwater discharge, surface water and groundwater from land that traverses the working area or from land that lies outside the working area but which is affected by the works. He will arrange for any drainage and dewatering necessary for the work and will be responsible for any damage caused to the aforementioned areas of land and to constructions, installations and crops thereon. Only noise-inhibited pumps will be used. Only electric pumps will be used in the vicinity of houses. The Contractor will pump the trench dry before backfilling. He will in particular ensure that any water resulting from dewatering, drainage or released for any other purpose or for any other reason will not be released in such a way that the water causes a nuisance in those places or damage is caused by mud. He will apply for a discharge licence from the authorities concerned. Per day means upto 12 working hours per machine
69.00 | Deployment of Dewater Pump (8-10Hp) | 12.00 | Per Day |  | 22500.00 | 270000.00 | 270000.00 | AKSH INFRASPACE PVT LTD
70.00 | Hydrotest works
71.00 | Carrying out Air Cleaning, Pigging, Gauging, Flushing, Water filling, Pressurisation, Hydrostatic Testing, De-watering, Swabbing and Final Cleaning of Pipeline Section as per approved procedure and technical specifications. Contractor to provide pigs, swabs, water and all required consumables and Testing header if required.
72.00 | Hydrotest for pipeline size 4" to 8" | 300.00 | Meter |  | 1250.00 | 375000.00 | 375000.00 | AKSH INFRASPACE PVT LTD
73.00 | Hydrotest for pipeline size 10" to 12" | 300.00 | Meter |  | 1650.00 | 495000.00 | 495000.00 | AKSH INFRASPACE PVT LTD
74.00 | Hydrotest for pipeline size 14" to 20" | 300.00 | Meter |  | 2250.00 | 675000.00 | 675000.00 | AKSH INFRASPACE PVT LTD
75.00 | Hydrotest for pipeline size 22" to 30" | 300.00 | Meter |  | 3250.00 | 975000.00 | 975000.00 | AKSH INFRASPACE PVT LTD
76.00 | Deployment of HDD Machine with Manpower
77.00 | Includes mobilization, execution, and demobilization of HDD machine along with required skilled manpower for performing HDD works (all type of crossings such as roads, railways, canals, or any other utility corridor) in all type of soil except hard rock (various size (4" to 30"), grade and thickness of pipeline). Contractor shall provide HDD machine with all associated equipment, drilling fluid, rods, tools, rollers, pump, bentonite and safety arrangements etc along with site preparation including all the consumables required to complete the HDD works successfully in the contractor’s scope.
78.00 | Geotech and HDD Profile drawings shall be provided by PMC/GAIL. However, if contractor/HDD agency observes any variation in HDD profile based on site conditions, then contractor/HDD agency shall submit revised profile alongwith detailed calculation for approval of PMC/GAIL. Successful completion of HDD shall be the total responsibility of the contractor.
79.00 | HDD machine min capacity 60-90 MT along with all tools and accessories , manpower and mechanical team for completion of works | 2000.00 | Inch-Meter |  | 5500.00 | 11000000.00 | 11000000.00 | AKSH INFRASPACE PVT LTD
80.00 | HDD machine min capacity 100-150 MT along with all tools and accessories , manpower and mechanical team for completion of works | 3000.00 | Inch-Meter |  | 7250.00 | 21750000.00 | 21750000.00 | AKSH INFRASPACE PVT LTD
81.00 | Note: 1. Rate includes deployment of HDD machine with all associated equipment, drilling fluid, rods, tools, rollers, pump, bentonite, tracker, safety arrangements and associated manpower like 'Drillers, Operators, surveyors and helper etc. 2. HDD section length may vary subject to actual site conditions and design calculations.
82.00 | PRE-COMMISSIONING OF ENTIRE UNDERGROUND PIPELINE AND TERMINALS / STATIONS. /VACCUM DRYING/COMMISSIONING ASSISTANCE AND COMMISSIONING
83.00 | Pre-commissioning activities and pre-commissioning checks to the specified acceptance criteria, making the entire pipeline system ready for commissioning, providing assistance during the complete duration of commissioning operations, supply of all equipment, manpower, consumables (including pigs and required quantity of nitrogen for valve operations) materials for all temporary works and performing all associated works, complete as per the relevant specifications, other provisions of Contract document and instructions of Engineer-in-Charge. Pre-commissioning of pipeline including terminals / stations. Complete work of carrying out drying by vacuum drying method of pipeline section (@ Temperature Dew Point (-20°C) & Pressure 1 Torr) including supply of manpower, equipment's & consumables, materials for all temporary works and performing all associated works, complete as per the relevant specifications, other provisions of Contract document and instructions of Engineer-in-Charge. Providing commissioning assistance to other sections and commissioning of the section including all stations and including supply of all consumables, all equipment, manpower, etc., complete as per requirement of specifications, other provisions of contract document and instruction of Engineer In-charge.
84.00 | Pipeline size 4" to 18" | 500.00 | RM |  | 250.00 | 125000.00 | 125000.00 | AKSH INFRASPACE PVT LTD
85.00 | Pipeline size 20" to 30" | 500.00 | RM |  | 350.00 | 175000.00 | 175000.00 | AKSH INFRASPACE PVT LTD
86.00 | Supply of Nitrogen
87.00 | Supply of Nitrogen for preservation of pipeline/purging of pipeline/hook-up and shutdown activity/skid commissioning etc. | 1200.00 | CUM |  | 125.00 | 150000.00 | 150000.00 | AKSH INFRASPACE PVT LTD
88.00 | Note: 1. Scope includes supply of nitrogen, hoses, tools and tackles, vaporizers (if required) etc.
89.00 | Supply & Installation of HDPE Duct & Optical Fibre Cable
90.00 | Supply, of 24 Fibre Composite armoured Optical Fibre Cable drum (6 fibre G-655 & 18 fibre G-652) and Blowing of Optical Fibre Cable inside HDPE Duct All activities pertaining to Blowing of Optical Fibre Cable in same pipeline trench directly (after testing drum at site), through CS / HDPE conduits along the pipeline also at crossing cable, sealing using all materials required, including laying of warning mats, etc. as per direction of EIC | 6000.00 | Meter |  | 135.00 | 810000.00 | 810000.00 | AKSH INFRASPACE PVT LTD
91.00 | Supply of jointing closure 24 Fiber, 2 way including all accessories (3M, Siemens, Raychem make only) | 12.00 | Nos |  | 12500.00 | 150000.00 | 150000.00 | AKSH INFRASPACE PVT LTD
92.00 | Supply of 40mm ID permanently lubricated HDPE telecom duct as per technical specifications including manufacturing, factory testing, inspection, packaging, forwarding transportation, insurance, receipt and storage at site and Laying of HDPE Telecom Duct: Laying of 40mm HDPE Ducts in same pipeline trench direct buried or cased crossing through CS / HDPE conduit in all type of soil & terrain, excavated as required, padding, backfilling, etc. including supply of HDPE Duct accessories required including plastic couplers, end plugs, cable sealing plugs, end caps, etc. suitable & sufficient for above supplied ducts, cleaning and sealing of ducts at the end laid drum lengths, preparation and supply of cable blowing pit at each Km jointing of HDPE conduit, testing OD HDPE Duct and accessories after laying preparation of report and final drawing and documents as per specification, joint location marking, erection accessories, as-built, etc. | 6000.00 | Meter |  | 125.00 | 750000.00 | 750000.00 | AKSH INFRASPACE PVT LTD
93.00 | Telecommunication Site Work
94.00 | Supply and laying of GI Pipe (4") at crossings for protection of OFC / HDPE duct | 60.00 | Meter |  | 1825.00 | 109500.00 | 109500.00 | AKSH INFRASPACE PVT LTD
95.00 | Splicing, Jointing of Optical Fiber Cable (Including Supply and Installation of jointing pits including sand, etc. & joint markers) | 10.00 | Nos |  | 15000.00 | 150000.00 | 150000.00 | AKSH INFRASPACE PVT LTD
96.00 | Supply of FTC with pig tails other accessories for termination of OFC - 24 Fibre in the Telecom Room | 10.00 | Set |  | 25000.00 | 250000.00 | 250000.00 | AKSH INFRASPACE PVT LTD
97.00 | Installation of FTC & Wire mesh, termination of OFC on FTC / DDF inside telecom room, splicing with steet fibre, fibre test, OTDR test, power testing of laid OFC, identification of fault, rectification, earthing, final testing and commissioning, preparation of reports, etc. work complete in all respect with all necessary accessories for all location till final Handing Over and Taking Over by Owner of laid OFC. | 10.00 | Set |  | 18500.00 | 185000.00 | 185000.00 | AKSH INFRASPACE PVT LTD
98.00 | MECHANICAL (PIPING & TERMINAL WORK)
99.00 | PLANT PIPING (ABOVE GROUND)
100.00 | Complete carbon steel aboveground piping work including fabrication, erection, testing, painting, supply of fittings/flanges, gaskets, bolts, nuts, and other accessories of size 2" and below, as per approved WPS, specifications and instructions of the Engineer-in-Charge (EIC).
101.00 | Scope of Work Includes: 1. Transportation & Handling Within Premises 2. Fabrication & Welding 3. Valve Handling & Installation 4. Hydrotesting 5. NDT Testing 6. Surface Preparation & Painting 7. etc. Additional Notes: 1. NDT for pipe sizes below 2” is included in this item. 2. Pipe grade and thickness may vary; payment shall be as per executed item size.
102.00 | Pipe Size Category:
103.00 | 2" & Below (Sch-60 / Sch-80 / Sch-160 / XXS / XS) | 1000.00 | IDXmm |  | 2650.00 | 2650000.00 | 2650000.00 | AKSH INFRASPACE PVT LTD
104.00 | Above 2" to 8" (various grade and thickness) | 2000.00 | IDXmm |  | 3250.00 | 6500000.00 | 6500000.00 | AKSH INFRASPACE PVT LTD
105.00 | Above 8” to 12” (various grade and thickness) | 3000.00 | IDXmm |  | 3685.00 | 11055000.00 | 11055000.00 | AKSH INFRASPACE PVT LTD
106.00 | Above 12” to 20” (various grade and thickness) | 5000.00 | IDXmm |  | 4200.00 | 21000000.00 | 21000000.00 | AKSH INFRASPACE PVT LTD
107.00 | Above 20” to 30” (various grade and thickness) | 5000.00 | IDXmm |  | 4325.00 | 21625000.00 | 21625000.00 | AKSH INFRASPACE PVT LTD
108.00 | PADDING FOR PIPE SUPPORTS (4 Inch and Above)
109.00 | Preparation, Fabrication and erection of padding for pipe supports (for all sizes/ thickness) by owner supply material(pipes). Welding shall be done by approved welder as per Approved WPS of Station piping with Root 6010 & Hot pass 7018 . | 150.00 | ID |  | 650.00 | 97500.00 | 97500.00 | AKSH INFRASPACE PVT LTD
110.00 | RADIOGRAPHY
111.00 | Performance of radiographic inspection by X-Ray or gamma radiation as per scope of work and as per specifications in piping of all types and thickness including providing/hiring of all necessary equipment's, supply of all consumables and any other required material/equipment, not necessarily mentioned but required to perform the work as per specifications and instructions of Engineer-in-Charge (full circle re-radiography of the repaired joint and additional radiography necessitated due to poor performance of contractor's welder shall be carried out by the Contractor at his own cost and shall not be paid extra by Company). Radiographs shall be submitted to the Engineer-in-Charge for acceptance, whose decision shall be final and binding.
112.00 | Pipe Size Category:
113.00 | 2" | 50.00 | EA |  | 2500.00 | 125000.00 | 125000.00 | AKSH INFRASPACE PVT LTD
114.00 | Above 2" to 8" | 50.00 | EA |  | 3250.00 | 162500.00 | 162500.00 | AKSH INFRASPACE PVT LTD
115.00 | Above 8” to 12” | 30.00 | EA |  | 3850.00 | 115500.00 | 115500.00 | AKSH INFRASPACE PVT LTD
116.00 | Above 12” to 20” | 20.00 | EA |  | 3900.00 | 78000.00 | 78000.00 | AKSH INFRASPACE PVT LTD
117.00 | Above 20” to 30” | 10.00 | EA |  | 3000.00 | 30000.00 | 30000.00 | AKSH INFRASPACE PVT LTD
118.00 | CIVIL/STRUCTURAL & ARCHITECTURAL
119.00 | EARTH WORK IN EXCAVATION/ SITE GRADING AND BACKFILLING
120.00 | Earth work in excavation /site grading in all kinds of soil except hard rock in any plan dimension up to required depth including backfilling of excavated earth at any location in layers of 300mm and compacted up to 95% to its MDD at all depths. Surplus and unserviceable earth shall be disposed up to any lead in all conditions. Soil to be levelled and neatly dressed complete in all respects as per scope of work, detailed construction drawings, technical specifications and direction of the Engineer-in-Charge. Trenching for mainline is not included in this item. | 300.00 | CUM |  | 325.00 | 97500.00 | 97500.00 | AKSH INFRASPACE PVT LTD
121.00 | Note:-
122.00 | 1. This Rate shall be applicable only for excavation which are not included as a part of respective SOR Item.
123.00 | 2.The Contractor shall take into account in his quoted rates, the provision for excess excavation required for necessary working space, cutting in slopes etc., which may be required for excavation and other allied works and refilling the side slopes and working space in layers as per requirement.
124.00 | 3.Rate to include cost of all labour, tools, tackles, equipment, hire charges, shoring, bailing and pumping out water as required etc. with all bye works and sundry works complete in all respects.
125.00 | 4. Net Cum of excavated quantity in CUM shall be measured for payment.
126.00 | 5. To be read in conjunction with Particular Job Specification.
127.00 | Supply & Laying of AAC (Autoclaved Aerated Concrete blocks) Blocks
128.00 | Providing and laying AAC Blocks class designation M-5.0 of IS:2185 in Cement Mortar 1:4 (1cement : 4 sand) in steps, load bearing structures, drains, or at any other location at all depths & height for all leads including providing required finishes, curing, scaffolding, etc., complete as per specifications and drawings with all bye-works as per direction of the Engineer-in-charge. | 50.00 | CUM |  | 10265.00 | 513250.00 | 513250.00 | AKSH INFRASPACE PVT LTD
129.00 | Note: 1.Rate to include cost of all labour, tools, tackles, equipment, hire charges, supply of all materials such as minimum 43 grade cement, bricks, finishes, bitumen, other minor construction materials, shuttering, staging, masonry work, excavation, PCC M10, plastering with 15 mm thick cement plaster on exposed faces with 1:4 cement mortar( 1 cement : 4 Sand) , painting with bitumen etc. as per requirement with all bye-works and sundry works complete as per drawings.
130.00 | BRICK WORK
131.00 | Providing and laying brick work with brick class designation M-5.0 of IS:1077 in Cement Mortar 1:4 (1cement : 4 sand) in steps, load bearing structures, drains, or at any other location at all depths & height for all leads including providing required finishes, curing, scaffolding, etc., complete as per specifications and drawings with all bye-works as per direction of the Engineer-in-charge. | 100.00 | CUM |  | 7250.00 | 725000.00 | 725000.00 | AKSH INFRASPACE PVT LTD
132.00 | Note:-
133.00 | 1.Rate to include cost of all labour, tools, tackles, equipment, hire charges, supply of all materials such as minimum 43 grade cement, bricks, finishes, bitumen, other minor construction materials, shuttering, staging, masonry work, excavation, PCC M10, plastering with 15 mm thick cement plaster on exposed faces with 1:4 cement mortar( 1 cement : 4 Sand) , painting with bitumen etc. as per requirement with all bye-works and sundry works complete as per drawings. 2. To be read in conjunction with Particular Job Specification.
134.00 | PLAIN CEMENT CONCRETE
135.00 | Providing and laying in position cement concrete of specified grade including the cost of centering and shutteringin 1:3:6 (1 cement : 3 coarse sand (Zone-III) : 6 graded stone aggregate 40 mm nominal size) | 50.00 | CUM |  | 5500.00 | 275000.00 | 275000.00 | AKSH INFRASPACE PVT LTD
136.00 | Providing and laying in position cement concrete of specified grade including the cost of centering and shutteringin 1:2:4 (1 cement : 2 coarse sand (Zone-III) : 4 graded stone aggregate 20 mm nominal size) | 50.00 | CUM |  | 5685.00 | 284250.00 | 284250.00 | AKSH INFRASPACE PVT LTD
137.00 | Providing and laying Plain Cement Concrete for all depths below and upto plinth level in foundations, drains, fillings, non-suspended floors, pavements & ramps or any other works etc. including shuttering, tamping, ramming, vibrating, curing, etc. all as specified in any shape, position, thickness and finishing the top surface rough or smooth as specified and directed all complete for concrete grade M20 with 20mm and down size graded crushed stone aggregates/Gravels | 50.00 | CUM |  | 5600.00 | 280000.00 | 280000.00 | AKSH INFRASPACE PVT LTD
138.00 | Note :-
139.00 | 1.Rate to include cost of all labour, tools, tackles, equipment, hire charges, supply of all materials, shuttering in all conditions etc. with all bye works and sundry works. 2. To be read in conjunction with Particular Job Specification.
140.00 | REINFORCED CEMENT CONCRETE
141.00 | Providing and laying Reinforced Cement Concrete of M-30 GRADE with 20 mm and down size graded crushed stone aggregates/ gravel in Super Structure Including Centering & Shuttering. | 20.00 | CUM |  | 8590.00 | 171800.00 | 171800.00 | AKSH INFRASPACE PVT LTD
142.00 | Providing and laying Reinforced Cement Conceret of M-30 Grade with 20 mm and down size graded crushed stone aggregates/ gravel in Substructure Including Centering & Shuttering) | 20.00 | CUM |  | 8500.00 | 170000.00 | 170000.00 | AKSH INFRASPACE PVT LTD
143.00 | Providing and laying Reinforced Cement Concrete of grade M-25 with 20mm and down grade crushed stone aggregate in all types of structures like foundations, beam, columns, pedestals, pedestal bases, pipe supports, sleepers, cable trench, RCC retaining wall foundation for boundary wall etc. including excavation, PCC M10 in mud mat, shuttering, construction joints, bitumen painting on surfaces in contact with soil,supplying and fixing MS inserts, finishes etc. at all depths and levels complete as per drawings, specifications and directions of the Engineer-in-charge. | 20.00 | CUM |  | 8250.00 | 165000.00 | 165000.00 | AKSH INFRASPACE PVT LTD
144.00 | Note :-
145.00 | 1. Rate to include cost of all labour, tools, tackles, equipment, hire charges, supply of all materials such as minimum 43 grade OPC cement including sulphate resistant cement for sub-structures, inserts, bolts, conduits, bitumen, excavation, PCC M-10 in mud mat, other minor construction materials, shuttering , staging, testing of concrete, curing etc. except reinforcement steel with all bye works and sundry works complete. 2. To be read in conjunction with Particular Job Specification.
146.00 | REINFORCEMENT STEEL
147.00 | Supplying and placing in position High Strength Deformed Steel Bars Reinforcement (conforming to IS:1786, Grade Fe 415), for R.C.C. work including transporting the Steel, straightening, cleaning, decoiling, cutting, bending to required shapes and lengths as per details, binding with contractor's own 16 SWG black soft annealed binding wire at every intersection, supplying and placing with proper cover blocks, supports, chairs, overlaps, welding, spacers, fanhooks etc. for all heights and depths etc. all complete as directed. | 10.00 | MT |  | 110000.00 | 1100000.00 | 1100000.00 | AKSH INFRASPACE PVT LTD
148.00 | Note :-
149.00 | 1. Rate to include cost of all labour, tools, tackles, equipment, hire charges, supply of all materials such as steel Reinforcement, binding wire and other minor construction materials, testing etc. all bye works and sundry works. 2. Chairs, Laps, Spacers, Wastage etc. shall be to contractor's account. 3. To be read in conjunction with Particular Job Specification.
150.00 | STEEL STRUCTURAL WORKS
151.00 | Steel structure Fabrication
152.00 | Supplying, transporting, storing, fabricating in position and testing/examining bolted and/or welded Structural Steel Works at all levels and locations including all builtup sections/compound sections made out of rolled sections and/or plates/bent plates in trusses, purlins, wind ties, wind girders, columns, portals, racks, frameworks, crane gantries, surge girders, bracings, floor beams, lifting beams, monorails, platforms, staircases (excluding chequered plates and gratings), ladders, stoppers, brackets, side runners, sagrods, supports for equipment and technological accesories and process piping, hand railings, posts, conveyor galleries, trestles, towers, masts, junction houses etc., cutting to required size, straightening/bending if required, edge preparation, cleaning, preheating, bolting/welding of joints, (including sealing the joints of box sections with continuous welding), finishing edges by grinding, fixing in line and level with temporary staging & bracing and removal of the same after erection, grouting with Ordinary Grout or premix free flow Nonshrink Grout as specified, including preparation and submission of detailed fabrication drawings and applying primer after fabrication as per specification (for normal corrosive environment), etc. all complete. | 5.00 | MT |  | 135000.00 | 675000.00 | 675000.00 | AKSH INFRASPACE PVT LTD
153.00 | SUPPLY AND INSTALLATION OF ALUMINIUM DOORS & WINDOWS Including Glass Work
154.00 | Supplying, fabricating, and installing aluminium doors and windows of approved design, section, and make at all heights and locations as per construction drawings and technical specifications. The aluminium sections shall conform to relevant IS codes, powder-coated or anodized finish (minimum 15 microns anodizing or 50 microns powder coating), including glazing with specified thickness of glass (clear/toughened/frosted), EPDM rubber gaskets, neoprene weather strips, necessary fixtures like handles, tower bolts, locks, hinges, stays, screws, aluminium snap beading, etc. | 30.00 | SQM |  | 12500.00 | 375000.00 | 375000.00 | AKSH INFRASPACE PVT LTD
155.00 | Installation to be carried out using anchor fasteners, sealant, and proper alignment tools to ensure complete waterproofing and smooth operability. All cutouts, grouting, joint sealing, protection of frames post-installation, and touch-up for scratches or damage shall be included.
156.00 | Note:
157.00 | Rate to include cost of all labour, fabrication, transportation, tools, tackles, fixtures, fittings, scaffolding, hardware, adhesives, protection tapes, safety PPEs, etc.
158.00 | All aluminium members shall be factory-finished and installed at site complete in all respects.
159.00 | Contractor to provide shop drawings for approval before fabrication.
160.00 | Glass to be supplied as per specification and type mentioned in the drawings.
161.00 | Measurement shall be taken on finished installed area (clear opening size).
162.00 | PAINTING & PUTTY WORK
163.00 | Painting and Putty Work: Providing and applying putty and painting on internal and/or external surfaces including all surface preparation work such as cleaning, scrapping, filling cracks/holes, sanding, and application of base coats/primers as required. Work to include application of two or more coats of putty and paint using Asian/Berger/Nerolac or equivalent approved make of plastic emulsion paint for interiors and weather shield/acrylic paint for exteriors, as per site requirement. The job shall be carried out at all levels and heights complete in all respects as per technical specifications, detailed construction drawings, and directions of the Engineer-in-Charge. | 60.00 | SQM |  | 420.00 | 25200.00 | 25200.00 | AKSH INFRASPACE PVT LTD
164.00 | Note:
165.00 | 1. Rate to include cost of all labour, tools, tackles, scaffolding, surface preparation materials, approved quality putty, primer, paint, consumables, safety arrangements, curing, and all sundry works.
166.00 | 2. Painting/putty shall be applied using brush, roller, or spray as specified by the Engineer-in-Charge.
167.00 | 3. Rate to include application on walls, ceilings, and any other surfaces mentioned in the drawings.
168.00 | 4. Work to be read in conjunction with Particular Job Specification.
169.00 | SUPPLY AND INSTALLATION OF PLASTERING, FALSE CEILING, AND TILES WORK
170.00 | Plastering Work
171.00 | Internal and external wall plastering for valve chambers, control rooms, and associated utility buildings 18mm 1:4 (1 cement : 4 sand ) | 30.00 | SQM |  | 452.00 | 13560.00 | 13560.00 | AKSH INFRASPACE PVT LTD
172.00 | False Ceiling Work
173.00 | Supply and installation of modular false ceiling in control rooms, administration buildings, and equipment housing areas | 50.00 | SQM |  | 9500.00 | 475000.00 | 475000.00 | AKSH INFRASPACE PVT LTD
174.00 | Tiles Work
175.00 | Floor and wall tiles for toilet blocks, control rooms, pantry, and corridors | 50.00 | SQM |  | 1250.00 | 62500.00 | 62500.00 | AKSH INFRASPACE PVT LTD
176.00 | DEPLOYMENT OF SKILLED/UNSKILLED LABOUR
177.00 | Deployment of experienced labour with relevant experience of civil/structural works. Scope includes supplying skilled labour, planning and supervising civil/structural works supervising site activities,coordinating with PMC/Client/Contractor and ensuring compliance with drawings and specifications. The labour shall be deployed at site till completion of the assigned work
178.00 | Note:
179.00 | 1. Rate includes all costs towards salary, accommodation, transportation, communication, PPE, and taxes.
180.00 | 2. To be read in conjunction with Particular Job Specification.
181.00 | 3. Labour license, Workment Compensation policy, PF, ESIC, PMJBSY as applicable
182.00 | DEPLOYMENTS OF SKILLED MANPOWER FOR CIVIL WORKS (BAR-BENDR/CARPENTER/MASON/PLUMBER/FITTER ETC.) | 300.00 | MAD |  | 2500.00 | 750000.00 | 750000.00 | AKSH INFRASPACE PVT LTD
183.00 | Specific work categories :
184.00 | A. Bar Bender
185.00 | Cutting, bending, and fixing reinforcement steel bars as per drawing
186.00 | Reading and interpreting bar bending scheduls (BBS)
187.00 | Use of Manual and mechanical bar bending machine
188.00 | Ensuring proper lap length, cover, and tying of rebars
189.00 | B. Carpenters
190.00 | Fabrication and installation of shuttering/formwork using wood, steel, or aluminium systems
191.00 | Checking dimensions and alignment before concreting
192.00 | Dismantling formwork post-curing period without damaging the structure
193.00 | Creating frames for doors, windows, slabs, beams, columns, and staircase
194.00 | C. Mason
195.00 | Brickwork/blockwork using cement mortar with required alignment and level
196.00 | Internal and External Plastering, screeding and finishing work
197.00 | Tiling, stonework,and cladding as per design and specifications
198.00 | Grouting and pointing of masonry elements
199.00 | D. Fitters
200.00 | Fixing structural steel supports , anchor bolts, and insert related to civil structures,
201.00 | Installation of precast elements and embedded items
202.00 | Alignment and levelling of structural fittings as per engineering drawings
203.00 | Supporting formwork and other structural assemblies
204.00 | E. Plumber
205.00 | For all kind of plumbing and sewage works
206.00 | General Responsibilities of Contractor :
207.00 | Provide qualified and experienced skilled workers , ensure all manpower is equipped with PPE and tools, Comply with all safety, health, and environmental (HSE) guidelines, maintain a daily attendance and deployment log, Replace non-performing or absent workers as per project demands, coordinate with the site engineer/Project manager.
208.00 | DEPLOYMENTS OF UNSKILLED LABOUR FOR CIVIL WORKS | 600.00 | MAD |  | 2250.00 | 1350000.00 | 1350000.00 | AKSH INFRASPACE PVT LTD
209.00 | Deployment of unskilled labour for site clearance, earthwork excavation, levelling and dressing, concrete mixing and material handling, masonry support, curing work and cleaning and disposal etc.
210.00 | Incusions :-
211.00 | Labour license, Workment Compensation policy, PF, ESIC and PMJBSY etc.
212.00 | Daily wage per unskilled labourer as per minimum wage laws
213.00 | labour welfare charges
214.00 | Basic PPE (safety helmets, gloves)
215.00 | Sand/Soil Filling
216.00 | Supplying and filling approved SAND/SOIL of specified quality under floors, in foundations, plinths, tank foundations etc. for all depths and heights including cost of sand,royalties,transportation to site for all leads and lifts, including loading, unloading, spreading in layers of loose thickness not exceeding 150 mm,watering,ramming,compacting with mechanical compactors and/or other equipment to the specified levels to achieve 85% relative density as per IS:2720 Part XIV,including preparation of subgrade to the required slope, providing testing apparatus and testing the degree of consolidation all complete as per drawings, specifications and direction of Engineer-in-charge. The rates shall be inclusive of the cost of all labour,material,equipments etc. all complete . | 1000.00 | M3 |  | 1850.00 | 1850000.00 | 1850000.00 | AKSH INFRASPACE PVT LTD
217.00 | ELECTRICAL WORK
218.00 | Temporary Cathodic Protection:
219.00 | Supply, transportation, installation, testing, and commissioning of Temporary Cathodic Protection (TCP) system using pre-packed Magnesium (Mg) sacrificial anodes (3.0 & 5.0 Kg each) for external corrosion protection of pipeline surface. Scope includes detailed engineering, fabrication, FAT, inspection, and installation of anodes with test lead provisions (TLP) at required intervals. Minimum one Mg anode to be installed per km with test station as per site requirements and survey findings.
220.00 | TCP Set With 3 Kg Mg Anode | 5.00 | SET |  | 175000.00 | 875000.00 | 875000.00 | AKSH INFRASPACE PVT LTD
221.00 | TCP Set With 5 Kg Mg Anode | 5.00 | SET |  | 250000.00 | 1250000.00 | 1250000.00 | AKSH INFRASPACE PVT LTD
222.00 | Supply, laying & testing of 600 / 1100V grade single core, stranded tinned copper conductor cables, XLPE insulated / PVC sheathed, armoured as per IS of following sizes. The work shall include excavation for cable trenching at min. 1.2 m below GL in all types of soil including rock, backfilling of cable in trenches, lugging, ferrulling, making termination as per drawings & specification. Supply of all tools, tackles, consumables, etc. for completion of work, in all respect and as per directions of EIC.
223.00 | 25 mm2 | 200.00 | Meter |  | 2500.00 | 500000.00 | 500000.00 | AKSH INFRASPACE PVT LTD
224.00 | 10 mm2 | 200.00 | Meter |  | 2250.00 | 450000.00 | 450000.00 | AKSH INFRASPACE PVT LTD
225.00 | 6 mm2 | 200.00 | Meter |  | 1650.00 | 330000.00 | 330000.00 | AKSH INFRASPACE PVT LTD
226.00 | Making cable to pipe connections by thermit welding for following cables, including excavation for exposing pipe, removal of coating / wrapping, thermit welding recoating of the area of weld by epoxy filling, holiday testing, backfilling, supply of all tool, tackles, consumables thermit weld kits & labour for satisfactory completion of work.
227.00 | 6 mm2 Cables | 10.00 | Nos |  | 6500.00 | 65000.00 | 65000.00 | AKSH INFRASPACE PVT LTD
228.00 | 10 mm2 Cables | 10.00 | Nos |  | 9500.00 | 95000.00 | 95000.00 | AKSH INFRASPACE PVT LTD
229.00 | 25 mm2 Cables | 10.00 | Nos |  | 12500.00 | 125000.00 | 125000.00 | AKSH INFRASPACE PVT LTD
230.00 | Supply and Installation of pipe to cable connection by Pin Brazing/Thermit Welding Encapsulation method | 10.00 | Nos |  | 45650.00 | 456500.00 | 456500.00 | AKSH INFRASPACE PVT LTD
231.00 | Supply & installation of Small test station as per enclosed drawings and technical specifications. Work shall include all related civil works including foundation, termination of cables inside the test stations along with lugs & ferules sealing of cable entry space with bitumen compound supply of all materials, consumables, tools, tackles, etc. for satisfactory completion of work and as per directions of EIC. | 10.00 | Nos |  | 75000.00 | 750000.00 | 750000.00 | AKSH INFRASPACE PVT LTD
232.00 | Supply & installation of 20Kg Zn anode at a depth of 1.5 - 2.0m on all type of soil including rock alongwith 10m tail cable of 25mm2 high conductivity, tinned, stranded copper conductor, 650 / 1100V grade, XLPE insulated, armoured, PVC sheathed for grounding electrical surges in the pipeline at HT crossings. The work includes excavation, laying of Zn anode of minimum 20 Kg weight, backfilling & all related civil work, complete in all respects. The work shall also include anode to tail cable connection, cable laying and termination inside the test station. | 2.00 | Nos |  | 85000.00 | 170000.00 | 170000.00 | AKSH INFRASPACE PVT LTD
233.00 | Supply, installation, testing and commissioning of surge diverter inside the manual test stations at terminal locations, complete in all respects as per the specifications and directions of EIC. | 6.00 | Nos |  | 165000.00 | 990000.00 | 990000.00 | AKSH INFRASPACE PVT LTD
234.00 | Supply, installation, testing and commissioning of spark-gap arrestors across insulating joints. | 4.00 | Nos |  | 165000.00 | 660000.00 | 660000.00 | AKSH INFRASPACE PVT LTD
235.00 | Supply, installation, testing and commissioning of SSD Polarization cell (as per approved design) | 2.00 | Nos |  | 650000.00 | 1300000.00 | 1300000.00 | AKSH INFRASPACE PVT LTD
236.00 | Note: (1) The quantities given above against individual items are indicative and shall not be considered to be binding. The quantities may be increased, decreased or deleted at site at the time of actual execution. Procurement shall be done as per actual site condition, approved construction drawings and as per instruction of EIC. The unit rate shall be operated to work out the final payment to the contractor; (2) In each area, quantities given against individual item may be utilised / used for other consumers in same area.
237.00 | Earthing Work
238.00 | Supply , Installation , testing and commissioning of GI Earth electrodes & Cu plate type earth pit complete with earth pit as per IS 3043, PTS-Electrical package and all necessary material including excavation of earth pit , filling with charcoal and salt, chequered plate cover, back filling, brick work , connections including all labour and materials as approved drawing and specification of this tender and direction of Engineer-In charge.
239.00 | GI Earth Electrodes
240.00 | 65mm dia x 3000 mm L GI pipe electrode type Earth pit | 15.00 | EA |  | 45000.00 | 675000.00 | 675000.00 | AKSH INFRASPACE PVT LTD
241.00 | 65mm dia x 10000 mm L GI pipe electrode type Earth pit( In case rock is encountered ) | 9.00 | EA |  | 55000.00 | 495000.00 | 495000.00 | AKSH INFRASPACE PVT LTD
242.00 | Cu plate Earth Electrode
243.00 | 600x600x3mm Cu plate type Earth pit | 6.00 | EA |  | 65000.00 | 390000.00 | 390000.00 | AKSH INFRASPACE PVT LTD
244.00 | GI Strip (50X6) mm | 150.00 | Meter |  | 2500.00 | 375000.00 | 375000.00 | AKSH INFRASPACE PVT LTD
245.00 | GI Strip (25X6) mm | 150.00 | Meter |  | 2350.00 | 352500.00 | 352500.00 | AKSH INFRASPACE PVT LTD
246.00 | 1C 25 Sq.mm PVC insulated Cu Conductor | 60.00 | Meter |  | 1500.00 | 90000.00 | 90000.00 | AKSH INFRASPACE PVT LTD
247.00 | 10 SWG GI wire | 60.00 | Meter |  | 1250.00 | 75000.00 | 75000.00 | AKSH INFRASPACE PVT LTD
248.00 | Laying, installation, glanding, termination, and dressing of power and control cables of various sizes (PVC/XLPE insulated, armoured or unarmoured), using free issue material provided by the GAIL. Cables to be laid in trenches, cable trays, ducts, GI/HDPE conduits, or on wall/structure as per site conditions and approved drawings. Note: Rates are including required manpower and tools and tackles. | 300.00 | Meter |  | 125.00 | 37500.00 | 37500.00 | AKSH INFRASPACE PVT LTD
249.00 | Deployment of Electrician/Instrumentation Technician
250.00 | Deployment of qualified and experienced Electrical Technician at site for execution, monitoring, supervision, testing, and documentation of all electrical works or wherever required as per project requirement. Responsibility: 1. Installing wiring, conduits, and electrical panels. 2. Connecting electrical equipment and appliances. 3. Repairing or replacing faulty wiring, fixtures, or equipment. 4. Testing electrical systems to ensure proper functionality and safety. 5. Troubleshooting issues like power outages or faulty circuits. 6. Working on both residential and commercial electrical systems. 7. Inspecting electrical components like transformers and circuit breakers. 8. Conducting preventive maintenance to prevent future problems. Qualification & Experience: 1. Diploma/ITI in Electrical Engineering from recognized institution 2. Minimum 6–8 years of experience in similar project/site works (adjustable as per tender) | 100.00 | MAD |  | 2500.00 | 250000.00 | 250000.00 | AKSH INFRASPACE PVT LTD
251.00 | INSTRUMENTATION WORK
252.00 | Supply, Calibration and Installation of Pressure Transmitter of different Range and rating as per site requirement Engineering , Design, Supply, testing, installation, erection and commissioning. Also supply of erection material like SS316 tube, SS fittings, manifold, mounting stand and all other required material. Smart HART, Ex'd', IP-65, 24 VDC 2-wire loop powered. | 3.00 | EA |  | 65500.00 | 196500.00 | 196500.00 | AKSH INFRASPACE PVT LTD
253.00 | Supply, Calibration and Installation of Temperature Transmitter of different Range and rating as per site requirement Engineering , Design, Supply, Installation, Calibration, Testing & Commissioning of Temperature Transmitters including mounting of Instrument on yoke, supply of yoke, supply and erection of supports for impulse lines wherever required, supply, fabrication & installation of SS manifolds/ SS impulse lines & SS valves & fittings with supports, testing and painting of supports. | 3.00 | EA |  | 68500.00 | 205500.00 | 205500.00 | AKSH INFRASPACE PVT LTD
254.00 | Cables, Cables Trays and Junction boxes Supply, laying, installation, erection of signals cable from pressure transmitters, temperature transmitter to junction boxes, junction boxes to existing local control panel (LCP)/FC. including glanding, termination, ferruling, dressing etc. at both ends. Laying of cable from remote operated valve junction box to existing local control panel (LCP)/FC including glanding, termination, ferruling, dressing etc. at both ends. Supply of cable trays, cables glands, junction boxes, erection materials, cable ferrules, cable lugs, cable tie. Installation and erection of cable trays and junction boxes Preparation of cable trench for burying cable, excavation, restoration of trench and compacting. Supply and laying of bricks and sand, pipes at all the crossings etc.
255.00 | 1P X 1 .5 Sq. mm Over all Screened | 50.00 | Meter |  | 325.00 | 16250.00 | 16250.00 | AKSH INFRASPACE PVT LTD
256.00 | 1 P x 2.5 Sq. mm Over all Screened | 50.00 | Meter |  | 420.00 | 21000.00 | 21000.00 | AKSH INFRASPACE PVT LTD
257.00 | 2 P x 1.5 Sq. mm Over all Screened | 50.00 | Meter |  | 335.00 | 16750.00 | 16750.00 | AKSH INFRASPACE PVT LTD
258.00 | 1Q X 1 .5 Sq. mm Over all Screened | 50.00 | Meter |  | 520.00 | 26000.00 | 26000.00 | AKSH INFRASPACE PVT LTD
259.00 | 12P X 0 .5 Sq. mm Individual Screen & Over all Screened | 50.00 | Meter |  | 1050.00 | 52500.00 | 52500.00 | AKSH INFRASPACE PVT LTD
260.00 | 6 P x 1.5 Sq. mm Over all Screened NIS cable | 50.00 | Meter |  | 650.00 | 32500.00 | 32500.00 | AKSH INFRASPACE PVT LTD
261.00 | 12 P x 1.5 Sq. mm Over all Screened NIS cable | 50.00 | Meter |  | 1350.00 | 67500.00 | 67500.00 | AKSH INFRASPACE PVT LTD
262.00 | 1 T x 1.5 Sq. mm Over all Screened NIS cable | 50.00 | Meter |  | 625.00 | 31250.00 | 31250.00 | AKSH INFRASPACE PVT LTD
263.00 | 8 T x 1.5 Sq. mm Over all Screened | 50.00 | Meter |  | 1025.00 | 51250.00 | 51250.00 | AKSH INFRASPACE PVT LTD
264.00 | 4 P x 2.5 Sq. mm (For power supply) | 50.00 | Meter |  | 950.00 | 47500.00 | 47500.00 | AKSH INFRASPACE PVT LTD
265.00 | 3C X 2 .5 Sq. mm Power cable | 100.00 | Meter |  | 325.00 | 32500.00 | 32500.00 | AKSH INFRASPACE PVT LTD
266.00 | Serial communication cable, Modbus RS - 485, PVC Sheathed, 4 pair | 100.00 | Meter |  | 525.00 | 52500.00 | 52500.00 | AKSH INFRASPACE PVT LTD
267.00 | Junction Box 'Flameproof Junction box as per specification with Plug and suitable for cable entries of single pair and multi pair cable as per the Instrument cable schedule | 3.00 | Nos |  | 25000.00 | 75000.00 | 75000.00 | AKSH INFRASPACE PVT LTD
268.00 | Cable Trays (60 mm wide x 30 mm height) | 50.00 | Meter |  | 325.00 | 16250.00 | 16250.00 | AKSH INFRASPACE PVT LTD
269.00 | Cable Trays (100 mm wide x 30 mm height) | 50.00 | Meter |  | 625.00 | 31250.00 | 31250.00 | AKSH INFRASPACE PVT LTD
270.00 | Cable Trays (300 mm wide x 30 mm height) | 50.00 | Meter |  | 1425.00 | 71250.00 | 71250.00 | AKSH INFRASPACE PVT LTD
271.00 | Installation & fabrication of tubes and fittings as per requirement(6mm to 12mm)
272.00 | Installation and fabrication of stainless steel (SS) tubes of sizes ranging from 6mm to 12mm OD, including supply and fixing of required compression fittings, elbows, tees, reducers, tube clamps, etc., as per site requirement. Work includes routing of tubing from field instruments (pressure, temperature, flow transmitters, gauges, etc.) to junction boxes or control panels. Also includes clamping of tubes, cold bending, leak testing, cleaning and flushing of tubing, tagging, and necessary support fabrication. | 30.00 | Meter |  | 2025.00 | 60750.00 | 60750.00 | AKSH INFRASPACE PVT LTD
273.00 | Scope Includes: 1. Cutting, bending, routing, and clamping of SS tubes 2. Supply and installation of tube fittings and accessories 3. Fabrication and installation of supports and brackets 4. Testing, flushing, and cleaning of tubes 5. Marking/tagging as per drawing and instruction
274.00 | Total amount excluding GST
275.00 | GST (CGST&SGST/UTGST or IGST) in percentage (%) on Net Total Amount | 1.00 | percentage |  | 18.00 | 32325940.80 | 32325940.80 | AKSH INFRASPACE PVT LTD
| Total in Figures |  |  |  |  | 211914500.80
Lowest Amount Quoted BY: AKSH INFRASPACE PVT LTD(211914500.80)

## BOQ Summary
BOQ Summary Details Tender Title: AUGMENTATION OF RESOURCES DURING EXECUTION OF CROSS-COUNTRY PIPELINES, LMC AND CGD HOOKUPS PROJECTS ON PAN INDIA BASIS ON ANNUAL RATE CONTRACT BASIS Tender ID: 2025_GAIL_246685_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AKSH INFRASPACE PVT LTD (BID ID -907023) | 211914500.80 | L1

## Preferential Bidder BOQ Summary
Preferential Bidder Non-Itemwise BOQ Summary Details Tender Title: AUGMENTATION OF RESOURCES DURING EXECUTION OF CROSS-COUNTRY PIPELINES, LMC AND CGD HOOKUPS PROJECTS ON PAN INDIA BASIS ON ANNUAL RATE CONTRACT BASIS Tender ID: 2025_GAIL_246685_1
Sheet Name | Sl.No | Bidder Name | Amount | Difference Amount from L1 | Difference Percentage from L1 | Tolerance Percentage | Preference Category
BoQ1 | 1 | AKSH INFRASPACE PVT LTD (BID ID -907023) | 211914500.80