## BoQ1
Government eProcurement System Created By: RAJEEV KUMAR Created Date/Time: 19-Nov-2025 11:29 AM Tender Title: Supply, Installation, Testing and Commissioning of Horticulture Water Pipeline Network inside GAIL Hazira Compressor Station. Tender ID: 2025_GAIL_249535_1
Tender Inviting Authority: GAIL (India) Limited Hazira Compressor Station, Icchapore Magdalla Road, PO-ONGC, Dist. Surat-394518, Gujarat
Name of Work: Supply, Installation, Testing & Commissioning of Horticulture Water Pipeline Network inside GAIL Hazira Compressor Station
Contract No: 2025_GAIL_249535_1 dated. 19.09.2025
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | OXYURA PROJECTS INDIA LLP (GSTN-08AAHFO1798E1Z0) BID ID -912856 |  | ARPIT VENTURES LLP (GSTN-NA) BID ID -913458 |  | NAMRATA ENGINEERING (GSTN-NA) BID ID -913341 |  | AADHIK BUILCON LLP (GSTN-NA) BID ID -913127 |  | SWANIP INFRACON PRIVATE LIMITED (GSTN-NA) BID ID -913403
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commisioning of Horticulture Pipeline Distribution Network of different sizes along with fititngs. This line item includes supply, installation, testing and commisioning of HDPE pipeline of different sizes along with different fittings, valves mentioned below for Horticulture Pipeline Distribution Network. All material mentioned below shall be as per standards NSF/ANSI61, ASTM, IS:4984-1995, or other suitable standards. All these pipes shall be butt fused to avoid any kind of leakage, in case of any lekage is obsereved shall be rectified by bidder. Other services which need to be excuted for completion of this Job. Bidder required to follow all necessary standards NSF/ANSI61, ASTM, IS:4984-1995, or other suitable standards used in water pipeline laying, DSR or as mentioned by MoRW. Bidder is also required to complete testing of this PDN after its commisioning as per applicable standards for testing and procedure. Details of fititngs and other material and services is given below & refer SOW and SCC for details.
1.01 | Supply and installation of HDPE Pipeline of 6 Inch, Pressure class, PN12.5 (1.25MPa) | 1200.00 | MTR | 0.00 | 1400.00 | 1982400.00 | 1640.00 | 2322240.00 | 1213.00 | 1717608.00 | 1325.95 | 1877545.20 | 1531.00 | 2167896.00 | 1717608.00 | NAMRATA ENGINEERING
1.02 | Supply and installation of HDPE Pipeline of 4 Inch, Pressure class, PN12.5 (1.25MPa) | 400.00 | MTR | 0.00 | 720.00 | 339840.00 | 800.00 | 377600.00 | 680.00 | 320960.00 | 624.45 | 294740.40 | 934.00 | 440848.00 | 294740.40 | AADHIK BUILCON LLP
1.03 | Supply and installation of HDPE Pipeline of 3 Inch, Pressure class, PN12.5 (1.25MPa) | 1200.00 | MTR | 0.00 | 550.00 | 778800.00 | 641.00 | 907656.00 | 480.00 | 679680.00 | 419.75 | 594366.00 | 651.00 | 921816.00 | 594366.00 | AADHIK BUILCON LLP
1.04 | Valve for 6 Inch HDPE Pipeline of 6 inch, Pressure Class, PN12.5 (1.25MPa) | 8.00 | EA | 0.00 | 20200.00 | 190688.00 | 6775.00 | 63956.00 | 15000.00 | 141600.00 | 5510.80 | 52021.95 | 1810.00 | 17086.40 | 17086.40 | SWANIP INFRACON PRIVATE LIMITED
1.05 | Valve for 4 Inch HDPE Pipeline of 4 inch, Pressure Class, PN12.5 (1.25MPa) | 8.00 | EA | 0.00 | 5500.00 | 51920.00 | 3000.00 | 28320.00 | 5810.00 | 54846.40 | 3366.05 | 31775.51 | 1560.00 | 14726.40 | 14726.40 | SWANIP INFRACON PRIVATE LIMITED
1.06 | Valve for 3 Inch HDPE Pipeline of 3 inch, Pressure Class, PN12.5 (1.25MPa) | 70.00 | EA | 0.00 | 3500.00 | 289100.00 | 1275.00 | 105315.00 | 2815.00 | 232519.00 | 2618.55 | 216292.23 | 860.00 | 71036.00 | 71036.00 | SWANIP INFRACON PRIVATE LIMITED
1.07 | Elbow, 4 inch , Pressure Class, PN12.5 (1.25MPa) | 6.00 | EA | 0.00 | 255.00 | 1805.40 | 545.00 | 3858.60 | 700.00 | 4956.00 | 783.15 | 5544.70 | 369.00 | 2612.52 | 1805.40 | OXYURA PROJECTS INDIA LLP
1.08 | Tee, 4x4x4 Inch, Pressure Class, PN12.5 (1.25MPa) | 6.00 | EA | 0.00 | 700.00 | 4956.00 | 545.00 | 3858.60 | 800.00 | 5664.00 | 1035.00 | 7327.80 | 530.00 | 3752.40 | 3752.40 | SWANIP INFRACON PRIVATE LIMITED
1.09 | Elbow, 6 inch , Pressure Class, PN12.5 (1.25MPa) | 6.00 | EA | 0.00 | 700.00 | 4956.00 | 675.00 | 4779.00 | 1500.00 | 10620.00 | 2396.60 | 16967.93 | 1310.00 | 9274.80 | 4779.00 | ARPIT VENTURES LLP
1.10 | Tee, 6x6x6 Inch, Pressure Class, PN12.5 (1.25MPa) | 6.00 | EA | 0.00 | 890.00 | 6301.20 | 675.00 | 4779.00 | 1600.00 | 11328.00 | 3118.80 | 22081.10 | 1635.00 | 11575.80 | 4779.00 | ARPIT VENTURES LLP
1.11 | Elbow, 3 inch , Pressure Class, PN12.5 (1.25MPa) | 5.00 | EA | 0.00 | 185.00 | 1091.50 | 350.00 | 2065.00 | 500.00 | 2950.00 | 373.75 | 2205.13 | 142.00 | 837.80 | 837.80 | SWANIP INFRACON PRIVATE LIMITED
1.12 | Tee, 3x3x3 Inch, Pressure Class, PN12.5 (1.25MPa) | 5.00 | EA | 0.00 | 190.00 | 1121.00 | 250.00 | 1475.00 | 600.00 | 3540.00 | 589.95 | 3480.71 | 198.00 | 1168.20 | 1121.00 | OXYURA PROJECTS INDIA LLP
1.13 | Tee, 6x6x3 Inch reducing , Pressure Class, PN12.5 (1.25MPa) | 50.00 | EA | 0.00 | 900.00 | 53100.00 | 935.00 | 55165.00 | 2400.00 | 141600.00 | 3759.35 | 221801.65 | 1635.00 | 96465.00 | 53100.00 | OXYURA PROJECTS INDIA LLP
1.14 | Reducer, 6x3 Inch, Pressure Class, PN12.5 (1.25MPa) | 10.00 | EA | 0.00 | 190.00 | 2242.00 | 355.00 | 4189.00 | 550.00 | 6490.00 | 640.55 | 7558.49 | 530.00 | 6254.00 | 2242.00 | OXYURA PROJECTS INDIA LLP
1.15 | Reducer, 3x1 Inch, Pressure Class, PN12.5 (1.25MPa) | 70.00 | EA | 0.00 | 99.00 | 8177.40 | 85.00 | 7021.00 | 235.00 | 19411.00 | 442.75 | 36571.15 | 82.00 | 6773.20 | 6773.20 | SWANIP INFRACON PRIVATE LIMITED
1.16 | Pressure/vacccum release valve, Harrit make, pressure upto 1.25MPa | 1.00 | EA | 0.00 | 19000.00 | 22420.00 | 5500.00 | 6490.00 | 45000.00 | 53100.00 | 18247.05 | 21531.52 | 2210.00 | 2607.80 | 2607.80 | SWANIP INFRACON PRIVATE LIMITED
1.17 | Water Flow meter, turbine, normal flow 150 M3/hr | 1.00 | EA | 0.00 | 18000.00 | 21240.00 | 40000.00 | 47200.00 | 30000.00 | 35400.00 | 40077.50 | 47291.45 | 3210.00 | 3787.80 | 3787.80 | SWANIP INFRACON PRIVATE LIMITED
1.18 | Filter, with heavy duty metallic clamp ( 150 M3/hrs discharge capacity) | 4.00 | EA | 0.00 | 15000.00 | 70800.00 | 15500.00 | 73160.00 | 5000.00 | 23600.00 | 174455.00 | 823427.60 | 1510.00 | 7127.20 | 7127.20 | SWANIP INFRACON PRIVATE LIMITED
1.19 | Excavation/trenching, backfilling for pipeline laying of main line (6 inch) and branch line (3 inch) | 2000.00 | M3 | 0.00 | 300.00 | 708000.00 | 641.00 | 1512760.00 | 250.00 | 590000.00 | 500.00 | 1180000.00 | 270.00 | 637200.00 | 590000.00 | NAMRATA ENGINEERING
1.20 | Making of Valve chamber for 6 inch valve in main header along with cover (with Hot dipped GI grating) as per standard (2x2x2 ft) | 6.00 | EA | 0.00 | 3500.00 | 24780.00 | 6800.00 | 48144.00 | 7000.00 | 49560.00 | 8500.00 | 60180.00 | 13250.00 | 93810.00 | 24780.00 | OXYURA PROJECTS INDIA LLP
1.21 | Making of Valve chamber for 3 inch valve in branch line along with cover (with Hot dipped GI grating) as per standard (1.5x1.5x1.5 ft) | 25.00 | EA | 0.00 | 3000.00 | 88500.00 | 4250.00 | 125375.00 | 6000.00 | 177000.00 | 6500.00 | 191750.00 | 9750.00 | 287625.00 | 88500.00 | OXYURA PROJECTS INDIA LLP
1.22 | Road Cutting for Installation of Pipeline | 40.00 | M3 | 0.00 | 2300.00 | 108560.00 | 1275.00 | 60180.00 | 550.00 | 25960.00 | 500.00 | 23600.00 | 2800.00 | 132160.00 | 23600.00 | AADHIK BUILCON LLP
1.23 | PCC for pump foundation, road restoration ( with Hume Pipe of 8 inch along the road crossing) after installation of Pipeline | 10.00 | M3 | 0.00 | 5400.00 | 63720.00 | 5500.00 | 64900.00 | 6500.00 | 76700.00 | 5000.00 | 59000.00 | 6790.00 | 80122.00 | 59000.00 | AADHIK BUILCON LLP
1.24 | RCC for pump foundation, road restoration ( with Hume Pipe of 8 inch along the road crossing) after installation of Pipeline | 10.00 | M3 | 0.00 | 7200.00 | 84960.00 | 6750.00 | 79650.00 | 7500.00 | 88500.00 | 6000.00 | 70800.00 | 7760.00 | 91568.00 | 70800.00 | AADHIK BUILCON LLP
1.25 | Flange with stub end, 6 inch , Pressure Class, PN12.5 (1.25MPa) | 16.00 | EA | 0.00 | 455.00 | 8590.40 | 750.00 | 14160.00 | 6500.00 | 122720.00 | 875.00 | 16520.00 | 1690.00 | 31907.20 | 8590.40 | OXYURA PROJECTS INDIA LLP
1.26 | Flange with stub end, 4 inch , Pressure Class, PN12.5 (1.25MPa) | 12.00 | EA | 0.00 | 208.00 | 2945.28 | 461.00 | 6527.76 | 2500.00 | 35400.00 | 500.00 | 7080.00 | 1590.00 | 22514.40 | 2945.28 | OXYURA PROJECTS INDIA LLP
1.27 | Flange with stub end, 3 inch , Pressure Class, PN12.5 (1.25MPa) | 140.00 | EA | 0.00 | 169.00 | 27918.80 | 335.00 | 55342.00 | 1500.00 | 247800.00 | 600.00 | 99120.00 | 1380.00 | 227976.00 | 27918.80 | OXYURA PROJECTS INDIA LLP
1.28 | Brick work masonary (Providing and laying BRICK MASONRY WITH BRICKS OF CLASS 7.5 in cement mortar 1:6 (1 Cement : 6 Sand) in one or more brick thickness and in any shape (excluding circular/curved brick masonry) at all depths and height including the cost of materials, labour, scaffolding/ staging, sampling & testing, soaking of bricks, cutting and laying of bricks, providing recesses, making openings of any shape & size, finishing the joints flush below ground level and raking out the joints above ground level, sealing the gap between masonry and soffit of beam/slab, embedding the fittings & fixtures, curing, etc. all complete as per specifications. All kind of charges to execute the line item is in Contractor's scope.) | 50.00 | M3 | 0.00 | 4600.00 | 271400.00 | 6410.00 | 378190.00 | 4500.00 | 265500.00 | 6500.00 | 383500.00 | 8250.00 | 486750.00 | 265500.00 | NAMRATA ENGINEERING
| Total in Figures |  |  |  |  | 5220332.98 |  | 6364355.96 |  | 5145012.40 |  | 6374080.52 |  | 5877277.92
Lowest Amount Quoted BY: NAMRATA ENGINEERING(5145012.40)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Installation, Testing and Commissioning of Horticulture Water Pipeline Network inside GAIL Hazira Compressor Station. Tender ID: 2025_GAIL_249535_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NAMRATA ENGINEERING (BID ID -913341) | 5145012.40 | L1
| 2 | OXYURA PROJECTS INDIA LLP (BID ID -912856) | 5220332.98 | L2
| 3 | SWANIP INFRACON PRIVATE LIMITED (BID ID -913403) | 5877277.92 | L3
| 4 | ARPIT VENTURES LLP (BID ID -913458) | 6364355.96 | L4
| 5 | AADHIK BUILCON LLP (BID ID -913127) | 6374080.52 | L5