## BoQ1
Government eProcurement System Created By: VIBHOR JAIN Created Date/Time: 16-Dec-2025 04:12 PM Tender Title: SUPPLY AND INSTALLATION OF TELECOM AND SCADA EQUIPMENTS FOR EXTENDING DATA CONNECTIVITY TO UPCOMING LMCS IN NORTHERN REGION ON ARC BASIS Tender ID: 2025_GAIL_250504_1
Tender Inviting Authority: GAIL India Ltd
Name of Work: Supply & Installation of Telecom & Scada Equipment’s for extending data connectivity to upcoming LMC’s in Northern Region on ARC basis
Tender ID: 2025_GAIL_250504_1 [Bidding Document No. GAIL/NOIDA/C&P/PROJ/25-43]
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SITRA INFOTECH PVT. LTD. (GSTN-36AAFCS0208J1ZJ) BID ID -920220 |  | ADITEL COMMUNICATIONS (GSTN-NA) BID ID -920448 |  | MAHENDRA JAGTAP (GSTN-NA) BID ID -920424
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | A. SUPPLY ITEMS UNDER ARC FOR TELECOM SYSTEM
2.00 | Supply of MPLS TP equipment | 2.00 | nos |  | 2187000.00 | 4374000.00 | 2037800.00 | 4075600.00 | 1847999.00 | 3695998.00 | 3695998.00 | MAHENDRA JAGTAP
3.00 | Supply of IP/MPLS type switch | 1.00 | no |  | 1890000.00 | 1890000.00 | 217000.00 | 217000.00 | 301000.00 | 301000.00 | 217000.00 | ADITEL COMMUNICATIONS
4.00 | Supply of converter
5.00 | AC-DC (230 V AC to 48 V DC) | 4.00 | nos |  | 22500.00 | 90000.00 | 34000.00 | 136000.00 | 32500.00 | 130000.00 | 90000.00 | SITRA INFOTECH PVT. LTD.
6.00 | AC-DC (230 V AC to 24 V DC) | 4.00 | nos |  | 10800.00 | 43200.00 | 32200.00 | 128800.00 | 43500.00 | 174000.00 | 43200.00 | SITRA INFOTECH PVT. LTD.
7.00 | DC-DC (48 V DC to 24 V DC) | 18.00 | nos |  | 9000.00 | 162000.00 | 66450.00 | 1196100.00 | 62000.00 | 1116000.00 | 162000.00 | SITRA INFOTECH PVT. LTD.
8.00 | DC-DC (24 V DC to 48 V DC) | 2.00 | nos |  | 16200.00 | 32400.00 | 39500.00 | 79000.00 | 38000.00 | 76000.00 | 32400.00 | SITRA INFOTECH PVT. LTD.
9.00 | Supply of battery charger with battery backup | 2.00 | nos |  | 549000.00 | 1098000.00 | 62000.00 | 124000.00 | 52000.00 | 104000.00 | 104000.00 | MAHENDRA JAGTAP
10.00 | Supply of porta cabin | 4.00 | nos |  | 252000.00 | 1008000.00 | 291204.00 | 1164816.00 | 273000.00 | 1092000.00 | 1008000.00 | SITRA INFOTECH PVT. LTD.
11.00 | Supply of LCT | 1.00 | nos |  | 207000.00 | 207000.00 | 68900.00 | 68900.00 | 62000.00 | 62000.00 | 62000.00 | MAHENDRA JAGTAP
12.00 | Supply of equipment racks | 2.00 | nos |  | 108000.00 | 216000.00 | 38350.00 | 76700.00 | 35000.00 | 70000.00 | 70000.00 | MAHENDRA JAGTAP
13.00 | Supply of solar panel with battery back up 300 W | 2.00 | nos |  | 234000.00 | 468000.00 | 787000.00 | 1574000.00 | 779999.00 | 1559998.00 | 468000.00 | SITRA INFOTECH PVT. LTD.
14.00 | Supply of solar panel with battery back up 200 W | 8.00 | nos |  | 162000.00 | 1296000.00 | 699450.00 | 5595600.00 | 698000.00 | 5584000.00 | 1296000.00 | SITRA INFOTECH PVT. LTD.
15.00 | Supply of solar panel with battery back up 50 W | 1.00 | nos |  | 108000.00 | 108000.00 | 157800.00 | 157800.00 | 146000.00 | 146000.00 | 108000.00 | SITRA INFOTECH PVT. LTD.
16.00 | Supply of explosion proof telephone | 2.00 | nos |  | 16650.00 | 33300.00 | 65760.00 | 131520.00 | 62000.00 | 124000.00 | 33300.00 | SITRA INFOTECH PVT. LTD.
17.00 | Supply of weatherproof telephone | 2.00 | nos |  | 9000.00 | 18000.00 | 59300.00 | 118600.00 | 55000.00 | 110000.00 | 18000.00 | SITRA INFOTECH PVT. LTD.
18.00 | Supply of acoustic half hood booth | 2.00 | nos |  | 126000.00 | 252000.00 | 36130.00 | 72260.00 | 32000.00 | 64000.00 | 64000.00 | MAHENDRA JAGTAP
19.00 | Supply of multi-paired armoured cable (10 pair) | 3500.00 | mtrs |  | 486.00 | 1701000.00 | 145.00 | 507500.00 | 118.00 | 413000.00 | 413000.00 | MAHENDRA JAGTAP
20.00 | Supply of 6 Twisted Pair, 1.5 Sq. mm ( 12 Core ), Individual Pair andOverall Aluminium Mylar Tape Shielded with drain wire | 1000.00 | mtrs |  | 405.00 | 405000.00 | 430.00 | 430000.00 | 390.00 | 390000.00 | 390000.00 | MAHENDRA JAGTAP
21.00 | Supply of 6 Twisted Pair, 0.50 Sq. mm ( 12 Core ) Individual Pair and Overall Aluminium Mylar Tape Shielded with drain wire | 500.00 | mtrs |  | 360.00 | 180000.00 | 260.00 | 130000.00 | 280.00 | 140000.00 | 130000.00 | ADITEL COMMUNICATIONS
22.00 | Supply of Telemetry Interface Cabinet (TIC) | 1.00 | Nos |  | 158400.00 | 158400.00 | 254400.00 | 254400.00 | 356888.00 | 356888.00 | 158400.00 | SITRA INFOTECH PVT. LTD.
23.00 | Supply of analog phones | 15.00 | nos |  | 2700.00 | 40500.00 | 1650.00 | 24750.00 | 1400.00 | 21000.00 | 21000.00 | MAHENDRA JAGTAP
24.00 | Supply of FXO Gateway | 20.00 | nos |  | 18000.00 | 360000.00 | 30250.00 | 605000.00 | 28300.00 | 566000.00 | 360000.00 | SITRA INFOTECH PVT. LTD.
25.00 | Supply of FXS Gateway | 20.00 | nos |  | 14400.00 | 288000.00 | 20980.00 | 419600.00 | 19200.00 | 384000.00 | 288000.00 | SITRA INFOTECH PVT. LTD.
26.00 | Supply of Ethernet switch | 46.00 | nos |  | 90000.00 | 4140000.00 | 130560.00 | 6005760.00 | 123200.00 | 5667200.00 | 4140000.00 | SITRA INFOTECH PVT. LTD.
27.00 | Supply of RTU | 1.00 | nos |  | 1080000.00 | 1080000.00 | 785000.00 | 785000.00 | 698000.00 | 698000.00 | 698000.00 | MAHENDRA JAGTAP
28.00 | Supply of mini RTU | 5.00 | nos |  | 900000.00 | 4500000.00 | 302576.00 | 1512880.00 | 291111.00 | 1455555.00 | 1455555.00 | MAHENDRA JAGTAP
29.00 | Supply of FTC | 20.00 | nos |  | 14400.00 | 288000.00 | 15000.00 | 300000.00 | 13700.00 | 274000.00 | 274000.00 | MAHENDRA JAGTAP
30.00 | Supply of joint closures | 5.00 | nos |  | 7200.00 | 36000.00 | 2800.00 | 14000.00 | 3000.00 | 15000.00 | 14000.00 | ADITEL COMMUNICATIONS
31.00 | Supply of IP camera | 24.00 | nos |  | 108900.00 | 2613600.00 | 76350.00 | 1832400.00 | 71880.00 | 1725120.00 | 1725120.00 | MAHENDRA JAGTAP
32.00 | Supply of spares for telecom | 1.00 | nos |  | 1440000.00 | 1440000.00 | 305320.00 | 305320.00 | 288888.00 | 288888.00 | 288888.00 | MAHENDRA JAGTAP
33.00 | Supply of spares for RTU | 1.00 | nos |  | 630000.00 | 630000.00 | 265500.00 | 265500.00 | 234444.00 | 234444.00 | 234444.00 | MAHENDRA JAGTAP
34.00 | Supply of ethernet to serial converter | 40.00 | nos |  | 9900.00 | 396000.00 | 45990.00 | 1839600.00 | 43899.00 | 1755960.00 | 396000.00 | SITRA INFOTECH PVT. LTD.
35.00 | Supply of optical to serial convereter | 8.00 | nos |  | 14400.00 | 115200.00 | 60250.00 | 482000.00 | 71111.00 | 568888.00 | 115200.00 | SITRA INFOTECH PVT. LTD.
36.00 | Supply of RS 232 to RS 422/RS485 converter | 6.00 | nos |  | 7200.00 | 43200.00 | 12315.00 | 73890.00 | 9333.00 | 55998.00 | 43200.00 | SITRA INFOTECH PVT. LTD.
37.00 | Supply of Optical to Ethernet Converter | 6.00 | nos |  | 14400.00 | 86400.00 | 42870.00 | 257220.00 | 40520.00 | 243120.00 | 86400.00 | SITRA INFOTECH PVT. LTD.
38.00 | Supply of Out door equipment panel | 12.00 | nos |  | 225000.00 | 2700000.00 | 307987.00 | 3695844.00 | 289999.00 | 3479988.00 | 2700000.00 | SITRA INFOTECH PVT. LTD.
39.00 | Supply of Field Mounted enclosure conforming IP-66 | 2.00 | nos |  | 180000.00 | 360000.00 | 44200.00 | 88400.00 | 41888.00 | 83776.00 | 83776.00 | MAHENDRA JAGTAP
40.00 | Supply of GPRS Modem | 10.00 | nos |  | 25200.00 | 252000.00 | 33540.00 | 335400.00 | 33000.00 | 330000.00 | 252000.00 | SITRA INFOTECH PVT. LTD.
41.00 | Supply of ATEX switch 8 port | 4.00 | nos |  | 90000.00 | 360000.00 | 165890.00 | 663560.00 | 156370.00 | 625480.00 | 360000.00 | SITRA INFOTECH PVT. LTD.
42.00 | Supply of 24F OFC cable | 8000.00 | mts |  | 72.00 | 576000.00 | 68.00 | 544000.00 | 74.00 | 592000.00 | 544000.00 | ADITEL COMMUNICATIONS
43.00 | Supply of RTU management licenses for makes like Husky, Schneider, etc | 4.00 | nos |  | 90000.00 | 360000.00 | 85000.00 | 340000.00 | 72005.00 | 288020.00 | 288020.00 | MAHENDRA JAGTAP
44.00 | B. Telecom system (WORKS)
45.00 | Installation of MPLS/TP equipment | 2.00 | nos |  | 180000.00 | 360000.00 | 80500.00 | 161000.00 | 74500.00 | 149000.00 | 149000.00 | MAHENDRA JAGTAP
46.00 | Integration of MPLS/TP equipment with existing NMS | 2.00 | nos |  | 90000.00 | 180000.00 | 18500.00 | 37000.00 | 15000.00 | 30000.00 | 30000.00 | MAHENDRA JAGTAP
47.00 | Installation and commissioning of solar system | 11.00 | Lot |  | 27000.00 | 297000.00 | 61230.00 | 673530.00 | 58100.00 | 639100.00 | 297000.00 | SITRA INFOTECH PVT. LTD.
48.00 | Installation of porta cabin | 4.00 | nos |  | 90000.00 | 360000.00 | 62300.00 | 249200.00 | 57000.00 | 228000.00 | 228000.00 | MAHENDRA JAGTAP
49.00 | Laying and termination of multi-paired armoured cable (10 pair) | 3000.00 | mtrs |  | 54.00 | 162000.00 | 55.00 | 165000.00 | 50.00 | 150000.00 | 150000.00 | MAHENDRA JAGTAP
50.00 | Installation and configuration of converter/switch and interfacing of same with flow computer and integration with SCADA system | 60.00 | nos |  | 2250.00 | 135000.00 | 42650.00 | 2559000.00 | 40000.00 | 2400000.00 | 135000.00 | SITRA INFOTECH PVT. LTD.
51.00 | Installation of TIC Panel | 1.00 | nos |  | 45000.00 | 45000.00 | 55000.00 | 55000.00 | 51000.00 | 51000.00 | 45000.00 | SITRA INFOTECH PVT. LTD.
52.00 | Design, engineering and submission of documents | 12.00 | nos |  | 72000.00 | 864000.00 | 2000.00 | 24000.00 | 1800.00 | 21600.00 | 21600.00 | MAHENDRA JAGTAP
53.00 | Testing of OFC and submission of reports | 12.00 | lots |  | 12600.00 | 151200.00 | 5800.00 | 69600.00 | 5000.00 | 60000.00 | 60000.00 | MAHENDRA JAGTAP
54.00 | Earthing works | 12.00 | lots |  | 36000.00 | 432000.00 | 71280.00 | 855360.00 | 65000.00 | 780000.00 | 432000.00 | SITRA INFOTECH PVT. LTD.
55.00 | Installation testing & commissioning of Instrumentation Cable | 1500.00 | mtrs |  | 54.00 | 81000.00 | 250.00 | 375000.00 | 239.00 | 358500.00 | 81000.00 | SITRA INFOTECH PVT. LTD.
56.00 | Installation commissioning and integration of RTUs in existing SCADA Server | 1.00 | lots |  | 90000.00 | 90000.00 | 90382.00 | 90382.00 | 69999.00 | 69999.00 | 69999.00 | MAHENDRA JAGTAP
57.00 | Installation commissioning and integration of mini RTUs in existing SCADA Server | 5.00 | lots |  | 72000.00 | 360000.00 | 90382.00 | 451910.00 | 70150.00 | 350750.00 | 350750.00 | MAHENDRA JAGTAP
58.00 | Installation and integration of IP cameras in existing server for each cameras | 24.00 | nos |  | 4500.00 | 108000.00 | 18930.00 | 454320.00 | 16588.00 | 398112.00 | 108000.00 | SITRA INFOTECH PVT. LTD.
59.00 | Installation of GPRS Modems if supplied as Free Issue | 10.00 | nos |  | 2700.00 | 27000.00 | 5345.00 | 53450.00 | 5111.00 | 51110.00 | 27000.00 | SITRA INFOTECH PVT. LTD.
60.00 | Extending of leased lines for 1000 km distance including modems (one ethernet interface & one E1 interface for LAN) at both ends | 2.00 | lots |  | 12600.00 | 25200.00 | 80000.00 | 160000.00 | 129580.00 | 259160.00 | 25200.00 | SITRA INFOTECH PVT. LTD.
61.00 | Rectification of OFC including supply of joint pit with identification of fault and testing of OF cable | 10.00 | lots |  | 45000.00 | 450000.00 | 8500.00 | 85000.00 | 6000.00 | 60000.00 | 60000.00 | MAHENDRA JAGTAP
62.00 | Installation of outdoor panel | 12.00 | nos |  | 27000.00 | 324000.00 | 25000.00 | 300000.00 | 24500.00 | 294000.00 | 294000.00 | MAHENDRA JAGTAP
63.00 | Transportation charges for Free Issue Material (per Km rate to be quoted) | 2000.00 | Kms |  | 72.00 | 144000.00 | 38.00 | 76000.00 | 36.00 | 72000.00 | 72000.00 | MAHENDRA JAGTAP
64.00 | Laying of OFC through HDD method | 1000.00 | mtrs |  | 144.00 | 144000.00 | 265.00 | 265000.00 | 290.00 | 290000.00 | 144000.00 | SITRA INFOTECH PVT. LTD.
65.00 | Laying of OFC through direct trench method | 2000.00 | mtrs |  | 90.00 | 180000.00 | 258.00 | 516000.00 | 250.00 | 500000.00 | 180000.00 | SITRA INFOTECH PVT. LTD.
66.00 | Point to Point Radio communication (2.4/5.8 GHz licence free ISM band) | 3.00 | months |  | 12600.00 | 37800.00 | 98000.00 | 294000.00 | 147700.00 | 443100.00 | 37800.00 | SITRA INFOTECH PVT. LTD.
67.00 | Laying of OFC Cable ( if OFC supplied as free issue by GAIL) | 1000.00 | mtrs |  | 72.00 | 72000.00 | 160.00 | 160000.00 | 180.00 | 180000.00 | 72000.00 | SITRA INFOTECH PVT. LTD.
68.00 | Blowing of OFC in duct | 1000.00 | mtrs |  | 90.00 | 90000.00 | 70.00 | 70000.00 | 65.00 | 65000.00 | 65000.00 | MAHENDRA JAGTAP
69.00 | Manday Charges [Post-installation manday charges for RTU/Telecom works on an on-call basis, including troubleshooting, system calibration, software updates, configuration adjustments, and performance optimization.”] | 10.00 | manday |  | 14400.00 | 144000.00 | 5000.00 | 50000.00 | 5000.00 | 50000.00 | 50000.00 | MAHENDRA JAGTAP, ADITEL COMMUNICATIONS
70.00 | Total amount excluding GST
71.00 | GST (CGST&SGST/UTGST or IGST) in percentage (%) on Net Total Amount | 1.00 | percentage |  | 18.00 | 7140312.00 | 18.00 | 8078124.96 | 18.00 | 7742115.36 | 7140312.00 | SITRA INFOTECH PVT. LTD.
| Total in Figures |  |  |  |  | 46808712.00 |  | 52956596.96 |  | 50753867.36
Lowest Amount Quoted BY: SITRA INFOTECH PVT. LTD.(46808712.00)

## BOQ Summary
BOQ Summary Details Tender Title: SUPPLY AND INSTALLATION OF TELECOM AND SCADA EQUIPMENTS FOR EXTENDING DATA CONNECTIVITY TO UPCOMING LMCS IN NORTHERN REGION ON ARC BASIS Tender ID: 2025_GAIL_250504_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SITRA INFOTECH PVT. LTD. (BID ID -920220) | 46808712.00 | L1
| 2 | MAHENDRA JAGTAP (BID ID -920424) | 50753867.36 | L2
| 3 | ADITEL COMMUNICATIONS (BID ID -920448) | 52956596.96 | L3

## Preferential Bidder BOQ Summary
Preferential Bidder Non-Itemwise BOQ Summary Details Tender Title: SUPPLY AND INSTALLATION OF TELECOM AND SCADA EQUIPMENTS FOR EXTENDING DATA CONNECTIVITY TO UPCOMING LMCS IN NORTHERN REGION ON ARC BASIS Tender ID: 2025_GAIL_250504_1
Sheet Name | Sl.No | Bidder Name | Amount | Difference Amount from L1 | Difference Percentage from L1 | Tolerance Percentage | Preference Category
BoQ1 | 1 | SITRA INFOTECH PVT. LTD. (BID ID -920220) | 46808712.00
| 2 | MAHENDRA JAGTAP (BID ID -920424) | 50753867.36
| 3 | ADITEL COMMUNICATIONS (BID ID -920448) | 52956596.96