## BoQ1
Government eProcurement System Created By: AJAY KUMAR MEENA Created Date/Time: 10-Dec-2025 11:28 AM Tender Title: CONSTRUCTION OF MULTI-PURPOSE INDOOR SPORTS FACILITY Tender ID: 2025_GAIL_253729_1
Tender Inviting Authority: GAIL (INDIA) LIMITED, VADODARA
Name of Work: CONSTRUCTION OF MULTI-PURPOSE INDOOR SPORTS FACILITY AT GAIL RPNHQ, VADODARA
Tender No: GAIL/BDA/CNP/AKM/W-23/25 (TENDER ID: 2025_GAIL_253729_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHARDA INFRA ENGINEERS PVT LTD (GSTN-07AAPCS8168P1Z7) BID ID -929561 |  | PAINT CORPORATION (GSTN-24AHXPS1652A1ZA) BID ID -930632 |  | Natavarlal M Patel (GSTN-24AAJFN2346P2ZV) BID ID -931293
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Total Amount of BOQ 2 Please enter GST in % in N column on total Amount | 1.00 | Total |  | 36269534.06 | 42798050.19 | 37203655.40 | 43900313.37 | 36666328.96 | 43266268.17 | 42798050.19 | SHARDA INFRA ENGINEERS PVT LTD
2.00 | Total Amount of BOQ 3 Please enter GST in % in N column on total Amount | 1.00 | Total |  | 10664025.00 | 12583549.50 | 7573314.00 | 8936510.52 | 7503395.00 | 8854006.10 | 8854006.10 | Natavarlal M Patel
| Total in Figures |  |  |  |  | 55381599.69 |  | 52836823.89 |  | 52120274.27
Lowest Amount Quoted BY: Natavarlal M Patel(52120274.27)

## BoQ2
Government eProcurement System Created By: AJAY KUMAR MEENA Created Date/Time: 10-Dec-2025 11:28 AM Tender Title: CONSTRUCTION OF MULTI-PURPOSE INDOOR SPORTS FACILITY Tender ID: 2025_GAIL_253729_1
Tender Inviting Authority: GAIL (INDIA) LIMITED, VADODARA
Name of Work: CONSTRUCTION OF MULTI-PURPOSE INDOOR SPORTS FACILITY AT GAIL RPNHQ, VADODARA
Tender No: GAIL/BDA/CNP/AKM/W-23/25 (TENDER ID: 2025_GAIL_253729_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Bidder Name | Estimated Rate | Quoted Percentage | Quoted Rate in Figures and Words (Iteration 0)
|  |  |  | Rate | Amount
1.00 | SHARDA INFRA ENGINEERS PVT LTD (GSTN-07AAPCS8168P1Z7) BID ID -929561 | 41332802.35 | -12.25 | 36269534.06 | Three Crore Sixty Two Lakh Sixty Nine Thousand Five Hundred and Thirty Four
2.00 | PAINT CORPORATION (GSTN-24AHXPS1652A1ZA) BID ID -930632 | 41332802.35 | -9.99 | 37203655.40 | Three Crore Seventy Two Lakh Three Thousand Six Hundred and Fifty Five
3.00 | Natavarlal M Patel (GSTN-24AAJFN2346P2ZV) BID ID -931293 | 41332802.35 | -11.29 | 36666328.96 | Three Crore Sixty Six Lakh Sixty Six Thousand Three Hundred and Twenty Eight
Lowest Amount Quoted BY: SHARDA INFRA ENGINEERS PVT LTD(36269534.06)

## BoQ3
Government eProcurement System Created By: AJAY KUMAR MEENA Created Date/Time: 10-Dec-2025 11:28 AM Tender Title: CONSTRUCTION OF MULTI-PURPOSE INDOOR SPORTS FACILITY Tender ID: 2025_GAIL_253729_1
Tender Inviting Authority: GAIL (INDIA) LIMITED, VADODARA
Name of Work: CONSTRUCTION OF MULTI-PURPOSE INDOOR SPORTS FACILITY AT GAIL RPNHQ, VADODARA
Tender No: GAIL/BDA/CNP/AKM/W-23/25 (TENDER ID: 2025_GAIL_253729_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHARDA INFRA ENGINEERS PVT LTD (GSTN-07AAPCS8168P1Z7) BID ID -929561 |  | PAINT CORPORATION (GSTN-24AHXPS1652A1ZA) BID ID -930632 |  | Natavarlal M Patel (GSTN-24AAJFN2346P2ZV) BID ID -931293
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
109.00 | FIRE AND ELECTRICAL WORKS Supply, installation, testing and commissioning of Microprocessor based Intelligent addressable main fire alarm control panel (FACP) central processing unit with the following loop modules and capable of supporting not less than 240 devices(including detectors) and minimum 120 detectors per loop and loop length upto 2 km, network communication card, min. 320 characters graphics/LCD display with touch screen or other keypad and min. 4000 events history logs in the non volatile memory(EPROM), power supply unit 48 hrs. back up with 24volt sealed maintainence free battery with automatic charger. the panel shall have facility to connect printer to print out log and facility to have seamless integration with analog/digital voice evacuation system and shall be complete with all accessories. the panel shall be compatable for IBMS system with open protocol BACNet/Modbus over IP complete as per specifications.
109.10 | 2 Loop Panel | 1.00 | NOS | 232765.92 | 250000.00 | 250000.00 | 120000.00 | 120000.00 | 400000.00 | 400000.00 | 120000.00 | PAINT CORPORATION
110.00 | Supply, installation, testing and commissioning of Repeater Panel with 320 character/Touch screen LCD display with inbuilt reset, acknowledge and silence switches complete as required. | 1.00 | NOS | 105753.42 | 235000.00 | 235000.00 | 70200.00 | 70200.00 | 200000.00 | 200000.00 | 70200.00 | PAINT CORPORATION
111.00 | Supply, installation, testing and commissioning of intelligent Analog Addressable photothermal detector complete with mounting base complete as required. | 76.00 | NOS | 2780.83 | 4500.00 | 342000.00 | 2600.00 | 197600.00 | 4900.00 | 372400.00 | 197600.00 | PAINT CORPORATION
112.00 | Supply, installation, testing and commissioning of fault isolator complete with mounting base complete as required. | 6.00 | NOS | 3181.71 | 3500.00 | 21000.00 | 2600.00 | 15600.00 | 27000.00 | 162000.00 | 15600.00 | PAINT CORPORATION
113.00 | Supply, installation, testing and commissioning of addressable fire control module complete as required. | 4.00 | NOS | 2921.91 | 6500.00 | 26000.00 | 4000.00 | 16000.00 | 100000.00 | 400000.00 | 16000.00 | PAINT CORPORATION
114.00 | Supply, installation, testing and commissioning of addressable phone control module complete as required. | 2.00 | NOS | 3178.79 | 6000.00 | 12000.00 | 4000.00 | 8000.00 | 200000.00 | 400000.00 | 8000.00 | PAINT CORPORATION
115.00 | Supply, installation, testing and commissioning of Addressable Manual call point complete as required. | 2.00 | NOS | 3766.48 | 3500.00 | 7000.00 | 2850.00 | 5700.00 | 17000.00 | 34000.00 | 5700.00 | PAINT CORPORATION
116.00 | Supply, installation, testing and commissioning of Fire fighter telephone handset complete as required. | 1.10 | NOS. | 5585.02 | 4000.00 | 4400.00 | 6500.00 | 7150.00 | 100000.00 | 110000.00 | 4400.00 | SHARDA INFRA ENGINEERS PVT LTD
117.00 | Supply, installation, testing and commissioning of Intelligent Addressable programmable sounder complete as required. | 1.00 | NOS | 2579.42 | 6500.00 | 6500.00 | 4150.00 | 4150.00 | 15000.00 | 15000.00 | 4150.00 | PAINT CORPORATION
118.00 | Supply and laying 2x15 sq.mm Fire survival armoured cable 600/1000V rated with annealed copper conductor having glass mica fire barrier tape covered by an extruded layer of cross linkable ethylene proplyene rubber insulation and LSZH inner bedding, steel wire armouring & LSZH outer sheath complete as required. | 1520.00 | MTR | 349.30 | 350.00 | 532000.00 | 155.00 | 235600.00 | 100.00 | 152000.00 | 152000.00 | Natavarlal M Patel
119.00 | Providing and fixing PVC insulated copper conductor ISI marked armoured cable (IS:1554) 4 x 1.5 sq mm complete with neccessary saddling and clamping complete - as actual quantity measured. (From FACP Panel to Repeter Panel at Security - Legnth assumed) | 400.00 | MTR. | 472.00 | 175.00 | 70000.00 | 245.00 | 98000.00 | 140.00 | 56000.00 | 56000.00 | Natavarlal M Patel
120.00 | Fire Fighting:- Providing, laying, testing & commissioning of 'B' class medium duty G.I. pipe conforming to IS 1239 including welding, fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade comolete as required :
120.10 | 25mm | 84.00 | RM |  | 400.00 | 33600.00 | 410.00 | 34440.00 | 450.00 | 37800.00 | 33600.00 | SHARDA INFRA ENGINEERS PVT LTD
120.20 | 50mm | 57.00 | RM |  | 650.00 | 37050.00 | 860.00 | 49020.00 | 700.00 | 39900.00 | 37050.00 | SHARDA INFRA ENGINEERS PVT LTD
120.30 | 80mm | 60.00 | RM |  | 950.00 | 57000.00 | 1020.00 | 61200.00 | 900.00 | 54000.00 | 54000.00 | Natavarlal M Patel
120.40 | 100mm | 43.00 | RM |  | 1200.00 | 51600.00 | 1350.00 | 58050.00 | 1400.00 | 60200.00 | 51600.00 | SHARDA INFRA ENGINEERS PVT LTD
120.50 | 150mm | 108.00 | RM |  | 1600.00 | 172800.00 | 2250.00 | 243000.00 | 2100.00 | 226800.00 | 172800.00 | SHARDA INFRA ENGINEERS PVT LTD
121.00 | Supplying and fixing single headed internal hydrant valve with instantaneous Gunmetal/Stainless Steel coupling of 63 mm dia with cast iron wheel ISi marked conforming to IS 5290 (Type -A) with blank Gunmetal/Stainless Steel cap and chain as required :
121.10 | Single headed Gun Metal | 6.00 | SET |  | 7500.00 | 45000.00 | 8500.00 | 51000.00 | 7800.00 | 46800.00 | 45000.00 | SHARDA INFRA ENGINEERS PVT LTD
122.00 | Supplying and fixing Single headed external yard hydrant valve with 1 No. 63 mm dia instantaneous FM Gunmetal/Stainless Steel coupling and cast iron wheel, ISi marked, conforming to IS 5290 (type A) with blank Gunmetal/Stainless Steel cap and chain as reauired :
122.10 | Single headed Gun Metal | 4.00 | SET | 7439.55 | 10000.00 | 40000.00 | 8500.00 | 34000.00 | 7800.00 | 31200.00 | 31200.00 | Natavarlal M Patel
123.00 | Supplying, fixing, testing and commissioning of butterfly valve of PN 1.6 rating with bronze/gunmetal seat duly ISi marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of following sizes as required :
123.10 | 80mm | 2.00 | SET | 4847.48 | 8500.00 | 17000.00 | 5850.00 | 11700.00 | 500.00 | 1000.00 | 1000.00 | Natavarlal M Patel
123.20 | 150mm | 2.00 | SET | 6486.99 | 12500.00 | 25000.00 | 12350.00 | 24700.00 | 8000.00 | 16000.00 | 16000.00 | Natavarlal M Patel
124.00 | Supplying and fixing first-aid Hose Reel with MS construction spray painted in post office red, conforming to IS 884 complete with the followinq as required. 20 mm nominal internal dia water hose thermoplastic (Textile reinforced) type -2 as per IS: 12585 20 mm nominal internal dia gun metal globe valve & nozzle. Drum and brackets for fixing the equipmets on wall. Connections from riser with 25 mm dia stop gun metal valve & M.S. Pipe and socket.
124.10 | 30 Mtr. | 4.00 | SET |  | 10000.00 | 40000.00 | 7250.00 | 29000.00 | 7000.00 | 28000.00 | 28000.00 | Natavarlal M Patel
125.00 | Providing, fixing, testing & commissioning of 15mm dia quartzoid bulb type sprinklers of rating 68 degree centigrade with required accessories :
125.10 | Pendent Sprinkler | 76.00 | NOS |  | 450.00 | 34200.00 | 510.00 | 38760.00 | 500.00 | 38000.00 | 34200.00 | SHARDA INFRA ENGINEERS PVT LTD
126.00 | Supplying, installation, testing & commissioning of sprinkler flexible pipe (UL Listed) of stainless steel complete with 15 NPT on reducer thread with maximum working pressure of 175 PSI test pressure of 875 PSI (Burst) with branch line {Inlet) 25mm NPT male thread to sprinkler head (Outlet) 15mm NPT female thread with reducer, nipple, 2 side brackets, center bracket, stockbar of following sizes comolete as reauired.
126.10 | 1200mm | 76.00 | SET |  | 2250.00 | 171000.00 | 2450.00 | 186200.00 | 3200.00 | 243200.00 | 171000.00 | SHARDA INFRA ENGINEERS PVT LTD
127.00 | Supply and installation of CO2 – 4.5 Kg cylinder along with stand confirming to IS 15683 complete in all respects. | 6.00 | SET |  | 4000.00 | 24000.00 | 4850.00 | 29100.00 | 7000.00 | 42000.00 | 24000.00 | SHARDA INFRA ENGINEERS PVT LTD
128.00 | Liasioning and will take necessary Statuary Approvals, NoCs, Advisory, Clearance etc. from all concern Local Authorities / Departments, if any, required before start of the work, during the work, after execution of work & before handing over. | 1.00 | LS |  | 625000.00 | 625000.00 | 17500.00 | 17500.00 | 30000.00 | 30000.00 | 17500.00 | PAINT CORPORATION
129.00 | Wiring for light point/fan point/exhaust fan point/call bell point with 1.5 sqmm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate,, suitable GI box and earthing the point with 1.5 sqmm FRLS PVC insulated copper conductor single core cable etc. as required.
129.10 | Group C | 187.00 | POINTS |  | 925.00 | 172975.00 | 430.00 | 80410.00 | 750.00 | 140250.00 | 80410.00 | PAINT CORPORATION
130.00 | Wiring for Twin control light point light with 1.5 sqmm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with 2 way modular switch, modular plate,, suitable GI box and earthing the point with 1.5 sqmm FRLS PVC insulated copper conductor single core cable etc. as required. | 10.00 | POINTS |  | 1250.00 | 12500.00 | 650.00 | 6500.00 | 1200.00 | 12000.00 | 6500.00 | PAINT CORPORATION
131.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection, painting etc. as required. | 155.00 | NOS |  | 500.00 | 77500.00 | 405.00 | 62775.00 | 450.00 | 69750.00 | 62775.00 | PAINT CORPORATION
132.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 15/16 & 5/6 amps modular socket outlet and 15/16 amps modular switch, connection, painting etc. as required. | 20.00 | NOS |  | 850.00 | 17000.00 | 550.00 | 11000.00 | 850.00 | 17000.00 | 11000.00 | PAINT CORPORATION
133.00 | Supply and fixing of two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 14.00 | NOS |  | 500.00 | 7000.00 | 400.00 | 5600.00 | 450.00 | 6300.00 | 5600.00 | PAINT CORPORATION
134.00 | Wiring for Submain/Circuit wiring alongwith earth wire with the following sizes of FRLS PVC insulated, copper conductor single core cable in surface/ recessed medium class PVC conduit as required.
134.10 | 2X1.5 sq. mm + 1X1.5 sq. mm Earth wire. | 325.00 | RM |  | 140.00 | 45500.00 | 75.00 | 24375.00 | 180.00 | 58500.00 | 24375.00 | PAINT CORPORATION
134.20 | 2X2.5 sq. mm + 1X2.5 sq. mm Earth wire. | 900.00 | RM |  | 200.00 | 180000.00 | 85.00 | 76500.00 | 240.00 | 216000.00 | 76500.00 | PAINT CORPORATION
134.30 | 2X4.0 sq. mm + 1X4.0 sq. mm Earth wire. | 300.00 | RM |  | 300.00 | 90000.00 | 130.00 | 39000.00 | 300.00 | 90000.00 | 39000.00 | PAINT CORPORATION
134.40 | 4X4.0 sq. mm + 2X4.0 sq. mm Earth wire. | 25.00 | RM |  | 450.00 | 11250.00 | 200.00 | 5000.00 | 460.00 | 11500.00 | 5000.00 | PAINT CORPORATION
135.00 | Supplying,installation,Testing and commissioning of Main and sub panels as per drawing and specifications. Panel should be dust and vermin proof (IP-52). Panel shall be fabricated from 14 /16 SWG CRCA sheet metal duly painted with seven tank process and poweder coated of approved paints. Panel consisting of following. Note : All MCCBs shall be Ics = 100 % Icu and to be adjustables. All MCB shall be 10kA - C-Curve, All ACBs shall be Icu=Ics=Icw for 1 Sec. MAIN PANEL (At 7th Floor Elect Rm) Incomer : 400 A FP MCCB, 35 kA, T/M - 1 No. incomer shall be inbuilt protection of S/C, O/C and E/F protection with SPD - 400 A, 440V, FP, Copper. Busbars(connections shall be done with bimetallic lugs) - 40 x 6 mm Copper Earth Busbars - CTs with MFM - indicating lamps Outgoing Feeders : - 250 A TPN MCCB, 25 kA, T/M (2 nos.) - 80 A FP MCCB, 25 kA, T/M (2 nos.) - 40 A FP MCB, 10 kA (10 nos.) - 6A - 32 A FP MCB, 10 kA (2 nos.) | 1.00 | EACH |  | 425000.00 | 425000.00 | 700000.00 | 700000.00 | 100000.00 | 100000.00 | 100000.00 | Natavarlal M Patel
136.00 | Supplying and fixing following way, Horizontal type three pole and neutral,prewired, sheet steel, MCB distribution board, 415 volts,on surface /recess, complete with tinned copper busbar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required (But without MCB / RCCB / Isolators).
136.10 | 4 way (4 + 12), Double door, horizontal type | 3.00 | EACH |  | 3000.00 | 9000.00 | 2500.00 | 7500.00 | 4000.00 | 12000.00 | 7500.00 | PAINT CORPORATION
136.20 | 6 way (4 + 18), Double door, horizontal type | 3.00 | EACH |  | 3500.00 | 10500.00 | 2900.00 | 8700.00 | 6000.00 | 18000.00 | 8700.00 | PAINT CORPORATION
136.30 | 8 way (4 + 24), Double door, horizontal type | 2.00 | EACH |  | 5000.00 | 10000.00 | 3500.00 | 7000.00 | 8000.00 | 16000.00 | 7000.00 | PAINT CORPORATION
137.00 | Supplying and fixing following rating, double pole, (single phase and neutral) 240 volts, residual current circuit breaker (RCCB), having a sensivity current 30/100/300 miliampere(as per load) in the existing MCB DB complete with connections,testing and commissioning etc. as required :
137.10 | 25 Amps | 9.00 | EACH |  | 950.00 | 8550.00 | 1580.00 | 14220.00 | 1800.00 | 16200.00 | 8550.00 | SHARDA INFRA ENGINEERS PVT LTD
137.20 | 40 Amps | 15.00 | EACH |  | 1200.00 | 18000.00 | 1950.00 | 29250.00 | 2200.00 | 33000.00 | 18000.00 | SHARDA INFRA ENGINEERS PVT LTD
138.00 | Supplying and fixing following rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
138.10 | 40 Amps | 6.00 | EACH |  | 750.00 | 4500.00 | 1111.00 | 6666.00 | 650.00 | 3900.00 | 3900.00 | Natavarlal M Patel
138.20 | 63 Amps | 2.00 | EACH |  | 1000.00 | 2000.00 | 1540.00 | 3080.00 | 785.00 | 1570.00 | 1570.00 | Natavarlal M Patel
139.00 | Supplying and fixing 5 amps. to 32 amps. rating, 240/415 volts `C' series, miniature circuit breaker (MCB)suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
139.10 | Single Pole | 66.00 | EACH |  | 200.00 | 13200.00 | 130.00 | 8580.00 | 100.00 | 6600.00 | 6600.00 | Natavarlal M Patel
140.00 | Supplying and Earthing with GI earth pipe, 4.5mtr long, 40mm dia including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe etc, (with charcoal and salt ) as required. | 4.00 | NOS |  | 10000.00 | 40000.00 | 8500.00 | 34000.00 | 25000.00 | 100000.00 | 34000.00 | PAINT CORPORATION
141.00 | Supply and laying of following Hot deep G.I. Earth strip or copper earth strip for earthing with all required jointing / cutting / welding complete with all hardwares and all welded joints to be painted with black bitumin paints and to be wraped with jute complete to the satisfaction of E.I.C
141.10 | 40 x 6 mm GI earthing strip | 100.00 | MTRS |  | 150.00 | 15000.00 | 185.00 | 18500.00 | 100.00 | 10000.00 | 10000.00 | Natavarlal M Patel
142.00 | Supply, laying, installing and commissioning of following size PVC insulated wire including end terminations with bimetallic type lugs as per the requiements with each piece of cable etc. complete for earthing duly clamped / laid in existing conduit / trunking cable tray etc complete
142.10 | 4.0 sq.mm in green colour | 300.00 | MTRS |  | 135.00 | 40500.00 | 45.00 | 13500.00 | 90.00 | 27000.00 | 13500.00 | PAINT CORPORATION
143.00 | Supply, laying with excavation and backfilling of cable trench/tray as specified in General specification of Erection, Installation, Testing & commisioning of Electrical Equipments/ Cable route layout , termination , erection and testing of 1.1 KV Power FRLS XLPE Cables . Outdoor cable will be laid in buried cable trench and via HDPE duct laying and in Indoor application it will be in Cable trench by provision of Cable tray and supports inside the trench as per cable and Accessories.
143.10 | 3.5 C x 185 Sq.mm A2XFY Cable | 100.00 | RM |  | 1500.00 | 150000.00 | 1150.00 | 115000.00 | 1100.00 | 110000.00 | 110000.00 | Natavarlal M Patel
143.20 | 4 C x 16 Sq.mm Cu 2XFY Cable | 50.00 | RM |  | 250.00 | 12500.00 | 1300.00 | 65000.00 | 750.00 | 37500.00 | 12500.00 | SHARDA INFRA ENGINEERS PVT LTD
143.30 | 4 C x 4 Sq.mm Cu 2XWY Cable | 235.00 | RM |  | 100.00 | 23500.00 | 600.00 | 141000.00 | 390.00 | 91650.00 | 23500.00 | SHARDA INFRA ENGINEERS PVT LTD
143.40 | 4 C x 2.5 Sq.mm Cu 2XWY Cable | 230.00 | RM |  | 80.00 | 18400.00 | 495.00 | 113850.00 | 290.00 | 66700.00 | 18400.00 | SHARDA INFRA ENGINEERS PVT LTD
143.50 | 3 C x 2.5 Sq.mm Cu 2XWY Cable | 35.00 | RM |  | 75.00 | 2625.00 | 350.00 | 12250.00 | 265.00 | 9275.00 | 2625.00 | SHARDA INFRA ENGINEERS PVT LTD
143.60 | 3 C x 1.5 Sq.mm Cu 2XWY Cable | 20.00 | RM |  | 65.00 | 1300.00 | 315.00 | 6300.00 | 240.00 | 4800.00 | 1300.00 | SHARDA INFRA ENGINEERS PVT LTD
144.00 | Supplying and making end terminations with brass compression glands and aluminium/copper lugs for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required.
144.10 | 3.5 x 185 sq.mm. Aluminium Cable | 6.00 | NOS |  | 3000.00 | 18000.00 | 650.00 | 3900.00 | 500.00 | 3000.00 | 3000.00 | Natavarlal M Patel
144.20 | 4 C x 16 Sq.mm Cu 2XFY Cable | 4.00 | NOS |  | 550.00 | 2200.00 | 110.00 | 440.00 | 300.00 | 1200.00 | 440.00 | PAINT CORPORATION
144.30 | 4 C x 4 Sq.mm Cu 2XWY Cable | 16.00 | NOS |  | 350.00 | 5600.00 | 100.00 | 1600.00 | 300.00 | 4800.00 | 1600.00 | PAINT CORPORATION
144.40 | 4 C x 2.5 Sq.mm Cu 2XWY Cable | 2.00 | NOS |  | 250.00 | 500.00 | 100.00 | 200.00 | 200.00 | 400.00 | 200.00 | PAINT CORPORATION
144.50 | 3 C x 1.5 Sq.mm Cu 2XWY Cable | 48.00 | NOS |  | 200.00 | 9600.00 | 80.00 | 3840.00 | 200.00 | 9600.00 | 3840.00 | PAINT CORPORATION
145.00 | Supply, erection, fabrication and jointing of following size GI hot dip galvanized cable tray with cover and all accessories such as bends / cross / reducers / Tee, with covers or without covers and clamps, GI hardwares, other accessories etc. as per drawing and specification complete in line and level etc. complete to the satisfaction of EIC (Galvanisation thickness shall not been less than 75 micron)
145.10 | 100 x 25 x 2.0 mm Perforated cable tray with 110 x 10 x 2.0 mm plain GI hotdeep cover | 20.00 | RM |  | 2000.00 | 40000.00 | 400.00 | 8000.00 | 300.00 | 6000.00 | 6000.00 | Natavarlal M Patel
145.20 | 150 x 50 x 2.0 mm Ladder type cable tray | 20.00 | RM |  | 3000.00 | 60000.00 | 600.00 | 12000.00 | 500.00 | 10000.00 | 10000.00 | Natavarlal M Patel
146.00 | Supply, erection, fabrication, cutting, welding and installation of structural steel using m.s. angles, flats, channels etc. as per drawing and specification with one coat of red-oxide paints and two coats of approved enamel paints with all hardwares such as anchor fastners, GI nutbolts and washers etc. complete to the satisfaction of EIC. | 150.00 | RM |  | 500.00 | 75000.00 | 450.00 | 67500.00 | 100.00 | 15000.00 | 15000.00 | Natavarlal M Patel
147.00 | Supply and installation of 100 mm x 100 mm x 60 mm junction box as per drawing. Junction box duly fabricated from 16 SWG hot deep G.I. sheet with top cover of 16 SWG hot deep GI cover plate, neo-prene gasket inside, all required hardwares, necessary knock-out all sides suitable for 4 x 4 / 3 x 2.5 sq.mm Cu. YWY / 2XWY cables glanding complete with 15 A terminals inside the junction complete to be installed on wall / RCC / steel structure with necessary drilling / welding etc. complete to the satisfaction of EIC | 16.00 | NOS |  | 650.00 | 10400.00 | 650.00 | 10400.00 | 100.00 | 1600.00 | 1600.00 | Natavarlal M Patel
148.00 | Supply, Installation, testing and commissioning of following Light fixtures etc. Including supply and installation of flexible cords, ball sockets, down rods, hardwares etc. Excluding supply and fabrication of structural steel supports for industrial fixtures in plant bldgs. but inclusive of erection of fixtures with all necessary structural steel supports and to be welded or nut-bolting with all necessary fabrication and drilling etc.complete. (Structural steel supports shall measure and paid extra as per the item in this tender).
148.10 | 155 W, 20000 Lumens LED Flood light fixture complete with all assembly lamp, drivers etc. | 16.00 | NOS |  | 5000.00 | 80000.00 | 8370.00 | 133920.00 | 10000.00 | 160000.00 | 80000.00 | SHARDA INFRA ENGINEERS PVT LTD
148.20 | 12 W Recessed false ceiling mounted 1200 Lumens LED downlight fixture with necessay assembly lamp, drivers, diffuser etc complete | 100.00 | NOS |  | 600.00 | 60000.00 | 500.00 | 50000.00 | 650.00 | 65000.00 | 50000.00 | PAINT CORPORATION
148.30 | 6 W Recessed false ceiling mounted 600 Lumens LED downlight fixture with necessay assembly lamp, drivers, diffuser etc complete | 11.00 | NOS |  | 500.00 | 5500.00 | 400.00 | 4400.00 | 450.00 | 4950.00 | 4400.00 | PAINT CORPORATION
148.40 | 20W, 2200 Lumens, 1200 mm long LED batten light fixture surface mounted with in-built driver etc complete | 11.00 | NOS |  | 500.00 | 5500.00 | 368.00 | 4048.00 | 600.00 | 6600.00 | 4048.00 | PAINT CORPORATION
149.00 | Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min , 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | 14.00 | NOS |  | 5000.00 | 70000.00 | 3900.00 | 54600.00 | 2400.00 | 33600.00 | 33600.00 | Natavarlal M Patel
150.00 | Supply and laying 2x15 sq.mm Fire survival armoured cable 600/1000V rated with annealed copper conductor having glass mica fire barrier tape covered by an extruded layer of cross linkable ethylene proplyene rubber insulation and LSZH inner bedding, steel wire armouring & LSZH outer sheath complete as required. | 1520.00 | MTR |  | 725.00 | 1102000.00 | 572.00 | 869440.00 | 100.00 | 152000.00 | 152000.00 | Natavarlal M Patel
151.00 | Providing and fixing PVC insulated copper conductor ISI marked armoured cable (IS:1554) 4 x 1.5 sq mm complete with neccessary saddling and clamping complete - as actual quantity measured. (From FACP Panel to Repeter Panel at Security - Legnth assumed) | 400.00 | MTR. |  | 150.00 | 60000.00 | 300.00 | 120000.00 | 140.00 | 56000.00 | 56000.00 | Natavarlal M Patel
152.00 | Supply and Laying of 2 core x 1.5 sqmm pvc insulated copper conductor for communication and wired remote controller in PVC Conduit for VRF units | 175.00 | RMT |  | 75.00 | 13125.00 | 55.00 | 9625.00 | 120.00 | 21000.00 | 9625.00 | PAINT CORPORATION
153.00 | Supply and Laying of 3 core x 2.5 sqmm pvc insulated copper conductor cable for indoor units in PVC Conduit | 40.00 | RMT |  | 125.00 | 5000.00 | 110.00 | 4400.00 | 200.00 | 8000.00 | 4400.00 | PAINT CORPORATION
154.00 | Supply and Laying of 3 core x 4.0 sqmm pvc insulated copper conductor cable for indoor units in PVC Conduit | 150.00 | RMT |  | 180.00 | 27000.00 | 155.00 | 23250.00 | 270.00 | 40500.00 | 23250.00 | PAINT CORPORATION
156.00 | 4core x 10sqmm pvc insulated copper conductor cable | 100.00 | RMT |  | 350.00 | 35000.00 | 568.00 | 56800.00 | 500.00 | 50000.00 | 35000.00 | SHARDA INFRA ENGINEERS PVT LTD
157.00 | 4core x 16sqmm pvc insulated copper conductor cable | 40.00 | RMT |  | 500.00 | 20000.00 | 721.00 | 28840.00 | 650.00 | 26000.00 | 20000.00 | SHARDA INFRA ENGINEERS PVT LTD
158.00 | Supply and fixing of fololowing rating 30mA RCBO with waether proof box
158.10 | 25A | 14.00 | NOS |  | 1600.00 | 22400.00 | 3000.00 | 42000.00 | 4000.00 | 56000.00 | 22400.00 | SHARDA INFRA ENGINEERS PVT LTD
158.20 | 40A | 1.00 | NOS |  | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 4500.00 | 4500.00 | 2000.00 | SHARDA INFRA ENGINEERS PVT LTD
158.30 | 63A | 2.00 | NOS |  | 2500.00 | 5000.00 | 3900.00 | 7800.00 | 5000.00 | 10000.00 | 5000.00 | SHARDA INFRA ENGINEERS PVT LTD
159.00 | LIASIONING :
160.00 | scope of work a. Prepare and submission of application at Electrical Inspectorate. b. Approval of Drawings. c. Arrange for Ele. Inspector site inspection. d. Receipt of NOC and submit at MGVCL for further action. Liasoning work with MGVCL as per scope of work a. Registration of application. b. Arranging for technical feasibility site survey from M/s MGVCL c. Obtaining detailed estimate from M/s MGVCL. d. Arranging for payment of estimation and Execution of agreement with M/s MGVCL. e. Release of power on proposed place from M/s MGVCL EI complete in all respects. | 1.00 | LS |  | 125000.00 | 125000.00 | 150000.00 | 150000.00 | 30000.00 | 30000.00 | 30000.00 | Natavarlal M Patel
161.00 | HVAC WORKS
161.10 | Supply, Installation, Testing and Commissioning of Top Discharge Variable Refrigerant Flow air-conditioning units with 100% Inverter type compressor, Heat-pump type, air cooled condenser with low noise fan having interconnected control wiring and refrigerant piping housed in compact housing duly powder coated of following capacities All compressors shall be inverter type. The condensing units shall be suitable to work on cooling as well as heating mode. The condensing units shall be suitable for operation on 415 ±10% volts, 50Hz, 3 phase AC power supply and complete with auto check function for connection error, auto address setting, etc. The outdoor units shall be low noise type. outdoor units shall be of following capacities: (min. BEE3)
161.20 | 40HP | 1.00 | NOS |  | 1850000.00 | 1850000.00 | 1078560.00 | 1078560.00 | 800000.00 | 800000.00 | 800000.00 | Natavarlal M Patel
162.00 | Supply of VRV indoor air-conditioning unit of below mentioned capacity suitable to operate from 230+10% volt, 50 Hz, 1/3 phase power supply, with air-cooled evaporator with coil, fan, and fan motor, air-cooled condenser with thermetically sealed scroll/rotary type compressor condenser coil, propeller fans controls, control panel, drain pan. The charging of ref/oil if required shall be included in the cost. The Unit should be 3 Star rated (on the date of procurements the minimum EER value of the units should be as per BEE Standard) with suitable electrical starter, etc. of the following capacities.
162.10 | Ductable Type (8.0 TR) | 4.00 | NO. |  | 365000.00 | 1460000.00 | 172700.00 | 690800.00 | 78000.00 | 312000.00 | 312000.00 | Natavarlal M Patel
163.00 | Supply, Installation, Testing and Commissioning of Wall Mounted Split type Indoor Unit along with necessary arrangement
163.10 | 1.6Tr | 2.00 | NOS |  | 125000.00 | 250000.00 | 40000.00 | 80000.00 | 24700.00 | 49400.00 | 49400.00 | Natavarlal M Patel
164.00 | Supply and Fixing of Drain Pump for Ductable and Hiwall Units | 4.00 | NOS |  | 15000.00 | 60000.00 | 4000.00 | 16000.00 | 8000.00 | 32000.00 | 16000.00 | PAINT CORPORATION
165.00 | Supply of Wireless remote | 2.00 | NOS |  | 5000.00 | 10000.00 | 1500.00 | 3000.00 | 1650.00 | 3300.00 | 3000.00 | PAINT CORPORATION
166.00 | Supply of Wired Remote | 4.00 | NOS |  | 2000.00 | 8000.00 | 2750.00 | 11000.00 | 3250.00 | 13000.00 | 8000.00 | SHARDA INFRA ENGINEERS PVT LTD
167.00 | Supply and fixing of Y joints | 6.00 | NOS |  | 3500.00 | 21000.00 | 2000.00 | 12000.00 | 5500.00 | 33000.00 | 12000.00 | PAINT CORPORATION
168.00 | Supply and fixing of ODU Joints | 2.00 | NOS |  | 6000.00 | 12000.00 | 2650.00 | 5300.00 | 8500.00 | 17000.00 | 5300.00 | PAINT CORPORATION
169.00 | Supply, installation, testing and commissioning of High Pressure Interconnecting refrigerant pipe work for VRF System with (19mm / 13mm thick) closed cell elastomeric nitrile rubber tubular insulation with reinforced aluminum foil, Thermal conductivity max. 0,037 W/(m*K) @ +20 Deg C shall be considered for selection of insulation material. Density 40-55 Kg/ Cum between indoor & outdoor units as per specifications, all piping inside the room shall be properly supported on GI Hangers and PVC sleeves shall be provided wherever pipe is crossing the wall etc. as required. Along with GI hangers, raceways must be provided for smaller dia copper pipes to avoid any sag and same should be included in cost. (vendor to verify the size of ref. pipe as/ site and OEM before execution) Complete with anti-corrosive treatment as required.
169.10 | 41.3 mm dia pipe insulated with 19 mm thick insulation | 10.00 | RMT |  | 3100.00 | 31000.00 | 2266.00 | 22660.00 | 1050.00 | 10500.00 | 10500.00 | Natavarlal M Patel
169.20 | 34.9 mm dia pipe insulated with 19 mm thick insulation | 15.00 | RMT |  | 2650.00 | 39750.00 | 1950.00 | 29250.00 | 1050.00 | 15750.00 | 15750.00 | Natavarlal M Patel
169.30 | 28.5 mm dia pipe insulated with 19 mm thick insulation | 10.00 | RMT |  | 2150.00 | 21500.00 | 1520.00 | 15200.00 | 1050.00 | 10500.00 | 10500.00 | Natavarlal M Patel
169.40 | 22.2 mm dia pipe insulated with 19 mm thick insulation | 20.00 | RMT |  | 1650.00 | 33000.00 | 1080.00 | 21600.00 | 900.00 | 18000.00 | 18000.00 | Natavarlal M Patel
169.50 | 19.1 mm dia pipe insulated with 19 mm thick insulation | 32.00 | RMT |  | 1450.00 | 46400.00 | 900.00 | 28800.00 | 850.00 | 27200.00 | 27200.00 | Natavarlal M Patel
169.60 | 15.9 mm dia pipe insulated with 13 mm thick insulation | 40.00 | RMT |  | 1200.00 | 48000.00 | 720.00 | 28800.00 | 850.00 | 34000.00 | 28800.00 | PAINT CORPORATION
169.70 | 12.7 mm dia pipe insulated with 13 mm thick insulation | 20.00 | RMT |  | 1000.00 | 20000.00 | 575.00 | 11500.00 | 705.00 | 14100.00 | 11500.00 | PAINT CORPORATION
169.80 | 9.5 mm dia pipe insulated with 13 mm thick insulation | 20.00 | RMT |  | 750.00 | 15000.00 | 475.00 | 9500.00 | 620.00 | 12400.00 | 9500.00 | PAINT CORPORATION
169.90 | 6.4 mm dia pipe insulated with 13 mm thick insulation | 20.00 | RMT |  | 650.00 | 13000.00 | 385.00 | 7700.00 | 620.00 | 12400.00 | 7700.00 | PAINT CORPORATION
170.00 | Supply and installation of 150 (w)x 100 (d) x1.6 (thickness) Ms perforated Cable Tray with cover for exposed Refrigerant copper piping. | 10.00 | RMT |  | 600.00 | 6000.00 | 680.00 | 6800.00 | 1200.00 | 12000.00 | 6000.00 | SHARDA INFRA ENGINEERS PVT LTD
171.00 | Refrigerant R-410A to top up the system | 25.00 | KGS |  | 1500.00 | 37500.00 | 1050.00 | 26250.00 | 1000.00 | 25000.00 | 25000.00 | Natavarlal M Patel
172.00 | Providing and fixing in position the following PVC Drain with all necessary fittings and joints. Quoted price shall be inclusive of 6 mm closed cell nitrile rubber pipe insulation.
172.10 | 40 mm dia drain pipe. | 10.00 | RMT |  | 300.00 | 3000.00 | 100.00 | 1000.00 | 130.00 | 1300.00 | 1000.00 | PAINT CORPORATION
172.20 | 32 mm dia drain pipe. | 35.00 | RMT |  | 275.00 | 9625.00 | 100.00 | 3500.00 | 150.00 | 5250.00 | 3500.00 | PAINT CORPORATION
172.30 | 25 mm dia drain pipes. | 25.00 | RMT |  | 225.00 | 5625.00 | 100.00 | 2500.00 | 170.00 | 4250.00 | 2500.00 | PAINT CORPORATION
172.40 | Wall Chiselling/ Opening for Drain & CU Pipe | 25.00 | RMT |  | 150.00 | 3750.00 | 100.00 | 2500.00 | 130.00 | 3250.00 | 2500.00 | PAINT CORPORATION
173.00 | Supplying, installing, testing and balancing of Galvanised Steel Sheet (Completely Factory Fabricated with TDF/Slip ON Flanges) 120 GSM seamed ducting of following thickness including necessary supports (also of galvanised steel-Make:HILTI), hangers, nuts, bolts, gaskets, splitter dampers, turning vanes, canvas connections, connection pieces of rectangular to Spiral etc. complete as per technical specifications. All archs shall have baffles inside.The bidder shall quote his rates considering elbows reducers, tees, baffles etc.The thickness of ducting shall be according to IS 655- 1963. Spacing between duct supports should not exceed 1.5m in both cases i.e GI rods or with GI "C" channels . In case of Gripple Wire Rope Hanger support for duct sizes above 1800mm, MS angles duly painted with black enamel paint should be used along with neoprene pad in between the duct & MS angle. All duct support to be provided with check nuts (lock nuts).
173.10 | 0.63MM | 130.00 | SQMT |  | 1050.00 | 136500.00 | 1100.00 | 143000.00 | 950.00 | 123500.00 | 123500.00 | Natavarlal M Patel
173.20 | 0.8MM | 10.00 | SQMT |  | 1225.00 | 12250.00 | 1245.00 | 12450.00 | 1065.00 | 10650.00 | 10650.00 | Natavarlal M Patel
173.30 | 1.0MM | 10.00 | SQMT |  | 1450.00 | 14500.00 | 1398.00 | 13980.00 | 1300.00 | 13000.00 | 13000.00 | Natavarlal M Patel
175.00 | Supplying, installing, testing and balancing of Galvanised Steel Sheet site fabricated 120 GSM seamed ducting of following thickness including necessary supports (also of galvanised steel-Make:HILTI), hangers, nuts, bolts, gaskets, splitter dampers, turning vanes, canvas connections, connection pieces of rectangular to Spiral etc. complete as per technical specifications. All archs shall have baffles inside.The bidder shall quote his rates considering elbows reducers, tees, baffles etc.The thickness of ducting shall be according to IS 655- 1963. Spacing between duct supports should not exceed 1.5m in both cases i.e GI rods or with GI "C" channels . In case of Gripple Wire Rope Hanger support for duct sizes above 1800mm, MS angles duly painted with black enamel paint should be used along with neoprene pad in between the duct & MS angle. All duct support to be provided with check nuts (lock nuts).
175.10 | 0.63MM | 50.00 | SQMT |  | 980.00 | 49000.00 | 865.00 | 43250.00 | 1830.00 | 91500.00 | 43250.00 | PAINT CORPORATION
175.20 | 0.8MM | 5.00 | SQMT |  | 1150.00 | 5750.00 | 1000.00 | 5000.00 | 2250.00 | 11250.00 | 5000.00 | PAINT CORPORATION
175.30 | 1.0MM | 5.00 | SQMT |  | 1380.00 | 6900.00 | 1170.00 | 5850.00 | 2650.00 | 13250.00 | 5850.00 | PAINT CORPORATION
176.00 | Supplying, installing, testing and commisioning of GI volume control Duct damper complete with neoprene rubber gaskets, nuts, bolts, screws, linkage flandes etc. as poer specifications. | 1.00 | SQMT |  | 5500.00 | 5500.00 | 4500.00 | 4500.00 | 6150.00 | 6150.00 | 4500.00 | PAINT CORPORATION
177.00 | Supplying & fixing of powder coated extruded aluminium Supply Air grill with volume control damper as per specifications. | 5.00 | SQMT |  | 6000.00 | 30000.00 | 7000.00 | 35000.00 | 7350.00 | 36750.00 | 30000.00 | SHARDA INFRA ENGINEERS PVT LTD
178.00 | Supplying & fixing of powder coated extruded aluminium Return Air Grill without damper complete as required. | 1.00 | SQMT |  | 4000.00 | 4000.00 | 5197.00 | 5197.00 | 6750.00 | 6750.00 | 4000.00 | SHARDA INFRA ENGINEERS PVT LTD
179.00 | Supplying & fixing of powder coated extruded aluminium Supply Air Diffuser with aluminium volume control dampers with anti smudge ring & removable core | 1.00 | SQMT |  | 7500.00 | 7500.00 | 14000.00 | 14000.00 | 7250.00 | 7250.00 | 7250.00 | Natavarlal M Patel
180.00 | Supplying & fixing of powder coated extruded aluminium Return Air Diffuser without aluminium volume control dampers with anti smudge ring & removable core | 8.00 | SQMT |  | 350.00 | 2800.00 | 9500.00 | 76000.00 | 6600.00 | 52800.00 | 2800.00 | SHARDA INFRA ENGINEERS PVT LTD
181.00 | Supplying, installing, testing of thermal insulated Flexible Duct of following size flexible ducting of following sizes duly suported at regular interval as per site requirements etc. complete as required as per specifications.
181.10 | 200 mm dia | 2.00 | MTR. |  | 2500.00 | 5000.00 | 326.00 | 652.00 | 1900.00 | 3800.00 | 652.00 | PAINT CORPORATION
181.20 | 300 mm dia | 8.00 | MTR. |  | 3500.00 | 28000.00 | 423.00 | 3384.00 | 2250.00 | 18000.00 | 3384.00 | PAINT CORPORATION
182.00 | Supply and Installation of Fabric Flexible Canvas Connection to be installed between all the indoor Units and the ducting to provide flexibility of movement | 16.00 | RMT |  | 250.00 | 4000.00 | 580.00 | 9280.00 | 3580.00 | 57280.00 | 4000.00 | SHARDA INFRA ENGINEERS PVT LTD
183.00 | Supplying & fixing of powder coated extruded aluminium 300mm dia Supply Air Jet Nozzle | 18.00 | NOS |  | 5200.00 | 93600.00 | 3432.00 | 61776.00 | 4670.00 | 84060.00 | 61776.00 | PAINT CORPORATION
184.00 | Supply and fixing of Collar damper for Jet Nozzle | 18.00 | NOS |  | 850.00 | 15300.00 | 572.00 | 10296.00 | 5220.00 | 93960.00 | 10296.00 | PAINT CORPORATION
185.00 | Supply and fixing of Rectangular Collar damper | 2.00 | SQMT |  | 5000.00 | 10000.00 | 4500.00 | 9000.00 | 3925.00 | 7850.00 | 7850.00 | Natavarlal M Patel
186.00 | Supply, Fixing & Testing of open cell nitrile rubber acoustic insulation, with density 140-180 kg/cum. and having anti fungal & anti bacterial properties as per DIN EN ISO 846, MATHOD A&C. The insulation should have been tested for air erosion at air velocity of 10000 fpm in accordance to ASTM Standard C 1071-05. 20 mm thick for Ducts.
186.10 | 15 mm thick lining | 20.00 | SQM |  | 1000.00 | 20000.00 | 450.00 | 9000.00 | 960.00 | 19200.00 | 9000.00 | PAINT CORPORATION
187.00 | Supplying, and fixing following thickness duly laminated of aluminium foil mat finish closed cell Nitrile rubber (class “O”) insulation on existing duct after applying suitable adhesive for nitrile rubber. The joints shall sealed with 50 mm wide and 3 mm thick self adhesive nitrile rubber tape insulation complete as per specifications and as required. above values should have pressure rating of 25 bar minimum
187.10 | 19 mm thick | 120.00 | SQM |  | 250.00 | 30000.00 | 385.00 | 46200.00 | 565.00 | 67800.00 | 30000.00 | SHARDA INFRA ENGINEERS PVT LTD
187.20 | 25 mm thick | 30.00 | SQM. |  | 350.00 | 10500.00 | 470.00 | 14100.00 | 950.00 | 28500.00 | 10500.00 | SHARDA INFRA ENGINEERS PVT LTD
188.00 | Supply and Fixing of 150mm dia Propellor Fan for Toilet and Kitchen Ventilation | 3.00 | NOS |  | 2500.00 | 7500.00 | 1400.00 | 4200.00 | 7400.00 | 22200.00 | 4200.00 | PAINT CORPORATION
189.00 | Supply, Installation and Testing of extruded aluminium powder coated louver with GI wire mesh to be installed outside for discharge of exhaust air from exhaust fans as per the specifications and shop drawings. | 1.00 | SQM |  | 5000.00 | 5000.00 | 1250.00 | 1250.00 | 4750.00 | 4750.00 | 1250.00 | PAINT CORPORATION
| Total in Figures |  |  |  |  | 10664025.00 |  | 7573314.00 |  | 7503395.00
Lowest Amount Quoted BY: Natavarlal M Patel(7503395.00)

## BOQ Summary
BOQ Summary Details Tender Title: CONSTRUCTION OF MULTI-PURPOSE INDOOR SPORTS FACILITY Tender ID: 2025_GAIL_253729_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Natavarlal M Patel (BID ID -931293) | 52120274.27 | L1
| 2 | PAINT CORPORATION (BID ID -930632) | 52836823.89 | L2
| 3 | SHARDA INFRA ENGINEERS PVT LTD (BID ID -929561) | 55381599.69 | L3
BoQ2 | 1 | SHARDA INFRA ENGINEERS PVT LTD (BID ID -929561) | 36269534.06 | L1
| 2 | Natavarlal M Patel (BID ID -931293) | 36666328.96 | L2
| 3 | PAINT CORPORATION (BID ID -930632) | 37203655.40 | L3
BoQ3 | 1 | Natavarlal M Patel (BID ID -931293) | 7503395.00 | L1
| 2 | PAINT CORPORATION (BID ID -930632) | 7573314.00 | L2
| 3 | SHARDA INFRA ENGINEERS PVT LTD (BID ID -929561) | 10664025.00 | L3

## Preferential Bidder BOQ Summary
Preferential Bidder Non-Itemwise BOQ Summary Details Tender Title: CONSTRUCTION OF MULTI-PURPOSE INDOOR SPORTS FACILITY Tender ID: 2025_GAIL_253729_1
Sheet Name | Sl.No | Bidder Name | Amount | Difference Amount from L1 | Difference Percentage from L1 | Tolerance Percentage | Preference Category
BoQ1 | 1 | Natavarlal M Patel (BID ID -931293) | 52120274.27
| 2 | PAINT CORPORATION (BID ID -930632) | 52836823.89
| 3 | SHARDA INFRA ENGINEERS PVT LTD (BID ID -929561) | 55381599.69 | 3261325.42 | 6.26% | 20.00% | Make in India
BoQ2 | 1 | SHARDA INFRA ENGINEERS PVT LTD (BID ID -929561) | 36269534.06 |  |  | 20.00% | Make in India
| 2 | Natavarlal M Patel (BID ID -931293) | 36666328.96
| 3 | PAINT CORPORATION (BID ID -930632) | 37203655.40
BoQ3 | 1 | Natavarlal M Patel (BID ID -931293) | 7503395.00
| 2 | PAINT CORPORATION (BID ID -930632) | 7573314.00
| 3 | SHARDA INFRA ENGINEERS PVT LTD (BID ID -929561) | 10664025.00 | 3160630.00 | 42.12% | 20.00% | Make in India