## BoQ1
Government eProcurement System Created By: RAJEEV KUMAR Created Date/Time: 24-Feb-2026 12:07 PM Tender Title: DESIGN, ENGG, SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF PIPELINE LEAK AND INTRUSION DETECTION SYSTEM (PLIDS) IN BETWEEN PIPELINE SECTION OF DAHEJ TO SV4 AND SV7 TO IP3 OF DUPL Tender ID: 2025_GAIL_254854_1
Tender Inviting Authority: GAIL (India) Limited Hazira Compressor Station, Icchapore Magdalla Road, PO-ONGC, Dist. Surat-394518, Gujarat
Name of Work: DESIGN, ENGG, SUPPLY, INSTALLATION, TESTING & COMMISSIONING OF PIPELINE LEAK AND INTRUSION DETECTION SYSTEM (PLIDS) IN BETWEEN PIPELINE SECTION OF DAHEJ to SV4 AND SV7 to IP3 OF DUPL
Contract No: GAIL/HZR/C&P/1328421/FL-47C/25-26 (GePNIC Tender No: 2025_GAIL_254854_1) dt. 10/11/2025
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | COMMTEL NETWORKS PRIVATE LIMITED (GSTN-27AAACC8966G1ZD) BID ID -934353 |  | Eratronics Pvt Ltd (GSTN-NA) BID ID -937554
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PLIDS System for DUPL DAHEJ (INSTA. OF PLIDS @ DAHEJ DUPL PIPELINE)
1.01 | Design and supply DAHEJ-SV-1 PLIDS Design and Supply of complete PLIDS System for DAHEJ to SV-1 (Vengani) section (Pipeline distance: - 19.3 KM, Optical distance: - 22 KM). Single Channel Controller including processing Server unit along with Rack at Dahej. Complete supplied system under this SOR will be 2 years On-Site Warranty. Latest/Upgraded Licensed Software,OFC based PLIDS,Fiber type Single mode: ITU-T G.655/G.652D/G.652B/G.657A1 G.652 series1550 nm,Monitoring Range: - At least 48 (Forty-Eight) KM or more (for each Sensor port in one direction per trench) Coherent Optical time domain Reflectometer (COTDR), DAS- Series1550 nm with Quantitative analyses. (Amplitude/Energy level/ Amplitude and Phase shift of back scatter light by launching Laser pulse in fiber) Optical fiber power losses (splicing losses, fiber losses etc.) budget to 18 DB per sensor port in one direction PLIDS System should be able to support minimum step loss of 0.3 dB splice loss at any given point. No. of Sensor channels per controller 01 (One) or 02 (Two), whole section to be covered. In Dual Channel, Intrusion Detection must be real time & Simultaneous. Independent launch and detect module for each port. No multiplexing/No switching/ No splitting/ No toggling is allowed, if more than one sensor channel per Controller. laser sources are to separate one. Operating temperature +5 to +55degC Inbuilt Redundant Power supply 115-230 VAC; 50-60 Hz / 18 # 28 V DC / 42 # 48 V DC Humidity 85% RH Front panel user interface Display & soft buttons Laser shutoff Required Communications Ethernet Data storage eSATA / USB port for external HDD Proper Space for storing signatures and playbacks Operating system Unix / Linux Diagnostics GUI based software from OEM Optical connectors E2000 or better Remote access Full remote control Certification UL, IEC, FCC / CE / BIS Maximum power consumption of PLIDS system (excluding HMIs) shall not exceed 450W . Refer Tender SCC and SOW for more details | 1.00 | EA |  | 15200001.00 | 17936001.18 | 16334540.00 | 19274757.20 | 17936001.18 | COMMTEL NETWORKS PRIVATE LIMITED
1.02 | Supply & Installation of RWS Supply and Installation of Remote Work station for PLIDS system at GAIL DAHEJ Terminal.Complete supplied system under this SOR will be 2 years On-Site Warranty. Refer Tender SCC and SOW for more details | 1.00 | EA |  | 325000.00 | 383500.00 | 485654.00 | 573071.72 | 383500.00 | COMMTEL NETWORKS PRIVATE LIMITED
1.03 | ITC for PLIDS Dahej-SV-1 Installation and Commissioning of complete PLIDS system for Dahej to SV-1 section.Complete supplied system under this SOR will be 2 years On-Site Warranty.Refer Tender SCC and SOW for more details | 1.00 | EA |  | 500000.00 | 590000.00 | 1834453.00 | 2164654.54 | 590000.00 | COMMTEL NETWORKS PRIVATE LIMITED
2.00 | PLIDS System for DUPL HAZIRA (PLIDS System SV-2 to IP-3 (Hazira Reg.)
2.01 | Design and supply SV-1 to SV-4 PLIDS Design and Supply of complete PLIDS System for SV-1 Vengani to SV-4 (Morthan) section (Pipeline distance: -54 KM, Optical distance: -56.1 KM). Dual Channel Controller including processing Server unit at SV-2 Mothiya. Complete supplied system under this SOR will be 2 years On-Site Warranty. Latest/Upgraded Licensed Software,OFC based PLIDS,Fiber type Single mode: ITU-T G.655/G.652D/G.652B/G.657A1 G.652 series1550 nm, Monitoring Range: - At least 48 (Forty-Eight) KM or more (for each Sensor port in one direction per trench) Coherent Optical time domain Reflectometer (COTDR), DAS- Series1550 nm with Quantitative analyses. (Amplitude/Energy level/ Amplitude and Phase shift of back scatter light by launching Laser pulse in fiber) Optical fiber power losses (splicing losses, fiber losses etc.) budget to 18 DB per sensor port in one direction PLIDS System should be able to support minimum step loss of 0.3 dB splice loss at any given point. No. of Sensor channels per controller 01 (One) or 02 (Two), whole section to be covered. In Dual Channel, Intrusion Detection must be real time & Simultaneous. Independent launch and detect module for each port. No multiplexing/No switching/ No splitting/ No toggling is allowed, if more than one sensor channel per Controller. laser sources are to separate one. Operating temperature +5 to +55degC Inbuilt Redundant Power supply 115-230 VAC; 50-60 Hz / 18 # 28 V DC / 42 # 48 V DC Humidity 85% RH Front panel user interface Display & soft buttons Laser shutoff Required Communications Ethernet Data storage eSATA / USB port for external HDD Proper Space for storing signatures and playbacks Operating system Unix / Linux Diagnostics GUI based software from OEM Optical connectors E2000 or better Remote access Full remote control Certification UL, IEC, FCC / CE / BIS Maximum power consumption of PLIDS system (excluding HMIs) shall not exceed 450W.Refer Tender SCC and SOW for more details | 1.00 | EA |  | 24300000.00 | 28674000.00 | 23957541.00 | 28269898.38 | 28269898.38 | Eratronics Pvt Ltd
2.02 | Design and supply SV-7 to SV-11 PLIDS Design and Supply of complete PLIDS System for SV-7 (Jalalpore) to SV-11 (Sonwada) section (Pipeline distance: -64.5 KM, Optical distance: -70.5 KM). Dual Channel Controller including processing Server unit at SV-9 Nandarkha.Complete supplied system under this SOR will be 2 years On-Site Warranty. Latest/Upgraded Licensed Software,OFC based PLIDS,Fiber type Single mode: ITU-T G.655/G.652D/G.652B/G.657A1 G.652 series1550 nm,Monitoring Range: - At least 48 (Forty-Eight) KM or more (for each Sensor port in one direction per trench) Coherent Optical time domain Reflectometer (COTDR), DAS- Series1550 nm with Quantitative analyses. (Amplitude/Energy level/ Amplitude and Phase shift of back scatter light by launching Laser pulse in fiber) Optical fiber power losses (splicing losses, fiber losses etc.) budget to 18 DB per sensor port in one direction PLIDS System should be able to support minimum step loss of 0.3 dB splice loss at any given point. No. of Sensor channels per controller 01 (One) or 02 (Two), whole section to be covered. In Dual Channel, Intrusion Detection must be real time & Simultaneous. Independent launch and detect module for each port. No multiplexing/No switching/ No splitting/ No toggling is allowed, if more than one sensor channel per Controller. laser sources are to separate one. Operating temperature +5 to +55degC Inbuilt Redundant Power supply 115-230 VAC; 50-60 Hz / 18 # 28 V DC / 42 # 48 V DC Humidity 85% RH Front panel user interface Display & soft buttons Laser shutoff Required Communications Ethernet Data storage eSATA / USB port for external HDD Proper Space for storing signatures and playbacks Operating system Unix / Linux Diagnostics GUI based software from OEM Optical connectors E2000 or better Remote access Full remote control Certification UL, IEC, FCC / CE / BIS Maximum power consumption of PLIDS system (excluding HMIs) shall not exceed 450W.Refer Tender SCC and SOW for more details | 1.00 | EA |  | 24300000.00 | 28674000.00 | 23957541.00 | 28269898.38 | 28269898.38 | Eratronics Pvt Ltd
2.03 | ITC for PLIDS SV-1 to SV-4 Installation and Commissioning of complete PLIDS system for SV-1 to SV-4 section.Complete supplied system under this SOR will be 2 years On-Site Warranty.Refer Tender SCC and SOW for more details | 1.00 | EA |  | 900000.00 | 1062000.00 | 3135439.00 | 3699818.02 | 1062000.00 | COMMTEL NETWORKS PRIVATE LIMITED
2.04 | ITC for PLIDS SV-7 to SV-11 Installation and Commissioning of complete PLIDS system for SV-7 to SV-11 section. Complete supplied system under this SOR will be 2 years On-Site Warranty.Refer Tender SCC and SOW for more details | 1.00 | EA |  | 900000.00 | 1062000.00 | 3135439.00 | 3699818.02 | 1062000.00 | COMMTEL NETWORKS PRIVATE LIMITED
2.05 | Supply & Installation of RWS Supply and Installation of Remote Work station for PLIDS system each one at HAZIRA Compressor station Control Room. .Refer Tender SCC and SOW for more details | 1.00 | EA |  | 325000.00 | 383500.00 | 485654.00 | 573071.72 | 383500.00 | COMMTEL NETWORKS PRIVATE LIMITED
3.00 | PLIDS System for DUPL SILVASSA (PLIDS System SV-2 to IP-3 (Silvassa Reg))
3.01 | Design and supply SV-11 to SV-14 PLIDS Design and Supply of complete PLIDS System for SV-11 (Sonwada) to SV-14 (Vaghadi) section (Pipeline distance: -68KM, Optical distance: -72.61KM). Dual Channel Controller including processing Server unit at IP-2 Silvassa with Outdoor Battery Bank Cum Charger Rack. Complete supplied system under this SOR will be 2 years On-Site Warranty. Latest/Upgraded Licensed Software,OFC based PLIDS,Fiber type Single mode: ITU-T G.655/G.652D / G.652B / G.657A1 G.652 series1550 nm,Monitoring Range: - At least 48 (Forty-Eight) KM or more (for each Sensor port in one direction per trench) Coherent Optical time domain Reflectometer (COTDR), DAS- Series1550 nm with Quantitative analyses. (Amplitude/Energy level/ Amplitude and Phase shift of back scatter light by launching Laser pulse in fiber) Optical fiber power losses (splicing losses, fiber losses etc.) budget to 18 DB per sensor port in one direction PLIDS System should be able to support minimum step loss of 0.3 dB splice loss at any given point. No. of Sensor channels per controller 01 (One) or 02 (Two), whole section to be covered. In Dual Channel, Intrusion Detection must be real time & Simultaneous. Independent launch and detect module for each port. No multiplexing/No switching/ No splitting/ No toggling is allowed, if more than one sensor channel per Controller. laser sources are to separate one. Operating temperature +5 to +55degC Inbuilt Redundant Power supply 115-230 VAC; 50-60 Hz / 18 # 28 V DC / 42 # 48 V DC Humidity 85% RH Front panel user interface Display & soft buttons Laser shutoff Required Communications Ethernet Data storage eSATA / USB port for external HDD Proper Space for storing signatures and playbacks Operating system Unix / Linux Diagnostics GUI based software from OEM Optical connectors E2000 or better Remote access Full remote control Certification UL, IEC, FCC / CE / BIS Maximum power consumption of PLIDS system (excluding HMIs) shall not exceed 450W.Refer Tender SCC and SOW for more details | 1.00 | EA |  | 26400000.00 | 31152000.00 | 23957541.00 | 28269898.38 | 28269898.38 | Eratronics Pvt Ltd
3.02 | Design and supply SV-14 to IP-3 PLIDS Design and Supply of complete PLIDS System for SV-14 (Vaghadi) to IP-3 (Aptibudruk) section (Pipeline distance: -16.7KM, Optical distance: -17.9 KM). Complete supplied system under this SOR will be 2 years On-Site Warranty. Latest/Upgraded Licensed Software,OFC based PLIDS,Fiber type Single mode: ITU-T G.655/G.652D/G.652B/G.657A1 G.652 series1550 nm,Monitoring Range: - At least 48 (Forty-Eight) KM or more (for each Sensor port in one direction per trench) Coherent Optical time domain Reflectometer (COTDR), DAS- Series1550 nm with Quantitative analyses. (Amplitude/Energy level/ Amplitude and Phase shift of back scatter light by launching Laser pulse in fiber) Optical fiber power losses (splicing losses, fiber losses etc.) budget to 18 DB per sensor port in one direction PLIDS System should be able to support minimum step loss of 0.3 dB splice loss at any given point. No. of Sensor channels per controller 01 (One) or 02 (Two), whole section to be covered. In Dual Channel, Intrusion Detection must be real time & Simultaneous. Independent launch and detect module for each port. No multiplexing/No switching/ No splitting/ No toggling is allowed, if more than one sensor channel per Controller. laser sources are to separate one. Operating temperature +5 to +55degC Inbuilt Redundant Power supply 115-230 VAC; 50-60 Hz / 18 # 28 V DC / 42 # 48 V DC Humidity 85% RH Front panel user interface Display & soft buttons Laser shutoff Required Communications Ethernet Data storage eSATA / USB port for external HDD Proper Space for storing signatures and playbacks Operating system Unix / Linux Diagnostics GUI based software from OEM Optical connectors E2000 or better Remote access Full remote control Certification UL, IEC, FCC / CE / BIS Maximum power consumption of PLIDS system (excluding HMIs) shall not exceed 450W.Refer Tender SCC and SOW for more details | 1.00 | EA |  | 15200001.00 | 17936001.18 | 16334540.00 | 19274757.20 | 17936001.18 | COMMTEL NETWORKS PRIVATE LIMITED
3.03 | ITC for PLIDS SV-11 to SV-14 Installation and Commissioning of complete PLIDS system for SV-11 to SV-14 section including Outdoor Battery Bank Cum Charger . Complete supplied system under this SOR will be 2 years On-Site Warranty.Refer Tender SCC and SOW for more details | 1.00 | EA |  | 900000.00 | 1062000.00 | 3135439.00 | 3699818.02 | 1062000.00 | COMMTEL NETWORKS PRIVATE LIMITED
3.04 | ITC for PLIDS SV-14 to IP-3 Installation and Commissioning of complete PLIDS system for SV-14 to IP-3 section. Complete supplied system under this SOR will be 2 years On-Site Warranty.Refer Tender SCC and SOW for more details | 1.00 | EA |  | 500000.00 | 590000.00 | 1834453.00 | 2164654.54 | 590000.00 | COMMTEL NETWORKS PRIVATE LIMITED
3.05 | Supply & Installation of RWS Supply and Installation of Remote Work station for PLIDS system each one at IP-2 Silvassa Control Room. complete supplied system under this SOR will be 2 years..Refer Tender SCC and SOW for more details | 1.00 | EA |  | 325000.00 | 383500.00 | 485654.00 | 573071.72 | 383500.00 | COMMTEL NETWORKS PRIVATE LIMITED
4.00 | 5 YEars CAMC for PLIDS
4.01 | 5 YEars PLIDS On-Site CAMC 5 years of On-site complete Comprehensive AMC for complete supplied PLIDS system: Please refer the detailed SCC & SOW as described in the tender documen | 60.00 | MON |  | 45000.00 | 3186000.00 | 272583.00 | 19298876.40 | 3186000.00 | COMMTEL NETWORKS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 133074502.36 |  | 159806064.24
Lowest Amount Quoted BY: COMMTEL NETWORKS PRIVATE LIMITED(133074502.36)

## BOQ Summary
BOQ Summary Details Tender Title: DESIGN, ENGG, SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF PIPELINE LEAK AND INTRUSION DETECTION SYSTEM (PLIDS) IN BETWEEN PIPELINE SECTION OF DAHEJ TO SV4 AND SV7 TO IP3 OF DUPL Tender ID: 2025_GAIL_254854_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | COMMTEL NETWORKS PRIVATE LIMITED (BID ID -934353) | 133074502.36 | L1
| 2 | Eratronics Pvt Ltd (BID ID -937554) | 159806064.24 | L2

## Preferential Bidder BOQ Summary
Preferential Bidder Non-Itemwise BOQ Summary Details Tender Title: DESIGN, ENGG, SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF PIPELINE LEAK AND INTRUSION DETECTION SYSTEM (PLIDS) IN BETWEEN PIPELINE SECTION OF DAHEJ TO SV4 AND SV7 TO IP3 OF DUPL Tender ID: 2025_GAIL_254854_1
Sheet Name | Sl.No | Bidder Name | Amount | Difference Amount from L1 | Difference Percentage from L1 | Tolerance Percentage | Preference Category
BoQ1 | 1 | COMMTEL NETWORKS PRIVATE LIMITED (BID ID -934353) | 133074502.36 |  |  | 20.00% | Make in India
| 2 | Eratronics Pvt Ltd (BID ID -937554) | 159806064.24