## BoQ1
eProcurement System Government of India Created By: Sarath KB Created Date/Time: 31-Oct-2025 11:23 AM Tender Title: Construction of Toilet block in IWAI Regional office, Maradu, Kochi Tender ID: 2025_IWAI_879001_1
Tender Inviting Authority: Inland Waterways Authority of India
Name of Work: Construction of toilet block in IWAI Regional office, Maradu, Kochi
Contract No: IWAI/COCH/TECH(72)/36(4A)/2025-26/33
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | VR Santhosh (GSTN-32ASLPS0670DIZW) BID ID -3292241 |  | sajith marines pvt. ltd. (GSTN-32AAXCS9883R2ZT) BID ID -3294542
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Dismantling and Demolishing of existing toilet
1.01 | Dismantling existing wash basin (1 nos), Indian closet (1 nos), European closet (1 nos), old/existing pillar traps, bib taps, flush tanks, health faucets, shower, concealed stop cocks, angle cocks, wash basin waste line, floor trap waste line, WC soil line, faucets with all its accessories/fittings and clamps etc with the help of an expert plumber and stacking of reusable materials within 50m lead & disposal of unusable items as and where directed the E-I-C. The rate shall include the hire charges of machineries and tools, labour charges etc.complete. | 1.00 | LS | item1 | 1000.00 | 1000.00 | 11000.00 | 11000.00 | 1000.00 | VR Santhosh | 1000.00 | VR Santhosh
1.02 | Dismantling of existing structures like wooden door & shutter (1 No.), window (1 No.), ventilator (1 No.) and small portion of truss work for attaching new toilet block to the existing ladies toilet area. The rate shall include labour charges for dismantling of structures without damaging the structures to be retained, hire charges for machineries/tool, scaffolding etc. including stacking of serviceable material and disposal of unserviceable material within 50 metres lead of the site as and where directed by the E-I-C | 1.00 | LS | item2 | 300.00 | 300.00 | 10000.00 | 10000.00 | 300.00 | VR Santhosh | 300.00 | VR Santhosh
1.03 | Demolishing of brick work i.e., the portion of brick wall of the existing ladies toilet to attach new toilet block by manually/ by mechanical means including stacking of serviceable material and disposal of debris within the periphery of the site as and where directed by the Engineer-in-charge. | .77 | cum | item3 | 773.00 | 773.00 | 1932.50 | 1932.50 | 773.00 | VR Santhosh | 773.00 | VR Santhosh
1.04 | Dismantling tile work in floors and walls laid in cement mortar including stacking material within 50 m lead for thickness of tiles 10mm to 25mm | 17.97 | sqm | item4 | 898.50 | 898.50 | 1797.00 | 1797.00 | 898.50 | VR Santhosh | 898.50 | VR Santhosh
2.00 | Construction of new toilet block
2.01 | Earth work in excavation by mechanical means/manual means for foundation for the toilet block including disposal of excavated earth lead upto 50m and for all lift and ramming of bottom, as and where directed by Engineer-in-charge. | 1.25 | cum | item5 | 624.00 | 624.00 | 312.00 | 312.00 | 312.00 | sajith marines pvt. ltd. | 312.00 | sajith marines pvt. ltd.
2.02 | Providing and laying in position cement concrete (PCC) of 1:3:6 for foundation base of the toilet block including cost of all materials, labour charges, etc. completed as per the direction of Engineer-in-Charge | 4.16 | cum | item6 | 35360.00 | 35360.00 | 32448.00 | 32448.00 | 32448.00 | sajith marines pvt. ltd. | 32448.00 | sajith marines pvt. ltd.
2.03 | Providing and laying in position reinforced cement concrete of 1:1.5:3 for grade beam including cost of all materials, labour charges and excluding the cost of centering, shuttering, reinforcement, etc. completed as per the direction of Engineer-in-Charge | .94 | cum | item7 | 8424.00 | 8424.00 | 8892.00 | 8892.00 | 8424.00 | VR Santhosh | 8424.00 | VR Santhosh
2.04 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 4.71 | cum | item8 | 44726.00 | 44726.00 | 44726.00 | 44726.00 | 44726.00 | VR Santhosh, sajith marines pvt. ltd. | 44726.00 | VR Santhosh, sajith marines pvt. ltd.
2.05 | Reinforced cement concrete work in CC 1:1.5:3 for lintel excluding the cost of centering, shuttering, finishing and reinforcement and including cost of all materials, labour charges, etc. completed as per the direction of Engineer-in-charge. | .68 | cum | item9 | 6664.00 | 6664.00 | 8160.00 | 8160.00 | 6664.00 | VR Santhosh | 6664.00 | VR Santhosh
2.06 | Steel reinforcement for R.C.C work for grade beam & lintel etc. with TMT bars of for grade Fe-500D or more for the proposed toilet block including straightening, bending, cutting, placing in position etc., complete as per the directions of E-I-C. | 223.32 | kg | item10 | 26797.92 | 26797.92 | 26797.92 | 26797.92 | 26797.92 | VR Santhosh, sajith marines pvt. ltd. | 26797.92 | VR Santhosh, sajith marines pvt. ltd.
2.07 | Formwork for RCC structures such as centering and shuttering for grade beam & lintel etc. including strutting, propping and removal of formwork etc. complete | 14.52 | sqm | item11 | 21781.50 | 21781.50 | 10890.75 | 10890.75 | 10890.75 | sajith marines pvt. ltd. | 10890.75 | sajith marines pvt. ltd.
2.08 | Plastering in CM 1:4, 12 mm thick on brick masonry including cost of materials, labour, finishing, curing etc. complete. 12 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand) | 70.35 | sqm | item12 | 28140.80 | 28140.80 | 28140.80 | 28140.80 | 28140.80 | VR Santhosh, sajith marines pvt. ltd. | 28140.80 | VR Santhosh, sajith marines pvt. ltd.
3.00 | Roofing
3.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete | 57.81 | kg | item13 | 16187.36 | 16187.36 | 8671.80 | 8671.80 | 8671.80 | sajith marines pvt. ltd. | 8671.80 | sajith marines pvt. ltd.
3.02 | Providing & fixing of 0.71mm Aluminium colour coated troughed profile roofing sheet with center to center pitch of 200mm, depth of 32mm, overall profile width 1092 mm, cover width 1000mm at all heights, levels and locations colour finsih Aluminium alloy roofing sheets of alloy IS designation 31500, temper Hx8 conforming to IS 737 and dimensions as per IS code 2676 with characteristics of good formability and corrosion resistance. The profile sheets shall be fixed to truss members in slope or required pitch or curvature with Hex cap headed self drilling/tapping stainless steel screws M6, 50 mm long with 3mm EPDM seal washer etc, all inlcusive of labour, scaffolding, T&P and sundries etc. complete as per direction of the Engineer-in-charge. | 10.85 | sqm | item14 | 13562.50 | 13562.50 | 16275.00 | 16275.00 | 13562.50 | VR Santhosh | 13562.50 | VR Santhosh
3.03 | Providing of False ceiling with 12.5 mm thick tapered edge gypsum moisture resistant board at all height including providing and fixing of frame work made of special sections, power pressed from MS sheets and galvanized with zinc coating of 120 grams / sq.m including jointing and finishing to a flush finish of tapered and suare edges of the board with recommended jointing compound, jointing tape, finishing and cost of making opening for light fittings, difusers all complete as per the directions of Engineer - in - Charge. | 10.15 | sqm | item15 | 12687.50 | 12687.50 | 15225.00 | 15225.00 | 12687.50 | VR Santhosh | 12687.50 | VR Santhosh
4.00 | Flooring works
4.01 | Filling available excavated earth (excluding rock) in the floor in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift | 1.14 | cum | item16 | 1708.50 | 1708.50 | 284.75 | 284.75 | 284.75 | sajith marines pvt. ltd. | 284.75 | sajith marines pvt. ltd.
4.02 | Providing and laying of cement concrete of PCC 1:2:4 for flooring above earth filled area at 10 cm thick including cost of all materials, labour charges for laying in a proper level etc. complete. | .66 | cum | item17 | 6580.00 | 6580.00 | 5264.00 | 5264.00 | 5264.00 | sajith marines pvt. ltd. | 5264.00 | sajith marines pvt. ltd.
4.03 | Providing and laying water proofing treatment for WCs, bathroom, bathroom walls etc., by applying cement slurry mixed with water proofing cement compound consisting of applying First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm with an allowed to air cure for 4 hours and Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm with an allotted air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry, labour charges etc. complete as per the directives of E-I-C. | 17.32 | sqm | item18 | 13856.00 | 13856.00 | 13856.00 | 13856.00 | 13856.00 | VR Santhosh, sajith marines pvt. ltd. | 13856.00 | VR Santhosh, sajith marines pvt. ltd.
4.04 | Providing and laying glazed vitrified matt/antiskid finish of size 600x600 mm of 1st quality conforming to IS : 15622 of approved brand and manufacturer laid on 20 mm thick cement mortar 1:4, Jointing with grey cement slurry @ 3.3 kg/sqm including grouting the joints with white cement and matching pigment etc., including cost of all materials, transportation, loading / unloading, labour charges etc. complete. | 47.55 | sqm | item19 | 61820.20 | 61820.20 | 85597.20 | 85597.20 | 61820.20 | VR Santhosh | 61820.20 | VR Santhosh
5.00 | Doors, window & Ventilators
5.01 | Providing and fixing of FRP Fibre bathroom doors of size 0.80 x 2.10 M (4 Nos.) with proper locking system and indication mark for occupancy including cost of materials, transportation, fixing in position by checking all lines & levels, labour charges etc. complete | 4.00 | nos | item20 | 32000.00 | 32000.00 | 40000.00 | 40000.00 | 32000.00 | VR Santhosh | 32000.00 | VR Santhosh
5.02 | Re-fixing of dismantled wooden window frame of size 0.60 m x 1.40 m by engaging an expert carpenter during the construction of wall and fixing of existing shutters (1 nos) by provoding necessary clamps, nut/bolt, screws etc. as and where directed by Engineer - in - Charge. | 1.00 | nos | item21 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 2000.00 | VR Santhosh | 2000.00 | VR Santhosh
5.03 | Providing and fixing Powder coated aluminium (minimum thickness of powder coating 50 micron) ventilators with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including ixing glazing in aluminium with float glass panes of 4.0 mm thickness by filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. | 1.00 | nos | item22 | 5000.00 | 5000.00 | 2800.00 | 2800.00 | 2800.00 | sajith marines pvt. ltd. | 2800.00 | sajith marines pvt. ltd.
6.00 | Finishing works
6.01 | Applying priming coats on newly constructed portion of wall with primer of approved brand and manufacture, with water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | 63.86 | sqm | item23 | 4469.92 | 4469.92 | 6385.60 | 6385.60 | 4469.92 | VR Santhosh | 4469.92 | VR Santhosh
6.02 | Painting with Exterior Emulsion (Weather coat) paint of approved brand and manufacture of required colour to give an even shade on new work (exterior brick wall for shutter closing) two or more coats including cost of materials, transportation, brush / roller, labour charges etc. complete. | 25.81 | sqm | item24 | 4387.19 | 4387.19 | 4645.26 | 4645.26 | 4387.19 | VR Santhosh | 4387.19 | VR Santhosh
6.03 | Interior wall painting with emulsion paint of approved brand and manufacture of required colour to give an even shade for brick wall for shutter closing interior, two or more coats including cost of materials, transportation, brush / roller, labour charges etc. complete. Two or more coat applied @ 1.43 lits / 10 sqm. | 38.65 | sqm | item25 | 7150.99 | 7150.99 | 6571.18 | 6571.18 | 6571.18 | sajith marines pvt. ltd. | 6571.18 | sajith marines pvt. ltd.
7.00 | Plumbing works
7.01 | Providing new sanitary items like wall mounted 2-piece European closets (2 Nos) & Indian closet with flush tank (1 No.), Wash Basin (1 No.)along with all the accessories from a reputed brand & manufacture such as CERA, JAQUAR, Parryware etc as directed by the E-I-C. with the help of an expert plumber. The rate shall include the cost of all materials, trasportation / supply to the site and labour chrges for fixing in position etc. complete. | 1.00 | Job | item26 | 70000.00 | 70000.00 | 52000.00 | 52000.00 | 52000.00 | sajith marines pvt. ltd. | 52000.00 | sajith marines pvt. ltd.
7.02 | Providing and laying of concealed inlet/ outlet pipe lines & fixures for new toilet block from a reputed brand & manufacture inlcuding connecting to existing pipelines / sewage tanks for inlet / outlet supply etc. complete as per the direction of E-I-C. The rate shall include cost of all materials, machinery/tools, labours, supply to the site, fixing in position, connecting with the help of an expert plumber etc. complete | 1.00 | Job | item27 | 18000.00 | 18000.00 | 28000.00 | 28000.00 | 18000.00 | VR Santhosh | 18000.00 | VR Santhosh
8.00 | Electrical work
8.01 | Providing and fixing of new electrical points to the proposed toilet area including supply of necessary lighting arrangements such as (i) LED bulbs (18 W - 4 Nos), (ii) Exhaust fans - 3 Nos, (iii) Switches etc. as per the directions of EIC. The rate shall include cost of all materials, supply to the site, fixing in position, connecting to existing lines with the help of an expert electrician etc. complete | 1.00 | Job | item28 | 24500.00 | 24500.00 | 16500.00 | 16500.00 | 16500.00 | sajith marines pvt. ltd. | 16500.00 | sajith marines pvt. ltd.
8.02 | Supplying and laying of suitable capacity electric cables/wires for providing new electric points to the proposed toilet area as per requirement and the same shall be concealed iby inserting suitable conduits etc. with the help of an expert electrician as directed by EIC. | 1.00 | Job | item29 | 13000.00 | 13000.00 | 10000.00 | 10000.00 | 10000.00 | sajith marines pvt. ltd. | 10000.00 | sajith marines pvt. ltd.
9.00 | Miscellaneous works
9.01 | Removal of internet lines/cables laid on the outside wall where the alignment of proposed toilet block to be constructed with all fixtures like conduites / bends elbows etc & & re-alignment of the same as and where directed by the E-I-C by providing new conduits / fittings, connections, switches etc as per requirement, by making holes in existing truss/partition/wall without damaging any other structures etc. Complete. | 1.00 | Job | item30 | 8000.00 | 8000.00 | 27500.00 | 27500.00 | 8000.00 | VR Santhosh | 8000.00 | VR Santhosh
9.02 | Uprooting & removal/replacing of the flowering tree girth up to 30 cm, standing close to the proposed site for clearing the working area including hire charges of tools, labour charges etc.complete. | 1.00 | LS | item31 | 2500.00 | 2500.00 | 6000.00 | 6000.00 | 2500.00 | VR Santhosh | 2500.00 | VR Santhosh
| Total in Figures |  |  |  | 492899.88 | 492899.88 | 535672.76 | 535672.76

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Toilet block in IWAI Regional office, Maradu, Kochi Tender ID: 2025_IWAI_879001_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VR Santhosh (BID ID -3292241) | 492899.88 | L1
| 2 | sajith marines pvt. ltd. (BID ID -3294542) | 535672.76 | L2