## BoQ1
eProcurement System Government of India Created By: Sarath KB Created Date/Time: 11-Dec-2025 04:38 PM Tender Title: Design, Supply, Installation and Commissioning of High Mast Light (30 m) at IWAI Regional Office, Kochi. Tender ID: 2025_IWAI_879603_1
Tender Inviting Authority: Inland Waterways Authority of India
Name of Work: Design, Supply, Installation & Commissioning of High Mast Light (30 m) at IWAI Regional Office, Kochi.
Contract No: IWAI/COCH/TECH/61(B)/2025-26/35
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | vav world (GSTN-NA) BID ID -3293282 |  | Electro Connection (GSTN-NA) BID ID -3292750
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.01 | Design, Supply, installation, and commissioning of 1 nos 30m high Mast motorized pole light with following specifications: - 1) Pole details a) 30-meter height, b) Top dia-150mm, Bottom dia-530 mm c) Thickness - 4/4/3mm baseplate 25mm with j bolts section 3 d) Mechanical component including head frame & pulley assembly, winch bracket, lantern carriage ring, 6 mm ss wire rope, D shackle clamps, nuts, and bolts. Foundation accessories, double drum winch assembly with 8 lights ring arrangements, etc 2) Flood Light details a) 350 Watt Led Flood lights -8 nos (BIS approved with 3-year warranty) 3) RCC Foundation a) The work includes designing & construction of RCC foundation for the required high mast pole including earth excavation, PCC, RCC, reinforcement all-inclusive of material, labour charges, safety equipments, stays, ties etc. complete as per the direction of Engineer in Charge. 4) Other Accessories a) Control panel -1 nos b) Aviation Panel -1 nos c) Lighting Arrestor - 1 nos d) Cable and Accessories - 1 LS 5) Crane and other arrangements / mechanism for pole Erection. All the above materials shall be used as per the details mentioned in technical specification and as per the approved design and the work includes labour and material charges including 1 year servicing / maintenanceand as per the Direction of Engineer-in-Charge. | 1.00 | Job | item1 | 595395.00 | 595395.00 | 651550.00 | 651550.00 | 595395.00 | vav world | 595395.00 | vav world
| Total in Figures |  |  |  | 595395.00 | 595395.00 | 651550.00 | 651550.00

## BOQ Summary
BOQ Summary Details Tender Title: Design, Supply, Installation and Commissioning of High Mast Light (30 m) at IWAI Regional Office, Kochi. Tender ID: 2025_IWAI_879603_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | vav world (BID ID -3293282) | 595395.00 | L1
| 2 | Electro Connection (BID ID -3292750) | 651550.00 | L2