## BoQ1
eProcurement System Government of India Created By: SUNIL KUMAR GUPTA Created Date/Time: 12-Mar-2026 12:03 PM Tender Title: Open Tender Document for E-Procurement of Laboratory Equipment (Soil, Aggregates, Cement, Reinforcing Bar, Concrete Test Equipment, Water, Geo-textile and Geogrid) for Material testing Laboratory of IAHE Tender ID: 2025_MoRTH_873727_1
Tender Inviting Authority: Indian Academy of Highway Engineers
Name of Work:E-Procurement of Laboratory Equipment (Soil, Aggregates, Cement, Reinforcing Bar, Concrete Test Equipment, Water, Geo-textile and Geogrid) for Material testing Laboratory of IAHE
Contract No: IAHE/Admin./04/Lab-Maintenance/2019-20 (02)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | A.S.I.SALES PVT.LTD. (GSTN-07AAACA2207N1ZW) BID ID -3291910 |  | AIMIL Ltd (GSTN-07AACCA7217J1ZQ) BID ID -3295887
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Soil
1.01 | Unconfined Compressive Strength Compression Device with digital load frame: Hydraulic Proving Ring, Dial Gauge Vernier callipers, Timer, Oven, Weighing balance | 1.00 | Nos |  | 345000.00 | 345000.00 | 447000.00 | 447000.00 | 345000.00 | A.S.I.SALES PVT.LTD.
1.02 | Shear Strength Vane Shear apparatus | 1.00 | Nos |  | 22500.00 | 22500.00 | 25635.00 | 25635.00 | 22500.00 | A.S.I.SALES PVT.LTD.
1.03 | Grain Size Analysis as per IS:2720 (Part- IV) Pipette apparatus (i) sampling pipette (ii) glass sedimentation tubes (iii) weighing bottles (iv) deleted (v) stirring apparatus (vi) Sieves -2mm, 425umm , 75umm IS Sieves (vii) Deleted | 1.00 | Nos |  | 78500.00 | 78500.00 | 40690.00 | 40690.00 | 40690.00 | AIMIL Ltd
1.04 | Specific Gravity Hydrometer apparatus: Two 1000 ml graduated cylinders, Dispersing agent solution containing sodiumhexa-metaphosphate, Dessicator and Centimetre Scale. | 1.00 | Nos |  | 14500.00 | 14500.00 | 59160.00 | 59160.00 | 14500.00 | A.S.I.SALES PVT.LTD.
1.05 | Shrinkage Limit Test Full set of equipments 1.) Evaporating Dish of Porcelain, 2.) Spatula and Straight Edge, 3.) Balance-Sensitive to 0.01 g minimum.4.) Shrinkage Dish. Circular, porcelain or non-corroding metal dish, 5.) Glass cup. 50-55 mm in diameter and 25 mm in height,6.) Glass plates. Two, 75x75 mm one plate of plain glass and the other prongs, 7.) Thermostatically controlled Oven,8.) Wash bottle containing distilled water, 9.) Graduate-Glass, with capacity of 25 ml. 10.) Mercury. | 1.00 | Nos |  | 118500.00 | 118500.00 | 121030.00 | 121030.00 | 118500.00 | A.S.I.SALES PVT.LTD.
1.06 | Sand Equivalent Value (i) Graduated cylinder (ii) Irrigator tube (iii) Siphon Assembly (iv) Weighted foot assembly (v) Measuring can (vi) Sieve -4.75mm (vii) funnel (viii) 4- litre bottle (ix) Flat Pan (x) Timing Device (xi) Sand equivalent shaker | 1.00 | Nos |  | 78500.00 | 78500.00 | 150000.00 | 150000.00 | 78500.00 | A.S.I.SALES PVT.LTD.
1.07 | pH Test -Electronic method (i) pH meter (ii) Digital balance 300 gm capacity-sensitive 0.001gm (iii) 100ml Glass beaker -3nos. (iv) Volumetric flask-500ml -nos. (v) Wash bottle-100 ml (vi) Mortar with rubber covered pestle | 1.00 | Nos |  | 28500.00 | 28500.00 | 119652.00 | 119652.00 | 28500.00 | A.S.I.SALES PVT.LTD.
2.00 | Aggregates
2.01 | Polished Stone Value (i) Accelerated polish machine mounted on firm ,level and non resilient base of stone or concrete (ii) road wheel (iii) means for rotating road wheel (iv) Means for bringing the surface of a rubber-tyred wheel of 20 cm diameter and 5 cm breadth to bear on the stone surface of the road wheel with a total load of 40 kg. (v) Means to feed the sand and water at a uniform rate (vi ) Means to feed the emery powder and water at uniform rate (vii) friction tester: IS: 2386 Part 4 as per specification of RRL UK (viii) 25 Kg hard siliceous sand (ix) Emery powder 5 kg | 1.00 | Nos |  | 365000.00 | 365000.00 | 550000.00 | 550000.00 | 365000.00 | A.S.I.SALES PVT.LTD.
2.02 | Alkali Aggregate Reactivity Mortar Bar Method: Scales, Weights, Sieves, Glass Graduates, Specimen Moulds, mixing Bowl, Tamper, Trowel, Containers, Length Comparator | 1.00 | Nos |  | 35500.00 | 35500.00 | 55525.00 | 55525.00 | 35500.00 | A.S.I.SALES PVT.LTD.
2.03 | Alkali Aggregate Reactivity Chemical Method: 1. Electronic Balance 2. Pulveriser 3. Reaction Container, Reagents, Glassware | 1.00 | Nos |  | 145000.00 | 145000.00 | 204245.00 | 204245.00 | 145000.00 | A.S.I.SALES PVT.LTD.
2.04 | Petrographic Examination 1. Geological Hammer 2. Petrographic Microscope 3. Screen confirming to IS Sieve 4. Digital Balance 5. Portable handheld cutting machine 6. Hand lens 7. Glass Sides etc. | 1.00 | Nos |  | 245000.00 | 245000.00 | 282600.00 | 282600.00 | 245000.00 | A.S.I.SALES PVT.LTD.
2.05 | Deleterious Material & Organic Impurities Sedimentation pipette: A watertight screw-topped glass jar, 1000 ml measuring cylinder, Chemicals, Containers, Sieves | 1.00 | Nos |  | 58500.00 | 58500.00 | 32050.00 | 32050.00 | 32050.00 | AIMIL Ltd
3.00 | Cement
3.01 | Soundness (Autoclave Apparatus) Graduated Glass Cylinders, Moulds, Autoclave, Length Comparator | 1.00 | Nos |  | 135000.00 | 135000.00 | 147265.00 | 147265.00 | 135000.00 | A.S.I.SALES PVT.LTD.
3.02 | Compaction (Mortar cube vibrator) | 1.00 | Nos |  | 64500.00 | 64500.00 | 63855.00 | 63855.00 | 63855.00 | AIMIL Ltd
3.03 | Fineness (Blaine Air Permeability apparatus) | 1.00 | Nos |  | 195000.00 | 195000.00 | 120000.00 | 120000.00 | 120000.00 | AIMIL Ltd
3.04 | pH Meter ( 2 in nos.) | 1.00 | Nos |  | 45000.00 | 45000.00 | 72000.00 | 72000.00 | 45000.00 | A.S.I.SALES PVT.LTD.
4.00 | Reinforcing Bar (Steel)
4.01 | Reinforcing Bar (Steel) Universal Testing Machine, To determine Unit weight, Yield strength,, Proof Stress, Ultimate Tensile Strength, % Elongation, Bend and Re-bend test | 1.00 | Nos |  | 1495000.00 | 1495000.00 | 2377000.00 | 2377000.00 | 1495000.00 | A.S.I.SALES PVT.LTD.
5.00 | Concrete Test Equipment
5.01 | Vibrating Table 1mx1m (Full set of Equipments) | 1.00 | Nos |  | 54500.00 | 54500.00 | 87350.00 | 87350.00 | 54500.00 | A.S.I.SALES PVT.LTD.
5.02 | Needle Vibrator ( 2 in nos.) | 1.00 | Nos |  | 22500.00 | 22500.00 | 66000.00 | 66000.00 | 22500.00 | A.S.I.SALES PVT.LTD.
5.03 | Permeability | 1.00 | Nos |  | 215000.00 | 215000.00 | 262015.00 | 262015.00 | 215000.00 | A.S.I.SALES PVT.LTD.
5.04 | Dry Shrinkage (Shrinkage apparatus) ( 2 in nos.) (Full set of Equipments) | 1.00 | Nos |  | 165000.00 | 165000.00 | 67080.00 | 67080.00 | 67080.00 | AIMIL Ltd
5.05 | Air content (Air Entrainment Meter apparatus) (Full set of Equipments) | 1.00 | Nos |  | 49500.00 | 49500.00 | 28725.00 | 28725.00 | 28725.00 | AIMIL Ltd
5.06 | Durability (Rapid Chloride Ion Permissibility apparatus) | 1.00 | Nos |  | 565000.00 | 565000.00 | 475000.00 | 475000.00 | 475000.00 | AIMIL Ltd
5.07 | Depth of penetration (Water Permeability apparatus) ( 2 in nos.) (Full set of Equipments) | 1.00 | Nos |  | 265000.00 | 265000.00 | 462040.00 | 462040.00 | 265000.00 | A.S.I.SALES PVT.LTD.
6.00 | Water
6.01 | Physical Analysis of water | 1.00 | Nos |  | 48500.00 | 48500.00 | 152500.00 | 152500.00 | 48500.00 | A.S.I.SALES PVT.LTD.
7.00 | Geo Textile and Geogrid
7.01 | Pull-out resistance of Geotextile /Geogrid | 1.00 | Nos |  | 2875000.00 | 2875000.00 | 3177000.00 | 3177000.00 | 2875000.00 | A.S.I.SALES PVT.LTD.
| Total in Figures |  |  |  |  | 7729500.00 |  | 9645417.00
Lowest Amount Quoted BY: A.S.I.SALES PVT.LTD.(7729500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Open Tender Document for E-Procurement of Laboratory Equipment (Soil, Aggregates, Cement, Reinforcing Bar, Concrete Test Equipment, Water, Geo-textile and Geogrid) for Material testing Laboratory of IAHE Tender ID: 2025_MoRTH_873727_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | A.S.I.SALES PVT.LTD. (BID ID -3291910) | 7729500.00 | L1
| 2 | AIMIL Ltd (BID ID -3295887) | 9645417.00 | L2