## BoQ1
Government eProcurement System Created By: VIKASH KUMAR MISHRA Created Date/Time: 16-May-2025 12:43 PM Tender Title: Supply, Fabrication and Erection of support Structure, Platform, HVAC Ducting and Aluminium Partition for MM Shop Annexure at MAPS site. Tender ID: 2025_NPCIL_225574_1
Tender Inviting Authority: Senior Maintenance Engineer (Mechanical Maintenance)
Name of Work: Supply, Fabrication & Erection of support Structure, Platform, HVAC Ducting & Aluminium Partition for MM Shop Annexure at MAPS site.
Contract No: MAPS/CTC/MM/PUBLIC/ET895/2024
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | A.PUNNIYAKOTTI WORKS CONTRACTOR (GSTN-NA) BID ID -820684 |  | FRIENDS ENGINEERING (GSTN-NA) BID ID -820566
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Pre fabrication, Edge preparation ,Fit up , welding & erection of Structure,Platform,HVAC Ducting & supports as per Drawing & Dimensions as per Technical specifications | 8000.00 | Kg |  | 55.00 | 440000.00 | 55.00 | 440000.00 | 440000.00 | FRIENDS ENGINEERING, A.PUNNIYAKOTTI WORKS CONTRACTOR
2.00 | Providing and fixing anodized aluminium (Anodised transparent or dyed to required shade according to IS:1868 Minimum Anodic coating of grade AC 15) work for doors, windows, ventilators and partitions with extruded built up standard tubular sections / Z Sections and other sections of approved make confirming to IS:733 and IS:1285 fixed with rawl plugs and screws or with fixing clips or with expansion hold fastners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC / neoprene felt etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling , C.P brass / stainless screws all complete as per architectural drawings and and directions of Engineer-in-charge including providing and fixing hinges / pivots and making provision for fixing of fittings wherever required. (fittings, Glazing and taging shall be paid for separately) NOTE : 1) The rates for aluminium is inclusive of all fasteners required for fabrication and fixing in the walls. 2) All joints shall be of mittered Joints. 3) A long M.S rod threaded at both ends to be provided in all aluminium door shutters in Top & bottom Horizontal members internally connecting Vertical members and fixed with M.S washers & nuts. 4) Only Aluminium members alone shall be measured and paid for. | 1750.00 | KG |  | 540.00 | 945000.00 | 540.00 | 945000.00 | 945000.00 | FRIENDS ENGINEERING, A.PUNNIYAKOTTI WORKS CONTRACTOR
3.00 | Providing and fixing 12mm thick prelaminated with decorative lamination on both sides, 3 layer medium density (Exterior grade) particle board Grade-I, Type – II confirming to IS:12823 bonded with phenol taging yde synthetic resin of approved brand and manufacture in taging fixed in aluminium doors, window shutters and partition frames with C.P brass /stainless screws etc. complete as per drawings and as directed by Engineer-in-Charge. | 240.00 | Sqm |  | 1100.00 | 264000.00 | 1150.00 | 276000.00 | 264000.00 | A.PUNNIYAKOTTI WORKS CONTRACTOR
4.00 | Providing and fixing taging aluminium Baby Latch of size 100x10mm ISI marked (anodic coating not less than grade AC 10 as per IS:1868) transparent or dyed to required colour or shade with necessary screws etc | 15.00 | No. |  | 100.00 | 1500.00 | 150.00 | 2250.00 | 1500.00 | A.PUNNIYAKOTTI WORKS CONTRACTOR
5.00 | Providing and fixing IS:12817 marked stainless steel butt hinges of size 125 x 64 x 2.5mm (heavy weight) “GARG” or equivalent approved make with suitable stainless steel screws etc. complete all as per specifications and as directed by the Engineer-in-Charge. | 60.00 | No. |  | 200.00 | 12000.00 | 200.00 | 12000.00 | 12000.00 | FRIENDS ENGINEERING, A.PUNNIYAKOTTI WORKS CONTRACTOR
6.00 | Providing and fixing Anodised Aluminium handles 125mm with plate 175 x 32mm including fitting with necessary screws complete all as per specification and as directed by the Engineer-in –Charge. Sample to be approved by the Engineer-in-Charge. | 30.00 | No. |  | 150.00 | 4500.00 | 200.00 | 6000.00 | 4500.00 | A.PUNNIYAKOTTI WORKS CONTRACTOR
7.00 | Providing and fixing Al hanging Heavy Quality floor door stopper ISI marked with Twin Rubber stoppers, taging (anodic coating not less than grade AC10 as per IS:1868) transparent or dyed to req. colour or shade with necessary screws etc. complete all as per specification and as directed by the Engineer-in –Charge. Sample to be approved by the Engineer-in-Charge. | 15.00 | No. |  | 120.00 | 1800.00 | 175.00 | 2625.00 | 1800.00 | A.PUNNIYAKOTTI WORKS CONTRACTOR
8.00 | Providing and fixing IS: 3564 marked Al die cast body tubular type universal hydraulic door closer with necessary accessories and screws etc. in wooden doors / steel doors with necessary bolts & nuts “Everite/ Hardwyn” or approved equivalent make complete as per specifications and as directed by the Engineer-in-Charge. | 15.00 | No. |  | 1600.00 | 24000.00 | 1700.00 | 25500.00 | 24000.00 | A.PUNNIYAKOTTI WORKS CONTRACTOR
9.00 | Supply of 6 MM / 5 MM MS Chequered plate IS 2062 | 6000.00 | Kg |  | 82.00 | 492000.00 | 90.00 | 540000.00 | 492000.00 | A.PUNNIYAKOTTI WORKS CONTRACTOR
10.00 | Supply of I Bean MS ( ISMB) MB 200 ( 200 X 90) Is 2062 | 1452.00 | Kg |  | 80.00 | 116160.00 | 90.00 | 130680.00 | 116160.00 | A.PUNNIYAKOTTI WORKS CONTRACTOR
11.00 | Supply of MS Channel ISMC 75 X 40 IS 2062 | 1000.00 | Kg |  | 80.00 | 80000.00 | 90.00 | 90000.00 | 80000.00 | A.PUNNIYAKOTTI WORKS CONTRACTOR
12.00 | Supply of MS Channel ISMC 100 X50 IS 2062 | 300.00 | Kg |  | 80.00 | 24000.00 | 90.00 | 27000.00 | 24000.00 | A.PUNNIYAKOTTI WORKS CONTRACTOR
13.00 | Supply ofGI Plane sheet 18 Gauge Thickness IS 277 | 1000.00 | Kg |  | 86.00 | 86000.00 | 100.00 | 100000.00 | 86000.00 | A.PUNNIYAKOTTI WORKS CONTRACTOR
| Total in Figures |  |  |  |  | 2490960.00 |  | 2597055.00
Lowest Amount Quoted BY: A.PUNNIYAKOTTI WORKS CONTRACTOR(2490960.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Fabrication and Erection of support Structure, Platform, HVAC Ducting and Aluminium Partition for MM Shop Annexure at MAPS site. Tender ID: 2025_NPCIL_225574_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | A.PUNNIYAKOTTI WORKS CONTRACTOR (BID ID -820684) | 2490960.00 | L1
| 2 | FRIENDS ENGINEERING (BID ID -820566) | 2597055.00 | L2