## BoQ1
Government eProcurement System Created By: Jitendra Shukla Created Date/Time: 06-Mar-2025 04:58 PM Tender Title: ET-R-1608 Tender ID: 2025_NPCIL_227301_1
Tender Inviting Authority:
Name of Work: Miscellaneous Civil maintenance works in AECS, CISF colony, Public buildings, hospital & hostels at Kakrapar Gujarat site township.
Contract No.: KAPS/CMM-W/COMMON/EMG/2025/ET-R/1608
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Goswami Furniture House (GSTN-NA) BID ID -823743 |  | SAI CHAITRALI CONSTRUCTION & SERVICES (GSTN-NA) BID ID -821977 |  | C M GAIKWAD (GSTN-NA) BID ID -823807
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation for foundations, Plinth beams, trenches, pipe lines, inspection Chambers etc. in all types of soils, mixture of gravel and disintegrated rock other than hard rock up to a depth of 2.00 m including shoring, strutting, bailing and pumping of water, leveling and ramming the bottom of excavation, refilling with selected materials in the sides of the foundation, in layers and consolidating and disposal of surplus materials at specified locations within township & as directed by Engineer. | 125.00 | CuM |  | 350.00 | 43750.00 | 345.00 | 43125.00 | 310.00 | 38750.00 | 38750.00 | C M GAIKWAD
2.00 | Providing and laying cement concrete of the following grade using 20 mm maximum size graded aggregate for leveling course in foundation, trenches, under floor etc. including mixing, ramming, compacting, leveling, curing, shuttering, finishing smooth all exposed surface etc. complete as directed by EIC.
2.10 | Cement Concrete 1:3:6 | 60.00 | CuM |  | 6400.00 | 384000.00 | 5538.00 | 332280.00 | 4400.00 | 264000.00 | 264000.00 | C M GAIKWAD
2.20 | Cement Concrete 1:2:4 | 40.00 | CuM |  | 6900.00 | 276000.00 | 6568.00 | 262720.00 | 5200.00 | 208000.00 | 208000.00 | C M GAIKWAD
3.00 | Providing and constructing brick masonry using well burnt table moulded first class bricks in cement mortar 1:6 including scaffolding, curing and racking out joints above ground level complete as per specified and drawings.
3.10 | In foundation and basement up to plinth including steps. | 40.00 | CuM |  | 6000.00 | 240000.00 | 5996.00 | 239840.00 | 6000.00 | 240000.00 | 239840.00 | SAI CHAITRALI CONSTRUCTION & SERVICES
3.20 | Above plinth up to floor - V | 45.00 | CuM |  | 6500.00 | 292500.00 | 6590.00 | 296550.00 | 6500.00 | 292500.00 | 292500.00 | Goswami Furniture House, C M GAIKWAD
4.00 | Providing and construction of random rubble masonry using hard stone in cement mortar 1:6 in all lifts including simultaneous flush pointing in cement mortar 1:3, curing, scaffolding, etc. Complete as specified and as directed by the Engineer. | 20.00 | CuM |  | 5000.00 | 100000.00 | 5245.00 | 104900.00 | 4500.00 | 90000.00 | 90000.00 | C M GAIKWAD
5.00 | Providing and casting in situ reinforced cement concrete of 1:1 1/2: 3 grade using stone of maximum size of 20 mm including formwork, mechanical mixing, transporting, placing at all lifts, vibrating, consolidating, curing and finishing smooth all exposed faces for all in situ items as per drawings and specifications. (Rate quoted shall be exclusive of reinforcement but inclusive of form work). | 20.00 | CuM |  | 7500.00 | 150000.00 | 7282.00 | 145640.00 | 6600.00 | 132000.00 | 132000.00 | C M GAIKWAD
6.00 | Providing, casting, finishing, curing, hoisting and placing in position of various thicknesses of pre cast slabs in various sizes in cement concrete 1:2:4 using 10 mm stone aggregates of various sizes and patterns excluding cost of reinforcement but including formwork all complete as per specifications and drawings. (Reinforcement steel will be measured and paid under relevant item.)
6.10 | 50 mm thick | 30.00 | SqM |  | 550.00 | 16500.00 | 428.00 | 12840.00 | 400.00 | 12000.00 | 12000.00 | C M GAIKWAD
6.20 | 75 mm thick | 30.00 | SqM |  | 650.00 | 19500.00 | 535.00 | 16050.00 | 550.00 | 16500.00 | 16050.00 | SAI CHAITRALI CONSTRUCTION & SERVICES
7.00 | Providing and laying 150 mm thick dry stone pitching for side slopes, toe wall, etc. with hard basalt rubble of size 150 mm including preparing the surface and flush pointing the joints with cement mortar 1:3 ramming, watering, preparing the surface, curing etc. complete all as specified and as directed by Engineer. | 50.00 | SqM |  | 3000.00 | 150000.00 | 498.00 | 24900.00 | 395.00 | 19750.00 | 19750.00 | C M GAIKWAD
8.00 | Providing flush pointing over existing stone pitching in cement mortar 1:3, curing, scaffolding, etc. complete as per specifications and as directed by the Engineer. | 25.00 | SqM |  | 150.00 | 3750.00 | 205.00 | 5125.00 | 200.00 | 5000.00 | 3750.00 | Goswami Furniture House
9.00 | Providing sand faced plaster 20 mm thick laid in two coats, base coat 12 mm thick with cement mortar 1:4 and finishing coat in cement mortar 1:3 to external surfaces including adding water proofing compound at 3 % by weight of cement used in base coat, making grooves, pattas, scaffolding, curing, etc. complete as per drawings and specifications including removing the existing plasters over wall at all height if required. | 250.00 | SqM |  | 325.00 | 81250.00 | 482.00 | 120500.00 | 421.00 | 105250.00 | 81250.00 | Goswami Furniture House
10.00 | Providing cement plaster for the ceiling of roof slab with 12 mm thick cement mortar 1:4 with smooth even finish including hacking and preparing the surface, scaffolding, finishing, curing all complete as per specification and drawings including removing the damaged plaster if any. | 200.00 | SqM |  | 350.00 | 70000.00 | 265.00 | 53000.00 | 280.00 | 56000.00 | 53000.00 | SAI CHAITRALI CONSTRUCTION & SERVICES
11.00 | Providing at all elevation internal cement plaster 12 mm thick over brick wall / concrete surfaces in cement mortar 1:5 rubbed to perfectly smooth and even finish including scaffolding, hacking of concrete surfaces, curing, etc. complete as per specifications and as directed at all heights including dismantling the existing damaged plaster etc. if required. | 400.00 | SqM |  | 320.00 | 128000.00 | 285.00 | 114000.00 | 290.00 | 116000.00 | 114000.00 | SAI CHAITRALI CONSTRUCTION & SERVICES
12.00 | Providing at all elevation external cement plaster 20 mm thick over brick wall/concrete surfaces in cement mortar 1:4, rubbed to perfectly smooth and even finish including scaffolding, hacking of concrete surfaces, curing, etc. complete as per specifications and as directed at all height including dismantling the existing plaster etc. if required. | 675.00 | SqM |  | 400.00 | 270000.00 | 392.00 | 264600.00 | 370.00 | 249750.00 | 249750.00 | C M GAIKWAD
13.00 | Providing rough cast plaster 20 mm thick consisting 8 mm thick rough cast in cement mortar 1:3 using 6 mm and below size stone chips over a 12 mm thick base coat of cement mortar 1:4 for the external faces including adding water proofing compound in base coat, at 3 % by weight of cement used, providing necessary grooves as per drawings, specifications, including scaffolding, curing, etc. | 15.00 | SqM |  | 400.00 | 6000.00 | 445.00 | 6675.00 | 490.00 | 7350.00 | 6000.00 | Goswami Furniture House
14.00 | Providing and laying 40 mm thick Indian patent stone (IPS) flooring with cement concrete 1:2:4, using 10 mm maximum size aggregate including providing grooves, glass strips, consolidating, curing, rubbing the surface smooth all complete as specified and as per drawings. | 50.00 | SqM |  | 500.00 | 25000.00 | 405.00 | 20250.00 | 350.00 | 17500.00 | 17500.00 | C M GAIKWAD
15.00 | Providing and laying 20 mm (±) 5mm thick natural stone (Kotah stone) flooring and dadoing over 20 mm thick base of cement mortar 1:4 laid and painted with grey cement slurry mixed with pigments to match the shade of the stone including curing, rubbing, polishing, etc. complete as per specifications. | 30.00 | SqM |  | 1500.00 | 45000.00 | 1225.00 | 36750.00 | 1200.00 | 36000.00 | 36000.00 | C M GAIKWAD
16.00 | Providing and fixing in position Anti skid Ceramic tiles of 12"x12" or of approved size of kajaria / johnson and johnson / somany make of approved shade and thickness ( 6 mm to 8 mm as specified by Manufacturer) as per IS with all specials such as corner, half tiles etc. in cement mortar 1:4, 20 mm thick base layer, painting the joints neatly with white cement and matching pigment etc. complete for flooring including removing of broken tiles wherever required and making up the surface in level with adjacent tiles. Base rate of tiles considered is Rs. 32/- per SqFt. | 30.00 | SqM |  | 1200.00 | 36000.00 | 999.00 | 29970.00 | 1000.00 | 30000.00 | 29970.00 | SAI CHAITRALI CONSTRUCTION & SERVICES
17.00 | Providing and fixing in position Ceramic tiles of 12"x12" / 12" x 8" / 12" x 6" of kajaria / johnson and johnson / somany / Varmora make of approved shade and thickness ( 5 mm to 6 mm ) as per IS with all specials such as corner, half tiles etc. in cement mortar 1:3, 12 mm thick base layer, painting the joints neatly with white cement, etc. complete for dado, skirting etc. including removing of broken tiles wherever required and making up the surface in level with adjacent tiles. Base rate of tiles considered is Rs. 32/- per SqFt. | 30.00 | SqM |  | 1200.00 | 36000.00 | 1080.00 | 32400.00 | 1050.00 | 31500.00 | 31500.00 | C M GAIKWAD
18.00 | Providing and fixing in position Anti skid Ceramic tiles of 12"x12" or of approved size of kajaria / johnson and johnson / somany make of approved shade and thickness ( 6mm to 8 mm as specified by Manufacturer) as per IS with all specials such as corner, half tiles etc. with tile fixing solution of Dr. Fixit favimate XL of Pidilite/ similar product of Ascolite/FOSROC/SIKA/Choksey approved make base layer thickness as specified by manufacturer, keeping 2mm joints between two tiles same to be filled by Roff RTM of PIDILITE or compatible compound from Choksey Chemical or Fosroc after 24 hrs of laying and finished to line, level and slope as required, curing, cutting of tiles, cleaning with the help of Roff Ceraclean etc. complete for flooring work all as per manufacturer's specifications and as approved by Engineer including removing of broken tiles wherever required and making up the surface in level with adjacent tiles. Base rate of tiles considered is Rs. 32/- per SqFt. | 20.00 | SqM |  | 1200.00 | 24000.00 | 1275.00 | 25500.00 | 1100.00 | 22000.00 | 22000.00 | C M GAIKWAD
19.00 | Providing and fixing in position approved quality VITRIFIED tiles of 24" x 24" from Johnson and johnson /somany /Kajaria/ NITCO / EURO/OREVA/ICON/Varmora make of approved colour with thickness 8 mm as specified by Manufacturer,as per IS, with all specials such as corner, half tiles etc. in cement mortar 1:4, 20 mm thick base layer, painting the joints neatly with white cement and matching pigment etc. complete for flooring including removing of broken tiles wherever required. Base rate of tiles considered is Rs. 35/- per SqFt. | 65.00 | SqM |  | 1300.00 | 84500.00 | 1080.00 | 70200.00 | 1020.00 | 66300.00 | 66300.00 | C M GAIKWAD
20.00 | Providing and fixing in position approved quality vitrified tiles of 24" x 24" from Johnson and johnson / Kajaria /Somany / NITCO / EURO / OREVA / ICON / Varmora make of approved colour with 8 mm thickness as specified by Manufacturer, as per IS, with all specials such as corner, half tiles etc.over existing floor using tile on tile solution from Pidilite/Ascolite/FOSROC/SIKA/Choksey or brand apporved by EIC , painting the joints neatly with white cement and matching pigment etc. complete for flooring including removing of broken tiles wherever required and making up the surface in level with adjacent tiles. Base rate of tiles considered is Rs. 35/- per SqFt. | 100.00 | SqM |  | 1300.00 | 130000.00 | 1245.00 | 124500.00 | 1130.00 | 113000.00 | 113000.00 | C M GAIKWAD
21.00 | Providing and filling murram/selected yellow soil below plinth including spreading it in uniform layers of 150 mm thick and watering, ramming, consolidating etc. all complete as per specification. Selected (yellow soil or murram) from approved source shall be excavated, collected and transported from land with any lead at contractor's cost etc. Note : Cost includes payment for using land to land owner for making excavation and taking material. | 40.00 | CuM |  | 1800.00 | 72000.00 | 405.00 | 16200.00 | 580.00 | 23200.00 | 16200.00 | SAI CHAITRALI CONSTRUCTION & SERVICES
22.00 | Providing, cutting, bending, placing and binding steel reinforcement in all RCC works, providing spacer blocks in CM 1:2 including binding wires etc. complete as per drawings and specifications as per IS. | 2.00 | MT |  | 100000.00 | 200000.00 | 92000.00 | 184000.00 | 80000.00 | 160000.00 | 160000.00 | C M GAIKWAD
23.00 | Providing, fabricating and erection / fixing of M.S. gate, M.S. Grill, Trusses, rafters, posts, purlins and M.S. angles, M.S. channels, ISMB, Tees, pipes, Square bars (solid or hollow), foundation bolts including fixing the position in concrete / masonry as per drawings and specifications including painting with two coats of synthetic enamel of asian paints apcolite brand of approved shade over a coat of compatible primer including cost of labour, materials, tools , scaffolding, etc. complete all as per directed by the Engineer. | 2.00 | MT |  | 120000.00 | 240000.00 | 98000.00 | 196000.00 | 100000.00 | 200000.00 | 196000.00 | SAI CHAITRALI CONSTRUCTION & SERVICES
24.00 | Providing and fixing 12 - 15 mm thick Granite stone polish on one side of approved shade including transportation fixing on the wall with 12mm thick base layer in cement mortar 1:3 with neat cement slurry completed as directed by Engineer in charge. ( Bse rate of granite Rs1950/- per Sqm including GST ) | 15.00 | SqM |  | 4000.00 | 60000.00 | 2580.00 | 38700.00 | 2500.00 | 37500.00 | 37500.00 | C M GAIKWAD
25.00 | Moulding of granite to have smooth even surface including polishing with all necessary tools and tackles at all heights. | 20.00 | Rm |  | 125.00 | 2500.00 | 175.00 | 3500.00 | 200.00 | 4000.00 | 2500.00 | Goswami Furniture House
26.00 | Supplying of exterior emulsion paint of approved shade from Asian Paints make ACE / Berger make Walmasta / Nerolak Suraxa Plastic / ICI dulux super coat and applying two coats of same paint over old sufaces including transportation, loading, unloading, preparation of surface to have a even smooth finish , sealing of cracks with white cement putty of approved brand, minor repair with cement, labour, scaffolding at all heights , shifting & replacing in position all types of furniture and other items, cleaning doors, windows, ventilations and washing the floor after completion of work etc. complete as approved. Payment will be made for actual painted surface and no extra factor will be considered for sand faced plaster / rough cast / pebble dash finish plaster. | 725.00 | SqM |  | 200.00 | 145000.00 | 138.00 | 100050.00 | 140.00 | 101500.00 | 100050.00 | SAI CHAITRALI CONSTRUCTION & SERVICES
27.00 | Supplying of Exterior emulsion paint and Primer (WT) of approved shade from Asian Paints make ACE / Berger make Walmasta / Nerolak Suraxa Plastic / ICI dulux super coat and applying two coats of same paint over new sufaces over a coat of Primer including transportation, loading, unloading, preparation of surface to have a smooth even finish, sealing of cracks with white cement putty of approved brand ,minor repair with cement, labour, scaffolding at all heights , shifting & replacing in position all types of furniture and other items, cleaning doors, windows, ventilations and washing the floor after completion of work etc. complete as approved. Payment will be made for actual painted surface and no extra factor will be considered for sand faced plaster / rough cast / pebble dash finish plaster. | 375.00 | SqM |  | 175.00 | 65625.00 | 229.00 | 85875.00 | 180.00 | 67500.00 | 65625.00 | Goswami Furniture House
28.00 | Providing and Applying Two coats of Acrylic washable distemper paint over the existing coat to give an even shade of selected colour shade on plastered and other surfaces from Asian Paints - Acrylic Tractor distemper / Berger Paints - Bison Acrylic Distemper / ICI Dulux - ICI Maxilite Acrylic distemper including additional coat wherever required; scaffolding; minor repairs with cement; sealing of cracks/ making good the undulations with white cement putty of approved brand ; making the surface have smooth and even fiinsh ; cleaning of dirt; removal of old mortar dripping where ever required; preparing the surfaces; cleaning of doors, windows, ventilators etc. after the completion of work and shifting and replacing in position all types of furniture and other items whereever required etc. complete as shown by the Engineer. Note: Item includes cost of all materials, labour,scaffolding at all heights , tools and tackles etc. Note: All material shall be applied as per manufacturer’s specifications. | 950.00 | SqM |  | 55.00 | 52250.00 | 88.00 | 83600.00 | 87.00 | 82650.00 | 52250.00 | Goswami Furniture House
29.00 | Providing two coats of white wash with shell lime and DDL of PIDILITE or approved brand at 1% of Lime over the existing coat of white wash on plastered wall and other surfaces including scaffolding, making good the damaged and rough surfaces smooth, minor repairs, sealing of cracks with putty, cleaning of dirt, removal of old mortar drippings, sand papering etc. shifting and replacing in position all types of furniture and other items, cleaning doors, windows, ventilators, etc. complete and washing the floors after completion of work for residential / public buildings, etc. complete as directed by the Engineer. | 500.00 | SqM |  | 30.00 | 15000.00 | 24.00 | 12000.00 | 25.00 | 12500.00 | 12000.00 | SAI CHAITRALI CONSTRUCTION & SERVICES
30.00 | Providing two coats of synthetic enamel paint of approved make from ASIAN PAINTS - APCOLITE PREMIUM GLOSS ENAMEL / BERGER PAINTS - LUXOL HI GLOSS SYNTHETIC ENEMAL / ICI DULUX / NEROLAC PAINTS and shade over the existing painted surface like wooden / steel / concrete / plastered / wire mesh / dustbin etc. including scaffolding, making good the damaged surfaces, minor repairs including sealing of cracks with Putty from PIDILITE/ASIAN/BERGER or approved, cleaning of dirt, removal of oil paint etc. wherever required preparation of surfaces including sand papering, cleaning, blowing of paint from fly proof mesh etc. complete for residential/public buildings including cost of all materials, labour, etc. complete as directed by the Engineer. | 400.00 | SqM |  | 175.00 | 70000.00 | 148.00 | 59200.00 | 130.00 | 52000.00 | 52000.00 | C M GAIKWAD
31.00 | Same as Item no-28, but paint applied on a new surfaces over coat of primer and compatible putty where ever required for filling cracks and levelling coat. Note: - Rate for this item should be inclusive of cost of one coat of primer and Putty. | 100.00 | SqM |  | 250.00 | 25000.00 | 218.00 | 21800.00 | 190.00 | 19000.00 | 19000.00 | C M GAIKWAD
32.00 | Supplying and fixing 0.50 mm to 0.52 mm thick colour coated sheet of Durashine brand from TATA Bluescope of Durashine / Infinia in approved colours at all heights including necessary scaffolding, cost of tools and tackles, labours, using studs for fixing in sheets as specified by manufacturer etc. all complete as directed by engineer in charge or specified by manufacturer. Note :- No payment will be made against lap, wastage etc. | 300.00 | SqM |  | 1000.00 | 300000.00 | 1121.00 | 336300.00 | 1010.00 | 303000.00 | 300000.00 | Goswami Furniture House
33.00 | Supplying and fixing 0.45 mm thick to 0.47mm thick colour coated ridge in width of 600 mm from TATA Bluescope of Durashine / Infinia brand in approved colours suit to shade of sheets provided at all heights including necessary scaffolding , specified studs from manufacturer, tools and tackles, labours etc. all complete as directed by engineer or as specified by manufacturer. Note :- No payment will be made against lap, wastage etc. | 60.00 | RM |  | 300.00 | 18000.00 | 986.00 | 59160.00 | 850.00 | 51000.00 | 18000.00 | Goswami Furniture House
34.00 | Providing and fixing 12" X 12" cement chequard tiles minimum 25mm thick as per IS on 25mm thick 1:4 Cement Mortar bed including cost of making the surface rough, making the bed in to true level and line, materials, labours, tools and tackels etc. complete. Chequard tiles shall be of approved brand, patteran and shade. Sample of the same will be approved by EIC before commencement of work. | 125.00 | SqM |  | 700.00 | 87500.00 | 1132.00 | 141500.00 | 1000.00 | 125000.00 | 87500.00 | Goswami Furniture House
35.00 | Providing and laying 50mm thick average coping in cement concrete 1:2:4 using 20mm and below size aggregates including scaffolding, shuttering, curing finishing smooth placing at all lifts, consolidating, etc. complete as per specification and drawing. Item includes providing annd laying 12mm thick cement plaster in CM 1:4 with neat cement slurry at the rate of 2.20 Kg/SqM over entire coping surface. | 25.00 | sqm |  | 600.00 | 15000.00 | 635.00 | 15875.00 | 600.00 | 15000.00 | 15000.00 | Goswami Furniture House, C M GAIKWAD
36.00 | Removing of existing damaged/undamaged (if required) cement plaster of any type and any thickness from masonary walls / concrete surfaces of buildings up to 15.0 Meter height by using required tools & tackles, erection of scaffolding, light capacity of breakers, machinery, labours, disposing the generated debris/rubbish from the site immediately within a lead of 500 Meter from the originated place and carry out the entire work as directed by Engineer in charge. | 950.00 | SqM |  | 50.00 | 47500.00 | 47.00 | 44650.00 | 42.00 | 39900.00 | 39900.00 | C M GAIKWAD
37.00 | Demolishing and removing the RR masonry / brick work including plaster at all heights including necessary scaffolding ,disposing the waste material and depositing the serviceable bricks/ stones and other materials in section stores at Township all as directed by the Engineer. | 50.00 | CuM |  | 400.00 | 20000.00 | 1495.00 | 74750.00 | 1478.00 | 73900.00 | 20000.00 | Goswami Furniture House
38.00 | Demolishing RCC/concrete work in cement mortar including and stacking of serviceable materials and disposing of rubbish materials within a lead of 500 meters as directed. | 35.00 | CuM |  | 1000.00 | 35000.00 | 2800.00 | 98000.00 | 2800.00 | 98000.00 | 35000.00 | Goswami Furniture House
39.00 | Demolishing existing IPS flooring up to 40 mm thick including disposing of rubbish materials within a lead of 500 meters and cleaning the site etc. complete all as direct by engineer. | 75.00 | SqM |  | 700.00 | 52500.00 | 225.00 | 16875.00 | 230.00 | 17250.00 | 16875.00 | SAI CHAITRALI CONSTRUCTION & SERVICES
40.00 | Supply the following materials for utilizing in attending the complaints in Township as and when required by Civil Office.
40.10 | O.P. Cement (53 Grade) ( in 50 Kg Bag) | 200.00 | Bag |  | 430.00 | 86000.00 | 405.00 | 81000.00 | 400.00 | 80000.00 | 80000.00 | C M GAIKWAD
40.20 | White cement (in 01 kg bag) | 60.00 | Kg |  | 65.00 | 3900.00 | 42.00 | 2520.00 | 51.00 | 3060.00 | 2520.00 | SAI CHAITRALI CONSTRUCTION & SERVICES
40.30 | Screened River Sand | 40.00 | CuM |  | 1600.00 | 64000.00 | 1465.00 | 58600.00 | 1170.00 | 46800.00 | 46800.00 | C M GAIKWAD
40.40 | Course Aggregate (size of aggregate 10 mm) | 12.00 | CuM |  | 1800.00 | 21600.00 | 820.00 | 9840.00 | 750.00 | 9000.00 | 9000.00 | C M GAIKWAD
40.50 | Course Aggregate (size of aggregate 20 mm) | 20.00 | CuM |  | 2000.00 | 40000.00 | 1375.00 | 27500.00 | 900.00 | 18000.00 | 18000.00 | C M GAIKWAD
40.60 | Red clay Bricks Size 230*100*75 mm (±) 5 mm | 3500.00 | Each |  | 6.00 | 21000.00 | 8.00 | 28000.00 | 7.00 | 24500.00 | 21000.00 | Goswami Furniture House
41.00 | Services and maintenance assistance for various civil works in residential and public buildings with required tools & tackles. Note : One manpower for one working day will be considered as one operation
41.10 | skilled category | 444.00 | Operation |  | 1100.00 | 488400.00 | 1280.00 | 568320.00 | 1320.00 | 586080.00 | 488400.00 | Goswami Furniture House
41.20 | semi skilled caegory | 150.00 | Operation |  | 950.00 | 142500.00 | 1148.00 | 172200.00 | 1090.00 | 163500.00 | 142500.00 | Goswami Furniture House
41.30 | unskilled category | 444.00 | Operation |  | 800.00 | 355200.00 | 998.00 | 443112.00 | 955.00 | 424020.00 | 355200.00 | Goswami Furniture House
42.00 | Removing existing paint / lime wash from wall / ceiling completely at any height inside building including cleaning. wet mopping if required, cleaning the area etc. complete. | 750.00 | SqM |  | 30.00 | 22500.00 | 18.00 | 13500.00 | 21.00 | 15750.00 | 13500.00 | SAI CHAITRALI CONSTRUCTION & SERVICES
43.00 | Applying one coat of primer at any height on internal wall of Berger / Asian / Nerolac / ICI/ Nitco / Alltek, make all as approved by Engineer. | 225.00 | SqM |  | 65.00 | 14625.00 | 70.00 | 15750.00 | 60.00 | 13500.00 | 13500.00 | C M GAIKWAD
44.00 | Supply of Aqua k-othrine EW (Delta Methrin 2% EW) in 1 litre pack as per manufacturer's specification. Note:- Bill/Challan copy has to be submitted to department for verification. Material entry has to be got verified at township security gate. | 60.00 | litre |  | 3000.00 | 180000.00 | 5790.00 | 347400.00 | 5850.00 | 351000.00 | 180000.00 | Goswami Furniture House
45.00 | Supply of Pyriproxyfen 0.5% GR (Baraki GR) in 0.5 kg pack as per manufacturer's specification.(0.5 * 2= 01 kg) Note:- Bill/Challan copy has to be submitted to department for verification. Material entry has to be got verified at township security gate. | 12.00 | kg |  | 16000.00 | 192000.00 | 8795.00 | 105540.00 | 8900.00 | 106800.00 | 105540.00 | SAI CHAITRALI CONSTRUCTION & SERVICES
46.00 | Providing and applying single component of ready to use Smartcare Damp proof of Asian Paints for waterproofing on RCC Slab / Parapet walls / Plastered or RCC surfaces including crack filling if required complete the work as per manufacturer specifications or as directed by engineer in charge. Cost includes all required materials, tools and tackles, labour, scaffolding etc. NOTE:- Rate including transportation, loading, unloading at township department stores/site in pack. The material has to be supplied in lots only as per EIC instructions. Bill / Challan copy has to be submitted to department for verification and retension. Material entry has to be got verified at Township security gate. | 300.00 | litre |  | 400.00 | 120000.00 | 338.00 | 101400.00 | 350.00 | 105000.00 | 101400.00 | SAI CHAITRALI CONSTRUCTION & SERVICES
| Total in Figures |  |  |  |  | 5886350.00 |  | 5945032.00 |  | 5599060.00
Lowest Amount Quoted BY: C M GAIKWAD(5599060.00)

## BOQ Summary
BOQ Summary Details Tender Title: ET-R-1608 Tender ID: 2025_NPCIL_227301_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | C M GAIKWAD (BID ID -823807) | 5599060.00 | L1
| 2 | Goswami Furniture House (BID ID -823743) | 5886350.00 | L2
| 3 | SAI CHAITRALI CONSTRUCTION & SERVICES (BID ID -821977) | 5945032.00 | L3