## BoQ1
Government eProcurement System Created By: RAGHU L Created Date/Time: 29-Oct-2025 11:05 AM Tender Title: Construction of Simulator Building of KKNPP 3 to 6 Units Tender ID: 2025_NPCIL_230158_1
Tender Inviting Authority: Project Director, KK-3 to 6
Name of Work: Construction of Simulator Building of KKNPP- 3 to 6 Units
Tender No: NPCIL/KK-5&6/CONST/CIVIL-INFRA/PT/2025/07
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RKANDSONS (GSTN-33AAEFR1671C1ZN) BID ID -838083 |  | M/s Sri Aneka Properties Private Limited (GSTN-NA) BID ID -837236 |  | S.A.V.Constructions (GSTN-NA) BID ID -838070
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Area Cleaning Works
2.00 | Clearing grass along with small bushes if any and removal of the rubbish up to a lead of 2 Km outside the periphery of the area cleared, including the cost of tools, tackles, men material etc., complete as per drawings and specifications | 2913.27 | Sq. Meter | 100.00 | 10.00 | 29132.72 | 30.38 | 88505.21 | 15.00 | 43699.08 | 29132.72 | RKANDSONS
3.00 | Clearing jungle including uprooting of rank vegetation, grass bush wood trees and saplings up to 30 cm girth and removal of rubbish up to a lead of 2 km outside the periphery of area cleared as per drawings and specifications | 2913.27 | Sq. Meter | 101.00 | 11.00 | 32045.99 | 37.97 | 110616.94 | 20.00 | 58265.44 | 32045.99 | RKANDSONS
4.00 | EARTHWORK
5.00 | Earth work excavation by mechanical means(hydraulic excavator)/manual means for foundation, trenches etc., in all types of soils below ground level including shoring, strutting, bailing / pumping of water, leveling, ramming the bottom of excavation, refilling with selected excavated materials in the sides of the foundation in layers, consolidating and disposing off the surplus earth at places as directed with in a lead of 2 Kms all as per drawings and specifications. - up to 1.5m ht | 345.77 | Cu. Meter | 103.00 | 191.00 | 66041.33 | 249.00 | 86095.76 | 200.00 | 69153.22 | 66041.33 | RKANDSONS
6.00 | Earth work excavation by mechanical means(hydraulic excavator)/manual means in Soft rock in foundation, trenches etc. including shoring, shrutting wherever required bailing/pumping of water, leveling the bottom of excavation and refilling selected excavated materials and consolidating in the sides of foundation and disposing the surplus materials at places as directed within a lead of 2 Kms all as per drawings and specifications. | 763.79 | Cu. Meter | 104.00 | 338.00 | 258161.02 | 299.00 | 228373.21 | 300.00 | 229137.00 | 228373.21 | M/s Sri Aneka Properties Private Limited
7.00 | Filling with selected earth in layers of not more than 150 mm thick compacted layer, each layer well rammed, watered and consolidated as per drawings and specifications
8.00 | Selected earth shall be brought from within a lead of 2 Km (including excavation soil as directed) | 676.30 | Cu. Meter | 106.00 | 133.00 | 89948.30 | 267.00 | 180572.90 | 125.00 | 84537.88 | 84537.88 | S.A.V.Constructions
9.00 | Providing and filling with crushed sand as approved and as per drawings and specifications | 67.63 | Cu. Meter | 107.00 | 2423.00 | 163868.22 | 3579.00 | 242048.84 | 1250.00 | 84537.88 | 84537.88 | S.A.V.Constructions
10.00 | Anti-Termite Treatment works.
11.00 | Providing Pre-construction antitermite treatment using chlorpyriphos emulsifiable concentrate 20 % with 1 % concentration as per specifications. (Plinth area of the building at ground floor only shall be measured for payment) Note: The contractor shall furnish from the agency carrying out this work under this item a written guarantee in favour of NPCIL for the satisfactory performance of the treatment for a period of ten years. | 1110.21 | Sq. Meter | 109.00 | 108.00 | 119902.91 | 138.00 | 153209.27 | 175.00 | 194287.12 | 119902.91 | RKANDSONS
12.00 | CONCRETE WORK Plain Cement Concrete
13.00 | Providing and laying plain cement concrete 1:3:6, using 40 mm and down graded stone aggregate at all height including mechanical mixing, leveling, compaction, vibrating, finishing smooth the exposed surfaces of concrete, curing etc complete as per drawings and standard specifications. | 139.80 | Cu. Meter | 111.00 | 6102.00 | 853053.50 | 5820.00 | 813630.18 | 6100.00 | 852773.90 | 813630.18 | M/s Sri Aneka Properties Private Limited
14.00 | Providing and laying M20/M25 Design mix concrete with cement content up to 350kg/Cum using 20mm and down graded stone aggregates including Mixing ,Ramming, Compaction, leveling, curing, placing at all lifts, including scaffolding and Finishing smooth all exposed faces complete as per specification. | 42.73 | Cu. Meter | 112.00 | 6940.00 | 296530.24 | 8167.00 | 348957.13 | 7500.00 | 320457.75 | 296530.24 | RKANDSONS
15.00 | Providing and laying cement concrete 1:2:4 using 20mm down approved size graded stone aggregate, thick for window sills, coping/grade slab/encasing etc, including consolidation scaffolding, curing, shuttering, et. Finishing smooth the exposed face of concrete. | 8.96 | Cu. Meter | 113.00 | 6590.00 | 59052.99 | 7550.00 | 67655.55 | 6850.00 | 61382.85 | 59052.99 | RKANDSONS
16.00 | Reinforcement & St.steel work
17.00 | Providing cutting ,bending placing and tying mild steel, high yield steel reinforcement in RCC works including providing spacer blocks in CM 1:2, binding wires etc.complete at all elevations as per drawings and specifications including dewatering wherever necessary etc complete as per drawings and specifications | 186.30 | MT | 115.00 | 92818.00 | 17291835.61 | 104323.00 | 19435197.55 | 100000.00 | 18629830.00 | 17291835.61 | RKANDSONS
18.00 | Providing, fabricating and erection of Structural steel members made out of M.S. angles, flats, plates, pipes, channels, tubes, rods etc conforming to relevant IS etc., including cost of welding, welding rods, drilling holes, bolts/nuts wherever required and providing and applying two or more coats of approved quality synthetic enamel paint over a coat of zinc chromate yellow primer etc., as per drawings and specifications | 5.00 | MT | 116.00 | 138382.00 | 691910.00 | 154438.00 | 772190.00 | 110000.00 | 550000.00 | 550000.00 | S.A.V.Constructions
19.00 | Form Work
20.00 | Providing ,placing in position and removing Form work for all insitu concrete works including scaffolding etc., complete at all elevations as per drawing and specification (measurement for form work shall be the area of forms in contact with concrete surfaces) | 3755.86 | Sq. Meter | 118.00 | 1050.00 | 3943655.31 | 959.00 | 3601871.85 | 750.00 | 2816896.65 | 2816896.65 | S.A.V.Constructions
21.00 | Design Mix Reinforced Cement concrete
22.00 | Providing and laying M30 Design mix concrete with cement content up to 350kg/Cum using 20mm and down graded stone aggregates, admixtures including Mixing ,Ramming, Compaction, leveling, curing, placing at all lifts, including scaffolding and Finishing smooth all exposed faces complete as per specification., (The rate shall be exclusive of reinforcement and form work) Note: The Rate shall be quoted on the basis of use of 350 Kg of cement per Cu.m of concrete. Any downward / upward variation will be deducted / paid as per relevant item. | 844.42 | Cu. Meter | 120.00 | 7467.00 | 6305314.75 | 8767.00 | 7403066.08 | 7500.00 | 6333180.75 | 6305314.75 | RKANDSONS
23.00 | Adjustment of cement used less/more than the specified quantity | 8444.24 | kg | 121.00 | 7.00 | 59109.69 | 7.27 | 61389.63 | 8.50 | 71776.05 | 59109.69 | RKANDSONS
24.00 | Providing, casting, finishing, curing, hoisting and placing in position 75mm thick precast slabs in cement concrete 1:2:4 using 20mm down size stone aggregate excluding cost of reinforcement but including formwork all complete as per drawings and specifications (The rate shall be exclusive of reinforcement) | 12.61 | Sq. Meter | 122.00 | 840.00 | 10594.75 | 703.00 | 8866.80 | 1050.00 | 13243.44 | 8866.80 | M/s Sri Aneka Properties Private Limited
25.00 | Solid Block Masonry works
26.00 | Providing and constructing cement concrete block masonry of minimum M5 grade conforming to IS-2185 of latest version , using solid blocks of specified size (300mmx300mmx200mm) , in cement mortar 1:4 by volume, for walls below plinth and locations including racking out joints, curing etc complete as per specification | 57.43 | Cu. Meter | 124.00 | 7200.00 | 413528.40 | 5043.00 | 289642.18 | 6500.00 | 373324.25 | 289642.18 | M/s Sri Aneka Properties Private Limited
27.00 | Providing and constructing cement concrete block masonry of minimum M5 grade conforming to IS-2185 of latest version , using solid blocks of specified size (300mmx300mmx200mm) , in cement mortar 1:4 by volume, for walls in super structure for all locations and elevations including scaffolding, racking out joints, curing etc complete as per drawings and specifications | 425.23 | Cu. Meter | 125.00 | 8071.00 | 3432022.45 | 5355.00 | 2277100.76 | 7500.00 | 3189216.75 | 2277100.76 | M/s Sri Aneka Properties Private Limited
28.00 | Providing and constructing 100mm thick cement concrete block masonry of minimum M5 grade conforming to IS-2185 of latest version , using solid blocks of specified size (400mmx200mmx100mm) , in cement mortar 1:4 by volume, including providing 40mm thick Cement Concrete 1:2:4 at every third layer, for partition walls at all elevations and locations including scaffolding, racking out joints, curing etc complete as per specifications and drawing | 161.61 | Sq. Meter | 126.00 | 959.00 | 154980.54 | 1261.00 | 203785.67 | 850.00 | 137365.44 | 137365.44 | S.A.V.Constructions
29.00 | Plastering
30.00 | Providing cement plaster for the ceiling with 6 mm thick in cement mortar 1:3 at all elevations including hacking and preparing the surface, scaffolding, finishing, curing etc all complete as per drawings and specifications | 136.84 | Sq. Meter | 128.00 | 422.00 | 57744.62 | 439.00 | 60070.83 | 425.00 | 58155.13 | 57744.62 | RKANDSONS
31.00 | Plastering of Internal faces (using Crushed Sand/M.Sand) of brick work/concrete at all elevations in cement mortar 1:4, 15 mm thick including scaffolding, curing, forming grooves, plaster bands, border, keystone etc wherever required all as per drawings and specifications | 3269.20 | Sq. Meter | 129.00 | 458.00 | 1497294.42 | 467.00 | 1526717.24 | 450.00 | 1471140.81 | 1471140.81 | S.A.V.Constructions
32.00 | Plastering of external faces (using Crushed Sand/M.Sand) of brick work/concrete at all elevations in cement mortar 1:3, 20 mm thick in 2 layer including scaffolding, curing, forming grooves, plaster bands, border, keystone etc wherever required all as per drawings and specifications | 1526.66 | Sq. Meter | 130.00 | 523.00 | 798442.24 | 586.00 | 894621.71 | 500.00 | 763329.10 | 763329.10 | S.A.V.Constructions
33.00 | Providing and Fixing in position 24 guage G.I. Chicken mesh of 150 mm wide in between the junction of column/beams with masonry by placing the mesh with nailing etc before at all elevations etc complete as per drawings and specifications | 1962.00 | Meter | 131.00 | 85.00 | 166770.00 | 25.00 | 49050.00 | 45.00 | 88290.00 | 49050.00 | M/s Sri Aneka Properties Private Limited
34.00 | Painting
35.00 | Supply and application of two coats of ACRYLIC WATER EMULSION PAINT of approved make and shade to interior walls, columns, beams and ceiling at all elevations, preparation of the surface to be painted by filling of tie rod holes with CM 1:3 and filling air holes on the concrete surfaces with CM 1:1.5, making good of irregularities more than 3mm using grinders/ corborandum stones, curing, cleaning with air water jet, applying suitable priming coat, putty and even application of 2 coats of paint including tools and tackles, consumables, scaffolding etc, complete as per drawing and specification. | 1921.52 | Sq. Meter | 133.00 | 249.00 | 478457.76 | 363.00 | 697510.71 | 350.00 | 672530.98 | 478457.76 | RKANDSONS
36.00 | Providing and applying Plastic Emulsion paint of Asian paints /Lewis Berger /ICI Dulux/Nippon/Nerolac make of approved shade in two or more coats over a coat of primer including preparation of surface with required coats of putty using Birla/ JK make, sand papering etc., to get good finish at all elevations, all as per drawings and specifications | 3269.20 | Sq. Meter | 134.00 | 211.00 | 689801.58 | 380.00 | 1242296.68 | 325.00 | 1062490.58 | 689801.58 | RKANDSONS
37.00 | Providing and applying Exterior Emulsion Paint of Apex of Asian paints/Weather cote of Lewis Berger /Weather shield of ICI Dulux/Sumo Xtra of Nippon/Nerolac make & shade in two or more coats to give an even shade over a coat of primer as per manufacturer's instructions to the external plastered surfaces including preparation of surfaces, scaffolding etc. at all elevations, complete as per drawings and specifications | 1532.90 | Sq. Meter | 135.00 | 211.00 | 323442.13 | 392.00 | 600897.23 | 250.00 | 383225.28 | 323442.13 | RKANDSONS
38.00 | Flooring
39.00 | Providing and Fixing in position Vitrified tile floor/skirting tiles (Non-Skit) of JOHNSON/ SOMANY/ REGENCY/NITCO/BELL/ KAJARIA or other approved make of size not less than 600x600 mm Or other approved sizes, thickness not less than 8mm/12mm of approved colours as per the design including setting in cement mortar 1:4, 20 mm thick base layer, pointing the joints neatly with white cement with pigment to match with tiles, all as per drawings and specifications | 325.02 | Sq. Meter | 137.00 | 1422.00 | 462184.55 | 1310.00 | 425781.83 | 1500.00 | 487536.45 | 425781.83 | M/s Sri Aneka Properties Private Limited
40.00 | Providing and Fixing in position Vitrified tile wall tiles/dado of JOHNSON/ SOMANY/ REGENCY/NITCO/BELL/ KAJARIA or other approved make of size of 450x600 or 600x600 mm Or other approved sizes, thickness not less than 8mm/12mm of approved colours as per the design including setting in cement mortar 1:4, 20 mm thick base layer, pointing the joints neatly with white cement with pigment to match with tiles, all as per drawings and specifications | 431.56 | Sq. Meter | 138.00 | 1459.00 | 629643.71 | 1355.00 | 584761.63 | 1400.00 | 604181.76 | 584761.63 | M/s Sri Aneka Properties Private Limited
41.00 | Providing and Fixing in position Vitrified tile for toilet floors (Anti-Slip) of JOHNSON/ SOMANY/ REGENCY/NITCO/BELL/ KAJARIA or other approved make of size not less than 600x600 mm Or other approved sizes, thickness not less than 8mm/12mm of approved colours as per the design including setting in cement mortar 1:4, 20 mm thick base layer, pointing the joints neatly with white cement with pigment to match with tiles, all as per drawings and specifications | 38.33 | Sq. Meter | 139.00 | 1400.00 | 53655.00 | 1419.00 | 54383.18 | 1450.00 | 55571.25 | 53655.00 | RKANDSONS
42.00 | Providing and laying 20mm thick (+-2mm) polished Natural granite slab of approved colour as per requirement, for platform/flooring/wall cladding and other surfaces as directed with all exposed surfaces buffed, making half/full round nosing, set over a base of cement mortar 1:4, 20 mm thick neatly pointed with white cement and colouring pigments to match the shade of the stone as per the requirement, curing, rubbing, polishing, etc complete as per drawings and specifications | 90.64 | Sq. Meter | 140.00 | 5125.00 | 464536.15 | 1835.00 | 166326.60 | 4000.00 | 362564.80 | 166326.60 | M/s Sri Aneka Properties Private Limited
43.00 | Providing and laying two coats of total 200 microns of Polymer-bitumen epoxy based paint "APCODUR CF - 641" by Asian Paints/Berger/Spectrum/Tuffcoat/Shalimar make including preparation of the concrete surface to be painted, applying primer coats as per manufacturer specifications, including scaffolding, cleaning surfaces, protecting, cleaning, curing, including all materials, necessary equipment, labour etc., complete as per manufacturer's specifications | 141.78 | Sq. Meter | 141.00 | 353.00 | 50048.80 | 411.00 | 58272.11 | 425.00 | 60257.05 | 50048.80 | RKANDSONS
44.00 | Providing false flooring with antistatic skirting, false flooring tile size 600mmX600mmX35-38mm Calcium Sulphate/Cementitious based with edge band and Faced with Antistatic high pressure Laminate or Antistatic PVC Sheet and with Galvanised steel sheet underside false flooring. per specification/drawing and as directed by engineer in charge. | 482.52 | Sq. Meter | 142.00 | 1825.00 | 880591.15 | 2913.00 | 1405568.23 | 6900.00 | 3329358.33 | 880591.15 | RKANDSONS
45.00 | Providing and laying Indian Patent stone (IPS) flooring with skirting,cement concrete 1:2:4, 40 mm thick using 10mm maximum size stone aggregate including providing and placing glass strips of 5mm thick of approved quality required depth, grooves, consolidating, curing, rubbing the surface smooth, all complete as per drawings and specifications | 141.78 | Sq. Meter | 143.00 | 489.00 | 69331.06 | 983.00 | 139371.02 | 800.00 | 113425.04 | 69331.06 | RKANDSONS
46.00 | Supplying and laying one course of best quality pressed clay flat tiles 20mm thick of size as required mm, laid over the roof slab/walls over a base of 20mm thick cement mortar 1:3 mixed with approved quality water proofing compounds as per manufacturers specifications and joints pointed neatly in cement mortar 1:3 mixed with approved quality water proofing compounds as per manufacturers specifications | 50.14 | Sq. Meter | 144.00 | 609.00 | 30533.74 | 1509.00 | 75657.49 | 1150.00 | 57658.12 | 30533.74 | RKANDSONS
47.00 | Providing and laying minimum 2mm thick Antistatic/PVC vinyl flooring (Industrial grade) of approved colour pattern and designs of approved make for flooring, skirting laid on existing flooring/ skirting with suitable adhesive as per drawings and manufacturers specifications | 29.29 | Sq. Meter | 145.00 | 1488.00 | 43588.58 | 3341.00 | 97869.25 | 750.00 | 21970.05 | 21970.05 | S.A.V.Constructions
48.00 | False ceiling work
49.00 | Supplying & Fixing in position suspended Gypsum board False ceiling and side cladding with anodised aluminium frame work using anodised aluminium sections, with adjustable GI rods, holding cleats grid work suitably modified along the walls and beams, fixed with anchor bolts, making extra frame work around the Air conditioning and electrical fixtures and fittings fixed with necessary clips, Supplying and Fixing 12.5 mm thick GYPBOARD as per IS: 2095 etc. complete as per specifications. | 871.96 | Sq. Meter | 147.00 | 952.00 | 830106.78 | 2119.00 | 1847685.15 | 1100.00 | 959156.99 | 830106.78 | RKANDSONS
50.00 | Providing and Fixing Terracotta jally of 75mm thick of approved size and pattern including chasing the masonry/concrete if required and Fixing with CM 1:3 true to line and plumb & making good the surfaces, curing etc. at all elevations, complete all as per drawings and specifications | 24.15 | Sq. Meter | 148.00 | 203.00 | 4902.45 | 1138.00 | 27482.70 | 850.00 | 20527.50 | 4902.45 | RKANDSONS
51.00 | Doors and Windows
52.00 | Providing and Fixing Anodized Aluminium doors, hinged / sliding windows & ventilators and partitions with extruded built up standard tubular and other sections of approved make conforming to IS:733 and IS:1285 fixed with rawl plugs and screws or with Fixing clips or with expansion hold fasteners including filling up of gap at junctions, at top, at bottom and sides with required PVC / Neoprene felt etc, aluminium sections are smooth rust free, straight, mitered and jointed mechanically wherever required, sections are prepared to receive the glass or particle board of specified thickness including aluminium snap beading, CP brass / stainless steel screws, providing and Fixing all powder coated fixtures and fittings all complete as per drawings and specifications | 718.65 | kg | 150.00 | 1018.00 | 731580.71 | 878.00 | 630970.40 | 590.00 | 424000.61 | 424000.61 | S.A.V.Constructions
53.00 | Supply and Fixing of Both side laminated Board of 12 mm thick IS make of approved colour as specified in drawing/specification. cost inclusive of opening the joints and Fixing the new board and re-Fixing the shutter in original position with necessary tools, tackles, men, material etc., complete (only clear area will be measured) | 1.51 | Sq. Meter | 151.00 | 1309.00 | 1979.21 | 2239.00 | 3385.37 | 1050.00 | 1587.60 | 1587.60 | S.A.V.Constructions
54.00 | Providing and Fixing frosted 4mm thick glazing, Modi guard/Saint Gobain/Hindustan/ Borosil/Asahi India/La Opala RG Ltd make for aluminium windows and ventilator shutters fixed glazing, with PVC/neoprene gasket, aluminium snap beading etc. all complete as per drawings and specifications (Cost of aluminium snap beadings will be paid in Aluminium item). | 33.01 | Sq. Meter | 152.00 | 1325.00 | 43740.90 | 2246.00 | 74144.95 | 950.00 | 31361.40 | 31361.40 | S.A.V.Constructions
55.00 | Providing and Fixing PVC door frame of size 50 x 47 mm with a wall thickness of 5mm made out of extruded 5 mm rigid foam sheet, mitre cut at two corners and jointed with 2nos of 150mm long brackets of 15 x 15 mm MS square tube in two corners. The two vertical door profile are to be reinforced with 19x19mm phosphated square tube of 19 gauge & hard wood shall be inserted in re square tube. EPDM Rubber gasket weather seal to be provided throughout re-frame, the door frame shall be fixed to the wall by drilling 100 mm long stainless screws through the frame by using PVC fasteners on each side of the verticals, minimum 4 nos of screws to be provided for each vertical member and the Door shutter shall be of 30 mm thick PVC panel door of approved shade and design made out of 5 mm thick C-channels of width 50 mm to form the styles and rails the inner panel shall be of minimum 5 mm thick which is welded/sealed to the style and rails along with 5 x 25 mm PVC beading on all sides and both faces. The shutter frames shall be square M.S. tube of heavy gauge 20 x 20mm on all sides including providing and Fixing fittings and fixture as per relevant IS such as 75mm SS hinges-3 Nos, 75mm Aluminium handle-2 Nos and 100mm aluminium Tower bolt - 2 nos etc complete as per specifications | 8.27 | Sq. Meter | 153.00 | 4514.00 | 37325.36 | 3702.00 | 30611.10 | 2100.00 | 17364.48 | 17364.48 | S.A.V.Constructions
56.00 | Providing and Fixing heavy duty hydraulic door closers of SHUTWELL/OPEL/KBD/KADSON/CORE/DORSET/GAZE/OZONE/ARCHIS/DYNA/EVEREST makes confirming to IS 3564 for doors including the cost of required tools, labour etc complete as per specifications
57.00 | Supply | 23.00 | No. | 155.00 | 1889.00 | 43447.00 | 3182.00 | 73186.00 | 3000.00 | 69000.00 | 43447.00 | RKANDSONS
58.00 | Fixing | 23.00 | No. | 156.00 | 144.00 | 3312.00 | 503.00 | 11569.00 | 250.00 | 5750.00 | 3312.00 | RKANDSONS
59.00 | Supplying and Fixing Mortice lock 4 levers of Godrej/ Doorset/ Yale/ Ozone/Milano/Atom/Spider/IPSA makes with all fittings and fixtures etc., complete
60.00 | Supply | 23.00 | No. | 158.00 | 2077.00 | 47771.00 | 3925.00 | 90275.00 | 2000.00 | 46000.00 | 46000.00 | S.A.V.Constructions
61.00 | Fixing | 23.00 | No. | 159.00 | 433.00 | 9959.00 | 503.00 | 11569.00 | 300.00 | 6900.00 | 6900.00 | S.A.V.Constructions
62.00 | Providing and Fixing sun control polyester film of Modi/Garware/3M make for the glazed surfaces as per drawings and specifications | 20.16 | Sq. Meter | 160.00 | 877.00 | 17680.32 | 1007.00 | 20301.12 | 400.00 | 8064.00 | 8064.00 | S.A.V.Constructions
63.00 | Providing and fixing double leaf glazed door for main entrance using 12mm thick toughened glass of Saint gobain / Modi / AIS make, including providing 15micron thick powder coated 150mm wide Aluminium section over the top & bottom of the shutter for the full width and providing necessary approved pivots, 2nos of heavy duty floor springs, locking arrangement, 2nos of Stainless steel ‘D’ handles of 300 mm size with brush finish all as per drawing, specifications and as directed by the engineer in charge. | 4.54 | Sq. Meter | 161.00 | 17449.00 | 79148.66 | 4183.00 | 18974.09 | 11000.00 | 49896.00 | 18974.09 | M/s Sri Aneka Properties Private Limited
64.00 | Providing and Fixing semi unitized structural glazing fixed / openable (glazing visible from exterior surface) using 6mm thick heat strengthened reflective type glass of Modi guard/Saint Gobain/Hindustan/Borosil/Asahi India/La Opala RG Ltd/AIS make and approved shades with frame work using extruded anodized Aluminium section (20 micron) of approved shade with sub frame system using JINDAL / INDAL / HINDALCO make of approved size, including making necessary opening arrangement in the openable area , Fixing the Aluminium grid work in to the masonry / RCC with necessary fastening materials such as SS brackets, Anchor fasteners, cleats, nuts, bolts, rivets, washers, including fixtures required for Fixing glass such as double side adhesive tape, silicon sealant (Dowcorning), weather strip, weather sealant etc., at all elevations with necessary scaffolding arrangements etc all as per drawings and specifications :: Note: (i) The contractor shall submit the design for aluminium grid work for structural glazing with parameters such as wind pressure 200kg/ M2, necessary seismic loads as per relevant code of practices. Weight of Aluminium grid work shall not be less than 7.5kg/Sq. Meter with arrangements for arresting rain water and the same shall be approved by Engineer in charge before taking up the work. (ii) The rate is inclusive of design; preparation of supporting drawings, all material, labour, scaffolding etc., the measurement will be paid as per the finished area. | 33.17 | Sq. Meter | 162.00 | 19396.00 | 643355.62 | 21742.00 | 721171.27 | 4500.00 | 149262.75 | 149262.75 | S.A.V.Constructions
65.00 | Metal Door
66.00 | Supplying and Fixing of Flush Doors of Solid core type confirming to IS : 2202, 32MM TO 35 mm thick single leaf chemically treated and seasoned WOOD, core is framed in treated and seasoned wooden battens and strengthened by a layer of cross-bands, face veneers encompass both sides of the core, bonded with phenol formaldehyde resin and permanent type preservatives, under the cross-bonding process and internally lipped with treated wood for various structural openings including providing and Fixing of fixtures and fittings as per relevant IS such as Aluminium D handles 150mm 2 Nos, 300mm long 16mm dia Aluminium Aldrop 1 No, 300mm long tower bolt 1 No, 150mm long tower bolt 1 No., Magnetic Catcher 1 No, 50mm bush 1 No & door stopper 1 No etc and Fixing the Flush door with the 4 Nos of 125 mm hinges provided in the door frame all as per the drawings and specifications. | 144.38 | Sq. Meter | 164.00 | 4290.00 | 619368.75 | 14920.00 | 2154075.00 | 3000.00 | 433125.00 | 433125.00 | S.A.V.Constructions
67.00 | Providing and Fixing pressed steel door frame of approved make conforming to IS:4351 made out of pressed steel 1.25 mm thick including 125mm long, S.S. butt hinges and providing hold fasts/screws for embedding in to concrete/brick masonry with cement concrete 1:2:4 as directed and making provision for Fixing lock, aldrop, tower bolt, door springs etc., complete as per drawings and specification, including providing and applying one coat of approved quality zinc chromate primer and filling inside the frame with PCC 1:2:4 all as per drawings and specifications
68.00 | Single rebate of size 105 X 60 mm with 4 Nos. of SS butt hinges 125mm long are to be provided for Single shutter | 80.39 | Meter | 166.00 | 1110.00 | 89230.68 | 4080.00 | 327983.04 | 750.00 | 60291.00 | 60291.00 | S.A.V.Constructions
69.00 | Supplying and Fixing in position approved quality 18SWG steel rolling shutter, push and pull type made of MS girders, pressed bottom rails, brackets, extra strong door suspension shaft with fully and cage with cowl, top rolling springs, hood locking arrangements, all fittings and accessories as per approved drawings including providing and applying two coats of approved quality synthetic enamel paint over a coat of zinc chromite primer, Fixing at all levels as per drawings and specifications Note:(1)payment will be made based on the clear structural opening dimensions only and not full size of shutter (2). The hood will not be measured for payment | 6.05 | Sq. Meter | 167.00 | 6177.00 | 37358.50 | 10198.00 | 61677.50 | 3650.00 | 22075.20 | 22075.20 | S.A.V.Constructions
70.00 | Supplying and Fixing of Flush Doors of Solid core type confirming to IS : 2202, 30 mm thick single leaf manufactured from BORON based chemically treated and vacuum seasoned WOOD, core is framed in treated and seasoned wooden battens and strengthened by a layer of cross-bands, face veneers encompass both sides of the core, bonded with phenol formaldehyde resin and permanent type preservatives, under the cross-bonding process and internally lipped with treated wood for various structural openings including providing and Fixing of fixtures and fittings as per relevant IS such as Aluminium D handles 150mm 2 Nos, 300mm long 16mm dia Aluminium Aldrop 1 No, 300mm long tower bolt 1 No, 150mm long tower bolt 1 No., Magnetic Catcher 1 No etc and Fixing the Flush door with the hinges provided in the door frame all as per the drawings and specifications. | 80.39 | Sq. Meter | 168.00 | 6273.00 | 504273.92 | 9032.00 | 726064.42 | 2800.00 | 225086.40 | 225086.40 | S.A.V.Constructions
71.00 | PVC Doors
72.00 | Providing and Fixing PVC door frame of size 50 x 47 mm with a wall thickness of 5mm made out of extruded 5 mm rigid foam sheet, mitre cut at two corners and jointed with 2nos of 150mm long brackets of 15 x 15 mm MS square tube in two corners. The two vertical door profile are to be reinforced with 19x19mm phosphated square tube of 19 gauge & hard wood shall be inserted in re square tube. EPDM Rubber gasket weather seal to be provided throughout re-frame, the door frame shall be fixed to the wall by drilling 100 mm long stainless screws through the frame by using PVC fasteners on each side of the verticals, minimum 4 nos of screws to be provided for each vertical member and the Door shutter shall be of 30 mm thick PVC panel door of approved shade and design made out of 5 mm thick C-channels of width 50 mm to form the styles and rails the inner panel shall be of minimum 5 mm thick which is welded/sealed to the style and rails along with 5 x 25 mm PVC beading on all sides and both faces. The shutter frames shall be square M.S. tube of heavy gauge 20 x 20mm on all sides including providing and Fixing fittings and fixture as per relevant IS such as 75mm SS hinges-3 Nos, 75mm Aluminium handle-2 Nos and 100mm aluminium Tower bolt - 2 nos etc complete as per specifications | 8.27 | Sq. Meter | 170.00 | 4514.00 | 37325.36 | 8877.00 | 73402.14 | 1800.00 | 14883.84 | 14883.84 | S.A.V.Constructions
73.00 | Providing and Fixing factory made UPVC white colour casement/sliding window using extruded profiles. Profiles of frames and sash will be mitered cut and fusion welded at all corners, including drilling of holes for Fixing hardware and drainage of water etc., making arrangement for Fixing of hardware, EPDM gasket, 1.2 ± 0.2 mm thick galvanised steel profile to be inserted in required profile, frame will be fixed to the wall with 8 mm x 100 mm long fasteners and other fixturs etc all complete as per drawings and manufacturers specifications
74.00 | UPVC Sliding window glazed with 5mm thick glass shutter | 34.97 | Sq. Meter | 172.00 | 7145.00 | 249824.93 | 8521.00 | 297936.77 | 8200.00 | 286713.00 | 249824.93 | RKANDSONS
75.00 | Roof water proofing, Insulation & Allied work:
76.00 | Preparation of underbed for roof insulation on horizontal surfaces with light weight concrete of density 600 to 800 kg/Cum of approved mix as per approved procedure with minimum thickness of 25mm , to provide required slope as specified in the drawing, laid in panels including area around roof rain water downcomers and ventilation ducts on the roof, including all materials, fixing, laying, curing, manpower, equipment etc, all complete as per specifications and as directed by NPCIL. | 143.82 | Sq. Meter | 174.00 | 7499.00 | 1078536.93 | 1418.00 | 203942.57 | 5500.00 | 791032.55 | 203942.57 | M/s Sri Aneka Properties Private Limited
77.00 | Supply and application of highly elastic, two component spray applied PU foam insulation of 40 mm thick in single layer including preparation of surface, primer of 75 micron thick, overlaid with 2mm thick PU membrane base coat and 500 micron thick protective aliphatic polyurethane UV resistant top coat . i.e total PU thickeness of 2.5mm excluding thickness of foam and primer from the approved manufacturer/ system, including hydro swelling paste at penetrations, all complete as per technical specifications and as directed by NPCIL. | 1198.53 | Sq. Meter | 175.00 | 8076.00 | 9679359.78 | 3677.00 | 4407009.15 | 5200.00 | 6232376.28 | 4407009.15 | M/s Sri Aneka Properties Private Limited
78.00 | Supply and application of solvent free epoxy primer of 75 micron thickness with quartz sand of required grade, size and proportions, 2mm thick PU membrane base coat and 500 micron thick protective polyurethane UV resistant top coat i.e. total PU thickness of 2.5mm (excluding primer thickness) from the approved manufacturer/ system, including hydro swelling paste at penetrations, all complete as per technical specifications and as directed by NPCIL | 1198.53 | Sq. Meter | 176.00 | 4788.00 | 5738580.31 | 2941.00 | 3524888.20 | 3000.00 | 3595601.70 | 3524888.20 | M/s Sri Aneka Properties Private Limited
79.00 | PLINTH PROTECTION
80.00 | Providing and laying M30 grade 60 mm thick coloured interlocking precast concrete pavers blocks as per relevant IS of approved shape over a profiled layer to the required line, pattern etc., all as per drawings and specifications | 312.14 | Sq. Meter | 178.00 | 868.00 | 270940.99 | 983.00 | 306837.55 | 750.00 | 234108.00 | 234108.00 | S.A.V.Constructions
81.00 | Providing and filling /spreading Crusher sand 30mm thick (compacted thickness) for preparation of base to lay interlocking precast concrete paver blocks including, leveling, placing, to the required slope, compacting with roller etc complete as per drawings and specifications. (Payment shall be made only for compacted thickness) | 9.36 | Cu. Meter | 179.00 | 1947.00 | 18232.29 | 3420.00 | 32025.91 | 1150.00 | 10768.94 | 10768.94 | S.A.V.Constructions
82.00 | Providing and laying crushed stone aggregate bed of 60mm thick (compacted thickness) for preparation of base to lay interlocking precast concrete paver blocks using 12 mm down graded stone aggregate including, leveling, placing, to the required slope, compacting with roller etc as per drawings and specifications. (Payment shall be made only for compacted thickness) | 18.73 | Cu. Meter | 180.00 | 1730.00 | 32400.48 | 2299.00 | 43057.05 | 950.00 | 17792.17 | 17792.17 | S.A.V.Constructions
83.00 | Water closets Providing and Fixing in position approved quality Anglo Indian type water closet of Hindware/Cera/Nycer/Parryware/Prayag/Johnson/Somany make comprising of (a) Wash down AIWC in white glazed vitreous chinaware with integral "P/S" trap, Fixing in position with the floor by Brass screws, (b) White solid seat cover with CP pillar hinges and rubber buffers etc complete as per drawings and specifications
84.00 | Supply | 2.00 | No. | 182.00 | 6345.00 | 12690.00 | 7069.00 | 14138.00 | 4500.00 | 9000.00 | 9000.00 | S.A.V.Constructions
85.00 | Fixing | 2.00 | No. | 183.00 | 433.00 | 866.00 | 1962.00 | 3924.00 | 1500.00 | 3000.00 | 866.00 | RKANDSONS
86.00 | Wash basin Providing and Fixing in position best quality vitreous chinaware hand wash basin of 550x400mm size white colour of Hindware/Cera/Nycer/Parryware/Prayag/Johnson/Somany make and Fixing with including connecting wash Rug bolt of approved size and make as per drawings and specifications
87.00 | Supply | 2.00 | No. | 185.00 | 3100.00 | 6200.00 | 6445.00 | 12890.00 | 2500.00 | 5000.00 | 5000.00 | S.A.V.Constructions
88.00 | Fixing | 2.00 | No. | 186.00 | 216.00 | 432.00 | 1635.00 | 3270.00 | 200.00 | 400.00 | 400.00 | S.A.V.Constructions
89.00 | Providing and Fixing heavy quality 15mm dia CP brass angle cock as per relevant IS, Adson/Cera/Parryware/ Prayag/ Watgerman/ Asian(ESSESS)/ Hindware/Johnson/Somany make as per drawings and specifications
90.00 | Supply | 12.00 | No. | 188.00 | 558.00 | 6696.00 | 485.00 | 5820.00 | 800.00 | 9600.00 | 5820.00 | M/s Sri Aneka Properties Private Limited
91.00 | Fixing | 12.00 | No. | 189.00 | 13.00 | 156.00 | 245.00 | 2940.00 | 25.00 | 300.00 | 156.00 | RKANDSONS
92.00 | Providing and Fixing 15 mm size heavy quality CP brass pillar cock easy clean type as per relevant IS for wash basin with capstan head Adson/Cera/Parryware/ Prayag/ Watgerman/ Asian(ESSESS)/ Hindware/Johnson/Somany make as per drawings and specifications
93.00 | Supply | 2.00 | No. | 191.00 | 1023.00 | 2046.00 | 997.00 | 1994.00 | 1000.00 | 2000.00 | 1994.00 | M/s Sri Aneka Properties Private Limited
94.00 | Fixing | 2.00 | No. | 192.00 | 16.00 | 32.00 | 181.00 | 362.00 | 25.00 | 50.00 | 32.00 | RKANDSONS
95.00 | Providing and Fixing heavy quality 15 mm dia, CP brass screw down long bodied bib tap with CP brass flanges as per relevant IS, Adson/Cera/Parryware/ Prayag/ Watgerman/ Asian(ESSESS)/ Hindware/Johnson/Somany make as per drawings and specifications
96.00 | Supply | 4.00 | No. | 194.00 | 1242.00 | 4968.00 | 870.00 | 3480.00 | 1200.00 | 4800.00 | 3480.00 | M/s Sri Aneka Properties Private Limited
97.00 | Fixing | 4.00 | No. | 195.00 | 13.00 | 52.00 | 181.00 | 724.00 | 25.00 | 100.00 | 52.00 | RKANDSONS
98.00 | Providing and Fixing in position approved European type water closet of Hindware/Cera/ Nycer/ Parryware/Prayag/Johnson/Somany make comprising of a) Wash down EWC in white glazed vitreous chinaware with integral "P" of "S" trap with or without vent and jointing the trap with soil pipe in CM 1:1 b) Hindware/Cera/ Nycer/Parryware make PVC 10 liters capacity low level flushing cistern with all syphonic fittings. c) White solid plastic seat cover with CP pillar hinges and rubber buffers etc complete as per drawings and specifications
99.00 | Supply | 2.00 | No. | 197.00 | 5905.00 | 11810.00 | 3988.00 | 7976.00 | 5000.00 | 10000.00 | 7976.00 | M/s Sri Aneka Properties Private Limited
100.00 | Fixing | 2.00 | No. | 198.00 | 2379.00 | 4758.00 | 997.00 | 1994.00 | 1500.00 | 3000.00 | 1994.00 | M/s Sri Aneka Properties Private Limited
101.00 | Providing and Fixing in position white vitreous china flat back lipped front urinal basin of size 430 x260 x 350 mm with integral flushing rim Hindware/Cera/Nycer/Parryware/Prayag/Johnson/Somany , CI concealed brackets including CP brass spreader of Hindware/Cera/Nycer/ Parryware/Prayag/Johnson/Somany make with complete fittings including painting of bracket etc., complete as per drawings and specifications
102.00 | Supply | 4.00 | No. | 200.00 | 2365.00 | 9460.00 | 1812.00 | 7248.00 | 1500.00 | 6000.00 | 6000.00 | S.A.V.Constructions
103.00 | Fixing | 4.00 | No. | 201.00 | 1745.00 | 6980.00 | 598.00 | 2392.00 | 700.00 | 2800.00 | 2392.00 | M/s Sri Aneka Properties Private Limited
104.00 | Providing and Fixing heavy quality PTMT bottle trap as per IS-9763 of Prayag/Polytuf/Wavin Vectus/King pipes/Polo India/Plasto make of self cleaning design for wash basin. - 32 mm nominal bore
105.00 | Supply | 2.00 | No. | 203.00 | 1227.00 | 2454.00 | 362.00 | 724.00 | 800.00 | 1600.00 | 724.00 | M/s Sri Aneka Properties Private Limited
106.00 | Fixing | 2.00 | No. | 204.00 | 35.00 | 70.00 | 90.00 | 180.00 | 50.00 | 100.00 | 70.00 | RKANDSONS
107.00 | Providing and Fixing heavy quality 32mm CP brass waste coupling for Wash basin Adson/Cera/Parryware/Prayag/Watgerman/Asian(ESSESS)/Hindware/Johnson/Somany make with or without overflow with rubber plug ball chain with necessary check nut as per drawings and specifications
108.00 | Supply | 4.00 | No. | 206.00 | 578.00 | 2312.00 | 235.00 | 940.00 | 300.00 | 1200.00 | 940.00 | M/s Sri Aneka Properties Private Limited
109.00 | Fixing | 4.00 | No. | 207.00 | 35.00 | 140.00 | 72.00 | 288.00 | 25.00 | 100.00 | 100.00 | S.A.V.Constructions
110.00 | Providing and Fixing in position mirror of size 600 x 450mm, made of Indian glass 6mm thick manufactured by Modi guard/Saint Gobain/Hindustan/Borosil/Asahi India/La Opala RG Ltd make factory silvered with PVC backing 4mm thick etc., complete as per drawings and specifications
111.00 | Supply | 2.00 | No. | 209.00 | 2381.00 | 4762.00 | 688.00 | 1376.00 | 2200.00 | 4400.00 | 1376.00 | M/s Sri Aneka Properties Private Limited
112.00 | Fixing | 2.00 | No. | 210.00 | 235.00 | 470.00 | 217.00 | 434.00 | 200.00 | 400.00 | 400.00 | S.A.V.Constructions
113.00 | Supply and Fixing of 15 mm, 1 m length Health faucet of JAQUAR/CRABTREE/KOHLER make and with all necessary accessories etc., complete as per drawings and specifications
114.00 | Supply | 2.00 | No. | 212.00 | 1514.00 | 3028.00 | 1577.00 | 3154.00 | 1500.00 | 3000.00 | 3000.00 | S.A.V.Constructions
115.00 | Fixing | 2.00 | No. | 213.00 | 245.00 | 490.00 | 271.00 | 542.00 | 200.00 | 400.00 | 400.00 | S.A.V.Constructions
116.00 | PVC Rain water pipes Providing, Fixing and testing PVC rain water pipes of 160 mm dia as per IS-13592 of Type A of Prince/Jain/ Kitec/Finolex/Supreme/ Astral/Ashirvad make with necessary fittings and fixtures, such as bottom shoe, PVC grating, GI clamps, screws/nails wooden packing pieces at minimum 1 m spacing, cost inclusive of Fixing the shoes in brick masonry in CM 1:6 and plastering the same with CM 1:4 etc complete as per drawings and specifications
117.00 | Supply | 48.00 | RM | 215.00 | 447.00 | 21456.00 | 1033.00 | 49584.00 | 475.00 | 22800.00 | 21456.00 | RKANDSONS
118.00 | Fixing | 48.00 | RM | 216.00 | 389.00 | 18672.00 | 326.00 | 15648.00 | 200.00 | 9600.00 | 9600.00 | S.A.V.Constructions
119.00 | Providing and laying under floor PVC pipes of Prince/Jain/ Kitec/Finolex/Supreme/ Astral/Ashirvad make as per IS-15328 of latest version and required specials for soil, waste pipes etc complete as per drawings and specifications (Earth work excavation will be paid under relevant item).
120.00 | Supply - 110mm dia | 18.00 | RM | 218.00 | 356.00 | 6408.00 | 416.00 | 7488.00 | 400.00 | 7200.00 | 6408.00 | RKANDSONS
121.00 | Fixing - 110mm dia | 18.00 | RM | 219.00 | 306.00 | 5508.00 | 163.00 | 2934.00 | 150.00 | 2700.00 | 2700.00 | S.A.V.Constructions
122.00 | Supply -160 mm dia | 200.00 | RM | 220.00 | 761.00 | 152200.00 | 815.00 | 163000.00 | 650.00 | 130000.00 | 130000.00 | S.A.V.Constructions
123.00 | Fixing -160 mm dia | 200.00 | RM | 221.00 | 433.00 | 86600.00 | 217.00 | 43400.00 | 200.00 | 40000.00 | 40000.00 | S.A.V.Constructions
124.00 | Nahani Trap
125.00 | Providing and Fixing single/multi PVC Nahani trap of self cleaning design with 75 mm dia outlet, Prince/Jain/ Kitec/Finolex/Supreme/ Astral/ Ashirvad make as per relevant IS, Stainless steel Grating and including necessary cement concrete 1:2:4 for embedding and making good the floor, connecting the trap to the waste pipe, forming circular hole up to floor level and rendering smooth etc. Complete as per drawings and specifications | 10.00 | No. | 223.00 | 182.00 | 1820.00 | 947.00 | 9470.00 | 150.00 | 1500.00 | 1500.00 | S.A.V.Constructions
126.00 | Providing and Fixing polyethylene - Aluminium polyethylene (PE-AL-PE) composite pressure pipe UV stabilized with carbon black confirming to IS:15450-2004 for water Supply including providing and Fixing box clamps at 1000mm spacing for external works and laying under floor wherever required and cutting the walls for required depth for concealed installation including cutting charges and making good the walls for internals and providing and Fixing all the required specials/fittings etc wherever required at all elevations including cost of scaffolding etc. complete as per drawings and specifications (Earthwork excavation will be paid under relevant item)
127.00 | Supply(Pipe with required specials as required) - 20-25mm dia | 40.00 | RM | 225.00 | 262.00 | 10480.00 | 226.00 | 9040.00 | 250.00 | 10000.00 | 9040.00 | M/s Sri Aneka Properties Private Limited
128.00 | Fixing - 20-25mm dia | 40.00 | RM | 226.00 | 342.00 | 13680.00 | 108.00 | 4320.00 | 150.00 | 6000.00 | 4320.00 | M/s Sri Aneka Properties Private Limited
129.00 | Supply(Pipe with required specials as required) -40-50mm dia | 210.00 | RM | 227.00 | 844.00 | 177240.00 | 380.00 | 79800.00 | 750.00 | 157500.00 | 79800.00 | M/s Sri Aneka Properties Private Limited
130.00 | Fixing - 40-50mm dia | 210.00 | RM | 228.00 | 411.00 | 86310.00 | 126.00 | 26460.00 | 200.00 | 42000.00 | 26460.00 | M/s Sri Aneka Properties Private Limited
131.00 | Providing and Fixing in position at all elevations PVC pipes of "Prince/Jain/ Kitec/Finolex/Supreme/Astral/Ashirvad" make of Type-B conforming to IS 13592 of latest version and specials such as bends, junctions with or without doors, cowls, etc., for soil, waste, vent or anti-syphonage pipes & for under floors etc with necessary clamps and wooden packing pieces at minimum 1 m spacing etc complete as per drawings and specifications
132.00 | Supply - 110 mm | 18.00 | RM | 230.00 | 375.00 | 6750.00 | 326.00 | 5868.00 | 350.00 | 6300.00 | 5868.00 | M/s Sri Aneka Properties Private Limited
133.00 | Fixing - 110 mm | 18.00 | RM | 231.00 | 288.00 | 5184.00 | 108.00 | 1944.00 | 150.00 | 2700.00 | 1944.00 | M/s Sri Aneka Properties Private Limited
134.00 | Supply -75 mm | 18.00 | RM | 232.00 | 280.00 | 5040.00 | 226.00 | 4068.00 | 250.00 | 4500.00 | 4068.00 | M/s Sri Aneka Properties Private Limited
135.00 | Fixing - 75mm | 18.00 | RM | 233.00 | 202.00 | 3636.00 | 90.00 | 1620.00 | 100.00 | 1800.00 | 1620.00 | M/s Sri Aneka Properties Private Limited
136.00 | Supply - 50mm | 24.00 | RM | 234.00 | 180.00 | 4320.00 | 172.00 | 4128.00 | 175.00 | 4200.00 | 4128.00 | M/s Sri Aneka Properties Private Limited
137.00 | Fixing - 50mm | 24.00 | RM | 235.00 | 173.00 | 4152.00 | 81.00 | 1944.00 | 75.00 | 1800.00 | 1800.00 | S.A.V.Constructions
138.00 | Providing and placing on terrace (at all floor levels) polyethene water Storage Tanks capacity as required of Sintex/Aquatec/Supreme Industrie/Penguin Tank Industries/Vectus Industries make with cover and suitable locking arrangements and making holes for inlet, outlet, scour and overflow pipes as per drawings and specifications | 5000.00 | litres | 236.00 | 12.00 | 60000.00 | 15.00 | 75000.00 | 12.00 | 60000.00 | 60000.00 | S.A.V.Constructions, RKANDSONS
139.00 | Providing and Fixing in position Hindware/Cera/Nycer/Parryware/Prayag/Johnson/Somany make of Urinal division plate of 700x340x120mm size as per manufacturers specification and as per drawings and specifications
140.00 | Supply | 3.00 | No. | 238.00 | 3100.00 | 9300.00 | 3988.00 | 11964.00 | 3000.00 | 9000.00 | 9000.00 | S.A.V.Constructions
141.00 | Fixing | 3.00 | No. | 239.00 | 1803.00 | 5409.00 | 815.00 | 2445.00 | 1000.00 | 3000.00 | 2445.00 | M/s Sri Aneka Properties Private Limited
142.00 | Providing and Fixing of 600 mm x 20 mm CP brass towel rod of Adson/Cera/Parryware/ Prayag/ Watgerman/Asian(ESSESS)/ Hindware/Johnson/Somany make, with a pair of CP brass brackets and wall flanges fixed to wall with CP brass screws screwed on to wooden plugs embedded in wall etc., complete as per drawings and specifications
143.00 | Supply | 4.00 | No. | 241.00 | 1154.00 | 4616.00 | 1323.00 | 5292.00 | 1000.00 | 4000.00 | 4000.00 | S.A.V.Constructions
144.00 | Fixing | 4.00 | No. | 242.00 | 288.00 | 1152.00 | 271.00 | 1084.00 | 150.00 | 600.00 | 600.00 | S.A.V.Constructions
145.00 | Providing and Fixing isolating composite Brass Ball valve "Akar/Zolato/Leader" make with compression type integral seal end connection suitable for PE-AL-PE composite piping system as per IS-15450, suitable for hot and cold water Supply as per drawings and specifications
146.00 | Supply of Isolating composite Brass Ball valve - 32x32mm (Suitable for 2532 composite pipe) | 2.00 | No. | 244.00 | 2871.00 | 5742.00 | 1540.00 | 3080.00 | 1800.00 | 3600.00 | 3080.00 | M/s Sri Aneka Properties Private Limited
147.00 | Fixing | 2.00 | No. | 245.00 | 56.00 | 112.00 | 362.00 | 724.00 | 50.00 | 100.00 | 100.00 | S.A.V.Constructions
148.00 | Supply of Isolating composite Brass Ball valve - 50x50mm (Suitable for 4050 composite pipe) | 4.00 | No. | 246.00 | 8941.00 | 35764.00 | 3625.00 | 14500.00 | 6000.00 | 24000.00 | 14500.00 | M/s Sri Aneka Properties Private Limited
149.00 | Fixing | 4.00 | No. | 247.00 | 56.00 | 224.00 | 634.00 | 2536.00 | 50.00 | 200.00 | 200.00 | S.A.V.Constructions
150.00 | 415V PDB, MDB and VDB
151.00 | Supply & delivery of Low voltage Power distribution board as per technical specifications (I02.KK36.UYH.0.ET.TS. PR001), SLD K36.UYH.0.ET.OKP.WD001)/layouts/drawings given in the tender document, complete in all respects. The scope (set) includes the complete PDB described in the tender.Any post order change is envisaged to beeffected through a separate item for addition and deletion of any major components in the switchgear, in case the rating changes due to reasons attributable to the Purchaser in the PDB | 1.00 | Set | 249.00 | 1110400.00 | 1110400.00 | 72471.00 | 72471.00 | 600000.00 | 600000.00 | 72471.00 | M/s Sri Aneka Properties Private Limited
152.00 | Supply & delivery of Low voltage Main distribution board as per technical specifications (I02.KK36.UYH.0.ET.TS. PR001), SLD ( I02.KK36.UYH.0.ET.OKP.WD001)/ layouts/drawings given in the tender document, complete in all respects. The scope (set) includes the complete MDB described in the tender. Any post order change is envisaged to be effected through a separate item for addition and deletion of any major components in the switchgear, in case the rating changes due to reasons attributable to the Purchaser in the MDB. | 1.00 | Set | 250.00 | 620094.00 | 620094.00 | 169352.00 | 169352.00 | 400000.00 | 400000.00 | 169352.00 | M/s Sri Aneka Properties Private Limited
153.00 | Supply & delivery of Low voltage Ventilation distribution board as per technical specifications (I02.KK36.UYH.0.ET.TS. PR001), SLD(I02.KK36.UYH.0.ET.OKP.WD001)/ layouts/drawings given in the tender document, complete in all respects. The scope (set) includes the complete VDB described in the tender.Any post order change is envisaged to be effected through a separate item for addition and deletion of any major components in the switchgear, in case the rating changes due to reasons attributable to the Purchaser in the VDB. | 1.00 | Set | 251.00 | 620094.00 | 620094.00 | 70556.00 | 70556.00 | 400000.00 | 400000.00 | 70556.00 | M/s Sri Aneka Properties Private Limited
154.00 | 415V LDB and LB
155.00 | Supply & delivery of 3PH, 5Wire, 50Hz, 100A , 415V, wall mounted, tropical design with all accessories. Four-pole incomer disconnector switch of approved make of LOCAL DISTRIBUTION BOARD (LDB) as per technical specification (I02.KK36.UYH.0.ET.TS. PR001), SLD ( I02.KK36.UYH.0.ET.OKP.WD001)/ layouts/drawings given in the tender document, complete in all respects. The scope (set) includes the complete LDB described in the tender. | 4.00 | Set | 253.00 | 108156.00 | 432624.00 | 46168.00 | 184672.00 | 100000.00 | 400000.00 | 184672.00 | M/s Sri Aneka Properties Private Limited
156.00 | Supply & delivery of 3PH, 5Wire, 50Hz, 63A , 415V, wall mounted, tropical design with all accessories. Four-pole incomer disconnector switch of approved make and a RCD (residual current device) of LIGHTING BOARD (LB) as per technical specification (I02.KK36.UYH.0.ET.TS. PR001), SLD ( I02.KK36.UYH.0.ET.OKP.WD001)/ layouts/drawings given in the tender document, complete in all respects. The scope (set) includes the complete LB described in the tender. | 1.00 | Set | 254.00 | 136997.00 | 136997.00 | 37655.00 | 37655.00 | 100000.00 | 100000.00 | 37655.00 | M/s Sri Aneka Properties Private Limited
157.00 | 415V UPS with Battery bank
158.00 | Supply & delivery of 3PH, 60kVA, 415V of UPS with battery bank as per technical specification (I02.KK36.UYH.0.ET.TS. PR001), SLD ( I02.KK36.UYH.0.ET.OKP.WD001)/ layouts/drawings given in the tender document, complete in all respects. The scope (set) includes the complete UPS described in the tender. | 1.00 | Set | 256.00 | 2307325.00 | 2307325.00 | 2096238.00 | 2096238.00 | 1400000.00 | 1400000.00 | 1400000.00 | S.A.V.Constructions
159.00 | THREE PHASE & SINGLE PHASE POWER RECEPTACLES
160.00 | THREE PHASE 415 V, 63 A, METAL ENCLOSED POWER RECEPTACLES WITH INTEGRAL INTERLOCKING FEATURE : Supply & delivery of die cast Aluminium body, fully interlocked, power receptacle unit with on/off AC 23 category switch with RCCB of approved make with pressure die cast Aluminium enclosures duly epoxy painted. The receptacles shall have suitable 4 Pin+E pressure die cast aluminium body plug top, rated 63 A, 415 V. The enclosure, etc. shall be duly epoxy powder coated of IP - 65 class complete with heavy duty terminal blocks of cage clamp type of WAGO/Phoenix/Elmex/Connectwell make for loop in loop out of upto 16/25 sqmm cable + earth lead, with gland plates, plug & cap, all accessories, etc | 1.00 | No. | 258.00 | 28842.00 | 28842.00 | 41107.00 | 41107.00 | 20000.00 | 20000.00 | 20000.00 | S.A.V.Constructions
161.00 | SINGLE PHASE 240 V, 5/15 A, RECEPTACLES WITH INTEGRAL INTERLOCKING FEATURE Supply & delivery of decorative type receptacles with ELCB of approved make. The receptacles shall have suitable 2 Pin+E rated 5/15 A, 240 V and shall be suitable for feeding loads of 5/10/15 A.(I02.KK36.UYH.0.ET.TS. PR001), SLD ( I02.KK36.UYH.0.ET.OKP.WD001)/ layouts/drawings given in the tender document, complete in all respects. | 45.00 | No. | 259.00 | 3100.00 | 139500.00 | 3834.00 | 172530.00 | 2050.00 | 92250.00 | 92250.00 | S.A.V.Constructions
162.00 | LV POWER CABLES Manufacturing, testing, supply & delivery of following sizes of LV Power Cables as per applicable detailed technical specifications included in the tender document (I02.KK36.UYH.0.ET.TS. PR001), complete in all respects.
163.00 | 4C X 120 sqmm | 1200.00 | RM | 261.00 | 13556.00 | 16267200.00 | 866.00 | 1039200.00 | 3800.00 | 4560000.00 | 1039200.00 | M/s Sri Aneka Properties Private Limited
164.00 | 4C X 16 sqmm | 600.00 | RM | 262.00 | 1730.00 | 1038000.00 | 299.00 | 179400.00 | 700.00 | 420000.00 | 179400.00 | M/s Sri Aneka Properties Private Limited
165.00 | 3C X 2.5 sqmm (flexible cables class V as per IEC for lighting as per lighting layout) | 1800.00 | RM | 263.00 | 274.00 | 493200.00 | 145.00 | 261000.00 | 140.00 | 252000.00 | 252000.00 | S.A.V.Constructions
166.00 | 3c X 2.5 sqmm (armoured cables as per TS) | 200.00 | RM | 264.00 | 433.00 | 86600.00 | 237.00 | 47400.00 | 200.00 | 40000.00 | 40000.00 | S.A.V.Constructions
167.00 | TERMINATION OF LT POWER CABLES : Supply & Delivery of Purchaser Approved LV termination lugs/kits, heat shrinkable type, including crimping type Copper lugs and accessories of RAYCHEM/Purchaser approved make of the following sizes, suitable for LT Cable of LS / FRLS types of required cross sections. The scope of works include, supply, delivery of the termination kits to site along with all relevant test certificates, complete in all respects, as specified in the technical specifications of Tender Document.
168.00 | SUPPLY OF LT CABLE TERMINATION LUGS: Supply & Delivery of end termination lugs of solderless, tinned copper make suitable for various site / field requirements for terminating 3/4/5 core cables from 1.5 sqmm cables upto and including 16 sqmm Copper conductor size, at panel / JB / load end etc..as per technical specifications along with test certificates. Supply for each core shall be measured as one quantity in this item. | 200.00 | No. | 266.00 | 36.00 | 7200.00 | 153.00 | 30600.00 | 25.00 | 5000.00 | 5000.00 | S.A.V.Constructions
169.00 | SUPPLY OF LT CABLE TERMINATION LUGS : Supply & Delivery of end termination lugs of solderless, tinned copper make suitable for various site / field requirements for terminating 3/4/5 core cables 120 sqmm cables, Copper conductor size, at panel / JB / load end etc..as per technical specifications along with test certificates. Supply for each core shall be measured as one quantity in this item. | 75.00 | No. | 267.00 | 937.00 | 70275.00 | 163.00 | 12225.00 | 600.00 | 45000.00 | 12225.00 | M/s Sri Aneka Properties Private Limited
170.00 | Supply & Delivery of brass, nickel coated double compression glands, suitable for unarmoured/armoured cable of Make COMET/SMI / Purchaser approved equivalent make for the following ODs (Outer diameter) of power cables:
171.00 | For any cable OD up to and including 24 mm commensurate for cables upto 4C x 16 sqmm | 40.00 | No. | 269.00 | 519.00 | 20760.00 | 217.00 | 8680.00 | 300.00 | 12000.00 | 8680.00 | M/s Sri Aneka Properties Private Limited
172.00 | For any Cable of OD between 35 – 50 mm - both including commensurate for cables upto 4C x 120 sqmm | 20.00 | No. | 270.00 | 1370.00 | 27400.00 | 471.00 | 9420.00 | 800.00 | 16000.00 | 9420.00 | M/s Sri Aneka Properties Private Limited
173.00 | CABLE METAL STRUCTURES (CMS) / CABLE TRAY & SUPPORTS:
174.00 | CMS - Supply of GI trays Supply of GI cable trays as per .(I02.KK36.UYH.0.ET.TS. PR001), (I02.KK36.UYH.0.ET.OK.WD003), Purchaser drawings : Supply & Delivery of ladder/perforated Cable TRAYS OF GALVANISED Steel material of size 200/300 mm width and fasteners as per Purchaser Technical specifications, including supply of all the accessories and hardware required for bolting the trays together along with supports. The scope includes arrangement / sourcing of raw material from Purchaser approved vendors as per relevant standards / technical specifications, material verification / testing, submission of material reports, factory fabrication, manufacturing, Quality control, welding, pre-galvanisation activities, galvanisation, testing and verification of galvanisation thickness, any other details as specified in the technical specifications and cable tray layout attached in the tender, inspection by Purchaser QA / QC, safe loading, safe transportation, insurance and safe delivery to site, complete in all respects as directed by the Purchaser. The measurement shall be in terms of weight of finished material. | 3000.00 | Kgs | 272.00 | 937.00 | 2811000.00 | 208.00 | 624000.00 | 700.00 | 2100000.00 | 624000.00 | M/s Sri Aneka Properties Private Limited
175.00 | SUPPLY/DELIVERY AND INSTALLATION OF FOLLOWING FIRE BARRIER MATERIALS AS PER THE TENDER TECHNICAL SPECIFICATIONS :
176.00 | Design, manufacturing, testing, supply & delivery and storage of 3 hour rated fire stops for cable penetrations including mineral wool, sealant, coating, support frame etc. as applicable or any other set of material satisfying all requirements of IS:12458, IS:12459, BS476, ASTME 814 or equivalent relevant standard , subject to the approval of the Purchaser , in floor/walls as per specifications and working drawings. and as qualified by the manufacturer (HILTI / ELOX PROM/Vijay Fire make or approved equivalent make) for a fire rating 3 hrs for rectangular/ circular openings /sleeves, etc. An average filling area of about 60% (occupied with cables) is envisaged in design. However, in specific openings the filling could either higher or lower.Measurement shall be of the area of the opening. i.e. 1 sq meter measurement includes all the fire barrier material including sealant, supports as qualified etc. for both sides of the opening of 1 sq meter. | 5.00 | Sq. Meter | 274.00 | 6489.00 | 32445.00 | 8701.00 | 43505.00 | 5500.00 | 27500.00 | 27500.00 | S.A.V.Constructions
177.00 | Design, manufacturing, testing, supply, packing & forwarding, transportation and safe delivery and storage at site of fire retardant compound/coating over cable to form a fire break capable of preventing propagation of fire for 30 min as per IS:12458, IS:12459, IEC 60332 or equivalent relevant standard . From manufacturer (HILTI / ELOX PROM/Vijay Fire . Thickness of the material shall be as per the fire rating requirement. Measurement shall be based on the enveloped perimeter and the length of cable group/bundle. Coating supplied should be sprayable. | 500.00 | Kg | 275.00 | 2163.00 | 1081500.00 | 1394.00 | 697000.00 | 600.00 | 300000.00 | 300000.00 | S.A.V.Constructions
178.00 | GROUNDING & LIGHTNING SYSTEM As per the tender documents (I02.KK36.UYH.0.ET.TS. PR001).
179.00 | Supply and delivery of multi stranded, flexible, round 70 sqmm, Annealed tinned copper conductor as per the specification (I02.KK36.UYH.0.ET.TS. PR001) and tender documents. | 250.00 | RM | 277.00 | 1291.00 | 322750.00 | 4985.00 | 1246250.00 | 550.00 | 137500.00 | 137500.00 | S.A.V.Constructions
180.00 | Supply & delivery of 10mm dia MS conductor conductor as per tender specifications for vertical risers inside the building as directed by the Purchaser for earthing/lightning protection system. | 500.00 | RM | 278.00 | 180.00 | 90000.00 | 99.00 | 49500.00 | 100.00 | 50000.00 | 49500.00 | M/s Sri Aneka Properties Private Limited
181.00 | Supply & delivery of 12mm dia GI conductor conductor as per tender specifications for vertical risers inside the building as directed by the Purchaser for earthing/lightning protection system. | 500.00 | RM | 279.00 | 252.00 | 126000.00 | 153.00 | 76500.00 | 125.00 | 62500.00 | 62500.00 | S.A.V.Constructions
182.00 | Supply and delivery of 50 x 6 mm Galvanized Iron (GI) conductor strip/flat for earthing/lightning protection system, as per the technical specifications and drawings and as directed by the Purchaser, along with applicable test certificates | 50.00 | RM | 280.00 | 2091.00 | 104550.00 | 475.00 | 23750.00 | 1000.00 | 50000.00 | 23750.00 | M/s Sri Aneka Properties Private Limited
183.00 | Supply and delivery of 40 x 4 mm Galvanized Iron (GI) conductor strip/flat for earthing/lightning protection system, as per the technical specifications and drawings and as directed by the Purchaser, along with applicable test certificates | 400.00 | RM | 281.00 | 1428.00 | 571200.00 | 253.00 | 101200.00 | 600.00 | 240000.00 | 101200.00 | M/s Sri Aneka Properties Private Limited
184.00 | Supply and delivery of 25 x 4 mm Galvanized Iron (GI) conductor strip/flat for earthing/lightning protection system, as per the technical specifications and drawings and as directed by the Purchaser, along with applicable test certificates | 100.00 | RM | 282.00 | 361.00 | 36100.00 | 161.00 | 16100.00 | 75.00 | 7500.00 | 7500.00 | S.A.V.Constructions
185.00 | Supply and delivery of multistranded, flexible, yelllow - green coloured earthing cables of size 10 sqmm with copper conductor as per the technical specifications, along with applicable test certificates | 50.00 | RM | 283.00 | 418.00 | 20900.00 | 291.00 | 14550.00 | 200.00 | 10000.00 | 10000.00 | S.A.V.Constructions
186.00 | SUPPLY OF ITEMS FOR EARTH PIT :
187.00 | SUPPLY OF COPPER ROD EARTHING ELECTRODE and GROUND ENHANCEMENT MATERIAL FOR GROUNDING GRID RESISTANCE MEASUREMENT : Supply & Delivery and installation of Copper 25MM dia, 3M ground electrode confirming to IS 3043 and tender specifications along with coupler, all other accessories. The location electrodes shall be finalised during execution stage and Earth-pit shall be excavated by the contractor as separate item mentioned in the erection works.Supply of Maintenance Free Earthing system ‐ Single Rod Earthing GEM (GROUND ENHANCEMENT MATERIAL) Specification :GEM must be permanent and maintenance free ( no recharging with salts or chemicals, which may be corrosive ) and maintains constant resistance for the life of the system once in its set form. It must set up firmly and not dissolve or decompose or otherwise pollute the soil or the local water table. The GEM must also be suitable for installation in a slurry form. It should not depend on the continuous presence of water to maintain its conductivity and in its set form will have a resistivity of not more than 2 ohm‐CM.Performs in all soil conditions even during dry spells Material consists of Single Rod Earthing 1x 5/8 inch x10feet‐ Copper Bonded Steel Rod‐CBSR , 2x GEM Bags(GROUND ENHANCEMENT MATERIAL), 1x Earth rod Clamp | 2.00 | No. | 285.00 | 38936.00 | 77872.00 | 11350.00 | 22700.00 | 4500.00 | 9000.00 | 9000.00 | S.A.V.Constructions
188.00 | SUPPLY OF TEST LINK BOXES : Supply & Delivery of Earthing / Lightning Protection System Hot dip galvanised Test link boxes with test links for grounding/lightning protection system as per the tender specifications. | 12.00 | No. | 286.00 | 7787.00 | 93444.00 | 2530.00 | 30360.00 | 4500.00 | 54000.00 | 30360.00 | M/s Sri Aneka Properties Private Limited
189.00 | ILLUMINATION Manufacture, testing, supply & delivery of the following types of industrial lighting fixtures and control gear as per the specification I02.KK36.UYH.0.ET.TS.PR001 illumination layouts, tender document. Philips catalogue number is given as reference for each type of lighting fixture.
190.00 | B type - Supply & delivery of tested luminaries suitable for operation in industrial conditions, 150-270V 50Hz ± 5%, complete with all the components including reflectors, LED modules, arrays, drivers, diffusers, terminal blocks, cable glands, etc. and the mounting accessories.Application: Industrial batten type | 40.00 | No. | 288.00 | 5191.00 | 207640.00 | 3806.00 | 152240.00 | 3000.00 | 120000.00 | 120000.00 | S.A.V.Constructions
191.00 | F type -Supply & delivery of tested luminaries suitable for operation in industrial conditions, 150-270V 50Hz ± 5%, complete with all the components including reflectors, LED modules, arrays, drivers, diffusers, terminal blocks, cable glands, etc. and the mounting accessories.Application:-outdoor lighting | 12.00 | No. | 289.00 | 9229.00 | 110748.00 | 5800.00 | 69600.00 | 4200.00 | 50400.00 | 50400.00 | S.A.V.Constructions
192.00 | LED 36/R/Group-1 type -Supply & delivery of tested luminaries suitable for operation in industrial conditions, 150-270V 50Hz ± 5%, complete with all the components including reflectors, LED modules, arrays, drivers, diffusers, terminal blocks, cable glands, etc. and the mounting accessories. Scope includes supply of spare drivers of quantity 10% of this type of lighting fixture, rounded off to next higher integer, at no extra cost to the Purchaser. Application:-Industrial Recessed light | 200.00 | No. | 290.00 | 8364.00 | 1672800.00 | 5075.00 | 1015000.00 | 3000.00 | 600000.00 | 600000.00 | S.A.V.Constructions
193.00 | Supply & delivery of tested luminaries suitable for operation in industrial conditions, 150-270V 50Hz ± 5%, complete with all the components including reflectors, LED modules, arrays, drivers, diffusers, terminal blocks, cable glands, etc. and the mounting accessories. Scope includes supply of spare drivers of quantity 10% of this type of lighting fixture, rounded off to next higher integer, at no extra cost to the Purchaser.Application:-Industrial Cuboid "Exit" light with cast acrylic green display (single side/both side) and "EXIT" in white Without Battery backup | 30.00 | No. | 291.00 | 7066.00 | 211980.00 | 2900.00 | 87000.00 | 4000.00 | 120000.00 | 87000.00 | M/s Sri Aneka Properties Private Limited
194.00 | Portable hand lights with self battery powered - with LED lamp with 2 hour battery back up of Prolite make or equivalent make | 4.00 | No. | 292.00 | 5768.00 | 23072.00 | 4350.00 | 17400.00 | 2000.00 | 8000.00 | 8000.00 | S.A.V.Constructions
195.00 | Junction Box Supply and delivery of tested halogen free and flame retardant polycarbonate junction box for both indoor and outdoor application. The junction box shall be complete with all the components such as 2A Fuses, cable glands, terminal box, dinrail, endplates, mounting brackets, fuse terminal block, etc. as per tender requirements. | 250.00 | No. | 293.00 | 5480.00 | 1370000.00 | 2265.00 | 566250.00 | 2000.00 | 500000.00 | 500000.00 | S.A.V.Constructions
196.00 | MISCELLANEOUS WORKS RELATED TO THE CONTRACT
197.00 | Anchor Fasteners of Size 6 - 10 mm (hot dip galvanized): Supply & Delivery of the Purchaser approved make concrete fasteners of sizes 6 to 10 mm Dia as per the relevant documents, drawings, standards and practices and as directed by the Purchaser for exigencies, which has not been covered in the specification. | 250.00 | Sets | 295.00 | 418.00 | 104500.00 | 306.00 | 76500.00 | 180.00 | 45000.00 | 45000.00 | S.A.V.Constructions
198.00 | SUPPLY OF GI PIPES (hot dip galvanized): Supply and delivery to erection site of medium duty GI pipes of Jindal or better make of the following sizes including couplers, accessories, etc. as directed by the Purchaser
199.00 | 25 NB | 120.00 | RM | 297.00 | 577.00 | 69240.00 | 257.00 | 30840.00 | 300.00 | 36000.00 | 30840.00 | M/s Sri Aneka Properties Private Limited
200.00 | 50 NB | 20.00 | RM | 298.00 | 1009.00 | 20180.00 | 413.00 | 8260.00 | 600.00 | 12000.00 | 8260.00 | M/s Sri Aneka Properties Private Limited
201.00 | Supply of Structural Steel (hot dip galvanized): Supply, fabrication and delivery to erection site of hot dip galvanized steel supports, angles, base plates, etc of Purchaser approved make | 1000.00 | Kgs | 299.00 | 707.00 | 707000.00 | 215.00 | 215000.00 | 600.00 | 600000.00 | 215000.00 | M/s Sri Aneka Properties Private Limited
202.00 | SUPPLY & DELIVERY OF SELF - ADHESIVE GLOW SIGN FLUORESCENT STICKERS WITH APPROPRIATE SIGNS / DANGER / EXIT MARKS, ETC AT STAIR CASES AND ENTRANCES, ETC. Supply & Delivery of photo luminescent self adhessive flexible/rigid sheet auto glow sign boards at different areas of make AUTOGLOW or approved equivalent of 150 mm X 150mm size with necessary inscriptions as directed by the Purchaser | 10.00 | No. | 300.00 | 2884.00 | 28840.00 | 226.00 | 2260.00 | 2500.00 | 25000.00 | 2260.00 | M/s Sri Aneka Properties Private Limited
203.00 | Supply & delivery of PVC-U pipes - class 3 PN, as per Purchaser approved make - Finolex/Supreme and IS 4985, the following sizes including couplers, fittings, etc. as directed by the Purchaser.
204.00 | 90 mm OD | 50.00 | RM | 302.00 | 937.00 | 46850.00 | 262.00 | 13100.00 | 1100.00 | 55000.00 | 13100.00 | M/s Sri Aneka Properties Private Limited
205.00 | 50 mm OD | 50.00 | RM | 303.00 | 649.00 | 32450.00 | 146.00 | 7300.00 | 500.00 | 25000.00 | 7300.00 | M/s Sri Aneka Properties Private Limited
206.00 | Supply and installation of 8 SWG GI wire used for earthing purpose as directed by the Purchaser | 15.00 | Kgs | 304.00 | 865.00 | 12975.00 | 190.00 | 2850.00 | 900.00 | 13500.00 | 2850.00 | M/s Sri Aneka Properties Private Limited
207.00 | Supply and installation of 14 SWG Copper wire used for earthing purpose as directed by the Purchaser | 100.00 | RM | 305.00 | 43.00 | 4300.00 | 140.00 | 14000.00 | 8.00 | 800.00 | 800.00 | S.A.V.Constructions
208.00 | 10A switches as per IEC60947-2 | 30.00 | No. | 306.00 | 937.00 | 28110.00 | 210.00 | 6300.00 | 1000.00 | 30000.00 | 6300.00 | M/s Sri Aneka Properties Private Limited
209.00 | Any post order change is envisaged to be effected through this item for addition and deletion of any major components/feeder ratings in the PDB, LDB, MDB, LB, VDB, etc. in case the rating changes due to reasons attributable to the Purchaser in the PDB. Supply part of addition/deletion is covered in this item. Installation part of the same including all related items like drawout module, stab in contact, etc. are deemed included in the respective PMCC/LDB/ACDB/DCDB.
210.00 | 160 A 4PMCCB feeder | 1.00 | Set | 308.00 | 20189.00 | 20189.00 | 23113.00 | 23113.00 | 15000.00 | 15000.00 | 15000.00 | S.A.V.Constructions
211.00 | 100 A 4PMCCB feeder | 1.00 | Set | 309.00 | 18747.00 | 18747.00 | 17491.00 | 17491.00 | 13500.00 | 13500.00 | 13500.00 | S.A.V.Constructions
212.00 | 63 A 4P MCCB feeder | 1.00 | Set | 310.00 | 11537.00 | 11537.00 | 14524.00 | 14524.00 | 8500.00 | 8500.00 | 8500.00 | S.A.V.Constructions
213.00 | 16 A 3P MCCB feeder | 1.00 | Set | 311.00 | 10095.00 | 10095.00 | 9526.00 | 9526.00 | 7500.00 | 7500.00 | 7500.00 | S.A.V.Constructions
214.00 | 415V DISTRIBUTION BOARDS
215.00 | Erection & erection testing of 415 V PDB, MDB, VDB panels as per tender documents, working drawings/tender specifications, relevant standards and practices and as directed by the Purchaser complete in all respects. The scope (set) includes the complete Floor mounted Dbs described in the tender.The scope of erection works also include the cable laying and termination (at both ends) from MRSS substation to PDB (simulator facility) and safe preservation till handing over, verification of site readiness, preparation of erection procedure, field quality plan, supply and erection of approved make, size of anchor fasteners painting of after welding with primer epoxy + finish epoxy paints, bus bar erection & erection testing of PDB/MDB/VDB. Testing, pre-commissioning and commissioning of 415 V DBs as per technical pecifications given in the tender document, working drawings/tenderspecifications/manufacturer's documents/instructions, relevant standards and practices and as directed by the Purchaser complete in all respects.For detailed scope of works covered under this item, please refer technical specifications of tender document. | 3.00 | Set | 313.00 | 50473.00 | 151419.00 | 29282.00 | 87846.00 | 40000.00 | 120000.00 | 87846.00 | M/s Sri Aneka Properties Private Limited
216.00 | Erection & erection testing of 415V LDB, LB as per technical specifications given in the tender document, working drawings/tender specifications, relevant standards and practices and as directed by the Purchaser complete in all respects. The scope of erection works also include safe preservation till handing over , verification of site readiness, preparation of erection procedure, field quality plan, check list, including supply of all welding consumables, supply & installation of wall mounted supports/, supply and erection of approved make, size of anchor fasteners , painting after welding with primer epoxy + finish epoxy paints, bus bar erection & erection testing of boards.Scope includes supply, fabrication & erection of ISMC 75 channels along the height of the panels on both sides, painting of the same with epoxy - primer and finish coats, supply & erection of hardware for fixing the panel on the ISMC, etc. | 5.00 | Set | 314.00 | 50473.00 | 252365.00 | 33733.00 | 168665.00 | 38000.00 | 190000.00 | 168665.00 | M/s Sri Aneka Properties Private Limited
217.00 | 63 kVA UPS with battery bank
218.00 | Erection & erection testing of 415 V, 63kVA UPS with battery bank as per tender documents, working drawings/tender specifications, relevant standards and practices and as directed by the Purchaser complete in all respects. The scope (set) includes the complete UPS described in the tender. The scope of erection works also include safe preservation till handing over, verification of site readiness, preparation of erection procedure, field quality plan, supply and erection of approved make, size of anchor fasteners, painting after welding if any with primer epoxy + finish epoxy paints. Testing, pre-commissioning and commissioning of UPS along with battery as applicable as per technical specifications given in the tender document, working drawings/tender specifications/manufacturer's documents/instructions, relevant standards and practices and as directed by the Purchaser complete in all respects. For detailed scope of works covered under this item, please refer technical specifications of tender document. | 1.00 | Set | 316.00 | 57683.00 | 57683.00 | 46539.00 | 46539.00 | 40000.00 | 40000.00 | 40000.00 | S.A.V.Constructions
219.00 | (THREE PHASE & SINGLE PHASE POWER RECEPTACLES) THREE PHASE 415 V, 63 A, METAL ENCLOSED POWER RECEPTACLES WITH INTEGRAL INTERLOCKING FEATURE :
220.00 | THREE PHASE 415 V, 63A, METAL ENCLOSED POWER RECEPTACLES WITH INTEGRAL INTERLOCKING FEATURE: Installation of power receptacle box with receptacles and accessories of 3 Phase, 63A, 415 V for any type of mounting arrangement. The scope includes supply and installation of concrete fasteners of approved make for fixing of the enclosure or welding onto the structure (mostly civil structure but in some cases could be metallic structures) as applicable.Scope includes supply, fabrication & erection of ISMC 75 channels along the height of the panels on both sides, painting of the same with epoxy - primer and finish coats, supply & erection of hardware for fixing the panel on the ISMC, etc as applicable. | 1.00 | No. | 318.00 | 4326.00 | 4326.00 | 12259.00 | 12259.00 | 2800.00 | 2800.00 | 2800.00 | S.A.V.Constructions
221.00 | SINGLE PHASE 240 V, 5/15/20 A, METAL ENCLOSED POWER RECEPTACLES WITH INTEGRAL INTERLOCKING FEATURE : Installation of power receptacles box with receptacles and accessories of 1 Phase, 6/10/16/20/32A, 240 V for any type of mounting arrangement. The scope includes supply and installation of concrete fasteners of approved make for fixing of the enclosure or welding onto the structure as applicable. | 45.00 | No. | 319.00 | 2307.00 | 103815.00 | 3826.00 | 172170.00 | 1600.00 | 72000.00 | 72000.00 | S.A.V.Constructions
222.00 | LV POWER CABLES Manufacturing, testing, supply & delivery of following sizes of LV Power Cables as per applicable detailed technical specifications included in the tender document, complete in all respects
223.00 | Power Cable - LS/ FRLS - upto & including 16 sqmm | 2600.00 | RM | 321.00 | 1810.00 | 4706000.00 | 320.00 | 832000.00 | 100.00 | 260000.00 | 260000.00 | S.A.V.Constructions
224.00 | Power Cable - LS/FRLS - 120 sqmm | 1200.00 | RM | 322.00 | 14709.00 | 17650800.00 | 1030.00 | 1236000.00 | 200.00 | 240000.00 | 240000.00 | S.A.V.Constructions
225.00 | TERMINATION OF POWER LT CABLES : The scope of Erection & Erection Testing works include preparatory works before installation of termination lugs/kit, installation of the heat shrinkable termination type kits, clamping, lugging, crimping, etc. and connection onto the terminals along with fixing of all its accessories, etc.. complete in all respects as per relevant documents, working drawings/tender specifications, relevant standards and practices and as directed by the Purchaser. Scope of works include Termination and connection of the following LT power cables including all preparatory works such as machining of the cable gland, if required, drilling of holes, installation of the single/double compression type of cable glands for the following armoured/unarmoured sizes of cables including supply and installation of PVC shrouds etc. The scope also includes installation of cable glands, accessories and related works as applicable. The supply of Cable Glands, if required as per design, are covered under a separate item of this tender.
226.00 | LT CABLE TERMINATION LUGS : Termination of 1/2/3/3.5/4/5 core cables from 1.5 sqmm cables upto and including 16 sqmm Copper conductor size. Measurement will be done cable end wise. All the accessories & consumables required for carrying out the termination works shall be supplied under this item at no extra cost. | 200.00 | No. | 324.00 | 216.00 | 43200.00 | 121.00 | 24200.00 | 150.00 | 30000.00 | 24200.00 | M/s Sri Aneka Properties Private Limited
227.00 | LT CABLE TERMINATION LUGS : Termination 1/2/3/3.5/4/5 core cables of Copper conductor size for 120 sqmm Measurement will be done cable end wise. All the accessories & consumables including 3M/Raychem make Silicone tape required for carrying out the termination works shall be supplied under this item at no extra cost. | 75.00 | No. | 325.00 | 505.00 | 37875.00 | 640.00 | 48000.00 | 350.00 | 26250.00 | 26250.00 | S.A.V.Constructions
228.00 | CABLE METAL STRUCTURES (CMS) / CABLE TRAY & SUPPORTS:
229.00 | as well as identification of cable trays with suitable paint etc.. complete in all respects as per relevant documents, working drawings/tender specifications, relevant standards and practices and as directed by the Purchaser. The work includes all fabrication/modification of the trays/covers to suit site erection conditions. The measurement shall be in terms of the finished/installed weight as calculated from the table furnished by the manufacturer. The scope also includes supply and installation of all the accessories and consumables required for welding (whereever EPs are provided) and Purchaser approved anchor fasteners (whereever EPs are not available). 2) CMS-Erection GI Duct/Tray supports Erection of the supplied supports consisting of flats, ISA and ISMC of various sizes for rigid supports (ceiling, wall and floor supports, cable tray support structures for roof mounted trays, ISA/ISMC horizontal members for rod type supports, fire barrier supports, cable supports below and above panels and vertical cable tray protection barriers etc.) for the cable trays along with its hardware accessories complete in all respects as per relevant documents, working drawings/tender specifications, relevant standards and practices and as directed by the Purchaser. The measurement shall be in terms of the finished/installed weight as calculated from the table furnished by the manufacturer. The scope also includes supply and installation of all the accessories and consumables required for welding (where ever EPs are provided) and Purchaser approved anchor fasteners (where ever EPs are not available). 3)CMS-ERECTION ROD TYPE SUPPORT Erection of the supplied / fabricated of 22 mm diameter GS first and intermediate rods of various lengths for rod type cable and cable tray with all accessories for rod type of supports (Welded attachment, Hexanuts, swivel washer, swivel washer seat, split pin, coupler, shear bolts with nuts and washers etc.)complete in all respects as per relevant documents, working drawings/tender specifications, relevant standards and practices and as directed by the Purchaser. The measurement shall be in terms of the finished/installed weight as calculated from the table furnished by the manufacturer. The scope also includes supply and installation of all the accessories and consumables required for welding( whereever EPs are provided) and Purchaser approved anchor fasteners(whereever EPs are not available). | 3000.00 | Kgs | 327.00 | 865.00 | 2595000.00 | 208.00 | 624000.00 | 700.00 | 2100000.00 | 624000.00 | M/s Sri Aneka Properties Private Limited
230.00 | SUPPLY/DELIVERY AND INSTALLATION OF FOLLOWING FIRE BARRIER MATERIALS
231.00 | Fire barrier including all components as per the tender document attached with the subject tender as qualified by the manufacturer (HILTI / ELOX PROM make or approved equivalent make) for a fire rating 3 hrs for rectangular/ circular openings, sleeves, etc. An average filling area of about 60% (occupied with cables) is envisaged in design. However, in specific openings the filling could either higher or lower. Measurement shall be of the area of the opening. i.e. 1 sq meter measurement as qualified, for both sides of the opening of 1 sq meter. Supply and installation of steel frames/stands for supporting the fire barrier is also Contractors scope. | 5.00 | Sq. Meter | 329.00 | 6489.00 | 32445.00 | 8701.00 | 43505.00 | 5400.00 | 27000.00 | 27000.00 | S.A.V.Constructions
232.00 | Application of fire retardant compound over cable to form fire break of 30 min. As per specification. Thickness of the material shall be as per the fire rating requirement. Criteria for application shall be as per Purchaser's guideline document. Measurement shall be based on the enveloped perimeter and the length of cable group. | 500.00 | Kgs | 330.00 | 2163.00 | 1081500.00 | 1394.00 | 697000.00 | 200.00 | 100000.00 | 100000.00 | S.A.V.Constructions
233.00 | GROUNDING & LIGHTNING PROTECTION SYSTEM As per the tender documents (I02.KK36.UYH.0.ET.OK.WD002).
234.00 | Installation, Site testing of grounding conductor of size 70 sqmm including supply & execution of materials / accessories required for the equipment earthing. The scope includes supply & installation of suitable solderless tinned copper lug of Purchaser approved make for grounding of equipment / panel / motor body / any other structure, etc. All the above jobs shall be carried out as per the relevant documents, working drawings/tender specifications, relevant standards and practices and as directed by the Purchaser. All the required consumables for jointing/exothermic welding & brazing activity, such as test joints for welds/brazing, welding/brazing equipments, electrodes, all required hardware shall also be supplied/arranged by the Contractor. Supply & application of anti - corrosive paint is also included in the scope of the above works for its application over the conductor joints, where tinned coating will be lost on account of welding / brazing. | 250.00 | RM | 332.00 | 1730.00 | 432500.00 | 262.00 | 65500.00 | 800.00 | 200000.00 | 65500.00 | M/s Sri Aneka Properties Private Limited
235.00 | Installation, Site testing of grounding conductor of 10mm dia ISRO/12mm dia GI rod including supply & execution of materials / accessories required for earthing. The scope includes supply & installation of suitable clamps/nut/bolts, etc. of Purchaser approved/standard make for grounding/lightning protection system to the structure, etc. All the above jobs shall be carried out as per the relevant documents, working drawings/tender specifications, relevant standards and practices and as directed by the Purchaser. All the required consumables for jointing/welding & brazing activity, such as test joints for welds/brazing, welding/brazing equipments, electrodes, all required hardware shall also be supplied/arranged by the Contractor. Supply & application of anti - corrosive paint is als, included in the scope of the above works for its application over the conductor joints, where zinc coating will be lost on account of welding / brazing. | 1000.00 | RM | 333.00 | 461.00 | 461000.00 | 143.00 | 143000.00 | 400.00 | 400000.00 | 143000.00 | M/s Sri Aneka Properties Private Limited
236.00 | Installation of 40 x 4 mm/50X6 GI Flats on the floor / wall as per the technical specifications / drawings and as directed by the Purchaser using Purchaser approved anchor fasteners of 6mm / 8 mm size, supply & installation of which is also included in the scope of this works. The scope includes supply & installation of hardware accessories such as clamps, nut & bolt, welding consumables for welding the earth flats together, testing, etc.. to complete the installation work in all respects | 450.00 | RM | 334.00 | 1730.00 | 778500.00 | 210.00 | 94500.00 | 450.00 | 202500.00 | 94500.00 | M/s Sri Aneka Properties Private Limited
237.00 | Installation of 25 x 4 mm GI Flats on the floor / wall as per the technical specifications / drawings and as directed by the Purchaser using Purchaser approved anchor fasteners of 6mm / 8 mm size, supply & installation of which is also included in the scope of this works. The scope includes supply & installation of fixing clamps, hardware accessories such as nut & bolt, welding consumables for welding the earth flats together, testing etc. to complete the installation works, in all respects | 100.00 | RM | 335.00 | 793.00 | 79300.00 | 179.00 | 17900.00 | 350.00 | 35000.00 | 17900.00 | M/s Sri Aneka Properties Private Limited
238.00 | Installation & termination of earthing cable of size 10/16 sqmm including supply & installation of suitable solderless tinned copper lug of Purchaser approved make for grounding of equipment / panel / motor body / any other structure, etc.. as directed by the Purchaser. The scope also includes supply of all required hardware accessories, drilling of holes in the nearby grounding flat / strip for connecting the flexible with suitable nut & bolts and bi-metallic washers, etc..as recommended by the Purchaser. The length of flexible connection should be generally less than 1m. | 50.00 | RM | 336.00 | 937.00 | 46850.00 | 288.00 | 14400.00 | 300.00 | 15000.00 | 14400.00 | M/s Sri Aneka Properties Private Limited
239.00 | INSTALLATION OF Test link boxes : The scope includes installation of test link boxes through 4 nos. of 6/8 mm dia anchor fasteners of Purchaser approved make. The work shall be complete in all respects as per relevant documents, working drawings/tender specifications, relevant standards and practices and as directed by the Purchaser. Scope of work includes supply and installation of all the welding/brazing consumables, anchor fasteners, bimettalic washers, hot dip galvanised hardware required to complete the job in all respects. Tinned Copper conductor coming from the outdoor grounding grid/indoor ground shall be brazed on copper strip of test link box and 12/10 mm GI rod coming from roof shall be welded/exothermically jointed to steel strip of test link box and both the strips has to be linked with copper link, and scopes includes supply & installation of all the consumables required for the brazing & welding as described above. The scope also includes supply & application of anti - corrosive paint over brazed / welded joint. | 12.00 | RM | 337.00 | 7210.00 | 86520.00 | 176.00 | 2112.00 | 6000.00 | 72000.00 | 2112.00 | M/s Sri Aneka Properties Private Limited
240.00 | ILLUMINATION
241.00 | Installation of all types of lighting fixtures at various elevations/locations including their control gear - surface mounted as well as recessed mounting type. Scope includes development of mounting arrangement drawings, getting their approval from the Purchaser and installation as per the same including all the accessories, termination of the cable/wiring on the fixture, etc. All consumables such as ball and socket, hanger rods, GI chains, hardware, anchor-fasteners, etc. are included in the scope of this item.Wiring for lighting fixtures/ceiling fans/exhaust fans, receptacles, etc- inside false ceiling and concealed wiring as per technical details provided in the technical ecification document(s):Point wiring includes supply & installation of hot dip galvanised conduit (BEC or better make) of 32/25/20 mm dia, 6/4/2.5 sqmm Copper conductor FRPVC insulated flexible wires (Finolex or better make). Scope includes supply and installation of all required accessories like terminal blocks, pull boxes, inspection bends, bends, 14SWG Copper wire with proper copper clamps for earthing to be run along with the conduit, hot dip galvanised saddles & clamps for fixing of the conduits, PVC bushes in the conduits, termination of the wires at the ends with tinned Copper lugs and all accessories, No loop in, loop out is permitted to be carried out at the lighting fixtures. Any loop in loop out required at the lighting fixture end shall be done through junction boxes with terminal boxes, scope of which is included in this item. The Contractor shall prepare the conduit layout for review and approval of the Purchaser, after which actual work can be carried out The minimum size of wire to be used would be 2.5 sqmm electrolytic copper and the voltage drop between LB and the end equipment (say lighting fixture or a receptacle) shall not exceed 0.8% and accordingly the wire size shall be selected. Conduit filling factor shall not exceed 40% and accordingly the conduit size shall be selected and provided by the Contractor Scope also includes painting of circuit numbers on the lighting fixture for easy identification by personnel. | 282.00 | No. | 339.00 | 4182.00 | 1179324.00 | 1499.00 | 422718.00 | 900.00 | 253800.00 | 253800.00 | S.A.V.Constructions
242.00 | Junction Box Installation of the Polycarbonate Junction boxes including glanding and termination of all cables as per the requirements of technical specification / working drawings and as directed by the Purchaser. The scope of work also includes supply and installation of Purchaser approved make & type of anchor fasteners required for installation of the above JBs, blanks for spare opening, painting of identification number as per the drawing, on the junction box, etc. | 250.00 | No. | 340.00 | 1442.00 | 360500.00 | 741.00 | 185250.00 | 2000.00 | 500000.00 | 185250.00 | M/s Sri Aneka Properties Private Limited
243.00 | MISCELLANEOUS WORKS
244.00 | Anchor Fasteners of Size 6 - 10 mm : Installation of the Purchaser approved make concrete fasteners of sizes 6 to 10 mm Dia as per the relevant documents, drawings, standards and practices and as directed by the Purchaser for exigencies/ site requirement. | 150.00 | Sets | 342.00 | 404.00 | 60600.00 | 292.00 | 43800.00 | 800.00 | 120000.00 | 43800.00 | M/s Sri Aneka Properties Private Limited
245.00 | INSTALLATION OF GI PIPES (hot dip galvanized): Erection of medium duty GI pipes of the above mentioned sizes as directed by the Purchaser including supply and erection of the requisite clamps, etc. for fixing of the pipes onto the structure, etc.
246.00 | 25 NB | 100.00 | RM | 344.00 | 865.00 | 86500.00 | 257.00 | 25700.00 | 250.00 | 25000.00 | 25000.00 | S.A.V.Constructions
247.00 | 50 NB | 20.00 | RM | 345.00 | 1082.00 | 21640.00 | 413.00 | 8260.00 | 400.00 | 8000.00 | 8000.00 | S.A.V.Constructions
248.00 | Installation ofF Structural Steel : Installation of structural steel items - GI/epoxy painted as directed by the Purchaser including touch up painting, application of cold galvanising paint, etc. | 1000.00 | Kgs | 346.00 | 937.00 | 937000.00 | 215.00 | 215000.00 | 400.00 | 400000.00 | 215000.00 | M/s Sri Aneka Properties Private Limited
249.00 | INSTALLATION OF PHOTO LUMINESCENT SIGNAGES: Installation of Signage boards with various indications of Prolite auto glow make as directed by the Purchaser. | 10.00 | No. | 347.00 | 2884.00 | 28840.00 | 226.00 | 2260.00 | 1200.00 | 12000.00 | 2260.00 | M/s Sri Aneka Properties Private Limited
250.00 | INSTALLATION OF UPVC pipes: Installation of PVC U Pipes as directed by the Purchaser. Scope includes supply of OEM made clamps for fastening of the pipes to the structure or elsewhere, fittings, all required consumables, etc..
251.00 | 90 mm OD | 50.00 | RM | 349.00 | 361.00 | 18050.00 | 262.00 | 13100.00 | 400.00 | 20000.00 | 13100.00 | M/s Sri Aneka Properties Private Limited
252.00 | 50 mm OD | 50.00 | RM | 350.00 | 288.00 | 14400.00 | 146.00 | 7300.00 | 300.00 | 15000.00 | 7300.00 | M/s Sri Aneka Properties Private Limited
253.00 | EXCAVATION : Excavation in all /any types of soil, soft / hard rock trenches, back filling with excavated soil, area compacting etc.. complete in all respects, as per the relevant drawings/tender specifications/manufacturer's instructions/documents, standards & practices and as directed by the Purchaser. The scope also includes disposal of extra soil as directed by the Purchaser | 100.00 | Cu. Meter | 351.00 | 1009.00 | 100900.00 | 418.00 | 41800.00 | 900.00 | 90000.00 | 41800.00 | M/s Sri Aneka Properties Private Limited
254.00 | Mandatory spares shall be supplied as detailed in the document no. I02.KK36.UYH.0.ET.TS.PR001 attached along with tender document. The list and quantum of spares for each category/group of item/equipment is clearly brought out in the said document. In this schedule, the main category of item/equipment alone is mentioned, against which all the spares specified in above document number are to be supplied under a lumpsum cost of respective item.
255.00 | Mandatory Spares for 415V PDB/MDB/VDB/LDB/LB | 1.00 | Lumpsum | 353.00 | 288416.00 | 288416.00 | 66373.00 | 66373.00 | 300000.00 | 300000.00 | 66373.00 | M/s Sri Aneka Properties Private Limited
256.00 | Mandatory Spares for Cabling System | 1.00 | Lumpsum | 354.00 | 288416.00 | 288416.00 | 43728.00 | 43728.00 | 100000.00 | 100000.00 | 43728.00 | M/s Sri Aneka Properties Private Limited
257.00 | Installation & Commissioning of Fire Alarm System
258.00 | Supply of Intelligent Analogue Addesrrable Multi Criteria type Optical smoke detector with standard base as per technical specifications. | 44.00 | No. | 356.00 | 4400.00 | 193600.00 | 6012.00 | 264528.00 | 4300.00 | 189200.00 | 189200.00 | S.A.V.Constructions
259.00 | Supply of Intelligent Analogue Addesrrable Single Action pull station Type Manual Call points as per technical Specifications. | 3.00 | No. | 357.00 | 5499.00 | 16497.00 | 4294.00 | 12882.00 | 6000.00 | 18000.00 | 12882.00 | M/s Sri Aneka Properties Private Limited
260.00 | Fire Alarm Control panel (FACP): Supply of Micro processor based 2 wire fault tolerant loop, required loop networkable type (each loop accessing minmum 99 detectors and minmum 99 modules ) fire alarm/detection control panel (FACP) as per technical specifications.Note : 1) System shall be function in case one open circuit / short circuit / ground fault.2) System shall have minimum diagnostic to carry out maintenance of the system.3) Panel shall have minimum one number of processor card, loop card with 2 loop capacity, relay card, power supply card.4) FACP shall have minimum battery backup for 24 Hrs monitoring and 30 min for alarm and battery shall be installed in FACP panel itself. | 1.00 | No. | 358.00 | 323857.00 | 323857.00 | 131966.00 | 131966.00 | 300000.00 | 300000.00 | 131966.00 | M/s Sri Aneka Properties Private Limited
261.00 | Supply of 2C X 1.5 Sq.mm armoured multi stranded FRLS cable as per technical specifications. | 500.00 | Meter | 359.00 | 120.00 | 60000.00 | 106.00 | 53000.00 | 150.00 | 75000.00 | 53000.00 | M/s Sri Aneka Properties Private Limited
262.00 | Supply of Solid State Electronic Audio-Visual Unit (Hooter ) as per technical Specifications. Note : 1 Hooter shall be fixed at Fire- station. | 3.00 | No. | 360.00 | 12832.00 | 38496.00 | 2889.00 | 8667.00 | 8200.00 | 24600.00 | 8667.00 | M/s Sri Aneka Properties Private Limited
263.00 | Maintenance kit (test devices, detector removal, detector installation tool , A3 solo spray, Breaking glass for Manual call point, canopy structure for hooter ) | 1.00 | Set | 361.00 | 348299.00 | 348299.00 | 27330.00 | 27330.00 | 200000.00 | 200000.00 | 27330.00 | M/s Sri Aneka Properties Private Limited
264.00 | Installation , Testing & commisioning of the items mentioned from item no 2.1 to 2.5 in all respects (suitable Anchor bolts for fixing , required PVC / GI conduits if required , wall mount box for fixing the sensor above the False ceiling and all as required at site and all as per specification)Note : All required accessories for installation shall be in the scope of the contractor) | 1.00 | Set | 362.00 | 112433.00 | 112433.00 | 35139.00 | 35139.00 | 85000.00 | 85000.00 | 35139.00 | M/s Sri Aneka Properties Private Limited
265.00 | Supply, installation, testing, commissioning of LG make air cooled Inverter multi scroll chiller of capacity 40 TR , factory epoxy coated black fins for anti-corrosion coil, etc ( 1W +1S) | 2.00 | No. | 363.00 | 3838812.00 | 7677624.00 | 2178619.00 | 4357238.00 | 3200000.00 | 6400000.00 | 4357238.00 | M/s Sri Aneka Properties Private Limited
266.00 | Supply, installation, testing, commissioning of Double skin floor mounted AHU with direct driven backward plug fan, IE3 motor, pre filter 90% filtration, 10micron, 6row chilled water-cooling coil, with suitable VFD with bypass arrangement starter panel etc
267.00 | 20 TR / 8000 CFM / 40mm ESP | 3.00 | No. | 365.00 | 558373.00 | 1675119.00 | 741823.00 | 2225469.00 | 650000.00 | 1950000.00 | 1675119.00 | RKANDSONS
268.00 | Supply, Installation, testing of Chilled water End suction pump with IE3 motor of 96 GPM @ 40 mtr head (1working + 1 stand by) | 2.00 | No. | 366.00 | 446842.00 | 893684.00 | 463835.00 | 927670.00 | 300000.00 | 600000.00 | 600000.00 | S.A.V.Constructions
269.00 | Supply, erection, testing and commissioning of pre-insulated pipes upto header lines for chilled water circulation pipes. Pipes will be of Mild Steel - Class C and insulation material shall be PUF. The insulation material shall be covered with 24G GI cladding sheet
270.00 | 80 NB pipe with 50mm thick PUF inclusion | 150.00 | RM | 368.00 | 3811.00 | 571650.00 | 3357.00 | 503550.00 | 3200.00 | 480000.00 | 480000.00 | S.A.V.Constructions
271.00 | 50 NB pipe with 50mm thick PUF inclusion | 80.00 | RM | 369.00 | 2696.00 | 215680.00 | 2889.00 | 231120.00 | 1900.00 | 152000.00 | 152000.00 | S.A.V.Constructions
272.00 | 40 NB pipe with 50mm thick PUF inclusion | 20.00 | RM | 370.00 | 2206.00 | 44120.00 | 2498.00 | 49960.00 | 1800.00 | 36000.00 | 36000.00 | S.A.V.Constructions
273.00 | 32 NB pipe with 50mm thick PUF inclusion | 20.00 | RM | 371.00 | 1957.00 | 39140.00 | 2264.00 | 45280.00 | 1500.00 | 30000.00 | 30000.00 | S.A.V.Constructions
274.00 | Supply and erection of cast iron body P16 rating waffer type Butterfly valves as per specification complete with end flanges / matching flanges, additional supports, fixing accessories, etc.
275.00 | 80NB | 6.00 | No. | 373.00 | 9267.00 | 55602.00 | 7496.00 | 44976.00 | 9500.00 | 57000.00 | 44976.00 | M/s Sri Aneka Properties Private Limited
276.00 | 50NB | 10.00 | No. | 374.00 | 15032.00 | 150320.00 | 5934.00 | 59340.00 | 8500.00 | 85000.00 | 59340.00 | M/s Sri Aneka Properties Private Limited
277.00 | 40NB | 2.00 | No. | 375.00 | 10425.00 | 20850.00 | 4997.00 | 9994.00 | 7500.00 | 15000.00 | 9994.00 | M/s Sri Aneka Properties Private Limited
278.00 | 32NB | 2.00 | No. | 376.00 | 7557.00 | 15114.00 | 4607.00 | 9214.00 | 5500.00 | 11000.00 | 9214.00 | M/s Sri Aneka Properties Private Limited
279.00 | Supply and erection of 4inch dial SS Glycerin filled Pressure gauges complete with ball valve, mounting well, fittings and copper tubing extension where required | 14.00 | No. | 377.00 | 6943.00 | 97202.00 | 4607.00 | 64498.00 | 5000.00 | 70000.00 | 64498.00 | M/s Sri Aneka Properties Private Limited
280.00 | Supply and erection of 4inch dial SS Glycerine filled Thermometers with copper separable well complete with guard mounted on water lines, etc. | 14.00 | No. | 378.00 | 6025.00 | 84350.00 | 4919.00 | 68866.00 | 4800.00 | 67200.00 | 67200.00 | S.A.V.Constructions
281.00 | Supply and erection of 25 NB Automatic Air Vents along with ball valve | 5.00 | No. | 379.00 | 10410.00 | 52050.00 | 2264.00 | 11320.00 | 7500.00 | 37500.00 | 11320.00 | M/s Sri Aneka Properties Private Limited
282.00 | Supply and erection of 50 NB Auto Balancing / Flow Control Valve with thermostat, etc | 3.00 | No. | 380.00 | 161534.00 | 484602.00 | 12181.00 | 36543.00 | 130000.00 | 390000.00 | 36543.00 | M/s Sri Aneka Properties Private Limited
283.00 | 80 NB motorized butterfly valve | 2.00 | No. | 381.00 | 104624.00 | 209248.00 | 38262.00 | 76524.00 | 80000.00 | 160000.00 | 76524.00 | M/s Sri Aneka Properties Private Limited
284.00 | Supply and erection of PN16 rating CI body Dual plate Check valves as per specification complete with matching flanges, additional supports, fixing accessories, thermal insulation, etc.
285.00 | 50NB | 2.00 | No. | 383.00 | 11499.00 | 22998.00 | 5700.00 | 11400.00 | 8500.00 | 17000.00 | 11400.00 | M/s Sri Aneka Properties Private Limited
286.00 | Supply and erection of PN16 rating MS Fabricated ‘Y’ type strainer with removable stainless steel screen with 3mm perforation and permanent magnet, drain piping. Rate shall inclusive of matching flanges, additional supports, fixing accessories, thermal insulation, etc.
287.00 | 50 NB | 5.00 | No. | 385.00 | 16243.00 | 81215.00 | 7574.00 | 37870.00 | 11000.00 | 55000.00 | 37870.00 | M/s Sri Aneka Properties Private Limited
288.00 | Supply & Installation, testing and commissioning of Outdoor units consists of 100% inverter compressors,inverter fan motor with aero- spiral fan blade and, special pre-coated heat exchange r against corrosion, safety valves, solenoid valves, receiver,capillary tube, check valve, electronic expansion valve, high pressure switch, low pressure sensor, pressure regulating valve, refrigerant filter, stop valve, accumulator. The EER of VRF system shall be minimum 12.5 at AHRI condition. Rate shall be inclusive of R-410A refrigerant & oil pre charging,vibration isolators, supports, etc.The unit shall be sized to deliver following rated capacities minimum including de-rated capacity due to excess length of refrigeration pipes, different elevation and the ambient temperature of 53 deg C. The details of the calculation sheets shall be submitted along with shop drawing..All Outdoor units shall be supplied along with Anti corrosive protection coating to prevent from chemicals/seaair/effluent water
289.00 | 12HP ODU for Non Critical office area | 2.00 | No. | 387.00 | 458581.00 | 917162.00 | 871447.00 | 1742894.00 | 445000.00 | 890000.00 | 890000.00 | S.A.V.Constructions
290.00 | Supply and installation for VRF Indoor Unit with drain pump, remote, refnut, etc
291.00 | Hiwall 0.8TR | 4.00 | No. | 389.00 | 34927.00 | 139708.00 | 64811.00 | 259244.00 | 60000.00 | 240000.00 | 139708.00 | RKANDSONS
292.00 | Ductabe - 6.4TR | 1.00 | No. | 390.00 | 95206.00 | 95206.00 | 174914.00 | 174914.00 | 150000.00 | 150000.00 | 95206.00 | RKANDSONS
293.00 | 4Way Cassette 1TR | 2.00 | No. | 391.00 | 62903.00 | 125806.00 | 82771.00 | 165542.00 | 150000.00 | 300000.00 | 125806.00 | RKANDSONS
294.00 | 4Way Cassette 1.5TR | 3.00 | No. | 392.00 | 63596.00 | 190788.00 | 92923.00 | 278769.00 | 150000.00 | 450000.00 | 190788.00 | RKANDSONS
295.00 | 4Way Cassette 2.5TR | 2.00 | No. | 393.00 | 72450.00 | 144900.00 | 115568.00 | 231136.00 | 140000.00 | 280000.00 | 144900.00 | RKANDSONS
296.00 | 4Way Cassette 3.0TR | 1.00 | No. | 394.00 | 78363.00 | 78363.00 | 127281.00 | 127281.00 | 150000.00 | 150000.00 | 78363.00 | RKANDSONS
297.00 | Supply and installation of 18G/20G Refrigerant Copper piping insulated with 13/19 mm thick Nitrile Rubber Tubular insulation wrapped with Rmt FRP tape For VRF Units. With required GI threaded rod and slotted channel supports, Suction & liquild line each 1 rmt | 360.00 | RM | 395.00 | 2812.00 | 1012320.00 | 1795.00 | 646200.00 | 4200.00 | 1512000.00 | 646200.00 | M/s Sri Aneka Properties Private Limited
298.00 | Supply, laying, testing & commissioning of 3C x 2.5 sq. mm. shielded communication copper cable for the control cabling from indoor Rmt to outdoor unit, with required GI threaded rod and slotted channel supports.(For VRF IDU to ODU ). | 400.00 | RM | 396.00 | 375.00 | 150000.00 | 327.00 | 130800.00 | 220.00 | 88000.00 | 88000.00 | S.A.V.Constructions
299.00 | Supply, Fabrication, Erection, testing, commissioning & Hook up of Ducting with ancillery works for Air Handling unit
300.00 | Supply, installation, testing and balancing of Air Distribution System consists of factory fabricated sheet metal ducting complying with IS:277 and having 275 GSM coating , TDF 4 bolt joints, with gaskets and light test, slotted channel support, etc – 24G /222G | 250.00 | Sq. Meter | 398.00 | 3533.00 | 883250.00 | 1249.00 | 312250.00 | 2000.00 | 500000.00 | 312250.00 | M/s Sri Aneka Properties Private Limited
301.00 | SITC of Diffuser with collar damper | 15.00 | No. | 399.00 | 3894.00 | 58410.00 | 2498.00 | 37470.00 | 4000.00 | 60000.00 | 37470.00 | M/s Sri Aneka Properties Private Limited
302.00 | SITC of Grilles | 1.00 | Sq. Meter | 400.00 | 10816.00 | 10816.00 | 2342.00 | 2342.00 | 10000.00 | 10000.00 | 2342.00 | M/s Sri Aneka Properties Private Limited
303.00 | SITC of 18G GSS opposed bladeVolume control DamperSq.mt | 4.00 | Sq. Meter | 401.00 | 9374.00 | 37496.00 | 5153.00 | 20612.00 | 20000.00 | 80000.00 | 20612.00 | M/s Sri Aneka Properties Private Limited
304.00 | SITC of grilles - 150x150 | 13.00 | No. | 402.00 | 2596.00 | 33748.00 | 1483.00 | 19279.00 | 1500.00 | 19500.00 | 19279.00 | M/s Sri Aneka Properties Private Limited
305.00 | SITC of 9mm thick thermal insulationfor Supply ducting | 250.00 | Sq. Meter | 403.00 | 757.00 | 189250.00 | 593.00 | 148250.00 | 650.00 | 162500.00 | 148250.00 | M/s Sri Aneka Properties Private Limited
306.00 | Applicable GST Rate (%) Included in the Quoted Price
| Total in Figures |  |  |  |  | 145651325.13 |  | 89528973.69 |  | 94508125.59
Lowest Amount Quoted BY: M/s Sri Aneka Properties Private Limited(89528973.69)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Simulator Building of KKNPP 3 to 6 Units Tender ID: 2025_NPCIL_230158_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Sri Aneka Properties Private Limited (BID ID -837236) | 89528973.69 | L1
| 2 | S.A.V.Constructions (BID ID -838070) | 94508125.59 | L2
| 3 | RKANDSONS (BID ID -838083) | 145651325.13 | L3