## BoQ1
Government eProcurement System Created By: Devi shanker Verma Created Date/Time: 22-Dec-2025 02:31 PM Tender Title: Supply, Fabrication and Erection of piping and equipment of ventilation and Active waste management system at OESC building of RR Site. Tender ID: 2025_NPCIL_230277_1
Tender Inviting Authority: Chief Superintendent, RR Site, Unit-5&6
Name of Work: Supply, Fabrication & Erection of piping and equipment of ventilation & Active waste management system at OESC building of RR Site.
Contract No: NPC/RRS/56/2024/CPT-A2795
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | WINTECH DEVELOPERS PRIVATE LIMITED (GSTN-NA) BID ID -841189 |  | ANNU INSULATION & ENGINEERING CO (GSTN-NA) BID ID -839080 |  | EINA ENGINEERING CO (GSTN-NA) BID ID -839434 |  | TOMAR HI-TECH INFRASTRUCTURE (GSTN-NA) BID ID -841095 |  | M/S S L G CONTRACTOR (GSTN-NA) BID ID -840092
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of MS/CS structural steel like ISMC, ISMB, ISA, Chequered plate, MS plate, MS flat, Round bar etc. as per the detail scope of work in Section-V. | 40.00 | MT |  | 100000.00 | 4000000.00 | 89000.00 | 3560000.00 | 110000.00 | 4400000.00 | 87000.00 | 3480000.00 | 85000.00 | 3400000.00 | 3400000.00 | M/S S L G CONTRACTOR
2.00 | Shifting, Fabrication and Erection of structural steel for support of pipe/duct/O2 cylinder, etc. as per the detail scope of work in Section-V. | 40.00 | MT |  | 40000.00 | 1600000.00 | 45000.00 | 1800000.00 | 25000.00 | 1000000.00 | 50000.00 | 2000000.00 | 50000.00 | 2000000.00 | 1000000.00 | EINA ENGINEERING CO
3.00 | Shifting & Erection of Pipes and pipe fittings,duct and duct fittings including cleaning on permanent support as per the detailed scope of work in Section-V. | 17000.00 | Inch-meter |  | 35.00 | 595000.00 | 80.00 | 1360000.00 | 70.00 | 1190000.00 | 125.00 | 2125000.00 | 119.00 | 2023000.00 | 595000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
4.00 | Welding of Pipe, Pipe fittings,duct and duct fittings, Valves, Equipment / Components, Material: CS to CS, End connection: SW / FW, Welding process: SMAW as per the detail scope of work in Section-V. | 610.00 | Inch-dia |  | 980.00 | 597800.00 | 538.00 | 328180.00 | 300.00 | 183000.00 | 725.00 | 442250.00 | 400.00 | 244000.00 | 183000.00 | EINA ENGINEERING CO
5.00 | Welding of Pipe, Pipe fittings, Valves, Equipments / Components, Material: CS to CS, End connection: BW / NW, Welding process: GTAW/SMAW as per the detail scope of work in Section-V. | 10200.00 | Inch-dia |  | 1050.00 | 10710000.00 | 840.00 | 8568000.00 | 550.00 | 5610000.00 | 840.00 | 8568000.00 | 597.00 | 6089400.00 | 5610000.00 | EINA ENGINEERING CO
6.00 | Welding of Pipe, Pipe fittings, Valves, Equipment / Components, Material: CS to SS, CS to Alloy steel, SS to SS, SS to Alloy steel, Alloy steel to Alloy steel, End connection: SW / FW, Welding process: SMAW as per the detail scope of work in Section-V. | 125.00 | Inch-dia |  | 1200.00 | 150000.00 | 750.00 | 93750.00 | 500.00 | 62500.00 | 725.00 | 90625.00 | 700.00 | 87500.00 | 62500.00 | EINA ENGINEERING CO
7.00 | Welding of Pipe, Pipe fittings, Valves, Equipment / Components, Material: CS to SS, CS to Alloy steel, SS to SS, SS to Alloy steel, Alloy steel to Alloy steel, End connection: BW / NW, Welding process: GTAW for root and GTAW / SMAW for subsequent passes as per the detail scope of work in Section-V. | 2400.00 | Inch-dia |  | 1250.00 | 3000000.00 | 1000.00 | 2400000.00 | 1000.00 | 2400000.00 | 950.00 | 2280000.00 | 740.00 | 1776000.00 | 1776000.00 | M/S S L G CONTRACTOR
8.00 | Dye Penetrant Test of weld joints as per the detail scope of work in Section-V. | 13400.00 | Inch-dia |  | 35.00 | 469000.00 | 75.00 | 1005000.00 | 27.00 | 361800.00 | 80.00 | 1072000.00 | 50.00 | 670000.00 | 361800.00 | EINA ENGINEERING CO
9.00 | Shifting and installation of combined HEPA cum charcoal filter along with Pre-filter of 1700 m3/hr capacity as per drawing and as per the detail scope of work in Section-V. | 4.00 | Nos. |  | 6000.00 | 24000.00 | 9500.00 | 38000.00 | 11000.00 | 44000.00 | 10000.00 | 40000.00 | 8500.00 | 34000.00 | 24000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
10.00 | Damper/Valve/Axial fan installation between flanges in line with metallic gasket and torque tightening of flange joint and as per the detail scope of work in Section-V. | 2500.00 | Inch-dia |  | 175.00 | 437500.00 | 230.00 | 575000.00 | 240.00 | 600000.00 | 325.00 | 812500.00 | 180.00 | 450000.00 | 437500.00 | WINTECH DEVELOPERS PRIVATE LIMITED
11.00 | Erection of centrifugal fans (Capacity-6800 m3/hr, Power-10 kw, Static head-210 mmWC) to desiganated area and its erection as per drawing and as per the detail scope of work in Section-V. | 2.00 | Nos. |  | 10000.00 | 20000.00 | 6500.00 | 13000.00 | 7000.00 | 14000.00 | 15000.00 | 30000.00 | 20000.00 | 40000.00 | 13000.00 | ANNU INSULATION & ENGINEERING CO
12.00 | Installation of Oxygen cylinder in designated area as per drawing and detail scope of work in Section-V. | 110.00 | Nos. |  | 400.00 | 44000.00 | 255.00 | 28050.00 | 200.00 | 22000.00 | 250.00 | 27500.00 | 350.00 | 38500.00 | 22000.00 | EINA ENGINEERING CO
13.00 | Installation of grilles of different sizes in the duct collar as per drawing and as per the detailed scope of work in Section-V. | 225.00 | Nos. |  | 1500.00 | 337500.00 | 1325.00 | 298125.00 | 900.00 | 202500.00 | 250.00 | 56250.00 | 450.00 | 101250.00 | 56250.00 | TOMAR HI-TECH INFRASTRUCTURE
14.00 | Window cutting in CS duct, Shifting, Erection & Welding of CS collar of 3 mm thickness as per drawing. End connection: SW, Welding process: SMAW as per the detail scope of work in Section-V. | 310.00 | Running meter |  | 290.00 | 89900.00 | 1880.00 | 582800.00 | 1000.00 | 310000.00 | 1440.00 | 446400.00 | 1600.00 | 496000.00 | 89900.00 | WINTECH DEVELOPERS PRIVATE LIMITED
15.00 | Supply and installation of glavanised full threaded rod of 22 mm dia with its nut, swivel washer, swivel washer seat & washer assembly and coupler (if rod extension is required) that is to be used for providing hanger type support for ducts and pipes as per the detail scope of supply & work in Section-V. | 300.00 | Kg |  | 190.00 | 57000.00 | 300.00 | 90000.00 | 300.00 | 90000.00 | 200.00 | 60000.00 | 200.00 | 60000.00 | 57000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
16.00 | Supply of fasterners (Nut, Bolt, screw & Washer) of differenet sizes required as per ASTM A-193 Grade-B7 as per IS: 1367, material: Carbon steel, UTS class: minimum 8.8 grade or as per drawing and as per the detail scope of work in Section-V. | 100.00 | Kg |  | 198.00 | 19800.00 | 245.00 | 24500.00 | 300.00 | 30000.00 | 150.00 | 15000.00 | 231.00 | 23100.00 | 15000.00 | TOMAR HI-TECH INFRASTRUCTURE
17.00 | Supply of U-bolt clamp with four nuts & two washers assembly for fixing pipe/duct as per drawing and following size & quantity and as per the detail scope of work in Section-V. 1. 15 NB- 50 Nos. 2. 25 NB- 30 Nos. 3. 50 NB- 150 Nos. 4. 100 NB- 150 Nos. 5. 150 NB- 100 Nos. 6. 200 NB- 50 Nos. 7. 300 NB- 60 Nos. 8. 400 NB- 80 Nos. 9. 550 NB- 30 Nos. | 1.00 | Lot |  | 145000.00 | 145000.00 | 55000.00 | 55000.00 | 60000.00 | 60000.00 | 700000.00 | 700000.00 | 149361.00 | 149361.00 | 55000.00 | ANNU INSULATION & ENGINEERING CO
18.00 | Installation of U-bolt clamp with nut assembly and SS shim (if required) for pipeline of size from 25 NB to 550 NB as per the detail scope of work in Section-V. | 500.00 | Nos |  | 75.00 | 37500.00 | 485.00 | 242500.00 | 400.00 | 200000.00 | 20.00 | 10000.00 | 190.00 | 95000.00 | 10000.00 | TOMAR HI-TECH INFRASTRUCTURE
19.00 | Supply and installation of 14 Guage Wire Mesh for Bird screen protection to cover Open Duct Ends as per the detail scope of supply & work in Section-V. | 25.00 | Sq. m |  | 298.00 | 7450.00 | 935.00 | 23375.00 | 900.00 | 22500.00 | 800.00 | 20000.00 | 1300.00 | 32500.00 | 7450.00 | WINTECH DEVELOPERS PRIVATE LIMITED
20.00 | Supply of EPDM gasket sheet (Durameter Hardness Shore-A 70 +/- 5) of size 1000 mm x 1200 mm x 3 mm thick as per the detail scope of supply in Section-V. | 10.00 | Sq. m |  | 498.00 | 4980.00 | 8000.00 | 80000.00 | 7500.00 | 75000.00 | 3000.00 | 30000.00 | 4000.00 | 40000.00 | 4980.00 | WINTECH DEVELOPERS PRIVATE LIMITED
21.00 | Supply of SS 316 Shim (width: 800-1500 mm) roll of 0.5 mm thickness to install in between SS pipe and support structure as per the detail scope of supply in Section-V. | 50.00 | Kg |  | 475.00 | 23750.00 | 525.00 | 26250.00 | 550.00 | 27500.00 | 220.00 | 11000.00 | 350.00 | 17500.00 | 11000.00 | TOMAR HI-TECH INFRASTRUCTURE
22.00 | Supply and pasting of Fire retardant water proof sealing compound (POLYURETHANE FOAM based or equivalent) in 5-20 kgs pack as per the detail scope of supply in Section-V. | 50.00 | kg |  | 590.00 | 29500.00 | 1215.00 | 60750.00 | 1200.00 | 60000.00 | 1020.00 | 51000.00 | 200.00 | 10000.00 | 10000.00 | M/S S L G CONTRACTOR
23.00 | Radiography of weld joints for OESC ventilation and Breathing Air system as per the detail scope of work in Section-V. | 500.00 | Inch-dia |  | 398.00 | 199000.00 | 880.00 | 440000.00 | 900.00 | 450000.00 | 1050.00 | 525000.00 | 500.00 | 250000.00 | 199000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
24.00 | Supply and installation of post concrete Anchor bolt of HILTI make type-HSL-3 G/3B of Size M16 and as per the detail scope of work in Section-V. | 400.00 | Nos. |  | 1600.00 | 640000.00 | 1020.00 | 408000.00 | 1250.00 | 500000.00 | 700.00 | 280000.00 | 2100.00 | 840000.00 | 280000.00 | TOMAR HI-TECH INFRASTRUCTURE
25.00 | Supplying of suitable Primer, brush, thinner/tar-pine oil as per manufacture recommendation Primer Painting of ventilation duct and supports as per the detail scope of work in Section-V. | 600.00 | Sq. m |  | 35.00 | 21000.00 | 60.00 | 36000.00 | 67.00 | 40200.00 | 220.00 | 132000.00 | 240.00 | 144000.00 | 21000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
26.00 | Supply of Synthetic Enamel Paint, brush, thinner/tar-pine oil as per manufacture recommendation & Painting of ventilation duct and supports as per the detail scope of work in Section-V. | 600.00 | Sq. m |  | 78.00 | 46800.00 | 64.00 | 38400.00 | 67.00 | 40200.00 | 375.00 | 225000.00 | 400.00 | 240000.00 | 38400.00 | ANNU INSULATION & ENGINEERING CO
| Total in Figures |  |  |  |  | 23306480.00 |  | 22174680.00 |  | 17995200.00 |  | 23529525.00 |  | 19351111.00
Lowest Amount Quoted BY: EINA ENGINEERING CO(17995200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Fabrication and Erection of piping and equipment of ventilation and Active waste management system at OESC building of RR Site. Tender ID: 2025_NPCIL_230277_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | EINA ENGINEERING CO (BID ID -839434) | 17995200.00 | L1
| 2 | M/S S L G CONTRACTOR (BID ID -840092) | 19351111.00 | L2
| 3 | ANNU INSULATION & ENGINEERING CO (BID ID -839080) | 22174680.00 | L3
| 4 | WINTECH DEVELOPERS PRIVATE LIMITED (BID ID -841189) | 23306480.00 | L4
| 5 | TOMAR HI-TECH INFRASTRUCTURE (BID ID -841095) | 23529525.00 | L5