## BoQ1
Government eProcurement System Created By: SHANKAR SATPUTE Created Date/Time: 04-Jun-2025 11:42 AM Tender Title: Detailed Condition assessment by Non-Destructive Testing or Partial Destructive Testing of Biological shield of Primary Containment Unit _ 1 and Unit _ 2 at Tarapur Atomic Power Station 1and2. Tender ID: 2025_NPCIL_230920_1
Tender Inviting Authority: Maintenance Superintendent, TAPS-1&2
Name of Work: "Detailed Condition assessment by Non-Destructive Testing / Partial Destructive Testing of Biological shield of Primary Containment Unit # 1 & Unit # 2 at Tarapur Atomic Power Station 1&2."
Contract No: TMS / C&MM-Works / CIVIL-1&2 / 2025 / 2551
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | B.J.MEHTA ARCHITECTURAL AND STRUCTURAL CONSULTANTS PVT. LTD. (GSTN-27AACCB9789J1ZY) BID ID -835730 |  | Cortex Construction Solutions Pvt. Ltd. (GSTN-07AACCC9823E1ZR) BID ID -836243 |  | Epicons Consultants Pvt Ltd (GSTN-27AAACE8333R1Z3) BID ID -836442 |  | BECQUEREL INDUSTRIES PRIVATE LIMITED (GSTN-27AAECB2819F1ZW) BID ID -836851 |  | ESI SERVICES INDIA LLP (GSTN-NA) BID ID -836301 |  | KBP Civil Engineering Services (GSTN-NA) BID ID -837286 |  | Capstone Consultants Pvt Ltd (GSTN-NA) BID ID -837133
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Detailed Condition assessment of Biological Shield in Primary Containment of Unit 1& Unit 2 at TAPS 1&2 by mobilization of qualified and experienced personnnels, tools - equipments and carrying out Non-destructive/ partially destrucive test on selected locations, making the grid, collecting data from field, analysing as per relevant IS / BS / ACI codes / guidelines and submission of report including comparision of current assessment and with base line data collected previously in 2017-18.
1.01 | Rebound hammer test (16 points at 12 locations in each unit) | 384.00 | Nos. |  | 500.00 | 192000.00 | 300.00 | 115200.00 | 80.00 | 30720.00 | 475.45 | 182572.80 | 350.80 | 134707.20 | 324.50 | 124608.00 | 250.00 | 96000.00 | 30720.00 | Epicons Consultants Pvt Ltd
1.02 | USPV Test (16 points at 12 locations in each unit) | 384.00 | Nos. |  | 600.00 | 230400.00 | 650.00 | 249600.00 | 150.00 | 57600.00 | 561.90 | 215769.60 | 467.40 | 179481.60 | 531.00 | 203904.00 | 400.00 | 153600.00 | 57600.00 | Epicons Consultants Pvt Ltd
1.03 | Carbonation depth test (2 points at 12 locations in each unit) | 48.00 | Nos. |  | 500.00 | 24000.00 | 500.00 | 24000.00 | 25.00 | 1200.00 | 1080.58 | 51867.84 | 406.20 | 19497.60 | 265.50 | 12744.00 | 300.00 | 14400.00 | 1200.00 | Epicons Consultants Pvt Ltd
1.04 | Electric Resistivity / Concrete Resistivity Test (4 points at 12 locations in each unit) | 96.00 | Nos. |  | 1000.00 | 96000.00 | 750.00 | 72000.00 | 100.00 | 9600.00 | 4754.57 | 456438.72 | 487.40 | 46790.40 | 1298.00 | 124608.00 | 450.00 | 43200.00 | 9600.00 | Epicons Consultants Pvt Ltd
1.05 | Half-cell potential measurement test including graphical representation of equipotential contours (16 points at 12 locations in each unit) | 384.00 | Nos. |  | 500.00 | 192000.00 | 700.00 | 268800.00 | 125.00 | 48000.00 | 648.35 | 248966.40 | 615.50 | 236352.00 | 531.00 | 203904.00 | 300.00 | 115200.00 | 48000.00 | Epicons Consultants Pvt Ltd
1.06 | Core Extraction and Testing: Extracting the concrete core samples following the codal provisions; and evaluating the properties [compressive strength, deformation at collapse/breaking (Lateral & Longitudnal) and Modulus of Elasticity] in the laboratory from the core samples selected as per IS , without encountering any steel reinforcement from the RCC members covered under the study at specified locations by site in-charge with portable power driven core cutting equipment including repairing the cavity created with high strength Polymer Modified Mortar of equivalent grade. | 18.00 | Nos. |  | 5000.00 | 90000.00 | 7000.00 | 126000.00 | 15000.00 | 270000.00 | 3025.52 | 54459.36 | 7236.00 | 130248.00 | 2950.00 | 53100.00 | 10000.00 | 180000.00 | 53100.00 | KBP Civil Engineering Services
1.07 | Chemical analysis of concrete powder collected from the structure or concrete core sample/ by drilling to understand the deterioration of structure due to chemical attack and its effect on reinforcement corrosion with evaluation of the following parameters. a) Water Soluble Chloride Content % (by of mass of concrete) to check the risk of corrosion due to present chloride % as per b) pH Value (to check alkalinity of concrete) as per relevant B.S. 5328, ACI 201.2R-92 and ACI-318-99, IS 456:2000, BS 8110 c) Acid Soluble Sulphate Content % (by of mass of cement) to check risk of column buckling (due to volume increment of concrete) as per (4 points at 6 locations in each unit) | 48.00 | Nos. |  | 1000.00 | 48000.00 | 5000.00 | 240000.00 | 2500.00 | 120000.00 | 2161.17 | 103736.16 | 913.00 | 43824.00 | 1298.00 | 62304.00 | 2950.00 | 141600.00 | 43824.00 | ESI SERVICES INDIA LLP
1.08 | Concrete cover test (30 locations in toto in each unit) | 60.00 | Nos. |  | 500.00 | 30000.00 | 500.00 | 30000.00 | 50.00 | 3000.00 | 692.66 | 41559.60 | 1881.00 | 112860.00 | 885.00 | 53100.00 | 350.00 | 21000.00 | 3000.00 | Epicons Consultants Pvt Ltd
2.00 | Visual Survey:- Visual inspection for surface damages, damage classification. The visual inspection shall largely cover areas of high distress, corrosion, moisture, leakage, abnormal variations in structure, algae and fungus growth, efflorescence, etc. Visual inspection would be documented in the form of worksheets, photographic records, and distress over drawings. Simple tools and instruments like camera with flash light, magnifying glass, binoculars, chisel and hammer, etc shall be used for measuring the distresses as per site requirement. | 2.00 | Nos. |  | 125000.00 | 250000.00 | 150000.00 | 300000.00 | 235000.00 | 470000.00 | 12967.00 | 25934.00 | 143100.00 | 286200.00 | 29500.00 | 59000.00 | 250000.00 | 500000.00 | 25934.00 | BECQUEREL INDUSTRIES PRIVATE LIMITED
3.00 | Crack study, monitoring & record :
3.01 | Detailed crack study / mapping of major cracks identified in visual inspection viz crack depth measurement, crack width and crack length including preparing and submitting comprehensive repair scheme / DPR with BOQ quantified data for future repair, consumption of grout, grouting material, grouting process, etc complete as per relevant IS / ACI code using appropriate tools (crack width microscope, etc) and advanced concrete imaging equipments like precision GPR / tomography, or any other relevant equipment. | 2.00 | Nos. |  | 50000.00 | 100000.00 | 100000.00 | 200000.00 | 235000.00 | 470000.00 | 47545.74 | 95091.48 | 177150.00 | 354300.00 | 53100.00 | 106200.00 | 180000.00 | 360000.00 | 95091.48 | BECQUEREL INDUSTRIES PRIVATE LIMITED
3.02 | Providing and installting Standard precision tell-tales for crack monitoring and recording with two plates, bottom with calibrated gauge and top with cross hair. The tell tales shall either be installed using SS screws or with adhesive (paint / coating shall be removed before installing). Complete as directed by Engineer in charge Reference makes: Gilson, avonguard | 40.00 | Nos. |  | 2000.00 | 80000.00 | 5000.00 | 200000.00 | 3000.00 | 120000.00 | 30256.38 | 1210255.20 | 4874.00 | 194960.00 | 14750.00 | 590000.00 | 9500.00 | 380000.00 | 80000.00 | B.J.MEHTA ARCHITECTURAL AND STRUCTURAL CONSULTANTS PVT. LTD.
3.03 | Providing and installing 2mm thick single strength glass strip (microscope glass) or crack monitoring glass rod for monitoring of passive cracks. The glass strips shall be installed using epoxy adhesive (paint / coating shall be removed before installing). Complete as directed by Engineer in charge. | 60.00 | Nos. |  | 1000.00 | 60000.00 | 1500.00 | 90000.00 | 100.00 | 6000.00 | 12967.00 | 778020.00 | 1431.00 | 85860.00 | 1652.00 | 99120.00 | 500.00 | 30000.00 | 6000.00 | Epicons Consultants Pvt Ltd
4.00 | Report submission with Interpretation and recommendation: Preparing and submitting comprehensive report consisting of findings from visual inspection, test data, interpretation of results, conclusions and final recommendations along with sketch indicating the location of the test. Submission of draft report including repair methodology shall be submitted in soft copy( Editable version). After review, the final report shall be submitted in hardcopy (5 Nos) colour printing alongwith soft copy. | 1.00 | Lumpsum |  | 254600.00 | 254600.00 | 180000.00 | 180000.00 | 500000.00 | 500000.00 | 64835.00 | 64835.00 | 360033.50 | 360033.50 | 76700.00 | 76700.00 | 90000.00 | 90000.00 | 64835.00 | BECQUEREL INDUSTRIES PRIVATE LIMITED
5.00 | APPLICABLE TOTAL GST RATE (%) INCLUDED IN THE QUOTED PRICE:
5.01 | CGST RATE(%)
5.02 | SGST RATE(%)
5.03 | IGST RATE(%)
| Total in Figures |  |  |  |  | 1647000.00 |  | 2095600.00 |  | 2106120.00 |  | 3529506.16 |  | 2185114.30 |  | 1769292.00 |  | 2125000.00
Lowest Amount Quoted BY: B.J.MEHTA ARCHITECTURAL AND STRUCTURAL CONSULTANTS PVT. LTD.(1647000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Detailed Condition assessment by Non-Destructive Testing or Partial Destructive Testing of Biological shield of Primary Containment Unit _ 1 and Unit _ 2 at Tarapur Atomic Power Station 1and2. Tender ID: 2025_NPCIL_230920_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | B.J.MEHTA ARCHITECTURAL AND STRUCTURAL CONSULTANTS PVT. LTD. (BID ID -835730) | 1647000.00 | L1
| 2 | KBP Civil Engineering Services (BID ID -837286) | 1769292.00 | L2
| 3 | Cortex Construction Solutions Pvt. Ltd. (BID ID -836243) | 2095600.00 | L3
| 4 | Epicons Consultants Pvt Ltd (BID ID -836442) | 2106120.00 | L4
| 5 | Capstone Consultants Pvt Ltd (BID ID -837133) | 2125000.00 | L5
| 6 | ESI SERVICES INDIA LLP (BID ID -836301) | 2185114.30 | L6
| 7 | BECQUEREL INDUSTRIES PRIVATE LIMITED (BID ID -836851) | 3529506.16 | L7