## BoQ1
Government eProcurement System Created By: RAM MURAT RAM Created Date/Time: 29-May-2025 12:21 PM Tender Title: ETR-1621 Tender ID: 2025_NPCIL_231515_1
Tender Inviting Authority:
Name of Work: Repainting works of Active & Non Active Zone Buildings / Areas at KAPS-1&2 Plant Site (2025-27)
Contract No: KAPS/CMM-W/1-2/SMU/2025/ETR/1621
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Technical Construction Co. (GSTN-NA) BID ID -841943 |  | raghav constructions (GSTN-NA) BID ID -841754 |  | NAMBAHADUR (GSTN-NA) BID ID -841962 |  | UNITED ENGINEERS (GSTN-NA) BID ID -841919 |  | WIN-TECH ENGINEERS & CONTRACTORS (GSTN-NA) BID ID -842202
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Part: A - Non Active Area Buildings. Supplying and applying of High build epoxy paint which is of two pack epoxy coating system comprising of compound A & B (i.e. Resin and Hardener) of approved brand and shade as per following sub items on Non Active Buildings areas wherever high build epoxy paint is applicable at all elevation within plant site etc. Item includes cost of paints, brushes, compatible putty, stirer machines for mixing paint, crack repairing, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), masking tapes / paper tapes (used in painting work for avoiding extra unwanted areas), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personals, shifting & replacing (after completion of painting work) in position all types of office furnitures. and cleaning of area after completion of work. Work is to be carried out as per specification and as directed by the Engineer in charge. Using ASIAN-APCODUR CF 641, CF 641-CS / BERGER - PROTECTOMASTIC / ICI - AKZONOBEL- INTERGARD 1054 AMERLOCK for Floors, walls, ceilings etc.
1.10 | One coat | 10000.00 | SqM |  | 140.00 | 1400000.00 | 145.00 | 1450000.00 | 180.00 | 1800000.00 | 150.00 | 1500000.00 | 180.00 | 1800000.00 | 1400000.00 | Technical Construction Co.
1.20 | Two coats | 10000.00 | SqM |  | 210.00 | 2100000.00 | 260.00 | 2600000.00 | 250.00 | 2500000.00 | 230.00 | 2300000.00 | 225.00 | 2250000.00 | 2100000.00 | Technical Construction Co.
2.00 | Using SUNLIGHT - RUSTOMASTIC / ATUL - EPOGAURD for Floors, walls, ceilings etc.
2.10 | One coat | 400.00 | SqM |  | 140.00 | 56000.00 | 130.00 | 52000.00 | 170.00 | 68000.00 | 180.00 | 72000.00 | 125.00 | 50000.00 | 50000.00 | WIN-TECH ENGINEERS & CONTRACTORS
2.20 | Two coats | 400.00 | SqM |  | 210.00 | 84000.00 | 245.00 | 98000.00 | 240.00 | 96000.00 | 240.00 | 96000.00 | 195.00 | 78000.00 | 78000.00 | WIN-TECH ENGINEERS & CONTRACTORS
3.00 | Using ASIAN-APCODUR CF 641, CF 641-CS / BERGER - PROTECTOMASTIC / ICI - AKZONOBEL- INTERGARD 1054 AMERLOCK for Pipes, structures, platforms, supports, equipments, panels, ceiling, walls, dado etc.
3.10 | One coat | 5000.00 | SqM |  | 140.00 | 700000.00 | 150.00 | 750000.00 | 185.00 | 925000.00 | 150.00 | 750000.00 | 180.00 | 900000.00 | 700000.00 | Technical Construction Co.
3.20 | Two coats | 6500.00 | SqM |  | 210.00 | 1365000.00 | 265.00 | 1722500.00 | 255.00 | 1657500.00 | 230.00 | 1495000.00 | 215.00 | 1397500.00 | 1365000.00 | Technical Construction Co.
4.00 | Using SUNLIGHT - RUSTOMASTIC / ATUL - EPOGAURD for Pipes, structures, platforms, supports, equipments, panels, ceiling, walls, dado etc.
4.10 | One coat | 1200.00 | SqM |  | 140.00 | 168000.00 | 130.00 | 156000.00 | 180.00 | 216000.00 | 180.00 | 216000.00 | 150.00 | 180000.00 | 156000.00 | raghav constructions
4.20 | Two coats | 1000.00 | SqM |  | 210.00 | 210000.00 | 250.00 | 250000.00 | 245.00 | 245000.00 | 240.00 | 240000.00 | 225.00 | 225000.00 | 210000.00 | Technical Construction Co.
5.00 | Supplying and applying 02 ( two) coats of Acrylic Emulsion paint to give an even shade of approved brand and shade from Berger Paints Bison Super Emulsion/Asian Paints Tractor Emulsion / Nerolac Acrylic Emulsion / ICI Maxilite Acrylic Emulsion over on all internal surfaces of walls / ceilings in rooms of buildings at all heights. Item includes preparing the surface by removing complete loose paints from existing surfaces by scrappers /electrical driven angle grinder machines and rectified those areas by applying primer and readymade acrylic putty compatible to paint as suggested by manufacture to make levelled surface before applying emulsion paint, filled the cracks and making good damaged & rough surfaces to smooth, minor repairs, sealing of cracks with readymade Acrylic crack free putty from paint manufacturer. Item includes cost of paints, brushes, acrylic putty, wire brushes, sand papers masking tapes / paper tapes (used in painting work for avoiding extra unwanted areas), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personals, shifting & replacing (after completion of painting work) in position all types of office furnitures and cleaning of area after completion of work. Work is to be carried out as directed by the Engineer in charge. | 10000.00 | SqM |  | 79.00 | 790000.00 | 130.00 | 1300000.00 | 100.00 | 1000000.00 | 130.00 | 1300000.00 | 60.00 | 600000.00 | 600000.00 | WIN-TECH ENGINEERS & CONTRACTORS
6.00 | Supplying and applying Synthetic Enamel Paint at all elevations from Asian paints - (Premium Gloss enamel) / Berger paint (Hi Gloss Enamel) / Nerolac (Synthetic enamel Hi Gloss) paints over existing painted steel/metal /wooden/RCC/ Plastered surfaces etc. Item includes cost of paints, brushes, compatible putty, crack repairing, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), masking tapes / paper tapes (used in painting work for avoiding extra unwanted areas), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personals, shifting & replacing (after completion of painting work) in position all types of office furnitures and cleaning of area after completion of work Work is to be carried out as per specification and as directed by the Engineer in charge.
6.10 | Single coat | 8500.00 | SqM |  | 70.00 | 595000.00 | 95.00 | 807500.00 | 100.00 | 850000.00 | 100.00 | 850000.00 | 60.00 | 510000.00 | 510000.00 | WIN-TECH ENGINEERS & CONTRACTORS
6.20 | Two coat | 7000.00 | SqM |  | 108.00 | 756000.00 | 140.00 | 980000.00 | 130.00 | 910000.00 | 130.00 | 910000.00 | 70.00 | 490000.00 | 490000.00 | WIN-TECH ENGINEERS & CONTRACTORS
7.00 | Supplying and painting the existing painted or unpainted surfaces with 02 (two) coats of approved Heat Resistant paint (Applied paint shall withstand against 600 degree Centigrade temperature) at all heights from Berger Paints / Asian Paints / Nerolack as directed by Engineer. Item includes cost of paints, brushes, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personnel and cleaning of area after completion of work. Work is to be carried out as per specification and as directed by the Engineer in charge. | 400.00 | SqM |  | 145.00 | 58000.00 | 195.00 | 78000.00 | 220.00 | 88000.00 | 98.00 | 39200.00 | 195.00 | 78000.00 | 39200.00 | UNITED ENGINEERS
8.00 | Supplying and painting the existing painted or unpainted surfaces with Aluminium paint of approved brand and shade from ASIAN / BERGER / SHALIMAR / ICI DULUX / JOHNSON on metal surfaces, fence, ducts, cable trays etc. at all heights. Item includes cost of paints, brushes, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personnel and cleaning of area after completion of work. Work is to be carried out as per specification and as directed by the Engineer in charge.
8.10 | One Coat | 5000.00 | SqM |  | 75.00 | 375000.00 | 70.00 | 350000.00 | 100.00 | 500000.00 | 65.00 | 325000.00 | 70.00 | 350000.00 | 325000.00 | UNITED ENGINEERS
8.20 | Two Coats | 2000.00 | SqM |  | 98.00 | 196000.00 | 130.00 | 260000.00 | 125.00 | 250000.00 | 120.00 | 240000.00 | 80.00 | 160000.00 | 160000.00 | WIN-TECH ENGINEERS & CONTRACTORS
9.00 | Supplying and painting of existing painted or unpainted surface of any water retaining old / new surfaces with 01 (one) coat of high build two components coal tar epoxy paint at all heights of approved brand from Sunlight Paints / Berger Paints / Asian Paints PPG / Nerolack Paints / ICI Dulux Paints as directed by engineer. Mixing of paint with thinner shall strictly be as per manufacturer's specification.Item includes cost of paints, thinner, brushes, stirer machines for mixing paint, crack repairing, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personnel and cleaning of area after completion of work. Work is to be carried out as per specification and as directed by the Engineer in charge. | 1000.00 | SqM |  | 75.00 | 75000.00 | 75.00 | 75000.00 | 100.00 | 100000.00 | 100.00 | 100000.00 | 120.00 | 120000.00 | 75000.00 | raghav constructions, Technical Construction Co.
10.00 | Nomenclature painting work is to be carried out at any height by using alphabetic/numerals/symbol etc. up to a letter height of 1/2" to 6" by skilled painter including cost of synthetic enamel paint, brush, thinner, preparation of surfaces, removing dust, erection & removal of scaffolding at all elevation, etc. complete all as directed by Engineer. NOTE:- 1. One word/number/symbol will be measured in "Each nos." | 300000.00 | Nos |  | 4.00 | 1200000.00 | 6.25 | 1875000.00 | 7.00 | 2100000.00 | 7.00 | 2100000.00 | .80 | 240000.00 | 240000.00 | WIN-TECH ENGINEERS & CONTRACTORS
11.00 | Supplying and applying 01 (one) coat of synthetic enamel paint from Asian paints - (Premium Gloss enamel) / Berger paints (Hi Gloss Enamel) / Nerolac (Synthetic enamel Hi Gloss) paints etc. and shade over Existing painted or New surface of pipes and fittings etc. at all heights. Item includes cost of paints, brushes, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personals, shifting & replacing (after completion of painting work) in position all types of office furnitures. and cleaning of area after completion of work. Work is to be carried out as per specification and as directed by the Engineer in charge. Note:- 1. No extra payment for valves etc. 2. Total running meter of pipe length painted will be measured and paid
11.10 | Pipe Diameter 150mm and upto 300mm | 1000.00 | RM |  | 45.00 | 45000.00 | 65.00 | 65000.00 | 60.00 | 60000.00 | 100.00 | 100000.00 | 70.00 | 70000.00 | 45000.00 | Technical Construction Co.
11.20 | Pipe Diameter above 40mm and below 150mm. | 3500.00 | RM |  | 25.00 | 87500.00 | 30.00 | 105000.00 | 31.00 | 108500.00 | 70.00 | 245000.00 | 60.00 | 210000.00 | 87500.00 | Technical Construction Co.
11.30 | Pipe Diameter 40mm and below | 4500.00 | RM |  | 18.00 | 81000.00 | 15.00 | 67500.00 | 22.00 | 99000.00 | 50.00 | 225000.00 | 50.00 | 225000.00 | 67500.00 | raghav constructions
12.00 | Supplying and applying exterior acrylic primer at all heights of approved shade from Asian / Berger / Nerolac over new / old surfaces as directed by the Engineer. Item includes preparing the surface by removing of all loose paints, dirt and dusts, cleaning of surface, filling / sealing of cracks up to 3mm by crack seal / putty as specified by paint manufacturer, making good the damaged & rough surfaces smooth, minor repairs, other major cracks sealing with Birla white cement / JK white cement crack free putty, cement slurry / cement mortar, cleaning of doors, windows, ventilators, glasses etc. after completion of work. Item includes cost of paints, brushes, wire brushes, sand papers, cleaning accessories, labour, tools and tackles, transportation, loading, unloading of materials at KAPS plant site,erection & removal of steel scaffolding, personnel safety of all workers with required PPE accessories etc., complete as directed by the Engineer in charge. | 15000.00 | SqM |  | 38.00 | 570000.00 | 72.00 | 1080000.00 | 65.00 | 975000.00 | 90.00 | 1350000.00 | 75.00 | 1125000.00 | 570000.00 | Technical Construction Co.
13.00 | Supplying and applying 02 (two) coats of exterior emulsion paint of approved shade from Asian Paints make Apex ultima / Berger make Weather shield / Nerolac make Excel Mica Marble on new / old surfaces at all heights as directed by the Engineer. Generally Dark shade will be 20 % and Light shade will be 80%. Item includes preparing the surface by removing of all loose paints, dirt and dusts, cleaning of surface, filling / sealing of cracks up to 3mm by crack seal / putty as specified by paint manufacturer, making good the damaged & rough surfaces smooth, minor repairs, other major cracks sealing with Birla white cement / JK white cement crack free putty, cement slurry / cement mortar, cleaning of doors, windows, ventilators, glasses etc. after completion of work. Item includes cost of paints, brushes, wire brushes, sand papers, cleaning accessories, labour, tools and tackles, transportation, loading, unloading of materials at KAPS plant site,erection & removal of steel scaffolding, personnel safety of all workers with required PPE accessories etc., complete as directed by the Engineer in charge. | 15000.00 | SqM |  | 98.00 | 1470000.00 | 130.00 | 1950000.00 | 160.00 | 2400000.00 | 140.00 | 2100000.00 | 115.00 | 1725000.00 | 1470000.00 | Technical Construction Co.
14.00 | Supplying and applying 01(one) coat of Metal primer (Red oxide) at all heights from Asian paints / Berger paints / Nerolac paints over existing painted steel/metal surfaces etc. Item includes cost of metal primer, brushes, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personnel and cleaning of area after completion of work. Work is to be carried out as per specification and as directed by the Engineer in charge. | 7000.00 | SqM |  | 45.00 | 315000.00 | 62.00 | 434000.00 | 55.00 | 385000.00 | 80.00 | 560000.00 | 25.00 | 175000.00 | 175000.00 | WIN-TECH ENGINEERS & CONTRACTORS
15.00 | Providing and applying Repair materials at all elevation from Asian paints / Sika/ Fosroc/ Choksey / Pidilite for repairs of RCC members like beams, columns, slab and gutter etc. at all elevation. Item included cost of materials, labours, erection and removal of scaffolding, transportation, tools and tackles etc. Complete as per manufacturers specification and directed by Engineer-in-charge.
15.10 | Polymer modified Repair Mortar | 300.00 | Kg |  | 35.00 | 10500.00 | 25.00 | 7500.00 | 28.00 | 8400.00 | 100.00 | 30000.00 | 99.00 | 29700.00 | 7500.00 | raghav constructions
15.20 | Micro-concrete | 300.00 | Kg |  | 40.00 | 12000.00 | 40.00 | 12000.00 | 28.00 | 8400.00 | 150.00 | 45000.00 | 109.00 | 32700.00 | 8400.00 | NAMBAHADUR
15.30 | Crack seal | 200.00 | Kg |  | 280.00 | 56000.00 | 229.00 | 45800.00 | 400.00 | 80000.00 | 200.00 | 40000.00 | 500.00 | 100000.00 | 40000.00 | UNITED ENGINEERS
16.00 | Preparing surface by Grinding Machine at all elevation having dust collecting arrangement (support of vacuum cleaner) so as to have proper binding of putty / primer to be applied including cleaning the surface with water if required etc. complete. Item including cost of grinder, blades, labour, erection and removal of scaffolding, transportation, tools and tackles etc. Complete as per directed by Engineer-in-charge. | 900.00 | SqM |  | 95.00 | 85500.00 | 95.00 | 85500.00 | 125.00 | 112500.00 | 100.00 | 90000.00 | 20.00 | 18000.00 | 18000.00 | WIN-TECH ENGINEERS & CONTRACTORS
17.00 | Supplying and painting 02 (two) coats of Chlorinated Rubber paint of approved brand and shade from Asian Paints / Sunlight Paints / Berger Paints on old / new steel structures, piping etc. at all elevation. Item includes cost of paints, brushes, stirer machines for mixing paint, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personals. and cleaning of area after completion of work. Work is to be carried out as per specification and as directed by the Engineer in charge. | 7000.00 | SqM |  | 115.00 | 805000.00 | 130.00 | 910000.00 | 210.00 | 1470000.00 | 150.00 | 1050000.00 | 95.00 | 665000.00 | 665000.00 | WIN-TECH ENGINEERS & CONTRACTORS
18.00 | Supplying and painting 02 (two) coats of Duco paint on old / new pipe structures, piping etc. at all elevations. Item includes cost of paints, thinner, brushes, spray machine, stirer machines for mixing paint, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), masking tapes / paper tapes (used in painting work for avoiding extra unwanted areas), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personnel and cleaning of area after completion of work. Work is to be carried out as per specification and as directed by the Engineer in charge. | 450.00 | SqM |  | 390.00 | 175500.00 | 390.00 | 175500.00 | 350.00 | 157500.00 | 100.00 | 45000.00 | 295.00 | 132750.00 | 45000.00 | UNITED ENGINEERS
19.00 | Supplying and painting 02 (two) coats of PU Polish of approved brand and shade from Asian Paints / Berger Paints / Nerolac paints on wood or other furnishing items etc. as directed by Engineer. Item includes cost of paints, thinner, brushes, spray machine, stirer machines for mixing paint, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), masking tapes / paper tapes (used in painting work for avoiding extra unwanted areas), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personnel and cleaning of area after completion of work. Work is to be carried out as per specification and as directed by the Engineer in charge. | 200.00 | SqM |  | 390.00 | 78000.00 | 175.00 | 35000.00 | 1000.00 | 200000.00 | 180.00 | 36000.00 | 200.00 | 40000.00 | 35000.00 | raghav constructions
20.00 | Part: B - Active Area Buildings. Supplying and applying of High build epoxy paint which is of two pack epoxy coating system comprising of compound A & B (i.e. Resin and Hardener) of approved brand and shade as per following sub items on Active Zone Buildings wherever high build epoxy paint is applicable at all elevations within plant site etc. Item includes cost of paints, brushes, compatible putty, stirer machines for mixing paint, crack repairing, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), masking tapes / paper tapes (used in painting work for avoiding extra unwanted areas), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personals, shifting & replacing (after completion of painting work) in position all types of office furnitures and cleaning of area after completion of work. Work is to be carried out as per specification and as directed by the Engineer in charge. Using ASIAN-APCODUR CF 641, CF 641-CS / BERGER - PROTECTOMASTIC / ICI - AKZONOBEL- INTERGARD 1054 AMERLOCK for Floors, walls, ceilings etc.
20.10 | One coat | 10000.00 | SqM |  | 155.00 | 1550000.00 | 150.00 | 1500000.00 | 180.00 | 1800000.00 | 160.00 | 1600000.00 | 150.00 | 1500000.00 | 1500000.00 | raghav constructions, WIN-TECH ENGINEERS & CONTRACTORS
20.20 | Two coats | 7000.00 | SqM |  | 220.00 | 1540000.00 | 270.00 | 1890000.00 | 250.00 | 1750000.00 | 240.00 | 1680000.00 | 170.00 | 1190000.00 | 1190000.00 | WIN-TECH ENGINEERS & CONTRACTORS
21.00 | Using SUNLIGHT - RUSTOMASTIC / ATUL - EPOGAURD for Floors, walls, ceilings etc.
21.10 | One coat | 500.00 | SqM |  | 155.00 | 77500.00 | 130.00 | 65000.00 | 170.00 | 85000.00 | 180.00 | 90000.00 | 200.00 | 100000.00 | 65000.00 | raghav constructions
21.20 | Two coats | 200.00 | SqM |  | 220.00 | 44000.00 | 230.00 | 46000.00 | 240.00 | 48000.00 | 240.00 | 48000.00 | 300.00 | 60000.00 | 44000.00 | Technical Construction Co.
22.00 | Using ASIAN-APCODUR CF 641, CF 641-CS / BERGER - PROTECTOMASTIC / ICI - AKZONOBEL- INTERGARD 1054 AMERLOCK for Pipes, structures, platforms, supports, equipments, panels, ceiling, walls, dado etc.
22.10 | One coat | 5000.00 | SqM |  | 155.00 | 775000.00 | 160.00 | 800000.00 | 185.00 | 925000.00 | 160.00 | 800000.00 | 150.00 | 750000.00 | 750000.00 | WIN-TECH ENGINEERS & CONTRACTORS
22.20 | Two coats | 2000.00 | SqM |  | 220.00 | 440000.00 | 300.00 | 600000.00 | 255.00 | 510000.00 | 240.00 | 480000.00 | 170.00 | 340000.00 | 340000.00 | WIN-TECH ENGINEERS & CONTRACTORS
23.00 | Using SUNLIGHT - RUSTOMASTIC / ATUL - EPOGAURD for Pipes, structures, platforms, supports, equipments, panels, ceiling, walls, dado etc.
23.10 | One coat | 2000.00 | SqM |  | 155.00 | 310000.00 | 130.00 | 260000.00 | 180.00 | 360000.00 | 180.00 | 360000.00 | 225.00 | 450000.00 | 260000.00 | raghav constructions
23.20 | Two coats | 1000.00 | SqM |  | 220.00 | 220000.00 | 250.00 | 250000.00 | 245.00 | 245000.00 | 240.00 | 240000.00 | 250.00 | 250000.00 | 220000.00 | Technical Construction Co.
24.00 | Supplying and applying 02 ( two) coats of Acrylic Emulsion paint to give an even shade of approved brand and shade from Berger Paints Bison Super Emulsion/Asian Paints Tractor Emulsion / Nerolac Acrylic Emulsion / ICI Maxilite Acrylic Emulsion over on all internal surfaces of walls / ceilings in rooms of buildings at all heights. Item includes preparing the surface by removing complete loose paints from existing surfaces by scrappers /electrical driven angle grinder machines and rectified those areas by applying primer and readymade acrylic putty compatible to paint as suggested by manufacture to make levelled surface before applying emulsion paint, filled the cracks and making good damaged & rough surfaces to smooth, minor repairs, sealing of cracks with readymade Acrylic crack free putty from paint manufacturer. Item includes cost of paints, brushes, acrylic putty, wire brushes, sand papers masking tapes / paper tapes (used in painting work for avoiding extra unwanted areas), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personals, shifting & replacing (after completion of painting work) in position all types of office furnitures and cleaning of area after completion of work. Work is to be carried out as directed by the Engineer in charge. | 5500.00 | SqM |  | 100.00 | 550000.00 | 125.00 | 687500.00 | 100.00 | 550000.00 | 150.00 | 825000.00 | 80.00 | 440000.00 | 440000.00 | WIN-TECH ENGINEERS & CONTRACTORS
25.00 | Supplying and applying Synthetic Enamel Paint at all elevations from Asian paints - (Premium Gloss enamel) / Berger paint (Hi Gloss Enamel) / Nerolac (Synthetic enamel Hi Gloss) paints over existing painted steel/metal /wooden/RCC/ Plastered surfaces etc. Item includes cost of paints, brushes, compatible putty, crack repairing, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), masking tapes / paper tapes (used in painting work for avoiding extra unwanted areas), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personals, shifting & replacing (after completion of painting work) in position all types of office furnitures. and cleaning of area after completion of work. Work is to be carried out as per specification and as directed by the Engineer in charge.
25.10 | Single coat | 5000.00 | SqM |  | 80.00 | 400000.00 | 90.00 | 450000.00 | 100.00 | 500000.00 | 98.00 | 490000.00 | 80.00 | 400000.00 | 400000.00 | Technical Construction Co., WIN-TECH ENGINEERS & CONTRACTORS
25.20 | Two coat | 1500.00 | SqM |  | 115.00 | 172500.00 | 130.00 | 195000.00 | 130.00 | 195000.00 | 170.00 | 255000.00 | 90.00 | 135000.00 | 135000.00 | WIN-TECH ENGINEERS & CONTRACTORS
26.00 | Supplying and painting the existing painted or unpainted surfaces with 02 (two) coats of approved Heat Resistant paint (Applied paint shall withstand against 600 degree Centigrade temperature) at all heights from Berger Paints / Asian Paints / Nerolack as directed by Engineer. Item includes cost of paints, brushes, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personals and cleaning after completion of work. Work is to be carried out as per specification and as directed by the Engineer in charge. | 90.00 | SqM |  | 170.00 | 15300.00 | 195.00 | 17550.00 | 220.00 | 19800.00 | 110.00 | 9900.00 | 180.00 | 16200.00 | 9900.00 | UNITED ENGINEERS
27.00 | Supplying and painting the existing painted or unpainted surfaces with Aluminium paint of approved brand and shade from ASIAN / BERGER / SHALIMAR / ICI DULUX / JOHNSON on metal surfaces, fence, ducts, cable trays etc. at all heights. Item includes cost of paints, brushes, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personals, and cleaning of area after completion of work. Work is to be carried out as per specification and as directed by the Engineer in charge.
27.10 | One Coat | 1500.00 | SqM |  | 80.00 | 120000.00 | 70.00 | 105000.00 | 100.00 | 150000.00 | 85.00 | 127500.00 | 70.00 | 105000.00 | 105000.00 | raghav constructions, WIN-TECH ENGINEERS & CONTRACTORS
27.20 | Two Coats | 1000.00 | SqM |  | 110.00 | 110000.00 | 130.00 | 130000.00 | 125.00 | 125000.00 | 140.00 | 140000.00 | 90.00 | 90000.00 | 90000.00 | WIN-TECH ENGINEERS & CONTRACTORS
28.00 | Supplying and painting of existing painted or unpainted surface of any water retaining old / new surfaces with 01 (one) coat of high build two components coal tar epoxy paint at all heights of approved brand from Sunlight Paints / Berger Paints / Asian Paints PPG / Nerolack Paints / ICI Dulux Paints as directed by engineer. Mixing of paint with thinner shall strictly be as per manufacturer's specification.Item includes cost of paints, thinner, brushes, stirer machines for mixing paint, crack repairing, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personnel and cleaning of area after completion of work. Work is to be carried out as per specification and as directed by the Engineer in charge. | 100.00 | SqM |  | 90.00 | 9000.00 | 75.00 | 7500.00 | 100.00 | 10000.00 | 100.00 | 10000.00 | 150.00 | 15000.00 | 7500.00 | raghav constructions
29.00 | Nomenclature painting work is to be carried out at any height by using alphabetic/numerals/symbol etc. up to a letter height of 1/2" to 6" by skilled painter including cost of synthetic enamel paint, brush, thinner, preparation of surfaces, removing dust, erection & removal of scaffolding at all elevation, etc. complete all as directed by Engineer. NOTE:- 1. One word/number/symbol will be measured in "Each nos." | 100000.00 | Nos |  | 4.00 | 400000.00 | 6.50 | 650000.00 | 7.00 | 700000.00 | 7.00 | 700000.00 | .70 | 70000.00 | 70000.00 | WIN-TECH ENGINEERS & CONTRACTORS
30.00 | Supplying and applying 01 (one) coat of synthetic enamel paint from Asian paints - (Premium Gloss enamel) / Berger paints (Hi Gloss Enamel) / Nerolac (Synthetic enamel Hi Gloss) paints etc. and shade over Existing painted or New surface of pipes and fittings etc. at all heights. Item includes cost of paints, brushes, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personals, shifting & replacing (after completion of painting work) in position all types of office furnituresand cleaning of area after completion of work. Work is to be carried out as per specification and as directed by the Engineer in charge. Note:- 1. No extra payment for valves etc. 2. Total running meter of pipe length painted will be measured and paid
30.10 | Pipe Diameter 150mm and upto 300mm | 1000.00 | RM |  | 60.00 | 60000.00 | 65.00 | 65000.00 | 60.00 | 60000.00 | 110.00 | 110000.00 | 100.00 | 100000.00 | 60000.00 | Technical Construction Co., NAMBAHADUR
30.20 | Pipe Diameter above 40mm and below 150mm. | 1500.00 | RM |  | 30.00 | 45000.00 | 30.00 | 45000.00 | 31.00 | 46500.00 | 80.00 | 120000.00 | 80.00 | 120000.00 | 45000.00 | raghav constructions, Technical Construction Co.
30.30 | Pipe Diameter 40mm and below | 2000.00 | RM |  | 25.00 | 50000.00 | 15.00 | 30000.00 | 22.00 | 44000.00 | 55.00 | 110000.00 | 90.00 | 180000.00 | 30000.00 | raghav constructions
31.00 | Supplying and applying exterior acrylic primer at all heights of approved shade from Asian / Berger / Nerolac over new / old surfaces as directed by the Engineer. Item includes preparing the surface by removing of all loose paints, dirt and dusts, cleaning of surface, filling / sealing of cracks up to 3mm by crack seal / putty as specified by paint manufacturer, making good the damaged & rough surfaces smooth, minor repairs, other major cracks sealing with Birla white cement / JK white cement crack free putty, cement slurry / cement mortar, cleaning of doors, windows, ventilators, glasses etc. after completion of work. Item includes cost of paints, brushes, wire brushes, sand papers, cleaning accessories, labour, tools and tackles, transportation, loading, unloading of materials at KAPS plant site,erection & removal of steel scaffolding, personnel safety of all workers with required PPE accessories etc., complete as directed by the Engineer in charge. | 450.00 | SqM |  | 60.00 | 27000.00 | 70.00 | 31500.00 | 65.00 | 29250.00 | 120.00 | 54000.00 | 35.00 | 15750.00 | 15750.00 | WIN-TECH ENGINEERS & CONTRACTORS
32.00 | Supplying and applying 02 (two) coats of exterior emulsion paint of approved shade from Asian Paints make Apex ultima / Berger make Weather shield / Nerolac make Excel Mica Marble on new / old surfaces at all heights as directed by the Engineer. Generally Dark shade will be 20 % and Light shade will be 80%. Item includes preparing the surface by removing of all loose paints, dirt and dusts, cleaning of surface, filling / sealing of cracks up to 3mm by crack seal / putty as specified by paint manufacturer, making good the damaged & rough surfaces smooth, minor repairs, other major cracks sealing with Birla white cement / JK white cement crack free putty, cement slurry / cement mortar, cleaning of doors, windows, ventilators, glasses etc. after completion of work. Item includes cost of paints, brushes, wire brushes, sand papers, cleaning accessories, labour, tools and tackles, transportation, loading, unloading of materials at KAPS plant site,erection & removal of steel scaffolding, personnel safety of all workers with required PPE accessories etc., complete as directed by the Engineer in charge. | 450.00 | SqM |  | 120.00 | 54000.00 | 125.00 | 56250.00 | 160.00 | 72000.00 | 180.00 | 81000.00 | 80.00 | 36000.00 | 36000.00 | WIN-TECH ENGINEERS & CONTRACTORS
33.00 | Supplying and applying 01(one) coat of Metal primer (Red oxide) at all heights from Asian paints / Berger paints / Nerolac paints over existing painted steel/metal surfaces etc. Item includes cost of metal primer, brushes, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personnel and cleaning of area after completion of work Work is to be carried out as per specification and as directed by the Engineer in charge. | 900.00 | SqM |  | 50.00 | 45000.00 | 60.00 | 54000.00 | 55.00 | 49500.00 | 90.00 | 81000.00 | 30.00 | 27000.00 | 27000.00 | WIN-TECH ENGINEERS & CONTRACTORS
34.00 | Providing and applying Repair materials at all elevation from Asian paints / Sika/ Fosroc/ Choksey / Pidilite for repairs of RCC members like beams, columns, slab and gutter etc. at all elevation. Item included cost of materials, labours, erection and removal of scaffolding, transportation, tools and tackles etc. Complete as per manufacturers specification and directed by Engineer-in-charge.
34.10 | Polymer modified Repair Mortar | 180.00 | Kg |  | 35.00 | 6300.00 | 25.00 | 4500.00 | 28.00 | 5040.00 | 100.00 | 18000.00 | 420.00 | 75600.00 | 4500.00 | raghav constructions
34.20 | Micro-concrete | 180.00 | Kg |  | 40.00 | 7200.00 | 40.00 | 7200.00 | 28.00 | 5040.00 | 150.00 | 27000.00 | 380.00 | 68400.00 | 5040.00 | NAMBAHADUR
34.30 | Crack seal | 90.00 | Kg |  | 290.00 | 26100.00 | 230.00 | 20700.00 | 400.00 | 36000.00 | 200.00 | 18000.00 | 450.00 | 40500.00 | 18000.00 | UNITED ENGINEERS
35.00 | Preparing surface by Grinding Machine at all elevation having dust collecting arrangement (support of vacuum cleaner) so as to have proper binding of putty / primer to be applied including cleaning the surface with water if required etc. complete. Item including cost of grinder, blades, labour, erection and removal of scaffolding, transportation, tools and tackles etc. Complete as per directed by Engineer-in-charge. | 450.00 | SqM |  | 100.00 | 45000.00 | 100.00 | 45000.00 | 125.00 | 56250.00 | 100.00 | 45000.00 | 35.00 | 15750.00 | 15750.00 | WIN-TECH ENGINEERS & CONTRACTORS
36.00 | Supplying and painting 02 (two) coats of Chlorinated Rubber paint of approved brand and shade from Asian Paints / Sunlight Paints / Berger Paints on old / new steel structures, piping etc. at all elevation. Item includes cost of paints, brushes, stirer machines for mixing paint, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personnel and cleaning of area after completion of work. Work is to be carried out as per specification and as directed by the Engineer in charge. | 180.00 | SqM |  | 105.00 | 18900.00 | 130.00 | 23400.00 | 210.00 | 37800.00 | 150.00 | 27000.00 | 150.00 | 27000.00 | 18900.00 | Technical Construction Co.
37.00 | Supplying and painting 02 (two) coats of Duco paint on old / new pipe structures, piping etc. at all elevations. Item includes cost of paints, thinner, brushes, spray machine, stirer machines for mixing paint, preparation of surfaces by removing dirt, dust, grease, oil etc. with the help of scrappers, wire brushes / electrical driven angle grinder machines / sand papers (preparing of surface such that proper bonding of fresh coat will be achieved which will avoid bubble formation), masking tapes / paper tapes (used in painting work for avoiding extra unwanted areas), labours, tools and tackles, erection & removal of steel scaffolding, safety accessories for personnel and cleaning of area after completion of work Work is to be carried out as per specification and as directed by the Engineer in charge. | 90.00 | SqM |  | 410.00 | 36900.00 | 390.00 | 35100.00 | 350.00 | 31500.00 | 150.00 | 13500.00 | 390.00 | 35100.00 | 13500.00 | UNITED ENGINEERS
| Total in Figures |  |  |  |  | 21073700.00 |  | 25848000.00 |  | 27815480.00 |  | 27009100.00 |  | 20628950.00
Lowest Amount Quoted BY: WIN-TECH ENGINEERS & CONTRACTORS(20628950.00)

## BOQ Summary
BOQ Summary Details Tender Title: ETR-1621 Tender ID: 2025_NPCIL_231515_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | WIN-TECH ENGINEERS & CONTRACTORS (BID ID -842202) | 20628950.00 | L1
| 2 | Technical Construction Co. (BID ID -841943) | 21073700.00 | L2
| 3 | raghav constructions (BID ID -841754) | 25848000.00 | L3
| 4 | UNITED ENGINEERS (BID ID -841919) | 27009100.00 | L4
| 5 | NAMBAHADUR (BID ID -841962) | 27815480.00 | L5